| COMPETENCY-BASED CURRICULUM |  |
| --- | --- |

| Sector : ELECTRICAL SECTOR |
| --- |
| Qualification: ELECTRICAL INSTALLATION & MAINTENANCE NC IV |
|  | Technical Education and Skills Development Authority East Service Road, South Superhighway, Taguig City |

TABLE OF CONTENTS

Page

A.	Course Design	1-7

B.	Modules of Instruction	8-118

- BASIC COMPETENCIES	8

- Leading in utilizing specialized communication skills	9-13

- Assisting in developing teams and individual	14-19

- Applying problem solving techniques in the workplace	20-23

- Collecting, analyzing and organizing information	24-28

- Planning and organizing work for working teams	29-33

- Promoting environmental protection	34-39

- Common Competencies	40

- Supervising preparation of construction materials, tools and equipment for assigned tasks 	41-44

- Ensuring compliance with standard procedures specifications and manuals of instructions	45-48

- Interpreting technical drawing and plans	49-51

- Supervising mensuration and related computations	52-54

- Maintaining tools and equipment	55-58

- Core Competencies	59

- Selecting and maintaining electrical power and hydraulic tools	60-62

- Performing roughing-in for bus ducts and under floor installation	63-65

- Performing installation of floor and ground fault current interrupter	66-69

- Performing installation of electrical protection system for lighting and grounding	70-73

- Performing installation of electrical lighting system, auxiliary outlets and lighting fixture.	74-77

- Performing installation of data measurement and control systems on electrical and auxiliary equipment	78-85

- Assembling electrical lighting and motor control system	86-95

- Performing maintenance, troubleshooting and repair works	96-102

- Supervising / monitoring for the installation and wiring on electrical auxiliary and control protection equipment	103-108

- Performing commissioning of electrical equipment / system	109-112

- Performing programming and installation of basic programmable logic controller ( PLC) system	113-118

COURSE DESIGN

## COURSE TITLE	:	ELECTRICAL INSTALLATION AND MAINTENANCE NC IV

NOMINAL DURATION	:	516 hours

COURSE DESCRIPTION 	:

This course is designed to equip individual with knowledge, operational skills and attitudes in electrical installation and maintenance. It includes installation, servicing and maintaining, troubleshooting works.

ENTRY REQUIREMENTS:

Before entering this course, the learner must be able to:

- With basic knowledge and training equal to a holder of Electrical

- Installation & Maintenance NC II

- Can communicate both orally and in writing

- Physically and mentally fit with good moral character

- Can perform basic mathematical computation

COURSE STRUCTURE:

# BASIC COMPETENCIES

20 hours

| UNIT OF COMPETENCY | MODULE TITLE | LEARNING OUTCOMES | NOMINAL DURATION |
| --- | --- | --- | --- |
| 1. Lead in utilizing specialized communication skills | 1.1 Leading in utilizing specialized communication skills | Apply communication strategies to meet specific needs of internal and external client. Represent the organization in internal and external forums Facilitate group discussion. Conduct interview. | 4 hours |
| 2. Assist in developing teams and individual | 2.1 Assisting in developing teams and individual | Determine development needs Foster individual and organizational growth. Monitor and evaluate workplace learning Develop team commitment and cooperation Facilitate accomplishment of organizational goals | 4 hours |
| 3. Apply problem solving techniques in the workplace | 3.1 Applying problem solving techniques in the workplace | Prepare communication or documentation report Present recommendation to appropriate personnel Implement solution | 3 hours |
| 4. Collect, analyze and organize information | 4.1 Collecting analyzing and organizing information | Study information requirements Process data Analyze, interpret and organize information gathered Present findings / recommendations | 3 hours |
| 5. Plan and organize work for working teams | 5.1 Planning and organizing work for working teams | Set work objectives Plan and schedule work activities Implement and monitor plans/activities Review and evaluate work plans and activities | 3 hours |
| 6. Promote environmental protection | 6.1 Promoting environmental protection | Study Guidelines for environmental concerns Implement specific environmental programs Monitor activities on environmental protection programs Monitor work activities Review and evaluate work plans and activities | 3 hours |

# COMMON COMPETENCIES

32 hours

| UNIT OF COMPETENCY | MODULE TITLE | LEARNING OUTCOMES | NOMINAL DURATION |
| --- | --- | --- | --- |
| 1. Supervise preparation of construction materials, tools and equipment for assigned tasks. | 1.1 Supervising preparation of construction materials, tools and equipment for assigned tasks. | Identify materials and tools applicable to a specific construction job Request appropriate materials and tools Receive and inspect materials | 6 hours |
| 2. Ensure compliance with standard procedures specifications and manuals of instructions | 2.1 Ensure compliance with standard procedures specifications and manuals of instructions | Identify, access, and interpret specification/ manuals Apply information in manual Store manuals | 8 hours |
| 3. Interpret technical drawings and plans | 3.1 Interpreting technical drawings and plans | Analyze sign, symbols and data Interpret technical drawings and plans | 6 hours |
| 4 Supervise mensuration and related computations | 4.1. Supervising mensuration and related computations | Carry out measurements and calculations Select measuring instruments | 4 hours |
| 5. Supervise proper use and maintenance of tools and equipment | 5.1. Supervising proper use and maintenance of tools and equipment | Check condition of hand tools and equipment Perform basic preventive maintenance Store tools and equipment | 8 hours |

# CORE COMPETENCIES

464 hours

| UNIT OF COMPETENCY | MODULE TITLE | LEARNING OUTCOMES | NOMINAL DURATION |
| --- | --- | --- | --- |
| 1. Prepare Electric and Hydraulic Tools | 1.1 Preparing Electric and Hydraulic Tools | Select and identify electric power and hydraulic tools Maintain electrical power and hydraulic | 16 hours |
| 2. Perform roughing-in activities for bus ducts and underfloor ducts. | 2.1 Performing roughing-in for bus and underfloor installation | Install bus way or bus duct and fittings Install under floor duct and fittings | 24 hours |
| 3. Perform installation of wiring devices for floor and ground fault current interrupting outlets | 3.1 Performing installation of floor and ground fault current interrupter | Select the wiring devices used for floor and ground fault current interrupter. Install the wiring devices for floor and ground fault current interrupter based on standard Notify the completion of work in accordance with the requirement | 24 hours |
| 4. Perform installation of electrical protection system for lightning and grounding | 4.1 Performing installation of electrical protection system for lightning and grounding. | Plan and prepare work Install electrical protection system Notify completion of work | 40 hours |
| 5. Perform installation of electrical lighting system on auxiliary outlets and lighting fixture | 5.1 Performing installation of electrical lighting system on auxiliary outlets and lighting fixture | Plan and prepare work Install lighting fixtures Notify the completion or work in accordance with the requirement | 40 hours |
| 6. Perform installation of data measurement and control systems on electrical and auxiliary equipment | 6.1 Performing installation of data measurement and control systems on electrical and auxiliary equipment | Plan and prepare work Request materials, tools and equipment Install electrical, auxiliary and protection system of an equipment Install electrical wiring Notify completion of work | 80 hours |
| 7. Assemble electrical lighting and motor control system | 7.1 Assembling electrical lighting and motor control system | Check / review type and purpose of electrical control system Request materials, tools and equipment Inspect electrical materials and tools Assemble electrical control system Notify completion of work. | 40 hours |
| 8. Perform maintenance, troubleshooting and repair works | 8.1 Performing maintenance, troubleshooting and repair works | Plan, prepare and coordinate maintenance works Maintain electrical system or equipment Troubleshoot faults in an electrical system or equipment Notify completion of work | 80 hours |
| 9. Supervise / monitor for the installation and wiring on electrical, auxiliary and protection equipment | 9.1 Supervising / monitoring for the installation and wiring on electrical, auxiliary and protection equipment | Conduct planning and preparation of work Evaluate requested materials, tools and equipment needed Supervise the installation of electrical, auxiliary and protection system equipment Supervise the installation of electrical wiring. Notify completion of work | 40 hours |
| 10. Perform commissioning of electrical equipment / systems | 10.1 Performing commissioning of electrical equipment / systems | Plan and prepare commissioning activities Conduct commissioning on electrical equipment/ systems Turn over electrical equipment/ systems | 40 hours |
| 11. Perform programming and installation of basic programmable logic controller (PLC) system | 11.1 Performing programming and installation of basic programmable logic controller (PLC) system | Plan and prepare for installation Identify materials, components tools and testing instruments of PLC system Install / test field and control devices Create / modify, install and test basic PLC program | 40 hours |

COURSE DELIVERY:

- Group discussion

- Demonstration

- Film viewing

- Modular instruction

- Practical application

- On-the-job-training

ASSESSMENT METHODS:

- Written examination

- Demonstration of practical skills

- Direct observation

- Interview

Trainer’s Qualifications:

The trainer who will handle the course must have the following qualifications:

- Graduate of BS in Industrial Education, Major in Electrical Technology or its equivalent

- Have undergone training on Training Methodology IV (TM IV)

- Holder of at least Electrical Installation & Maintenance NC IV

- With good moral character

- Computer literate

- Physically and mentally fit

- With a minimum of three (3) years relevant job/industry experience *

*Optional.  Only when required by the hiring institution

Reference:  TESDA Board Resolution No. 2004-03

Tools, Equipment and Materials:

Recommended list of tools, equipment and materials for the training of 25 trainees for ELECTRICAL INSTALLATION & MAINTENANCE NC IV are as follows:

| TOOLS | MATERIALS |
| --- | --- |
| Qty. | Description | Qty. | Description |
| 5 pcs. | Crimping tools | 5 pcs. | Circuit breakers/Fuses (Din rail type) |
| 5 pcs. | Pliers | 5 pcs. | PLC materials |
| 5 sets | Screw drivers | 5 pcs. | Relays (Din rail type) |
| 5 sets | Wrenches (box & open) | 5 pcs. | Timers (Din rail type) |
| 5 pcs. | Wire splicers/strippers | 5 pcs. | Terminal Blocks/Lugs (Din rail type) |
| 5 pcs. | Measuring tools (e.g. Pull-push meter) | 5 pcs. | Pilot lamps |
|  |  | 5 pcs. | Actuators |
|  |  | 20 pcs. | Push buttons (panel type) |
| EQUIPMENT | 20 pcs. | Selector Switches (panel type) |
| Qty. | Description | 5 lengths | Cable duct |
| 5 units | Power supply | 4 lengths | Din rail |
|  | - Automatic Voltage Regulator (AVR) | 3 packs | Wire Strap |
|  | - Un-interruptible power supply (UPS) | 20 pcs. | Wire Markers |
| 5 units | Generators and motors | 5 pack | Cable Tie |
| 5 units | Transformer | 20 meters | Cable (Royal cord) |
| 5 units | Capacitors | 10 pcs. | Glands/Grommet |
| 5 units | Inverters/Rectifiers | 2 boxes | Conductors |
| 5 units | Controllers | 5 rolls | Insulators |
| 10 sets | - Motor controls | 20 pcs. | Proper working clothes |
|  | - Electro-mechanical controllers (e.g. Solenoid) |  |  |
| 1 set | - Electro-Pneumatic controller | Forms/Manuals |
| 5 pcs. | Pressure gauge |  | PLC plan and specification |
| 5 pcs. | Pressure Analyzer/Gauge manifold |  | Requisition form(s) |
| 5 pcs. | Leak tester |  | Industry/Institution Quality Manual |
| 10 units | Micro PLC |  | User’s guide |
| 25 lic. | PLC Simulator Software |  | Drawings/diagrams |

MODULES OF INSTRUCTIONS

BASIC COMPETENCIES

ELECTRICAL INSTALLATION AND MAINTENANCE NC IV

Basic Worker Units of Competency

Unit of Competency	:	Lead in utilizing specialized communication skills

Module Title	:	Leading in utilizing specialized communication   skills

Module Descriptor	:	This module covers the knowledge, skills and attitudes required to use specialized communication skills to meet specific needs of internal and external clients, conduct interviews, facilitate group discussion, and contribute to the development of communication strategies.

Nominal Duration	:    4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Apply communication strategies to meet specific needs of internal and external client.

LO2.	Represent the organization in internal and external forums.

LO3.	Facilitate group discussion.

LO4.	Conduct interview.

LO1.	Apply communication strategies to meet specific needs of internal and external client

Assessment Criteria:

Specific needs of client and colleagues were identified and met.

Different strategies were used to meet communication needs of clients and colleagues.

Conflict was addressed in a timely way and in a manner which does not compromise the standing of the organization.

Strategies for external and internal dissemination of information were developed, promoted, implemented and reviewed as required.

Channel of communications were reviewed and established regularly.

Coaching in effective communication was provided.

Work related network and relationship were maintained.

Negotiation and conflict resolution strategies were used.

Communication with client's colleagues was appropriate to individual needs and organizational objectives.

Contents:

Communication process

Full range of communication

Active listening

Feedback

Interpretation

Role boundaries setting

Negotiation

Establishing empathy

Conditions:	The students/trainees must be provided with the following:

Equipment

video tapes

LCD projector /OHP

Personal computers

Learning materials

learning element

books and manuals

transparencies

slides

Methodologies:

Discussion

Role playing

Observation

Assessment Methods:

Written examination

Direct observation

LO2.	Represent the organization in internal and external forums.

Assessment Criteria:

- Presentation was relevant, appropriately researched and presented in a manner that promotes the organization.

Presentation was cleared and sequentially delivered within a predetermined time.

Utilized appropriate media to enhance the presentation.

Written communication was consistent with organizational standards.

Respect differences in views and respond to inquiries in a manner consistent with organizational standard.

Contents:

Presentation techniques

Developing a presentation

Multi-media utilization in presentation

Conditions:	The students/trainees must be provided with the following:

Equipment

video tapes

LCD projector /OHP

Personal computers

Learning materials

learning element

books and manuals

transparencies

slides

Methodologies:

Discussion

Role playing

Observation

Assessment Methods:

Written examination

Direct observation

LO3.	FACILITATE GROUP DISCUSSION

# ASSESSMENT CRITERIA:

- Mechanisms which enhance effective group interaction are defined and implemented.

- Strategies which encourage all group members to participate are used routinely.

- Objectives and agenda for meetings and discussions are routinely set and followed

- Relevant information is provided to group to facilitate outcomes.

- Evaluation of group communication strategies is undertaken to promote participation of all parties.

- Specific communication needs of individuals are identified and addressed.

CONTENTS:

- Facilitating group discussion

- Encouraging group members participation

- Presenting information

- Evaluating group communication strategies

- Identifying communication needs

CONDITIONS:

The students/trainees must be provided with the following:

- Equipment

- video tapes

- LCD projector/OHP

- Personal computers

- Learning materials

- learning element

- books and manuals

- transparencies

- slides

METHODOLOGIES:

- Discussion

- Role playing

- Observation

ASSESSMENT METHODS:

- Written examination

- Direct observation

LO4.	CONDUCT INTERVIEW

# ASSESSMENT CRITERIA:

- Appropriate communication strategies are employed.

- Records of interviews are made and maintained in accordance with organizational procedures.

- Effective questioning, listening and nonverbal communication techniques are used to ensure that required messages are communicated.

CONTENTS:

- Conducting an interview

- Establishing rapport

- Facilitating resolution of issues

- Developing action plans

CONDITIONS:

The students/trainees must be provided with the following:

- Equipment

- video tapes

- LCD projector/OHP

- Personal computers

- Learning materials

- learning element

- books and manuals

- transparencies

- slides

METHODOLOGIES:

- Interview

- Role playing

- Observation

ASSESSMENT METHODS:

- Written examination

- Direct observation

Unit of Competency	:	Assist in developing teams and individual

Module Title        	:	Assisting in developing teams and individual

Module Descriptor	:	This module covers the knowledge, skills and attitudes required to determine individual needs and develop team for a work group.

Nominal Duration	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Determine development needs

LO2.	Foster individual and organizational growth

LO3.	Monitor and evaluate workplace learning

LO4.	Develop team commitment and cooperation

LO5.	Facilitate accomplishment of organizational goals

LO1.	Determine Development needs.

Assessment Criteria:

- Learning and development need were systematically identified and implemented in line with organizational requirements.

Learning plan to meet individual and group training and development needs was collaboratively developed agreed to and implemented.

Individual were encouraged to self evaluate performance and identify areas for improvement.

Feedback on performance of team members were collected from relevant service and compared with established team learning process.

Contents:

Quality assurance and/or procedures manuals

Goals, objectives ,plans, system and process

Legal and organization policy/guidelines and requirements

Safety policies, procedures and programs

Confidentiality and security requirements

Ethical standards

Business and performance plans

Quality and continues improvement processes and standards

Formal/informal performance appraisal

Obtaining feedback from superior and colleagues

Personal reflective behavior strategies

Routine, organization methods for monitoring service delivery

Conditions: The students/trainees must be provided with the following:

Equipment

personal computers

simulated work area

Learning materials

manuals for organizational  requirements

quality assurance and procedures

work ethics manual

personality development

Supplies and materials

Office supplies, ( pen, pencil, paper/bond paper)

Methodologies:

Discussion

Role playing

Observation

Assessment Methods:

Written examination

Direct observation

LO2.	Foster individual and organizational growth

Assessment Criteria:

- Learning and development program goals and objectives were identified to match specific knowledge and skills requirements of competency standards.

Learning delivery methods were appropriate to the learning goals, the learning style of participants and availability of equipment and resources.

Workplace learning opportunities and coaching and mentoring assistance were provided to facilitate individual and team achievement of competencies.

Resources and timelines required for learning activities were identified and approved in accordance with organizational requirements.

Contents:

Coaching and mentoring principles

Knowledge of career paths and competency standards in the industry

Learning plans to match skills needs

Involvement in professional networks

Formal course participation

Work experience

Conference  and seminar attendance

Problem solving

Resources and timelines required for learning activities

Conditions:

The students/trainees must be provided with the following:

Equipment

personal computers

Learning materials

Coaching and mentoring principles manual

Learning and development program goals and objectives

Learning activity methods

Supplies and materials

Office supplies, ( pen, pencil, paper/bond paper)

Methodologies:

Problem solving

Formal course participation

On the job coaching/mentoring

Presentation/demonstration

Conference and seminar attendance

Assessment Methods:

Direct observation

Case  studies (Defense)

Demonstration

LO3.	Monitor and evaluate workplace learning

Assessment Criteria:

- Feedback from individuals or teams was used to identify and implement improvements in future learning arrangements.

Outcomes and performance of individuals/teams were assessed and recorded to determine the effectiveness of developed programs and the extent of additional development support.

Modifications to learning plans were negotiated to improve the efficiency and effectiveness of learning.

Records and reports of competency were documented and maintained within organizational requirements.

Contents:

Coaching and mentoring principles

Methods and techniques for eliciting and interpreting feedback

Methods for identifying and prioritizing personal development opportunities and options.

Knowledge of career paths and competency standards in industry

Conditions:

The students/trainees must be provided with the following:

Equipment

personal computers

simulated work area

Learning materials

manuals for organizational  requirements

quality assurance and procedures

work ethics manual

personality development manual

Supplies and materials

Office supplies, ( pen, pencil, paper/bond paper)

Methodologies:

On-the-job  coaching and mentoring

Problem solving

Formal course participation

Assessment Methods:

Written examination

Direct observation

LO4.	Develop team commitment and cooperation

Assessment Criteria

- Open communication processes to obtain and share information was used by team.

Decisions were team made in accordance with its agreed roles and responsibilities.

Mutual concern and camaraderie is developed in the team.

Contents

Goals, objectives, plans, procedures

Coaching and mentoring principles

Formal /informal learning programs

knowledge on how to develop team commitment and cooperation

personal reflective behavior strategies

Understanding how to work effectively with team members of different work style, aspirations, culture and perspective.

Conditions:

The students/trainees must be provided with the following:

Equipment

personal computers

simulated team

Learning materials

manuals for organizational  requirements

quality assurance and procedures

work ethics manual

personality development

Supplies and materials

Office supplies, ( pen, pencil, paper/bond paper)

Methodologies:

On- the-job coaching

Seminar training (team building)

Assessment Methods:

Direct observation of work activities

Observation  of  Role playing

LO5.	Facilitate accomplishment of organizational goals.

Assessment Criteria:

- Team members actively participated in team activities and               communication process.

Individual and teams developed individual and joint responsibility for their actions.

Collaborative efforts are sustained to obtain organizational goals.

Contents:

Understanding how to work effectively with team members who are divers work styles, aspirations, cultures and perspective

Understanding how to facilitate team development and improvement

Communication skills including  receiving feedback and reporting, maintaining effecting effective relationship & conflict management

Quality assurance and/or procedures

Conditions:

The students/trainees must be provided with the following:

Equipment

personal computers

simulated work area

Learning materials

manuals for organizational  requirements

quality assurance and procedures

work ethics manual

personality development

Supplies and materials

Office supplies, ( pen, pencil, paper/bond paper)

Methodologies:

Discussion

Role playing

On-the- job coaching

Conference seminars

Assessment Methods:

Written examination

Direct observation

interview

Unit of Competency	:	Apply problem solving techniques in the workplace

Module Title	:	Applying problem solving techniques in the workplace

Module Descriptor	:	This module cover the knowledge, skills and attitudes required to; recommend and implement solutions to a problem using structured process improvement which is typically performed by an experienced technician, team leader or supervisor.

Nominal Duration	:	3 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Prepare communication or documentation report

LO2.	Present recommendation to appropriate personnel

LO3.	Implement solution

LO1.	Prepare communication for documentation

Assessment Criteria:

- Draft  (hand written)  report  for corrective actions to the problem was prepared

Draft (hand written) report and documents were reviewed in accordance with standard format.

Communication/Documentation  report was finalized based on standard format and SOPs

Contents:

Preparation of communication & documentation report

Types of communication

Hand  written

Printed  report

Internal memos

Electronic mail

Briefing notes

Bulletin  boards

Documentation

Audit trails

Naming standards

Version control

Conditions:

The students/trainees must be provided with the following:

Equipment

OHP

Computers

Instructional materials

reference books

corrective actions

statement /reports

Learning Guides

Methodologies:

Direct observation

Simulation /role playing

Assessment Methods:

Written examination

case study (defense)

LO2.	Present recommendation to appropriate personnel

Assessment Criteria:

- Recommendations were presented to appropriate personnel

Changes, corrections, and further instructions were noted and finalized

Recommendations were followed-up.

Contents:

Oral communication

Receiving and finalization of instructions

Organizational protocol

Conditions:

The students/trainees must be provided with the following:

Equipment

OHP

Computers

Instructional materials

reference books

recommendation report

Learning Guides

Methodologies:

Direct observation

Simulation /role playing

Assessment Methods:

Written examination

case study (defense)

LO3.	Implement solutions

Assessment Criteria:

- Measurable objectives were identified

Resources needed were identified

Timelines were identified in accordance with safety and operating procedures

Contents:

Setting of objectives

Statutory and vendor requirements

Ergonomic & environmental factors

Identification of  timelines

Conditions:

The students/trainees must be provided with the following:

Equipment

OHP

Computers

Instructional materials

reference books

recommendation report

Learning Guides

Methodologies:

Direct observation

Simulation /role playing

Distance education

Assessment Tools:

Written examination

Case study (defense)

Unit of Competency	:	Collect, analyze and organize information

Module Title	:	Collecting, analyzing and organizing informatioN

Module Descriptor   :	This module covers the outcomes required to process, analyze, interpret and organize workplace information and other relevant data.

Nominal Duration	:	3 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Study information requirements.

LO2.	Process data

LO3.	Analyze, interpret and organize information gathered.

LO4.	Present findings / recommendations.

LO 1. STUDY INFORMATION REQUIREMENTS

Assessment Criteria:

- Identified the needs using established research procedures.

Used relevant forms and recording system.

Determined information requirements based on organizational goals and objectives.

Contents:

Data processing, information analysis and interpretation.

Research Methods: Qualitative, Quantitative, Statistical

Effective communication

Report writing

Conditions:

The students/trainees must be provided with the following:

Reference Book

Handouts/Modules/Printed Materials

Forms

Methodologies:

Lectures

Discussions

Demonstrations

Assessment Methods:

Written / Oral Examination

Exercises

Case Study (defense)

LO2.	Process Data

Assessment Criteria:

- Collected and collated data based on the prescribed method.

Utilized relevant research methods and processed data based on the objective of the program.

Compiles information according to the required form.

Contents

Data processing

Research Method

Problem Solving

Conditions:

The students/trainees must be provided with the following:

PC

Reference Book

Handouts/Modules/Printed Materials

Data Processing Software (MS WORD, EXCEL, etc.)

Methodologies:

Lectures

Discussions

Demonstrations

Reporting

Assessment Methods:

Written / Oral Examination

Observation

Practical Demonstration

Case Study (defense)

LO3.	Analyze, Interpret and organize information gathered

Assessment Criteria:

- Analyzed and organized information gathered.

Used statistical analysis according to the objectives of the program.

Prepared graphs and other visual presentation to facilitate analysis interpretation of information.

Contents:

Research and analysis

Read / Interpret data and information

Problem solving

Presentation graphics

Conditions:

The students/trainees must be provided with the following:

PC

Reference Book

Handouts/Modules/Printed Materials

Desktop Publishing Software

Methodologies:

Lectures

Discussions

Demonstrations

Assessment Methods:

Written / Oral Examination

Observation

Practical Demonstration

Case Study (defense)

LO4.	Present findings/recommendations

Assessment Criteria:

- Present findings / recommendations summarized in user-friendly manner.

Gathered relevant inputs to finalize reports.

Prepared draft report based on summary formats.

Submitted / disseminated technical reports to concerned offices.

Content:

Technical Report Writing

Conditions:

The students/trainees must be provided with the following:

PC

Reference Book

Handouts/Modules/Printed Materials

Methodologies:

Lectures

Discussions

Demonstrations

Assessment Methods:

Written / oral examination

Observation

Practical demonstration

Case study (defense)

Unit of Competency	:	Plan and organize work for working teams

Module Title	:	Planning and organizing work for working teams

Module Descriptor	:	This module covers the knowledge, skills and attitudes required to plan and organize work.

Nominal Duration	:	3 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Set work objectives.

LO2.	Plan and schedule work activities.

LO3.	Implement and monitor plans/activities.

LO4.	Review and evaluate work plans and activities.

LO1. Set work objectives

Assessment Criteria:

- Objectives are relevant to work activities in accordance with organizational aims.

Objectives are based on accurate, relevant and correct information.

Objectives are stated as measurable targets with clear time frames.

Objectives are communicated/ disseminated to team members.

Contents:

Organizational policies & procedures

Planning process

Communication process

Organizational aims

Prioritizing and managing workloads

SWOT analysis

CONDITIONS:

The students/trainees must be provided with the following:

Training materials

Organizational policies and procedures

Reference materials on organizational planning

pen, paper

Students project

Methodologies:

Brainstorming

Discussion

Case studies

Role playing

Small group work

Assessment Methods:

Written

Direct observation

Interview

LO2.	Plan and schedule work activities

Assessment Criteria:

- Task / work activities are identified and prioritized.

Task/ work activities are scheduled.

Resources for each activity are identified and allocated.

Schedule of work activities coordinated with relevant staff.

Contents:

GANTT chart

Consultation and negotiation with stakeholders

Prioritizing and managing work loads

Conditions:

The students/trainees must be provided with the following:

Equipment

computers

Training materials

GANTT charts

Reference materials on organizational planning

pen, paper

Students projects

Methodologies:

Brainstorming

Discussion

Case studies

Role playing

Small group work

Assessment Methods:

Written

Direct observation

Interview

LO3. Implement and monitor plans/activities

Assessment Criteria:

- Work plans are implemented with set time frame, resources and required standards.

Work activities are monitored and reviewed against the set objectives.

Deviations from work activities are reported and recommendations are obtained/negotiated with appropriate personnel.

Reporting requirements comply with recommended format.

Files record are established and maintained.

Contents:

Developing work plans

Implementation and monitoring

Reporting

Setting schedules

Contingency approach ( planning)

Coordinating schedules

Motivation and team building

Conditions:

The students/trainees must be provided with the following:

Equipment

computers

Training materials

work plan schedules

monitoring tools and materials

pen, paper

Plant/enterprises

Students projects

Methodologies:

Brainstorming

Discussion

Case studies

Role playing

Small group work

Assessment Methods:

Written

Direct observation

Interview

LO4.	Review and evaluate work plans and activities

Assessment Criteria:

- Review of work activities/outcomes is based on accurate, relevant and current information.

Review based on comprehensive consultation with appropriate personnel using reliable feedback tools.

Results of review provided to appropriate personnel in recommended format.

Performance appraisal report is conducted and reported in accordance with organizational requirements.

Feedback mechanism is followed in accordance with organizational policies.

Contents

Report writing

Collecting information/data gathering

Feedback

Performance appraisal

Conditions:

The students/trainees must be provided with the following:

Equipment

computers

Training materials

reporting formats

performance appraisal format

reference materials on research techniques

pen, paper

Plant/enterprises   (simulation)

Students projects

Methodologies:

Brainstorming

Discussion

Case studies

Role playing

Small group work

Assessment Methods:

Written

Direct observation

Interview

Unit of Competency	:	Promote environmental protection

Module Title          	:	Promoting environmental protection

Module Descriptor   :	This module covers the knowledge, skills and attitude required in adhering to environmental protection principles, strategies and guidelines.

Nominal Duration	:	3 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Study Guidelines for environmental concerns.

LO2.	Implement specific environmental programs.

LO3.	Monitor activities on environmental protection programs.

LO1.	STUDY GUIDELINES FOR ENVIRONMENTAL CONCERNS

Assessment Criteria:

- Environmental legislation / conventions and local ordinances were identified according to the different environmental aspects / impact

Industrial standard / environmental practices according to the different environmental concerns were described.

Contents:

Environmental issues and concerns.

Features of Environmental management strategy

Sanitary Code

Environmental Code of Practice

International Environmental Protocols (Montreal, Kyoto)

Conditions:

The students/trainees must be provided with the following:

Workplace / assessment locations

Legislation, policies, procedures, protocols and local ordinances relating to environmental protection.

Case studies / scenarios relating to environmental protection (sample)

Methodologies:

Discussion – demonstration

Research and reporting

Assessment Methods:

Written / oral examination

Interview / third party report

Portfolio

LO2.	Implement specific environmental programs

Assessment Criteria:

- Programs / activities were identified according to organizations policies and guidelines.

Individual roles / responsibilities were determined and performed based on the activities identified.

Problems / constraints encountered were resolved in accordance with organizations policies and guidelines.

Stakeholders were consulted based on company guidelines.

Contents:

Community needs and expectations

Environment – Friendly / environmental advocates

5 S of good house keeping

3R’s Reduce, Reuse and Recycle.

Conditions:

The students/trainees must be provided with the following:

Workplace / assessment location

Legislation, Policies, Procedures, Protocols and local ordinances relating to environmental protection.

Case studies / scenarios relating to environmental protection (sample)

Methodologies:

Lectures

Discussions

Demonstrations

Reporting

Role Playing

Assessment Methods:

Written / Oral Examination

Observation

Practical Demonstration

LO3. 	MONITOR ACTIVITIES ON ENVIRONMENTAL PROTECTION PROGRAMS

Assessment Criteria:

- Activities were periodically monitored and evaluated according to the objectives of the environmental program.

Feedback from stakeholders were gathered and considered in proposing enhancement to the program based on consultations.

Data gathered were analyzed based on evaluation requirements.

Recommendations were submitted based on the findings.

Management support system were set / established to sustain and enhance the program.

Environmental incidents were monitored and reported to concerned / proper authorities.

Contents:

Communicating effectively

Performing research and analysis

Reading / interpreting data and information

Problem solving

Conditions:

The students/trainees must be provided with the following:

Personal Computer

Reference Books

Handouts/Modules/Printed Materials

Statistical Package

Workplace / Assessment location

Methodologies:

Demonstrations

Reporting

Assessment Methods:

Written / oral examination

Observation

Interview / third party reports

LO4.	Monitor Work activities

Assessment Criteria

- Work activities and performance were monitored and compared with set objectives.

Deviations from work activities were reported and coordinated recommendations with appropriate personnel and in accordance with set standards

Complied with reporting requirements in accordance with recommended format.

Report submitted based on the time frame schedule.

Established and maintained in accordance with standard operating procedures.

Contents

Technical Report Writing

Use work plans and standards

Conditions:

The students/trainees must be provided with the following:

Reference Book

Handouts/Modules/Printed Materials

Methodologies:

Lectures

Discussions

Demonstrations

Assessment Methods:

Written / oral examination

Observation

Practical demonstration

Case study (defense)

LO5.	Review and evaluate work plans and activities

Assessment Criteria:

- Reviewed work plans, strategies and implementation based on accurate, relevant and current information based on comprehensive consultation and appropriate personnel on outcomes of work plans and reliable feedback

Provided results of review to concerned parties and formed as the basis for adjustments / simplifications to be made to policies processes and activities.

Conducted performance appraisal in accordance with organization rules and regulation.

Prepared and documented performance appraisal report regularly as per organizational requirement.

Prepared and presented recommendations to appropriate personnel / authorities.

Implemented feedback mechanism in line with organization policies.

Contents:

Organizational Strategies and Planning

Organizational Rules and Regulations

Conditions:

The students/trainees must be provided with the following:

Reference Book s

Handouts/Modules/Printed Materials

Methodologies:

Lectures

Discussions

Demonstrations

Assessment Methods:

Written / oral examination

Observation

Practical demonstration

Case study (defense)

MODULES OF INSTRUCTIONS

COMMON COMPETENCIES

ELECTRICAL INSTALLATION AND MAINTENANCE NC IV

Common Construction Industry Units of Competency

Unit of Competency	:	Supervise Preparation of Construction           materials, tools and equipment for assigned tasks

Module Title	:	Supervising Preparation of Construction           materials, tools and equipment for assigned tasks

Module Descriptor	:	This module covers the knowledge, skills and attitudes on   identifying, requesting and receiving construction materials and tools based on the required performance standards.

Nominal Duration	:	6 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Identify materials and tools applicable to a specific construction job.

LO2.	Request appropriate materials and tools.

LO3.	Receive and inspect materials

LO1.	Identify materials and tools applicable to a specific construction job

Assessment Criteria:

- Tools and materials are identified as per job requirements

Tools are classified according to its function as per job requirements.

Materials are classified according to its uses to a specific construction project.

Tools and materials are selected as per job requirement.

Content:

Types and uses of construction materials and tools

Description of materials and tools

Listing of materials as per company standards.

Conditions:

Students/trainees must be provided with the following:

Workplace location

Materials relevant to the unit of competency

Materials and tools

Electrical

Structural

Welding

Masonry

Carpentry

Plumbing

Pipefitting

Materials and tools different brand names, size, capacity and kind of application.

Handouts/Instructional Materials

Methodologies:

Lecture - demonstration

Self-paced instruction

Group discussion

Assessment Methods:

Oral questioning

Direct observation

Written test

LO2.	Request appropriate materials and tools

Assessment Criteria:

- Needed materials and tools listed as per job requirement.

Materials and tools are requested according to the list prepared.

Requests are done as per company  standard operating procedures (SOP)

Materials and tools are substituted and provided unavailable without sacrificing cost and quality of work.

Content:

Different forms

Job order slip

Tools and materials requisition slip

Borrower’s Slip

Requisition procedures

Conditions:

Students/trainees must be provided with the following:

Sample of company standard in tools and materials requisition.

Job order form

Requisition slip

Borrowers slip

Handouts/Instructional Materials

Methodologies:

Lecture - demonstration

Self-paced instruction

Group discussion

Assessment Methods:

Oral questioning

Direct observation

Written test

LO3.	Receive and inspect materials

Assessment Criteria

- Received and inspected materials and tools as per quantity and specification based on requisition.

Tools and materials are checked for damages and manufacturing defects.

Materials and tools received are handled with appropriate safety devices.

Materials and tools are set aside to appropriate location nearest to the workplace.

Contents:

Procedures in receiving tools and materials

Proper inspection of tools and materials received.

Proper handling of tools and materials.

Conditions:

Students/trainees must be provided with the following:

Sample of company standard in tools and materials in receiving materials.

Inspection Checklist

Materials Handling Safety Devices

Inventory Form Handouts/Instructional Materials

Methodologies:

Lecture - demonstration

Self-paced instruction

Group discussion

Assessment Methods:

Oral questioning

Direct observation

Written test

Unit of Competency	:	Ensure compliance with standard procedures, specifications and manuals of instructions

Module Title	:	Ensuring compliance with standard procedures, specifications and manuals of instructions

Module Descriptor	:	This module covers the knowledge, skills and attitudes on identifying, interpreting, applying services to specifications and manuals and storing manuals.

Nominal Duration	:	8 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Identify, access, and interpret specification/manuals.

LO2.	Apply information in manual.

LO3.	Store manuals.

LO1.	Identify, access, and interpret specification / manuals

Assessment Criteria

- Manuals are identified and accessed as per job requirements.

Version and date of manual are checked to ensure that correct specification and procedures are identified.

Relevant sections, chapters of specifications/manuals are located in relation to the work to be conducted.

Information and procedure in the manual are interpreted in accordance with industry practices.

Contents:

Types of manuals  used in construction sector

Different types of symbols.

Accessing information and data.

Conditions

Students/trainees must be provided with the following:

Classroom for discussion

Manuals/catalogues relative to construction sector.

Instructional materials

Methodologies

Classroom discussions / lecture

Self-paced

Assessment Methods:

Practical exam

Oral exam

Written test/questioning

LO2.	Apply information in manual

Assessment Criteria:

- Work steps are correctly identified in accordance with manufacturer’s specification.

Manual data are applied according to the given task.

Adjustments are interpreted in accordance with information contained on the manual or specifications.

Content:

Manual/specification application.

Conditions

Students/trainees must be provided with the following:

Classroom for discussion

Manuals

Workplace Location

Measuring Instruments

Engineer’s transit

Tape Measure

Feeler gauge

Instructional materials

Methodologies

Demonstration

Classroom discussions

Self-paced

Assessment Methods:

Practical exam

Oral exam

Written test/questioning

LO3.	Store manualS

Assessment CriteriON

- Manual or specification is stored appropriately to prevent damage, ready access and updating of information when required in accordance with company requirements.

Content:

Manual Handling

Conditions:

Students/trainees must be provided with the following:

Classroom for discussion.

Manuals

Store Rooms/Library

Instructional materials

Methodologies:

Demonstration

Classroom discussions

Self-paced

Assessment Methods:

Practical exam

Direct observation

Written test/questioning.

Unit of Competency	:	Interpret Technical Drawings and Plans

Module Title	:	Interpreting Technical Drawings and Plans

Module Descriptor	:	This module covers the knowledge, skills and attitudes on analyzing and interpreting symbols, data and work plan based on the required performance standard.

Nominal Duration	   :  6 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Analyze signs, symbols and data.

LO2.	Interpret technical drawings and plans

LO1.	Analyze signs, symbols and data

Assessment Criteria

- Sign, symbols, and data are identified according to job specifications.

Sign, symbols and data are determined according to classification or as appropriate in drawing.

Contents:

Drawing symbols and signs

Trade mathematics

Conditions:

Students/trainees must be provided with the following:

Classroom for discussion

Workplace Location

Measuring Instruments

Architect/Engineer’s scale

Tape Measure

Blueprints of plan

Architectural

Structural

Electrical

Mechanical

Plumbing

Instructional materials

Methodologies:

Demonstration

Classroom discussions

Self-paced

Assessment Methods:

Practical exam

Direct observation

Written test/questioning

LO2.	Interpret technical drawings and plans

Assessment Criteria:

- Necessary tools, materials and equipment are identified according to the plan.

Components, assemblies or object are recognized as per job requirement.

Dimensions and specification are identified according to job requirements.

Contents

Basic Technical Drawing

Technical plans and Schematic Diagram

Symbols and Abbreviations

Conditions:

Students/trainees must be provided with the following:

Classroom for discussion

Workplace Location

Measuring Instruments

Architect/Engineer’s scale

Tape Measure

Blueprints of plan

Architectural

Structural

Electrical

Mechanical

Plumbing

Instructional materials

Methodologies:

Demonstration

Classroom discussions

Self-paced

Assessment Methods:

Practical exam

Direct observation

Written test/questioning

Unit of Competency	:	Supervise mensuration and RELATED COMPUTATIONS

Module Title	:	Supervising mensuration and RELATED COMPUTATIONS

Module Descriptor	:	This module covers the knowledge, skills and attitudes on identifying, and measuring objects based on the required performance standards.

Nominal Duration	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Carry out measurements and calculations.

LO2.	Select measuring instruments.

LO1.	Carry out measurements and calculations

Assessment Criteria

- Calculation needed to complete work tasks are performed using the four basic process of addition (+), subtraction (-), multiplication (x) and division (/) including but not limited to: trigonometric functions, algebraic computations.

Calculations involving fractions, percentages and mixed numbers are used to complete workplace tasks

Numerical computations are self-checked and corrected for accuracy.

Accurate measurements are obtained according to job requirements.

Identified and converted systems of measurement according to job requirements.

Measured work pieces according to job requirements.

Contents:

Trade Mathematics/Mensuration

Four fundamental operation

Kinds of measurement

Dimensions

Ratio and Proportion

Trigonometric Functions

Algebraic Equations

Fractions, Percentage and Decimals

Conversion

Conditions:

Students/trainees must be provided with the following:

Classroom for discussion

Workplace Location

Problems to solve

Measuring instruments

Instructional materials relevant to the propose activity.

Methodologies:

Lecture - demonstration

Self-paced instruction

Group discussion

Assessment Methods:

Oral questioning

Direct observation

Written test

LO2.	Select measuring instruments

Assessment Criteria:

- Object or component to be measured are identified, classified and interpreted according to the appropriate regular geometric shape.

Measuring tools are selected/identified as per object to be measured or job requirements

Correct specifications are obtained from relevant sources.

Measuring instruments are selected according to job requirements.

Alternative measuring tools are used without sacrificing cost and quality of work.

Measurements are obtained according to job requirements.

Contents:

Visualizing objects and shapes specifically geometric shapes.

Interpreting Formulas for volume, areas, and perimeters of plane and geometric figures.

Measuring Instruments/Measuring Tools

Proper handling of measuring instruments

Conditions:

Students/trainees must be provided with the following:

Classroom for discussion

Workplace Location

Problems to solve

Measuring instruments

Instructional materials relevant to the propose activity.

Methodologies:

Actual demonstration

Classroom discussions

Assessment Methods:

Actual demonstration

Direct observation

Written test/questioning

Unit of Competency	:	Maintain tools and equipment

Module Title	:	Maintaining tools and equipment

Module Description	:	This module covers the knowledge, skills and attitudes on checking condition, performing preventive maintenance and storing of tools and equipment based on the required performance standard.

Nominal Duration	:	8 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Check condition of tools and equipment.

LO2.	Perform basic preventive maintenance

LO3.	Store tools and equipment.

LO1.	Check conditions of tools and equipment

Assessment Criteria:

- Tools and equipment are identified according to classification/specification and job requirements.

Non-functional tools and equipment are segregated and labeled according to classification

Safety of tools and equipment are observed in accordance with manufacturer’s instructions

Conditions of PPE are checked in accordance with manufacturer’s instructions.

Contents:

Types of Tools and Equipments

Classification of functional and non-functional tools

Uses of Personal Protective Equipment (PPE).

Conditions:

Students/trainees must be provided with the following:

Classroom for discussion

Workplace Location

Tools and equipment related to the ff:

Electrical supplies

Structural

Plumbing

Welding/pipefitting

Carpentry

Masonry

Heavy Equipment Tools for repair

Measuring instruments/equipments

Instructional materials

Handouts

Power Point Presentations

Methodologies:

Lecture - demonstration

Self-paced instruction

Group discussion

Assessment Methods:

Oral questioning

Direct observation

Written test

LO2.	Perform basic preventive maintenance

Assessment Criteria:

- Lubricants are identified according to types of equipment.

Tools and equipment are lubricated according to preventive maintenance schedule.

Measuring instruments are checked and calibrated in accordance with manufacturer’s instructions.

Tools are cleaned and lubricated according to standard procedures

Defective equipment and tools are inspected and replaced according to manufacturer’s specification.

Work place is cleaned and kept in safe state in line with OSHC regulations.

Contents:

Types uses of lubricants

Types and uses of cleaning materials/solvent

Types and uses of measuring instruments and equipment.

Preventive maintenance techniques and procedures.

OSHC workplace regulations

Conditions:  Students/trainees must be provided with the following:

Kinds of Manuals:

Manufacturer's Specification Manual

Repair Manual

Maintenance Procedure Manual

Periodic Maintenance Manual

Maintenance schedule forms

Handouts/Instructional Materials

Maintenance materials, tools and equipment Lubricants

Cleaning materials

Rust remover

Rugs

Spare parts

PPE

Goggles

Gloves

Safety shoes

Aprons/Coveralls

Methodologies:

Lecture - demonstration

Self-paced instruction

Group discussion

Assessment Methods:

Oral questioning

Direct observation

Written test

LO3.	Store tools and equipment

Assessment Criteria:

- Inventory of tools, instruments, and equipment are conducted and recorded as per company practices.

Tools are inspected, and replaced after use.

Tools and equipment are stored safely in accordance with manufacturer’s specifications or company procedures.

Contents:

Inventory of tools and equipment

Tools and Equipment Handling

Tool safe-keeping/storage

Conditions:

Students/trainees must be provided with the following:

Classroom for discussion

Handouts/Instructional Materials

Workplace Location/Tool Room

Rack

Tool Box

Forms

Requisition Slip

Inventory Form

Inspection Form

Methodologies:

Demonstration

Classroom discussions

Assessment Methods:

Practical exam

Direct observation

Written test/questioning

MODULES OF INSTRUCTIONS

CORE COMPETENCIES

ELECTRICAL INSTALLATION AND MAINTENANCE NC IV

Core Electrical Units of Competency

Unit of Competency	:	Prepare Electric and Hydraulic Tools

Module Title	:	Selecting and maintaining electrical power and hydraulic tools

Module Descriptor	:	This module deals with the knowledge, skills and attitudes on identifying and preparing materials and maintenance of electric power and hydraulic tools.

Nominal Duration	:	16 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the students/trainees should be able to:

LO1.	Select and identify electric power and hydraulic tools

LO2. 	Maintain electrical power and hydraulic tools.

LO1.	Select and identify electric power and hydraulic tools

Assessment Criteria:

- Electric power and hydraulic tools are identified and selected in accordance    with the job specification.

Tools are inspected for damage in line with enterprise requirements

Damaged tools must be reported and repaired according to manufacturer’s specification.

Contents:

Standard application of electric power and hydraulic tools.

Types of electrical tools, instruments, materials and their specifications

Specifications of electrical supplies and materials.

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Screw driver Wrenches Pliers Electrician knifes Pipe reamer Pipe threader/bender Hack saw Manual/Hydraulic puncher POWER TOOLS Electric hand drill Hand or electric taping/threading Soldering tools Jack hammer | PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles Safety shoes INSTRUMENTS Multi-tester Clamp ammeter Insulation tester Earth leakage tester Ground resistance test SUPPLIES/MATERIALS Lubricants Spare parts |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Method:

Direct observation

Practical Interview

LO2.	Maintain electrical power and hydraulic tools

Assessment Criteria:

- Electric power and hydraulic tools are checked in good conditions.

Auxiliary part of power and hydraulic tools are inspected and replaced according  to manufacturer’s specifications.

Electric power and hydraulic tools are safe and properly stored.

Contents:

Proper maintenance in electric and hydraulic tools

Specification of power and hydraulic tools

Electric and hydraulic tools safety practices

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Screw driver Wrenches Pliers Electrician knifes Pipe reamer Pipe threader/bender Hack saw Manual/Hydraulic puncher POWER TOOLS Electric hand drill Hand or electric taping/threading Soldering tools Jack hammer | PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles Safety shoes INSTRUMENTS Multi-tester Clamp ammeter Insulation tester Earth leakage tester Ground resistance test SUPPLIES/MATERIALS Lubricants Spare parts |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

Unit of Competency	:	Perform Roughing-in and wiring activities for bus ducts and underfloor ducts

Module Title	:	Performing Roughing-in for bus and under floor installation

Module Descriptor	:	This module deals covers the knowledge and attitudes on installing bus ways or bus duct, fittings, boxes, and under floor duct under the required performance standard.

Nominal Duration	:	24 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the students/trainees should be able to:

LO1.	Install bus way or bus duct and fittings.

LO2. 	Install underfloor duct and fittings.

LO1.	Install bus duct or bus way and fittings

Assessment Criteria:

- Correct drawings are interpreted base on the job requirements.

Proper handling and installation of bus duct or bus way as per job              requirements.

Tools and equipment are selected as per job requirements.

Bus duct or bus way is assembled ensuring that fitting are fully                  inserted and tightened based on the requirement.

Safety procedures are followed in the line with standard operating               procedure.

.

Contents:

Standard application of tools, materials and equipments in accordance with PEC/NEMA.

Basic methods and requirements for the installation are implemented

Specifications of electrical supplies and materials.

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Screw driver Wrenches Pliers Electrician knifes Pipe reamer Pipe threader/bender Hack saw Manual/Hydraulic puncher POWER TOOLS Electric hand drill Hand or electric taping/threading Soldering tools Jack hammer | PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles Safety shoes INSTRUMENTS Multi-tester Clamp ammeter Insulation tester Earth leakage tester Ground resistance test SUPPLIES/MATERIALS Lubricants Spare parts |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

LO2.	Install underfloor duct and fitting

Assessment Criteria:

- Correct drawings are interpreted base on the job requirements.

Proper installation of under floor duct as per job requirements.

Tools and equipment are selected as per job requirements.

Under floor duct and fittings are assembled ensuring that are fully inserted and tightened based on the requirement.

Safety procedures are followed in the line with standard operating procedure

Contents:

Standard application of tools, materials and equipments in accordance with PEC/NEMA.

Basic methods and requirements for the installation are implemented.

Specifications of electrical supplies and materials.

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Screw driver Wrenches Pliers Electrician knifes Pipe reamer Pipe threader/bender Hack saw Manual/Hydraulic puncher POWER TOOLS Electric hand drill Hand or electric taping/threading Soldering tools Jack hammer | PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles Safety shoes INSTRUMENTS Multi-tester Clamp ammeter Insulation tester Earth leakage tester Ground resistance test SUPPLIES/MATERIALS Lubricants Spare parts |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

UNIT OF COMPETENCY	:	Perform installation of wiring devices for floor and ground fault current interrupting   outlets

Module Title	:	Performing Installation of Floor and ground fault current interrupter

Module Descriptor	:	This module covers the knowledge and attitudes on installing, selecting and documenting for floor outlets and ground fault current interrupter.

Nominal Duration	:	24 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the students/trainees should be able to:

LO1.	Select the wiring devices used for floor and ground fault current interrupter.

LO2. 	Install the wiring devices for floor and ground fault current interrupter based on standard.

LO3.	Notify the completion of work in accordance with the requirement.

LO1.	Select the wiring devices used for floor and ground fault current interrupter

Assessment Criteria:

- Drawings are interpreted for the selection of wiring devices based on the job requirements.

Correct quantity of wiring devices and other materials are identified to be used job requirements.

Tools and equipments use are selected as per job requirements.

Correct Personal Protection Equipment (PPE) are identified and selected in the line of safety requirements.

.

Contents:

Standard application of tools, materials and equipments in accordance with PEC/NEMA.

Safety procedure of handling electrical materials and devices

Specifications of electrical supplies and materials.

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Pliers Screw driver Wrenches Electric hand drill Electrician knives Hand or electric tapping/threading Hack saw Manual/Hydraulic puncher Soldering tools Pipe threader/bender Pipe reamer Jack hammer Ball peen hammer POWER TOOLS Electric hand drill Soldering tools Jack hammer | PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles Safety shoes INSTRUMENTS Multi-tester Clamp ammeter Insulation tester Earth leakage tester Ground resistance test SUPPLIES/MATERIALS GFCI Stranded cable wire Circuit breaker Power Panel Floor receptacle outlet |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment MethodS:

Direct observation

Practical Interview

LO2.	Install the wiring devices for floor and ground fault current interrupter based on standard

Assessment Criteria:

- Drawings are interpreted base on the job requirements.

Correct installation of wiring devices for floor and ground fault current interrupter in accordance with standard.

Tools and equipment are selected as per job requirements.

Gantt chart is followed based on agreed time, quality work standard.

Safety procedures are followed in the line with standard operating procedure.

.

Contents:

Standard application of tools, materials and equipments in accordance with PEC/NEMA.

Basic methods and requirements for the installation are implemented.

Specifications of electrical supplies and materials.

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Pliers Screw driver Wrenches Electric hand drill Electrician knives Hand or electric tapping/threading Hack saw Manual/Hydraulic puncher Soldering tools Pipe threader/bender Pipe reamer Jack hammer Ball peen hammer POWER TOOLS Electric hand drill Soldering tools Jack hammer | PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles Safety shoes INSTRUMENTS Multi-tester Clamp ammeter Insulation tester Earth leakage tester Ground resistance test SUPPLIES/MATERIALS GFCI Stranded cable wire Circuit breaker Power Panel Floor receptacle outlet |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

LO3.	Notify the completion of work in accordance with the requirement

Assessment Criteria:

- Final checks are made to ensure the work conforms to instructions and requirements.

Tools, and equipments and surplus resources and materials are, where appropriate, cleaned and checked and returned to storage in accordance with established procedures.

Work area is cleaned and made safe according to OSHA regulations.

.

Contents:

Standard based on the requirement of PEC/NEMA.

Electrical testing procedures.

Industrial and Electrical Safety

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Pliers Screw driver Wrenches Electric hand drill Electrician knives Hand or electric tapping/threading Hack saw Manual/Hydraulic puncher Soldering tools Pipe threader/bender Pipe reamer Jack hammer Ball peen hammer POWER TOOLS Electric hand drill Soldering tools Jack hammer | PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles Safety shoes INSTRUMENTS Multi-tester Clamp ammeter Insulation tester Earth leakage tester Ground resistance test SUPPLIES/MATERIALS GFCI Stranded cable wire Circuit breaker Power Panel Floor receptacle outlet |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

Unit of Competency	:	Perform installation of electrical protection system for lightning and grounding

Module Title	:	Performing Installation of electrical protection system for lightning and grounding

Module Descriptor   :	This module covers the knowledge, skill and attitudes in the installation of electrical protection system, such as safety switch, fuse cut-out, low voltage switch gear, earth leakage circuit breaker, conventional atmospheric lightning protection and grounding system.

Nominal Duration	:	40 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the students/trainees should be able to:

LO1.	Plan and prepare work.

LO2. 	Install electrical protection system.

LO3.	Notify completion of work.

LO1.	PLAN AND PREPARE WORK

Assessment Criteria:

- Instructions for the preparation of the work activity are communicated and confirmed to ensure clear understanding.

Tools and equipment and PPE needed to install electrical wiring are identified, check to ensure they work correctly as intended and are safe to use in accordance with established procedure.

Materials needed for work are obtained in accordance with established procedures.

Contents:

Standard application of tools, materials and equipments in accordance with PEC/NEMA.

Safety procedure of handling electrical materials and devices

Specifications of electrical supplies and materials.

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Pliers Screw driver Wrenches Electric hand drill Electrician knives Hand or electric tapping/threading Hack saw Soldering tools Pipe threader/bender Pipe reamer POWER TOOLS Electric hand drill Hand or electric tapping/threading Soldering tools Jack hammer | PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles Safety shoes INSTRUMENTS Multi-tester Insulation tester Earth leakage tester Ground resistance tester SUPPLIES/MATERIALS Anchor bolt Stranded cable wire Circuit breaker Power Panel Fuse cut-out Grounding rod Grounding electrode conductor Equipment bonding main |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

LO2.	Install Electrical Protection System

Assessment Criteria:

- Safety policies and procedures are followed in accordance with duly accepted international safety standards.

Schedule of work is follow is follow to ensure work is completed an agreed time, to quality standard and with a minimum waste.

Further instructions are sought from supervisor if unplanned events or conditions occur.

On-going checks of quality of work are done in accordance with instructions and requirements.

Contents:

Standard application of tools, materials and equipments in accordance with PEC/NEMA.

Safety procedure of handling electrical materials and devices

Specifications of electrical supplies and materials.

Interpretation of electrical plan and drawings

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Pliers Screw driver Wrenches Electric hand drill Electrician knives Hand or electric tapping/threading Hack saw Soldering tools Pipe threader/bender Pipe reamer INSTRUMENTS Multi-tester Insulation tester Earth leakage tester Ground resistance tester Conventional Atmospheric Lightning Protection | PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles Safety shoes POWER TOOLS Electric hand drill Hand or electric tapping/threading Soldering tools Jack hammer SUPPLIES/MATERIALS Anchor bolt Stranded cable wire Circuit breaker Power Panel Fuse cut-out Grounding rod Grounding electrode conductor Equipment bonding main Lightning Arrester |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

LO3.	Notify completion of work

Assessment Criteria:

- Final checked are made to ensure the work conforms to instructions and requirement.

Supervisor is notified upon completion of work.

Tools, equipments and any surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with established procedures.

Work area is cleaned and made safe.

Contents:

Standard installation procedure manual (User’s manual)

Specifications of tools and equipment needed.

Standard based on the requirement of PEC/NEMA.

Electrical testing procedures.

Industrial and Electrical Safety

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Pliers Screw driver Wrenches Electric hand drill Electrician knives Hand or electric tapping/threading Hack saw Soldering tools Pipe threader/bender Pipe reamer POWER TOOLS Electric hand drill Hand or electric tapping/threading Soldering tools Jack hammer | PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles Safety shoes INSTRUMENTS Multi-tester Insulation tester Earth leakage tester Ground resistance tester SUPPLIES/MATERIALS Anchor bolt Stranded cable wire Circuit breaker Power Panel Fuse cut-out Grounding rod Grounding electrode conductor Equipment bonding main |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

Unit of Competency	:	Perform installation of Electrical Lighting System on auxiliary outlets and lighting fixture

MODULE TITLE	:	PerformING installation of Electrical Lighting System on auxiliary outlets and lighting fixture

Module Descriptor	:	This module covers the knowledge,. skills and attitudes on installing, selecting of lighting fixture for the lighting outlets and auxiliary outlets.

Nominal Duration	:	40 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the students/trainees should be able to:

LO1.	Plan and prepare work.

LO2. 	Install lighting fixtures.

LO3.	Notify the completion of work in accordance with the requirement.

LO1.	Plan and prepare work

Assessment Criteria:

- Instructions for the preparation of the work activity are communicated and confirmed to ensure clear understanding.

Tools, equipment and personal protective equipment (PPE) needed to install electrical wiring are identified, checked to ensure the work is done as intended and are safe to used in accordance with established     procedures.

Materials needed for work are obtained in accordance with  established procedures

Materials needed to do the work are estimated according to job requirements.

Contents:

Standard application of tools, materials and equipments in accordance with PEC/NEMA.

Safety procedure of handling electrical materials and devices

Specifications of electrical supplies and materials.

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Screw driver Wrenches Pliers Electrician knifes Pipe reamer Pipe threader/bender Hack saw Manual/Hydraulic Puncher POWER TOOLS Electric hand drill Hand or electric tapping/threading Soldering tools Jack hammer | PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles Safety shoes INSTRUMENTS Multi-tester Insulation tester Ground resistance tester Lux meter SUPPLIES/MATERIALS Stranded cable wire Circuit breaker Lighting fixtures Octagonal boxes |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

LO2.	Install LIGHTING FIXTURES

Assessment Criteria:

- Drawings are interpreted base on the job requirements.

Correct installation of wiring devices for floor and ground fault current interrupter in accordance with standard.

Tools and equipment are selected as per job requirements.

Gantt chart is followed based on agreed time, quality work standard.

Safety procedures are followed in the line with standard operating procedure.

Contents:

Standard application of tools, materials and equipments in accordance with PEC/NEMA.

Basic methods and requirements for the installation are implemented.

Specifications of electrical supplies and materials.

Conditions:  Students/trainees must be provided with the following:

| HAND TOOLS Pliers Screw driver Wrenches Electric hand drill Electrician knives Hand or electric tapping/threading Hack saw Soldering tools Pipe threader/bender Pipe reamer PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles Safety shoes | POWER TOOLS Electric hand drill Hand or electric tapping/threading Soldering tools Jack hammer INSTRUMENTS Multi-tester Insulation tester Earth leakage tester Ground resistance tester SUPPLIES/MATERIALS Anchor bolt Stranded cable wire Circuit breaker Power Panel Fuse cut-out Grounding rod Grounding electrode conductor Equipment bonding main |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

LO3.	Notify the completion of work in accordance with the requirement

Assessment Criteria:

- Final checks are made to ensure the work conforms to instructions and requirements.

Tools, and equipments and surplus resources and materials are, where appropriate, cleaned and checked and returned to storage in accordance with established procedures.

Work area is cleaned and made safe according to OSHA regulations.

Supervisor is notified upon completion of work.

Contents:

Standard based on the requirement of PEC/NEMA.

Electrical testing procedures.

Industrial and Electrical Safety

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Screw driver Wrenches Pliers Electrician knifes Pipe reamer Pipe theader/bender Hack saw Manual/Hydraulic Puncher PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles Safety shoes | POWER TOOLS Electric hand drill Hand or electric tapping/threading Soldering tools Jack hammer INSTRUMENTS Multi-tester Insulation tester Ground resistance tester Lux meter SUPPLIES/MATERIALS Stranded cable wire Circuit breaker Lighting fixtures Octagonal boxes |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

UNIT OF COMPETENCY	:	Perform installation of data measurement and control systems on electrical and auxiliary equipment

Module Title	:	Performing installation of data     measurement and control systems on   electrical and auxiliary equipment

MODULE DESCRIPTOR	:	This module covers the knowledge, skill and attitudes in installation of wiring electrical devices, auxiliary, lighting and protection system based on required performance standard.

NOMINAL DURATION	:     80 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the students/trainees should be able to:

LO1.	Plan and prepare work.

LO2. 	Request materials, tools and equipment needed.

LO3.	Install electrical, auxiliary and protection system of an equipment.

LO4.	Install electrical wiring.

LO5.	Notify completion of work.

LO1.	Plan and prepare work

Assessment Criteria:

- Instructions for the preparation of work activity are communicated and confirmed to immediate superior to ensure clear understanding.

Drawings/diagram are read and interpreted in accordance with job requirements.

Correct type, quantity, size and rating of electrical devices, auxiliary and protection system equipment and other materials are identified in the line with the job requirements.

Tools, equipment and Personnel Protective Equipment needed are identified and selected in accordance with established procedures.

Estimated time of work completion in determined in accordance with the job requirement

Contents:

Reading and interpreting diagram and electrical drawing.

Schematic diagram based on standard.

Types functions, uses of different devices, auxiliary and protection system and accessories.

NEC/PEC/NEMA Standards on auxiliary system installations.

Power calculation

Prepare a report on potential hazards identified.

Conditions:

Students/trainees must be provided with the following:

Equipment electrical diagrams

Historical records

Manuals

Brochures

Pencil/Ball pen

Drawing/diagram

Calculator

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

LO2.	Request materials, tools and equipment

Assessment Criteria:

- Quantity, usage and specifications of materials, tools and equipment are verified according to job requirements.

Requisition form is properly filled-up according to list of materials, tools and equipment prepared.

Requisition form is approved by immediate superior.

.

Contents:

Reading layout plans and diagrams

Estimating quantities of supplies and materials.

Identify tools and equipment

Conditions:

Students/trainees must be provided with the following:

Requisition form(s)

Industry/Institution

Quality Manual

User’s Guide

Drawing/diagram

Calculator

Layout plan

Brochures (tools, equipment and materials)

Ball pen

Bond paper

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

LO3.	Install Electrical, Auxiliary and protection system equipment

Assessment Criteria:

- Safety procedures are followed according to enterprise and government regulations.

Installation criteria for electrical, auxiliary and protection system equipment are carried out in line with job requirement and PEC standard.

Work schedule is followed to ensure job is completed on time in accordance with a quality standard.

Further instructions are sought from the immediate superior in the event of unplanned events or conditions occurred.

On-going checks of quality work are undertaken with strict compliance in accordance with instructions and requirements.

.

Contents:

Standard application of tools, materials and equipments.

Phil. Electrical Code (PEC) Standard on electrical auxiliary and protection system equipment.

Installation diagrams and manuals

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Wire crimper File (round/flat) Oil gun Pipe cutter Pipe reamer Spirit level(magnetic) Plumb bob Chalk line Pipe threader Stranded cable wire Circuit breaker Lighting fixtures Octagonal boxes EQUIPMENT Power supply Automatic voltage regulator Un-interruptible power supply Generator and motors Transformer Capacitors Inverters/rectifier Controllers Motor control Electro-mechanical controller Electro-Pneumatic controller Electronics drives Solid State controller PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles Safety shoes | POWER TOOLS Electric hand drill Hand or electric tapping/threading Soldering tools Jack hammer INSTRUMENTS Multi-tester Insulation tester Earth leakage tester Ground resistance tester SUPPLIES/MATERIALS Receptacle Outlets Switches Push button Selector switch Step switch Emergency switch Terminal Box Relays Timer Counter Contactors Sensors Proximity switch Limit switch Fire detector Smoke switch Photo-electric switch Battery bank and charger Pressure switch Float switch Flow switch Metering devices |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Practical/performance test

Direct Observation

LO4.	Install Electrical Wiring

Assessment Criteria:

- Safety procedures are followed according to enterprise and government regulations.

Electrical wiring criteria are followed in the line with job requirements and PEC standard.

Work schedule is followed to ensure job is completed on time in accordance to quality standard and with minimum wastage.

Contingency measures are applied during occurrence of unplanned events or conditions

On-going checks of quality work are undertaken with instructions and requirements.

Preliminary checks/test are conducted in line with job requirements.

.

Contents:

Standard application of tools, materials and equipments.

Installation diagram and manuals.

SOP in installing electrical wiring.

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Wire crimper File (round/flat) Oil gun Pipe cutter Pipe reamer Spirit level(magnetic) Plumb bob Chalk line Pipe threader EQUIPMENT Power supply Automatic voltage regulator Un-interruptible power supply Generator and motors Transformer Capacitors Inverters/rectifier Controllers Motor control Electro-mechanical controller Electro-Pneumatic controller Electronics drives Solid State controller | PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles Safety shoes POWER TOOLS Electric hand drill Hand or electric tapping/threading Soldering tools Jack hammer INSTRUMENTS Multi-tester Insulation tester Earth leakage tester Ground resistance tester SUPPLIES/MATERIALS Anchor bolt Stranded cable wire Circuit breaker Power Panel Fuse cut-out Grounding rod Grounding electrode conductor Equipment bonding main |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Practical

Performance test

LO5.	Notify completion of work

Assessment Criteria:

- Final checks are made to ensure that work conforms to instructions and job requirements.

Immediate superior is notified upon completion of work.

Tools, equipment and any excess resources and materials are cleaned checked and returned to storage area in accordance with enterprise procedure.

Work area is cleaned up and made safe in accordance with OSH requirements.

.

Contents:

Different types of testing instruments

Standard testing procedures

Safety on testing completed electrical system.

5 S

Preparing test performance report

Conditions:

Students/trainees must be provided with the following:

Instruments

Multi-tester

Insulation resistance tester

Clamp-on meter

Tachometer

Frequency meter

Ammeter

Lux meter

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

Unit of Competency	:	Assemble electrical lighting and motor control system

Module Title	:	Assembling electrical lighting and motor control system

Module Descriptor	:	This module covers the knowledge, skills and attitudes in performing assembly of electrical control system.

Nominal Duration	:	40 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the students/trainees should be able to:

LO1.	Check / review type and purpose of electrical control system.

LO2. 	Request materials, tools and equipment.

LO3.	Inspect electrical materials and tools.

LO4.	Assemble electrical control system.

LO5.	Notify completion of work.

LO1.	Check/Review the type and purpose of electrical control system

Assessment Criteria:

- Wiring diagram and layout/shop drawings are obtained according to job requirements.

Drawings are read and interpreted in accordance with job requirements

Estimated work schedule is verified with immediate superior.

Correct rating, quantity, sizes and type of control components and wiring devices and other materials are identified in the line with job requirement.

Correct size and degree of protection of enclosures are verified in the line with job requirements.

Tools and testing instruments are properly selected in the line with job  requirements

Correct PPE are identified and selected in the line with safety requirements

Submit complete data on inspection report based on job requirements to immediate superior.

.

Contents:

Specifications of electrical control devices in accordance with NEMA/PEC standard.

Operations and functions of electrical control devices, insulators types, used in accordance with the ampacity.

Degree of protection of NEMA Standard.

Personal Protective Equipment (PPE)

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Pliers Screw driver Wrenches Electric hand drill Electrician knives Hand or electric tapping threading Hack saw Manual/Hydraulic puncher Soldering tools Pipe threader/bender Pipe reamer PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles Safety shoes | INSTRUMENTS Multi-tester Clamp ammeter Insulation tester Earth leakage tester Ground resistance tester Harmonic meter SUPPLIES/MATERIALS Anchor bolt Stranded cable wire Circuit breaker Power Panel Fuse cut-out Grounding rod Grounding electrode conductor Equipment bonding main |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical interview

LO2.	Request Materials, Tools and Equipment

Assessment Criteria

- Quantity, usage and specifications of materials, tools and equipment are verified according to job requirements.

Requisition form is properly filled-up according to list of materials, tools and equipments prepared.

Requisition forms are approved by immediate superior.

.

Contents:

Specifications of electrical control devices in accordance with NEMA/PEC standard.

Conductors and insulators types, used in accordance with the ampacity.

Degree of protection of NEMA Standard.

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Pliers Screw driver Wrenches Electric hand drill Electrician knives Hand or electric tapping/threading Hack saw Manual/Hydraulic puncher Soldering tools Pipe threader/bender Pipe reamer POWER TOOLS Electric hand drill Hand or electric tapping/threading Soldering tools Jack hammer PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles | INSTRUMENTS Multi-tester Clamp ammeter Insulation tester Earth leakage tester Ground resistance tester Harmonic meter Manuals and diagrams Schematic Diagram Requisition form SUPPLIES/MATERIALS Control transformer Selector switch Cable ducts Din rails Wire marker Circuit Breaker Controllers Relays Timers Pilot Lamps Push buttons Actuators Daized fuse Glands/Grommet Cable tie Stranded wires |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical interview

LO3.	Inspect Electrical Materials and Tools

Assessment Criteria

- Delivered materials are checked/inspected/tested according to quantity, usage and specifications.

Defective / sub-standard electrical materials are identified according to physical damaged and quality is reported to immediate superior for replacement.

Submit inspection reports on deliveries of electrical materials and tools to immediate superior.

.

Contents:

Specifications of electrical control devices in accordance with NEMA/PEC standard.

Conductors and insulators types, used in accordance with the ampacity.

Degree of protection of NEMA Standard.

Conditions:

Students/trainees must be provided with the following:

| HAND TOOLS Hand Tools Pliers Screw driver Wrenches Electric hand drill Electrician knives Hand or electric tapping/threading Hack saw Manual/Hydraulic puncher Soldering tools Pipe threader/bender Pipe reamer | INSTRUMENTS Multi-tester Clamp ammeter Insulation tester Earth leakage tester Ground resistance tester Harmonic meter PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

LO4.	Assemble Electrical Control SYSTEM

Assessment Criteria:

- Safety procedures are followed according to enterprise and government regulations.

Electrical control components and wiring devices are lay-out, mounted or installed according to electrical drawing, electrical plan, specifications and PEC standard.

Work schedule is followed to ensure job is completed on time in accordance to a quality standard and minimum wastage.

Further instructions are sought from the immediate superior in the event of unplanned events or condition occurred.

On going checks of quality of work are under taken with strict               compliance in accordance with instructions and requirements.

.

Contents:

Specifications of electrical control devices in accordance with NEMA/PEC standard.

Conductors and insulators types, used in accordance with the ampacity.

Degree of protection of NEMA Standard.

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Pliers Screw driver Wrenches Electric hand drill Electrician knives Hand or electric tapping/threading Hack saw Manual/Hydraulic puncher Soldering tools Pipe threader/bender Pipe reamer POWER TOOLS Electric hand drill Hand or electric tapping/threading Soldering tools Jack hammer INSTRUMENTS Multi-tester Clamp ammeter Insulation tester Earth leakage tester Ground resistance tester Harmonic meter | PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles SUPPLIES/MATERIALS Manuals and diagrams Schematic Diagram Requisition form Timers Pilot Lamps Push buttons Actuators Daized fuse Glands/Grommet Cable tie Stranded wires Control transformer Selector switch Cable ducts Din rails Wire marker Circuit Breaker Controllers Relays |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment 	Methods:

Direct observation

Practical Interview

LO5. Notify Completion OF Work

Assessment Criteria:

- Immediate superior is notified upon completion of work.

Performance Test, are made to ensure that work conforms to instruction and job requirements.

Tools, equipment and any surplus material are cleaned, checked and returned to storage in accordance with establish procedures.

Work area I cleaned up and made safe in accordance with OSHA requirements.

.

Contents:

Specifications and ratings of electrical control devices in accordance with NEMA/PEC standard.

Job performance and accomplish report

Performance testing

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Pliers Screw driver Wrenches Electric hand drill Electrician knives Hand or electric tapping/threading Hack saw Manual/Hydraulic puncher Soldering tools Pipe threader/bender Pipe reamer POWER TOOLS Electric hand drill Hand or electric tapping/threading Soldering tools Jack hammer INSTRUMENTS Multi-tester Clamp ammeter Insulation tester Earth leakage tester Ground resistance tester Harmonic meter PERSONAL PROTECTIVE EQUIPMENT Proper working clothes Working gloves Gas/dust mask Safety goggles | SUPPLIES/MATERIALS Manuals and diagrams Schematic Diagram Requisition form Timers Pilot Lamps Push buttons Actuators Daized fuse Manuals and diagrams Schematic Diagram Requisition form Timers Pilot Lamps Push buttons Actuators Daized fuse Glands/Grommet Cable tie Stranded wires Control transformer Selector switch Cable ducts Din rails Wire marker Circuit Breaker Controllers Relays |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment 	Methods:

Direct observation

Practical Interview

Unit of Competency	:	Perform Maintenance, Troubleshooting and Repair Works

Module Title	:	Performing Maintenance, Troubleshooting and Repair Works

Module Descriptor	:	This module covers the knowledge, skill and attitudes in performing maintenance, troubleshooting and repair works.

Nominal Duration	:	80 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the students/trainees should be able to:

LO1.	Plan, prepare and coordinate maintenance works.

LO2. 	Maintain electrical system or equipment

LO3.	Troubleshoot faults in an electrical system or equipment

LO4.	Notify completion of work

LO1.	Plan, prepare and coordinate maintenance works

Assessment Criteria:

- Maintenance work schedule is prepared in accordance with         machine/equipment operating time/condition.

Work instructions are prepared according to machines manual and enterprise procedure.

Materials, tools, equipment, testing devices and PPE needed to complete job requirements are identified and requested/obtained in line with prepared work instructions.

Potential hazards are identified for prevention and control measures are selected in accordance with the work plan and site procedure.

Safety permit/Hot work permit is secured in accordance with enterprise procedure.

Concerned department/personnel are informed on the schedule of work according to standard operating procedure.

.

Contents: Students/trainees must be provided with the following:

Machines maintenance.

Established enterprise procedures

Maintenance materials, tools, equipment and testing devices

Safety on materials, tools, equipment and testing devices

Safety/Hot work permits

Maintenance Record

Electrical plans

Equipment electrical diagrams

Historical records

Job orders

Commissioning test record

Preventive Maintenance Schedules

Corrective Maintenance record

Manufacturer’s maintenance guide

Equipment breakdown records

Periodic monitoring data

Service monitoring data

Log book

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

LO2.	MaintaIn electrical system or equipment

Assessment Criteria:

- Safety policies and procedures are followed in accordance with OSHA and enterprise procedure.

Electrical system or equipment parts are properly tested/cleaned/lubricated according to manufacturer’s requirements or enterprise procedure.

Worn-out/malfunctioning electrical system or equipment parts are identified and replaced in accordance with manufacturer’s requirement or enterprise standards.

Readings of electrical measuring instruments are checked and identified defective instruments are referred for calibration/replacement in accordance with enterprise procedure.

Connectors, bolts, nuts, and screws are checked and tightened according to the sizes and torque requirements.

Routine/visual/sensory inspection is regularly conducted in line with normal operation.

Unforeseen events are responded in line with established procedures.

On going check of quality and progress of works are undertaken with strict compliance in line with established procedures.

Contents:

OSHA and enterprise safety policies and procedures.

Electrical system or equipment parts maintenance procedure

Electrical measuring instruments reading/calibration

Fasteners size and torque requirement

Inspection procedure.

Maintenance / monitoring record

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Pliers Screw drivers Wrenches Wire splicers Electrician knives Bolt cable cutter Knockout puncher Torque wrench EQUIPMENT Labeling machine Vacuum cleaner Air blower Dryer Welding machine (optional) Pressure washer Vacuum Pump PERSONAL PROTECTIVE EQUIPMENT Hard hat Working gloves Gas/dust mask Safety goggles Safety shoes Safety belt Safety ladder Insulating mat Face shield Lockout tags Maintenance record Electrical plans Equipment electrical diagrams Historical records Job orders Commissioning test record Preventive Maintenance Schedules Corrective Maintenance record Manufacturer’s maintenance guide Equipment breakdown records Periodic monitoring data Service monitoring data Log book | INSTRUMENTS Phase-sequence meter Multi-tester Ammeter Insulation Resistance tester (Megger) Ground resistance Meter Torque meter Low resistance SUPPLIES/MATERIALS Warning signages Lock-out/ Tag-out Thermometer Telephone/ telephone handset Working gloves Safety shoes Hard hat Face shield Contact cleaner Insulating varnish Carbon brushes Sand paper Waste rugs Electrical tapes Lubricants Motor cleaner Insulating oil Coolant |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Practical/performance test

Practical Interview

LO3.	Troubleshoot faults in an electrical system or equipment

Assessment Criteria:

- Safety policies and procedures are followed.

Availability of maintenance records are prepared in accordance with established procedure, or based on enterprise Quality Management System (QMS).

Circuit or equipment to be diagnosed is isolated (lockout/tag-out) in accordance with established procedure or according to duly accepted standard practices.

Indicators/symptoms of fault or failure are identified.

Necessary electrical test on the system or equipment is performed in accordance with established procedure or according to manufacturers’ guidelines.

Extent of the fault to include the time to accomplish the job and the spare part needed is estimated according to extent or damage.

Other works associated with the problem are coordinated with other concern group.

Details of fault, possible cause, corrective action, recommendation to eliminate the problem are recorded accordingly.

Unforeseen events are responded in line with established procedure.

Contents:

Electrical system or equipment parts maintenance procedure (QMS)

Standard practices on troubleshooting

Electrical test

Inspection/monitoring procedures

Conditions:

Students/trainees must be provided with the following:

Maintenance Record

Electrical plans

Equipment electrical diagrams

Historical records

Job orders

Commissioning test record

Preventive Maintenance Schedules

Corrective Maintenance record

Manufacturer’s maintenance guide

Equipment breakdown records

Periodic monitoring data

Service monitoring data

Log book

| HAND TOOLS Pliers Screw drivers Wrenches Wire splicers Electrician knives Bolt cable cutter Knockout puncher Torque wrench EQUIPMENT Labeling machine Vacuum cleaner Air blower Dryer Welding Machine (optional) Pressure washer Vacuum Pump INSTRUMENTS Phase-sequence meter Multi-tester Ammeter Insulation Resistance Tester (Megger) Ground resistance meter Torque meter Low resistance PERSONAL PROTECTIVE EQUIPMENT Hard hat Working gloves Gas/dust mask Safety goggles Safety shoes Safety belt Safety ladder Insulating mat Face shield Lockout tags | POWER TOOLS Electric hand drill Hand or electric tapping/threading Soldering tools Jack hammer SUPPLIES/MATERIALS Warning signages Lock-out/ Tag-out Thermometer Telephone/ telephone handset Working gloves Safety shoes Hard hat Face shield Contact Cleaner Insulating varnish Carbon brushes Sand paper Waste rugs Electrical tapes Lubricants Motor cleaner Insulating oil Coolant Maintenance Record Electrical plans Equipment electrical diagram Historical records Job orders Commissioning test record Preventive Maintenance Schedules Corrective Maintenance record Manufacturer’s maintenance guide Equipment breakdown records Periodic monitoring data Service monitoring data Log book |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

LO4.	Notify completion work

Assessment Criteria:

- Immediate superior is notify upon completion of work

Performance test are made to ensure that work conform to instruction and job requirements.

Tools, equipment and any surplus materials are cleaned, checked and returned to storage area in accordance with established procedure.

Work area is clean up with OSHA requirements.

Service report is prepared and submitted to appropriate officer.

Content

Performance test

Conditions: Students/trainees must be provided with the following:

| INSTRUMENTS Multi-tester (VOM) Phase sequence meter Ammeter Torque meter SUPPLIES/MATERIALS Contact Cleaner Insulating varnish/ Materials Sand papers Waste rugs Electrical tapes Lubricants Motor cleaner Insulating oil Brush Coolant | Maintenance Record Electrical plans Equipment electrical diagrams Historical records Job orders Commissioning test record Preventive Maintenance Schedules Corrective Maintenance record Manufacturer’s maintenance guide Equipment breakdown records Periodic monitoring data Service monitoring data Log book |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

Unit of Competency	:	Supervise/monitor for the installation and wiring on electrical, auxiliary and protection equipment

Unit of Competency	:	Supervising / monitoring for the installation and wiring on electrical, auxiliary and protection equipment

Module Descriptor	:	This module covers the knowledge, skill and attitudes in supervising/monitoring of electrical practitioner for the installation and wiring of electrical devices, auxiliary, lighting and protection system equipment

Nominal Duration	:	40 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the students/trainees should be able to:

LO1.	Conduct Planning and preparation of work.

LO2. 	Evaluate requested materials, tools and equipment needed.

LO3.	Supervise the installation of electrical, auxiliary and protection system equipment.

LO4.	Supervise the installation of electrical wiring.

LO5.	Notify completion of work.

LO1.	Conduct, Planning and preparation of work

Assessment Criteria:

- Give instructions for the preparation of work activity.

Explain working drawings/diagram and interpreted in accordance with job requirements.

Correct type, quantity, size and rating of electrical devices, auxiliary and protection system equipment and other materials are identified in the line with the job requirements.

Monitor the needed tools, equipment and Personnel Protective Equipment and size the selected materials in accordance with standard.

Estimated time of work completion in determined in accordance with the job requirement.

Contents:

Demonstration/interpretation of diagram and electrical drawing.

Schematic diagram based on standard.

Rating and sized of the different devices, auxiliary and protection system and accessories.

NEC/PEC/NEMA Standards on auxiliary system installations.

Power calculation

Prepare a report on potential hazards identified.

Conditions:

Students/trainees must be provided with the following:

Equipment electrical diagrams

Historical records

Manuals

Brochures

Pencil / ball pen

Drawing/diagram

Calculator

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

LO2.  Evaluate requestED materials, tools and equipment needED

Assessment Criteria:

- Verified the quantity, usage and specifications of materials, tools and    equipment according to job requirements.

Requisition form is properly filled-up according to the list of materials, tools and equipment prepared.

.

Contents:

Reading layout plans and diagrams

Estimating quantities of supplies and materials.

Requisition form

Conditions: Students/trainees must be provided with the following:

Requisition form(s)

Industry/Institution Quality Manual

User’s Guide

Drawing/diagram

Calculator

Layout plan

Brochures (tools, equipment and materials)

Ball pen

Bond paper

Methodologies:

Demonstration

Modular (self-paced)

Assessment Method:

Direct observation

Practical Interview

LO3.	Supervise the installation of electrical, auxiliary and protection system equipment

Assessment Criteria:

- Safety procedures are followed according to enterprise and government regulations

Monitoring the installation criteria for electrical, auxiliary and protection system equipment that are carried out in line with job requirement and PEC standard.

Monitoring the work scheduled to ensure job is completed on time in accordance with a quality standard.

On-going checks of quality work are undertaken with strict compliance in accordance with instructions and requirements.

Contents:

Standard application of tools, materials and equipments.

Phil. Electrical Code (PEC) Standard on electrical auxiliary and protection system equipment.

Installation diagrams and manuals

Conditions:

Students/trainees must be provided with the following:

Requisition form(s)

Industry/Institution Quality Manual

User’s Guide

wing/diagram

Calculator

Layout plan

Brochures (tools, equipment and materials)

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Practical/performance test

Practical Interview

LO4. 	Supervise the installation of electrical wiring

Assessment Criteria:

- Monitoring the safety procedures in the installation according to enterprise and government regulations.

Monitoring the electrical wiring criteria in the line with job requirements and

PEC standard.

Work schedule is followed to ensure job is completed on time in accordance to quality standard and with minimum wastage.

Contingency measures are applied during occurrence of unplanned events or conditions

On-going checks of quality work are undertaken with instructions and requirements.

Contents:

Standard application of tools, materials and equipments.

Installation diagram and manuals.

SOP in installing electrical wiring.

Conditions

Students/trainees must be provided with the following:

Requisition form(s)

Industry/Institution Quality Manual

User’s Guide

Drawing/diagram

Calculator:

Layout plan

Brochures (tools, equipment and materials)

Ball pen

Bond paper

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Practical/performance test

Practical Interview

LO5.	Notify completion of work

Assessment Criteria:

- Final checks are made to ensure that work conforms to instructions and job requirements.

Notified the completion of work.

Monitoring the tools, equipment and any excess resources and materials are cleaned, checked and returned to storage area in accordance with enterprise procedure.

Monitoring the work area is made safe in accordance with OSH requirements.

.

Contents:

Different types of testing instruments

Standard testing procedures

Safety on testing completed electrical system.

5 S

Preparing test performance report

Conditions:  Students/trainees must be provided with the following:

INSTRUMENTS

Multi-tester

Insulation resistance tester

Clamp-on meter

Tachometer

Frequency meter

Ammeter

Lux meter

requisition form(s)

Industry/Institution Quality Manual

User’s Guide

Drawing/diagram

Calculator

Layout plan

Brochures (tools, equipment and materials)

Methodologies:

Demonstration

Modular (self-paced)

Assessment MethodS:

Practical/performance test

Practical Interview

Unit of Competency	:	Perform commissioning of electrical equipment / systemS

Module Title	:	Performing commissioning of electrical EQUIPMENT / SYSTEM

Module Descriptor	:	This module covers the knowledge, skill and attitudes in commissioning electrical equipment and all auxiliary system used in industrial establishments based on the required performance standards.

Nominal Duration	:	40 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the students/trainees should be able to:

LO1.	Plan and prepare commissioning activities.

LO2. 	Conduct commissioning on electrical equipment / systems.

LO3.	Turn over electrical equipment / systems.

LO1.	Plan and prepare commissioning activities

Assessment Criteria:

- Work instructions are confirmed to immediate superior to ensure clear understanding of job requirements.

Commissioning procedures are planned according to job requirements

Materials and PPE needed to complete job requirements are obtained in line with established procedures.

Tools, equipment and testing devices needed for commissioning procedures are obtained, estimated and inspected for compliance with the job specification.

Potential hazards are identified and prevention and/or control measures are selected in accordance with the work plan and site procedures.

Commissioning activities are coordinated with the end-user or the department involved in accordance with the established procedure.

.

Contents:

Standard operating procedure in commissioning electrical systems.

Tools, equipment and testing devices for commissioning electrical system.

Personal Protective Devices.

Potential environmental hazards prevention.

Reading and following procedures according to job requirements.

Prepare a report on potential hazards identified.

Conditions:  Students/trainees must be provided with the following:

Maintenance record

Electrical plans

Equipment electrical diagrams

Historical records

Job orders

Commissioning test record

Preventive Maintenance Schedules

Corrective Maintenance record

Manufacturer’s maintenance guide

Equipment breakdown records

Periodic monitoring data

Service monitoring data

Log book

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

LO2.	CONDUCT Commissioning ON electrical equipment / systemS

Assessment Criteria:

- Safety policies and procedures are followed in accordance with duly accepted international safety standards.

Electrical testing criteria are followed in line with job requirements and established procedures.

Electrical equipments/system is commissioned in line with established procedures.

Unforeseen events are responded in line with established procedures and as per plans/drawings.

Records, electrical plans, and schematic diagram are revised/ updated according to changes incurred during commissioning.

Test data forms are filled-out and submitted to immediate superior for evaluation.

Contents:

NEC/PEC/NEMA Standard

Interpretation of plans and drawings

Types of electrical testing instruments/devices

Types of electrical equipment

Electrical testing procedure.

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Pliers Screw drivers Wrenches Wire splicer Electrician knives SUPPLIES and MATERIALS Warning signages Lock-out/ Tag-out Thermometer Telephone/ telephone handset Working gloves Safety shoes Hard hat Face shield | TESTING INSTRUMENTS Gauge manifold Pressure Analyzer Labeling machine Tachometer Phase-sequence indicator Multi-tester Ammeter Insulation resistance Ground resistance Meter Lux meter Thermal scanner Flow meter Pressure gauge Leak tester |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Practical/performance test

Practical Interview

LO3.	Turn over electrical equipment / systemS

Assessment Criteria:

- Final inspection is undertaken to ensure that commissioning of electrical system meets job requirements.

Tools, equipment and any excess resource and materials are cleaned, checked and returned to storage area in accordance with enterprise procedure.

Written report is prepared and submitted to immediate superior in accordance with enterprise procedure.

Monitoring data sheet for the newly installed system is accomplished based on the job requirement.

Orientation and technical assistance is provided to prospective operators based on company procedures.

.

Contents:

Standard operating procedure in commissioning electrical systems.

User’s Manual

Conditions:  Students/trainees must be provided with the following:

Maintenance record

Electrical plans

Equipment electrical diagrams

Historical records

Job orders

Commissioning test record

Preventive Maintenance Schedules

Corrective Maintenance record

Manufacturer’s maintenance guide

Equipment breakdown records

Periodic monitoring data

Service monitoring data

Log book

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

Unit of competency	:	Perform programming and installation of basic Programmable Logic Controller (PLC) system

Module Title	:	Performing programming and installation of basic Programmable Logic Controller (PLC) system

Module Descriptor	:	This module covers the knowledge, skill and attitudes necessary to install and program a basic programmable logic control.

Nominal Duration	:	40 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the students/trainees should be able to:

LO1.	Plan and prepare for installation.

LO2. 	Identify materials, components tools and testing instruments of PLC system.

LO3.	Install / test field and control devices.

LO4.	Create / modify, install and test basic PLC program.

LO1.	Plan and prepare for installation

Assessment Criteria:

- Work instructions are read and interpreted to determine job requirements.

Tools and testing devices needed to carry out the installation work are selected in accordance with established procedures and checked for correct operation and safety.

Materials and components necessary to complete the work are obtained in  accordance with job requirements.

Contents:

Ladder diagram

Statement list/editor list

Function block

Mnemonic charts

Basic computer operation

Component parts of PLC

Electrical devices

Cylinders

Hydraulics

Pneumatics

Power supply

Conditions:  Students/trainees must be provided with the following:

PLC plan and specification.

Requisition form

Industry/Institution Quality Manual

User’s guide

Ladder diagram.

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

LO2.	Identify materials, components tools and testing instruments of PLC system

Assessment Criteria:

- Materials, components tools and testing instruments of PLC system are identified/ selected in accordance with established procedure and checked for correct operation and safety.

Electrical testing criteria are followed in line with job requirements and standard procedure.

Tools and testing instruments are cleaned, checked and returned to storage area in accordance with the 5S.

Contents:

Types of tools and testing instruments

Materials an components of PLC system

Properties and composition of the materials used in PLC system.

Description of materials, components, tools an testing instruments used in PLC control system.

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Pliers Screw drivers Wrenches Wire’s stripper Electrician’s knives Measuring tools Crimping tools SUPPLIES/MATERIALS Safety shoes Hard hat PLC CB/Fuses Relay Timers Terminal Blocks/Lugs Pilot Lamps Push Button | EQUIPMENT Generators and motors Transformer Capacitors Inverter/Rectifier Controller Motor controls Electro- mechanical controller Eletro-Pnuematic controller Actuator Cable duct Din rail Wire strap Cable tie Cable (royal cord) Wire marker Conductors Insulator Proper working |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment MethodS:

Practical/performance test

Direct observation

LO3.	Install / test field and control devices

Assessment Criteria:

- Appropriate personal protective equipment is worn in line with standard operating procedures

Occupational Health & Safety policies and procedure for installation are followed in line with the job requirements.

Devices are installed and tested in accordance with manufacturer’s instructions and requirements.

Work site is cleaned and cleared of all debris and made safe in accordance with the company requirements.

Report of installation and testing of equipment is prepared according to company’s procedures / policies.

Unplanned events or conditions are responded in accordance with established procedures.

.

Contents:

Identifying PPE

Applying OSH Policies

Types of electrical devices used in PLC system.

Testing of PLC components; input module, central control unit (CCU) output module.

Properties ad characteristics of the materials used PPE.

Heat transformation.

Temperature, volume and pressure relationship

Sensors (principles)

Hydraulics

Pneumatics

Reading and installation manual.

Preparing field and control devices test results.

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Pliers Screw drivers Wrenches Wire’s stripper Electrician’s knives Measuring tools Crimping tools SUPPLIES/MATERIALS Safety shoes Hard hat PLC CB/Fuses Relay Timers Terminal Blocks Lugs Pilot Lamps Push Button | EQUIPMENT Generators and motors Transformer Capacitors Inverter/Rectifier Controller Motor controls Electro- mechanical controller Eletro-Pnuematic controller Actuator Cable duct Din rail Wire strap Cable tie Cable (royal cord) Wire marker Conductors Insulator Proper working |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Practical/performance test

Practical Interview

LO4.	Create/modify, install and test basic PLC program

Assessment Criteria:

- Appropriate language is used according to applications.

Create/modified PLC program is tested/ run to ensure all syntax errors are corrected.

Test process is reviewed to ensure defect-free PLC program.

External documentation and back-up programs required for users are created/prepared according to company standards.

Contents:

Identifying computer language and their applications

Basic computer operations

Types of logic operation

Identifying parts of statement list

Applying different commands on the statement lists

Reading and following installation manual

Prepare report of modification on basic PLC program.

Conditions: Students/trainees must be provided with the following:

| HAND TOOLS Pliers Screw drivers Wrenches Wire’s stripper Electrician’s knives Measuring tools Crimping tools EQUIPMENT Generators and motors Transformer Capacitors Inverter/Rectifier Controller Motor controls Electro-mechanical controller Eletro-Pnuematic controller | SUPPLIES/MATERIALS PLC CB/Fuses Relay Timers Terminal Blocks/ Lugs Safety shoes Hard hat Pilot Lamps Push Button Actuator Cable duct Din rail Wire strap Cable tie Cable (royal cord) Wire marker Conductors Insulator Proper working |
| --- | --- |

Methodologies:

Demonstration

Modular (self-paced)

Assessment Methods:

Direct observation

Practical Interview

# What is Competency-Based Curriculum (CBC)

- A competency-based curriculum is a framework or guide for the subsequent detailed development of competencies, associated methodologies, training and assessment resources.

- The CBC specifies the outcomes which are consistent with the requirements of the workplace as agreed through the industry or community consultations.

- CBC can be developed immediately when competency standards exist.

- When competency standards do not exist, curriculum developers need to clearly define the learning outcomes to be attained. The standard of performance required must be appropriate to industry and occupational needs through the industry/enterprise or specified client group consultations.

These materials are available in both printed and electronic copies.

For more information please contact:

Technical Education and Skills Development Authority (TESDA)

Telephone Nos.: 893-8281, 817-4076 to 82 loc. 611, 630, 631 and 635 or visit our website: www.tesda.gov.ph or the TESDA Regional or Provincial Office nearest you.