|  | Technical Education and Skills Development Authority |
| --- | --- |

COMPETENCY-BASED CURRICULUM

Heating, Ventilating Air Conditioning and Refrigeration (HVAC/R) Sector

RAC Servicing (Domestic Refrigeration and Air Conditioning) NC II

Qualifications and Standards Office

TESDA Complex

East Service Road, South Superhighway

Taguig City, Metro Manila

Tel. No. (02) 893-8281, 8938303

www.tesda.gov.ph

# TABLE OF CONTENTS

Page

- COURSE DESIGN	1

- MODULES OF INSTRUCTION

  - Participating in workplace communication…………………	8

  - Working in a team environment………………....	12

  - Practicing career professionalism .…………….	15

  - Practicing occupational health and safety procedures	19

  - Preparing materials and tools	24

  - Interpreting technical drawings	28

  - Observing procedures, specifications and manuals of instructions	31

  - Performing mensurations and calculations	36

  - Performing basic benchwork	41

  - Performing basic electrical works	50

  - Maintaining tools and equipment	56

  - Performing housekeeping and safety practices	60

  - Documenting work accomplished	68

  - Installing window type air-conditioning/domestic refrigeration units	71

  - Servicing and maintaining window type air-conditioning/domestic refrigeration units	78

  - Troubleshooting window-type air-conditioning/domestic refrigeration systems	87

# COURSE DESIGN

# COURSE TITLE	:	RAC SERVICING (DOMESTIC REFRIGERATION AND AIR-CONDITIONING) NC II

TRAINING DURATION	:	480 hours

COURSE DESCRIPTION	:

This course is designed to enhance the knowledge, desirable attitudes and skills standard in the field of RAC Services in accordance with industry standards. It covers competencies such as; Participate in workplace communication, work in team environment, practice career professionalism, occupational health and safety procedures, prepare materials and tools, perform mensuration and calculations, perform basic bench work,perform basic electrical works, maintain tools and equipment , perform housekeeping and safety practices and document work accomplished Install, service and maintain, troubleshoot, recover and recycle, repair and retrofit window-type air-conditioning / domestic refrigeration unit.

ENTRY REQUIREMENTS:

Student/trainee must posses any of the following qualifications;

- Good moral character

- Can communicate in oral and written

- Physically and mentally fit

- Can perform basic mathematical computation

COURSE STRUCTURE:

| Unit of Competency | Module Title | Learning Outcomes | Training Duration |
| --- | --- | --- | --- |
| Participate in workplace communication | Participating in workplace communication | Obtain and convey workplace information Participate in workplace meeting and discussion Complete relevant work related documents | 4 hours |
| Work in a team environment | Working in a team environment | Describe and identify team role and responsibility in a team Describe work as a team member | 4 hours |
| Practice career professionalism | Practicing career professionalism | Integrate personal objectives with organizational goals Set and meet work priorities Maintain professional growth and development | 4 hours |
| Practice occupational health and safety procedures | 4.1 Practicing occupational health and safety procedures | Identify hazards and risks Evaluate hazard and risks Control hazards and risks Maintain occupational health and safety awareness | 6 hours |
| Prepare materials and tools | Preparing materials and tools | Identify materials and tools Request materials and tools Receive and inspect materials and tools | 4 hours |
| Interpret technical drawings | Interpreting technical drawings | Analyze symbols and data Interpret work plans | 4 hours |
| Observe procedures, specifications and manuals of instructions | Observing procedures, specifications and manuals of instructions | Identify and access specifications and manuals Interpret manuals Apply information in manuals Store manuals | 2 hours |
| Perform mensurations and calculations | Performing mensurations and calculations | Select measuring instruments Carry-out measurements and calculations | 2 hours |

| Unit of Competency | Module Title | Learning Outcomes | Training Duration |
| --- | --- | --- | --- |
| Perform basic benchwork | Performing basic benchwork | Prepare materials, tools and equipment for layout Layout features in workplace Cut sheets, plates and bars Smooth sheets, plates and bars Drill holes in sheets, plates and bars Bore holes in plates and bars Bend sheets, plates and bars Join sheets, plates and bars | 8 hours |
| Perform basic electrical works | Performing basic electrical works | Measure and analyze circuit and load resistance in electrical system Measure and analyze voltage in electrical system Measure and analyze current in electrical system Test simple electrical components and connections Repair minor electrical system troubles | 8 hours |
| Maintain tools and equipment | Maintaining tools and equipment | Check the conditions of tools and equipment Perform basic preventive maintenance Store tools and equipment | 4 hours |
| Perform housekeeping and safety practices | Performing housekeeping and safety practices | Sort materials, tools and equipment Clean workplace area, materials, tools and equipment Systematize dispensing and retrieval of materials, tools and equipment Identify and minimize/ eliminate hazards Respond and record accidents Follow basic security | 6 hours |

| Unit of Competency | Module Title | Learning Outcomes | Training Duration |
| --- | --- | --- | --- |
| Document work accomplished | Documenting work accomplished | Identify forms and data Prepare reports | 4 hours |
| Install Domestic Refrigeration and Airconditioning (DomRAC) Units | Installing Window type Air-conditioning/ Domestic Refrigeration units | Conduct survey Install electrical circuit Install window type aircon Conduct performance test | 60 hours |
| Service and Maintain Window-type Air-conditioning/ Domestic Refrigeration units | Servicing and Maintaining Window-Type Air-conditioning/ Domestic Refrigeration units | Clean and replace air filter Service evaporator and condenser Maintain fan motor assembly Service electrical power and control circuit Maintain refrigeration system | 60 hours |
| Troubleshoot and Repair Domestic Refrigeration and Air-conditioning (DomRAC) systems | Troubleshooting Window-type Air-conditioning / Domestic Refrigeration systems | Plan and prepare for troubleshooting and repair Identify and repair faults / troubles Perform refrigerant recovery / recycling and retrofitting / conversion on domestic refrigeration and air-conditioning unit Test- run repaired unit | 60 hours |

ASSESSMENT METHODS:

- Written examination

- Demonstration of practical skills

- Direct observation

- Interview

COURSE DELIVERY:

- Modular

- Demonstration

- Lecture

- Discussion

- Dual training

- Distance learning

RESOURCES:

| TOOLS | EQUIPMENT | MATERIALS |
| --- | --- | --- |
| QTY. | Description | QTY | Description | Qty. | Description |
| 10 pcs | Flaring tool | 3 units | Vacuum pump motor, high stage, 1/2 HP , 220 volts | 1 roll | Copper tube1/4 “, 3/8”, 5/16”, ½,1/8, 3/16, “OD, 50 ft. per roll |
| 10 pcs. | Swaging tool | 2 units | Recovery/ Recycling unit , portable type, 220 volts | 1 roll | Aluminum tube, 3/8 “OD, 100 ft. per roll |
| 5 pcs | Tube cutter | 2 units | Oxy- Acetylene welding machine w/ complete outfit | 1 roll | Capillary tube 1/16, OD, 100 ft. per roll |
| 5 pcs | Tube bender | 3 units | Reusable Service Cylinder 13.5kg | 50 pcs. | Silver rod |
| 4 pcs. | Sevice cylinder 2.5 kg.,10 kg. Capacity | 1 unit | Refrigerator , single door 5 cu. Ft. 220 volts | 50 pcs. | Aluminum rod |
| 10 pcs | Electrical pliers | 1 unit | Refrigerator, two door top mount freezer, 6 cu. Ft. 220 volts | 10 pcs. | Silver flux |
| 10 pcs. | Pliers, long nose | 1 unit | Refrigerator , two door no frost, 6 cu. Ft. 220 volts | 15 pcs. | Filter drier , ¼ “OD flared connection |
| 10 pcs. | Screw driver, flat | 1 unit | Freezer chest type, 10 cu Ft. 220 volts | 15 pcs. | Filter drier , ¼ “ OD solder connection |
| 10 pcs. | Screw driver Philips | 1 unit | Freezer, upright 6 cu. Ft. 220 volts | 25 pcs. | Flare cap , ¼ ” OD |
| 10 pcs. | Files | 1 unit | Water dispenser 220 volts | 25 pcs. | Flare union, ¼ “ OD |
| 5 sets. | Allen wrench | 3 units | Analog Clampmeter | 25 pcs. | Flare plug, ¼ OD |
| 5 pcs. | Adjustable wrench 8”, 10” | 3 units | Digital Clampmeter | 13.6kg. | Refrigerant 134a |
| 5 sets | Open wrench | 2 units | Window type aircon 2 hp 220 volts | 13.6kg. | Refrigerant 22 |
| 5 sets | Box wrench | 1 unit | Air compressor, complete w/ accessories 220 volts | 13.6 kgs | R 290 |
| 5 pcs. | Pipe wrench | 5 units | Compressor motor 100 w , 220 volts | 1 cyl. | Nitrogen gas |
| 5 pcs. | Vise grip , 6 , “8 “ | 2 units | Electric drill portable, 3/8 ½ , Chuck, 220 volts | 2 cyl. | Oxygen |

| TOOLS | EQUIPMENT | MATERIALS |
| --- | --- | --- |
| QTY. | Description | QTY | Description | Qty. | Description |
| 5 pcs. | Thinners snip, 8’’12” | 1 set | Pedestal grinding machine, 6” grinding wheel ¾ “ hp. 220 volts | 2 cyl. | Acetylene gas |
| 10 pcs. | Bullpen hammer, 12 oz | 1 unit | Arc welding machine, Ac max. 250 amps. 220 V, 60 hz. Heavy duty | 10 pcs. | Dual capacitor 25, 30, 35 mfd 370 vac |
| 5 pcs. | Rubber mallet ,oz | 10 sets | Gauge manifold w/ hoses | 10 pcs. | Fan capacitor ,3, 4, 5, 6, 7, mfd 220 vac |
| 10 pcs. | Hack saw | 5 sets | Digital Volt ohm mili- ammeter | 10 pcs. | Starting capacitor 60, 80, 100-105 mfd 220 volts |
| 5 pcs. | Spray gun | 5 sets | Analog VOM | 10 pcs. | Potential relay 1, 1.5 2 hp 220 volts |
| 10 pcs. | Steel rule , metric & english | 1 set | Electronic leak detector (Fluorine based) | 10 pcs. | Overload protector 1/6 ,1/8, 1/10 , 1/5, 1.5 2hp 220 volts |
| 10 pcs. | Push rule | 1 set | Electronic leak detector (Hydrocarbon based) | 10 pcs. | Current relay 1/5, 1/6, 1/8 , 1/10, hp 220 volts |
| 5 pcs. | Tri- square | 5 sets | Thermometer, dial type | 10 pcs. | Evaporator coil |
| 8 pcs. | Pinch off tool | 5 sets | Digital Thermometer | 10 pcs. | Condenser |
| 5 pcs. | Soldering iron, 100w , 220 volts | 1 set | Nitrogen regulator | 5 pcs, | Soldering lead |
|  |  | 2 units | Refractometer | 5 pcs. | Soldering paste |
|  |  | 2 units | Vacuumeter |  |  |
|  |  | 1 unit | Refrigerant identifier |  |  |
|  |  | 2 units | Weighing scale |  |  |
|  |  |  | Personal Protective Equipment |  | Tools/equipment for Conversion |
|  |  | 15 pairs | Safety gloves | 1 set | Insulated terminal connectors/rings |
|  |  | 15 pairs | Safety shoes | 5 pcs | Sealed terminal box |
|  |  | 15 pcs | Safety goggles/spectacles | 5 sets | Screwed cable glands (various sizes) |

| TOOLS | EQUIPMENT | MATERIALS |
| --- | --- | --- |
| QTY. | Description | QTY | Description | Qty. | Description |
|  |  | 15 pcs | Face mask | 2 rolls | Flexible electric cable (# 12 & # 14) |
|  |  |  |  | 2 sets | Cable strap for wiring harness |
|  |  |  |  | 5 rolls | Rubber electrical tape |
|  |  |  |  | 1 booklet | Label and warning sign sticker |

ASSESSMENT METHODS:

- Written examination

- Demonstration of practical skills

- Direct observation

- Interview

COURSE DELIVERY:

- Discussion

- Dual training

- Distance learning

TRAINER’S QUALIFICATIONS:

- Must have undergone training on Training Methodology II (TM II)

- Must be a holder of  RAC Servicing, NC III

- Good moral character

- Must be physically and mentally fit

- Must be computer literate

- Must be a Civil Service eligible (for government position or appropriate professional license issued by the Professional Regulatory Board)

- *Must have at least two (2) years job/industry experience

*Optional:  Only when required by the hiring institution

Reference:  TESDA Board Resolution No. 2004-03

Modules of Instruction

UNIT OF COMPETENCY	:	PARTICIPATE IN WORKPLACE COMMUNICATION

MODULE TITLE	:	PARTICIPATING IN WORKPLACE COMMUNICATION

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes required to obtain, interpret and convey information in response to workplace requirements.

TRAINING DURATION	:	4 hours

PREREQUISITE	:	Receive and Respond to Workplace Communication (NC I)

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/ trainees should be able to:

# LO1.	Obtain and convey workplace information

LO2.	Participate in workplace meeting and discussion

LO3.	Complete relevant work related documents

LO1.	OBTAIN AND CONVEY WORKPLACE INFORMATION

ASSESSMENT CRITERIA:

1.	Specific relevant information is accessed from appropriate sources.

2.	Effective questioning and active listening and speaking are used to gather and convey information.

3.	Appropriate medium is used to transfer information and ideas.

4.	Appropriate non-verbal communication is used.

5.	Appropriate lines of communication with superiors and colleagues are identified and followed.

6.	Defined work procedures for the location and storage of information are used.

7.	Personnel interaction is carried out clearly and concisely.

CONTENTS:

- Parts of speech

- Sentence construction

- Effective communication

CONDITIONS:

The students/trainees must be provided with the following:

- Writing materials (pen & paper)

- References (books)

- Manuals

METHODOLOGIES:

- Group discussion

- Interaction

- Lecture

- Reportorial

ASSESSMENT METHODS:

- Written test

- Practical performance test

- Interview

LO2.	PARTICIPATE IN WORKPLACE MEETING AND DISCUSSION

ASSESSMENT CRITERIA:

- Team meetings are attended on time.

- Own opinions are clearly expressed and those of others are listened to without interruption.

- Meeting inputs are consistent with the meeting purpose and established protocols.

- Workplace interaction are conducted in a courteous manner appropriate to cultural background and authority in accordance with procedures.

- Questions about simple routine workplace procedures and matters concerning conditions of employment are asked and responded.

- Meeting outcomes are interpreted and implemented.

CONTENTS:

- Sentence construction

- Technical writing

- Recording information

CONDITIONS:

The students/trainees must be provided with the following:

- Paper

- Pencils/ball pen

- References (books)

- Manuals

METHODOLOGIES:

- Group discussions

- Interaction

- Lecture

ASSESSMENT METHODS:

- Written test

- Practical / performance test

- Interview

LO3.	COMPLETE RELEVANT WORK RELATED DOCUMENTS

ASSESSMENT CRTERIA:

- Forms relating to conditions of employment are completed accurately and legibly.

- Workplace data are recorded on standard workplace forms and documents.

- Basic mathematical process is used for routine calculations.

- Errors in recording information on forms and documents are identified and rectified.

- Reporting requirements to superior are completed according to enterprise guidelines.

CONTENTS:

- Basic mathematics

- Technical writing

- Types of forms

CONDITIONS:

The students/trainees must be provided with the following:

- Paper

- Pencils / ball pen

- Reference books

- Manuals

METHODOLOGIES:

:

- Group discussion

- Interaction

- Lecture

ASSESSMENT METHODS:

- Written test

- Practical! performance test

- Interview

UNIT OF COMPETENCY	:	WORK IN A TEAM ENVIRONMENT

MODULE TITLE	:	WORKING IN A TEAM ENVIRONMENT

MODULE DESCRIPTOR	:	This module covers the knowledge, skills, and attitudes required to relate in a work based environment.

TRAINING DURATION	:	4 hours

PREREQUISITE	:	TEAMWORK (NC I)

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/ trainees should be able to:

LO1.	Describe and identify team role and responsibility in a team

LO2.	Describe work as a team member

LO1.	DESCRIBE AND IDENTIFY TEAM ROLE AND RESPONSIBILITY IN A TEAM

ASSESSMENT CRITERIA:

1.	Role and objective of the team are identified.

2.	Team parameters, relationships and responsibilities are identified.

3.	Individual role and responsibilities within team environment are identified.

4.	Roles and responsibilities of other team members are identified and recognized.

5.	Reporting relationships within team and external to team are identified.

CONTENTS:

- Team role

- Relationship and responsibilities

- Role and responsibilities with team environment.

- Relationship within a team

CONDITIONS:

The students/trainees must be provided with the following:

- SOP in workplace

- Job procedures

- Client / supplier instructions

- Quality standards

- Organizational or external personnel

METHODOLOGIES:

- Group discussion/interaction

- Case studies

- Simulation

ASSESSMENT METHODS:

- Written test

- Observation

- Simulation

- Role playing

###### LO2.	DESCRIBE WORK AS A TEAM MEMBER

ASSESSMENT CRITERIA:

1.	Appropriate forms of communication and interactions are undertaken.

2.	Appropriate contributions to complement team activities and objectives are made.

3.	Reporting using standard operating procedures is followed.

4.	Development of team work plans based on team contributed.

CONTENTS:

- Communication process

- Team structure / team roles

- Group planning and decision making

CONDITIONS:

The students/trainees must be provided with the following:

- SOP in workplace

- Job procedures

- Organization or external personnel

METHODOLOGIES:

- Group discussion/interaction

- Case studies

- Simulation

ASSESSMENT METHODS:

- Observation of work activities

- Observation through simulation or role play

- Case studies and scenarios

UNIT OF COMPETENCY	:	PRACTICE CAREER PROFESSIONALISM

MODULE TITLE	: 	PRACTICING CAREER PROFESSIONALISM

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes in promoting career growth and advancement, specifically to integrate personal objectives with organizational goals set and meet work priorities and maintain professional growth and development.

TRAINING DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Integrate personal objectives with organizational goals

LO2.	Set and meet work priorities

LO3.	Maintain professional growth and development

###### LO1.	INTEGRATE PERSONAL OBJECTIVES WITH ORGANIZATIONAL GOALS

ASSESSMENT CRITERIA:

1.	Personal growth and work plans towards improving the qualifications set for professionalism are achieved.

2.	Intra- and interpersonal relationship in the course of managing oneself based on performance evaluation are maintained.

3.	Commitment to the organization and its goal is demonstrated in the performance of duties.

4.	Practice of appropriate personal hygiene is observed.

5.	Job targets within key result areas are attained.

CONTENTS:

- Personal Development-Social Aspects: Intra and Interpersonal Development

- Organizational Goals

- Personal Hygiene and Practices

- Code of Ethics

CONDITIONS:

The students/trainees must be provided with the following:

- Workplace

- Code of Ethics

- Organizational Goals

- Hand outs and PD-Social Aspects

- CDs, VHS tapes, transparencies

METHODOLOGIES:

- Interactive-lecture

- Simulation

- Demonstration

- Self-paced

ASSESSMENT METHODS:

- Role play

- Interview

- Written exam

###### LO2.	SET AND MEET WORK PRIORITIES

ASSESSMENT CRITERIA:

1.	Competing demands to achieve personal, team and organizational goals and objectives are prioritized.

2.	Resources are utilized efficiently and effectively to manage work priorities and commitments.

3.	Practices and economic use and maintenance of equipment and facilities are followed as per established procedures.

4.	Job targets within key result areas are attained.

CONTENTS:

- Organizational KRAs

- Work Values and Ethical Standards

- Company policies on the use and maintenance of equipment

CONDITIONS:

The students/trainees must be provided with the following:

- Organizational KRA

- Work values and ethics

- Company policies and standards

- Sample job targets

- Learning Guides

- CDs, VHS tapes, transparencies

METHODOLOGIES:

- Interactive lecture

- Group discussion

- Structured activity

- Demonstration

ASSESSMENT METHODS:

- Role play

- Interview

- Written exam

###### LO3.	MAINTAIN PROFESSIONAL GROWTH AND DEVELOPMENT

ASSESSMENT CRITERIA:

1.	Training and career opportunities relevant to the job requirements are identified and availed.

2.	Licenses and/or certifications according to the requirements of the qualifications are acquired and maintained

3.	Fundamental rights at work including gender sensitivity are manifested/observed

4.	Training and career opportunities based on the requirements of industry are completed and updated.

CONTENTS:

- Qualification Standards

- Gender and Development (GAD) Sensitivity

- Professionalism in the Workplace

- List of Professional Licenses

CONDITIONS:

The students/trainees must be provided with the following:

- Quality Standards

- GAD handouts

- CDs, VHS tapes on Professionalism in the Workplace

- Professional Licenses samples

METHODOLOGIES:

- Interactive-lecture

- Film viewing

- Role play/simulation

- Group discussion

ASSESSMENT METHODS:

- Demonstration

- Interview

- Written exam

- Portfolio assessment

UNIT OF COMPETENCY	:	PRACTICE OCCUPATIONAL HEALTH AND SAFETY PROCEDURES

MODULE TITLE	:	PRACTICING OCCUPATIONAL HEALTH AND SAFETY PROCEDURES

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes required to comply with the regulatory and organizational requirements for occupational health and safety such as identifying, evaluating and maintaining OH & S awareness.

TRAINING DURATION	:	6 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Identity hazards and risks

LO2.	Evaluate hazards and risks

LO3.	Control hazards and risks

LO4.	Maintain occupational health and safety awareness

###### LO1.	IDENTIFY HAZARDS AND RISKS

ASSESSMENT CRITERIA:

1.	Workplace hazards and risks are identified and clearly explained.

2.	Hazards/Risks and their corresponding indicators are identified in accordance with the company procedures.

3.	Contingency measures are recognized and established in accordance with organizational procedures.

CONTENTS:

- Hazards and risks identification and control

- Organizational safety and health protocol

- Threshold limit value (TLV)

- OHS indicators

CONDITIONS:

The students/trainees must be provided with the following:

- Workplace

- PPE

- Learning Guides

- Hand-outs

- Organizational Safety and Health Protocol

- OHS Indicators

- Threshold Limit Value

- Hazards/Risk Identification and Control

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive-lecture

- Simulation

- Symposium

- Group dynamics

ASSESSMENT METHODS:

- Situation analysis

- Interview

- Practical exam

- Written exam

# LO2.	EVALUATE HAZARDS AND RISKS

ASSESSMENT CRITERIA:

1.	Terms of maximum tolerable limits are identified based on threshold limit values (TLV)

2.	Effects of hazards are determined

3.	OHS issues and concerns are identified in accordance with workplace requirements and relevant workplace OHS legislation

CONTENTS:

- TLV table

- Phil OHS Standards

- Effects of hazards in the workplace

- Ergonomics

- ECC Regulations

CONDITIONS:

The students/trainees must be provided with the following:

- Hand outs on

- Phil. OHS Standards

- Effects of hazards in the workplace

- Ergonomics

- ECC regulations

- TLV Table

- CDs, VHS tapes, transparencies

METHODOLOGIES:

- Interactive-lecture

- Situation analysis

- Symposium

- Film viewing

- Group dynamics

ASSESSMENT METHODS:

- Interview

- Written exam

- Simulation

###### LO3.	CONTROL HAZARDS AND RISKS

ASSESSMENT CRITERIA:

1.	OHS procedures for controlling hazards and risk are strictly followed.

2.	Procedures in dealing with workplace accidents, fire and emergencies are followed in accordance with the organization’s OHS policies.

3.	Personal protective equipment is correctly used in accordance with organization’s OHS procedures and practices.

4.	Procedures in providing appropriate assistance in the event of workplace emergencies are identified in line with the established organizational protocol.

CONTENTS:

- Safety Regulations

- Clean Air Act

- Electrical and Fire Safety Code

- Waste management

- Disaster Preparedness and Management

- Contingency Measures and Procedures

CONDITIONS:

The students/trainees must be provided with the following:

- Hand outs on

- Safety Regulations

- Clean Air Act

- Electrical and Fire Safety Code

- Waste management

- Disaster Preparedness and Management

- Contingency Measures and Procedures

- OHS Personal Records

- PPE

- CDs, VHS tapes, transparencies

METHODOLOGIES:

- Interactive -lecture

- Symposium

- Film viewing

- Group dynamics

- Self-paced

ASSESSMENT METHODS:

- Written

- Interview

- Case/situation analysis

- Simulation

###### LO4.	MAINTAIN OCCUPATIONAL HEALTH AND SAFETY AWARENESS

ASSESSMENT CRITERIA:

1.	Procedures in emergency related drill are strictly followed in line with the established organization guidelines and procedures.

2.	OHS personal records are filled up in accordance with workplace requirements.

3.	PPE is maintained in line with organization guidelines and procedures.

CONTENTS:

- Operational health and safety procedure, practices and regulations

- Emergency-related drills and training

CONDITIONS:

The students/trainees must be provided with the following:

- Workplace

- PPE

- OHS personal records

- CD’s, VHS tapes, transparencies

- Health record

METHODOLOGIES:

- Interactive -lecture

- Simulation

- Symposium

- Film viewing

- Group dynamics

ASSESSMENT METHODS:

- Demonstration

- Interview

- Written exam

- Portfolio assessment

# UNIT OF COMPETENCY	:	PREPARE MATERIALS AND TOOLS

MODULE TITLE	:	PREPARING MATERIALS AND TOOLS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes in identifying, requesting and inspecting materials and tools.

TRAINING DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/students should be able to:

LO1.	Identify materials and tools

LO2.	Request materials and tools

## LO3.	Receive and inspect materials and tools

###### LO1.	IDENTIFY MATERIALS AND TOOLS

ASSESSMENT CRITERIA:

- Job requirements are identified

- HVAC materials and tools are identified

- Quantity of each material to be used is determined as per instruction

- Correct quantity and quality of materials are determined as per job requirement

CONTENTS:

- Classification of  materials, tools and equipment

- Quantification / estimates of tools and materials

- Specification of  materials

- SOP in requesting tools and materials

- Table of elements

- Comparing and contrasting of objects

- Preparing reports

- Storing / stockpiling of materials

CONDITIONS:

Students/trainees must be provided with the following:

- Equipment

# Audiovisual equipment

- Supplies and materials

# Manufacturer’s specification manual

# Repair manual

# Maintenance procedure manual

# Periodic maintenance manual

METHODOLOGIES:

- Self-pace instruction

- Film viewing

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/ examination

- Observation with questioning

LO2.	REQUEST MATERIALS AND TOOLS

ASSESSMENT CRITERIA:

- Materials needed are requested according to list prepared.

- Requisition form / slip is accomplished accurately and properly.

- Request is done as per company standard operating procedure.

CONTENTS:

- Manuals reading and plan specifications

- Reading and comprehension of interpreting manuals.

- Written communication skills

- Signs and symbols

- electrical

- mechanical

CONDITIONS:

Students/trainees must be provided with the following:

- Equipment

- Computer

- Supplies and Materials

- Manufacturer’s specification manual

- Repair manual

- Maintenance procedure manual

- Periodic maintenance manual

METHODOLOGIES:

- Self- paced instruction

- Film viewing

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/ examination

- Observation with questioning

LO3.	RECEIVE AND INSPECT MATERIALS AND TOOLS

ASSESSMENT CRITERIA:

- Materials and tools as per quantity and specification are inspected.

- Tools, accessories and materials are checked for damage according to enterprise.

- Inspection form is accomplished according to standard operating procedures.

- Inspected material sand tools are received according to standard operating procedures.

- Materials and tools are placed in appropriate location nearest to the workplace.

CONTENTS:

- Reading and comprehension skills required to identify & interpret construction manuals and specifications

- Accessing information and data

- Work schedule

- Steps of work?

CONDITIONS:

Students/trainees must be provided with the following:

- Supplies and materials

# Manufacturer’s specification manual

# Repair manual

# Maintenance procedure manual

# Periodic maintenance manual

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/ examination

- Observation with questioning

# UNIT OF COMPETENCY	:	INTERPRET TECHNICAL DRAWINGS

MODULE TITLE	:	INTERPRETING TECHNICAL DRAWINGS

MODULE DESCRIPTOR	:	This module covers the knowledge, attitudes, skills and safety required in interpreting technical drawings

TRAINING DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module; the trainees/students should be able to:

LO1.	Analyze symbols and data

LO2.	Interpret work plans

###### LO1.	ANALYZE SYMBOLS AND DATA

ASSESSMENT CRITERIA

- Signs, symbol and data are identified according to job specifications.

- Signs, symbol and data are determined according to classification:

- electrical

- mechanical

- Functions of signs, symbols are explained.

CONTENTS:

- Blueprint reading and plan specifications

- Electrical plan, symbols  and abbreviations

- Written communication skills

- Signs and symbols

- Electrical

- Mechanical

CONDITIONS:

Students/trainees must be provided with the following:

- Learning Materials

- Blueprint

- Drawing Instruments

- Courseware

METHODOLOGIES:

- Self-paced instruction

- Film Viewing

- Group Discussion

ASSESSMENT METHODS:

- Interview

- Written test/exam

- Observation with questioning

LO2.	INTERPRET WORK PLANS

ASSESSMENT CRITERIA:

- Necessary tools and equipment are identified according to work plan.

- Interpreted work plan is in accordance   with job requirements.

- Supplies and materials are listed according to job specifications.

- Layout of work plan is drafted based on specifications.

CONTENTS:

- Tools and equipment in HVAC/R

- Supplies and materials in HVAC and specifications

- How to interpret blueprint

CONDITIONS:

Students/trainees must be provided with the following:

- Learning Materials

- Blueprint

- Drawing Instruments

- Courseware

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/exam

- Observation with questioning

# UNIT OF COMPETENCY	:	OBSERVE PROCEDURES, SPECIFICATIONS AND MANUALS OF INSTRUCTIONS

MODULE TITLE	:	OBSERVING PROCEDURES, SPECIFICATIONS AND MANUALS OF INSTRUCTIONS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills, and attitudes in identifying, interpreting and applying services to the specifications and manuals and storing manuals.

TRAINING DURATION	:	2 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module; the trainees/students should be able to:

LO1.	Identify and access specifications and manuals

LO2.	Interpret manuals

## LO3.	Apply information in manuals

## LO4.	Store manuals

###### LO1.	IDENTIFY AND ACCESS SPECIFICATIONS AND MANUALS

ASSESSMENT CRITERIA:

- Appropriate manuals are identified and accessed as per job requirements.

- Version and date of manual are checked to ensure that correct specification and procedures are identified.

CONTENTS:

- Types of manuals used in HVAC/R sector

- Identification of symbols used in the manuals

- Identification of units of measurements

- Units of conversion

CONDITIONS:

Students/trainees must be provided with the following:

- Equipment

# Audio-visual equipment

- Supplies and materials

# Manufacturer’s specification manual

# Repair manual

# Maintenance procedure manual

# Periodic maintenance manual

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/examination

- Observation with questioning

LO2.	INTERPRET MANUALS

ASSESSMENT CRITERIA:

- Relevant sections, chapters of specifications/manuals are located in relation; to the work to be conducted.

- Information and procedure in the manual are interpreted in accordance with industry practices.

CONTENTS:

- Manual reading and plan specifications

- Reading and comprehension of interpreting manuals

- Written communication skills

- Signs and symbols

# Electrical

# Mechanical

CONDITIONS:

Students/trainees must be provided with the following:

- Equipment

# Audio-visual equipment

- Supplies and materials

# Manufacturer’s specification manual

# Repair manual

# Maintenance procedure manual

# Periodic maintenance manual

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/examination

- Observation with questioning

LO3.	APPLY INFORMATION IN MANUALS

ASSESSMENT CRITERIA:

- Manual is interpreted according to job requirements.

- Work steps are correctly identified in accordance with manufacturer’s specifications.

- Manual data are applied according to the given task.

- All correct sequencing and adjustments are interpreted in accordance with information contained in the manual on specifications.

CONTENTS:

- Reading and comprehension skills required to identify & interpret construction manuals and specifications

- Accessing information and data

- Work schedule

- Steps of work

CONDITIONS:

Students/trainees must be provided with the following:

- Supplies and materials

# Manufacturer’s specification manual

# Repair manual

# Maintenance procedure manual

# Periodic maintenance manual

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/ examination

- Observation with questioning

LO4.	STORE MANUALS

ASSESSMENT CRITERIA:

- Manuals on specifications are stored appropriately to ensure prevention of damage, ready access and updating of information when required in accordance with company’s requirements.

CONTENTS:

- 5S procedure

- Proper storage of manual

CONDITIONS:

Students/trainees must be provided with the following:

- Supplies and materials

# Manufacturer’s specification manual

# Repair manual

# Maintenance procedure manual

# Periodic maintenance manual

METHODOLOGIES:

- Self-paced instruction

- Film Viewing

- Group Discussion

ASSESSMENT METHODS:

- Interview

- Written test/ examination

- Observation with questioning

UNIT OF COMPETENCY	:	PERFORM MENSURATIONS AND CALCULATIONS

MODULE TITLE	:	PERFORMING MENSURATIONS AND CALCULATIONS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes in identifying and measuring objects based on the required   performance standard.

TRAINING DURATION	:	2 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module; the trainees/students should be able to:

LO1.	Select measuring instruments.

LO2.	Carry-out measurements and calculations

LO1.	Select measuring instruments

ASSESSMENT CRITERIA:

- Object or component to be measured is identified, classified and interpreted to the appropriate regular geometric shape?

- Measuring tools are selected/identified as per object to be measured or job requirements.

- Correct specifications are obtained from relevant sources.

- Appropriate measuring instruments are selected according to job requirements.

- Alternative measuring tools are used without sacrificing cost and quality of work.

CONTENTS:

- Linear measurements

- Testing measurements

- Four fundamental operations

- Dimensions

- Units of conversion

- Ratio and proportion

- Trigonometric functions

- Algebraic equations

CONDITIONS:

Students/trainees must be provided with the following:

| Tools: Micrometer Vernier caliper Dial gauge with magnitude Standard Straight edge Thickness gauge Torque gauge Small hole gauge Telescopic gauge Tri- square Protractor Combination gauge Steel rule Voltmeter Ammeter Mega ohmmeter KWH meter Gauges Thermometer | Supplies and Materials: Round Square Rectangular Triangle Sphere Conical |
| --- | --- |

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/examination

- Observation with questioning

LO2.	CARRY-OUT MEASUREMENTS AND CALCULATIONS

ASSESSMENT CRITERIA:

- Accurate measurements are obtained from or according to job requirements.

- Alternative measuring tools are used without sacrificing cost and quality work.

- Calculations needed to complete work tasks are performed using the four fundamental operation (addition, subtraction, multiplication and division) including but not limited to trigonometric functions and algebraic computations.

- Calculations   involving fractions, percentages and mixed numbers are used to complete workplace tasks.

- Numerical computation is self-checked and corrected for accuracy.

- Instruments are read to the limit of accuracy of the tool.

- Systems of measurement is identified and converted according to job requirements/ISO.

- Work-pieces are measured according to job requirements.

CONTENTS:

- Linear measurements

- Four fundamental operations

- Dimensions

- Units of conversion

- Ratio and proportion

- Trigonometric functions

- Algebraic equations

CONDITIONS:

Students/trainees must be provided with the following:

| Tools Micrometer Vernier caliper Dial gauge with magnitude Standard Straight edge Thickness gauge Torque gauge Small hole gauge Telescopic gauge Try- square Protractor Combination gauge Steel rule Voltmeter Ammeter Mega ohmmeter KWH meter Gauges Thermometer | Supplies and Materials Round Square Rectangular Triangle Sphere Conical |
| --- | --- |

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Group discussion

- E-Learning

ASSESSMENT METHODS:

- Actual demonstration

- Direct observation

- Written test/ oral questioning

# UNIT OF COMPETENCY	:	PERFORM BASIC BENCHWORK

MODULE TITLE	:	PERFORMING BASIC BENCHWORK

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes required in performing basic bench work.

TRAINING DURATION	:	8 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module; the trainees/students should be able to:

LO1.	Prepare materials, tools, and equipment for layout

LO2.	Layout features in workplace

LO3.	Cut sheets, plates and bars

LO4.	Smooth sheets, plates and bars

LO5.	Drill holes in sheets, plates and bars

LO6.	Bore holes in plates and bars

LO7.	Bend sheets, plates and bars

LO8.	Join sheets, plates and bars

###### LO1.	PREPARE MATERIALS, TOOLS AND EQUIPMENT FOR LAYOUT

ASSESSMENT CRITERIA:

- Supplies, materials, tools, and equipment are identified according to job requirements

- Supplies, materials, tools, and equipment are prepared according to job requirements

- Supplies, materials, tools, and equipment are checked according to job requirements

- Tools and equipment condition are checked

CONTENTS:

- Communication skills

- Materials, tools and equipment; uses and specifications

CONDITIONS:

Student / trainees must be provided with the following:

- Blueprint

- Catalogue

- List of tools and equipment

- Forms (request & bill of materials)

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry Immersion

ASSESSMENT METHODS:

- Interview

- Written test/examination

- Observation with questioning

- Demonstration with questioning

LO2.	LAYOUT FEATURES IN WORKPLACE

ASSESSMENT CRITERIA:

- A layout dimension is in accordance with job requirements.

- Dimensions are layout within   the required tolerance.

- Dimensions are checked within the actual work plan.

- Proper use of measuring instrument is observed.

CONTENTS:

- Measuring tools; functions and use

- Communication skills

- Trade mathematics

- Mensuration

- Calculation

- Conversion

- Plan specifications

CONDITIONS:

Students/ trainees must be provided with the following:

- Measuring tools

- Drawing instruments

- Work plan

- Markers

- Calculator

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry Immersion

ASSESSMENT METHODS:

- Self paced Instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry Immersion

###### LO3.	CUT SHEETS, PLATES AND BARS

ASSESSMENT CRITERIA:

- Workpieces are cut according to required measurement.

- Appropriate personal protective equipment (PPE) is applied.

- Safe work habits are observed.

- Work site is cleaned and cleared from debris and left in safe state according to occupational health and safety (OH & S)

CONTENTS:

- Tools and equipment: use and specifications

- Grinding, cutting, drilling, filing techniques

- Basic welding principles and application

- Applied occupational health and safety (OH & S)

CONDITIONS:

Student/trainees must be provided with the following:

- Personal protective equipment (PPE)

- Tools and equipment

- Measuring instruments

- Work plan

- Required supplies and materials

- Worksite

METHODOLOGIES:

- Self -paced Instruction

- Film viewing

- Direct laboratory experience

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/examination

- Observation with questioning

- Demonstration with questioning

###### LO4.	SMOOTH SHEETS, PLATES AND BARS

ASSESSMENT CRITERIA:

- Workpieces are ground or filed to remove defects.

- Appropriate personal protective equipment (PPE) is applied.

- Safe work habits are observed.

- Work site is cleaned and cleared from debris and left in safe state according to occupational health and safety (OH & S)

CONTENTS:

- Tools and equipment: use and specifications

- Grinding, cutting, drilling, filing techniques

- Basic welding principles and application

- Applied occupational health and safety (OH & S)

CONDITIONS:

Student/ trainees must be provided with the following:

- Personal protective equipment (PPE)

- Tools and equipment

- Measuring instruments

- Work plan

- Required supplies and materials

- Worksite

METHODOLOGIES:

- Self -paced Instruction

- Film viewing

- Direct laboratory experience

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/examination

- Observation with questioning

- Demonstration with questioning

###### LO5.	DRILL HOLES IN SHEETS, PLATES AND BARS

ASSESSMENT CRITERIA:

- Holes are drilled in workpieces according to required measurement.

- Appropriate personal protective equipment (PPE) is applied.

- Safe work habits are observed.

- Work site is cleaned and cleared from debris and left in safe state according to occupational health and safety (OH & S)

CONTENTS:

- Tools and equipment: use and specifications

- Grinding, cutting, drilling, filing techniques

- Basic welding principles and application

- Applied occupational health and safety (OH & S)

CONDITIONS:

Student/ trainees must be provided with the following:

- Personal protective equipment (PPE)

- Tools and equipment

- Measuring instruments

- Work plan

- Required supplies and materials

- Worksite

METHODOLOGIES:

- Self -paced Instruction

- Film viewing

- Direct laboratory experience

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/examination

- Observation with questioning

- Demonstration with questioning

###### LO6.	BORE HOLES IN PLATES AND BARS

ASSESSMENT CRITERIA:

- Holes are bored in workpieces according to required measurement.

- Appropriate personal protective equipment (PPE) is applied.

- Safe work habits are observed.

- Work site is cleaned and cleared from debris and left in safe state according to occupational health and safety (OH & S)

CONTENTS:

- Tools and equipment: use and specifications

- Grinding, cutting, drilling, filing techniques

- Basic welding principles and application

- Applied occupational health and safety (OH & S)

CONDITIONS:

Student/ trainees must be provided with the following:

- Personal protective equipment (PPE)

- Tools and equipment

- Measuring instruments

- Work plan

- Required supplies and materials

- Worksite

METHODOLOGIES:

- Self -paced Instruction

- Film viewing

- Direct laboratory experience

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/examination

- Observation with questioning

- Demonstration with questioning

###### LO7.	BEND SHEETS, PLATES AND BARS

ASSESSMENT CRITERIA:

- Workpieces are bent according to required measurement.

- Appropriate personal protective equipment (PPE) is applied.

- Safe work habits are observed.

- Work site is cleaned and cleared from debris and left in safe state according to occupational health and safety (OH & S)

CONTENTS:

- Tools and equipment: use and specifications

- Grinding, cutting, drilling, filing techniques

- Basic welding principles and application

- Applied occupational health and safety (OH & S)

CONDITIONS:

Student/trainees must be provided with the following:

- Personal protective equipment (PPE)

- Tools and equipment

- Measuring instruments

- Work plan

- Required supplies and materials

- Worksite

METHODOLOGIES:

- Self -paced Instruction

- Film viewing

- Direct laboratory experience

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/examination

- Observation with questioning

- Demonstration with questioning

###### LO8.	JOIN SHEETS, PLATES AND BARS

ASSESSMENT CRITERIA:

- Workpieces are joined according to job requirement.

- Welded joints are free from weld defects.

- Appropriate personal protective equipment (PPE) is applied.

- Safe work habits are observed.

- Work site is cleaned and cleared from debris and left in safe state according to occupational health and safety (OH & S)

CONTENTS:

- Tools and equipment: use and specifications

- Grinding, cutting, drilling, filing techniques

- Basic welding principles and application

- Applied occupational health and safety (OH & S)

CONDITIONS:

Student/trainees must be provided with the following:

- Personal protective equipment (PPE)

- Tools and equipment

- Measuring instruments

- Work plan

- Required supplies and materials

- Worksite

METHODOLOGIES:

- Self -paced Instruction

- Film viewing

- Direct laboratory experience

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/examination

- Observation with questioning

- Demonstration with questioning

UNIT OF COMPETENCY	:	PERFORM BASIC ELECTRICAL WORKS

MODULE TITLE	:	PERFORMING BASIC ELECTRICAL WORKS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes required in performing basic electrical works.

TRAINING DURATION	:     8 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/students should be able to:

LO1.	Measure and analyze circuit and load resistance in electrical system

LO2.	Measure and analyze voltage in electrical system

LO3.	Measure and analyze current in electrical system

LO4.	Test simple electrical components and connections

LO5.	Repair minor electrical system troubles

LO1.	MEASURE AND ANALYZE CIRCUIT AND LOAD RESISTANCE IN ELECTRICAL SYSTEM

ASSESSMENT CRITERIA:

- Electrical tools and test instrument are identified according to job requirements

- Condition of electrical tools, test instrument and lubricants

- Electrical tools, and test instruments are checked for conditions and lubricants

- Identified defective tools and test instrument are replaced

- Safe handling of tools and testing instruments observed.

CONTENTS:

- Uses of tools and testing instruments

- Calibration of testing instruments

- Safe handling and proper care of tools and testing instruments

- Communication skills (oral and written)

CONDITIONS:

Student/trainees must be provided with the following:

- List of tools and testing instrument

- Work plan

- Courseware

- Laboratory/workshop

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry immersion

ASSESSMENT METHODS:

- Interview

- Written test/examination

- Observation with questioning

- Demonstration with questioning

LO2.	MEASURE AND ANALYZE VOLTAGE IN ELECTRICAL SYSTEM

ASSESSMENT CRITERIA:

- Required procedure in using testing instrument are applied

- Power supply and electrical components are checked with the manufacturers’ specification

- Identified defects of power supply and electrical components are recorded

- Safe working habits are observed

CONTENTS:

- Functions and uses of testing instruments

- Basic electricity

- Electrical safety and hazards

- Testing procedures

CONDITIONS:

Students/trainees must be provided with the following:

- Tools and testing instruments

- Required electrical components

- Personal protective equipment

- Work site

- Trainer/ workshop

- Course ware

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/examination

- Observation with questioning

- Demonstration with questioning

###### LO3.	MEASURE AND ANALYZE CURRENT IN ELECTRICAL SYSTEM

ASSESSMENT CRITERIA:

- Electrical fixtures are fixed in line with standard operating procedures (SOP)

- Defective electrical components are replaced with the same specifications

- Testing of units after repair is performed.

- Safe working habits are observed

- Workplace is cleaned and cleared from debris and in a safe state and in line with occupational health and safety (OH & S) regulations

CONTENTS:

- Types of electrical fixtures

- Testing procedures

- Electrical safety and hazards

- Applied occupational health & safety (OH & S)

CONDITIONS:

Student/ trainees must be provided with the following:

- Workplace

- Required electrical fixtures and components

- Tools and testing instruments

- Trainer/ mock-ups

- Personal protective equipment (PPE)

- Trainer/ mock-ups

- Courseware

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Industry Immersion

- E-learning

ASSESSMENT METHODS:

- Interview

- Written test/examination

- Observation with questioning

- Demonstration with questioning

###### LO4.	TEST SIMPLE ELECTRICAL COMPONENTS AND CONNECTIONS

ASSESSMENT CRITERIA:

- Electrical fixtures are fixed in line with standard operating procedures (SOP)

- Defective electrical components are replaced with the same specifications

- Testing of units after repair is performed.

- Safe working habits are observed

- Workplace is cleaned and cleared from debris and in a safe state and in line with occupational health and safety (OH & S) regulations

CONTENTS:

- Types of electrical fixtures

- Testing procedures

- Electrical safety and hazards

- Applied occupational health & safety (OH & S)

CONDITIONS:

Student/trainees must be provided with the following:

- Workplace

- Required electrical fixtures and components

- Tools and testing instruments

- Trainer/ mock-ups

- Personal protective equipment (PPE)

- Trainer/ mock-ups

- Courseware

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Industry Immersion

- E-learning

ASSESSMENT METHODS:

- Interview

- Written test/examination

- Observation with questioning

- Demonstration with questioning

###### LO5.	REPAIR MINOR ELECTRICAL SYSTEM TROUBLES

ASSESSMENT CRITERIA:

- Electrical fixtures are fixed in line with standard operating procedures (SOP)

- Defective electrical components are replaced with the same specifications

- Testing of units after repair is performed.

- Safe working habits are observed

- Workplace is cleaned and cleared from debris and in a safe state and in line with occupational health and safety (OH & S) regulations

CONTENTS:

- Types of electrical fixtures

- Testing procedures

- Electrical safety and hazards

- Applied occupational health & safety (OH & S)

CONDITIONS:

Student/ trainees must be provided with the following:

- Workplace

- Required electrical fixtures and components

- Tools and testing instruments

- Trainer/ mock-ups

- Personal protective equipment (PPE)

- Trainer/ mock-ups

- Courseware

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Industry Immersion

- E-learning

ASSESSMENT METHODS:

- Interview

- Written test/examination

- Observation with questioning

- Demonstration with questioning

UNIT OF COMPETENCY	:	MAINTAIN TOOLS AND EQUIPMENT

MODULE TITLE	:	MAINTAINING TOOLS AND EQUIPMENT

MODULE DESCRIPTOR	:	This module covers the knowledge, skills, attitudes and safety required in maintaining tools and equipment.

TRAINING DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/students should be able to:

LO1.	Check the conditions of tools and equipment.

LO2.	Perform basic preventive maintenance.

LO3.	Store tools and equipment.

LO1.	Check THE conditionS of tools and EQUIPMENT

ASSESSMENT CRITERIA:

- Tools and equipment are identified according to classification.

- Non-functional tools and equipment are segregated and labeled.

- Non-functional tools are stored prior for repair.

- Safe handling of tools and equipment are applied.

- A safe working habit, are observed.

CONTENTS:

- Proper use of tools and equipment

- Testing procedures

- Communication  skills

- Fundamentals of refrigeration and air conditioning (RAC)

- Parts and functions of HVAC/R equipment

- Applied occupational health and safety (OH & S)

- Housekeeping

CONDITIONS:

Students/trainees must be provided with the following:

- Required tools and equipment

- Workplace

- Personal Protective Equipment (PPE)

- Courseware

- Signage

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry immersion

ASSESSMENT METHODS:

- Interview

- Written test/exam

- Observation with questioning

- Demonstration with questioning

LO2.	PERORM BASIC PREVENTIVE MAINTENANCE

ASSESSMENT CRITERIA:

  - Appropriate lubricants are identified according to types of equipment.

  - Tools and equipment are lubricated according to preventive maintenance schedule.

  - Measuring instruments are checked and validated.

  - Lubricated handtools are properly stored.

  - Inventory of tools, instruments and equipment are conducted and recorded.

  - Defective handtools, instruments, equipment and accessories are replaced according to manufacturer’s specification.

  - Proper housekeeping is applied.

CONTENTS:

- Types of lubricants

- Housekeeping

- Inventory guidelines and procedures

- HVAC/R equipment, tools and instrument types and specifications

- Lubrication procedures

- HVAC/R equipment operating procedures

CONDITIONS:

Students/trainees must be provided with the following:

- Required types of lubricants

- Required HVAC/R equipment, tools and instruments

- Personal Protective Equipment (PPE)

- Courseware

- Workplace

- Cleaning materials and solution

- Inventory forms

- Storage

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry immersion

ASSESSMENT METHODS:

- Interview

- Written exam

- Observation with questioning

- Demonstration with questioning

LO3.	STORE TOOLS AND EQUIPMENT

ASSESSMENT CRITERIA:

- Inventory of tools, instruments, and equipment are conducted and recorded as per company practices.

- Tools are inspected, and replaced after use.

- Tools and equipment are stored safely in accordance with manufacturer’s specifications or company procedures.

CONTENTS:

- Inventory of tools and equipment

- Tools and equipment handling

- Tool safe-keeping/storage

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Handouts/instructional materials

- Workplace location/tool room

- Rack

- Tool box

- Forms

- Requisition slip

- Inventory form

- Inspection form

METHODOLOGIES:

- Demonstration

- Classroom discussions

ASSESSMENT METHODS:

- Practical examination

- Direct observation

- Written test/questioning

UNIT OF COMPETENCY	:	PERFORM HOUSEKEEPING AND SAFETY PRACTICES

MODULE TITLE	:	PERFORMING HOUSEKEEPING AND SAFETY PRACTICES

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes needed on work safety in the workplace including sorting, cleaning and dispensing materials, tools, and equipment, identifying and minimizing hazards, responding and recording accidents and following basic security.

.

TRAINING DURATION	:     6 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/students should be able to:

##### LO1.	Sort materials, tools and equipment.

LO2.   Clean workplace area, materials, tools and equipment.

## LO3.   Systematize dispensing and retrieval of materials, tools and equipment.

LO4.	Identify and minimize/eliminate hazards.

LO5.	Respond and record accidents.

LO6.	Follow basic security.

###### LO1.	SORT MATERIALS, TOOLS AND EQUIPMENT

ASSESSMENT CRITERIA

- Materials, tools and equipment are classified according to their kind.

- Appropriate areas for materials, tools and equipment are designated.

CONTENTS:

- Classification of tools, equipment and materials

- Consideration in the selection of appropriate areas for storing materials, tools and equipment

- Sorting procedures and considerations.

CONDITIONS:

Students/trainees must be provided with the following:

| Tools and Equipment Handtools Storage cabinet Supplies and Materials Assorted materials | Learning Materials Learning element Transparencies Books Personal Protective Equipment Goggles Gloves Surgical / gas mask |
| --- | --- |

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry Immersion

ASSESSMENT METHODS:

- Interview

- Written test/exam

- Observation with questioning

- Demonstration with questioning

LO2.	CLEAN WORKPLACE AREA, MATERIALS, TOOLS AND EQUIPMENT

ASSESSMENT CRITERIA:

- Cleaning materials are identified according to specified application and procedures

- Workplace area, tools, materials and equipment are cleaned using specified cleaning materials.

- Workplaces are in safe condition in accordance with safety regulation practices.

CONTENTS:

- Cleaning materials, types and applications.

- Procedures in cleaning workplace area, tools and equipment.

- Consideration of a safe workplace area, tools and equipment

CONDITIONS:

Students/trainees must be provided with the following:

| Tools and Equipment Handtools Equipment Personal Protective Equipment Goggles Gloves Surgical / gas mask | Learning Materials Learning element Transparencies Books Transparencies Maintenance checklist Supplies and Materials Cleaning materials |
| --- | --- |

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Immersion

ASSESSMENT METHODS:

- Interview

- Written test/exam

- Observation with questioning

- Demonstration with questioning

LO3.	SYSTEMATIZE DISPENSING AND RETRIEVAL OF MATERIALS, TOOLS AND EQUIPMENT

ASSESSMENT CRITERIA:

    - System for requesting, borrowing and returning of materials, tools, and equipment is followed and implemented.

    - Form used is completely filled-up and filed.

    - Borrowed tools and equipment are returned to designated area.

    - Materials are consumed as requested.

CONTENTS:

- Procedures in dispensing and retrieval of materials; tools, and equipment

- Things to be considered in returning the borrowed tools and equipment.

CONDITIONS:

Students/trainees must be provided with the following:

| Tools and Equipment Handtools Equipment Personal Protective Equipment Gloves Working clothes Safety shoes Gas mask | Learning Materials Learning element Transparencies Books Requisition slip Borrowing slip Supplies and Materials Assorted materials |
| --- | --- |

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Immersion

ASSESSMENT METHODS:

- Interview

- Written test/exam

- Observation with questioning

- Demonstration with questioning

LO4.	IDENTIFY AND MINIMIZE / ELIMINATE HAZARDS

ASSESSMENT CRITERIA:

- Hazards in the work area are recognized and reported (to proper authority?)

- Designated personnel and appropriate control and action taken? Fix

- Workplace policies and procedures for controlling risk are established and followed accurately

- Procedures for dealing with emergencies are followed within the scope of responsibilities and competencies.

- Safety signs and hazards warnings are displayed and observed at all times in line with workplace health and safety regulations.

- Equipment and safety devices are used according to manufacturer’s guidelines.

- Work areas are kept clean and in order at all times.

- Safe handling/fighting technique and equipment operation are unplugged at all times?

CONTENTS:

- Composition of safety committee

- Policies and procedures in controlling risk

- Safety signs and first aid

- Safety signs and hazards warning preparation

- Equipment and safety devices

- Safe handling technique in using equipment and safe devices.

CONDITIONS:

Students/trainees must be provided with the following:

| Tools and Equipment Handtools Equipment Safety devices Personal Protective Equipment Gloves Working clothes Safety shoes Gas mask | Learning Materials Learning element Books Transparencies Supplies and Materials Safety/first aid kit with first aid supplies Safety signs |
| --- | --- |

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry Immersion

ASSESSMENT METHODS:

- Interview

- Written test/exam

- Observation with questioning

- Demonstration with questioning

###### LO5.	RESPOND AND RECORD ACCIDENTS

ASSESSMENT CRITERIA:

- Workplace accidents are identified.

- First aid procedures / treatment are followed correctly in accordance with standard /regulation

- Medical assistance / rescue is coordinated with concerned personnel.

- Accident / incident records and maintained in accordance with  standard quality procedure

CONTENTS:

- Types of accidents

- Procedures in applying first aid /treatment

- First aid supplies

- Steps in responding to and recording accidents

CONDITIONS:

Students/trainees must be provided with the following:

| Tools and Equipment Handtools Equipment Safety devices Personal Protective Equipment Surgical / gas mask Gloves Goggles | Learning Materials Learning element Manuals Books Tapes Cassette/disc Supplies and Materials First aid supplies Record book |
| --- | --- |

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry Immersion

ASSESSMENT METHODS:

- Interview

- Written test/exam

- Observation with questioning

- Demonstration with questioning

###### LO6.	FOLLOW BASIC SECURITY

ASSESSMENT CRITERIA:

- Security measures / procedures are followed according to appropriate   event

- Security-related events are reported and recorded to relevant form

- Staff are advised on security procedures and correct methods of implementation

CONTENTS:

- Basic security procedures

- Security signs and symbols

CONDITIONS:

Students/trainees must be provided with the following:

| Learning Materials Learning element Brochures Basic security manual Supplies and Materials Security relevant forms |  |
| --- | --- |

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Demonstration

- Group discussion

ASSESSMENT METHODS:

- Actual demonstration

- Written test/exam

- Observation

- Oral questioning

UNIT OF COMPETENCY	:	DOCUMENT WORK ACCOMPLISHED

MODULE TITLE	:	DOCUMENTING WORK ACCOMPLISHED

# MODULE DESCRIPTOR	:    This module covers the knowledge, skills and attitudes in documenting work accomplished. It includes identifying forms and data and preparing reports

TRAINING DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/students should be able to:

LO1.	Identify forms and data

LO2.	Prepare reports

LO1.	IDENTIFY FORMS AND DATA

ASSESSMENT CRITERIA

- Forms are selected based on the reports to be prepared

- Work accomplishment is interpreted

- Data are collected in accordance with data gathering procedures

CONTENTS:

- Selecting and interpreting forms

- Interpreting work accomplished

- Data gathering techniques

CONDITIONS:

Students/trainees must be provided with the following:

- Access to workplace location or simulated workplace environment

- Warranty Paper Request

- Operating Log Sheet

- Requisition Forms

- Records of work accomplished

METHODOLOGIES:

- Lecture

- Discussion

- Group work

ASSESSMENT METHODS:

- Interview

- Written

- demonstration with questioning

LO2.	PREPARE REPORTS

ASSESSMENT CRITERIA:

- Reports are completed using standard form as per company procedures

- Reports provide details of work completed, further action to be taken and other details as per company procedures

- Reports are completed and submitted within specified time to the concerned personnel/supervisor

CONTENTS:

- Details of work completion

- Kinds of reports

- Preparation of reports

CONDITIONS:

Students/trainees must be provided with the following:

- Start-up commissioning Report

- Warranty Paper Request

- Turn-over Report

- Operating Log Sheet

- Service Report

- Trouble Call Report

- Requisition

- Access to workplace location or simulated workplace environment

METHODOLOGIES:

- Lecture

- Discussion

- Group work

ASSESSMENT METHOD:

- Demonstration with questioning

# UNIT OF COMPETENCY	:	INSTALL DOMESTIC REFRIGERATION AND AIR-CONDITIONING (DomRAC) UNITS

MODULE TITLE	:	INSTALLING WINDOW TYPE AIR-CONDITIONING / DOMESTIC REFRIGERATION UNITS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes required to safety install, test a window type air-conditioning /domestic refrigeration units.

TRAINING DURATION	:	60 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/students should be able to:

LO1.	Conduct survey

LO2.	Install electrical circuit

## LO3.	Install window type aircon

## LO4. 	Conduct performance test

LO1.	CONDUCT SURVEY

ASSESSMENT CRITERIA:

  - Site conditions and installation requirements are assessed according to manufacturer’s specification and prevailing codes and ordinances.

  - Tools, equipment and materials needed for installation are determined according to site conditions and site installation requirements.

  - Survey result is recorded in installation, testing and commissioning (ITC) report according to enterprise policy.

CONTENTS:

DomRAC Installation Requirements

  - Air circulation/ventilation requirements

  - Drain disposal requirements

  - Power supply requirements

  - Structural and architectural requirement

  - Provision for serviceability

- Tools equipment and materials needed in installing DomRAC

- Survey Inspection Report

CONDITIONS:

Student / trainees must be provided with the following:

| Learning Materials Work plan Brochure Catalogue L.E on Drawing electrical & mechanical diagrams Fundamentals of refrigeration Supplies and Materials Marker/ pen Bond paper/Survey Form | Tools Pull-push rule | Training Facility Access to survey site |
| --- | --- | --- |

METHODOLOGIES:

Lecture

Self-paced instruction

Film viewing

ASSESSMENT METHODS:

Interview

Written examination

Observation with questioning

RPL

LO2.	INSTALL ELECTRICAL CIRCUIT

ASSESSMENT CRITERIA:

    - Perform roughing-in activities according to appropriate provision in PEC.

    - Electrical cabling and wiring devices of correct load carrying capacity are selected and safely installed in line with manufacturer's instructions

    - Power wiring is installed in accordance  with the Philippine Electrical Code (PEC)

    - Test electrical circuit in accordance with PEC

CONTENTS:

Wires and cables used in electrical wiring

Classes of outlet/switches boxes used in electrical wiring (PEC)

Enclosure and their conditions for use

Types of devices used in electrical wiring

Identifying wall plugs and masonry bolts

Drilling into masonry using portable electrical drill

Marking out using spirit level /water level

Use of electrical measuring instruments

Testing electrical circuits

CONDITIONS:

Student / trainees must be provided with the following:

| Equipment Portable electric drill Portable disc grinder Tools Hammer Set of pliers Spirit level, water hose Plumb bob Cross cut / rip saw Push pull rule Tri-square Wire stripper Electrician knife | Instruments Test light Multi-tester Megger Supplies and Materials Masonry drill Hacksaw Electrical railways Circuits breaker Masonry (e,g cement, sand, etc.) Expansion Bolt/Box Electrical Cable/ Conductor Convenience Outlet | Learning Materials Work plan Brochure Safety Practices Drawing Mechanical/electrical diagrams, types of wires, insulations, conduits, wiring devices Work safety Proper handling of tools/equipment Communicating effectively |
| --- | --- | --- |

METHODOLOGIES:

Self-paced instruction

Film viewing

Direct laboratory experience

Group discussion

ASSESSMENT METHODS:

Interview

Written examination

Demonstration with questioning

LO3.	INSTALL WINDOW TYPE AIRCON

ASSESSMENT CRITERIA:

  - Unit and equipment/components are prepared based on work procedures

  - Bracket, hangers and frames are installed in accordance with manufacturer’s recommendation.

  - Unit is positioned and leveled in line with manufacturer's instructions

  - Sealing materials  are installed to ensure an air tight seal around the unit in line with manufacturer's instructions

  - Condensate drain is installed in accordance with manufacturer’s recommendation.

  - Safe manual handling techniques are employed in line with enterprise OH&S procedures

  - 5’s is exercised in line with enterprise policy

CONTENTS:

Refrigeration cycle

Aircon/Refrigerator components and accessories

Sealant and insulation

Fastening devices

WAC installation procedure

Basic plumbing

- Types of PVC drain pipes

- Types of PVC fittings

Safety practices

CONDITIONS:

Student / trainees must be provided with the following:

| Equipment Portable electric drill Portable disc grinder Welding equipment air-con unit Supplies and Materials Masonry drill bit Fastener Hacksaw blade Marker/ pen, pentel Bond paper | Tools Hacksaw Push-pull rule T-square Plumb bob Spirit level Water hose Cross-cut/ rip saw Chisel Hammer Masonry tools e.g. trowel square, etc. |
| --- | --- |

METHODOLOGIES:

Self-paced instruction

Film viewing

Direct laboratory experience

Group discussion

ASSESSMENT METHODS:

Interview

Written examination

Demonstration with questioning

LO4.	CONDUCT PERFORMANCE TEST

ASSESSMENT CRITERIA:

- Voltage and current are measured according to unit power requirements.

- Air temperature and velocity are measured based on unit specifications.

- Sounds and vibration are checked based on unit specifications

- Installation, testing and commissioning (ITC) report is prepared in line with enterprise policies and procedures.

CONTENTS:

Measuring air circulation and velocity

- Velometer/anemometer

Temperature testing

- Thermometer

Current and voltage measurement

- Clamp ammeter

CONDITIONS:

Student / trainees must be provided with the following:

| Equipment Refrigerator air-con unit Supplies and Materials Marker/ pen, pentel Bond paper Instrument Velometer/anemometer Thermometer Clamp ammeter Multi-tester | Tools Screwdriver |
| --- | --- |

METHODOLOGIES:

Lecture

Self-paced instruction

Film viewing

Direct laboratory experience

Group discussion

ASSESSMENT METHODS:

Interview

Written examination

Demonstration with questioning

UNIT OF COMPETENCY	:	SERVICE AND MAINTAIN WINDOW-TYPE AIR-CONDITIONING/ DOMESTIC REFRIGERATION UNITS

## MODULE TITLE	:	SERVICING AND MAINTAINING WINDOW-TYPE AIR -CONDITIONING/DOMESTIC REFRIGERATION UNITS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes in maintaining efficient performance and increasing life span of window-type air-conditioning and domestic refrigeration unit based on the required performance standard

TRAINING DURATION	:	60 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completing this module, the trainees/student must be able to:

LO1.	Clean and replace air filter

LO2.	Service evaporator and condenser

LO3.	Maintain fan motor assembly

LO4.	Service electrical power and control circuit

LO5.	Maintain refrigeration system

LO1.	CLEAN AND REPLACE AIR FILTER

ASSESSMENT CRITERIA:

- Air filter is identified and removed following standard procedures

- Filter is checked for damage and replaced if required in line with SOPs

- Air filter is cleaned using the correct tools and cleaning procedures

- Filter is replaced in accordance with filter specifications

CONTENTS:

Types and classification of air filter used in WAC

Effects of restricted air flow in WAC

Cleaning and replacing air filters

CONDITIONS:

Student / trainees must be provided with the following:

Air-conditioning Units

Air Filter

Disposable

Reusable

Cleaning agent

  - Soap powder

  - Liquid

Soft bristle brush

Rags

Access to compressed air system

Courseware (LEs, Manuals)

METHODOLOGIES:

Demonstration

Lecture

ASSESSMENT METHODS:

Demonstration with questioning

Written examination

LO2.	SERVICE EVAPORATOR AND CONDENSER

ASSESSMENT CRITERIA:

  - Tools are selected in dismantling the evaporator/ condensing unit as per standard operating procedures (SOPs)

  - High pressure washer is used in cleaning evaporator/ condensing coil based on established procedures

  - Evaporator/condenser coil fins are repaired  for damage and replaced in accordance with service procedures

  - Cleaning agent or non-corrosive chemical is used in cleaning and maintaining evaporator/ condensing coil, fins and other body accessories as per standard operating procedures (SOPs)

CONTENTS:

Assembling and disassembling evaporator/condenser in WAC

Cleaning procedure using high pressure washer

Straightening of fins

Types and application of cleaning agent

Effects of heavily dented, corroded coil fins in unit operation

Preventive and corrective maintenance of WAC

Safety practices

CONDITIONS:

Student / trainees must be provided with the following:

Equipment

- Air-Conditioning Unit

- Pressurized washer

Materials

- Cleaning Agent

    - Soap powder

    - Liquid

  - Rags

Tools

Screwdriver

Adjustable wrench

Allen wrench

Nut driver/Socket wrench

Pliers

Fin comb

Steel brush

Pallet

Courseware

Service Manual

LEs

METHODOLOGIES:

Lecture

Demonstration

ASSESSMENT METHODS:

Interview

Demonstration  with questioning

LO3.	MAINTAIN FAN MOTOR ASSEMBLY

ASSESSMENT CRITERIA:

  - Fan motor is maintained in line with manufacturer’s instructions.

  - Fan blades and blower are serviced and maintained in line with manufacturer’s instructions.

  - Fan motor terminals are checked and serviced in line with manufacturer’s instructions.

  - Fan motor mounting is checked and serviced in line with manufacturer’s instructions.

CONTENTS:

Assembling and disassembling fan motor assembly in WAC

Proper servicing and maintenance procedures in fan motor assembly

- Proper alignment and endplays of fan motor

- Bearing and shafting

- Fan motor parts and assembly

Types of lubricant

Work Safety

CONDITIONS:

Student / trainees must be provided with the following:

Equipment

- Air-Conditioning Unit

- Refrigerator

Materials

- Cleaning Agent

    - Soap powder

    - Liquid

  - Rags

  - Lubricants

Tools

Screwdriver

Adjustable wrench

Allen wrench

Nut driver/Socket wrench

Pliers

Oiler

Courseware

Service Manual

LEs

METHODOLOGIES:

Demonstration

Lecture

ASSESSMENT METHODS:

Direct observation

Written examination

Interview

LO4.	SERVICE ELECTRICAL POWER AND CONTROL CIRCUIT

ASSESSMENT CRITERIA:

  - Correct instrument is used in checking power supply and diagnosing electrical control

  - Defective electrical control is replaced in line with service and repair procedures

  - All controls/wirings are checked/inspected as per schematic diagram in line with SOPs

  - Loose connections/wirings and defects are  accurately diagnosed and repaired/reported in line with SOPs

  - Grounding is checked in line with SOPs

CONTENTS:

Electrical/electric controls

Electrical symbols  and schematic diagrams

Proper servicing and maintenance procedures in electrical power and control circuits

- Diagnosing electrical controls

- Determining terminals of electrical controls

- Grounding

- Electrical Safety / Hazards

Work safety

CONDITIONS:

Student / trainees must be provided with the following:

| Equipment Window type air-conditioner Refrigerator Unit | Instruments Multi Tester Clamp Ammeter Leak Tester |
| --- | --- |
| Tools Screw driver Flat screw Philips screw Adjustable wrench Allen wrench Nut driver/Socket wrench Pliers | Materials Rags Courseware ( LEs , Service Manual) Service Manual LEs |

METHODOLOGIES:

Demonstration

Lecture

ASSESSMENT METHODS:

Demonstration with Questioning

Interview

Written examination

LO5.	MAINTAIN REFRIGERATION SYSTEM

ASSESSMENT CRITERIA:

  - All parts of the refrigerant circuit are checked/ inspected as per manufacturer’s manual/specifications

  - Refrigerant circuit condition accurately diagnosed, repaired and reported in line with service and repair procedures

  - Refrigerant system accessories are repaired in line with service and repair procedures

  - Operating parameters are measured and analyzed based on standard specifications

  - Refrigeration system is reprocessed in line with manufacturer’s standard operation procedures

CONTENTS:

Fundamentals of refrigeration cycle

- Tracing of refrigeration circuit

Refrigerant system components and accessories

Operating parameters of refrigerant system

Diagnosing refrigerant circuit

Reprocessing of refrigeration system

- Replacing defective components

- Repairing refrigerant leak

- Performing pressure leak test

- Performing dehydration/vacuum procedures

- Performing refrigerant charging

Types of refrigerants

Types of refrigerant oil

Safe handling of alternative refrigerants

Safety in handling nitrogen

Montreal protocol

Ozone depletion substances (ODS)

CONDITIONS:

Student / trainees must be provided with the following:

| Equipment Window type air-conditioner Refrigerator Unit Vacuum pump Nitrogen cylinder and regulator Oxy-acetylene/Mopp gas Recovery/recycling machine | Instruments Multi Tester Clamp Ammeter Leak Tester Gauge manifold Electronic Leak detector |
| --- | --- |

| Tools Leak detector Halide Soap Powder Screw driver Flat screw Philips screw Adjustable wrench Allen wrench Nut driver/Socket wrench Pliers | Materials Refrigerants Refrigerant oil Access valves Filter driers Copper tubes Rags Courseware ( LEs , Service Manual) Service Manual PPEs |
| --- | --- |

METHODOLOGIES:

Demonstration

Lecture

ASSESSMENT METHODS:

Demonstration with questioning

Interview

Written examination

UNIT OF COMPETENCY	:   	TROUBLESHOOT AND REPAIR DOMESTIC REFRIGERATION AND AIR-CONDITIONING (DomRAC) SYSTEMS

MODULE TITLE	:	TROUBLESHOOTING WINDOW-TYPE AIR CONDITIONING / DOMESTIC REFRIGERATION SYSTEMS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills, and attitudes in planning, preparing, diagnosing, and troubleshooting, analyzing and finding remedies of faults, refrigerant recovery/recycling and retrofitting / conversion on domestic refrigeration and air-conditioning unit

TRAINING DURATION	:	60 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completing this module, the trainees/student must be able to:

LO1.	Plan and prepare for troubleshooting and repair

LO2.	Identify and repair faults/troubles

LO3.	Perform refrigerant recovery/ recycling and retrofitting/ conversion on domestic refrigeration and air-conditioning unit

LO4.	Test-run repaired unit

LO1.	PLAN AND PREPARE FOR TROUBLESHOOTING AND REPAIR

ASSESSMENT CRITERIA:

- Wiring diagrams, charts and manuals are acquired and used based on job requirements

- Materials, tools and  equipment/ instruments are selected based on specifications

- Diagnostic procedures are applied in accordance with nameplate rating and/or manufacturer’s specifications

CONTENTS:

Electrical plans, symbols and abbreviations

Interpreting diagram and details (schematic diagram)

Parts of refrigerant circuit

Manufacturer’s nameplate ratings

Electrical /mechanical system analysis

Troubleshooting chart, guide and table

Diagnostic procedures in troubleshooting

CONDITIONS:

# Students/trainees must be provided with the following:

| Checklist of Equipment Aircon unit Refrigerator R/R Machine Nitrogen Equipment Oxy acetylene Vacuum Pump Checklist of Instruments Multi-Tester Gauge Manifold Thermometer Electric Leak Detector Weighing Scale Clamp Ammeter | Checklist of Tools Tubing Tool Set Wrench Set Screw Driver Set Service Ratchet File Pliers Set Soldering Iron Wire Crimper Checklist of Personal Protective Devices Goggles Gloves Gas Mask Safety Shoes | Checklist of Supplies and Materials Refrigerant Electrical Wire Electrical Tape Terminal End Connector Access Valve Copper Tube Filter/Drier, Braze Type Silver Rod Brazing Flux Rags Capillary Tube Aluminum Rod |
| --- | --- | --- |

METHODOLOGIES:

Lecture

Self-paced instruction

Group discussion

ASSESSMENT METHODS:

Interview

Written examination

Oral questioning

LO2.	IDENTIFY AND REPAIR FAULTS/TROUBLES

ASSESSMENT CRITERIA:

- Appropriate PPE are selected and used in line with job requirements

- Components are tested following manufacturer’s manual, RAC Code of Practice and/or enterprise troubleshooting policy

- Faults/problems with components are diagnosed in line with manufacturer’s manual, RAC Code of Practice and/or enterprise troubleshooting policy

- Remedial action is taken to overcome faults/problems in line manufacturer’s manual, RAC Code of Practice and/or enterprise troubleshooting policy

- Work is completed safely in line with workplace safety guidelines

- Report on testing procedure, including faults and minor repair, is completed in line with manufacturer’s manual, RAC Code of Practice and/or enterprise troubleshooting policy

CONTENTS:

Fundamentals of refrigeration and air-conditioning

Electrical system analysis

Electrical parts, components, functions and operations

Testing electrical component procedures

Troubleshooting electrical system procedures

Repair /replace electrical system procedures

Mechanical system analysis

Mechanical parts, components, functions and operation

Mechanical troubleshooting and repair procedures

Electrical/Mechanical operating procedures

RAC Code of practice

CONDITIONS:

Students/trainees must be provided with the following:

| Equipment R/R Machine Nitrogen Equipment Oxy acetylene Vacuum Pump Instruments Multi-Tester Megger Clamp Ammeter System analyzer Thermometer Leak detector Refrigerant identifier | Tools Wrench Set Screw Driver Set Crimping Pliers Wire Stripper Pliers Set Soldering Iron Ratchet Tube cutter Piercing valve Flaring tools Swaging tools Pinch-off tools Supplies and Materials Soldering Lead | Personal Protective Devices Goggles Gloves Gas Mask Safety Shoes Learning Materials LEs on Window AC & Domestic Refrigerators Catalogue Brochure Work Instructions |
| --- | --- | --- |

| Refractometer Vacuum meter | Electrical Wire Electrical Tape Terminal End Connector Wire Harness Refrigerant Filter Drier Flare Fittings Silver Rod Brazing Flux Copper Tube Access Bulb Refrigerant Hose Gasket Nitrogen Gas |  |
| --- | --- | --- |

METHODOLOGIES:

Self-paced instruction

Film viewing

Group discussion

E-learning

ASSESSMENT METHODS:

Interview

Written test

Observation with questioning

Demonstration with questioning

LO3.	PERFORM REFRIGERANT RECOVERY / RECYCLING AND RETROFITTING/ CONVERSION ON DOMESTIC REFRIGERATION AND AIR-CONDITIOINING UNIT

ASSESSMENT CRITERIA:

- Tools, materials and instruments for recovery /recycling equipment are prepared.

- Operation of recovery/recycling equipment is explained according to manufacturer specifications.

- Refrigerant recovery/recycling are performed  according to manufacturer’s manual

- Refrigerant in the system must be 100% recovered

- Safety measures in recovery/recycling of refrigerants are applied.

- Alternatives refrigerants and lubricants  are selected  according to required standard operating  procedures

- System components  and  accessories are selected according  to application

- Retrofitting is performed  in accordance    with manufacturers recommendation

- Safety measures  in retrofitting was observed

- Proper housekeeping is practiced

CONTENTS:

- Recovery/recycling procedures

- Refrigerant cylinder calculation

- Safety in handling  refrigerants

- Maintenance  of recovery/recycling equipment /instruments

- Alternatives refrigerant and lubricants, types, uses and selection

- Retrofitting process

- Safety precaution in retrofitting

- Proper housekeeping

CONDITIONS:

The students/trainees must be provided with the following:

| Equipment and accessories Recovery /recycling Weighing scale PACU-size Unit Vacuum pump Refractometer Tools Spanner Ratchet/wrench Piercing valve Personal Protective Equipment Gloves Apron | Instruments System analyzer Leak detector Refrigerant identifier Thermometer VOM Multitester System analyzer Clamp on ammeter Learning Materials Learning element Service manual Manufacturers manual Brochures |
| --- | --- |

| Safety shoes Goggles Gas mask Ear plug/muff Working clothes Dust mask | Supplies and materials Refrigerants Soap solution Rags Alternatives refrigerant and lubricant Required components and accessories Silver rod/ flux Copper tubing Nitrogen Masking tapes Steel brush |
| --- | --- |

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry visit

- Industry immersion

- E-learning

ASSESSMENT METHODS:

- Interview

- Written exam

- Observation with questioning

- Demonstration with questioning

LO4.	TEST-RUN REPAIRED UNIT

ASSESSMENT CRITERIA:

  - Unit is tested in line with troubleshooting procedures

  - Report on repair and testing of unit is prepared in line with enterprise procedures

CONTENTS:

Accomplished Worksheet

Measuring air circulation and velocity

- Velometer/anemometer

Temperature testing

- Thermometer

Current and voltage measurement

- Clamp ammeter

Unit Operating Procedures

Pressure and Temperature Relationship

CONDITIONS:

Students/trainees must be provided with the following:

| Equipment Aircon unit Refrigerator Instruments Gauge Manifold Thermometer Multi tester Velometer/anemometer Clamp ammeter | Tools Wrench Set Plier Set Screw Driver Set Supplies and Materials Accomplishment report form | Personal Protective Equipment Goggles Gloves Gas Mask Safety Shoes Working Clothes Learning Materials LEs on Window AC & Dom. Ref. Catalogue Brochure Work Instructions |
| --- | --- | --- |

METHODOLOGIES:

Demonstration

Self-paced instruction

Film viewing

Group discussion

ASSESSMENT METHODS:

Interview

Written test

Observation with questioning

Demonstration with questioning

# What is Competency-Based Curriculum (CBC)

- A competency-based curriculum is a framework or guide for the subsequent detailed development of competencies, associated methodologies, training and assessment resources.

- The CBC specifies the outcomes which are consistent with the requirements of the workplace as agreed through the industry or community consultations.

- CBC can be developed immediately when competency standards exist.

- When competency standards do not exist, curriculum developers need to clearly define the learning outcomes to be attained. The standard of performance required must be appropriate to industry and occupational needs through the industry/enterprise or specified client group consultations.

These materials are available in both printed and electronic copies.

For more information please contact:

Technical Education and Skills Development Authority (TESDA)

Telephone Nos.: 893-8281, 817-4076 to 82 loc. 611 to 630, 631 and 635 or visit our website: www.tesda.gov.ph or the TESDA Regional or Provincial Office nearest you.