CONSTRUCTION SECTOR

Pipefitting NC II

TRAINING REGULATIONS

TECHNICAL EDUCATION AND SKILLS DEVELOPMENT AUTHORITY

East Service Road, South Superhighway, Taguig City, Metro Manila

TABLE OF CONTENTS

CONSTRUCTION SECTOR

PIPEFITTING NC II

Page No.

| ## Section 1 PIPEFITTING NC II QUALIFICATION |  |  |  |  | 2 |
| --- | --- | --- | --- | --- | --- |
| ## Section 2 COMPETENCY STANDARDS |  |  |  |  | 3 - 58 |
|  |  |  | ## Basic Competencies ## Common Competencies ## Core Competencies |  | 3 - 18 19 - 37 38 - 58 |
| ## Section 3 TRAINING STANDARDS |  |  |  |  | ## 59 - 68 |
|  | - Curriculum Design - Basic Competencies - Common Competencies - Core Competencies |  |  |  | 59 - 60 61 62 |
|  | 3.2 Training Delivery |  |  |  | 63-64 |
|  | 3.3 Trainee Entry Requirements |  |  |  | 64 |
|  | 3.4 List of Tools, Equipment and Materials |  |  |  | 65-66 |
|  | 3.5 Training Facilities |  |  |  | 67 |
|  | 3.6 Trainer's Qualifications |  |  |  | 68 |
|  | 3.7 Institutional Assessment |  |  |  | 68 |
| ## Section 4 NATIONAL ASSESSMENT AND CERTIFICATION ARRANGEMENTS |  |  |  |  | ## 69 |
| COMPETENCY MAP |  |  |  |  | ## 70 |
| DEFINITION OF TERMS |  |  |  |  | ## 71 |
| ACKNOWLEDGEMENTS |  |  |  |  | ## 72 |

TRAINING REGULATIONS FOR

PIPEFITTING NC II

SECTION 1	PIPEFITTING NC II QUALIFICATION

The Pipefitting NC II Qualification consists of competencies that workers must achieve to enable them to cut, bevel and / or thread pipes, install overhead and underground piping system, fabricate support and hangers and perform tack welding.

This Qualification is packaged from the competency map of Construction sector as shown in Annex A.

The Units of Competency comprising this Qualification include the following:

| CODE NO. | BASIC COMPETENCIES |
| --- | --- |
|  | Units of Competency |
| 500311105 | Participate in workplace communication |
| 500311106 | Work in a team environment |
| 500311107 | Practice career professionalism |
| 500311108 | Practice occupational health and safety procedures |

| CODE NO. | COMMON COMPETENCIES |
| --- | --- |
|  | Units of Competency |
| CON931201 | Prepare construction materials and tools |
| CON311201 | Observe procedures, specifications and manuals of instruction |
| CON311202 | Interpret technical drawings and plans |
| CON311203 | Perform mensurations and calculations |
| CON311204 | Maintain tools and equipment |

| CODE NO. | CORE COMPETENCIES |
| --- | --- |
|  | Units of Competency |
| CON | Cut, bevel and / or thread pipes |
| CON | Install overhead piping system |
| CON | Install underground piping system |
| CON | Perform tack welding |

A person who has achieved this Qualification is competent to be a:

- Pipe fitter

## SECTION 2	COMPETENCY STANDARDS

This section gives the details of the contents of the competency standards required for PIPEFITTING NC II.  These are categorized into basic, common and core units of competency.

BASIC COMPETENCIES

| UNIT OF COMPETENCY: | PARTICIPATE IN WORKPLACE COMMUNICATION |
| --- | --- |
| UNIT CODE : | 500311105 |
| UNIT DESCRIPTOR : | This unit covers the knowledge, skills and attitudes required to gather, interpret and convey information in response to workplace requirements. |

| ### ELEMENT | ### PERFORMANCE CRITERIA Bold and Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Obtain and convey workplace information | - 1.1 Specific and relevant information is accessed from appropriate sources - 1.2 Effective questioning , active listening and speaking skills are used to gather and convey information - 1.3 Appropriate medium is used to transfer information and ideas - 1.4 Appropriate non- verbal communication is used - 1.5 Appropriate lines of communication with supervisors and colleagues are identified and followed - 1.6 Defined workplace procedures for the location and storage of information are used - 1.7 Personal interaction is carried out clearly and concisely |
| 2. Participate in workplace meetings and discussions | - 2.1 Team meetings are attended on time - 2.2 Own opinions are clearly expressed and those of others are listened to without interruption - 2.3 Meeting inputs are consistent with the meeting purpose and established protocols - 2.4 Workplace interactions are conducted in a courteous manner - 2.5 Questions about simple routine workplace procedures and matters concerning working conditions of employment are asked and responded to - 2.6 Meetings outcomes are interpreted and implemented |

| 3. Complete relevant work related documents | - 3.1 Range of forms relating to conditions of employment are completed accurately and legibly - 3.2 Workplace data is recorded on standard workplace forms and documents - 3.3 Basic mathematical processes are used for routine calculations - 3.4 Errors in recording information on forms/ documents are identified and properly acted upon - 3.5 Reporting requirements to supervisor are completed according to organizational guidelines |
| --- | --- |

###### RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Appropriate sources | - 1.1 Team members - 1.2 Suppliers - 1.3 Trade personnel - 1.4 Local government - 1.5 Industry bodies |
| 2. Medium | - 2.1 Memorandum - 2.2 Circular - 2.3 Notice - 2.4 Information discussion - 2.5 Follow-up or verbal instructions - 2.6 Face to face communication |
| 3. Storage | - 3.1 Manual filing system - 3.2 Computer-based filing system |
| 4. Forms | - 4.1 Personnel forms, telephone message forms, safety reports |
| 5. Workplace interactions | - 5.1 Face to face - 5.2 Telephone - 5.3 Electronic and two way radio - 5.4 Written including electronic, memos, instruction and forms, non-verbal including gestures, signals, signs and diagrams |
| 6. Protocols | - 6.1 Observing meeting - 6.2 Compliance with meeting decisions - 6.3 Obeying meeting instructions |

# EVIDENCE GUIDE

| 1. Critical Aspects of Competency | Assessment requires evidence that the candidate: - 1.1 Demonstrates ability to prepare written communication following standard format of the organization - 1.2 Demonstrates ability to access information using communication equipment - 1.3 Made use of relevant terms as an aid to transfer information effectively - 1.4 Conveyed information effectively adopting the formal or informal communication |
| --- | --- |
| 2. Underpinning Knowledge and Attitudes | - 2.1 Effective communication - 2.2 Different modes of communication - 2.3 Written communication - 2.4 Organizational policies - 2.5 Communication procedures and systems - 2.6 Technology relevant to the enterprise and the individual’s work responsibilities |
| 3. Underpinning Skills | - 3.1 Follow simple spoken language - 3.2 Perform routine workplace duties following simple written - notices - 3.3 Participate in workplace meetings and discussions - 3.4 Complete work related documents - 3.5 Estimate, calculate and record routine workplace - measures - 3.6 Basic mathematical processes of addition, subtraction, - division and multiplication - 3.7 Ability to relate to people of social range in the workplace - 3.8 Gather and provide information in response to workplace - requirements |
| 4. Resource Implications | - 4.1 Fax machine - 4.2 Telephone - 4.3 Writing materials - 4.4 Internet |
| 5. Methods of Assessment | - 5.1 Direct Observation - 5.3 Oral interview and written test |
| 6. Context of Assessment | - 6.1 Competency may be assessed individually in the actual workplace or through accredited institution |

| UNIT OF COMPETENCY: | WORK IN TEAM ENVIRONMENT |
| --- | --- |
| UNIT CODE : | 500311106 |
| UNIT DESCRIPTOR : | This unit covers the skills, knowledge and attitudes to identify role and responsibility as a member of a team. |

| ### ELEMENT | ### PERFORMANCE CRITERIA Bold and Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Describe team role and scope | - 1.1 The role and objective of the team is identified from available sources of information - 1.2 Team parameters, reporting relationships and responsibilities are identified from team discussions and appropriate external sources |
| 2. Identify own role and responsibility within team | - 2.1 Individual role and responsibilities within the team environment are identified - 2.2 Roles and responsibility of other team members are identified and recognized - 2.3 Reporting relationships within team and external to team are identified |
| 3. Work as a team member | - 3.1 Effective and appropriate forms of communications used and interactions undertaken with team members who contribute to known team activities and objectives - 3.2 Effective and appropriate contributions made to complement team activities and objectives, based on individual skills and competencies and workplace context - 3.3 Observed protocols in reporting using standard operating procedures - 3.4 Contribute to the development of teamwork plans based on an understanding of team’s role and objectives and individual competencies of the members. |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Role and objective of team | - 1.1 Work activities in a team environment with enterprise or specific sector - 1.2 Limited discretion, initiative and judgement maybe demonstrated on the job, either individually or in a team environment |
| 2. Sources of information | - 2.1 Standard operating and/or other workplace procedures - 2.2 Job procedures - 2.3 Machine/equipment manufacturer’s specifications and instructions - 2.4 Organizational or external personnel - 2.5 Client/supplier instructions - 2.6 Quality standards - 2.7 OHS and environmental standards |
| 3. Workplace context | - 3.1 Work procedures and practices - 3.2 Conditions of work environments - 3.3 Legislation and industrial agreements - 3.4 Standard work practice including the storage, safe handling and disposal of chemicals - 3.5 Safety, environmental, housekeeping and quality guidelines |

EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires evidence that the candidate: - 1.1 Demonstrates ability to operate in a team to complete - workplace activity - 1.2 Demonstrates ability to work effectively with others - 1.3 Demonstrates ability to convey information in written or - oral form - 1.4 Demonstrates ability to select and use appropriate - workplace language - 1.5 Demonstrates ability to follow designated work plan for the job - 1.6 Demonstrates ability to report outcomes |
| --- | --- |
| 2. Underpinning Knowledge and Attitude | - 2.1 Communication process - 2.2 Team structure - 2.3 Team roles - 2.4 Group planning and decision making |
| 3. Underpinning Skills | 3.1 Communicate appropriately, consistent with the culture of the workplace |
| 4. Resource Implications | The following resources MUST be provided: - 4.1 Access to relevant workplace or appropriately simulated - environment where assessment can take place - 4.2 Materials relevant to the proposed activity or tasks |
| 5. Methods of Assessment | Competency may be assessed through: - 5.1 Observation of the individual member in relation to the work activities of the group - 5.2 Observation of simulation and or role play involving the participation of individual member to the attainment of organizational goal - 5.3 Case studies and scenarios as a basis for discussion of issues and strategies in teamwork |
| 6. Context for Assessment | - 6.1 Competency may be assessed in workplace or in a simulated workplace setting - 6.2 Assessment shall be observed while task are being undertaken whether individually or in group |

| UNIT OF COMPETENCY: | PRACTICE CAREER PROFESSIONALISM |
| --- | --- |
| UNIT CODE : | 500311107 |
| UNIT DESCRIPTOR : | This unit covers the knowledge, skills and attitudes in promoting career growth and advancement. |

| - ELEMENT | - PERFORMANCE CRITERIA - Bold and Italicized terms are elaborated in the - Range of Variables |
| --- | --- |
| - 1. Integrate personal objectives with organizational goals | - 1.1 Personal growth and work plans are pursued towards improving the qualifications set for the profession - 1.2 Intra- and interpersonal relationships is are maintained in the course of managing oneself based on performance evaluation - 1.3 Commitment to the organization and its goal is demonstrated in the performance of duties |
| - 2. Set and meet work priorities | - 2.1 Competing demands are prioritized to achieve personal, team and organizational goals and objectives - 2.2 Resources are utilized efficiently and effectively to manage work priorities and commitments - 2.3 Practices along economic use and maintenance of equipment and facilities are followed as per established procedures |
| - 3. Maintain professional growth and development | - 3.1 Training and career opportunities are identified and availed of based on job requirements - 3.2 Recognition is sought/received and demonstrated as proof of career advancement - 3.3 Licenses and/or certifications relevant to job and career are obtained and renewed |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Evaluation | 1.1 Performance Appraisal 1.2 Psychological Profile - 1.3 Aptitude Tests |
| 2. Resources | 2.1 Human 2.2 Financial 2.3 Technology 2.3.1 Hardware - 2.3.2 Software |
| 3. Training and career opportunities | 3.1 Participation in training programs 3.1.1 Technical 3.1.2 Supervisory 3.1.3 Managerial 3.1.4 Continuing Education 3.2 Serving as Resource Persons in conferences and workshops |
| 4. Recognition | 4.1 Recommendations 4.2 Citations 4.3 Certificate of Appreciation 4.4 Commendations 4.5 Awards - 4.6 Tangible and Intangible Rewards |
| 5. Licenses and/or certifications | 5.1 National Certificates 5.2 Certificate of Competency - 5.3 Support Level Licenses - 5.4 Professional Licenses |

EVIDENCE GUIDE

| 1. Critical Aspects of Competency | Assessment requires evidence that the candidate: - 1.1 Demonstrates ability to attain job targets within key result - areas (KRAs) - 1.2 Demonstrates ability to maintain intra - and interpersonal - relationship in the course of managing oneself based on - performance evaluation - 1.3 Demonstrates ability to complete training and career - opportunities which are based on the requirements of - the industries - 1.4 Demonstrates ability to acquire and maintain licenses - and/or certifications according to the requirement of the - qualification |
| --- | --- |
| 2. Underpinning Knowledge | 2.1 Work values and ethics (Code of Conduct, Code of Ethics, etc.) 2.2 Company policies 2.3 Company operations, procedures and standards 2.4 Fundamental rights at work including gender sensitivity - 2.5 Personal hygiene practices |
| 3. Underpinning Skills | 3.1 Appropriate practice of personal hygiene 3.2 Intra and Interpersonal skills - 3.3 Communication skills |
| 4. Resource Implications | The following resources MUST be provided: - 4.1 Workplace or assessment location - 4.2 Case studies/scenarios |
| 5. Methods of Assessment | Competency may be assessed through: - 5.1 Portfolio Assessment - 5.2 Interview - 5.3 Simulation/Role-plays - 5.4 Observation - 5.5 Third Party Reports - 5.6 Exams and Tests |
| 6. Context of Assessment | - 6.1 Competency may be assessed in the work place or in a - simulated work place setting |

| UNIT OF COMPETENCY: | PRACTICE OCCUPATIONAL HEALTH AND SAFETY PROCEDURES |
| --- | --- |
| UNIT CODE : | 500311108 |
| UNIT DESCRIPTOR : | This unit covers the outcomes required to comply with regulatory and organizational requirements for occupational health and safety. |

| ELEMENT | PERFORMANCE CRITERIA Bold and Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Identify hazards and risks | 1.1 Safety regulations and workplace safety and hazard control practices and procedures are clarified and explained based on organization procedures 1.2 Hazards/risks in the workplace and their corresponding indicators are identified to minimize or eliminate risk to co-workers, workplace and environment in accordance with organization procedures 1.3 Contingency measures during workplace accidents, fire and other emergencies are recognized and established in accordance with organization procedures |
| 2. Evaluate hazards and risks | - 2.1 Terms of maximum tolerable limits which when exceeded will result in harm or damage are identified based on threshold limit values (TLV) - 2.2 Effects of the hazards are determined - 2.3 OHS issues and/or concerns and identified safety hazards are reported to designated personnel in accordance with workplace requirements and relevant workplace OHS legislation |
| 3. Control hazards and risks | - 3.1 Occupational Health and Safety (OHS) procedures for - controlling hazards/risks in workplace are consistently - followed - 3.2 Procedures for dealing with workplace accidents, fire - and emergencies are followed in accordance with - organization OHS policies - 3.3 Personal protective equipment (PPE) is correctly used - in accordance with organization OHS procedures and - practices - 3.4 Appropriate assistance is provided in the event of a - workplace emergency in accordance with established - organization protocol |

| 4. Maintain OHS awareness | - 4.1 Emergency-related drills and training are participated in as per established organization guidelines and procedures - 4.2 OHS personal records are completed and updated in accordance with workplace requirements |
| --- | --- |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Safety regulations | May include but are not limited to: - 1.1 Clean Air Act - 1.2 Building code - 1.3 National Electrical and Fire Safety Codes - 1.4 Waste management statutes and rules - 1.5 Philippine Occupational Safety and Health Standards - 1.6 DOLE regulations on safety legal requirements - 1.7 ECC regulations - 1.8 Hot work permit - 1.9 Confined space entry permits |
| 2. Hazards/Risks | May include but are not limited to: 2.1 Physical hazards – impact, illumination, pressure, noise, vibration, temperature, radiation, ventilation 2.2 Biological hazards- bacteria, viruses, plants, parasites, mites, molds, fungi, insects 2.3 Chemical hazards – dusts, fibers, mists, fumes, smoke, gasses, vapors 2.4 Ergonomics 2.4.1 Psychological factors – over exertion/ excessive force, awkward/static positions, fatigue, direct pressure, varying metabolic cycles 2.4.2 Physiological factors – monotony, personal relationship, work out cycle |
| 3. Contingency measures | May include but are not limited to: - 3.1 Evacuation - 3.2 Isolation - 3.3 Decontamination - 3.4 (Calling designed) emergency personnel |
| 4. PPE | May include but are not limited to: 4.1 Mask 4.2 Gloves 4.3 Goggles 4.4 Hair Net/cap/bonnet 4.5 Face mask/shield 4.6 Ear muffs 4.7 Apron/Gown/coverall/jump suit 4.8 Anti-static suits 4.9 Full body safety harness |

| VARIABLE | RANGE |
| --- | --- |
| 5. Emergency-related drills and training | 5.1 Fire drill 5.2 Earthquake drill 5.3 Basic life support/CPR 5.4 First aid 5.5 Spillage control 5.6 Decontamination of chemical and toxic 5.7 Disaster preparedness/management |
| 6. OHS personal records | - 6.1 Medical/Health records - 6.2 Incident reports - 6.3 Accident reports - 6.4 OHS-related training completed |

EVIDENCE GUIDE

| 1. Critical Aspects of Competency | Assessment requires evidence that the candidate: 1.1 Demonstrates ability to explain clearly established workplace safety and hazard control practices and procedures 1.2 Demonstrates ability to identify hazards/risks in the workplace and its corresponding indicators in accordance with company procedures 1.3 Demonstrates ability to recognize contingency measures during workplace accidents, fire and other emergencies 1.4 Demonstrates ability to identify terms of maximum tolerable limits based on threshold limit value- TLV 1.5 Demonstrates ability to follow Occupational Health and Safety (OHS) procedures for controlling hazards/risks in workplace 1.6 Used Personal Protective Equipment (PPE) in accordance with company OHS procedures and practices 1.7 Completed and updated OHS personal records in accordance with workplace requirements |
| --- | --- |
| 2. Underpinning Knowledge and Attitude | - 2.1 OHS procedures and practices and regulations - 2.2 PPE types and uses - 2.3 Personal hygiene practices - 2.4 Hazards/risks identification and control - 2.5 Threshold Limit Value -TLV - 2.6 OHS indicators - 2.7 Organization safety and health protocol - 2.8 Safety consciousness - 2.9 Health consciousness |
| 3. Underpinning Skills | - 3.1 Practice of personal hygiene - 3.2 Hazards/risks identification and control skills - 3.3 Interpersonal skills 3.4 Communication skills |
| 4. Resource Implications | - The following resources must be provided: - 4.1 Workplace or assessment location - 4.2 OHS personal records 4.3 PPE 4.4 Health records |

| 5. Methods of Assessment | Competency may be assessed through: - 5.1 Portfolio Assessment - 5.2 Interview - 5.3 Case Study/Situation |
| --- | --- |
| 6. Context for Assessment | - 6.1 Competency may be assessed in the work place or in a - simulated work place setting |

COMMON COMPETENCIES

| UNIT OF COMPETENCY: | PREPARE CONSTRUCTION MATERIALS AND TOOLS |
| --- | --- |
| UNIT CODE : | CON931201 |
| UNIT DESCRIPTOR : | This unit covers the knowledge, skills and attitudes on identifying, requesting and receiving construction materials and tools based on the required performance standards. |

| ELEMENT | PERFORMANCE CRITERIA Bold and italicized terms are elaborated in the Range of Variable |
| --- | --- |
| 1. Identify materials | - 1.1 Materials are listed as per job requirements - 1.2 Quantity and description of materials conform with the job requirements - 1.3 Tools and accessories are identified according to job requirements |
| 2. Request materials | - 2.1 Materials and tools needed are requested according to - the list prepared 2.2 Request is done as per company standard operating procedures (SOP) - Substitute materials and tools are provided without sacrificing cost and quality of work |
| 3. Receive and inspect materials | - 3.1 Materials and tools issued are inspected as per quantity and specification - 3.2 Tools, accessories and materials are checked for - damages according to enterprise procedures - 3.3 Materials and tools are set aside to appropriate location nearest to the workplace |

#### RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Materials and Tools | - 1.1 Electrical supplies - 1.2 Structural - 1.3 Plumbing - 1.4 Welding - 1.5 Pipe sizes and materials - 1.6 Pipe joints and bending - 1.7 Pipe fittings - 1.8 Pipe flanges - 1.9 Flange bolting - 1.10 Gaskets - 1.11 Flex joints - 1.12 Valves - 1.13 Strainers and traps - 1.14 Carpentry - 1.15 Masonry |
| 2. Description of Materials and Tools | - 2.1 Brand name - 2.2 Size - 2.3 Capacity - 2.4 Kind of application |
| 3. Company standard procedures | - 3.1 Job order - 3.2 Requisition slip - 3.3 Borrower slip |

#### EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires evidence that the candidate: - 1.1 Listed materials and tools according to quantity and job - requirements - 1.2 Requested materials and tools according to the list - prepared and as per company SOP - 1.3 Inspected issued materials and tools as per quantity and - job specifications - 1.4 Tools provided with appropriate safety devices |
| --- | --- |
| 2. Underpinning knowledge | - 2.1 Types and uses of construction materials and tools - 2.2 Different forms - 2.3 Requisition procedures |
| 3. Underpinning skills | - 3.1 Preparing materials and tools - 3.2 Proper handling of tools and equipment - 3.3 Following instructions |
| 4. Resource implications | The following resources should be provided: - 4.1 Workplace location - 4.2 Materials relevant to the unit of competency - 4.3 Technical plans, drawings and specifications relevant to - the activities |
| 5. Methods of assessment | Competency in this unit must be assessed through: - 5.1 Direct observation and oral questioning |
| 6. Context of assessment | - 6.1 Competency may be assessed in the workplace or in a - simulated workplace - 6.2 Competency assessment must be undertaken in - accordance with the endorsed TESDA assessment - guidelines |

| UNIT OF COMPETENCY: | OBSERVE PROCEDURES, SPECIFICATIONS AND MANUALS OF INSTRUCTIONS |
| --- | --- |
| UNIT CODE : | CON311201 |
| UNIT DESCRIPTOR : | This unit covers the knowledge, skills and attitudes on identifying, interpreting, applying services to specifications and manuals and storing manuals. |

| ELEMENT | PERFORMANCE CRITERIA Bold and italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. IIdentify and access specification/manuals | 1.1 Appropriate manuals are identified and accessed as per job requirements - 1.2 Version and date of manual are checked to ensure that correct specification and procedures are identified |
| 2. Interpret manuals | - 2.1 Relevant sections, chapters of specifications/ manuals are located in relation to the work to be conducted - 2.2 Information and procedure in the manual are interpreted in accordance with industry practices |
| 3. Apply information in manual | - 3.1 Manual is interpreted according to job requirements - 3.2 Work steps are correctly identified in accordance with manufacturer's specification - 3.3 Manual data are applied according to the given task - 3.4 All correct sequencing and adjustments are interpreted in accordance with information contained on the manual or specifications |
| 4. Store manuals | - 4.1 Manual or specification is stored appropriately to prevent damage, ready access and updating of information when required in accordance with company requirements |

RANGE OF VARIABLES

| #### VARIABLE | RANGE |
| --- | --- |
| 1. Procedures, Specifications and Manuals of Instructions | Kinds of Manuals: - 1.1 Manufacturer's Specification Manual - 1.2 Repair Manual - 1.3 Maintenance Procedure Manual - 1.4 Periodic Maintenance Manual |

# EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires that the candidate: 1.1 Identified and accessed specification/manuals as per job requirements - 1.2 Interpreted manuals in accordance with industry practices - 1.3 Applied information in manuals according to the given - task - Stored manuals in accordance with company requirements |
| --- | --- |
| 2. Underpinning knowledge | - 2.1 Types of manuals used in construction sector - 2.2 Identification of symbols used in the manuals - 2.3 Identification of units of measurements - 2.4 Unit conversion |
| 3. Underpinning skills | - 3.1 Reading and comprehension skills required to identify and interpret construction manuals and specifications - 3.2 Accessing information and data |
| 4. Resource implications | The following resources should be provided: - 4.1 All manuals/catalogues relative to construction sector |
| 5. Methods of assessment | Competency should be assessed through: 5.1 Direct observation 5.2 Questions/interview Assessment of underpinning knowledge and practical skills may be combined |
| 6. Context of assessment | - 6.1 Competency assessment must be undertaken in accordance with the endorsed TESDA assessment guidelines - 6.2 Assessment may be conducted in the workplace or a simulated environment |

| UNIT OF COMPETENCY: | INTERPRET TECHNICAL DRAWINGS AND PLANS |
| --- | --- |
| UNIT CODE : | CON311202 |
| UNIT DESCRIPTOR : | This unit covers the knowledge, skills and attitudes in analyzing and interpreting symbols, data and work plan based on the required performance standards. |

| ELEMENTS | PERFORMANCE CRITERIA Bold and italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Analyze signs, symbols and data | - 1.1 Technical plans are obtained according to job - requirements - 1.2 Signs, symbols and data are identified according to job - specifications - 1.3 Signs symbols and data are determined according to - classification or as appropriate in drawing |
| 2. Interpret technical drawings and plans | - 2.1 Necessary tools, materials and equipment are - identified according to the plan - 2.2 Supplies and materials are listed according to - specifications - 2.3 Components, assemblies or objects are recognized as - required - 2.4 Dimensions are identified as appropriate to the plan - 2.5 Specification details are matched with existing / available - resources and in line with job requirements - 2.6 Work plan is drawn following the specifications |
| 3. Apply freehand sketching | - 3.1 Where applicable, correct freehand sketching is - produced in accordance with the job requirements |

RANGE OF VARIABLES

| #### VARIABLES | RANGE |
| --- | --- |
| 1. Technical Plans | Including but not limited to: - 1.1 Electrical plans - 1.2 Structural plans - 1.3 Architectural plans - 1.4 Plumbing plans - 1.5 Welding Procedures Specifications (WPS) - 1.6 Piping and instrument diagram - 1.7 Piping isometric - 1.8 Plot plans - 1.9 Piping class sheet - 1.10 Piping support details and hanger drawings |
| 2. Work plan | - 2.1 Job requirements - 2.2 Installation instructions - 2.3 Components instruction |
| 3. Classification | Including but not limited to: - 3.1 Electrical - 3.2 Mechanical - 3.3 Plumbing |
| 4. Drawing | - 4.1 Drawing symbols - 4.2 Alphabet of lines - 4.3 Orthographic views 4.4 Front view 4.5 Right side view/left side view 4.6 Top view 4.7 Pictorial - 4.8 Schematic diagram - 4.9 Electrical drawings - 4.10 Structural drawings - 4.11 Plumbing drawings 4.12 Water 4.13 Sewerage/Drainage 4.14 Ventilation - 4.15 Welding symbols |

| 5. Tools and materials | Including but not limited to: - 5.1 Compass - 5.2 Divider - 5.3 Rulers - 5.4 Triangles - 5.5 Drawing tables - 5.6 Computer |
| --- | --- |

# EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires that the candidate: - Identified and determined signs, symbols and data according to work plan, job requirements and classifications - 1.2 Identified tools and equipment in accordance with job - requirements - 1.3 Listed supplies and materials according to blueprint - specifications - 1.4 Drawn work plan following specifications 1.5 Demonstrated ability to determine job specifications based on working / technical drawing |
| --- | --- |
| 2. Underpinning Knowledge | - 2.1 TRADE MATHEMATICS 2.1.1 Linear measurement 2.1.2 Dimension 2.1.3 Unit conversion - 2.2 BLUEPRINT READING AND PLAN SPECIFICATION 2.2.1 Electrical, mechanical plan, symbols and abbreviations 2.2.2 Drawing standard symbols - 2.3 TRADE THEORY 2.3.1 Basic technical drawing 2.3.2 Types technical plans 2.3.3 Various types of drawings 2.3.4 Notes and specifications |
| 3. Underpinning Skills | - 3.1 Interpreting drawing/orthographic drawing - 3.2 Interpreting technical plans - 3.3 Matching specification details with existing resources - 3.4 Following instructions - 3.5 Handling of drawing instruments |
| 4. Resource Implications | The following resources should be provided: - 4.1 Workplace - 4.2 Drawings and specification relevant to task - 4.3 Materials and instrument relevant to proposed activity |

| 5. Methods of Assessment | Competency should be assessed through: - 5.1 Direct Observation - 5.2 Questions/Interview - 5.3 Written test related to underpinning knowledge |
| --- | --- |
| 6. Context of Assessment | - 6.1 Competency assessment may occur in the workplace or in - any appropriate simulated environment - 6.2 Assessment shall be observed while task are being - undertaken whether individually or in group 6.3 Competency assessment must be undertaken in accordance with the endorsed TESDA assessment guidelines |

| UNIT OF COMPETENCY: | PERFORM MENSURATIONS AND CALCULATIONS |
| --- | --- |
| UNIT CODE : | CON311203 |
| UNIT DESCRIPTOR : | This unit covers the knowledge, skills and attitudes on identifying and measuring objects based on the required performance standards. |

| ELEMENT | PERFORMANCE CRITERIA Bold and italicized terms are elaborated in the Range of Variable |
| --- | --- |
| 1. Select measuring instruments | - 1.1 Object or component to be measured is identified, classified and interpreted according to the appropriate regular geometric shape - 1.2 Measuring tools are selected/identified as per object to be measured or job requirements - 1.3 Correct specifications are obtained from relevant sources - 1.4 Appropriate measuring instruments are selected according to job requirements - Alternative measuring tools are used without sacrificing cost and quality of work |
| 2. Carry out measurements and calculations | - 2.1 Accurate measurements are obtained according to job requirements 2.2 Alternative measuring tools are used without sacrificing cost and quality of work 2.3 Calculation needed to complete work tasks are performed using the four basic process of addition (+), subtraction (-), multiplication (x) and division (/) including but not limited to: trigonometric functions, algebraic computations - 2.4 Calculations involving fractions, percentages and mixed numbers are used to complete workplace tasks - 2.5 Numerical computation is self-checked and corrected for accuracy - 2.6 Instruments are read to the limit of accuracy of the tool - 2.7 Systems of measurement identified and converted according to job requirements/ISO 2.8 Workpieces are measured according to job requirements |

#### RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Geometric shape | Including but is not limited to: - 1.1 Round - 1.2 Square - 1.3 Rectangular - 1.4 Triangle - 1.5 Sphere - 1.6 Conical |
| 2. Measuring instruments | Including but not limited to: - 2.1 Micrometer (In-out, depth) - 2.2 Vernier caliper (out, inside) - 2.3 Dial gauge with mag, std. - 2.4 Straight edge - 2.5 Thickness gauge - 2.6 Torque gauge - 2.7 Small hole gauge - 2.8 Telescopic gauge - 2.9 Try-square - 2.10 Protractor - 2.11 Combination gauge - 2.12 Steel rule - 2.13 Voltmeter - 2.14 Ammeter - 2.15 Mega ohmeter - 2.16 Kilowatt hour meter - 2.17 Gauges - 2.18 Thermometers |
| 3. Measurements and calculations | - 3.1 Linear - 3.2 Volume - 3.3 Area - 3.4 Wattage - 3.5 Voltage - 3.6 Resistance - 3.7 Amperage - 3.8 Frequency - 3.9 Impedance - 3.10 Elbow center |

| VARIABLE | RANGE |
| --- | --- |
|  | - 3.10 Conductance - 3.11 Capacitance - 3.12 Displacement - 3.16 Inside diameter - 3.17 Circumference - 3.18 Length - 3.19 Thickness - 3.20 Outside diameter - 3.21 Taper - 3.22 Out of roundness - 3.23 Oil clearance - 3.24 End play/Thrust clearance |

# EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires that the candidate: - 1.1 Selected and prepared appropriate measuring instruments in accordance with job requirements - 1.2 Performed measurements and calculations according to job requirements/ ISO |
| --- | --- |
| 2. Underpinning knowledge | - TRADE MATHEMATICS / MENSURATION 2.1 Four fundamental operation 2.2 Linear measurement 2.3 Dimensions 2.4 Unit conversion 2.5 Ratio and proportion 2.6 Trigonometric functions 2.8 Algebraic equations |
| 3. Underpinning skills | - 3.1 Performing calculation by addition, subtraction, multiplication and division; trigonometric functions and algebraic equations - 3.2 Visualizing objects and shapes - 3.3 Interpreting formulas for volume, areas, perimeters of plane and geometric figures - 3.4 Proper handling of measuring instruments |
| 4. Resource implications | The following resources should be provided: - 4.1 Workplace location - 4.2 Problems to solve - 4.3 Measuring instrument appropriate to carry out tasks - 4.4 Instructional materials relevant to the propose activity Assessment of underpinning knowledge and practical skills may be combined |
| 5. Methods of assessment | Competency should be assessed through: - 5.1 Actual demonstration - 5.2 Direct observation 5.3 Written test/questioning related to underpinning knowledge |
| 6. Context of assessment | - 6.1 Competency assessment may occur in workplace or any appropriate simulated environment - 6.2 Assessment shall be observed while task are being undertaken whether individually or in group - 6.3 Competency assessment must be undertaken in accordance with the TESDA assessment guidelines |

| UNIT OF COMPETENCY: | MAINTAIN TOOLS AND EQUIPMENT |
| --- | --- |
| UNIT CODE : | CON311204 |
| UNIT DESCRIPTOR : | This unit covers the knowledge, skills and attitudes on checking condition, performing preventive maintenance and storing of tools and equipment based on the required performance standards. |

| ELEMENTS | PERFORMANCE CRITERIA Bold and italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Check condition of tools and equipment | 1.1 Materials, tools and equipment are identified according to classification and job requirements - 1.2 Non-functional tools and equipment are segregated and labeled according to classification - Safety of tools and equipment are observed in accordance with manufacturer's instructions - 1.4 Condition of PPE are checked in accordance with manufacturer's instructions |
| 2. Perform basic preventive maintenance | 2.1 Appropriate lubricants are identified according to types of equipment 2.2 Tools and equipment are lubricated according to preventive maintenance schedule or manufacturer's specifications - 2.3 Measuring instruments are checked and calibrated in - accordance with manufacturer’s instructions - 2.4 Tools are cleaned and lubricated according to standard procedures - 2.5 Defective instruments, equipment and accessories are - inspected and replaced according to manufacturer’s - specifications - 2.6 Tools are inspected, repaired and replaced after use 2.7 Work place is cleaned and kept in safe state in line with OHSA regulations |

| 3. Store tools and equipment | 3.1 Inventory of tools, instruments and equipment are conducted and recorded as per company practices - 3.2 Tools and equipment are stored safely in appropriate - locations in accordance with manufacturer's specifications - or company procedures |
| --- | --- |

###### RANGE OF VARIABLES

| #### VARIABLES | RANGE |
| --- | --- |
| 1. Materials | Including but not limited to: - 1.1 Lubricants - 1.2 Cleaning materials - 1.3 Rust remover - 1.4 Rugs - 1.5 Spare parts |
| 2. Tools and equipment | Including but not limited to: - 2.1 Tools Cutting tools - hacksaw, crosscut saw, rip saw Boring tools - auger, brace, grinlet, hand drill Holding tools - vise grip, C-clamp, bench vise Threading tools - die and stock, taps - 2.2 Measuring instruments/equipment |
| 3. PPE | Including but not limited to: - 3.1 Goggles - 3.2 Gloves - 3.3 Safety shoes - 3.4 Aprons/Coveralls |
| 4. Forms | - 4.1 Maintenance schedule forms - 4.2 Requisition slip - 4.3 Inventory Form - 4.4 Inspection Form - 4.5 Procedures |

# EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires that the candidate: - 1.1 Selected and used appropriate processes, tools and equipment to carry out task - 1.2 Identified functional and non-functional tools and - equipment - 1.3 Checked, lubricated and calibrated tools, equipment and instruments according to manufacturer’s specifications - 1.4 Replaced defective tools, equipment and their accessories - 1.5 Observed and applied safe handling of tools and equipment and safety work practices - 1.6 Prepared and submitted inventory report, where applicable - 1.7 Maintained workplace in accordance with OHSA - regulations - 1.8 Stored tools and equipment safely in appropriate locations and in accordance with company practices |
| --- | --- |
| 2. Underpinning knowledge | - 2.1 SAFETY PRACTICES 2.1.1 Use of PPE 2.1.2 Handling of tools and equipment 2.1.3 Good housekeeping - 2.2 MATERIALS, TOOLS AND EQUIPMENT 2.2.1 Types and uses of lubricants 2.2.2 Types and uses of cleaning materials 2.2.3 Types and uses of measuring instruments and equipment - 2.3 PREVENTIVE MAINTENANCE 2.3.1 Methods and techniques 2.3.2 Procedures |
| 3. Underpinning skills | 3.1 Preparing maintenance materials, tools and equipment 3.2 Proper handling of tools and equipment 3.3 Performing preventive maintenance 3.4 Following instructions |
| 4. Resource implications | The following resources should be provided: 4.1 Workplace 4.2 Maintenance schedule - 4.3 Maintenance materials, tools and equipment relevant to - the proposed activity/task |

| 5. Methods of assessment | Competency should be assessed through: 5.1 Direct observation 5.2 Written test/questioning relevant to Underpinning knowledge |
| --- | --- |
| 6. Context of assessment | - 6.1 Competency assessment may occur in workplace or any appropriate simulated environment - 6.2 Competency assessment must be undertaken in accordance with the endorsed TESDA assessment guidelines |

CORE COMPETENCIES

| UNIT OF COMPETENCY: | CUT, BEVEL AND / OR THREAD PIPES |
| --- | --- |
| UNIT CODE : |  |
| UNIT DESCRIPTOR : | This unit covers the knowledge, skill and attitudes required to cut, bevel and thread pipes. |

| ELEMENT | PERFORMANCE CRITERIA Bold and italicized terms are elaborated in the Range of Variable |
| --- | --- |
| - Plan and prepare for work | - Blueprint is secured and interpreted according to job specifications - Occupational health and safety standards and other regulatory requirements are identified and complied with - Personal protective equipment is selected and used following job requirements - Material take-off is estimated according to job specifications |
| - Prepare and lay out pipes | - Material take-off is prepared following company standard operating procedures (SOP) - Materials, tools and equipment are secured following company standard operating procedure. - Wrap around procedure is performed following job requirements - Marked and measured pipes are checked according to job specifications |
| 3. Cut, bevel and thread pipes | 3.1 Cutting procedure is performed following job specifications 3.2 Beveling and grinding procedure is performed following job specifications 3.3 Threading of pipe is performed, as specified 3.3 Joint preparation procedure is performed following job requirements |
| 4. Perform housekeeping | 4.1 Waste materials are disposed following occupational health and safety standards 4.2 Unused materials are returned to storage area following company SOP 4.3 Completion report is prepared and submitted to personnel following company SOP. |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Job specifications | May include but are not limited to: - Piping code specification - Material specification - Item code number specification - Size, quantity and description - Bill of materials |
| - Occupational health and safety standards | May include but are not limited to: 2.1 Availability of fire extinguisher 2.2 Asbestos blanket 2.3 Availability of PPE 2.4 Manufacturer’s recommendation 2.5 Waste disposal |
| - Regulatory requirements | 3.1 Hot work permit 3.2 Cold work permit 3.3 Job order |
| - Material take-off | 4.1 Size 4.2 Quantity 4.3 Description |
| 5. PPE | May include but are not limited to: 5.1 Safety gloves 5.2 Safety goggles, glass and face shield 5.3 Safety helmet 5.4 Safety harness 5.5 Safety clothes 5.6 Safety shoes 5.7 Dust masks 5.8 Ear plug |

| - Materials, tools and equipment | May include but are not limited to: - Materials - Metal pipes - Fittings - Gaskets, bolts and nuts - Valves - Flange - Tools and equipment - Cutting set - Grinder angle - Steel square - Level bar / mechanical - Center punch - Ball hammer - Contour marker - Spirit level - Soft stone - Steel measuring tape - Files - Power brush - Steel brush - Adjustable wrench - Grinder key - Tip cleaner - Spark lighter - Plumb bob |
| --- | --- |
| 7. Wrap around procedure | 7.1 Rub wrapping material in full contact with pipe to get the roundness of pipe 7.2 Mark pipe with soft stone and punch if necessary |
| 8. Cutting procedure | 8.1 Straight cutting 8.2 Bevel cutting 8.3 Allowance and cutting 8.4 Cold cutting 8.5 Hot cutting |
| 9. Joint preparation | 9.1 Welding gap as per WPS (Welding Procedure Specifications) 9.2 Leveling and squareness |

| 10. Waste materials | May include but are not limited to: 10.1 Metal scrap 10.2 Grinding discs 10.3 Electrode butts 10.4 Flux 10.5 Metal dusts / metal oxide / welding slags |
| --- | --- |
| 11. Unused materials | May include but are not limited to: 11.1 Pipes 11.2 Electrodes |
| 12. Personnel | 12.1 Foreman 12.2 Charge hand 12.3 Supervisor |

EVIDENCE GUIDE

| - Critical aspects of competency | Evidence must show the candidate can: - Demonstrate ability to interpret blueprint following job specifications - Demonstrate ability to comply occupational health and safety standards and other regulatory requirements in pipefitting - Demonstrate ability to estimate material take-off following job specifications - Demonstrate ability to lay out pipes according to job specifications |
| --- | --- |
| - Underpinning knowledge | 2.1 Isometric and / or orthographic symbols, drawings, sketches and material description - Trade Mathematics (related and applied Trigonometry) - Occupational health and safety standards and regulatory requirements for cutting and beveling pipes - Piping material classification, specifications and uses - Piping cutting procedure for jointing |
| - Underpinning skills | 3.1 Interpreting isometric and / or orthographic symbols, drawings, sketches and material description 3.2 Applying Trade Mathematics 3.3 Following occupational health and safety standards 3.4 Using piping materials 3.5 Performing piping cutting procedure for jointing |
| - Resource implications | The following maybe provided 4.1 Materials, tools and equipment relevant to the activity 4.2 Workplace or simulated environment |

| - Methods of Assessment | Competencies maybe assessed using the following 5.1 Written test 5.2 Direct observation with oral questioning 5.3 Demonstration of practical skills in a simulated environment - Portfolio - Third-party report |
| --- | --- |
| - Context of assessment | - Assessment may be conducted in TESDA-accredited assessment center |

| UNIT OF COMPETENCY: | INSTALL AND FIT UP UNDERGROUND PIPING SYSTEM |
| --- | --- |
| UNIT CODE : |  |
| UNIT DESCRIPTOR : | This unit covers the knowledge, skills and attitude required to install and fit up underground piping system |

| ELEMENT | PERFORMANCE CRITERIA Bold and italicized terms are elaborated in the Range of Variable |
| --- | --- |
| - Plan and prepare for work | - Blueprint is secured and interpreted according to job specifications 1.2 Occupational health and safety standards and other regulatory requirements are identified and complied with - Personal protective equipment is selected and used following job requirements |
| 2. Prepare materials, tools and equipment | - Materials, tools and equipment are identified following job specifications - Materials, tools and equipment are secured following company standard operating procedure (SOP) |
| 3. Install and fit-up underground piping system | 3.1 Erection of piping is monitored and checked according to piping plan 3.2 Deviation from the piping plan is noted and reported to appropriate personnel 3.3 Fit-up procedure is performed following job specifications |
| 4. Perform housekeeping | 4.1 Waste materials are disposed following occupational health and safety standards 4.2 Unused materials are returned to storage area following company SOP 4.3 Completion report is prepared and submitted to personnel following company SOP. |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Job specifications | May include but are not limited to: 1.1 Piping code specification 1.2 Material specification 1.3 Item code number specification 1.4 Size, quantity and description 1.5 Bill of materials |
| 2. Occupational health and safety standards | May include but are not limited to: 2.1 PPE 2.2 Breathing apparatus |
| 3. Regulatory requirements | May include but are not limited to: 3.1 Cold work permit 3.2 Hot work permit 3.3 Job order |
| 4. PPE | May include but are not limited to: 4.1 Safety gloves 4.2 Safety goggles, glass and face shield 4.3 Safety helmet 4.4 Safety harness 4.5 Safety clothes 4.6 Safety shoes 4.7 Dust masks 4.8 Ear plug |

| 5. Materials, tools and equipment | May include but are not limited to: 5.1 Materials 5.1.1 Metal pipes 5.1.2 Fittings 5.1.3 Gaskets, bolts and nuts 5.1.4 Valves 5.1.5 Flange 5.2 Tools and equipment 5.2.1 Grinder angle 5.2.2 Steel square 5.2.3 Level bar 5.2.4 Center punch 5.2.5 Ball hammer 5.2.6 Chain block / comalong 5.2.7 Roller / turning rolls 5.2.8 Spirit level 5.2.9 Soft stone 5.2.10 Steel measuring tape 5.2.11 Piles 5.2.12 Power brush 5.2.13 Steel brush 5.2.14 Adjustable wrench 5.2.15 Grinder key 5.2.16 Welding machine 5.2.17 Air compressor 5.2.18 Electric lights 5.2.19 Safety / medical kit |
| --- | --- |
| 6. Personnel | 6.1 Charge hand 6.2 Foreman 6.3 Leadman 6.4 Supervisor |
| 7. Fit-up procedure | 7.1 Tack welding 7.2 Trimming 7.3 Orientation of flanges and fittings / valves 7.4 Pipefitting alignment 7.5 Fabrication of temporary supports 7.5.1 Jigs 7.5.2 Stoppers 7.5.3 Pipe clamps 7.5.4 Brazing |

| 8. Waste materials | May include but are not limited to: 8.1 Metal scraps 8.2 Grinding discs 8.3 Metal flux / slags / oxide 8.4 Electrodes 8.5 Fabricated temporary supports |
| --- | --- |
| 9. Unused materials | 9.1 Metal pipes 9.2 Electrodes |

EVIDENCE GUIDE

| - Critical aspects of competency | Evidence must show the candidate can: 1.1 Demonstrate ability to interpret blueprint following job specifications - Demonstrate ability to comply occupational health and safety standards and other regulatory requirements in pipefitting - Demonstrate ability to perform installation and fit-up procedure for underground piping system |
| --- | --- |
| - Underpinning knowledge | 2.1 Isometric and / or orthographic symbols, drawings, sketches and material description - Trade Mathematics (related and applied Trigonometry) - Occupational health and safety standards for installation and fit-up of underground piping system - Piping material classification, specifications and uses - Installation and fit-up procedures for underground piping system |
| - Underpinning skills | 3.1 Interpreting blueprint following job specifications 3.2 Applying trade mathematics 3.3 Complying occupational health and safety standards 3.4 Using piping materials 3.5 Performing installation and fit-up procedures for underground piping system |
| - Resource implications | The following maybe provided 4.1 Materials, tools and equipment relevant to the activity 4.2 Workplace or simulated workplace 4.3 Breathing apparatus |
| - Methods of assessment | Competencies may be assessed using the following 5.1 Written test 5.2 Observation with oral questioning 5.3 Portfolio 5.4 Third-party report |

| - Context of assessment | 6.1 Assessment may be conducted in any TESDA-accredited assessment center |
| --- | --- |

| UNIT OF COMPETENCY: | INSTALL AND FIT UP OVERHEAD PIPING SYSTEM |
| --- | --- |
| UNIT CODE : |  |
| UNIT DESCRIPTOR : | This unit covers the knowledge, skills and attitude required to install and fit up overhead piping system. |

| ELEMENT | PERFORMANCE CRITERIA Bold and italized terms are elaborated in the Range of Variable |
| --- | --- |
| 1. Plan and prepare for work | - Blueprint is secured and interpreted according to job specifications 1.2 Occupational health and safety standards and other regulatory requirements are identified and complied with 1.3 Personal protective equipment is selected and used following job requirements |
| 2. Prepare materials, tools and equipment | - Materials, tools and equipment are identified following job specifications 2.2 Materials, tools and equipment are secured following company standard operating procedure (SOP) |
| 3. install and fit-up overhead piping system | 3.1 Erection of piping is monitored and checked according to piping plan 3.2 Deviation from the piping plan is noted and reported to appropriate personnel 3.3 Fit-up procedure is performed following job specifications |
| 4. Perform housekeeping | 4.1 Waste materials are disposed following occupational health and safety standards 4.2 Unused materials are returned to storage area following company SOP 4.3 Completion report is prepared and submitted to personnel following company SOP. |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Job specifications | May include but are not limited to: 1.1 Piping code specification 1.2 Material specification 1.3 Item code number specification 1.4 Size, quantity and description 1.5 Bill of materials |
| 2. Occupational health and safety standards | May include but are not limited to: 2.1 PPE 2.2 Availability and functionality of scaffolding |
| 3. Regulatory requirements | May include but are not limited to: 3.1 Cold work permit 3.2 Hot work permit 3.3 Job order |
| 4. PPE | May include but are not limited to: 4.1 Safety gloves 4.2 Safety goggles, glass and face shield 4.3 Safety helmet 4.4 Safety harness 4.5 Safety clothes 4.6 Safety shoes 4.7 Dust masks 4.8 Ear plug |
| 5. Materials, tools and equipment | May include but are not limited to: - Materials - Metal pipes - Fittings - Gaskets, bolts and nuts - Valves - Flange - Tools and equipment - Grinder angle - Steel square - Level bar - Center punch - Ball hammer - Chain block / comalomg - Roller - Spirit level - Soft stone - Steel measuring tape / tape line - Plumb bob - Power brush - Steel brush - Adjustable wrench - Grinder key - Welding machine - Air compressor - Electric lights - Safety / medical kit - Scaffolding |
| 6. Personnel | 6.1 Charge hand 6.2 Foreman 6.3 Leadman 6.4 Supervisor |
| 7. Fit-up procedure | 7.1 Tack welding 7.2 Trimming 7.3 Orientation of flanges and fittings 7.4 Pipefitting alignment 7.5 Fabrication of temporary supports 7.5.1 Jigs 7.5.2 Stoppers 7.5.3 Pipe clamps 7.5.4 Brazing |
| 8. Waste materials | May include but are not limited to: 8.1 Metal scraps 8.2 Grinding discs 8.3 Metal flux 8.4 Electrodes 8.5 Fabricated temporary supports |
| 9. Unused materials | 9.1 Metal pipes 9.2 Electrodes |

EVIDENCE GUIDE

| - Critical aspect of competency | Evidence must show the candidate can: 1.1 Demonstrate ability to interpret blueprint following job specifications - Demonstrate ability to comply occupational health and safety standards and other regulatory requirements in pipefitting - Demonstrate ability to perform installation and fit-up procedure for overhead piping system |
| --- | --- |
| - Underpinning knowledge | 2.1 Isometric and / or orthographic symbols, drawings, sketches and material description 2.2 Trade Mathematics (related and applied Trigonometry) 2.3 Occupational health and safety standards for installation and fit-up of overhead piping system 2.4 Piping material classification, specifications and uses 2.5 Installation and fit-up procedures for overhead piping system |
| - Underpinning skills | 3.1 Interpreting blueprint following job specifications 3.2 Applying trade mathematics 3.3 Complying occupational health and safety standards 3.4 Using piping materials 3.5 Performing installation and fit-up procedures for overhead piping system |
| - Resource implications | The following maybe provided 4.1 Materials, tools and equipment relevant to the activity 4.2 Workplace or simulated workplace |
| - Methods of Assessment | Competencies may be assessed using the following 5.1 Written test 5.2 Direct observation with oral questioning 5.3 Portfolio 5.4 Third-party report |

| - Context of assessment | 6.1 Assessment may be conducted in any TESDA-accredited assessment center |
| --- | --- |

| UNIT OF COMPETENCY: | PERFORM TACK WELDING |
| --- | --- |
| UNIT CODE : |  |
| UNIT DESCRIPTOR : | This unit covers the knowledge, skills and attitude required to perform tack welding. |

| ELEMENT | PERFORMANCE CRITERIA Bold and italicized terms are elaborated in the Range of Variable |
| --- | --- |
| 1. Prepare welding materials and tools | 1.1 Work instruction is secured and interpreted according to job specifications 1.2 Occupational health and safety standards are identified and complied with 1.3 Company regulatory requirements are identified in line with job requirements 1.4 Personal protective equipment is selected and used following job requirements 1.5 Welding materials and tools are identified as per specifications |
| 2. Set up welding equipment | 2.1 Company regulatory requirements are complied with in line with job requirements 2.2 Welding materials, tools and equipment are prepared as per standard operating procedures (SOP) 2.3 Welding equipment set-up procedure is performed as per manufacturer’s recommendations |
| 3. Perform tack welding | 3.1 Tack welding procedure is performed following job specifications 3.2 Visual check-up procedure is performed following job specifications |
| 4. Perform housekeeping | 4.1 Waste materials are disposed following occupational health and safety standards 4.2 Unused materials are returned to storage area following company SOP 4.3 Completion report is prepared and submitted to personnel as per SOP. |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Occupational health and safety requirements | May include but are not limited to: - Availability of fire extinguisher / fire watch - Functionality of exhaust fan - Availability of PPE |
| 2. Company regulatory requirements | May include but are not limited to: 2.1 Certified 2G welder 2.2 Certified 3G welder 2.3 Certified 4G welder 2.4 Certified 6G welder |
| 3. PPE | May include but are not limited to: 3.1 Safety gloves 3.2 Safety goggles, glass and face shield 3.3 Safety helmet 3.4 Safety harness 3.5 Safety clothes 3.6 Safety shoes 3.7 Dust masks 3.8 Ear plug |
| 4. Welding materials, tools and equipment | May include but are not limited to: 4.1 Welding materials 4.1.1 Electrodes 4.1.2 Welding cable 4.1.3 Stinger 4.1.4 Welding masks 4.1.5 Metal pipes or plates 4.2 Tools and equipment 4.2.1 Welding machine 4.2.2 Air compressor 4.2.3 Exhaust fan 4.2.4 Welding gloves 4.2.5 Chipping hammer 4.2.6 Portable grinder |
| 5.Tack welding procedure | 5.1 Direct tacking 5.2 Bridge tacking 5.3 Fabrication of temporary support |

| 6. Visual check-up procedure | 6.1 Dimensional check-up 6.2 Squareness and levelness |
| --- | --- |
| 7. Waste materials | May include but are not limited to: 7.1 Metal scraps 7.2 Grinding discs 7.3 Metal flux 7.4 Electrodes 7.5 Fabricated temporary supports |
| 8. Unused materials | 8.1 Metal pipes 8.2 Electrodes |

EVIDENCE GUIDE

| - Critical aspect of competency | Evidence must show the candidate can: 1.1 Demonstrate ability to comply occupational health and safety standards and other regulatory requirements in tack welding - Demonstrate ability to set-up welding equipment - Demonstrate ability to perform tack welding procedure and basic fabrication of temporary support - Demonstrate ability to follow manufacturer’s recommendations |
| --- | --- |
| - Underpinning knowledge | 2.1 Types of metal 2.2 Manufacturer’s manual 2.3 Occupational health and safety standards for welding 2.4 Tack welding procedures |
| - Underpinning skills | 3.1 Following manufacturer’s recommendations 3.2 Identifying types of metal 3.3 Complying occupational health and safety standards in welding 3.4 Performing tack welding procedures |
| - Resource implications | The following may be provided 4.1 Welding materials, tools and equipment relevant to the activity 4.2 Workplace or simulated workplace 4.3 Exhaust fan |
| - Methods of Assessment | Competencies may be assessed using the following 5.1 Direct observation with oral questioning 5.2 Demonstration of practical skills in a simulated environment 5.2 Portfolio 5.3 Third-party report |
| - Context of assessment | 6.1 Assessment may be conducted in any TESDA-accredited assessment centers |

SECTION 3	TRAINING STANDARDS

These guidelines are set to provide technical and vocational education and training (TVET) providers with information and other important requirements to consider when designing training programs for PIPEFITTING NC II.

# 3.1	CURRICULUM DESIGN

Course Title:   PIPEFITTING					NC Level:  NC II

Nominal Training Duration:      	18 Hours (Basic)

24 Hours (Common)

160 Hr (Core)

Course Description:

This course is designed to enhance the knowledge, skills and attitude in pipefitting in accordance with industry standards. It covers the basic, common and core competencies required for pipe fitter to demonstrate skills along cutting, beveling and threading pipes, installing OH and underground piping systems, fabricating support and hangers, and performing tack welding.

# BASIC COMPETENCIES

| Unit of Competency | Learning Outcomes | Methodology | Assessment Approach |
| --- | --- | --- | --- |
| 1. Participate in workplace communication | - Obtain and convey workplace information. - Complete relevant work related documents. - Participate in workplace meeting and discussion. | - Group discussion - Interaction | - Demonstration - Observation - Interviews/ questioning |
| 2. Work in a team environment | - Describe and identify team role and responsibility in a team. - Describe work as a team member. | - Discussion - Interaction | - Demonstration - Observation - Interviews/ questioning |
| 3. Practice career professionalism | - Integrate personal objectives with organizational goals. - Set and meet work priorities. - Maintain professional growth and development. | - Discussion - Interaction | - Demonstration - Observation - Interviews/ questioning |
| 4. Practice occupational health and safety | - Evaluate hazard and risks - Control hazards and risks - Maintain occupational health and safety awareness | - Discussion - Plant tour - Symposium | - Observation - Interview |

COMMON COMPETENCIES

| Unit of Competency | Learning Outcomes | Methodology | Assessment Approach |
| --- | --- | --- | --- |
| - Prepare construction materials and tools | - Identify materials - Request materials - Receive and inspect materials | - Audio Visual - Simulation - Discussion - Practical exercises | - Direct observation - Written / Oral test - Demonstration |
| - Observe procedures, Specifications and Manuals of Instructions | - Identify and access specification / manuals - Apply information in the manual - Store manual | - Audio Visual - Simulation - Discussion practical laboratory | - Direct observation - Written test or examination - Third party report - Demonstration |
| - Interpret technical drawing | 3.1 Analyze sign, symbols and data 3.2 Interpret technical drawing and plans 3.3 Apply freehand sketching | - Audio Visual - Simulation - Discussion - Practical exercises | - Direct observation - Oral questioning - Written test or examination - Third party report - Demonstration |
| - Perform mensurations and calculation | 4.1 Select measuring instruments 4.2 Carry out measurements and calculations | - Audio Visual - Simulation - Discussion - Practical exercises | - Direct observation - Oral questioning - Written test or examination - Third party report - Demonstration |
| - Maintain tools and equipment | 5.1 Check condition of tools and equipment 5.2 Perform basic preventive maintenance 5.3 Store tools and equipment | - Audio Visual - Simulation - Discussion - Practical exercises | - Direct observation of application of tasks. - Oral questioning - Written test or examination - Third party report - Demonstration |

CORE COMPETENCIES

(160 hours)

| ## Unit of Competency | Learning Outcome | Methodology | Assessment Approach |
| --- | --- | --- | --- |
| - Cut , bevel and /or thread pipes | - Plan and prepare for work - Prepare materials, tools and equipment - Cut, bevel and thread pipes - Perform housekeeping | - Discussion/ lecture - Self-paced instruction - Practical exercises | - Observation/ Demonstration with questioning - Written / Examination |
| - Perform tack welding | - Prepare welding tools and materials - Set-up welding equipment - Perform tack welding | - Discussion/ lecture - Self-paced instruction - Practical exercises | - Observation/ Demonstration with questioning - Written / Examination |
| - Install and fit-up underground piping system | - Plan and prepare materials , tools and equipment - Install and fit-up underground piping system | - Discussion/ lecture - Self-paced instruction - Practical exercises | - Observation/ Demonstration with questioning - Written / Examination |
| - Install and fit-up overhead piping system | - Plan and prepare materials, tools and equipment - Install and fit-up overhead piping system | - Discussion/ lecture - Self-paced instruction - Practical exercises | - Observation/ Demonstration with questioning - Written / Examination |

3.2      TRAINING DELIVERY

The delivery of training should adhere to the design of the curriculum.  Delivery shall be guided by the 10 basic principles of competency-based TVET:

- The training is based on curriculum developed from the 	competency standards;

- Learning is modular in its structure;

- Training delivery is learner-centered and should accommodate individualized and self-paced learning strategies;

- Training is based on work that must be performed;

- Training materials are directly related to the competency  standards and the curriculum modules;

- Assessment is based in the collection of evidence of the performance of work to the industry required standard;

- Training is based both on and off-the-job components;

- Training program allows for recognition of prior learning

(RPL) or current competencies;

- Training allows for multiple entry and exit; and

- Training programs are registered with the UTPRAS.

The competency-based TVET system recognizes various types of delivery modes, both on and off-the-job as long as the learning is driven by the competency standards specified by the industry.  The following training modalities may be adopted when designing training programs:

- The dualized mode of training delivery is preferred and recommended. Thus programs would contain both in-school and in-industry training or fieldwork components.  Details can be referred to the Dual Training System (DTS) Implementing Rules and Regulations.

- Modular/self-paced is a competency-based training modality wherein the trainee is allowed to progress at his own pace.  The trainer facilitates the training delivery.

- Peer teaching/mentoring is a training modality wherein fast learners are given the opportunity to assist the slow learners.

- Supervised Industry Training or On-the-Job Training is an approach in training designed to enhance the knowledge and skills of the trainee through actual experience in the workplace to acquire specific competencies prescribed in the training regulations.

- Distance learning is a formal education process in which majority of the instruction occurs when the students and instructor are not in the same place.  Distance learning may employ correspondence study, or audio, video or computer technologies.

- Project-based instruction is an authentic instructional model or strategy in which students plan, implement and evaluate projects that have real world applications.

3.3 	TRAINEE ENTRY REQUIREMENTS

Trainees or students should possess the following requirements:

- Can communicate both orally and in writing

- Can perform basic mathematical computation

- Good moral character; and

- Physically and mentally fit

The list does not include specific institutional requirements such as educational attainment, appropriate work experience, and others that may be required of the trainees by the school or training center delivering the TVET program.

3.4  	LIST OF TOOLS, EQUIPMENT AND MATERIALS

PIPEFITTING NC II

The recommended list of tools, equipment and materials for the training of 25 trainees for Pipefiting NC II is as follows.

| TOOLS |  | EQUIPMENT |  | MATERIALS |  |
| --- | --- | --- | --- | --- | --- |
| QTY | DESCRIPTION | QTY | DESCRIPTION | QTY | DESCRIPTION |
| 5 pcs. | Ball peen hammer, 16 oz. | 5 units | Arc welding machine | 1 box | Soapstone |
| 5 pcs. | Cross peen hammer, 16 oz. | 1 unit | Threading machine | 2 boxes | Cut-off disc |
|  |  | 1 set | Gas bevelling machine (pipe) | 2 boxes | Grinding disc |
| 5 pcs. | Center punch | 2 sets | Pipe clamp | Fittings |  |
| 5 pcs. | Hack saw |  |  | 10 pcs. | Elbow 90O, (assorted dia.) |
| 1 pc. | Pipe cutter | 1 unit | Electric drill | 10 pcs. | Elbow 45O, (assorted dia.) |
| 5 pcs. | C-clamp, 12” | 8 units | Portable grinder | 10 pcs. | Tee branch, (assorted dia) |
| 5 pcs. | C-clamp, 6” | 2 sets | Oxy-acetylene cutting outfit | 10 pcs. | Wye branch, ( assorted dia.) |
| 5 pcs. | Pull & push rule | 3 units | Fire extinguishers | 4 pcs. | Valves (assorted types and sizes) |
| 5 pcs. | Steel rule,1 meter | 3 units | Working bench with vise | 15 pcs. | Flanges (assorted types and sizes) |
| 5 pcs. | Try square | 1 unit | Power brush | 1 box | Electrodes |
| 10 pcs. | Steel square | 3 units | Chain block | 4 pcs. | Gaskets |
|  |  | 1 set | Scaffolding H- / A-type | 16 pcs. | Bolts and nuts |
| 5 pcs. | Adjustable wrench, 8” | 1 roll | String/ chalk line | 25 pcs. | Gloves |
| 5 pcs. | Adjustable wrench,12 “ |  |  | 25 pcs. | Hard hat |

| 3 pcs. | Files (assorted) |  |  | 25 pcs. | Safety shoes |
| --- | --- | --- | --- | --- | --- |
| 5 pcs. | Steel brush |  |  | 25 pcs. | Goggles |
| 2 pcs. | wraparound |  |  | 8 pcs. | Face shield |
|  |  |  |  | 5 pcs. | Welding mask |

  - TRAINING FACILITIES FOR PIPEFITTING NC II

This space requirement is based on a class size or intake of 25 students.

| SPACE REQUIREMENT | SIZE IN METERS | AREA IN SQ. METERS | TOTAL AREA IN SQ. METERS |
| --- | --- | --- | --- |
| - Lecture Room/Demo Room |  | 25 | 25 |
| - Wash Room |  | 5 | 5 |
| - Tool Room |  | 5 | 5 |
| - Facilities/Equipment/ Circulation area |  | 42 | 42 |
| Workshop Area |  | 225 | 225 |
|  | TOTAL 302 |  |  |

3.6  	TRAINER’S QUALIFICATIONS FOR PIPEFITTING NC II

- Must have completed a Trainers Training Methodology Course  (TM II) or its equivalent

- Must be a holder of CSC Professional eligibility (for government

position)

- Must be a holder of Pipefitting National Certificate II or equivalent qualification

- Must be physically and mentally fit

- *Minimum of 2 years industry experience

*Optional.  Only when required by the hiring institution

Reference:  TESDA Board Resolution No. 2004-03

3.7       INSTITUTIONAL ASSESSMENT

Institutional assessment is undertaken by trainees to determine their achievement of units of competency.  A certificate of achievement is issued for each unit of competency.

### SECTION 4	NATIONAL ASSESSMENT AND CERTIFICATION ARRANGEMENTS

  - To attain the National Qualification of Pipefitting NC II, the candidate must demonstrate competence through project-type assessment covering all the units listed in Section 1. Successful candidates shall be awarded a National Certificate signed by the TESDA Director General.

  - The qualification of PIPEFITTING NC II can be attained through demonstration of competence in a project-type assessment covering the following core units.

    - Cut, bevel and / or thread pipes

    - Install and fit-up overhead piping system

    - Install and fit up underground piping system

    - Perform tack welding

  - Assessment shall focus on the core units of competency. The basic and common units shall be integrated or assessed concurrently with the core units.

  - The following are qualified to apply for assessment and certification:

4.3.1	Graduates of formal, non-formal and informal including

enterprise-based training programs

    - Experienced Workers (wage employed or self-employed)

  - The guidelines on assessment and certification are discussed in detail in the Procedures Manual on Assessment and Certification and Guidelines on the Implementation of the Philippine TVET Qualification and Certification System (PTQCS).

ANNEX  A

PIPEFITTING NC II

COMPETENCY MAP

PLUMBING SUB-SECTOR

Repair defective concrete and masonry surfaces

Perform basic masonry works

Lay brick/ block for structures

Plaster concrete/ masonry surfaces

Install pre-cast balusters and handrails

Prepare masonry materials

Prepare tools, painting materials and equipment

Prepare surface for painting

CORE

COMPETENCIES

Apply special cement finishes to concrete and masonry surfaces

Estimate paint requirements

Perform painting works

Stakeout

building lines

Fabricate form works

Install form work components

Strip form work components

Install

Framing

works

Perform single unit plumbing installation and assemblies

Perform minor construction works

Cut, bevel and / or thread pipes

Install overhead piping system

Install underground piping system

Perform tack welding

Perform painting repair work

Perform complex and multi-story plumbing installation and assemblies

Perform plumbing repair and maintenance works

Conduct pipe

leak testing

Make piping joints and connections

Install hot and potable chilled water piping system

Prepare pipes for installation

Draft plumbing design

COMMON COMPETENCIES

Observe procedures, specifications and manual of instructions

Prepare construction materials and tools

Interpret technical drawings and plans

Perform mensuration and calculations

Maintain tools and equipment

Receive and respond to workplace communication

Work with others

Demonstrate work values

Practice basic housekeeping procedures

Practice workplace communication

Work in a team environment

Practice professionalism

Practice occupational health and safety procedures

BASIC COMPETENCIES

Lead workplace communication

Lead small team

Develop and practice negotiation skills

Solve problems related to work activities

Use mathematical concepts and techniques

Use relevant technologies

Utilize specialist communication skills

Develop team and individual

Apply problem solving techniques in the workplace

Collect and organize information

Plan and organize work

Promote environmental protection

# DEFINITION OF TERMS

| 1. Bevel | Refers to an angle between one line or surface another line on surface or the horizontal, when the angle is not a right angle |
| --- | --- |
| 2. Competency | Is the application of knowledge, skills and attitudes to perform work activities to the standard expected in the workplace |
| 3. Certification | Refers to the process of verifying and validating competencies of a person through assessment. |
| 4. Element | Refers to the building blocks of a unit of competency. It describes in outcome terms the functions that a person who works in a particular area of work is able to perform. |
| 5. Evidence Guide | It is a guide for assessment that provides information on critical aspects of competency, underpinning knowledge, underpinning skills, resource implications, context of assessment and assessment method. |
| 6. Flanged pipe | Is a pipe with flanges at the ends; can be bolted end-to-end to another pipe |
| 7. Philippine TVET Qualification Framework | Refers to a comprehensive, nationally consistent framework for qualifications in the TVET sector. It also provides the parameter for the integration of learning and assessment in the middle skills development. |
| 8. Pipe | Is a tube made of metal clay, plastic or wood or concrete and used to conduct a fluid gas or finely divided solid |
| 9. Pipelaying | Refers to the placing of pipe into position in a trench as with buried pipelines for oil, water or chemicals |
| 10. Qualification | Refers to the national certificate issued by the TESDA or its accredited industry organizations in recognition that a person has achieved competencies relevant to a trade or industry. |
| 11. Range of Variable | It describes the circumstances or context in which the work is to be performed. |
| 12. Unit of Competency | Refers to a discrete aspect of work, which would normally be performed by only one person. |

ACKNOWLEDGEMENTS

The Technical Education and Skills Development Authority (TESDA) wishes to extend thanks and appreciation to the many representatives of business, industry, academe and government agencies and who contributed their time and expertise to the development of these Training Regulations.

- THE TECHNICAL/INDUSTRY EXPERTS

| VITALIANO M. MAGPANTAY Piping Supervisor Concept Institute Batangas | PEDRO BULANGHAGUI Skills Trainer Batangas |
| --- | --- |
| JILANY B. AUSTRIA Trainer AG&P Batangas | MOISES M. LACORTE Skills Trainer Batangas |
| JOSE P. MAGALLANES ACGI / METAPHIL Cebu | ENGR. MARK ANTHONY N. YLANAN Administrator Training Center Cebu |
| ENGR. DANILO M. MONTANA Administrator Training Center Cebu | JOSEPHUS D. BAYO ACGI / METAPHIL Cebu |
| LAURO T. BAGUIO ACGI / METAPHIL Cebu | EFREN B. IBANEZ Welding Engineer Bechtel Construction Operations |
| GREGORIO A. CORONEZ QA / QC Manager AG&P, Batangas | KEN ALEXANDER Welding Manager CAPE East, Philippines |
| ERNESTO B. POLICARPIO President Philippine Welding Society | FERNANDO M. OPEDA Executive Director Philippine Welding Society |

The participants in the National Validation of these Training Regulations

ACGI / METAPHIL

TESDA Region VII

The management and staff of the TESDA Secretariat