TRAINING REGULATIONS

FOR

ELECTRICAL INSTALLATION AND MAINTENANCE NC II

CONSTRUCTION INDUSTRY

(  ELECTRICAL SECTOR)

TECHNICAL EDUCATION AND SKILLS DEVELOPMENT AUTHORITY

East Service Road, South Superhighway, Taguig City, Metro Manila

TABLE OF CONTENTS

CONSTRUCTION INDUSTRY - ELECTRICAL SUB-SECTOR

ELECTRICAL INSTALLATION & MAINTENANCE NC II

Page No.

| ## Section 1. ELECTRICAL INSTALLATION & ## MAINTENANCE NC II QUALIFICATION |  |  |  |  | 1 - 2 |
| --- | --- | --- | --- | --- | --- |
| ## Section 2. COMPETENCY STANDARDS |  |  |  |  | 3 - 48 |
|  |  |  | ## Basic Competencies ## Common Competencies ## Core Competencies - Electrical Installation & Maintenance NC II |  | ## 3 - 16 17 - 32 33 - 48 |
| ## COMPETENCY MAP |  |  |  |  | ## 49 |
| ## Section 3. TRAINING STANDARDS |  |  |  |  | ## 50 - 59 |
|  | 3.1 Curriculum Design |  |  |  | ## 50 |
|  | Basic Competencies |  |  |  | ## 50 |
|  | Common Competencies |  |  |  | ## 51 |
|  | Core Competencies |  |  |  | ## 52 – 53 |
|  | 3.2 Training Delivery |  |  |  | 54 - 55 |
|  | 3.3 Trainee Entry Requirements |  |  |  | 55 |
|  | 3.4 List of Tools, Equipment and Materials |  |  |  | 56 – 57 |
|  | 3.5 Training Facilities |  |  |  | 58 |
|  | 3.6 Trainer's Qualifications |  |  |  | 58 |
|  | 3.7 Institutional Assessment |  |  |  | 59 |
| ## Section 4. NATIONAL ASSESSMENT AND CERTIFICATION ARRANGEMENTS |  |  |  |  | ## 60-61 |
| ACKNOWLEDGEMENTS |  |  |  |  | ## 62- 63 |

iii

TRAINING REGULATIONS FOR

## ELECTRICAL INSTALLATION & MAINTENANCE NC II

SECTION 1	ELECTRICAL INSTALLATION & MAINTENANCE NC II

QUALIFICATION

The ELECTRICAL INSTALLATION & MAINTENANCE NC II Qualification consists of competencies that a person must achieve to enable him/her to install and  maintain electrical wiring, lighting and related equipment and systems where the voltage does not exceed 600 volts in residential houses/buildings.

This Qualification is packaged from the competency map of Construction Industry – Electrical sector as shown in Annex A.

The Units of Competency comprising this Qualification include the following:

| CODE NO. | BASIC COMPETENCIES |
| --- | --- |
|  | Units of Competency |
| 500311105 | Participate in workplace communication |
| 500311106 | Work in a team environment |
| 500311107 | Practice career professionalism |
| 500311108 | Practice occupational health and safety procedures |

| CODE NO. | COMMON COMPETENCIES |
| --- | --- |
|  | Units of Competency |
| CON724201 | Prepare construction materials and tools |
| CON311201 | Observe procedures, specifications and manuals of instruction |
| CON311202 | Interpret technical drawings and plans |
| CON311203 | Perform mensurations and calculations |
| CON311204 | Maintain tools and equipment |

| CODE NO. | CORE COMPETENCIES |
| --- | --- |
|  | Units of Competency |
| CON724308 | Prepare electrical power and hydraulic tools |
| CON724309 | Perform roughing-in activities for communication and distribution systems |
| CON724310 | Install wiring devices for floor and ground fault current interrupting outlets |
| CON724311 | Install electrical protection system for lighting and grounding |
| CON724312 | Install electrical lighting systems on auxiliary outlets and lighting fixtures |

A person who has achieved this Qualification is competent to be:

- Building-Wiring Electrician

- Residential/Commercial-Wiring Electrician

- Maintenance Electrician

Underpinning Skills, Knowledge and Competencies

It is necessary to prove by evidence in accordance with TESDA Evidence Plans that the candidate for this qualification has adequate underpinning knowledge, skills and all competencies of Electrical Installation & Maintenance NC II, especially adequate knowledge of relevant provisions of the Philippine Electrical Code, safety and health requirements, aside from the competencies of this qualification.

Definition of Terms

Technical Terms.  	All technical terms are used with meanings as defined in the latest published edition of the Philippine Electrical Code,  in applicable laws, such as R.A. 7920 (The New Electrical Engineering Law), and current electrical engineering practice.

Other Terms. 	All other terms are used as defined in applicable TESDA documents.

SECTION 2	COMPETENCY STANDARDS

This section gives the details of the contents of the units of competency required in ELECTRICAL INSTALLATION & MAINTENANCE NC II.  These units of competency are categorized into basic, common and core competencies.

BASIC COMPETENCIES

UNIT OF COMPETENCY	:    PARTICIPATE IN WORKPLACE COMMUNICATION

UNIT CODE	     :    500311105

UNIT DESCRIPTOR	     :	This unit covers the knowledge, skills and attitudes   required to gather, interpret and convey information in response to workplace requirements.

| ### ELEMENT | ### PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| - Obtain and convey workplace information | - Specific and relevant information is accessed from appropriate sources - Effective questioning , active listening and speaking skills are used to gather and convey information - Appropriate medium is used to transfer information and ideas - Appropriate non- verbal communication is used - Appropriate lines of communication with supervisors and colleagues are identified and followed - Defined workplace procedures for the location and storage of information are used - Personal interaction is carried out clearly and concisely |
| - Participate in workplace meetings and discussions | - Team meetings are attended on time - Own opinions are clearly expressed and those of others are listened to without interruption - Meeting inputs are consistent with the meeting purpose and established protocols - Workplace interactions are conducted in a courteous manner - Questions about simple routine workplace procedures and maters concerning working conditions of employment are asked and responded to - Meetings outcomes are interpreted and implemented |
| - Complete relevant work related documents | - Range of forms relating to conditions of employment are completed accurately and legibly - Workplace data is recorded on standard workplace forms and documents - Basic mathematical processes are used for routine calculations - Errors in recording information on forms/ documents are identified and properly acted upon - Reporting requirements to supervisor are completed according to organizational guidelines |

###### RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| - Appropriate sources | - Team members - Suppliers - Trade personnel - Local government - Industry bodies |
| - Medium | - Memorandum - Circular - Notice - Information discussion - Follow-up or verbal instructions - Face to face communication |
| - Storage | - Manual filing system - Computer-based filing system |
| - Forms | - Personnel forms, telephone message forms, safety reports |
| - Workplace interactions | - Face to face - Telephone - Electronic and two way radio - Written including electronic, memos, instruction and forms, non-verbal including gestures, signals, signs and diagrams |
| - Protocols | - Observing meeting - Compliance with meeting decisions - Obeying meeting instructions |

# EVIDENCE GUIDE

| - Critical Aspects of Competency | Assessment requires evidence that the candidate: - Prepared written communication following standard format of the organization - Accessed information using communication equipment - Made use of relevant terms as an aid to transfer information effectively - Conveyed information effectively adopting the formal or informal communication |
| --- | --- |
| - Underpinning Knowledge and Attitudes | - Effective communication - Different modes of communication - Written communication - Organizational policies - Communication procedures and systems - Technology relevant to the enterprise and the individual’s work responsibilities |
| - Underpinning Skills | - Follow simple spoken language - Perform routine workplace duties following simple written notices - Participate in workplace meetings and discussions - Complete work related documents - Estimate, calculate and record routine workplace measures - Basic mathematical processes of addition, subtraction, division and multiplication - Ability to relate to people of social range in the workplace - Gather and provide information in response to workplace Requirements |
| - Resource Implications | - Fax machine - Telephone - Writing materials - Internet |
| - Methods of Assessment | - Direct Observation - Oral interview and written test |
| - Context of Assessment | - Competency may be assessed individually in the actual workplace or through accredited institution |

# UNIT OF COMPETENCY:	   WORK IN TEAM ENVIRONMENT

UNIT CODE	    :     500311106

UNIT DESCRIPTOR	    :	This unit covers the skills, knowledge and attitudes to identify role and responsibility as a member of a team.

| ### ELEMENT | ### PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| - Describe team role and scope | - The role and objective of the team is identified from available sources of information - Team parameters, reporting relationships and responsibilities are identified from team discussions and appropriate external sources |
| - Identify own role and responsibility within team | - Individual role and responsibilities within the team environment are identified - Roles and responsibility of other team members are identified and recognized - Reporting relationships within team and external to team are identified |
| - Work as a team member | - Effective and appropriate forms of communications used and interactions undertaken with team members who contribute to known team activities and objectives - Effective and appropriate contributions made to complement team activities and objectives, based on individual skills and competencies and workplace context - Observed protocols in reporting using standard operating procedures - Contribute to the development of team work plans based on an understanding of team’s role and objectives and individual competencies of the members. |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| - Role and objective of team | - Work activities in a team environment with enterprise or specific sector - Limited discretion, initiative and judgement maybe demonstrated on the job, either individually or in a team environment |
| - Sources of information | - Standard operating and/or other workplace procedures - Job procedures - Machine/equipment manufacturer’s specifications and instructions - Organizational or external personnel - Client/supplier instructions - Quality standards - OHS and environmental standards |
| - Workplace context | - Work procedures and practices - Conditions of work environments - Legislation and industrial agreements - Standard work practice including the storage, safe handling and disposal of chemicals - Safety, environmental, housekeeping and quality guidelines |

EVIDENCE GUIDE

| - Critical aspects of competency | Assessment requires evidence that the candidate: - Operated in a team to complete workplace activity - Worked effectively with others - Conveyed information in written or oral form - Selected and used appropriate workplace language - Followed designated work plan for the job - Reported outcomes |
| --- | --- |
| - Underpinning Knowledge and Attitude | - Communication process - Team structure - Team roles - Group planning and decision making |
| - Underpinning Skills | - Communicate appropriately, consistent with the culture of the workplace |
| - Resource Implications | The following resources MUST be provided: - Access to relevant workplace or appropriately simulated environment where assessment can take place 4.2. Materials relevant to the proposed activity or tasks |
| - Methods of Assessment | Competency may be assessed through: - Observation of the individual member in relation to the work activities of the group - Observation of simulation and or role play involving the participation of individual member to the attainment of organizational goal 5.3. Case studies and scenarios as a basis for discussion of issues and strategies in teamwork |
| - Context for Assessment | - Competency may be assessed in workplace or in a simulated workplace setting - Assessment shall be observed while task are being undertaken whether individually or in group |

UNIT OF COMPETENCY:    PRACTICE CAREER PROFESSIONALISM

UNIT CODE                     :    500311107

UNIT DESCRIPTOR        :   This unit covers the knowledge, skills and attitudes in promoting career growth and advancement.

| - ELEMENT | - PERFORMANCE CRITERIA - Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| - 1. Integrate personal objectives with organizational goals | - 1.1 Personal growth and work plans are pursued towards improving the qualifications set for the profession - 1.2 Intra- and interpersonal relationships is are maintained in the course of managing oneself based on performance evaluation - 1.3 Commitment to the organization and its goal is demonstrated in the performance of duties |
| - Set and meet work priorities | - 2.1 Competing demands are prioritized to achieve personal, team and organizational goals and objectives. - 2.2 Resources are utilized efficiently and effectively to manage work priorities and commitments - 2.3 Practices along economic use and maintenance of equipment and facilities are followed as per established procedures |
| - Maintain professional growth and development | - 3.1 Trainings and career opportunities are identified and availed of based on job requirements - 3.2 Recognitions are sought/received and demonstrated as proof of career advancement - 3.3 Licenses and/or certifications relevant to job and career are obtained and renewed |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Evaluation | 1.1 Performance Appraisal 1.2 Psychological Profile - Aptitude Tests |
| 2. Resources | 2.1 Human 2.2 Financial 2.3 Technology 2.3.1 Hardware - Software |
| 3. Trainings and career opportunities | 3.1 Participation in training programs 3.1.1 Technical 3.1.2 Supervisory 3.1.3 Managerial 3.1.4 Continuing Education 3.2 Serving as Resource Persons in conferences and workshops |
| 4. Recognitions | 4.1 Recommendations 4.2 Citations 4.3 Certificate of Appreciations 4.4 Commendations 4.5 Awards - Tangible and Intangible Rewards |
| 5. Licenses and/or certifications | 5.1 National Certificates 5.2 Certificate of Competency - Support Level Licenses 5.4 Professional Licenses |

EVIDENCE GUIDE

| 1. Critical Aspects of Competency | Assessment requires evidence that the candidate: - Attained job targets within key result areas (KRAs) - Maintained intra - and interpersonal relationship in the course of managing oneself based on performance evaluation - Completed trainings and career opportunities which are based on the requirements of the industries - Acquired and maintained licenses and/or certifications according to the requirement of the qualification |
| --- | --- |
| 2. Underpinning Knowledge | 2.1 Work values and ethics (Code of Conduct, Code of Ethics, etc.) 2.2 Company policies 2.3 Company operations, procedures and standards 2.4 Fundamental rights at work including gender sensitivity 2.5 Personal hygiene practices |
| 3. Underpinning Skills | 3.1 Appropriate practice of personal hygiene 3.2 Intra and Interpersonal skills 3.3 Communication skills |
| 4. Resource Implications | The following resources MUST be provided: - Workplace or assessment location 4.2 Case studies/scenarios |
| 5. Methods of Assessment | Competency may be assessed through: - Portfolio Assessment - Interview - Simulation/Role-plays - Observation - Third Party Reports - Exams and Tests |
| 6. Context of Assessment | - Competency may be assessed in the work place or in a simulated work place setting |

| UNIT OF COMPETENCY : | # PRACTICE OCCUPATIONAL HEALTH AND SAFETY PROCEDURES |
| --- | --- |
| UNIT CODE : | 500311108 |
| UNIT DESCRIPTOR : | This unit covers the outcomes required to comply with regulatory and organizational requirements for occupational health and safety. |
| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| - Identify hazards and risks | - Safety regulations and workplace safety and hazard control practices and procedures are clarified and explained based on organization procedures - Hazards/risks in the workplace and their corresponding indicators are identified to minimize or eliminate risk to co-workers, workplace and environment in accordance with organization procedures - Contingency measures during workplace accidents, fire and other emergencies are recognized and established in accordance with organization procedures |
| - Evaluate hazards and risks | - Terms of maximum tolerable limits which when exceeded will result in harm or damage are identified based on threshold limit values (TLV) - Effects of the hazards are determined - OHS issues and/or concerns and identified safety hazards are reported to designated personnel in accordance with workplace requirements and relevant workplace OHS legislation |

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| - Control hazards and risks | - Occupational Health and Safety (OHS) procedures for controlling hazards/risks in workplace are consistently followed - Procedures for dealing with workplace accidents, fire and emergencies are followed in accordance with organization OHS policies - Personal protective equipment (PPE) is correctly used in accordance with organization OHS procedures and practices - Appropriate assistance is provided in the event of a workplace emergency in accordance with established organization protocol |
| - Maintain OHS awareness | - Emergency-related drills and trainings are participated in as per established organization guidelines and procedures - OHS personal records are completed and updated in accordance with workplace requirements |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| - Safety regulations | May include but are not limited to: - Clean Air Act - Building code - National Electrical and Fire Safety Codes - Waste management statutes and rules - Philippine Occupational Safety and Health Standards - DOLE regulations on safety legal requirements - ECC regulations |
| - Hazards/Risks | May include but are not limited to: 2.1 Physical hazards – impact, illumination, pressure, noise, vibration, temperature, radiation 2.2 Biological hazards- bacteria, viruses, plants, parasites, mites, molds, fungi, insects 2.3 Chemical hazards – dusts, fibers, mists, fumes, smoke, gasses, vapors 2.4 Ergonomics - Psychological factors – over exertion/ excessive force, awkward/static positions, fatigue, direct pressure, varying metabolic cycles - Physiological factors – monotony, personal relationship, work out cycle |
| - Contingency measures | May include but are not limited to: - Evacuation - Isolation - Decontamination - (Calling designed) emergency personnel |
| - PPE | May include but are not limited to: 4.1 Mask 4.2 Gloves 4.3 Goggles 4.4 Hair Net/cap/bonnet 4.5 Face mask/shield 4.6 Ear muffs 4.7 Apron/Gown/coverall/jump suit 4.8 Anti-static suits |

| VARIABLE | RANGE |
| --- | --- |
| - Emergency-related drills and training | 5.1 Fire drill 5.2 Earthquake drill 5.3 Basic life support/CPR 5.4 First aid 5.5 Spillage control 5.6 Decontamination of chemical and toxic 5.7 Disaster preparedness/management |
| - OHS personal records | - Medical/Health records - Incident reports - Accident reports - OHS-related training completed |

EVIDENCE GUIDE

| 1. Critical Aspects of Competency | Assessment requires evidence that the candidate: - Explained clearly established workplace safety and hazard control practices and procedures - Identified hazards/risks in the workplace and its corresponding indicators in accordance with company procedures - Recognized contingency measures during workplace accidents, fire and other emergencies - Identified terms of maximum tolerable limits based on threshold limit value- TLV. - Followed Occupational Health and Safety (OHS) procedures for controlling hazards/risks in workplace - Used Personal Protective Equipment (PPE) in accordance with company OHS procedures and practices - Completed and updated OHS personal records in accordance with workplace requirements |
| --- | --- |
| 2. Underpinning Knowledge and Attitude | - OHS procedures and practices and regulations - PPE types and uses - Personal hygiene practices - Hazards/risks identification and control - Threshold Limit Value -TLV - OHS indicators - Organization safety and health protocol - Safety consciousness - Health consciousness |
| 3. Underpinning Skills | - Practice of personal hygiene - Hazards/risks identification and control skills - Interpersonal skills 3.4 Communication skills |
| - Resource Implications | - The following resources must be provided: - Workplace or assessment location - OHS personal records 4.3 PPE 4.4 Health records |
| - Methods of Assessment | Competency may be assessed through: - Portfolio Assessment - Interview 5.3 Case Study/Situation |
| - Context for Assessment | - Competency may be assessed in the work place or in a simulated work place setting |

COMMON COMPETENCIES

| UNIT OF COMPETENCY: | PREPARE CONSTRUCTION MATERIALS AND TOOLS |
| --- | --- |
| UNIT CODE : | CON931201 |
| UNIT DESCRIPTOR : | This unit covers the knowledge, skills and attitudes on identifying, requesting and receiving construction materials and tools based on the required performance standards. |

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variable |
| --- | --- |
| 1. Identify materials | - Materials are listed as per job requirements - Quantity and description of materials conform with the job requirements - Tools and accessories are identified according to job requirements |
| 2. Requisition materials | - Materials and tools needed are requested according to the list prepared 2.2 Request is done as per company standard operating procedures (SOP) - Substitute materials and tools are provided without sacrificing cost and quality of work |
| 3. Receive and inspect materials | - Materials and tools issued are inspected as per quantity and specification - Tools, accessories and materials are checked for damages according to enterprise procedures - Materials and tools are set aside to appropriate location nearest to the workplace |

#### RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Materials and Tools | - Electrical supplies - Structural - Plumbing - Welding/pipefitting - Carpentry - Masonry |
| 2. Description of Materials and Tools | - Brand name - Size - Capacity - Kind of application |
| 3. Company standard procedures | - Job order - Requisition slip - Borrower slip |

#### EVIDENCE GUIDE

| - Critical aspects of competency | Assessment requires evidence that the candidate: - Listed materials and tools according to quantity and job requirements - Requested materials and tools according to the list prepared and as per company SOP - Inspected issued materials and tools as per quantity and job specifications - Tools provided with appropriate safety devices |
| --- | --- |
| - Underpinning knowledge | - Types and uses of construction materials and tools - Different forms - Requisition procedures |
| - Underpinning skills | - Preparing materials and tools - Proper handling of tools and equipment - Following instructions |
| - Resource implications | The following resources should be provided: - Workplace location - Materials relevant to the unit of competency - Technical plans, drawings and specifications relevant to the activities |
| - Methods of assessment | Competency in this unit must be assessed through: - Direct observation and oral questioning |
| - Context of assessment | - Competency may be assessed in the workplace or in a simulated workplace - Competency assessment must be undertaken in accordance with the endorsed TESDA assessment guidelines |

| UNIT OF COMPETENCY: | OBSERVE PROCEDURES, SPECIFICATIONS AND MANUALS OF INSTRUCTIONS |
| --- | --- |
| UNIT CODE : | CON311201 |
| UNIT DESCRIPTOR : | This unit covers the knowledge, skills and attitudes on identifying, interpreting, applying services to specifications and manuals and storing manuals. |

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Identify and access specification/manuals | - Appropriate manuals are identified and accessed as per job requirements - Version and date of manual are checked to ensure that correct specification and procedures are identified |
| 2. Interpret manuals | - Relevant sections, chapters of specifications/ manuals are located in relation to the work to be conducted - Information and procedure in the manual are interpreted in accordance with industry practices |
| 3. Apply information in manual | - Manual is interpreted according to job requirements - Work steps are correctly identified in accordance with manufacturer's specification - Manual data are applied according to the given task - All correct sequencing and adjustments are interpreted in accordance with information contained on the manual or specifications |
| 4. Store manuals | - Manual or specification is stored appropriately to prevent damage, ready access and updating of information when required in accordance with company requirements |

RANGE OF VARIABLES

| #### VARIABLE | RANGE |
| --- | --- |
| 1. Procedures, Specifications and Manuals of Instructions | Kinds of Manuals: - Manufacturer's Specification Manual - Repair Manual - Maintenance Procedure Manual - Periodic Maintenance Manual |

# EVIDENCE GUIDE

| - Critical aspects of competency | Assessment requires that the candidate: - Identified and accessed specification/manuals as per job requirements - Interpreted manuals in accordance with industry practices - Applied information in manuals according to the given task - Stored manuals in accordance with company requirements |
| --- | --- |
| 2. Underpinning knowledge | - Types of manuals used in construction sector - Identification of symbols used in the manuals - Identification of units of measurements - Unit conversion |
| 3. Underpinning skills | - Reading and comprehension skills required to identify and interpret construction manuals and specifications - Accessing information and data |
| 4. Resource implications | The following resources should be provided: - All manuals/catalogues relative to construction sector |
| 5. Methods of assessment | Competency should be assessed through: 5.1 Direct observation 5.2 Questions/interview Assessment of underpinning knowledge and practical skills may be combined |
| 6. Context of assessment | - Competency assessment must be undertaken in accordance with the endorsed TESDA assessment guidelines - Assessment may be conducted in the workplace or a simulated environment |

| UNIT OF COMPETENCY: | INTERPRET TECHNICAL DRAWINGS AND PLANS |
| --- | --- |
| UNIT CODE : | CON311202 |
| UNIT DESCRIPTOR : | This unit covers the knowledge, skills and attitudes on analyzing and interpreting symbols, data and work plan based on the required performance standards. |

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Analyze signs, symbols and data | - Technical plans are obtained according to job requirements - Signs, symbols and data are identified according to job specifications - Signs symbols and data are determined according to classification or as appropriate in drawing |
| 2. Interpret technical drawings and plans | - Necessary tools, materials and equipment are identified according to the plan - Supplies and materials are listed according to specifications - Components, assemblies or objects are recognized as required - Dimensions are identified as appropriate to the plan - Specification details are matched with existing/available resources and in line with job requirements - Work plan is drawn following the specifications |
| 3. Apply freehand sketching | - Where applicable, correct freehand sketching is produced in accordance with the job requirements |

RANGE OF VARIABLES

| #### VARIABLE | RANGE |
| --- | --- |
| 1. Technical plans | Including but not limited to: - Electrical plans - Structural plans - Architectural plans - Plumbing plans - Welding Procedures Specifications (WPS) |
| 2. Work plan | - Job requirements - Installation instructions - Components instruction |
| 3. Classification | Including but not limited to: - Electrical - Mechanical - Plumbing |
| 4. Drawing | - Drawing symbols - Alphabet of lines - Orthographic views - Front view - Right side view/left side view - Top view - Pictorial - Schematic diagram - Electrical drawings - Structural drawings - Plumbing drawings - Water - Sewerage/Drainage - Ventilation - Welding symbols |
| 5. Tools and materials | Including but not limited to: - Compass - Divider - Rulers - Triangles - Drawing tables - Computer |

# EVIDENCE GUIDE

| - Critical aspects of competency | Assessment requires that the candidate: - Identified and determined signs, symbols and data according to work plan, job requirements and classifications - Identified tools and equipment in accordance with job requirements - Listed supplies and materials according to blueprint specifications - Drawn workplan following specifications - Determined job specifications based on working/technical drawing |
| --- | --- |
| - Underpinning knowledge | - TRADE MATHEMATICS - Linear measurement - Dimension - Unit conversion - BLUEPRINT READING AND PLAN SPECIFICATION - Electrical, mechanical plan, symbols and abbreviations - Drawing standard symbols - TRADE THEORY - Basic technical drawing - Types technical plans - Various types of drawings - Notes and specifications |
| - Underpinning skills | - Interpreting drawing/orthographic drawing - Interpreting technical plans - Matching specification details with existing resources - Following instructions - Handling of drawing instruments |
| - Resource implications | The following resources should be provided: - Workplace - Drawings and specification relevant to task - Materials and instrument relevant to proposed activity |
| - Methods of assessment | Competency should be assessed through: - Direct observation - Questions/interview - Written test related to underpinning knowledge |
| - Context of assessment | - Competency assessment may occur in the workplace or in any appropriate simulated environment - Assessment shall be observed while task are being undertaken whether individually or in group - Competency assessment must be undertaken in accordance with the endorsed TESDA assessment guidelines |

| UNIT OF COMPETENCY: | PERFORM MENSURATIONS AND CALCULATIONS |
| --- | --- |
| UNIT CODE : | CON311203 |
| UNIT DESCRIPTOR : | This unit covers the knowledge, skills and attitudes on identifying and measuring objects based on the required performance standards. |

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variable |
| --- | --- |
| - Select measuring instruments | - Object or component to be measured is identified, classified and interpreted according to the appropriate regular geometric shape - Measuring tools are selected/identified as per object to be measured or job requirements - Correct specifications are obtained from relevant sources - Appropriate measuring instruments are selected according to job requirements 1.5 Alternative measuring tools are used without sacrificing cost and quality of work |
| 2. Carry out measurements and calculations | - Accurate measurements are obtained according to job requirements 2.3 Alternative measuring tools are used without sacrificing cost and quality of work 2.4 Calculation needed to complete work tasks are performed using the four basic process of addition (+), subtraction (-), multiplication (x) and division (/) including but not limited to: trigonometric functions, algebraic computations - Calculations involving fractions, percentages and mixed numbers are used to complete workplace tasks - Numerical computation is self-checked and corrected for accuracy - Instruments are read to the limit of accuracy of the tool - Systems of measurement identified and converted according to job requirements/ISO 2.9 Workpieces are measured according to job requirements |

#### RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| - Geometric shape | Including but is not limited to: - Round - Square - Rectangular - Triangle - Sphere - Conical |
| 2. Measuring instruments | Including but not limited to: - Micrometer (In-out, depth) - Vernier caliper (out, inside) - Dial gauge with mag, std. - Straight edge - Thickness gauge - Torque gauge - Small hole gauge - Telescopic gauge - Try-square - Protractor - Combination gauge - Steel rule - Voltmeter - Ammeter - Mega-ohmeter - Kilowatt hour meter - Gauges - Thermometers |
| - Measurements and calculations | - Linear - Volume - Area - Wattage - Voltage - Resistance - Amperage - Frequency - Impedance |

| VARIABLE | RANGE |
| --- | --- |
|  | - Conductance - Capacitance - Displacement - Inside diameter - Circumference - Length - Thickness - Outside diameter - Taper - Out of roundness - Oil clearance - End play/Thrust clearance |

# EVIDENCE GUIDE

| - Critical aspects of competency | Assessment requires that the candidate: - Selected and prepared appropriate measuring instruments in accordance with job requirements - Performed measurements and calculations according to job requirements/ ISO |
| --- | --- |
| - Underpinning knowledge | - TRADE MATHEMATICS / MENSURATION - Four fundamental operation - Linear measurement - Dimensions - Unit conversion - Ratio and proportion - Trigonometric functions - Algebraic equations |
| - Underpinning skills | - Performing calculation by addition, subtraction, multiplication and division; trigonometric functions and algebraic equations - Visualizing objects and shapes - Interpreting formulas for volume, areas, perimeters of plane and geometric figures - Proper handling of measuring instruments |
| - Resource implications | The following resources should be provided: - Workplace location - Problems to solve - Measuring instrument appropriate to carry out tasks - Instructional materials relevant to the propose activity Assessment of underpinning knowledge and practical skills may be combined |
| - Methods of assessment | Competency should be assessed through: - Actual demonstration - Direct observation 5.3 Written test/questioning related to underpinning knowledge |
| - Context of assessment | - Competency assessment may occur in workplace or any appropriate simulated environment - Assessment shall be observed while task are being undertaken whether individually or in group - Competency assessment must be undertaken in accordance with the TESDA assessment guidelines |

| UNIT OF COMPETENCY: | MAINTAIN TOOLS AND EQUIPMENT |
| --- | --- |
| UNIT CODE : | CON311204 |
| UNIT DESCRIPTOR : | This unit covers the knowledge, skills and attitudes on checking condition, performing preventive maintenance and storing of tools and equipment based on the required performance standards. |

| ELEMENTS | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Check condition of tools and equipment | - Materials, tools and equipment are identified according to classification and job requirements - Non-functional tools and equipment are segregated and labeled according to classification - Safety of tools and equipment are observed in accordance with manufacturer's instructions - Condition of PPE are checked in accordance with manufacturer's instructions |
| 2. Perform basic preventive maintenance | 2.1 Appropriate lubricants are identified according to types of equipment 2.2 Tools and equipment are lubricated according to preventive maintenance schedule or manufacturer's specifications - Measuring instruments are checked and calibrated in accordance with manufacturer’s instructions 2.4 Tools are cleaned and lubricated according to standard procedures - Defective instruments, equipment and accessories are inspected and replaced according to manufacturer’s specifications - Tools are inspected, repaired and replaced after use 2.7 Work place is cleaned and kept in safe state in line with OHSA regulations |
| 3. Store tools and equipment | 3.1 Inventory of tools, instruments and equipment are conducted and recorded as per company practices - Tools and equipment are stored safely in appropriate locations in accordance with manufacturer's specifications or company procedures |

###### RANGE OF VARIABLES

| #### VARIABLES | RANGE |
| --- | --- |
| 1. Materials | Including but not limited to: - Lubricants - Cleaning materials - Rust remover - Rugs - Spare parts |
| 2. Tools and equipment | Including but not limited to: - Tools - Cutting tools - hacksaw, crosscut saw, rip saw - Boring tools - auger, brace, grinlet, hand drill - Holding tools - vise grip, C-clamp, bench vise - Threading tools - die and stock, taps - Measuring instruments/equipment |
| 3. PPE | Including but not limited to: - Goggles - Gloves - Safety shoes - Aprons/Coveralls |
| 4. Forms | - Maintenance schedule forms - Requisition slip - Inventory Form - Inspection Form - Procedures |

# EVIDENCE GUIDE

| - Critical aspects of competency | Assessment requires that the candidate: - Selected and used appropriate processes, tools and equipment to carry out task - Identified functional and non-functional tools and equipment - Checked, lubricated and calibrated tools, equipment and instruments according to manufacturer’s specifications - Replaced defective tools, equipment and their accessories - Observed and applied safe handling of tools and equipment and safety work practices - Prepared and submitted inventory report, where applicable - Maintained workplace in accordance with OHSA regulations - Stored tools and equipment safely in appropriate locations and in accordance with company practices |
| --- | --- |
| 2. Underpinning knowledge | - SAFETY PRACTICES - Use of PPE - Handling of tools and equipment - Good housekeeping - MATERIALS, TOOLS AND EQUIPMENT - Types and uses of lubricants - Types and uses of cleaning materials - Types and uses of measuring instruments and equipment - PREVENTIVE MAINTENANCE - Methods and techniques - Procedures |
| 3. Underpinning skills | 3.1 Preparing maintenance materials, tools and equipment 3.2 Proper handling of tools and equipment 3.3 Performing preventive maintenance 3.4 Following instructions |
| 4. Resource implications | The following resources should be provided: 4.1 Workplace 4.2 Maintenance schedule 4.3 Maintenance materials, tools and equipment relevant to the proposed activity/task |
| 5. Methods of assessment | Competency should be assessed through: 5.1 Direct observation - Written test/questioning relevant to Underpinning knowledge |
| 6. Context of assessment | - Competency assessment may occur in workplace or any appropriate simulated environment - Competency assessment must be undertaken in accordance with the endorsed TESDA assessment guidelines |

# CORE COMPETENCIES

| # UNIT OF COMPETENCY : | # PREPARE ELECTRICAL POWER AND HYDRAULIC TOOLS |
| --- | --- |
| # UNIT CODE : # UNIT DESCRIPTOR : | # CON724308 # This unit deals with the knowledge, skills and attitudes on identifying and preparing materials and maintenance of electrical power and hydraulic tools |

| ELEMENT | #### PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Select electrical power and hydraulic tools | 1.1 Electrical power and hydraulic tools are identified and selected in line with job specification. 1.2 Tools are inspected for damage in line with enterprise requirements. - Damaged tools are reported to supervisor and repaired according to manufacturer’s specifications |
| 2. Maintain electrical power and hydraulic tools | - Electrical power and hydraulic tools are lubricated in line with enterprise requirements 2.2 Auxiliary parts of power tools/hydraulic tools are inspected and replaced according to manufacturer’s specifications 2.3 Electrical power and hydraulic tools are safely stored in line with enterprise requirements |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Electrical power and hydraulic tools | Including but not limited to: - Electrical power tools - Power drills - Portable grinder - Power saw - Hydraulic tools - Pipe bender - Jack hammer |
| 2. Damaged tools | Including but not limited to: - Faulty plugs and cords of power tools - Damaged housing and accessories - Defective bearing, gasket, bushing - Centrifugal switch - Capacitors - Carbon brush |

EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires evidence that the candidate: 1.1 Identified, selected electrical power and hydraulic tools in line with job specification/requirements - Checked quality and ratings of tools and accessories in line with job requirements - Inspected electrical tools for damages in line with enterprise requirements 1.4 Reported and repaired damaged electrical materials and tools to supervisor 1.5 Maintained and stored electrical materials, hand tools, electrical power tools and hydraulic tools in line with manufacturer’s/ supplier's specifications and enterprise requirements |
| --- | --- |
| 2. Underpinning Knowledge | 2.1 Types of electrical power tools 2.2 Common damage to tools 2.3 Maintenance procedure for electrical power and hydraulic tools |
| 3. Underpinning Skills | 3.1 Preparing materials 3.2 Cleaning and maintaining electrical power and hydraulic tools |
| 4. Resource Implications | The following resources MUST be provided: 4.1 Workplace location 4.2 Tools appropriate for electrical installation |
| 5. Methods of Assessment | Competency must be assessed through: 5.1 Direct observation of candidate's application of knowledge to tasks. 5.2 Questions related to underpinning knowledge (Written Test) |
| 6. Context for Assessment | 6.1 Competency may be assessed in the workplace or in a simulated workplace setting |

| # UNIT OF COMPETENCY : | # PERFORM ROUGHING-IN ACTIVITIES FOR COMMUNICATION AND DISTRIBUTION SYSTEMS |
| --- | --- |
| UNIT CODE : | CON7243009 |
| # UNIT DESCRIPTOR : | # This unit covers the knowledge, skills and attitudes on installing electrical metallic conduit, wire ways and cable clamp, telephone terminal cabinet and distribution frame used in roughing-in based on the required performance standards |

| ELEMENT | #### PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Install electrical metallic conduit | - Correct drawings are interpreted based on job requirements - Correct quantities of conduit and accessories are determined as per job requirements - Tools and equipment are selected as per job requirements - Conduit is assembled ensuring that fittings are fully inserted and tightened as per job requirements - Conduit is bent with bends not exceeding 90° as per job requirements - Conduit couplings and elbows are installed as per job requirements - Conduit is threaded in line with job requirements - Safety procedures are followed in line with standard operating procedures (SOPs) |
| 2. Install wire ways and cable tray | - Correct drawings are interpreted to determine job requirements - Correct quantities of materials are selected as per job requirements - Tools and equipment are selected as per job requirements - Wire ways and cable trays are installed as per job requirements - Safety procedures are followed in line with SOPs |

| ELEMENT | #### PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 3. Install telephone terminal cabinet and distribution frame | - Correct drawings are interpreted to determine job requirements - Correct quantities of materials are selected as per job requirements - Tools and equipment are selected as per job requirements - Telephone terminal cabinet is installed as per job requirements - Telephone main distribution is installed as per job requirements - Safety procedures are followed in line with SOPs |
| 4. Install cable bridge | 4.1 Correct drawings are interpreted based on job requirements 4.2 Correct quantities of materials are selected as per job requirements 4.3 Tools and equipment are selected as per job requirements 4.4 Cable bridge is installed as per job requirements 4.5 Safety procedures are followed in line with SOPs |
| 5. Notify completion of work | 5.1 Final checks are made to ensure that work conforms with instructions and job requirements 5.2 Supervisor is notified upon completion of work - Tools, equipment and any surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with established procedures - Work area is cleaned up and made safe according to OHSA regulations |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| - Metallic conduits | - Rigid Steel Conduits (RSC) - Intermediate Metallic Conduit (IMC) - Electrical Metallic Tubing (EMT) |
| - Accessories | - Entrance cap - Hacknut and bushing, metal strap |
| - Tools and equipment | - Spirit level, hack saw, pipe cutter, plumb bob, pipe reamer, pipe threaded, pipe bender, bolt cutter |
| 4. Installation | - Electrical Metallic conduit - Fitting/coupling fully inserted and tightened - Elbows with clamps/supports for mounting - Conduit rigidly anchored to building structure - Smooth field off-set bends - Conduit bend not to exceed 90° - Standard distance between supports - Conduit ends reamed and without sharp edges - Conduit cut to length requirement - Wire ways and cable tray - Boxes plumb to ground and rigidly anchored to walls building structure - Conduit rigidly clamp to building structure - Couplings fully inserted - Telephone terminal cabinet and distribution frame - Conduit ends reamed and cleaned of burrs and rough edges - Fitting fully inserted and applied with adhesive solvent - Conduit cut to length requirement - PVC coupling with adhesive solvent - Cable bridge - Install at location indicated in plans - With support as shown in shop drawings - Horizontally and vertically aligned |

EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires evidence that the candidate: - Identified and interpreted drawings as per job requirements 1.2 Tools, equipment and electrical metallic conduits selected in line with job requirements 1.3 Installed electrical metallic conduit, wire ways, cable trays, telephone terminal cabinet and distribution framework and cable bridge as per drawings and job requirements 1.4 Demonstrated compliance with safety regulations applicable to worksite operations 1.5 Work area cleaned up and made safe 1.6 Communicated effectively with others to ensure safe and effective work operations |  |  |
| --- | --- | --- | --- |
| 2. Underpinning Knowledge | 2.1 Materials used in rough-in 2.2 Hand tool safety 2.3 Safe use of adhesives 2.4 Understand economic use of material 2.5 Knowledge on minor welding work - Philippines Electrical Code (PEC) related to rough in |  |  |
| 3. Underpinning Skills | 3.1 Reading and interpreting electrical drawings 3.2 Preparing materials, tools and equipment 3.3 Installing electrical metallic conduits, wire ways, cable tray, telephone terminal cabinet and distribution frame and cable bridge 3.4 Lay-outing conduits 3.5 Bending electrical metallic conduits 3.6 Cutting conduits 3.7 Pulling of conductors 3.8 Terminating wires |  |  |
| 4. Resource Implications | The following resources MUST be provided: 4.1 Workplace location - Tools and equipment appropriate to building electrical installation processes 4.3 Materials relevant to the proposed activity 4.4 Drawings and specifications relevant to the task |  |  |
| 5. Methods of Assessment | Competency must be assessed through: 5.1 Direct observation of application to tasks. 5.2 Questions related to underpinning knowledge |  |  |
| 6. Context for Assessment | 6.1 Competency may be assessed in the workplace or in a simulated workplace setting - Assessment shall be done while the tasks are being undertaken either individually or as part of a team under limited supervision |  |  |
| # UNIT OF COMPETENCY : |  | # INSTALL WIRING DEVICES FOR FLOOR AND GROUND FAULT CURRENT INTERRUPTING OUTLETS |  |
| UNIT CODE : |  | CON724310 |  |
| # UNIT DESCRIPTOR : |  | # This unit covers the outcomes required in selecting, installing and documenting floor outlets and ground fault current interrupting outlet. |  |

| ELEMENT | #### PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Select wiring devices | - Drawings are read and interpreted to determine job requirements - Correct type and quantity of wiring devices and other materials are identified in line with job requirements - Tools and equipment are selected in line with job requirements - Correct PPE are identified and selected in line with safety requirements |
| 2. Install wiring devices | - Safety procedures are followed based on safety regulations 2.2 Correct procedures for installation of wiring devices are performed in line with job requirements 2.3 Schedule of work is followed based on agreed time, quality standard and minimum wastage 2.4 Further instructions are sought if unplanned events or conditions occur 2.5 On-going checking of quality of work are done in accordance with instructions and requirements |
| 3. Notify completion of work | 3.1 Final checks are made to ensure that work conforms with instructions and to requirements 3.2 Supervisor is notified upon completion of work - Tools, equipment and any surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with established procedures 3.4 Work area is cleaned and made safe |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Wiring devices | - Floor outlet - Ground fault current interrupting outlet |
| 2. Tools and equipment | - Pliers - Screwdrivers - Wrenches - Wire splicers - Knives |
| 3. Personal protective equipment (PPE) | May include but not limited to: - Working gloves - Safety shoes - Hard hat |
| 4. Safety procedures | - Philippine Electrical Code - Industrial safety - Electrical safety |
| 5. Installation | - Horizontally and vertically aligned - No gap between plate cover and wall - Wire cut to requirement - All bolts tightened for rigid mounting |

EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires evidence that the candidate: 1.1 Correctly interpreted work instructions - Selected appropriate tools, equipment and materials for building wiring installation 1.3 Selected and used correct PPE 1.4 Demonstrated correct procedures for installation of floor outlets and ground fault current interrupting outlets 1.5 Followed safety procedures 1.6 Cleaned worksite, tools and equipment 1.7 Stored surplus materials |
| --- | --- |
| 2. Underpinning Knowledge | 2.1 Installation procedures for floor outlets and ground fault current interrupting outlets 2.2 Use of ground fault current interrupting outlets 2.3 Safe work practices 2.4 PEC requirements |
| 3. Underpinning Skills | 3.1 Interpreting plan and details 3.2 Preparing materials 3.3 Proper use of hand tools 3.4 Splicing 3.5 Dressing of wires 3.6 Terminating wires |
| 4. Resource Implications | The following resources MUST be provided: 4.1 Workplace location - Tools and equipment appropriate for installation of wiring devices 4.3 Materials relevant to the proposed activity 4.4 Drawings and specifications relevant to the task |
| 5. Methods of Assessment | Competency must be assessed through: 5.1 Direct observation of application of tasks 5.2 Questions related to underpinning knowledge (Written Test) |
| 6. Context for Assessment | 6.1 Competency may be assessed in the workplace or in a simulated workplace setting 6.2 Assessment shall be observed while the tasks are being undertaken either individually or as part of a team under limited supervisions |

| # UNIT OF COMPETENCY : | # INSTALL ELECTRICAL PROTECTION SYSTEM FOR LIGHTING AND GROUNDING |
| --- | --- |
| # UNIT CODE : # UNIT DESCRIPTOR : | # CON724311 # This unit covers the outcomes required in installing electrical protection systems such as safety switch fuse cut-out, high/low voltage switch gear, earth leakage circuit breaker, conventional atmospheric lightning protection and grounding system. |

| ELEMENT | #### PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Plan and prepare work | 1.1 Instructions for the preparation of the work activity are communicated and confirmed to ensure clear understanding 1.2 Tools, equipment and PPE needed to install electrical wiring are identified, checked to ensure they work correctly as intended and are safe to use in accordance with established procedures 1.3 Materials needed for work are obtained in accordance with established procedures |
| - Install electrical protection system | 2.1 Safety procedures are followed 2.2 Correct procedures for installation of electrical protection system are performed in line with job requirements and PEC 2.3 Schedule of work is followed to ensure work is completed in an agreed time, to a quality standard and with a minimum waste 2.4 Further instructions are sought from a supervisor if unplanned events or conditions occur - On-going checks of quality of work are done in accordance with instructions and requirements |
| 3. Notify completion of work | 3.1 Final checks are made to ensure the work conforms with instructions and requirements 3.2 Supervisor is notified upon completion of work - Tools, equipment and any surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with established procedures 3.4 Work area is cleaned and made safe |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Electrical protect system component | - Safety switch fuse cut-out - High/Low Voltage Switch Gear (HLVSG) - Earth Leakage Circuit Breaker (ELCB) - Conventional atmospheric lightning protection - Grounding system |
| 2. Tools and equipment | Tools and equipment may include but not limited to: - Pliers - Screwdrivers - Wrenches - Wire splicers - Knives |
| 3. Personal protective equipment (PPE) | - Working gloves - Safety shoes - Hard hat |
| 4. Safety procedures | - Philippine Electrical Code - Industrial safety |
| 5. Installation | - Horizontally and vertically aligned - Rigidly anchored to wall - Installed with clearance to wall/other boxes for cover to open freely - Enough clearance for cover opening for flush mounted |

EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires evidence that the candidate: 1.1 Correctly interpreted work instructions - Selected appropriate tools, equipment and materials for installation of electrical protection system 1.3 Selected and used correct PPE - Demonstrated correct procedures on installation of electrical protection systems including safety switch fuse cut-out, high/low voltage switch gear, earth leakage circuit breaker, conventional atmospheric lightning protection and grounding system 1.5 Followed safety procedures 1.6 Cleaned worksite, tools and equipment 1.7 Stored surplus materials |  |  |
| --- | --- | --- | --- |
| 2. Underpinning Knowledge | - Philippine Electrical Code (PEC) requirements - Electrical protection system components - Use of electrical protection systems - Use of different electrical protection system, including safety switch fuse cut-out, high/low voltage switch gear, earth leakage circuit breaker, conventional atmospheric lightning protection and grounding system |  |  |
| 3. Underpinning Skills | 3.1 Interpreting plan and details 3.2 Preparing materials 3.3 Proper use of hand tools 3.4 Splicing 3.5 Dressing of wires 3.6 Terminating wires 3.7 Interpreting product technical brochure |  |  |
| 4. Resource Implications | The following resources MUST be provided: 4.1 Workplace location 4.2 Tools and equipment appropriate for installation of electrical protection systems 4.3 Materials relevant to the proposed activity 4.4 Drawings and specifications relevant to the task |  |  |
| 5. Methods of Assessment | Competency must be assessed through: 5.1 Direct observation of candidate's application of knowledge to tasks. 5.2 Questions related to underpinning knowledge |  |  |
| 6. Context for Assessment | 6.1 Competency may be assessed in the workplace or in a simulated workplace setting 6.2 Assessment shall be observed while the tasks are being undertaken either individually or as part of a team under limited supervision |  |  |
| # UNIT OF COMPETENCY : |  | # INSTALL ELECTRICAL LIGHTING SYSTEMS ON AUXILIARY OUTLETS AND LIGHTING FIXTURES |  |
| # UNIT CODE : # UNIT DESCRIPTOR : |  | # CON724312 # This unit covers the outcomes required in installing the following lighting fixtures: floodlights/spotlight, track lights, high/low bay sodium vapor lamps, halogen lamps and perimeter lighting. |  |
| ELEMENT |  |  | #### PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| 1. Plan and prepare work |  |  | 1.1 Instructions for the preparation of the work activity are communicated and confirmed to ensure clear understanding 1.2 Tools, equipment and personnel protective equipment (PPE) needed to install electrical wiring are identified, checked to ensure the work is done as intended and are safe to use in accordance with established procedures 1.3 Materials needed for work are obtained in accordance with established procedures 1.4 Materials needed to do the work are estimated according to job requirements |
| 2. Install lighting fixtures |  |  | 2.1 Safety procedures are followed 2.2 Correct procedures for installation of lighting fixtures are performed in line with job requirements 2.3 Schedule of work is followed to ensure work is completed in an agreed time, to a quality standard and with a minimum waste 2.4 Further instructions are sought from a supervisor if unplanned events or conditions occur - On-going checks of quality of work are Undertaken in accordance with instructions and Requirements |
| 3. Notify completion of work |  |  | 3.1 Final checks are made to ensure that work conforms with instructions and requirements 3.2 Supervisor is notified upon completion of work 3.3 Tools, equipment and any surplus resources and materials are, where appropriate, cleaned, checked and returned to storage in accordance with established procedures 3.4 Work area is cleaned and made safe |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Tools and equipment | - Electrical hand tools - Pliers - Screwdrivers - Wrenches - Wire - Splicers - Knives |
| 2. Personal protective equipment (PPE) | - Working gloves - Safety shoes - Hard hat |
| 3. Lights fixtures | - Flood lights/spotlights - Track lights - High/Low bay sodium vapor lamps - Halogen lamps - Perimeter lighting |
| 4. Safety Procedure | - Philippine Electrical Code (PEC) |
| 5. Installation of lighting fixtures | - Floodlights/Spotlights - Horizontally aligned against wall - No gap between ceiling and lighting fixture base - Wiring at junction box cut to requirement as required - Floodlights/spotlights securely mounted - Track Lights - Wiring at junction box cut to requirement as required - Track light mounted securely - High/Low Bay Sodium Vapor Lamps - Wiring at junction box cut to requirement as required - High/Low sodium vapor lamps mounted securely - Halogen Lamps - Wiring at junction box cut to requirement - Halogen lamps mounted securely - Perimeter Lighting - Perimeter lighting installed as per plan/shop - Foundation constructed as per plan - Fixture wired and tested - Fixture mounted to pole |

##### EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires evidence that the candidate: 1.1 Correctly interpreted work instructions - Selected appropriate tools, equipment and materials for Installing lighting fixtures 1.3 Selected and used correct personnel protective equipment 1.4 Demonstrated correct procedures for installation of lighting fixtures including, floodlights/spotlights, track lights, high/low bay sodium vapor lamps, halogen lamps and perimeter lighting 1.5 Followed safety procedures 1.6 Cleaned worksite, tools and equipment 1.7 Stored surplus materials |
| --- | --- |
| 2. Underpinning Knowledge | 2.1 Types of lighting fixtures and installation technique 2.2 Proper use of hand tools 2.3 Knowledge of Philippine Electrical Code (PEC) requirements 2.4 Ratings of lighting fixture 2.5 Principles of electric light |
| 3. Underpinning Skills | 3.1 Interpreting electrical drawings and plans 3.2 Preparing materials 3.3 Interpreting product technical brochure 3.4 Proper use of hand tools 3.5 Splicing 3.6 Dressing of wires 3.7 Terminating wires |
| 4. Resource Implications | The following resources MUST be provided: 4.1 Workplace location 4.2 Tools and equipment appropriate to building wiring electrical installation 4.3 Materials relevant to the proposed activity 4.4 Drawings and specifications relevant to the task |
| 5. Methods of Assessment | Competency must be assessed through: 5.1 Direct observation of candidate's application of knowledge to tasks. 5.2 Questions related to underpinning knowledge (Written Test) |
| 6. Context for Assessment | 6.1 Competency may be assessed in the workplace or in a simulated workplace setting 6.2 Assessment shall be observed while the tasks are being undertaken either individually or as part of a team under limited supervision |

ELECTRICAL INSTALLATION & MAINTENANCE NC II COMPETENCY MAP

BASIC COMPETENCIES

| Receive and Respond to Workplace Communication | Work with Others | Demonstrate work values | Practice basic housekeeping procedures | Participate in Workplace Communication | Work in a Team Environment | Practice career professionalism |
| --- | --- | --- | --- | --- | --- | --- |
| Practice occupational health and safety procedures | Lead Workplace Communication | Lead Small Working Teams | Develop and Practice Negotiating Skills With Team Members | Guide Effective Solutions to Problems Arising from Work Activities | Check and Develop the Use of Mathematical Concepts & Techniques | Use Relevant Technologies Applicable to Assigned Work |
| Lead in Utilizing Specialized Communication Skills | Assist in Developing Team and Individuals | Apply Problem Solving Techniques in the Workplace | Collect, analyze and organize information | Plan and Organize Work for Several Working Teams | Promote Environmental Protection |  |

COMMON COMPETENCIES

| Supervise Preparation Construction Materials, Tools & Equipment for Assigned Tasks | Ensure Compliance with Standards Procedures, Specifications and Manuals of Instructions | Interpret and Follow Technical Drawings and Plans | Supervise Mensuration and Related Computations | Supervise Proper Use and Maintenance of Tools and Equipment |
| --- | --- | --- | --- | --- |

CORE COMPETENCIES

| Prepare electrical materials and tools | Perform roughing-in activities for basic electrical lay-out | Perform installation of wiring devices for power, lights & auxiliary outlets | Perform installation of electrical wiring | Perform installation of basic electrical protection systems | Perform installation of basic auxiliary outlets and lighting fixtures | Perform commissioning on low voltage electrical systems |
| --- | --- | --- | --- | --- | --- | --- |
| Prepare electric and hydraulic tools | Perform roughing-in activities for communication and distribution systems | Install wiring devices for floor and ground fault current interrupting outlets | Install electrical protection system for lightning and grounding | Install electrical lighting on auxiliary outlets and lighting fixtures | Install communication, signaling devices and remote control systems on auxiliary equipment | Commission installed electrical systems |
| Perform roughing-in and wiring activities for bus and under-floor ducts | Perform installation of wiring devices for floor and ground fault current interrupting outlets | Perform installation of standard electrical protection system for lightning and grounding | Perform installation of electrical lighting systems, auxiliary outlets and lighting fixtures | Perform installation of data measurement and control system on electrical and auxiliary equipment | Assemble and install electrical lighting and motor control systems | Perform maintenance and troubleshooting works |
| Supervise/Monitor installation & maintenance on electrical systems, auxiliary including control, lighting, power and protection equipment | Perform commissioning of electrical equipment/system | Perform programming and installation of basic PLC systems |  |  |  |  |

# SECTION 3	TRAINING STANDARDS

These guidelines are set to provide technical and vocational education and training (TVET) providers with information and other important requirements to consider when designing training programs for Electrical Installation & Maintenance NC II.

# 3.1	CURRICULUM DESIGN

Course Title:   ELECTRICAL INSTALLATION & MAINTENANCE	NC Level:  NC II

Nominal Training Duration:      	18 Hours (Basic)

24 Hours (Common)

360 Hours (Core)

Total:  402 hr

Course Description:

This course is designed to equip individuals with operational skills in Electrical Installation & Maintenance NC level II particularly in installing and maintaining electrical wiring, lighting and related equipment/systems in residential houses/buildings where the voltage does not exceed 600 volts.

To complete the course, all units prescribed for this qualification must be achieved:

# BASIC COMPETENCIES

| Unit of Competency | Learning Outcomes | Methodology | Assessment Approach |
| --- | --- | --- | --- |
| 1. Participate in workplace communication | - Obtain and convey workplace information. - Complete relevant work related documents. - Participate in workplace meeting and discussion. | Group discussion Interaction | - Demonstration - Observation - Interviews/ questioning |
| 2. Work in a team environment | - Describe and identify team role and responsibility in a team. - Describe work as a team member. | Discussion Interaction | - Demonstration - Observation - Interviews/ questioning |
| 3. Practice career professionalism | - Integrate personal objectives with organizational goals. - Set and meet work priorities. - Maintain professional growth and development. | Discussion Interaction | - Demonstration - Observation - Interviews/ questioning |
| 4. Practice occupational health and safety | - Evaluate hazard and risks - Control hazards and risks - Maintain occupational health and safety awareness | Discussion Plant tour Symposium | - Observation - Interview |

# COMMON COMPETENCIES

SECTOR :    CONSTRUCTION INDUSTRY - ELECTRICAL

| Unit of Competency | Learning Outcomes | Methodology | Assessment Approach |
| --- | --- | --- | --- |
| - Prepare construction materials and tools | - Identify Materials - Requisition Materials - Receive and inspect materials | - Audio Visual - Simulation - Discussion - Practical Exercise - Demonstration | - Direct observation - Questions or interview - Portfolio (credentials) - Written / Oral Test - Demonstration |
| - Observe procedures, Specifications and Manuals of Instructions | 2.1 Identify and access specification/ manuals | - Audio Visual - Simulation - Discussion Practical Lab - Demonstration | - Direct observation - Oral questioning - Written test or examination - Third party report - Demonstration |
| - Interpret Technical Drawing | 3.1 Analyze sign, symbols and data 3.2 Interpret technical drawing and plans 3.3 Apply freehand sketching | - Audio Visual - Simulation - Discussion Practical Lab - Demonstration | - Direct observation - Oral questioning - Written test or examination - Third party report - Demonstration |
| - Perform mensurations and calculation | 4.1 Select measuring instruments 4.2 Carry out measurements and calculations | - Audio Visual - Simulation - Discussion Practical Lab - Demonstration | - Direct observation - Oral questioning - Written test or examination - Third party report - Demonstration |
| - Maintain tools and equipment | 5.1 Check condition of tools and equipment 5.2 Perform basic preventive maintenance 5.3 Sharpen edge and tooth cutting tools 5.4 Store tools and equipment | - Audio Visual - Simulation - Discussion Practical Lab - Demonstration | - Direct observation of application of tasks. - Oral questioning - Written test or examination - Third party report - Demonstration |

CORE COMPETENCIES

| ## Unit of Competency | Learning Outcome | Methodology | Assessment Approach |
| --- | --- | --- | --- |
| 1. Prepare electrical power and hydraulic tools | 1.1. Select electrical power and hydraulic tools 1.2. Maintain electrical power and hydraulic tools | - Demonstration - Discussion | - Direct Observation and Questioning - Demonstration |
| 2. Perform roughing- in activities for communication and distribution systems | 2.1. Install electrical metallic conduit 2.2. Install wire ways and cable tray 2.3. Install telephone terminal cabinet and distribution frame 2.4. Install cable bridge 2.5. Notify completion of work | - Demonstration - Discussion - Practical Laboratory | - Direct Observation and Questioning - Demonstration |

| ## Unit of Competency | Learning Outcome | Methodology | Assessment Approach |
| --- | --- | --- | --- |
| 3. Install wiring devices for floor and ground fault current interrupting outlets | 3.1. Select wiring devices 3.2. Install wiring devices 3.3. Notify completion of work | - Audio Visual Showing - Demonstration - Discussion - Practical Laboratory | - Direct Observation and Questioning - Demonstration |
| 4. Install electrical protection system for lightning and grounding | 4.1. Plan and prepare work 4.2. Install electrical protection system 4.3. Notify completion of work | - Audio Visual Showing - Demonstration - Discussion - Practical Laboratory | - Direct Observation and Questioning - Demonstration |
| 5. Install electrical lighting systems on auxiliary outlets and lighting fixtures | 5.1. Plan and prepare work 5.2. Install lighting fixtures 5.3. Notify completion of work | - Audio Visual Showing - Demonstration - Discussion - Practical Laboratory | - Direct Observation and Questioning - Demonstration |

3.2      TRAINING DELIVERY

The delivery of training should adhere to the design of the curriculum.  Delivery shall be guided by the 10 basic principles of competency-based TVET:

- The training is based on curriculum developed from the

competency standards;

- Learning is modular in its structure;

- Training delivery is learner-centered and should

accommodate individualized and self-paced learning

strategies;

- Training is based on work that must be performed;

- Training materials are directly related to the competency

standards and the curriculum modules;

- Assessment is based on the collection of evidence of the

performance of work to the industry required standard;

- Training is based both on and off-the-job components;

- Training program allows for recognition of prior learning

(RPL) or current competencies;

- Training allows for multiple entry and exit; and

- Training programs are registered with the UTPRAS.

The competency-based TVET system recognizes various types of delivery modes, both on and off-the-job as long as the learning is driven by the competency standards specified by the industry.  The following training modalities may be adopted when designing training programs:

- The dualized mode of training delivery is preferred and recommended. Thus programs would contain both in-school and in-industry training or fieldwork components.  Details can be referred to the Dual Training System (DTS) Implementing Rules and Regulations.

- Modular/self-paced is a competency-based training modality wherein the trainee is allowed to progress at his/her own pace.  The trainer only facilitates the training delivery.

- Peer teaching/mentoring is a training modality wherein fast learners are given the opportunity to assist the slow learners.

- Supervised Industry Training or On-the-Job Training is an approach in training designed to enhance the knowledge and skills of the trainee through actual experience in the workplace to acquire specific competencies prescribed in the training regulations.

- Distance learning is a formal education process in which majority of the instruction occurs when the students and instructor are not in the same place.  Distance learning may employ correspondence study, or audio, video or computer technologies.

- Project-based instruction is an authentic instructional model or strategy in which students plan, implement and evaluate projects that have real world applications.

3.3 	TRAINEE ENTRY REQUIREMENTS

To qualify as trainee for Electrical Installation & Maintenance NC II, a candidate must be:

- at least high school graduate

- able communicate both orally and in writing

- with good moral character

- physically and mentally fit

- able to perform basic mathematical computation

The list does not include specific institutional requirements such as educational attainment, appropriate work experience, and others that may be required of the trainees by the school or training center delivering the TVET program.

3.4  	LIST OF TOOLS, EQUIPMENT AND MATERIALS

ELECTRICAL INSTALLATION & MAINTENANCE NC II

Recommended list of tools, equipment and materials for the training of 25 trainees for Electrical Installation & Maintenance NC II.

| # TOOLS |  | # EQUIPMENT |  | # MATERIALS |  |
| --- | --- | --- | --- | --- | --- |
| QTY | ITEM | QTY | ## ITEM | QTY | ITEM |
| 5 pcs. | Spirit level | 5 units | Power drill | 50 pcs. | RSC |
| 5 pcs. | Hack saw | 5 units | Portable grinder | 50 pcs. | IMC |
| 5 pcs. | Pipe cutter | 1 unit | Power saw | 50 pcs. | EMT |
| 5 pcs. | Plumb bob | 5 units | Fire alarm system | 5 pcs. | Entrance cap |
| 5 pcs. | Pipe reamer | 5 units | Pipe-in Music/ Paging | 125 pcs. | Locknut |
| 5 pcs. | Pipe threader | 5 units | Security equipment | 125 pcs. | Bushing |
| 5 pcs. | Pipe bender | 5 units | CCTV | 250 pcs. | Metal strap |
| 5 pcs. | Bolt cutter | 5 units | MATV Master | 10 pcs. | Floor outlet |
| 5 pcs. | Jack hammer set | 5 units | Car park ramp detector | 5 pcs. | Ground fault |
| 25 pcs. | Electrician Pliers | 10 units | Multi-tester | 5 pcs. | Current interrupting outlet |
| 25 pcs. | Screwdrivers set | 5 units | Mega-ohmmeter | 25 pcs. | Working gloves |
| 25 pcs. | Wrench box | 5 units | Clamp ammeter | 25 pcs. | Safety shoes |
| 25 pcs. | Wire splicer | 5 units | Megger | 25 pcs. | Proper working clothes |
| 25 pcs. | Wire stripper | 5 units | High potential tester | 25 pcs. | Hard hat |
| 25 pcs. | Electrician knife | 5 units | Earth resistance tester | 25 pcs. | Safety goggles |
| 25 pcs. | Tools holster | 5 units | Labeling machine | 5 boxes | Wire AWG #12 |
| 5 pcs. | Push-pull 0-5 mtrs | 1 unit | Fire extinguisher KGS ABC | 5 boxes | Wire AWG #14 |
| 5 pcs. | Claw hammer | 1 unit | OHP | 5 rolls | Electrical tape |
| 5 pcs. | Ballpeen hammer | 5 units | Industrial Fan | 1 box | Wood screw ½” x 8 |
| 5 pcs. | Prick punch |  |  | 50 m | Circular loom (mica tubing 3/8”) |
| 5 pcs. | Heat gun 1200 watts |  |  | 25 pcs. | Receptacle surface type |
| 5 pcs. | Heavy-duty soldering iron 1000 watts |  |  | 25 pcs. | Receptacle flush type |
| 5 pcs. | Flat file smooth 8” |  |  | 25 pcs. | Incandescent bulb 50 w/ 250V AC |
|  |  |  |  | 25 sets | Convenient outlet c.o. (flush type) 2 gang w/ plate and cover |

| # TOOLS |  | # EQUIPMENT |  | # MATERIALS |  |
| --- | --- | --- | --- | --- | --- |
| QTY | ITEM | QTY | ## ITEM | QTY | ITEM |
|  |  |  |  | 10 pcs. | PVC square box 4 x 4 |
|  |  |  |  | 100 pcs. | PVC clamp ½ |
|  |  |  |  | 100 pcs. | PVC clamp ¾ |
|  |  |  |  | 50 | Assorted condulet |
|  |  |  |  | 50 mtrs. | Corrugated PVC ½”, ¾ |
|  |  |  |  | 50 | PVC conduit ½, ¾ |
|  |  |  |  | 50 pcs. | Junction box PVC |
|  |  |  |  | 50 pcs. | Junction box metal |
|  |  |  |  | 50 | Connectors PVC, ½ |
|  |  |  |  | 50 | Connectors PVC, ¾ |
|  |  |  |  | 50 | Connectors RSC, ¾ |
|  |  |  |  | 20 pcs. | Elbow PVC ½ |
|  |  |  |  | 20 pcs. | Elbow PVC ¾ |
|  |  |  |  | 20 pcs. | Elbow RSC ½ |
|  |  |  |  | 20 pcs. | Elbow RSC ¾ |
|  |  |  |  | 5 sets | Panel board with 70 amp main and subcircuits - 20 amps, 2 pcs. - 30 amps, 2 pcs. - 15 amps, 2 pcs. |
|  |  |  |  | 40 pcs. | Switch (3 way with plate and cover) |
|  |  |  |  | 20 pcs. | Switch (single pole with plate and cover0 |
|  |  |  |  | 20 pcs. | Switch (4 way with plate and cover) |
|  |  |  |  | 10 rms. | Bond paper |
|  |  |  |  | 1 pc. | Whiteboard 4 x 8 x ¾ |
|  |  |  |  | 1 pc. | Whiteboard 4 x 4 x ¾ with movable stand |
|  |  |  |  | 1 box | Whiteboard marker, assorted color |
|  |  |  |  | 2 pcs. | Whiteboard eraser magnetic |
|  |  |  |  | 1 box | Push pin |
|  |  |  |  | 1 pc. | Pencil sharpener |
|  |  |  |  | 3 boxes | Pencil with eraser |
|  |  |  |  | 2 kgs. | Rag |
|  |  |  |  | 5 ltrs. | Cleaning agent liquid |
|  |  |  |  | 1 unit | First aid kit |
|  |  |  |  | 10 mtrs. | Emery cloth #120 |
|  |  |  |  | 25 pcs. | Utility box, 2’ x 4” |

  - TRAINING FACILITIES

ELECTRICAL INSTALLATION & MAINTENANCE NC II

Based on a class intake of 25 students/trainees, below are the space requirement & their sizes:

| SPACE REQUIREMENTS | SIZE IN METERS | AREA IN SQ. METERS | TOTAL AREA IN SQ. METERS |
| --- | --- | --- | --- |
| - Student/Trainee Working Space | 2.50 x 2.50 per student/trainee | 6.25 per student | 156.25 |
| - Contextual Learning Laboratory | 4 x 5 | 20 | 20 |
| - Learning Resource Center | 4 x 5 | 20 | 20 |
| - Facilities/Equipment/ Circulation area | 10 x 6 | 60 | 60 |
| TOTAL AREA |  |  | 256.25 |

3.6  	TRAINER’S QUALIFICATIONS FOR CONSTRUCTION INDUSTRY–   ELECTRICAL -SECTOR

# ELECTRICAL INSTALLATION & MAINTENANCE NC II

TRAINER QUALIFICATION II (TQ II)

To qualify as trainer for Electrical Installation & Maintenance NC II level, a person must:

- have undergone training on Training Methodology II (TM II)

- be a holder of at least National Certificate Level III, Electrical Installation & Maintenance or its equivalent

- be of good moral character

- be a holder of CSC Professional eligibility (for government

position) or appropriate professional license issued by PRC

- be computer literate

- be physically and mentally fit

- * have 1 year relevant industry experience and/or teaching experience

*Optional.  Only when required by the hiring institution

Reference:  TESDA Board Resolution No. 2004-03

3.7	INSTITUTIONAL ASSESSMENT

Institutional assessment is undertaken by trainees to determine their achievement of units of competency.  A certificate of achievement is issued for each unit of competency.

### SECTION 4	NATIONAL ASSESSMENT AND CERTIFICATION ARRANGEMENTS

  - To attain the National Qualification of Electrical Installation & Maintenance NC II, the candidate must demonstrate competence in all the units listed in Section 1. Successful candidates shall be awarded a National Certificate signed by the TESDA Director General.

  - The qualification of Electrical Installation & Maintenance NC II may be attained through demonstration of competence through accumulation of certificates of competency (COCs) or through a single comprehensive project-type assessment covering all required units of competency of the qualification.

    - Accumulation of Certificates of Competency (COCs)

      - Performing roughing-in activities

        - Prepare electrical power and hydraulic tools

        - Perform roughing-in activities for communication and distribution systems

      - Installing wiring

        - Prepare electrical power and hydraulic tools

        - Install wiring devices for floor and GFCI outlets

      - Installing electrical protection systems

        - Prepare electrical power and hydraulic tools

        - Installing electrical protection systems for lighting and grounding

      - Installing lighting systems

        - Prepare electrical power and hydraulic tools

        - Install electrical lighting systems on auxiliary outlets and lighting fixtures

4.2.2	Demonstration of competence through project-type assessment covering all the required units of the qualification

  - Assessment shall focus on the core units of competency.  The basic and common units shall be integrated or assessed concurrently with the core units.

  - This qualification supersedes the qualification defined in the Training Regulations for Building-Wiring Installation NC II.  The conduct of assessment and certification for Building-Wiring Installation NC II will cease one year from the effectivity of the Training Regulations for Electrical Installation & Maintenance NC II. The qualification Building-Wiring Installation NC II will still be in effect until such time that the National Certificates issued for holders of such qualification will have expired.

  - The following are qualified to apply for assessment and certification:

4.3.1	Graduates of formal, non-formal and informal including

enterprise-based training programs

    - Experienced Workers (wage-employed or self-employed)

  - The guidelines on assessment and certification are discussed in detail in the Procedures Manual on Assessment and Certification and the Guidelines on the Implementation of the Philippine TVET Qualification and Certification System (PTQCS).

ACKNOWLEDGEMENTS

The Technical Education and Skills Development Authority (TESDA) wishes to extend thanks and appreciation to the many representatives of business, industry, academe and government agencies who donated their time and expertise to the development and validation of these Training Regulations.

- THE TECHNICAL EXPERT PANEL (TEP)

| MR. NESTOR B. CRUZ | ENGR. MENANDRO R. LIM |
| --- | --- |
| President & CEO | President |
| RRN Inc. | TQS Training Consultancy Company |
| Rm. 703, Global Tower Condominium | 1238 Rizal Ave. |
| 2029 M. Reyest St., cor. Gen. Mascardo St., | Sta. Cruz, Manila |
| Bangkal, Makati City | Tel. Nos.: 734-1561 |
| Tel. Nos.: 752-6309/889-3238 |  |
| ENGR. FRUMENCIO T. TAN | ENGR. ANGELITO V. LUCIANO |
| Sr. Trade Industry Development Specialist | c/o Society of Philippine Electrical |
| Construction Manpower Development | Contractors and Suppliers (SPECS) |
| Foundation (CMDF) | 2nd Floor, IIEE Bldg. |
| 7th Floor., Prudential Bank Bldg. | #41 Monte de Piedad St. |
| 2182 P. Tamo, Makati City | Cubao, Quezon City |
| Tel. No.: 815-1151 | Tel. Nos.: 722-4725/7273554 |
| ENGR. GREGORIO Y. GUEVARRA |  |
| President |  |
| GRL Electric Corporation |  |
| EDSA, Cubao, Quezon City |  |
| Tel. Nos.: 722-4725/7273554 (c/o SPECS) |  |

The Participants in the national validation of this Training Regulation

| - TESDA I | - TESDA X |
| --- | --- |
| - TESDA IV | - TESDA XI |
| - TESDA VI | - TESDA XII |

The Management and Staff of the TESDA Secretariat

| - SSCO | - NITVET |
| --- | --- |

REVIEWED/UPDATED BY:

THE TECHNICAL EXPERT PANEL (TEP)

| ENGR. HIPOLITO A. LEONCIO, PEE |  |
| --- | --- |
| Managing Director |  |
| Phasor Construction Corporation |  |
| 3/F Glialcon Bldg. Blumentritt St., San Juan, Metro Manila |  |
| Telephone: 723-7675; 726-6748 |  |
| ENGR. NICHOLAS C. BALDERRAMA, PEE | ENGR. GREGORIO Y. GUEVARRA, PEE |
| Consultant | President |
| Greenlee CP Electrical Corporation | GRL Electric Corporation |
| 2144 Pedro Gil Street, Sta. Ana, Manila | EDSA, Cubao, Quezon City |
| Telephone: 564-1996 | Tel. Nos.: 912-9141; 421-7182 |
| ENGR. PABLITO R. FREO, RME | ENGR. RUBEN J. DICHOSO, REE |
| Vice President | Trainer/Consultant |
| GRL Electric Corporation | Gokongwei Brothers Foundation, Inc. |
| EDSA, Cubao, Quezon City | Litton Mills Compound, A. Rodriguez Avenue |
| Tel. Nos.: 912-9141; 421-7182 | Rosario, Pasig City |
| ENGR. BERNARD H. MORILLO |  |
| President |  |
| Plug Electric Mfg. Corporation |  |
| Pemcor Industrial Plant, Lot 3 Dama de Noche, UPS4 Paranaque City |  |
| Tel. Nos.: 823-5222; 823-5856; 823-4389 |  |