# DENTAL LABORATORY TECHNOLOGY SERVICES (Removable Dentures/Appliances) NC II

## HEALTH, SOCIAL, AND OTHER COMMUNITY

## DEVELOPMENT SERVICES SECTOR

Technical Education and Skills Development Act of 1994

(Republic Act No. 7796)

Section 22, “Establishment and Administration of the National Trade Skills Standards” of the RA 7796 known as the TESDA Act mandates TESDA to establish national occupational skill standards. The Authority shall develop and implement a certification and accreditation program in which private industry group and trade associations are accredited to conduct approved trade tests, and the local government units to promote such trade testing activities in their respective areas in accordance with the guidelines to be set by the Authority.

The Competency Standards (CS) serve as basis for the:

- Competency assessment and certification;

- Registration and delivery of training programs; and

- Development of curriculum and assessment instruments.

Each CS has four sections:

Section 1	Definition of Qualification - refers to the group of competencies that describes the different functions of the qualification.

Section 2	Competency Standards - gives the specifications of competencies required for effective work performance.

Section 3	Training Standards - contains information and requirements in designing training program for certain Qualification. It includes curriculum design; training delivery; trainee entry requirements; tools, equipment and materials; training facilities; trainer’s qualification; and institutional assessment.

Section 4	National Assessment and Certification Arrangement - describes the policies governing assessment and certification procedure.

TABLE OF CONTENTS

HEALTH, SOCIAL AND OTHER COMMUNITY

DEVELOPMENT SERVICES SECTOR

DENTAL LABORATORY TECHNOLOGY SERVICES (Removable Dentures/Appliances) NC II

Page No.

SECTION 1	DENTAL LABORATORY TECHNOLOGY SERVICES

(Removable Dentures/Appliances) NC II				1

### SECTION 2	COMPETENCY STANDARDS

### Basic Competencies	2-13

### Common Competencies	14-31

### Core Competencies	32-50

### SECTION 3	TRAINING STANDARDS

3.1	Curriculum Design

### Basic Competencies	51-52

- Common Competencies	52-53

### Core Competencies	53-54

3.2	Training Delivery	55

3.3	Trainee Entry Requirements	56

3.4	List of Tools, Equipment and Materials	56-57

3.5	Training Facilities	57

3.6	Trainers' Qualifications	57

3.7	Institutional Assessment	57

SECTION 4	NATIONAL ASSESSMENT AND

CERTIFICATION ARRANGEMENTS	58

### COMPETENCY MAP	59-60

### DEFINITION OF TERMS	61-63

#### ACKNOWLEDGEMENTS

COMPETENCY STANDARDS FOR

DENTAL LABORATORY TECHNOLOGY SERVICES

(Removable Dentures/Appliances) NC II

##### SECTION 1	DENTAL LABORATORY TECHNOLOGY SERVICES

##### (Removable Dentures/Appliances) NC II

This DENTAL LABORATORY TECHNOLOGY SERVICES (Removable Dentures / Appliances) NC II consists of competencies that a person must achieve to perform dental laboratory and prosthetics services specializing in removable dentures/appliances.

The Units of Competency comprising this qualification include the following:

| UNIT CODE | BASIC COMPETENCIES |
| --- | --- |
| 500311105 | Participate in workplace communication |
| 500311106 | Work in a team environment |
| 500311107 | Practice career professionalism |
| 500311108 | Practice occupational health and safety procedures |

| UNIT CODE | COMMON COMPETENCIES |
| --- | --- |
| HCS516201 | Maintain an effective relationship with customers and clients |
| HCS516202 | Manage own performance |
| HCS346204 | Follow occupational health and safety policies in dental laboratory facilities |
| HCS346205 | Maintain infection control in dental practice |
| ICT311201 | Operate a personal computer |

| UNIT CODE | CORE COMPETENCIES |
| --- | --- |
| HCS322328 | Arrange artificial teeth for complete dentures |
| HCS322329 | Set-up and wax removable partial dentures |
| HCS322330 | Wax, process and finish acrylic dentures and appliances |
| HCS322331 | Fabricate thermo formed bases and appliances |
| HCS322339 | Repair and modify dentures and appliances |
| HCS322332 | Fabricate oral splints |
| HCS322333 | Fabricate orthodontic appliances |
| HCS322334 | Fabricate cast metal removable partial denture framework |

A person who has achieved this Qualification is competent to be:

- Dental Laboratory Technician (Removable Dentures/Appliances)

- Dental Prosthetics Technician (Removable Dentures/Appliances)

SECTION 2 COMPETENCY STANDARDS

This section gives the details of the contents of the basic, common and core units of competency required in DENTAL LABORATORY TECHNOLOGY SERVICES (Removable Dentures/Appliances) NC II.

BASIC COMPETENCIES

UNIT OF COMPETENCY	:    PARTICIPATE IN WORKPLACE COMMUNICATION

UNIT CODE	:    500311105

UNIT DESCRIPTOR	:	This unit covers the knowledge, skills and attitudes required to gather, interpret and convey information in response to workplace requirements.

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| Obtain and convey workplace information | Specific and relevant information is accessed from appropriate sources. Effective questioning, active listening and speaking skills are used to gather and convey information. Appropriate medium is used to transfer information and ideas Appropriate non- verbal communication is used. Appropriate lines of communication with supervisors and colleagues are identified and followed. Defined workplace procedures for the location and storage of information are used. Personal interaction is carried out clearly and concisely. |
| Participate in workplace meetings and discussions | Team meetings are attended on time. Own opinions are clearly expressed and those of others are listened to without interruption. Meeting inputs are consistent with the meeting purpose and established protocols. Workplace interactions are conducted in a courteous manner. Questions about simple routine workplace procedures and maters concerning working conditions of employment are asked and responded to. Meetings outcomes are interpreted and implemented. |
| Complete relevant work related documents | Range of forms relating to conditions of employment is completed accurately and legibly. Workplace data is recorded on standard workplace forms and documents. Basic mathematical processes are used for routine calculations. Errors in recording information on forms/ documents are identified and properly acted upon. Reporting requirements to supervisor are completed according to organizational guidelines. |

###### RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| Appropriate sources | Team members Suppliers Trade personnel Local government Industry bodies |
| Medium | Memorandum Circular Notice Information discussion Follow-up or verbal instructions Face to face communication |
| Storage | Manual filing system Computer-based filing system |
| Forms | Personnel forms, telephone message forms, safety reports |
| Workplace interactions | Face to face Telephone Electronic and two way radio Written including electronic, memos, instruction and forms, non-verbal including gestures, signals, signs and diagrams |
| Protocols | Observing meeting Compliance with meeting decisions Obeying meeting instructions |

# EVIDENCE GUIDE

| Critical aspects of competency | Assessment requires evidence that the candidate: Prepared written communication following standard format of the organization Accessed information using communication equipment Made use of relevant terms as an aid to transfer information effectively Conveyed information effectively adopting the formal or informal communication |
| --- | --- |
| Underpinning knowledge | Effective communication Different modes of communication Written communication Organizational policies Communication procedures and systems Technology relevant to the enterprise and the individual’s work responsibilities |
| Underpinning skills | Follow simple spoken language Perform routine workplace duties following simple written notices Participate in workplace meetings and discussions Complete work related documents Estimate, calculate and record routine workplace measures Basic mathematical processes of addition, subtraction, division and multiplication Ability to relate to people of social range in the workplace Gather and provide information in response to workplace Requirements |
| Resource implications | The following resources MUST be provided: Fax machine Telephone Writing materials Internet |
| Method of assessment | Competency MUST be assessed through: Direct observation with questioning Oral interview and written test |
| Context of assessment | Competency may be assessed individually in the actual workplace or through accredited institution |

# UNIT OF COMPETENCY	:	WORK IN A TEAM ENVIRONMENT

UNIT CODE	:     500311106

UNIT DESCRIPTOR	:	This unit covers the skills, knowledge and attitudes to identify role and responsibility as a member of a team.

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| Describe team role and scope | The role and objective of the team is identified from available sources of information. Team parameters, reporting relationships and responsibilities are identified from team discussions and appropriate external sources. |
| Identify own role and responsibility within team | Individual role and responsibilities within the team environment are identified. Roles and responsibility of other team members are identified and recognized. Reporting relationships within team and external to team are identified. |
| Work as a team member | Effective and appropriate forms of communications used and interactions undertaken with team members who contribute to known team activities and objectives. Effective and appropriate contributions made to complement team activities and objectives, based on individual skills and competencies and workplace context. Observed protocols in reporting using standard operating procedures. Contribute to the development of team work plans based on an understanding of team’s role and objectives and individual competencies of the members. |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| Role and objective of team | Work activities in a team environment with enterprise or specific sector Limited discretion, initiative and judgment maybe demonstrated on the job, either individually or in a team environment |
| Sources of information | Standard operating and/or other workplace procedures Job procedures Machine/equipment manufacturer’s specifications and instructions Organizational or external personnel Client/supplier instructions Quality standards OHS and environmental standards |
| Workplace context | Work procedures and practices Conditions of work environments Legislation and industrial agreements Standard work practice including the storage, safe handling and disposal of chemicals Safety, environmental, housekeeping and quality guidelines |

EVIDENCE GUIDE

| Critical aspects of competency | Assessment requires evidence that the candidate: Operated in a team to complete workplace activity Worked effectively with others Conveyed information in written or oral form Selected and used appropriate workplace language Followed designated work plan for the job Reported outcomes |
| --- | --- |
| Underpinning knowledge | Communication process Team structure Team roles Group planning and decision making |
| Underpinning skills | Communicate appropriately, consistent with the culture of the workplace |
| Resource implications | The following resources MUST be provided: Access to relevant workplace or appropriately simulated environment where assessment can take place 4.2 Materials relevant to the proposed activity or tasks |
| Method of assessment | Competency may be assessed through: Observation of the individual member in relation to the work activities of the group Observation of simulation and or role play involving the participation of individual member to the attainment of organizational goal 5.3 Case studies and scenarios as a basis for discussion of issues and strategies in teamwork |
| Context of assessment | Competency may be assessed in workplace or in a simulated workplace setting Assessment shall be observed while task are being undertaken whether individually or in group |

UNIT OF COMPETENCY	:     PRACTICE CAREER PROFESSIONALISM

UNIT CODE	:	500311107

UNIT DESCRIPTOR	:	This unit covers the knowledge, skills and attitudes in promoting career growth and advancement.

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| Integrate personal objectives with organizational goals | 1.1 Personal growth and work plans are pursued towards improving the qualifications set for the profession. 1.2 Intra and interpersonal relationships is are maintained in the course of managing oneself based on performance evaluation. 1.3 Commitment to the organization and its goal is demonstrated in the performance of duties. |
| Set and meet work priorities | 2.1 Competing demands are prioritized to achieve personal, team and organizational goals and objectives. 2.2 Resources are utilized efficiently and effectively to manage work priorities and commitments. 2.3 Practices along economic use and maintenance of equipment and facilities are followed as per established procedures. |
| Maintain professional growth and development | 3.1 Trainings and career opportunities are identified and availed of based on job requirements. 3.2 Recognitions are sought/received and demonstrated as proof of career advancement. 3.3 Licenses and/or certifications relevant to job and career are obtained and renewed. |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Evaluation | 1.1 Performance Appraisal 1.2 Psychological Profile Aptitude Tests |
| 2. Resources | 2.1 Human 2.2 Financial 2.3 Technology 2.3.1 Hardware Software |
| 3. Trainings and career opportunities | 3.1 Participation in training programs 3.1.1 Technical 3.1.2 Supervisory 3.1.3 Managerial 3.1.4 Continuing Education 3.2 Serving as Resource Persons in conferences and workshops |
| 4. Recognitions | 4.1 Recommendations 4.2 Citations 4.3 Certificate of Appreciations 4.4 Commendations 4.5 Awards Tangible and Intangible Rewards |
| 5. Licenses and/or certifications | 5.1 National Certificates 5.2 Certificate of Competency Support Level Licenses 5.4 Professional Licenses |

EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires evidence that the candidate: Attained job targets within key result areas (KRAs) Maintained intra - and interpersonal relationship in the course of managing oneself based on performance evaluation Completed trainings and career opportunities which are based on the requirements of the industries Acquired and maintained licenses and/or certifications according to the requirement of the qualification |
| --- | --- |
| 2. Underpinning knowledge | 2.1 Work values and ethics (Code of Conduct, Code of Ethics, etc.) 2.2 Company policies 2.3 Company operations, procedures and standards 2.4 Fundamental rights at work including gender sensitivity 2.5 Personal hygiene practices |
| 3. Underpinning skills | 3.1 Appropriate practice of personal hygiene 3.2 Intra and Interpersonal skills 3.3 Communication skills |
| 4. Resource implications | The following resources MUST be provided: Workplace or assessment location 4.2 Case studies/scenarios |
| 5. Method of assessment | Competency may be assessed through: Portfolio Assessment Interview Simulation/Role-plays Observation with questioning Third Party Reports Exams and Tests |
| 6. Context of assessment | Competency may be assessed in the work place or in a simulated work place setting |

# UNIT OF COMPETENCY	:    PRACTICE OCCUPATIONAL HEALTH AND SAFETY   PROCEDURES

UNIT CODE	:	500311108

UNIT DESCRIPTOR	:	This unit covers the outcomes required to comply with regulatory and organizational requirements for occupational health and safety.

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| Identify hazards and risks | Safety regulations and workplace safety and hazard control practices and procedures are clarified and explained based on organization procedures. Hazards/risks in the workplace and their corresponding indicators are identified to minimize or eliminate risk to co-workers, workplace and environment in accordance with organization procedures. Contingency measures during workplace accidents, fire and other emergencies are recognized and established in accordance with organization procedures. |
| Evaluate hazards and risks | Terms of maximum tolerable limits which when exceeded will result in harm or damage are identified based on threshold limit values (TLV). Effects of the hazards are determined. OHS issues and/or concerns and identified safety hazards are reported to designated personnel in accordance with workplace requirements and relevant workplace OHS legislation. |
| Control hazards and risks | Occupational Health and Safety (OHS) procedures for controlling hazards/risks in workplace are consistently followed. Procedures for dealing with workplace accidents, fire and emergencies are followed in accordance with organization OHS policies. Personal protective equipment (PPE) is correctly used in accordance with organization OHS procedures and practices. Appropriate assistance is provided in the event of a workplace emergency in accordance with established organization protocol. |
| Maintain OHS awareness | Emergency-related drills and trainings are participated in as per established organization guidelines and procedures. OHS personal records are completed and updated in accordance with workplace requirements. |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| Safety regulations | May include but are not limited to: Clean Air Act Building code National Electrical and Fire Safety Codes Waste management statutes and rules Philippine Occupational Safety and Health Standards DOLE regulations on safety legal requirements ECC regulations |
| Hazards/risks | May include but are not limited to: 2.1 Physical hazards – impact, illumination, pressure, noise, vibration, temperature, radiation 2.2 Biological hazards- bacteria, viruses, plants, parasites, mites, molds, fungi, insects 2.3 Chemical hazards – dusts, fibers, mists, fumes, smoke, gasses, vapors 2.4 Ergonomics Psychological factors – over exertion/ excessive force, awkward/static positions, fatigue, direct pressure, varying metabolic cycles Physiological factors – monotony, personal relationship, work out cycle |
| Contingency measures | May include but are not limited to: Evacuation Isolation Decontamination (Calling designed) emergency personnel |
| PPE | May include but are not limited to: 4.1 Mask 4.2 Gloves 4.3 Goggles 4.4 Hair Net/cap/bonnet 4.5 Face mask/shield 4.6 Ear muffs 4.7 Apron/Gown/coverall/jump suit 4.8 Anti-static suits |
| Emergency-related drills and training | 5.1 Fire drill 5.2 Earthquake drill 5.3 Basic life support/CPR 5.4 First aid 5.5 Spillage control 5.6 Decontamination of chemical and toxic 5.7 Disaster preparedness/management |
| OHS personal records | Medical/Health records Incident reports Accident reports OHS-related training completed |

EVIDENCE GUIDE

| Critical aspects of competency | Assessment requires evidence that the candidate: Explained clearly established workplace safety and hazard control practices and procedures Identified hazards/risks in the workplace and its corresponding indicators in accordance with company procedures Recognized contingency measures during workplace accidents, fire and other emergencies Identified terms of maximum tolerable limits based on threshold limit value- TLV. Followed Occupational Health and Safety (OHS) procedures for controlling hazards/risks in workplace Used Personal Protective Equipment (PPE) in accordance with company OHS procedures and practices Completed and updated OHS personal records in accordance with workplace requirements |
| --- | --- |
| Underpinning knowledge | OHS procedures and practices and regulations PPE types and uses Personal hygiene practices Hazards/risks identification and control Threshold Limit Value -TLV OHS indicators Organization safety and health protocol Safety consciousness Health consciousness |
| Underpinning skills | Practice of personal hygiene Hazards/risks identification and control skills Interpersonal skills 3.4 Communication skills |
| Resource implications | The following resources MUST be provided: Workplace or assessment location OHS personal records 4.3 PPE 4.4 Health records |
| Method of assessment | Competency may be assessed through: Portfolio Assessment Interview 5.3 Case Study/Situation |
| Context of assessment | Competency may be assessed in the work place or in a simulated work place setting |

COMMON COMPETENCIES

UNIT OF COMPETENCY 	:	MAINTAIN AN EFFECTIVE RELATIONSHIP WITH CLIENTS AND CUSTOMERS

UNIT CODE                 	:   	HCS516201

UNIT DESCRIPTOR	:	This unit covers the knowledge, skills and attitudes and values required in building and maintaining an effective relationship with clients, customers and the public.

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Maintain a clean and hygienic environment | Uniform and personal grooming maintained to assignment requirements. Personal presence maintained according to employer standards. Visible work area kept tidy and uncluttered. Equipment stored according to assignment requirements. |
| 2. Meet client/customer requirements | Client requirements identified and understood by referral to assignment instructions. Client requirements met according to the assignment instructions. Changes to client’s needs and requirements monitored and appropriate action taken. All communication with client or customer is cleared and complied with assignment requirements. |
| 3. Build credibility with customers/clients | Client expectations for reliability, punctuality and appearance adhered to. Possible causes of client/customer dissatisfaction identified, dealt with recorded according employer policy. Client fully informed of all relevant matters in a timely manner and according to agreed reporting procedures. |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Personal Presence | May include but not limited to: Stance Posture Body Language Demeanor Grooming |
| 2. Employer Standards | May include but not limited to: Standing Orders |
| Client Requirements | May include but are not limited to: Assignment instructions Post Orders Scope to modify instructions/orders in light of changed situations |
| 4. Assignment Instructions | May be conveyed in: Writing Verbally Electronically |
| 5. Client Needs and Requirements | May be detected by: Review of the client brief and/or assignment instructions Discussion with the client/customer |
| 6. Appropriate Action | May include: Implementing required changes Referring to appropriate employer personnel Clarification of client needs and instructions Hazard reports |
| 7. Customers | May include: All members of the public |

EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires evidence that the candidate: Maintained a professional image Interpreted client/customer requirements from information Dealt successfully with a variety of client/customer interactions Monitored and acted on changing client or customer needs Met client/customer requirements Built credibility with customers/client |
| --- | --- |
| 2. Underpinning knowledge | Uniform and personal grooming requirements of the employer Occupational health and safety requirement for the assignment Assignment Instructions |
| 3. Underpinning skills | 3.1 Attention to detail when completing client/employer documentation Interpersonal and communication skills required in client contact assignments Customer service skills required to meet client/customer needs Punctuality Customer Service Telephone Technique Problem Solving and Negotiation Maintaining Records |
| 4. Resource implications | The following resources MUST be provided Assessment Centers/Venues Accredited Assessors Modes of Assessment Evaluation Reports Access to a relevant venue, equipment and materials Assignment Instructions Logbooks Operational manuals and makers/customers’ instructions Assessment instruments, including personal planner and assessment record book |
| 5. Method of assessment | Competency may be assessed through: Written Test Demonstration with questioning Observation with questioning |
| 6. Context of assessment | Assessment may be done in the workplace or in a simulated workplace setting. |

UNIT OF COMPETENCY	:    MANAGE OWN PERFORMANCE

UNIT CODE                    	:  	HCS516202

Unit Descriptor 	: 	this unit of competency covers the knowledge, skills and attitudes in effectively managing own workload and quality work.

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Plan for completion of own workload | Tasks accurately identified. Priority allocated to each task. Time lines allocated to each task or series of tasks. Tasks deadlines known and complied with whenever possible. Work schedules are known and completed with agreed time frames. Work plans developed according to assignment requirements and employer policy. Uncompleted work or tasks detailed and responsibility for completion passed to incoming shift or other appropriate persons. |
| 2. Maintain quality of performance | Personal performance continually monitored against agreed performance standards. Advice and guidance sought when necessary to achieve or maintain agreed standards. Guidance from management applied to achieve or maintain agreed standards. Standard of work clarified and agreed according employer policy and procedures. |
| 3. Build credibility with customers/clients | Client expectations for reliability, punctuality and appearance adhered to. Possible causes of client/customer dissatisfaction identified, dealt with, recorded and in accordance with employer policy. Client fully informed of all relevant matters in a timely manner. |

### RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| Tasks | May be identified through: 1.1.1 Assignment Instructions Verbal Instructions by Senior Staff Policy Documents Duty Statements Self Assessment May be: Daily tasks Weekly tasks Regularly or irregularly occurring tasks |
| Performance Standards | May include: Assignment Instructions Procedures established in policy documents |

EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires evidence that the candidate: Planned for completion of own workload Assessed verbal or written work plan through observation and discussion of site and employer requirements Demonstrated capacity to complete task within specified time frame Maintained quality of own performance |
| --- | --- |
| 2. Underpinning knowledge | Sight and assignment requirements Employer policy on performance management Indicators of appropriate performance for each area of responsibility Steps for improving or maintaining performance |
| 3. Underpinning skills | Capacity to plan and prioritize work loads and requirements Time and task management |
| 4. Resource implications | The following resources MUST be provided: Assessment Centers/Venues Accredited Assessors Modes of Assessment Evaluation Reports Access to relevant venue, equipment and materials Assignment Instructions Logbooks Operational manuals and makers’/customers’ instructions Assessment Instruments, including personal planner and assessment record book |
| 5. Method of assessment | Competency may be assessed through: Written Test 5.2 Demonstration with questioning 5.3 Observation with questioning 5.4 Oral questioning/Interview |
| 6. Context of assessment: | Assessment may be done in the workplace or in a simulated workplace setting. |

UNIT OF COMPETENCY	:	FOLLOW OCCUPATIONAL HEALTH AND SAFETY POLICIES IN DENTAL LABORATORY FACILITIES

UNIT CODE	:	HCS346204

UNIT DESCRIPTOR	:	This unit covers the knowledge, skills and attitudes required in applying relevant OHS legislation and codes of practice, including duties and responsibilities for all parties under general duty of care.

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| Follow workplace procedures for hazard identification and risk control | Hazards in the work area are recognized and reported to supervisor in accordance with workplace procedures. Workplace procedures and work instructions for controlling risks, including infection control, are followed accurately. Workplace procedures for dealing with accidents, fires and emergencies are followed where necessary. |
| Contribute to the management of OHS | OHS issues are raised with designated personnel and co-workers as appropriate. Contributions are made as appropriate to workplace OHS discussions. |
| Utilize and implement strategies as directed to prevent infection in the workplace | The environment is kept clean and tidy. Personal hygiene practices are followed. Any items that may be contaminated are disposed of safely. |
| Utilize strategies to prevent stress overload | Nominated rest time and breaks are taken. Sources of stress are identified and issues raised with supervisor. Work roles are clarified and followed. |
| Work in a safe manner | Defined procedures are followed to ensure personal safety. All work is carried out in a manner which ensures safety of self and others Organizational security measures are followed. Safe manual handling procedures are followed. |

## RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| Workplace procedures for controlling risks | May include: Manual handling techniques Safe handling, storage and disposal of inflammable or potentially dangerous substances 1.5 Strategies for reducing the amount of manual handling required |
| 2. Stress | May include: Health problems Changes in behavior Frequent absences Negative attitudes Unawareness of own stress levels |
| 3. Rest time and breaks | May include: Morning and afternoon tea, lunch, dinner breaks |
| 4. Workplace procedures | May include: Grievance procedures Team meetings Incident reports Debriefing procedures following crisis Smoke free environment |
| 5. Items that may be contaminated | May include: Work surfaces Clothing |
| 6. Working in a manner that ensures personal safety | May include: Carrying communication equipment Using personal protection equipment Safe work practices for handling sharps and other hazards in dental laboratory practice Carrying alarms Maintaining infection control in dental laboratory practice |
| 7. Organizational security measures | May include: Locking doors Alarm system Contracted security personnel |

### EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires evidence that the candidate: Worked safely and followed OHS policies and procedures in dental laboratory practice Complied with DOH infection control guidelines Contributed to the management of OHS Utilized and implemented strategies as directed to prevent infection in the workplace Utilized strategies to prevent stress overload Worked in a safe manner |
| --- | --- |
| 2. Underpinning knowledge | Compliance with OHS policy and procedures and infection control guidelines and procedures Knowledge of potential hazards in the workplace Knowledge of laboratory waste disposal methods Knowledge of personal hygiene and personal protection including immunization Knowledge of legislative requirements and best practice approaches to OHS Emergency procedures |
| 3. Underpinning skills | Manual handling techniques Safe handling techniques Correct use of equipment, instruments and materials in accordance with manufacturer specifications Technology used to work safely and competently Safe work practices to prevent or minimize risk Reading and writing skills Oral communication skills |
| 4. Resource implications | The following resources MUST be provided: Relevant dental laboratory practice/organizational policies and procedures manuals such as: Incident reporting procedures OHS policy and procedures Infection control guidelines (DOH) Waste management policies Relevant state legislation Manufacturer’s instructions for the use of relevant equipment, instruments and materials Material Safety Data Sheets (MSDs) |
| Method of assessment | Competency may be assessed through: Observation with questioning Oral questioning/Interview Portfolio Third Party Report |
| Context of assessment | Competency may be assessed in the workplace or in a simulated work setting. |

UNIT OF COMPETENCY	:	MAINTAIN INFECTION CONTROL IN DENTAL LABORATORY PRACTICE

UNIT CODE	:	HCS346205

UNIT DESCRIPTOR	:	This unit covers the knowledge, skills and attitudes required to comply with infection control procedures before, during and after health care procedures.

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| Monitor and maintain the cleanliness of the dental laboratory | Appropriate personal protective wear is used during cleaning of equipment and surfaces. Appropriate disinfectants and cleaning equipment are selected, prepared and used on surfaces in accordance with the manufacturer’s specification. Used surface covers, if applicable, are removed and replaced in a manner to prevent cross contamination. Cleaning equipment is correctly stored. All surfaces including internal storage units within the dental laboratory are monitored and maintained for cleanliness. |
| Clean and disinfect dental laboratory /instruments and equipment | Dental laboratory instruments and equipment are cleaned of bio-burden and lubricated, where appropriate, prior to cleaning and disinfecting. Dental laboratory instruments and equipment are checked for faults and disassembled where appropriate. Prior to cleaning of dental laboratory instruments and equipment are loaded safely and effectively. Appropriate cleaning procedures are carried out in the correct sequence and duration in accordance with manufacturer specifications. Regular maintenance program including faults and incidences are recognized, reported and documented. |

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| Maintain hygiene and personal protection | Hand washing procedures are correctly followed. Open cuts and abrasions are covered with a waterproof dressing. Appropriate personal protection wear is correctly worn. Immunization is undertaken in accordance with current recommendations for dental health care worker. All work is carried out in a manner that minimizes the risk of cross contamination and complies with OHS policy and procedures. Hazards in the dental laboratory is recognized and reported to operator. Appropriate procedures for dealing with accidents, including sharp injuries, are followed correctly. |
| Dispose of dental laboratory waste safely | Appropriate protective clothing is worn or used in accordance with OHS policy and procedures when handling waste. Waste is segregated, contained, stored and transported correctly. Damaged and/or pre-packed items are disposed of safely. Waste is disposed of safely. |
| Undertake the necessary measures to ensure prevention of transmission of infection | Risks of cross contamination are identified and appropriate responses implemented within dental practice. Clean, contaminated and administrative zones are clearly identified and maintained. Instruments, materials, medicaments and equipment are set up prior to commencement of treatment where appropriate. One-way workflow from clean to dirty zone is maintained. Risk of transmission of infection is minimized in all dental laboratory related and administrative procedures. Spills are removed correctly. |

## RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Infection control guidelines and procedures | May include but are not limited to: Current DOH guidelines for infection control in health care settings 1.2 Standard Precautions and Additional Precautions as defined by DOH Dental laboratory practice/organizational policy procedures and infection control guidelines and procedures Material Safety Data Sheets (MSDS) Local government ordinances Legislative requirements |
| Personal protective wear | May include but not limited to: Sterile and non sterile gloves including heavy duty Masks Eye protection Enclosed footwear Gowns Aprons |
| Cleaning equipment | May include but is not limited to: Ultrasonic cleaner Manual cleaning with a range of brushes Drying Buckets and mops |
| Waste segregation | May include but is not limited to: Clinical and related waste Infectious waste Sharps General waste Other hazardous substances |
| Requirements for safe disposal of waste | May be determined by: Main drainage Local government ordinances Material Safety Data Sheet (MSDS) |

### EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires evidence that the candidate: Demonstrated knowledge of infection risks in health environment and specifically in dental laboratory practice Complied with current DOH infection control guidelines and procedures, OHS and legislative requirements Handled waste safely managed procedures in accordance with legislative requirements Selected and used appropriate cleaning agents for particular surfaces and equipment in accordance with the manufacturer’s specifications |
| --- | --- |
| 2. Underpinning knowledge | Knowledge on how infection is spread, cross infection and prevention strategies Knowledge of relevant OHS policies and procedures Limitations, properties and precautions required of disinfectants and decontaminates Knowledge of potential hazards in a health environment Knowledge of currently available vaccinations against transmissible disease Knowledge of dental laboratory waste disposal methods |
| 3. Underpinning skills | Applying standard and additional precautions Using safe work practices to minimize the risk of transmission of infection Selecting and using appropriate chemicals in cleaning and sanitizing Using correct hand washing and hand care techniques Using correct hygiene procedures Selecting and using equipment and cleaning agents effectively Using procedures appropriate to the cleaning area and purpose Minimizing disruption to the work environment Minimizing safety hazards for self and others Using time management strategies to set priorities Using technology to work safely and competently |
| Resource implications | The following resources MUST be provided: Relevant dental laboratory practice/organizational policy and procedures Incident reporting procedures Occupational health and safety policy and procedures Infection control guidelines Waste management policies Relevant state legislations Manufacturer’s instructions for the use of relevant equipment, instruments, medicaments, materials and Material Safety Data Sheets (MSDS) Cleaning agents currently used in the workplace |

| 5. Method of assessment | Competency may be assessed through: Written Test/Examination Demonstration with questioning Observation with questioning Portfolio Third Party Report |
| --- | --- |
| 6. Context of assessment | Competency may be assessed in the workplace or in a simulated work setting. |

| UNIT TITLE | : | OPERATE A PERSONAL COMPUTER |
| --- | --- | --- |
| UNIT CODE | : | ICT311201 |
| UNIT DESCRIPTOR | : | This unit defines the competency required to operate a personal computer by: starting the PC, logging in, using and working with files, folders and programs, saving work, and closing down the PC. |

| ELEMENT | PERFORMANCE CRITERIA Italicized Bold terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Start the computer | The peripheral devices are properly connected Power is checked and the computer and peripheral devices are switched on Proper logging in and logging off is successfully done The operating system features and functions are accessed and navigated Hardware configuration and other system features are checked |
| Arrange and customize desktop display/ Windows settings | The desktop screen or Windows elements are changed as needed Desktop icons are added, renamed, moved, copied or deleted The online help functions are accessed or used as needed Desktop icons of application programs are selected, opened and closed Properties of icons are displayed Computer or desktop settings are saved and restored |
| Work with files and folders (or directories) | A file or folder is created, opened, moved, renamed or copied Files are located, deleted and restored Details and properties of files and folders are displayed or viewed Various files are organized for easy lookup and use Files and information are searched Disks are checked, erased or formatted as necessary |
| Work with user application programs | Application programs are added, changed, removed or ran User software or application program are installed, updated and upgraded Information/data are moved between documents or files |
| Print information | Printer is added or installed and correct printer settings is ensured Default printer is assigned accordingly Information or document is printed on the installed printer Progress of print jobs are viewed and deleted as required |
| Shut down computer | All open application programs are closed Computer and peripheral devices are properly shut down |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| Peripheral device | This may include but is not limited to: mouse keyboard monitor or visual display unit printer scanner |
| Computer | May include: Laptops/notebooks Workstations Servers other personal computer devices |
| Application programs | Can include: user programs database programs word processors email programs Internet browsers system browsers spreadsheets |
| Operating system | May include but is not limited to the various versions and variants of: Windows NT Mac OS Linux Solaris Unix |
| System features | May include but is not limited to the operating system features and hardware features like: memory size disk capacities video cards USBs Modems 1394 and LAN connectors SD and PC cards wireless and infrared connections. |

| VARIABLE | RANGE |
| --- | --- |
| Online help functions | An instruction manual, or a portion of the manual, integrated and accessible from within the program or software being used. |
| Properties | Indicates the description of the file or folder to include the: file name type of file file size date created and modified attributes (hidden, read-only). |
| Various files | Documents Records Pictures Music Video |
| Disks | May include but is not limited to: Floppy disks CDs CD-RW (Compact discs-Read/Write) DVD RW zip disks flash drives memory sticks hard drives |
| Printer settings | The properties of the printer that enables it to work includes: page layout paper size ink/cartridge type number of copies page orientation |

EVIDENCE GUIDE

| Critical aspects of Competency | Assessment must confirm the ability to utilize software, navigate the desktop, using system features to perform tasks and save results of work. |
| --- | --- |
| Underpinning Knowledge | Knowledge includes: Keyboard layout and functions Computer functions Basic parts of a computer and various hardware components Storage devices and file concepts Basic software operation and functionalities |
| Underpinning Skills | Skills include: Saving and retrieving files to and from various folders or disk storage Mouse and keyboarding skills for running software applications Reading and writing at a level where basic workplace documents are understood Clear ability to communicate with peers and supervisors Interpretation of user manuals and help functions The ability to carry out written and verbal instructions using a personal computer whether standalone or in a networked environment |
| Resource Implications | To demonstrate competence in this unit access to the following resources will be required: A personal computer A printer Mouse and keyboard Basic systems software |
| Methods of Assessment | Competency may be assessed through: Observation in a workplace or simulated environment Third party reports Exams and tests Demonstration of required skills Interviews |
| Context for Assessment | Competency may be assessed in the workplace or in a simulated work environment. |

CORE COMPETENCIES

UNIT OF COMPETENCY	:	ARRANGE ARTIFICIAL TEETH FOR COMPLETE DENTURES

UNIT CODE			: 	HCS322328

UNIT DESCRIPTOR	:	This unit covers the knowledge, skills and attitudes required in the selection, arrangement and wax contouring of a complete denture.

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Prepare case for setting of teeth | Artificial teeth are selected to work order. Bases and rims are modified as required for positioning of teeth. |
| Arrange artificial teeth | Work order is followed. Teeth are positioned to achieve aesthetics and centric occlusion, balanced articulation and balanced occlusion. Teeth are secured in wax and contoured to gingival outline. |
| 3. Wax up denture for try-in | Wax is applied as required. Facial and lingual aspects are contoured. Muscle attachments are located and relieved. Peripheral extensions are smoothened and rounded. Distal extensions are confirmed. |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| Dentures | May include but are not limited to: Complete maxillary or complete mandibular Combined complete maxillary and complete mandibular. |

EVIDENCE GUIDE

| Critical aspect of competency | Assessment requires evidence that the candidate: Prepared case for setting of teeth Arranged artificial teeth Waxed up denture for try-in Complied with infection control policies and procedures Followed OH&S policies and procedures |
| --- | --- |
| Underpinning knowledge | Range of articulators Selection of artificial teeth Articulation and occlusion Tooth morphology Current DOH infection control guidelines Relevant material science for carrying out procedures OH&S and material safety data sheets Industry Codes of Practice Relevant laws as appropriate Housekeeping and maintenance procedures |
| Underpinning skills | Manual dexterity Maintaining a healthy and safe working environment Selecting artificial teeth Maintaining personal hygiene Planning and organizing work activities |
| Resource implications | The following resources MUST be provided: 4.1 A real or simulated dental laboratory environment 4.2 Relevant documentation such as: industry codes of practice relevant laws as appropriate housekeeping/maintenance procedures 4.3 Range of articulators A qualified workplace assessor and/or a technical expert working in partnership with assessor |
| Method of assessment | Competency may be assessed through: 5.1 Demonstration with questioning 5.2 Written Test/Examination 5.3 Third Party Report 5.4 Portfolio |
| Context of assessment | Competency may be assessed in the workplace or in a simulated workplace setting. |

UNIT OF COMPETENCY	:	SET-UP AND WAX REMOVABLE PARTIAL DENTURES

UNIT CODE			: 	HCS322329

UNIT DESCRIPTOR	:	This unit covers the knowledge, skills and attitudes required to set-up and wax removable partial dentures.

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Design acrylic removable partial denture | Models are surveyed. Design is established and transferred to master model. Undesirable undercuts are blocked out. Food lines are scribed. |
| 2. Select and prepare materials | Materials are selected according to work order. Shape and dimension of components are established from design. |
| 3. Arrange artificial teeth | Teeth are selected and positioned in wax to established aesthetics and function. Wax is contoured and dentures made suitable for try-in in mouth. |
| 4. Fabricate retainer units | Components are constructed as required. Components are joined as required. Teeth and components are secured in wax. Facial and lingual aspects are contoured. Appliance is secured for processing. |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Material options for base | May include but are not limited to: Acrylic Light-cured Flexible materials |

EVIDENCE GUIDE

| 1. Critical aspect of competency | Assessment requires evidence that the candidate: 1.1 Designed acrylic removable partial denture 1.2 Selected and prepared materials 1.3 Arrange artificial teeth 1.4 Fabricated retainer units 1.5 Complied with infection control policies and procedures 1.6 Followed OH&S policies 1.7 Industry Codes of Practice 1.8 Relevant laws as appropriate 1.9 Housekeeping Maintenance Procedures 1.10 Dental Alloys |
| --- | --- |
| Underpinning knowledge | 2.1 Metallurgy - soldering techniques 2.2 Wrought component fabrication techniques 2.3 Tooth morphology 2.4 Articulation and occlusion 2.5 Principles of partial denture design 2.6 Relevant material science for carrying out procedures 2.7 Duplication techniques Current DOH infection control guidelines |
| 3. Underpinning skills | 3.1 Manual dexterity 3.2 Maintaining a healthy and safe working environment 3.3 Investing and packing techniques 3.4 Duplicating techniques Fabricating techniques of wrought components Maintaining personal hygiene Planning and organizing work activities |
| 4. Resource implications | The following resources MUST be provided: 4.1 A real or simulated dental laboratory environment 4.2 Relevant documentation such as: industry codes of practice state legislation as appropriate housekeeping/maintenance procedures 4.3 Dental alloys 4.4 A qualified workplace assessor and/or a technical expert working in partnership with the assessor |
| 5. Method of assessment | Competency may be assessed through: 5.1 Demonstration with questioning 5.2 Written Test/Examination 5.3 Third Party Report Portfolio |
| 6. Context of assessment | Assessment may be conducted in the workplace or in a simulated environment |

UNIT OF COMPETENCY	:    WAX, PROCESS AND FINISH ACRYLIC DENTURES AND APPLIANCES

UNIT CODE			: 	HCS322330

UNIT DESCRIPTOR	:	This unit covers the knowledge, skills and attitudes concerned with the process involved in polymerization and finishing of acrylic dentures and appliances.

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Wax case for finish consistent with work order | Wax is applied as required by work order. Facial and lingual aspects are contoured. |
| 2. Select and prepare materials and processing | Appropriate polymer system for case is identified. Appropriate investment technique is identified. Appropriate processing cycle is identified. Material is selected from identified polymer system. System components are combined. Materials are allowed to reach application stage. |
| 3. Process denture or appliance | Appropriate investment techniques are applied. Material is applied to mould. Appropriate processing cycle is applied. Model is divested. Remount on articulator. |
| 4. Grind dentures and appliances selectively | Centric occlusion is restored. Balanced occlusion is restored. Balanced articulation is restored. Function is restored. |
| 5. Finish denture or appliance | Denture or appliance is trimmed, shaped and finished according to job specifications. Dentures are disinfected according to current DOH infection guidelines. |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Acrylic dentures and appliances | May include but are not limited to: Complete and partial dentures Orthodontic appliances Therapeutic appliances |

EVIDENCE GUIDE

| 1. Critical aspect of competency | Assessment requires evidence that the candidate: 1.1 Waxed case for finish consistent with work orders 1.2 Selected and prepared materials and processing techniques 1.3 Processed denture or appliance 1.4 Grind dentures and appliances selectively 1.5 Finished denture or appliance 1.6 Complied with infection control policies and procedures 1.7 Followed OH&S policies |
| --- | --- |
| 2. Underpinning knowledge | 2.1 Relevant material science for carrying out procedures 2.2 Tooth morphology and anatomy 2.3 OH&S and materials safety data sheets 2.4 Current DOH infection control guidelines 2.5 Workplace Policy and Procedures Manuals 2.6 Product Labels and Sources of Product Information |
| 3. Underpinning skills | Manual dexterity Maintaining a healthy and safe working environment Maintaining personal hygiene Planning and organizing work activities |
| 4. Resource implication | The following resources MUST be provided: 4.1 Relevant documentation, such as: - workplace policy and procedures manuals 4.2 Access to a range of clients with different requirements 4.3 A range of equipment and products appropriate to the workplace Product labels and sources of product information A qualified workplace assessor or assessment team |
| 5. Method of assessment | Competency may be assessed through: 5.1 Demonstration with questioning 5.2 Written Test/Examination 5.3 Third party Report Portfolio |
| 6. Context of assessment | Assessment may be conducted in the workplace or in a simulated environment |

UNIT OF COMPETENCY	:	FABRICATE THERMO-FORMED BASES AND APPLIANCES

UNIT CODE	:	HCS322334

UNIT DESCRIPTOR          :	This unit covers the knowledge, skills and attitude in fabricating thermo-formed bases and appliances.

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Prepare model | Work order is interpreted. Outline is marked and finished lines are scribed where applicable. Block-out material is applied as required. |
| 2. Thermo-form appliance or base | Thermo-forming material and apparatus is selected. Heat is applied to material. Softened material is adapted. Material is allowed to cool. Adaptation is verified. |
| 3. Trim, shape and finish appliances or bases | Thermo-formed blank is removed. Outline is trimmed and fitted to model. Outline is refined. Appliance or base is smoothened and finished. |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| Appliances | May include but are not limited to: Mouthguard 1.2 Bleach trays 1.3 Occlussal splints 1.4 Baseplates 1.5 Temporary crown stents 1.6 Retaining devices 1.7 Custom impression trays |
| 2. Thermo-forming equipment used | May include but are not limited to: Vacuum Pressure |

# EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires evidence that the candidate: 1.1 Prepared model 1.2 Thermo-formed appliance or base from blank 1.3 Trimmed, shaped and finished appliance or bases 1.4 Complied with infection control policies and procedures 1.5 Followed OH&S policies |
| --- | --- |
| 2. Underpinning knowledge | Relevant material science for carrying out procedures Oro-facial anatomy Thermoforming technology Polymer science Tooth morphology Principles of occlusion Industry Codes of Practice Relevant laws as appropriate Housekeeping and Maintenance Procedures |
| 3. Underpinning skills | Manual dexterity Maintaining a healthy and safe working environment Performing orthodontic procedures and wrought wire fabrication techniques Maintaining personal hygiene Following correct measurements 3.6 Planning and organizing work activities |
| 4. Resource implications | The following resources MUST be provided: 4.1 A real or simulated dental laboratory environment 4.2 Relevant documentation such as: industry codes of practice state legislation as appropriate housekeeping/maintenance procedures 4.3 A qualified workplace assessor and/or a technical expert working in partnership with the assessor |
| 5. Method of assessment | Competency may be assessed through: 5.1 Demonstration with questioning 5.2 Written Test/Examination 5.3 Third Party Report 5.4 Portfolio |
| 6. Context of assessment | 6.1 Competency may be assessed in the workplace or accredited assessment center. |

| UNIT OF COMPETENCY: | REPAIR AND MODIFY DENTURES AND APPLIANCES |
| --- | --- |
| UNIT CODE : | HCS322339 |
| UNIT DESCRIPTION: | This unit covers the knowledge and skills required to reline, rebase, repair and modify removable prostheses. Demonstration of this unit of competency requires training and/or experience in infection-control procedures, constructing models, articulating models and transferring records, and constructing simple complete removable acrylic dentures and appliances. |

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Prepare case | 1.1 Standard precautions are applied when receiving, handling and working on dentures and appliances 1.2 Dentures and appliances are decontaminated according to infection control guidelines 1.3 Prescription are read and interpreted 1.4 Fractured components are examined for defects 1.5 Fractured components are realigned, positioned and secured in their correct relationship |
| 2. Prepare model | 2.1 Model is constructed in accordance with the dentist requirements 2.2 Articulation key is constructed if required |
| 3. Repair denture or appliance | 3.1 Denture surfaces are prepared and shaped to allow for bonding with the new material 3.2 Components are relocated 3.3 Materials and processing equipment are selected and prepared 3.4 Repair material is applied using the correct technique to acquire the required shape and thickness 3.5 Material is processed in accordance with manufacturer’s instructions/specifications |
| 4. Modify denture or appliance, where required | 4.1 Impressions are decontaminated according to infection control guidelines 4.2 The model material is poured into the impression in accordance with accepted techniques 4.3 Where necessary, case is articulated and records are transferred or articulation key is constructed based on client requirement 4.4 Denture or appliance surfaces are prepared appropriately in accordance with modification to be made 4.5 Denture is relined, re-based or modified in accordance with dentist prescription |
| 5. Trim, shape and finish denture or appliance | 5.1 Denture or appliance is trimmed to relevant anatomical outline or required extension of the base 5.2 The tissue fitting surface is examined and any processing anomalies and sharp surfaces are removed 5.3 Surfaces are refined and polished in order produce required contours 5.4 Finished prosthesis are evaluated in accordance with quality standard 5.5 The appliance is decontaminated according to infection control guidelines 5.6 The appliance is placed in a sealed container for dispatch |

## RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Standard precautions | May include but are not limited to: A dedicated clean area to receive incoming cases Appropriate personal protection: disposable gloves apron eye protection mask where there is a risk of airborne transmission of infection Decontamination of dentures and appliances Disposal of all packaging materials in accordance with the waste regulations of DOH and environmental authorities (DENR) Cleaning reusable containers with detergent followed by disinfection Washing hands before leaving the work area Excluding all food and drink from the work area |
| 2. Decontamination of dentures and appliances | May include but is not limited to: Rinsing denture or appliance in clean running water Cleaning in an ultrasonic cleaner Cleaning in a mild detergent solution until all traces of blood and body fluids are removed, followed by rinsing |
| 3. Preparation of materials | May include but is not limited to: Selection of materials appropriate to the removable prosthesis that is to be repaired The correct quantities necessary for the repair |
| 4. Modifications to a prothesis | May include but is not limited to: Adding new artificial teeth Replacing existing artificial teeth Modifying the denture base Adding new metallic components Modifying existing metallic components |
| 5. Evaluation of the finished prosthesis | May include but is not limited to: 5.1 Checking the prosthesis for: 5.1.1 Compliance with the prescription 5.1.2 Quality and freedom from defects 5.1.3 Functional effectiveness of the design 5.1.4 Accurate fit to the cast |

## EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires evidence that the candidate: Complied consistently with current infection control guidelines, DOH and PDA requirements as they relate to the dental technician’s specific job role Complied consistently with occupational health and safety policies and procedures as they relate to the dental technician’s specific job role Demonstrated consistent performance over the required range of workplace situations including: consistently design and manufacture oral splints using a range of materials, for a range of jaw relations and malocclusions consistently use a range of articulators Trimmed, polished, finished and evaluated oral splints for suitability for insertion in the mouth |
| --- | --- |
| 2. Underpinning knowledge and attitudes | Knowledge on: Infection control guidelines for the decontamination of dentures and appliances that have already been inserted into the mouth Applied oral anatomy structures of the oral cavity – hard and soft palate, lateral and posterior borders of the oral cavity, tongue and floor of the mouth teeth – form and function dentition – Arrangement of the teeth, naming and coding of teeth Constructional faults that cause fractures of denture base including: incorrect positioning of upper posterior teeth absence of balanced occlusion insufficient thickness of acrylic resin in the anterior palatal region of the denture incorrect dough consistency when packing inadequate polymerisation times and temperatures rapid cooling after processing Constructional faults that cause broken teeth Methods for modifying, repairing and maintaining removable prostheses Denture base materials |

| 3. Underpinning skills | 3.1 Use safe work practices to minimize the risk of transmission of infection including: 3.1.1 consistently following the procedure for washing and drying hands 3.1.2 consistently putting into practice clean techniques 3.1.3 consistently using personal protective equipment 3.1.4 consistently limiting contamination 3.1.5 consistently maintaining clean receiving and work areas 3.2 Consistently follow occupational health and safety policies and procedures 3.3 Use literacy skills to read and follow directions, policies and procedures including: 3.3.1 occupational health and safety policies and procedures 3.3.2 infection control policies and procedures 3.3.3 material safety data sheets 3.3.4 laboratory policies and procedures 3.4 Select materials, techniques and equipment to reline, rebase, repair and modify removable prostheses 3.5 Consistently follow sequenced written instructions and manufacturer specifications for the preparation of materials |
| --- | --- |
| 4. Resource implications | The following resources MUST be provided: 4.1 A real or simulated dental laboratory environment Dental materials Dental tools and equipment Dentist requirements/prescription |
| 5. Method of assessment | Competency may be assessed through: Demonstration with questioning Observation with questioning Oral questioning/Interview |
| 6. Context of assessment | 6.1 Competency may be assessed in the workplace or in a simulated workplace setting. |

UNIT OF COMPETENCY	:	FABRICATE ORAL SPLINTS

UNIT CODE	:	HCS322332

UNIT DESCRIPTOR	:	This unit covers the knowledge, skills and attitude in fabricating oral splints.

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Fabricate splint | Materials for the fabrication of splint are selected. Splint is fabricated according to work order requirements. Splint is processed according to manufacturer’s recommendations. |
| 2. Trim, shape and finish | Splint is trimmed according to material selection. Splint is shaped according to work order and rechecked on articulator. Splint is fitted back to master model. Splint is finished appropriately according to type of material selected. |

#### RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| Materials | May include but are not limited to: Cast alloys Acrylic resins (heat activated, chemically activated, thermo-formed) Visible light-cured composite resins |
| 2. Splint to be fabricated | May include but are not limited to: Cast metal alloy cap splints Acrylic cap splints Gunning splints Wrought wire retained splints Occlusal splints (bruxing, neutral, anterior, repositioning, TMJ, orthodontic) |

# EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires evidence that the candidate: 1.1 Fabricated splint Trimmed, shaped and finished splint Followed OH&S and DOH infection control guidelines Identified dental anatomy and dental metallurgy Used surveying equipment and vacuum forming procedures |
| --- | --- |
| 2. Underpinning knowledge | Knowledge on: Articulation and occlusion Relevant dental anatomy Dental metallurgy Relevant material science for carrying out procedures Use of surveying equipment OHS and material safety data sheets Current DOH infection control guidelines Processing of wax patterns in acrylic resin Using of vacuum forming procedures Dental Laboratory Materials, splint materials, jaw relations and malocclusions of severe skeletal orthodontic type Range of articulators |
| 3. Underpinning skills | Manual dexterity Surveying and blocking out undercuts Selecting articulators Using face-bow and centric records Planning and organizing |
| 4. Resource implications | The following resources MUST be provided: A real or simulated dental laboratory environment Range of dental laboratory materials, splint materials, jaw relations and malocclusions of severe skeletal orthodontic type Range of articulators |
| 5. Method of assessment | Competency may be assessed through: Demonstration with questioning Written Test/Examination Third Party Report Portfolio |
| 6. Context of assessment | Competency may be assessed in the workplace or in a simulated workplace setting. |

UNIT OF COMPETENCY	:	FABRICATE ORTHODONTIC APPLIANCES

UNIT CODE	:	HCS322333

UNIT DESCRIPTOR          :	This unit covers the knowledge, skills and attitude in fabricating orthodontic appliances.

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Select or fabricate and assemble components and materials | Materials are selected according to design and function specified by work order. Individual components are selected and/or fabricated as appropriate to work order. |
| 2. Fabricate orthodontic appliance | Components are secured to model by appropriate means. Materials are applied and processed according to manufacturer’s instructions. |
| Finish orthodontic appliance | Appliances are trimmed, shaped and finished. |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| Components | May include but are not limited to: Screws Piston-screws Springs an sheaths made in a variety of metals and polymers |
| 2. Materials | May include but are not limited to: Polymers or metals and metal joining techniques |
| 3. Appliances | May include but are not limited to: Functional appliances Retainers of varying types bite opening retraction expansion retaining incline plane oral screen |

# EVIDENCE GUIDE

| 1. Critical aspects of competency | Assessment requires evidence that the candidate: Selected or fabricated and assembled components and materials Fabricated orthodontic appliance Finished orthodontic appliances Complied with infection control policies and procedures Followed OH&S policies |
| --- | --- |
| 2. Underpinning knowledge | Dental metallurgy Relevant material science for carrying out procedures Relevant oral anatomy Principles of Orthodontic Procedures Occlusion Wrought wire fabrication techniques Industry Codes of Practice Relevant laws as appropriate Housekeeping and maintenance procedures |
| 3. Underpinning skills | Manual dexterity Maintaining a healthy and safe working environment Performing orthodontic procedures and wrought wire fabrication techniques Maintaining personal hygiene Following correct measurements 3.6 Planning and organizing work activities |
| 4. Resource implications | The following resources MUST be provided: 4.1 A real or simulated dental laboratory environment 4.2 Relevant documentation such as: industry codes of practice state legislation as appropriate housekeeping/maintenance procedures 4.3 A qualified workplace assessor and/or a technical expert working in partnership with the assessor |
| 5. Method of assessment | Competency may be assessed through: 5.1 Demonstration with questioning 5.2 Written Test/Examination 5.3 Third party Report 5.4 Portfolio |
| 6. Context of assessment | 6.1 Competency may be assessed in the workplace or accredited assessment center. |

UNIT OF COMPETENCY	:	FABRICATE CAST METAL REMOVABLE PARTIAL DENTURE FRAMEWORK

UNIT CODE			: 	HCS322331

UNIT DESCRIPTOR	:	This unit covers the knowledge, skills and attitudes concerned with fabrication of alloy removable partial denture framework.

| ELEMENT | PERFORMANCE CRITERIA Italicized terms are elaborated in the Range of Variables |
| --- | --- |
| 1. Prepare master model | Work order is interpreted. Alloy is selected Model is surveyed. Designed is transferred to master model. Undesirable undercuts are blocked out. Clasp ledges are created. Finished lines are scribed. Tissue relief is applied. Saddle relief is applied. |
| 2. Construct refractory model | Master model is duplicated in refractory material and sprue former is constructed, as necessary. Refractory model surface is treated. |
| 3. Wax and invest removable partial denture framework | Design is transferred to refractory model. Patterns and waxes are selected. Patterns are waxed up and sprues attached. Appropriate investment and technique are selected. Investment material is prepared. Wax, patterns and sprues are treated. Investment setting time is allowed for. |
| 4. Burn out, cast and finish removable partial denture framework | Burn out and preheat cycles are selected for appropriate investment/alloy combination. Investment mould is burnt out and preheated. Alloy is melted and cast using appropriate equipment/technique. Cooling cycle is selected and applied. Denture framework is devested. Denture framework is trimmed, shaped, treated, finished and fitted to master model. Framework is treated in accordance with DOH infection control guidelines. |

RANGE OF VARIABLES

| VARIABLE | RANGE |
| --- | --- |
| 1. Alloy | May include but are not limited to: Cobalt chromium based alloys Gold alloys Metal/ceramic alloys |
| 2. Melting/casting techniques | May include but are not limited to: Flame melting Induction melting Resistance melting Centrifugal casting Gas pressure casting Vacuum casting |

EVIDENCE GUIDE

| 1. Critical aspect of competency | Assessment requires evidence that the candidate: 1.1 Selected and prepared materials for fabrication of metal/cast metal alloy 1.2 Fabricated base and registration rim 1.3 Prepared face-bow (if required) 1.4 Complied with infection control policies and procedures 1.5 Followed OH&S policies |
| --- | --- |
| 2. Underpinning knowledge | 2.1 Dental alloy 2.2 Relevant material science for carrying out procedures 2.3 Solidification 2.4 Melting and casting 2.5 Heat treatment 2.6 Surface finishing 2.7 Industry Codes of Practice 2.8 Relevant Laws as appropriate 2.9 Housekeeping Maintenance |
| 3. Underpinning skills | Manual dexterity Maintaining a healthy and safe working environment Melting and casting techniques Maintaining personal hygiene Planning and organizing work activities |
| 4. Resource implication | The following resources MUST be provided: 4.1 A real or simulated dental laboratory environment 4.2 Relevant documentation, such as: industry codes of practice state legislation as appropriate housekeeping/maintenance 4.3 Dental alloys 4.4 A qualified workplace assessor and/or a technical expert working in partnership with the assessor |
| 5. Method of assessment | Competency may be assessed through: 5.1 Demonstration with questioning 5.2 Written Test/Examination 5.3 Third Party Report 5.4 Portfolio |
| 6. Context of assessment | Assessment may be conducted in the workplace or in a simulated environment |

SECTION 3 TRAINING STANDARDS

This set of standards provides Technical and Vocational Education and Training (TVET) providers with information and other important requirements to consider when designing training programs for DENTAL LABORATORY TECHNOLOGY SERVICES (Removable Dentures/Appliances) NC II.

This includes information on curriculum design, training delivery, trainee entry requirements, tools, materials and equipment, training facilities and trainers qualification and national assessment and certification arrangements.

# 3.1	CURRICULUM DESIGN

Course Title: DENTAL LABORATORY TECHNOLOGY SERVICES

(Removable Dentures/Appliances)	NC Level: NC II

Nominal Training Hours:        1,446  Hours

Course Description:

This course is designed to enhance the knowledge, skills and attitudes of DENTAL LABORATORY TECHNOLOGY SERVICES (Removable Dentures/Appliances) in accordance with industry standards. It covers basic, common and core competencies in NC II.

BASIC COMPETENCIES

###### 18 Hours

| UNIT OF COMPETENCY | LEARNING OUTCOMES | METHODOLOGY | ASSESSMENT APPROACH |
| --- | --- | --- | --- |
| 1. Participate in workplace communication | Obtain and convey workplace information. Complete relevant work related documents. Participate in workplace meeting and discussion. | Group discussion Interaction | Demonstration Observation Interviews/ Questioning |
| 2. Work in a team environment | 2.1 Describe and identify team role and responsibility in a team. 2.2 Describe work as a team member. | Discussion Interaction | Demonstration Observation Interviews/ Questioning |
| 3. Practice career professionalism | Integrate personal objectives with organizational goals. Set and meet work priorities. Maintain professional growth and development. | Group discussion Interaction | Demonstration Observation Interviews/ Questioning |
| 4. Practice occupational health and safety | Evaluate hazard and risks. 4.2 Control hazards and risks. 4.3 Maintain occupational health and safety awareness. | Discussion Plant Tour Symposium | Observation Interviews |

COMMON COMPETENCIES

###### 46 Hours

| UNIT OF COMPETENCY | LEARNING OUTCOMES | METHODOLOGY | ASSESSMENT APPROACH |
| --- | --- | --- | --- |
| 1. Maintain an effective relationship with clients and customers | Maintain a clean and hygienic environment. Meet client/custormer requirements Build credibility with customers/clients | Lecturette Interaction | Observation and oral questioning Grid questioning Practical exercise |
| 2. Manage own performance | Plan for completion of own workload. Maintain quality performance. Build credibility with customers/clients | Lecturette Brainstroming | Observation and oral questioning Grid questioning Practical exercise |
| Follow occupational health and safety policies in dental facilities | Apply workplace procedures for hazard identification and risk control Utilize and implement strategies as directed to prevent infection in the workplace Work in a safe manner | Group Discussion Interaction | Demonstration Observation Interviews/ Questioning |
| Maintain infection control in dental practice | Monitor and maintain the cleanliness of the dental laboratory rooms Clean and maintain dental instruments and equipment Maintain hygiene and personal protection Dispose of dental laboratory waste safely Disinfect and clean impressions | Group Discussion Interaction | Demonstration Observation Interviews/ Questioning |
| Operate a personal computer | Start and shut down the computer Arrange and customize desktop display/window setting Work with files and folders (or directories) Work with user application programs Print information | Group Discussion Interaction Lecture | Demonstration Observation Interviews/ Questioning Written Exam |

CORE COMPETENCIES

1,382 Hours

| UNIT OF COMPETENCY | LEARNING OUTCOME | METHODOLOGY | ASSESSMENT APPROACH |
| --- | --- | --- | --- |
| Arrange artificial teeth for complete dentures | Prepare case for setting of teeth Arrange artificial teeth Wax up denture for try-in | Demonstration/Practical Hands-on Exercises Competency-Based Learning Materials Method | Written examination Observation Questioning |
| Set-up and wax removable partial dentures | Design acrylic removable partial denture Select and prepare materials Arrange artificial teeth Fabricate retainer units | Demonstration/Practical Hands-on Exercises Competency-Based Learning Materials Method | Written examination Observation Questioning |
| Wax, process and finish acrylic dentures and appliances | Wax case for finish consistent with work order Select and prepare materials and processing Process denture or appliance Grind dentures and appliances selectively | Demonstration/Practical Hands-on Exercises Competency-Based Learning Materials Method | Written examination Observation Questioning |
| Fabricate thermo-formed bases and appliances | Prepare model Thermo-form appliance or base Trim, shape and finish | Lecture/ Demonstration OJT | Written Examination Demonstration Observation |
| 5. Repair and modify dentures and appliances | 5.1 Prepare case 5.2 Prepare model 5.3 Repair denture or appliance 5.4 Modify denture or appliance, where required 5.5 Trim, shape and finish denture or appliance | Lecture/ Demonstration OJT | Written Examination Demonstration Observation |
| Fabricate oral splints | Fabricate splint Trim, shape and finish | Lecture/ Demonstration OJT | Written Examination Demonstration Observation |
| Fabricate orthodontic appliances | Select or fabricate and assemble components and materials Fabricate orthodontic appliance Finish orthodontic appliance | Lecture/ Demonstration OJT | Written Examination Demonstration Observation |
| Fabricate cast metal removable partial denture framework | Prepare master model Fabricate refractory model Wax and invest removable partial denture framework Burn out, cast and finish removable partial denture framework | Lecture Discussion Demo | Written examination Interview |

3.2 	TRAINING DELIVERY

The delivery of training should adhere to the design of the curriculum. Delivery should be guided by the 10 basic principles of competency-based TVET.

- The training is based on curriculum developed from the competency standards;

- Learning is modular in its structure;

- Training delivery is individualized and self-paced;

- Training is based on work that must be performed;

- Training materials are directly related to the competency standards and the curriculum modules;

- Assessment is based in the collection of evidence of the performance of work to the industry required standard;

- Training is based both on and off-the-job components;

- Allows for recognition of prior learning (RPL) or current competencies;

- Training allows for multiple entry and exit; and

- Approved training programs are nationally accredited.

The competency – based TVET system recognizes various types of delivery modes, both on and off-the-job as long as the learning is driven by the competency standards specified by the industry. The following training modalities may be adopted when designing training programs:

- The dualized mode of training delivery is preferred and recommended. Thus programs would contain both in-school and in – industry training or fieldwork components. Details can be referred to the Dual Training System (DTS) Implementing Rules and Regulations.

- Modular/self-paced learning is a competency-based training modality wherein the trainee is allowed to progress at his own pace. The trainer facilitates the training delivery

- Peer teaching/mentoring is a training modality wherein fast learners are given the opportunity to assist the slow learners

- Supervised industry training or on-the-job training is an approach in training designed to enhance the knowledge an skills of the trainee through actual experience in the workplace to acquire specific competencies prescribed in the training regulations.

- Distance learning is a formal education process in which majority of the instruction occurs when the students and instructor are not in the same place. Distance learning may employ correspondence study, or audio, video or computer technologies.

- Project-Based Instruction is an authentic instructional model or strategy in which students plan, implement and evaluate projects that have real world applicants.

3.3 	TRAINEE ENTRY REQUIREMENTS:

Trainees or students wishing to gain entry into these qualifications should possess the following requirements:

- Must be 18 years old

- Must be a holder of a Dental Laboratory Technology Services NCI or its equivalent

- Must be physically fit and mentally fit (specifically on eye and hand coordination)

- Must be able to communicate either oral or written

- Must be at least a high school graduate or its equivalent

This list does not include specific institutional requirements such as educational attainment, appropriate work experience, and others that may be required of the trainees by the school or training center delivering this TVET program.

3.4 	TOOLS, MATERIALS AND EQUIPMENT:

# DENTAL LABORATORY TECHNOLOGY SERVICES (Removable Dentures/Appliances) NC II

Recommended list of tools, equipment and materials for the training of 25 trainees for DENTAL LABORATORY TECHNOLOGY SERVICES (Removable Dentures/Appliances) NC II are as follows:

| TOOLS | EQUIPMENT | MATERIALS |
| --- | --- | --- |
| Qty. | Description | Qty. | Description | Qty. | Description |
| 25 sets | Base Former (upper, lower quadrant) | 25 pcs. 5 pcs. 1 pc. | Articulator, Non-Adjustable Articulator, Semi-Adjustable Articulator, Fully Adjustable | 25 pcs. | Abrasive (assorted |
| 25 pcs. | Plaster Knife | 1 pc. | Steamer | 25 pcs. | Masks |
| 25 pcs. | Caliper | 25 pcs. | Bunsen Burner | 25 pcs. | Laboratory Gown |
| 25 sets | Waxing Instrument Set | 1 pc. | Cleaning Unit | 1 box | Gloves |
| 5 pcs. | Chisel | 1 pc. | Die Trimming Machine | 1 kilo | Acrylic Resin |
| 25 pcs. | Duplicating Tray | 25 pcs. | Micro Motor |  | Polishing Paste and Compound (assorted) |
| 25 pcs. | Mixing Bowl | 1 pc. | Vacuum Former Machine | 1 gal. | Disinfecting Solution |
| 25 pcs. | Plaster Spatula | 2 pcs. | Vibrator |  | Dental Lab Waxes (assorted) |
| 25 pcs. | Impression Tray or Stock Tray | 2 pcs. | Lathe Machine | 25 pcs. | Adhesives |
| 100 pcs. | Mandrel | 2 pcs. | Pressure Pot | 25 kilos each | Gypsum (assorted) |

| TOOLS | EQUIPMENT | MATERIALS |
| --- | --- | --- |
| Qty. | Description | Qty. | Description | Qty. | Description |
| 25 pcs. | Plaster Cutters | 1 pc. | Vacuum Mixer | 25 pcs. each | Duplicating Materials (assorted) |
| 25 pcs. | Alcohol Torch | 2 pcs. | Cast Trimmer | 25 btls. | Alcohol |
| 25 pcs. | Guide or Template | 1 unit | Weighing Scale | 2 tanks | Laboratory Gases |
| 25 pcs. | Denture/Bantam Flask | 1 unit | Injection Moulding Machine/Flexibles and accessories | 25 sets | Artificial Teeth |
| 12 pcs. | Ortho pliers (assorted) | 1 unit | Surveyor | 25 pcs | Thermoplastic materials |
| 10pcs. | Flask carrier | 5 unit | High speed grinder | 25 pcs | Light cure materials |
| 25 pcs. | Duplicating Flask | 1 unit | Sandblaster | 1kl. | Nickel chrome/Chrome cobalt alloy |
|  |  | 1 unit | Hydraulic/Bench Presser | 5kls. | Aluminum oxide |
|  |  | 1 unit | Boil-out unit | 25 kls. | Investment materials |
|  |  | 1 unit | Casting machine/Burn-out oven and accessories | 2 sets | Orthodontic wire |
|  |  | 1 unit | Light curing machine | 1 gal | Separating medium |
|  |  | 1 unit | Electro plater | 1 btl. | Debubblelizer |
|  |  |  |  | 1 gal | Electro plating solution |

3.5   TRAINING FACILITIES

DENTAL LABORATORY TECHNOLOGY SERVICES (Removable Dentures/Appliances) NC II

The Dental Laboratory Technology Services (Removable Dentures/Appliances) Learning Facility must be of concrete structure. Based on class size of 25 students / trainees the space requirements for the teaching / learning and curriculum areas are as follows.

| TEACHING / LEARNING AREAS | SIZE IN METERS | AREA IN S. METERS | TOTAL AREA IN SQ. METERS |
| --- | --- | --- | --- |
| Student/Trainee Performance Space (S/TPS) | 5 X 4 | 20 | 20 |
| Learning Resource Center (LRC) | 3 X 5 | 15 | 15 |
| Circulation Area |  | 21 | 21 |
| Separate Restrooms for Male and Female Trainees/Students | 2 X 5 | 10 | 10 |
| Total Workshop Area |  |  | 75 sq. m. |

3.6   TRAINER QUALIFICATION (TQ II)

- Must have completed Trainer’s Training Methodology Course (TTMC) or its equivalent

- Must be a holder of a Dental Laboratory Technology Services (Removable Dentures/Appliances) NC II or its equivalent

- Must be able to communicate effectively both orally and in written form

- Must be physically, emotionally, psychologically and mentally fit

- Must have a minimum of five (5) years experience as a dental technician

  - INSTITUTIONAL ASSESSMENT

Institutional Assessment is undertaken by trainees to determine their achievement of units of competency.  A certificate of achievement is issued for each unit of competency.

SECTION 4	NATIONAL ASSESSMENT AND CERTIFICATION ARRANGEMENTS

  - To attain the National Qualification of Dental Laboratory Technology Services (Removable Dentures/Appliances) NC II, the candidate must demonstrate competence in all the units of competency listed in Section 1. Successful candidates shall be awarded a National Certificate signed by the TESDA Director General.

  - The qualification of Dental Laboratory Technology Services (Removable Dentures/Appliances) NC II may be attained through –

    - Accumulation of Certificates of Competency (COCs) in the following areas –

- Perform complete denture setting and festooning

-  Arrange artificial teeth for complete dentures

-  Set-up and wax removable partial dentures

- Process complete denture

-  Wax, process and finish acrylic dentures and appliances

-  Fabricate thermo formed bases and appliances

-  Repair and modify dentures and appliances

- Perform fabrication of oral splints

-  Fabricate oral splints

-  Fabricate orthodontic appliances

- Fabricate cast metal removable partial denture framework

    - Demonstration of competence through project-type assessment covering all required units of qualification

4.3	Assessment shall focus on the core units of competency. The basic and common   units shall be integrated or assessed concurrently with the core units.

4.4	The following are qualified to apply for assessment and certification:

4.4.1	Graduates of formal, non-formal and informal including enterprise-based training programs.

4.4.2	Experienced Workers (wage employed or self – employed)

4.5	The guidelines on assessment and certification are discussed in detail in the “Procedures Manual on Assessment and Certification” and “Guidelines on the Implementation of the Philippine TVET Qualification and Certification System (PTQCS)”.

##### COMPETENCY MAP – HEALTH CARE SECTOR (DENTAL LABORATORYTECHNOLOGY SERVICES NC II)

# BASIC COMPETENCIES

| Receive and respond to workplace communication | Work with others | Demonstrate work values | Practice basic housekeeping procedures | Participate in workplace communication | Work in team environment | Practice career professionalism |
| --- | --- | --- | --- | --- | --- | --- |
| Practice occupational health and safety procedures | Lead workplace communication | Lead small team | Develop and practice negotiation skills | Solve problems related to work activities | Use mathematical concepts and techniques | Use relevant technologies |
| Utilize specialized communication skills | Develop teams and individuals | Apply problem solving techniques in the workplace | Collect, analyze and organize information | Plan and organize work | Promote environmental protection |  |

COMMON COMPETENCIES

| Implement and monitor infection control policies and procedures | Respond effectively to difficult/challenging behavior | Apply basic first aid | Maintain high standard of patient services | Process reusable instruments and equipment in health work | Prepare for and assist with oral health care procedures | Assist with administration in dental practice |
| --- | --- | --- | --- | --- | --- | --- |
| Maintain an effective relationship with custormers and clients | Manage own performance | Follow occupational health and safety policies in dental practice | Maintain infection control in dental practice |  |  |  |

CORE COMPETENCIES

| Provide care and support to infants and toddlers | Provide care and support to children | Foster social, intellectual, creative and emotional development of children | Foster the physical development of children | Provide care and support to elderly | Provide care and support to people with special needs | Maintain a healthy and safe environment |
| --- | --- | --- | --- | --- | --- | --- |
| Respond to emergency | Clean living room, dining room, bedrooms, toilet and bathroom | Wash and iron clothes, linen and fabric | Prepare hot and cold meals | Prepare and maintain beds | Collect and maintain linen stocks at end users location | Assist in patient mobility |
| Assist in transporting patients | Assist in bio-psychosocial support care of patients | Handle waste in a health care environment | Install biomedical equipment | Perform corrective maintenance on biomedical equipment | Perform preventive maintenance on biomedical equipment | Repair biomedical equipment |
| Perform basic life support | Maintain life support equipment and resources | Implement safe access and extrication procedures in an emergency | Manage request for ambulance service | Allocate ambulance service resources | Coordinate emergency resources | Deliver basic ambulance communication skills |
| Supervise on-road operations | Manage the scene of a special event | Manage routine scene | Deliver pre-hospital patient care | Manage ambulance operations | Transport emergency patients | Transport non-emergency patients |
| Drive vehicles under operational conditions | Work within a holistic therapeutic massage framework | Perform therapeutic massage assessment | Plan the therapeutic massage treatment | Implement therapeutic massage treatment | Perform remedial therapeutic massage treatment | Work within a community development framework |
| Prepare for work in the community service industry | Support community resources | Provide primary/residential care | Support community participation | Recruit and coordinate volunteers | Respond holistically to client issues | Develop and provide health education program in the community |
| Implement health promotion and community interventions | Fabricate models | Fabricate custom impression trays | Fabricate registration bite rims | Articulate models and transfer records | Fabricate mouthguard | Arrange artificial teeth for complete dentures |
| Set up and wax removable partial dentures | Wax, process and finish acrylic dentures and appliances | Fabricate thermo formed bases and appliances | Repair and modify dentures and appliances | Fabricate oral splints | Fabricate orthodontic appliances | Fabricate cast metal removable partial denture framework |

DEFINITION OF TERMS

| ABUTMENT | - | Tooth or teeth that support a fixed or removable bridge |
| --- | --- | --- |
| ANTERIOR TEETH | - | the six upper or six lower front teeth (canines, laterals & central incisors) |
| APEX | - | the tip of the root of a tooth |
| ARCH | - | describes the alignment of the upper or lower teeth |
| ARTICULATE | - | to unite by forming a joint or joints |
| ARTICULATOR | - | a mechanical device representing the temporomandibular joints and jaw members to which casts of the mouth |
| BASE | - | cement placed under a dental restoration to insulate the pulp (nerve chamber) |
| BITE | - | relationship of the upper and lower teeth on closure (occlusion) |
| BONDING | - | adhesive dental restoration technique; a tooth-colored composite resin to repair and/or change the color or shape of a tooth |
| BRACES | - | devices used by orthodontists to gradually reposition teeth to a more favorable alignment |
| BRIDGE | - | stationary dental prosthesis (appliance) fixed to teeth adjacent to a space; replaces one or more missing teeth, cemented or bonded to supporting teeth or implants adjacent to the space |
| CANTILEVER BRIDGE | - | fixed bridge that attaches to adjacent teeth only on one end |
| CAP | - | common term for dental crown |
| CLASP | - | device that retains a removable partial denture to stationary teeth; can be metal or acrylic (matches teeth and gums) |
| CROSS BITE | - | reverse biting relationship of upper and lower teeth; aka "under bite," as in Class III malocclusuion (prognathic jaw) |
| CROWN |  | the portion of a tooth above the gum line; (2) dental restoration covering all or most of the natural tooth |
| CUSTOM IMPRESION TRAY | - | an impression tray made from a preliminary impression used to make the final impression |
| DENTAL WAXES | - | wax compounds used in dentistry are mixtures of individual waxes of materials or synthetic origin. As with all other dental materials, each component n the mixture is selected to given specific properties best suited for the procedure being performed |
| DENTURE | - | removable (partial or complete) set of artificial teeth |

| DIASTEMA | - | open space between teeth |
| --- | --- | --- |
| DISTAL | - | farthest from any point of reference |
| DUPLICATE | - | identically copied from an original |
| FABRICATE | - | to make; create; to construct by combining or assembling |
| FACE-BOW FORK | - | a device used to attach the face-bow to an occlusion rim for a face-bow transfer |
| FACING | - | tooth colored overlay on the visible portion of a crown; may be acrylic, composite or porcelain |
| FILLING | - | restoration of lost tooth structure with metal, porcelain or resin materials |
| FULL DENTURE | - | removable dental prosthesis (appliance) replacing all upper or lower teeth |
| FULL MOUTH RECONSTRUCTION | - | extensive restorations of natural teeth with crowns and or fixed bridges to manage restorative and bite problems. |
| GYPSUM | - | is the common name for calcium sulfate dehydrate. Gypsum products are more frequently used on laboratory procedures than any other single group of compounds. Controlled variations in the manufacturing of gypsum products yield a group of dental materials including plaster, artificial stone (hydrosol), disc stone, casting investment and soldering investment |
| IMPRESSION | - | mold made of the teeth and soft tissues |
| INLAY | - | indirect – filling made by a dental laboratory that is cemented or bonded into place, direct – placement of dental composite resin, or porcelain restoration at chairside |
| INTEROCCLUSAL | - | space between upper and lower teeth |
| JACKET | - | crown for a front tooth, usually made of porcelain |
| LAMINATE | - | thin plastic or porcelain veneer produced in a dental laboratory and then bonded to a tooth |
| MALOCCLUSION | - | “bad bite” or misalignment of the upper and lower teeth |
| MARGIN | - | interface between a restoration and tooth structure |
| MARYLAND BRIDGE | - | a bridge that is bonded to the back of the adjacent teeth; requires minimum tooth reduction |
| MODEL | - | a material used extensively for making impressions. It contains shellac, talc, glycerin, wax, tallow and palm oil |
| OVERBITE | - | vertical overlap of the front teeth; deep bite |
| PARTIAL DENTURE | - | removable dental prosthesis (appliance) replacing one or more natural teeth |
| PONTIC | - | replacement tooth mounted on a fixed or removal appliance |
| PORCELAIN CROWN | - | all porcelain restoration covering the coronal portion of tooth (above the gum line) |

| PORCELAIN FUSED TO METAL (PFM) CROWN | - | restoration with metal coping (for strength) covered by porcelain (for appearance) |
| --- | --- | --- |
| PORCELAIN INLAY OR ONLAY | - | tooth-colored restoration made of porcelain, cemented or bonded in place |
| PORCELAIN VENEERS | - | a thin layer of porcelain, fabricated by a laboratory) bonded to a natural tooth to replace lost tooth structure, close spaces, straighten teeth or change color and/or shape |
| PROSTHESIS |  | an artificial appliance for the replacement for a body part, tooth or teeth |
| SOLDERING INVESTMENT | - | a soldering investment is similar in composition to a casting investment that has a |
| SPLINT | - | connection of two or more teeth so they function as a stronger single structure |

ACKNOWLEDGEMENT

The Technical Education and Skills Development Authority (TESDA) wishes to extend thanks and appreciation to the many representatives of business, industry, academe and government agencies, non-government organizations including professional associations who donated their time and expertise to the development and validation of this Training Regulations.

DR. ARNON L. RIVERA

President

National Association of Dental/Prosthesis Laboratory Inc.

#96 Hoover Street, San Juan, Metro Manila

MS. WILMA E. REDLER, C.D.T.

VP Technical and Lecturer

Skytech International Dental Laboratory

Ramon Magsaysay, Sta. Mesa, Manila

MR. KOJI MIYATA, C.D.T.

Lecturer/Teacher/Maxillo Facial Technician

Emilio Aguinaldo College

1112-1117 San Marcelino St., Ermita, Manila

MR. CHRISTOPHER P. LOZANO

Operations Manager

Pearl of the Orient Dental Studio, Inc.

#770 Aurora Blvd., Cubao, Quezon City

MR. ROMEO G. GAJO, JR.

Vice President for Administration/Marketing Manager

Pearl of the Orient Dental Studio, Inc.

#770 Aurora Blvd., Cubao, Quezon City

MR. RUVENSTEIN M. LADERA

Marketing Director for Dental Laboratory

International Dental Inc. (INTERDENT, Inc.)

#5307 Gilbarco Bldg., South Superhighway, Makati City

MS. BUENA V. LADERA

Branch Manager

International Dental Inc. (INTERDENT, Inc.)

#5307 Gilbarco Bldg., South Superhighway, Makati City

MR. GIL CAMPANA

Owner

GC Dental Laboratory

96 Hoover St., cor. Araullo St., San Juan, Metro Manila

Members of the TESDA Board

TESDA EXCOM

The Management and Staff of the TESDA Secretariat

# List of Published Training Regulations

- Animal Production NC II

- Aquaculture NC II

- Automotive Body Painting/Finishing NC II

- Automotive Body Repair NC II

- Automotive Engine Rebuilding NC II

- Automotive Servicing NC II

- Bartending NC II

- Building Wiring Installation NC II

- Caregiving NC II

- Carpentry NC II

- Commercial Cooking NC II

- Computer Hardware Servicing NC II

- Deck Seafaring NC II

- Dental Laboratory Technology Services NC I

- Dental Laboratory Technology Services (Removable Dentures/Appliances) NC II

- Dental Laboratory Technology Services (Fixed Dentures/Restorations) NC II

- Dressmaking NC II

- Driving NC II

- Engine Seafaring NC II

- Food and Beverage Services NC II

- Footwear Making NC II

- Heavy Equipment Operation NC II

- Horticulture NC II

- Household Services NC II

- Housekeeping NC II

- Health Care Services NC II

- Machining NC II

- Masonry NC II

- Motorcycle and Small Engine Servicing NC II

- Performing Arts (Dance) NC II

- Performing Arts (Song) NC II

- Plumbing NC II

- Pyrotechnics NC II

- RAC Servicing NC I

- RAC Servicing NC II

- Security Services NC II

- Tailoring NC II

- Tour Guiding Services NC II

- Transport RAC Servicing NC II

- Travel Services NC II

- Welding NC II

These materials are available in both printed and electronic copies.

For more information please contact:

Technical Education and Skills Development Authority (TESDA)

Telephone Nos.: 893-8303, 893-2139; 817-4076 to 82 loc. 615 to 617

or visit our website: www.tesda.gov.ph