| - COMPETENCY-BASED CURRICULUM |  |
| --- | --- |

| Sector : ELECTRICAL SECTOR |  |
| --- | --- |
| Qualification : ELECTRICAL INSTALLATION AND MAINTENANCE NC II |  |
|  | Technical Education and Skills Development Authority East Service Road, South Superhighway, Taguig City, Metro Manila |

TABLE OF CONTENTS

Page

A.	Course Design	1-7

B.	Modules of Instruction	8-61

- BASIC COMPETENCIES	8

- Participating in workplace communication	9-12

- Working in a team environment	13-15

- Practicing career professionalism	16-19

- Practicing occupational health and safety procedures	20-24

- COMMON COMPETENCIES	25

- Preparing construction materials and tools	26-29

- Observing procedures, specifications and manuals of instructions	30-33

- Interpret technical drawings and plans	34-36

- Performing mensuration and calculation	37-39

- Maintaining tools and equipment	40-43

- CORE COMPETENCIES	44

- Prepare electrical power and hydraulic tools	45-47

- Perform roughing-in activities for communication and distribution	48-52

- Install wiring devices for floor and ground fault current interrupting outlets	53-55

- Install electrical protection system for lighting and grounding	56-58

- Install electrical lighting systems on auxiliary outlets and lighting fixtures	59-61

COURSE DESIGN

COURSE TITLE	:	ELECTRICAL INSTALLATION AND MAINTENANCE NC II

NOMINAL DURATION	:	402 hours

- COURSE DESCRIPTION:

This course covers knowledge, skills and attitude in electrical installation. It deals with good house keeping and safety,

- ENTRY REQUIREMENTS:

- An individual who wishes to undergo this course must possess the following:

- Good moral character

- Able to communicate; and

- Physically and mentally fit

COURSE STRUCTURE:

# BASIC COMPETENCIES

(18 Hours)

| UNIT OF COMPETENCY | ## MODULE TITLE | LEARNING OUTCOMES | NOMINAL DURATION |
| --- | --- | --- | --- |
| 1. Participate in workplace communication | 1.1 Participating in workplace communication | - Obtain and convey workplace information - Complete relevant work related documents - Participate in workplace meeting and discussion | 6 hours |
| 2. Work in a team environment | 2.1 Working in a team environment | - Describe and identify team role and responsibility in a team - Describe work as a team member | 4 hours |
| 3. Practice career professionalism | 3.1 Practice career professionalism | - Integrate personal objectives with organizational goals - Set and meet work priorities - Maintain professional growth and development. | 4 hours |
| 4. Practice occupational health and safety | 4.1 Practice occupational health and safety | - Identify hazards and risks - Evaluate hazard and risks - Control hazards and risks - Maintain occupational health and safety awareness | 4 hours |

# COMMON COMPETENCIES

(24 Hours)

| UNIT OF COMPETENCY | MODULE TITLE | LEARNING OUTCOMES | NOMINAL DURATION |
| --- | --- | --- | --- |
| - Prepare materials and tools | 1.1. Preparing materials and tools | - Identify materials and tools applicable to a specific job. - Request appropriate materials and tools. - Receive and inspect materials. | 8 hours |
| - Observe procedures, specifications and manuals of instructions | 2.1 Observing procedures, specifications and manuals of instructions | - Identify, access, and interpret specification/ manuals - Apply information in manual - Store manuals | 2 hours |
| - Interpret technical drawing | 3.1. Interpreting technical drawing | - Analyze signs, symbols and data - Interpret technical drawing and plans | 4 hours |
| - Perform mensurations and calculation | 4.1 Performing mensurations and calculation | - Select measuring instruments - Carry out measurements and calculations | 6 hours |
| - Maintain tools and equipment | 5.1. Maintaining tools and equipment | - Check condition of tools and equipment - Perform basic preventive maintenance - Store tools and equipment | 4 hours |

# CORE COMPETENCIES

(360 Hours)

| UNIT OF COMPETENCY | MODULE TITLE | LEARNING OUTCOMES | NOMINAL DURATION |
| --- | --- | --- | --- |
| - Prepare electrical power and hydraulic tools. | - Preparing electrical power and hydraulic tools. | - Select electrical power and hydraulic tools - Maintain electrical power and hydraulic tools | 40 hours |
| - Perform roughing-in activities for communication and distribution | - Perform roughing-in activities for communication and distribution | - Install electrical metallic conduits - Install wireways and cable trays - Install telephone terminal cabinet - Install cable bridge | 90 hours |
| - Install wiring devices for floor and ground fault current interrupting outlets | - Installing wiring devices for floor and ground fault current interrupting outlets | - Select wiring devices - Install wiring devices | 30 hours |
| - Install electrical protection system for lighting and grounding | - Installing electrical protection system for lighting and grounding | - Plan and prepare work - Install electrical protection system | 30 hours |
| - Install electrical lighting systems on auxiliary outlets and lighting fixtures | - Installing electrical lighting systems on auxiliary outlets and lighting fixtures | - Plan and prepare work - Install lighting fixture | 60 hours |

- ASSESSMENT METHODS:

Upon completion of each module, the trainee will be assessed through the following methods:

- Written examination

- Performance examination

- Interview

- Direct observation

- Oral examination

COURSE DELIVERY:

The program will build on the present knowledge, skills and attitude of the participants; thus the conduct will be highly participative. The strategies will focus on interactive, self-directed and reflective approaches. Lecture-discussion, demonstration method and hands on workshop will be included in the conduct of the program.

- RESOURCES:

| LEARNING ELEMENTS/HANDOUTS - Electrical Safety - Diagrams - Measuring resistance using VOM - Measuring voltage using VOM - Bending metallic conduit - Installing rigid metal conduit - Installing rigid non-metallic conduit - Installing flexible metal conduit - Installing electrical moldings - Identifying and selecting electrical materials and tools - Installing electrical wiring - Installing wiring devices - Installing circuit protection system - Splicing and joining electrical conductor - Performing mensurations and calculations |  |
| --- | --- |
| VIDEO PROGRAMS - Safety Practices in Workshop - Electrical Safety - Electrical installation |  |
| TRANSPARENCY - Electrical Safety - Diagrams - Meter scale reading - Measuring Voltage using VOM - Parts of multi-tester |  |
| BOOKS Alerich, Walter. Electrical Construction Wiring, Illinois: American Technical Publisher; 1971, pp. Anderson, Edwin, Andels. Wiring Diagram for Light and Power, Bombay: D.B. Taraporevala sons and Co.; 1969. Clidero R and Sharpe K. Construction Wiring, New York: Delmar Publishing Inc; 1982, pp. Croft T and Summers W. American Electricians Handbook, New York: McGraw-Hill Book Co. Inc; 1927, pp. Handley, William, Industrial Safety Handbook, McGraw Hill Book Co.; 1977, pp. Hubert, Charles I. Preventive maintenance of Electrical Equipment-2nd Ed., New York: McGraw Hill Book Co; 1974, pp. Institute of Integrated Electrical Engineers, Inc. Philippine Electrical Code, Part I, 2002, # 41, Monte de Piedad St. Cubao, Quezon City, Philippines: Bookman Inc; June 2002. Institute of Integrated Electrical Engineers, Inc. Philippine Electrical Code, Part II, 2002, # 41, Monte de Piedad St. Cubao, Quezon City, Philippines: Bookman Inc; June 2002. Jacobowitz, Henry. Electricity Made Simple, New York: Doubleday and Company; 1967, pp Lister, Eugene. Electric Circuits and Machines, The Institute of Electrical and Electronics Engineers Inc; McGraw Hill Book Co; 1975 Lunt, Joseph R. Everyday Electricity, New York: The Macmillan Co; 1934, pp. Mulin R.C., Smith R.L. Electrical Wiring-Commercial, Six Ed., New York: Delmar’s Publishing Inc; 1984, pp. Vankelburg, Van; Nooger and Neville Inc. Electricity, New Jersey: Hayden Book Co. Inc; 1978, pp |  |
| EQUIPMENT - Wiring booth - Pipe vise - Electric drill - Fiber glass ladders - PPE - Annunciator - Intercom system - Safety goggles - Rubber gloves - Safety shoes |  |
| TOOLS - Electrician’s holster - Linesman’s pliers - Long nose pliers - Diagonal cutting pliers - Pipe wrench - Pipe cutter - Pipe reamer - Pipe bender - Gimlet - Hacksaw - Claw hammer - Ball peen hammer - Bar level | - Plumb bob - Try square - Steel rule - Set of screw drivers - Fish tape reel - Measuring tools - Insulation resistance tester - Multi-tester - Frequency meter - Voltmeter - Ohmmeter - Wattmeter - Kilowatthour meter - American wire gauge |
| MATERIALS - Boxes and fittings - Junction box - Utility box - Pull box - Condulets - PVC adapters - EMT adapters - Lock nut and bushing - C-clamps - Electrical conductors - Solid wire 2.0 mm2 - Solid wire 3.5 mm2 - Solid wire 2.6 mm2 | - Annunciator wire - Intercom cables - Electrical metallic tubing - Rigid steel conduit - Intermediate metal conduit - PVC pipe - PVC molding - Wood molding - Metal molding - Fastening devices - Mica tube - Circuit breakers and fuses - Bells - Chimes - Buzzers |

- QUALIFICATION OF INSTRUCTORS/TRAINERS:

The instructor/trainer who will handle this course must posses the following qualification:

- Have undergone training on Training Methodology II (TM II)

- Be a holder of at least National Certificate Level III, Building Wiring Installation or its equivalent

- Be of good moral character

- Be a holder of CSC Professional eligibility (for government position) or appropriate professional license issued by the PRC

- Be computer literate

- Be physically and mentally fit

- *Have 1 year relevant industry experience and/or teaching experience

Optional: Only when required by the hiring institution

Reference: TESDA Board Resolution No: 2004-03

MODULES OF INSTRUCTION

BASIC COMPETENCIES

ELECTRICAL INSTALLATION AND MAINTENANCE NC II

UNIT OF COMPETENCY	:	PARTICIPATE IN WORKPLACE COMMUNICATION

MODULE TITLE	:	PARTICIPATING IN WORKPLACE COMMUNICATION

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes required to obtain, interpret and convey information in response to workplace requirements.

NOMINAL DURATION	:	6 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/ trainees will be able to:

# LO1.	Obtain and convey workplace information

LO2.	Complete relevant work related documents.

LO3.	Participate in workplace meeting and discussion.

LO1.	OBTAIN AND CONVEY WORKPLACE INFORMATION

ASSESSMENT CRITERIA:

- Specific relevant information is accessed from appropriate sources.

- Effective questioning, active listening and speaking skills are used to gather and convey information.

- Appropriate medium is used to transfer information and ideas.

- Appropriate non-verbal communication is used.

- Appropriate lines of communication with superiors and colleagues are identified and followed.

- Defined workplace procedures for the location and storage of information are used.

- Personal interaction is carried out clearly and concisely.

CONTENTS:

- Parts of speech

- Sentence construction

- Effective communication

CONDITIONS:

The students/ trainees must be provided with the following:

- Writing materials (pen & paper)

- References (books)

- Manuals

METHODOLOGIES:

- Group discussion

- Interaction

- Lecture

- Reportorial

ASSESSMENT METHODS:

- Written test

- Practical/performance test

- Interview

L02.	COMPLETE RELEVANT WORK RELATED DOCUMENTS

ASSESSMENT CRTERIA:

- Ranges of forms relating to conditions of employment are completed accurately and legibly.

- Workplace data is recorded on standard workplace forms and documents.

- Basic mathematical process is used for routine calculations.

- Errors in recording information on forms and documents are identified and rectified.

- Reporting requirements to superior are completed according to enterprise guidelines.

CONTENTS:

- Basic mathematics

- Technical writing

- Types of forms

CONDITIONS:

The students/trainees must be provided with the following:

- Paper

- Pencils/ball pen

- Reference books

- Manuals

METHODOLOGIES:

- Group discussion

- Interaction

- Lecture

ASSESSMENT METHODS:

- Written test

- Practical/performance test

- Interview

LO3.	PARTICIPATE IN WORKPLACE MEETINGS AND DISCUSSIONS

ASSESSMENT CRITERIA:

- Team meetings are attended on time.

- Own opinions are clearly expressed and those of others are listened to without interruption.

- Meeting inputs are consistent with the meeting purpose and established protocols.

- Workplace interaction is conducted in a courteous manner appropriate to cultural background and authority in the enterprise procedures.

- Questions about simple routine workplace procedures and matters concerning conditions of employment are asked and responded.

- Meeting outcomes are interpreted and implemented.

CONTENTS:

- Sentence construction

- Technical writing

- Recording information

CONDITIONS:

The students/trainees must be provided with the following:

- Paper

- Pencils/ball pen

- References (books)

- Manuals

METHODOLOGIES:

- Group discussions

- Interaction

- Lecture

ASSESSMENT METHODS:

- Written test

- Practical/performance test

- Interview

UNIT OF COMPETENCY	:	WORK IN A TEAM ENVIRONMENT

MODULE TITLE	:	WORKING IN A TEAM ENVIRONMENT

MODULE DESCRIPTOR	:	This module covers the knowledge, skills, and attitudes required to relate in a work based environment.

NOMINAL DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the students/ trainees will be able to:

LO1.	Describe and identify team role and responsibility in a team.

LO2.	Describe work as a team.

LO1.	DESCRIBE AND IDENTIFY TEAM ROLE AND RESPONSIBILITY IN A TEAM

ASSESSMENT CRITERIA:

- Role and objective of the team is identified.

- Team parameters, relationships and responsibilities are identified.

- Individual role and responsibilities within team environment are identified.

- Roles and responsibilities of other team members are identified and recognized.

- Reporting relationships within team and external to team are identified.

CONTENTS:

- Team role.

- Relationship and responsibilities

- Role and responsibilities with team environment.

- Relationship within a team.

CONDITIONS:

The students/ trainees must be provided with the following:

- Standard operating procedure (SOP) of workplace

- Job procedures

- Client/supplier instructions

- Quality standards

- Organizational or external personnel

METHODOLOGIES:

- Group discussion/interaction

- Case studies

- Simulation

ASSESSMENT METHODS:

- Written test

- Observation

- Simulation

- Role playing

LO2.	DESCRIBE WORK AS A TEAM MEMBER

ASSESSMENT CRITERIA:

- Appropriate forms of communication and interactions are undertaken.

- Appropriate contributions to complement team activities and objectives were made.

- Reporting using standard operating procedures followed.

- Development of team plans are contributed based from team’s role.

CONTENTS:

- Communication process

- Team structure/team roles

- Group planning and decision making

CONDITIONS:

The students/trainees must be provided with the following:

- SOP of workplace

- Job procedures

- Organization or external personnel

METHODOLOGIES:

- Group discussion/interaction

- Case studies

- Simulation

ASSESSMENT METHODS:

- Observation of work activities

- Observation through simulation or role play

- Case studies and scenarios.

UNIT OF COMPETENCY	:	PRACTICE CAREER PROFESSIONALISM

MODULE TITLE	: 	PRACTICING CAREER PROFESSIONALISM

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes in promoting career growth and advancement, specifically to integrate personal objectives with organizational goals set and meet work priorities and maintain professional growth and development.

NOMINAL DURATION	:	 4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Integrate personal objectives with organizational goals

LO2.	Set and meet work priorities

LO3.	Maintain professional growth and development

LO1.	INTEGRATE PERSONAL OBJECTIVES WITH ORGANIZATIONAL GOALS

ASSESSMENT CRITERIA:

- Personal growth and work plans towards improving the qualifications set for professionalism are evident.

- Intra and interpersonal relationship in the course of managing oneself based on performance evaluation is maintained.

- Commitment to the organization and its goal is demonstrated in the performance of duties.

- Practice of appropriate personal hygiene is observed.

- Job targets within key result areas are attained.

CONTENTS:

- Personal development-social aspects: intra and interpersonal development

- Organizational goals

- Personal hygiene and practices

- Code of ethics

CONDITIONS:

The students/ trainees must be provided with the following:

- Workplace

- Code of ethics

- Organizational goals

- Hand outs and Personal development-social aspects

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive -lecture

- Simulation

- Demonstration

- Self paced instruction

ASSESSMENT METHODS:

- Role play

- Interview

- Written examination

LO2.	SET AND MEET WORK PRIORITIES

ASSESSMENT CRITERIA:

- Competing demands to achieve personal, team and organizational goals and objectives are prioritized.

- Resources are utilized efficiently and effectively to manage work priorities and commitments.

- Practices and economic use and maintenance of equipment and facilities are followed as per established procedures.

- Job targets within key result areas are attained.

CONTENTS:

- Organizational Key Result Areas (KRA)

- Work values and ethical standards

- Company policies on the use and maintenance of equipment

CONDITIONS:

The students/ trainees must be provided with the following

- Hand outs on

- Organizational KRA

- Work values and ethics

- Company policies and standards

- Sample job targets

- Learning guides

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive lecture

- Group discussion

- Structured activity

- Demonstration

ASSESSMENT METHODS:

- Role play

- Interview

- Written examination

LO3.	MAINTAIN PROFESSIONAL GROWTH AND DEVELOPMENT

ASSESSMENT CRITERIA:

- Training and career opportunities relevant to the job requirements are identified and availed.

- Licenses and/or certifications according to the requirements of the qualifications are acquired and maintained

- Fundamental rights at work including gender sensitivity are manifested/ observed

- Training and career opportunities based on the requirements of industry are completed and updated.

CONTENTS:

- Qualification standards

- Gender and development (GAD) sensitivity

- Professionalism in the workplace

- List of professional licenses

CONDITIONS:

## The students/trainees must be provided with the following

- Quality standards

- GAD handouts

- CD’s, VHS tapes on professionalism in the workplace

- Professional licenses samples

METHODOLOGIES:

- Interactive lecture

- Film viewing

- Role play/simulation

- Group discussion

ASSESSMENT METHODS:

- Demonstration

- Interview

- Written examination

- Portfolio assessment

UNIT OF COMPETENCY	:	PRACTICE OCCUPATIONAL HEALTH AND SAFETY PROCEDURES

MODULE TITLE	:	PRACTICING OCCUPATIONAL HEALTH AND SAFETY PROCEDURES

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes required to comply with the regulatory and organizational requirements for occupational health and safety such as identifying, evaluating and maintaining occupational health and safety (OHS) awareness.

NOMINAL DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Identity hazards and risks

LO2.	Evaluate hazards and risks

LO3.	Control hazards and risks

LO4.	Maintain occupational health and safety awareness

LO1.	IDENTIFY HAZARDS AND RISKS

ASSESSMENT CRITERIA:

- Workplace hazards and risks are identified and clearly explained.

- Hazards/risks and its corresponding indicators are identified in with the company procedures.

- Contingency measures are recognized and established in accordance with organizational procedures.

CONTENTS:

- Hazards and risks identification and control

- Organizational safety and health protocol

- Threshold limit value (TLV)

- OHS indicators

CONDITIONS:

The students/ trainees must be provided with the following:

- Workplace

- Personal protective equipment (PPE)

- Learning guides

- Hand-outs

- Organizational safety and health protocol

- OHS indicators

- Threshold limit value

- Hazards/risk identification and control

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive -lecture

- Simulation

- Symposium

- Group dynamics

ASSESSMENT METHODS:

- Situation analysis

- Interview

- Practical examination

- Written examination

# LO2.	EVALUATE HAZARDS AND RISKS

ASSESSMENT CRITERIA:

- Terms of maximum tolerable limits are identified based on threshold limit values (TLV)

- Effects of hazards are determined.

- OHS issues and concerns are identified in accordance with workplace requirements and relevant workplace OHS legislation.

CONTENTS:

- TLV table

- Philippine OHS standards

- Effects of hazards in the workplace

- Ergonomics

- ECC Regulations

CONDITIONS:

## The students/trainees must be provided with the following:

- Hand outs on

- Philippine OHS standards

- Effects of hazards in the workplace

- Ergonomics

- ECC regulations

- TLV table

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive lecture

- Situation analysis

- Symposium

- Film viewing

- Group dynamics

ASSESSMENT METHODS:

- Interview

- Written examination

- Simulation

LO3.	CONTROL HAZARDS AND RISKS

ASSESSMENT CRITERIA:

- OHS procedures for controlling hazards and risk are strictly followed.

- Procedures in dealing with workplace accidents, fire and emergencies are followed in accordance with the organization’s OHS policies.

- Personal protective equipment (PPE) is correctly used in accordance with organization’s OHS procedures and practices.

- Procedures in providing appropriate assistance in the event of workplace emergencies are identified in line with the established organizational protocol.

CONTENTS:

- Safety regulations

- Clean air act

- Electrical and fire safety code

- Waste management

- Disaster preparedness and management

- Contingency measures and procedures

CONDITIONS:

The students/trainees must be provided with the following:

- Hand outs on

- Safety Regulations

- Clean air act

- Electrical and fire safety code

- Waste management

- Disaster preparedness and management

- Contingency measures and procedures

- OHS personal records

- PPE

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive lecture

- Symposium

- Film viewing

- Group dynamics

- Self-paced instruction

ASSESSMENT METHODS:

- Written examination

- Interview

- Case/situation analysis

- Simulation

LO4.	MAINTAIN OCCUPATIONAL HEALTH AND SAFETY AWARENESS

ASSESSMENT CRITERIA:

- Procedures in emergency related drill are strictly followed in line with the established organization guidelines and procedures.

- OHS personal records are filled up in accordance with workplace requirements.

- PPE are maintained in line with organization guidelines and procedures.

CONTENTS:

- Operational health and safety procedure, practices and regulations

- Emergency-related drills and training

CONDITIONS:

The students/trainees must be provided with the following

- Workplace

- PPE

- OHS personal records

- CD’s, VHS tapes, transparencies

- Health record

METHODOLOGIES:

- Interactive lecture

- Simulation

- Symposium

- Film viewing

- Group dynamics

ASSESSMENT METHODS:

- Demonstration

- Interview

- Written examination

- Portfolio assessment

MODULES OF INSTRUCTION

COMMON COMPETENCIES

ELECTRICAL INSTALLATION AND MAINTENANCE NC II

UNIT OF COMPETENCY	:	PREPARE MATERIALS AND TOOLS

MODULE TITLE	:	PREPARING MATERIALS AND TOOLS

MODULE DESCRIPTION	:	This unit covers the knowledge, skills and attitudes on identifying, requesting and receiving materials and tools based on the required performance standards.

NOMINAL DURATION	:	8 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Identify materials and tools applicable to a specific job.

LO2.	Request appropriate materials and tools.

LO3.	Receive and inspect materials.

LO1.	IDENTIFY MATERIALS AND TOOLS APPLICABLE TO A SPECIFIC JOB

ASSESSMENT CRITERIA:

- Tools and materials are identified as per job requirements

- Tools are classified according to its function as per job requirements.

- Materials are classified according to its uses to a specific project.

- Tools and materials are selected as per job requirement.

CONTENT:

- Types and uses of materials and tools

- Description of materials and tools

- Listing of materials as per company standards.

CONDITIONS:

Students/trainees must be provided with the following:

- Workplace location

- Materials relevant to the unit of competency

- Materials and tools

- Masonry

- Materials and tools different brand names, size, capacity and kind of application.

- Handouts/Instructional Materials

METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

- PowerPoint presentation

ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO2.	REQUEST APPROPRIATE MATERIALS AND TOOLS

ASSESSMENT CRITERIA:

- Needed materials and tools listed as per job requirement.

- Materials and tools are requested according to the list prepared.

- Requests are done as per company  standard operating procedures (SOP)

- Materials and tools are substituted and provided unavailable without sacrificing cost and quality of work.

CONTENT:

- Different forms

- Job order slip

- Tools and materials requisition slip

- Borrower’s Slip

- Requisition procedures

CONDITIONS:

Students/trainees must be provided with the following:

- Sample of company standard in tools and materials requisition.

- Job order form

- Requisition slip

- Borrowers slip

- Handouts/Instructional Materials

METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO3.	RECEIVE AND INSPECT MATERIALS

ASSESSMENT CRITERIA

- Received and inspected materials and tools as per quantity and specification based on requisition.

- Tools and materials are checked for damages and manufacturing defects.

- Materials and tools received are handled with appropriate safety devices.

- Materials and tools are set aside to appropriate location nearest to the workplace.

CONTENT:

- Procedures in receiving tools and materials

- Proper inspection of tools and materials received.

- Proper handling of tools and materials.

CONDITIONS:

Students/trainees must be provided with the following:

- Sample of company standard in tools and materials in receiving materials.

- Inspection Checklist

- Materials Handling Safety Devices

- Inventory Form Handouts/Instructional Materials

METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

UNIT OF COMPETENCY	:	OBSERVE PROCEDURES, SPECIFICATIONS AND MANUALS OF INSTRUCTIONS

MODULE TITLE	:	OBSERVE PROCEDURES, SPECIFICATIONS AND MANUALS OF INSTRUCTIONS

MODULE DESCRIPTION	:	This unit covers the knowledge, skills and attitudes on identifying, interpreting, applying services to specifications and manuals and storing manuals.

NOMINAL DURATION	:	2 hours

SUMMARY OF LEARNING OUTCOMES	:

Upon completion of the module the trainees/student should be able to:

LO1.	Identify, access, and interpret specification/manuals.

LO2.	Apply information in manual.

LO3.	Store manuals.

LO 1.	IDENTIFY, ACCESS, AND INTERPRET SPECIFICATION/MANUALS

ASSESSMENT CRITERIA:

- Manuals are identified and accessed as per job requirements.

- Version and date of manual are checked to ensure that correct specification and procedures are identified.

- Relevant sections, chapters of specifications/manuals are located in relation to the work to be conducted.

- Information and procedure in the manual are interpreted in accordance with industry practices.

CONTENTS:

- Types of manuals  used in construction sector

- Different types of symbols.

- Accessing information and data.

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Manuals/catalogues relative to construction sector.

- Instructional materials

METHODOLOGIES:

- Classroom discussions/lecture

- Self-paced

ASSESSMENT METHODS:

- Practical exam

- Oral exam

- Written test/questioning

LO2.	APPLY INFORMATION IN MANUAL

ASSESSMENT CRITERIA:

- Work steps are correctly identified in accordance with manufacturer’s specification.

- Manual data are applied according to the given task.

- Adjustments are interpreted in accordance with information contained on the manual or specifications.

CONTENT:

- Manual/specification application.

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Manuals

- Workplace Location

- Measuring Instruments

- Engineer’s transit

- Tape Measure

- Feeler gauge

- Instructional materials

METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

ASSESSMENT METHODS:

- Practical exam

- Oral exam

- Written test/questioning

LO3.	STORE MANUAL

ASSESSMENT CRITERION:

- Manual or specification is stored appropriately to prevent damage, ready access and updating of information when required in accordance with company requirements.

CONTENT:

- Manual Handling

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion.

- Manuals

- Store Rooms/Library

- Instructional materials

METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

ASSESSMENT METHODS:

- Practical exam

- Direct observation

- Written test/questioning.

UNIT OF COMPETENCY	:	INTERPRET TECHNICAL DRAWINGS AND PLANS

MODULE TITLE	:	INTERPRETING TECHNICAL DRAWINGS AND PLANS

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on analyzing and interpreting symbols, data and work plan based on the required performance standard.

NOMINAL DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES	:

Upon completion of the module the trainees/student should be able to:

LO1.	Analyze signs, symbols and data.

LO2.	Interpret technical drawings and plans

LO1.	ANALYZE SIGNS, SYMBOLS AND DATA

ASSESSMENT CRITERIA:

- Sign, symbols, and data are identified according to job specifications.

- Sign, symbols and data are determined according to classification or as appropriate in drawing.

CONTENTS:

- Drawing symbols and signs

- Trade mathematics

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Measuring Instruments

- Blueprints of plan

- Electrical

- Mechanical

- Instructional materials

METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

ASSESSMENT METHODS:

- Practical exam

- Direct observation

- Written test/questioning

LO2.	INTERPRET TECHNICAL DRAWINGS AND PLANS

ASSESSMENT CRITERIA:

- Necessary tools, materials and equipment are identified according to the plan.

- Components, assemblies or object are recognized as per job requirement.

- Dimensions and specification are identified according to job requirements.

CONTENTS:

- Basic Technical drawing

- Technical plans and Schematic Diagram

- Symbols and Abbreviations

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Measuring Instruments

- Blueprints of plan

- Electrical

- Mechanical

- Instructional materials

METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

ASSESSMENT METHODS:

- Practical exam

- Direct observation

- Written test/questioning

UNIT OF COMPETENCY	:	PERFORM MENSURATIONS AND CALCULATIONS

MODULE TITLE	:	PERFORMING MENSURATIONS AND CALCULATIONS

MODULE DESCRIPTION	:	This unit covers the knowledge, skills and attitudes on identifying, and measuring objects based on the required performance standards.

NOMINAL DURATION	:	6 hours

SUMMARY OF LEARNING OUTCOMES	:

Upon completion of the module the trainees/student should be able to:

LO1.	Select measuring instruments.

LO2.	Carry out measurements and calculations.

LO1.	SELECT MEASURING INSTRUMENTS

ASSESSMENT CRITERIA:

- Object or component to be measured are identified, classified and interpreted according to the appropriate regular geometric shape.

- Measuring tools are selected/identified as per object to be measured or job requirements

- Correct specifications are obtained from relevant sources.

- Measuring instruments are selected according to job requirements.

- Alternative measuring tools are used without sacrificing cost and quality of work.

- Measurements are obtained according to job requirements.

CONTENTS:

- Visualizing objects and shapes specifically geometric shapes.

- Interpreting Formulas for volume, areas, and perimeters of plane and geometric figures.

- Measuring Instruments/Measuring Tools

- Proper handling of measuring instruments

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Problems to solve

- Measuring instruments

- Instructional materials relevant to the propose activity.

METHODOLOGIES:

- Actual demonstration

- Classroom discussions

ASSESSMENT METHODS:

- Actual demonstration

- Direct observation

- Written test/questioning

LO2.	CARRY OUT MEASUREMENTS AND CALCULATIONS

ASSESSMENT CRITERIA:

- Calculation needed to complete work tasks are performed using the four basic process of addition (+), subtraction (-), multiplication (x) and division (/) including but not limited to: trigonometric functions, algebraic computations.

- Calculations involving fractions, percentages and mixed numbers are used to complete workplace tasks

- Numerical computations are self-checked and corrected for accuracy.

- Accurate measurements are obtained according to job requirements.

- Identified and converted systems of measurement according to job requirements.

- Measured work pieces according to job requirements.

CONTENT:

- Trade Mathematics/Mensuration

- Four fundamental operation

- Kinds of measurement

- Dimensions

- Ratio and Proportion

- Trigonometric Functions

- Algebraic Equations

- Fractions, Percentage and Decimals

- Conversion

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Problems to solve

- Measuring instruments

- Instructional materials relevant to the propose activity.

METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

UNIT OF COMPETENCY	:	MAINTAIN TOOLS AND EQUIPMENT

MODULE TITLE	:	MAINTAINING TOOLS AND EQUIPMENT

MODULE DESCRIPTION	:	This unit covers the knowledge, skills and attitudes on checking condition, performing preventive maintenance and storing of tools and equipment based on the required performance standard.

NOMINAL DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES	:

Upon completion of the module the trainees/student should be able to:

LO1.	Check condition of tools and equipment.

LO2.	Perform basic preventive maintenance

LO3.	Store tools and equipment.

LO1.	CHECK CONDITIONS OF TOOLS AND EQUIPMENTS

ASSESSMENT CRITERIA:

- Tools and equipment are identified according to classification/specification and job requirements.

- Non-functional tools and equipment are segregated and labeled according to classification

- Safety of tools and equipment are observed in accordance with manufacturer’s instructions

- Conditions of PPE are checked in accordance with manufacturer’s instructions.

CONTENTS:

- Types of Tools and Equipments

- Classification of functional and non-functional tools

- Uses of Personal Protective Equipment (PPE).

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Tools and equipment related to masonry

- Measuring instruments/equipments

- Instructional materials

- Handouts

- Power Point Presentations

METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO2.	PERFORM BASIC PREVENTIVE MAINTENANCE

ASSESSMENT CRITERIA:

- Lubricants are identified according to types of equipment.

- Tools and equipment are lubricated according to preventive maintenance schedule or manufacturer’s specifications.

- Measuring instruments are checked and calibrated in accordance with manufacturer’s instructions.

- Tools are cleaned and lubricated according to standard procedures

- Defective equipment and tools are inspected and replaced according to manufacturer’s specification.

- Work place is cleaned and kept in safe state in line with OSHC regulations.

CONTENTS:

| - Types uses of lubricants - Types and uses of cleaning materials/solvent - OSHC workplace regulations | - Types and uses of measuring instruments and equipment. - Preventive maintenance techniques and procedures. |
| --- | --- |

CONDITIONS:

Students/trainees must be provided with the following:

| - Classroom for discussion - Workplace Location - Maintenance Procedure Manual - Periodic Maintenance Manual - Maintenance schedule forms - Handouts/Instructional Materials - Maintenance materials, tools and equipment relevant to the proposed activity/task. | - Lubricants - Cleaning materials - Rust remover - Rugs - Spare parts - PPE - Goggles - Gloves - Safety shoes - Aprons/Coveralls - Manufacturer's Specification Manual - Repair Manual |
| --- | --- |

METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO3.	STORE TOOLS AND EQUIPMENT

ASSESSMENT CRITERIA:

- Inventory of tools, instruments, and equipment are conducted and recorded as per company practices.

- Tools are inspected, and replaced after use.

- Tools and equipment are stored safely in accordance with manufacturer’s specifications or company procedures.

CONTENTS:

- Inventory of tools and equipment

- Tools and Equipment Handling

- Tool safe-keeping/storage

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Handouts/Instructional Materials

- Workplace Location/Tool Room

- Rack

- Tool Box

- Forms

- Requisition Slip

- Inventory Form

- Inspection Form

METHODOLOGIES:

- Demonstration

- Classroom discussions

ASSESSMENT METHODS:

- Practical exam

- Direct observation

- Written test/questioning

MODULES OF INSTRUCTION

CORE COMPETENCIES

ELECTRICAL INSTALLATION AND MAINTENANCE NC II

UNIT OF COMPETENCY	:	Prepare electrical POWER and HYDRAULIC TOOLS

MODULE TITLE	:	Preparing and maintaining electrical hydraulic and power tools

MODULE DESCRIPTOR	:	This module covers the knowledge skills and proper attitude in preparing and selecting electrical hand tools and materials. It also deal with the maintenance and storage of materials and hand tools

NOMINAL DURATION	:	40 hours

QUALIFICATION LEVEL	: 	NC II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the trainee/student must be able to:

LO1.	Select electrical power and hydraulic tools

LO2.	Maintain electrical power and hydraulic tools

LO1.	SELECT ELECTRICAL POWER AND HYDRAULIC TOOLS

ASSESSMENT CRITERIA:

- Electrical power and/or hydraulic tools are selected in line with the job specification.

- Quantity and ratings of electrical power and hydraulic tools are checked in line with the job requirements.

- Damaged electrical power and hydraulic tools are reported to the person concerned.

CONTENTS:

- Different kinds of electrical power and hydraulic tools.

- Operating principles, parts and functions of electrical power and hydraulic tools.

- Selecting and using different types of electrical power and hydraulic tools

- Safe handling of electrical power and hydraulic tools

CONDITIONS:

Students/trainees must be provided with the following:

- Learning Materials

  - Tool manuals

  - Learning elements

  - Books

- Tools

  - Electrical power and hydraulic tools

  - PPE

METHODOLOGIES:

- Demonstration method

- Discussion

- Modular (Self-paced)

ASSESSMENT METHODS:

- Demonstration

- Direct observation and questioning

LO2.	Maintain ELECTRICAL POWER AND HYDRAULIC TOOLS

ASSESSMENT CRITERIA:

- Electrical power and hydraulic tools are maintained and stored properly upon completion of the job in line with the manufacturer’s specification.

- Defective electrical power and hydraulic tools are segregated and reported to the person concerned in line with the company standards.

CONTENTS:

- Maintaining and storing electrical power and hydraulic tools

CONDITIONS:

Students/trainees must be provided with the following:

- Tools

  - Electrical power and hydraulic tools

- Materials

  - Lubricating materials

- Learning Materials

  - Tools manuals and catalogs

  - Learning elements

  - Books

  - Checklist

METHODOLOGIES:

- Demonstration method

- Discussion

- Modular (Self-paced)

ASSESSMENT METHODS:

- Demonstration

- Direct observation and questioning

UNIT OF COMPETENCY	:	Perform Roughing-in Activities FOR COMMUNICATION AND DISTRIBUTION

MODULE TITLE	:	Performing Roughing-in activities for communication and distribution

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and proper attitude in laying-out, electrical metallic conduits for communication and distribution. It deals with laying-out of metallic conduits, wireways and cable trays, telephone terminal cabinets and cable bridge.

NOMINAL DURATION	:	90 hours

QUALIFICATION LEVEL	:	NC II

SUMMARY OF LEARNING OUTCOMES:

At the completion of this module the trainees/student must be able to:

LO1.	Install electrical metallic conduits

LO2.	Install wireways and cable trays

LO3.	Install telephone terminal cabinet

LO4.	Install cable bridge

LO1.	INSTALL ELECTRICAL METALLIC TUBING

ASSESSMENT CRITERIA:

- Electrical metallic conduits are installed according to the latest edition of Philippine Electrical Code and National Electrical Code.

- Electrical metallic conduits are installed according to the job requirements

- Tools/equipment and materials needed for the installation are prepared in line with job requirements.

- Safety procedures in installing electrical metallic conduits are strictly observed according OHS guidelines and procedures.

CONTENTS:

- PEC provisions on electrical metallic conduits

- Bending electrical metallic conduit

- Procedures in installing electrical metallic conduit

- Safety procedures in installing electrical metallic conduits

CONDITIONS:

Students/trainees must be provided with the following:

| - Tools and Equipment - Lineman’s pliers - Long nose pliers - Diagonal cutting pliers - Set of screw driver - Claw hammer - Hacksaw - Measuring tools - Pipe vise - Pipe cutter - reamer - Simulated workplace/wiring booth - Ladder | - Materials - Electrical metallic conduits - lock nuts, bushing, adapters - fastening devices - Conduit supports - Learning Materials - Learning elements - Manuals - Books and - Philippine Electrical Code/National Electrical Code, Latest Edition |
| --- | --- |

METHODOLOGIES:

- Demonstration

- Discussion

- Practical Exercises

- Laboratory exercises

ASSESSMENT METHODS:

- Demonstration

- Direct observation and questioning

LO2.	INSTALL WIREWAYS AND CABLE TRAYS

ASSESSMENT CRITERIA:

- Wire ways and cable trays are installed according to the latest edition of Philippine Electrical Code and National Electrical Code.

- Wire ways and cable trays are installed according to the job requirements

- Tools/equipment and materials needed for the installation are prepared in line with job requirements.

- Safety procedures in installing wire ways and cable trays are strictly observed according OHS guidelines and procedures.

CONTENTS:

- PEC/NEC provisions on wire ways and cable trays

- Procedures in installing wire ways and cable trays

- Safety procedures in installing wire ways and cable trays

CONDITIONS:

Students/trainees must be provided with the following:

| - Tools and Equipment - Lineman’s pliers - Long nose pliers - Diagonal cutting pliers - Set of screw driver - Claw hammer - Hacksaw - Measuring tools - Pipe vise - Simulated workplace/actual workplace - Ladder | - Materials - Wireways and cable trays and its associated fittings - Learning Materials - Learning elements - Books and manuals - Philippine Electrical Code/National Electrical Code, Latest Edition |
| --- | --- |

METHODOLOGIES:

- Demonstration

- Discussion

- Practical Exercises

- Laboratory exercises

ASSESSMENT METHODS:

- Demonstration

- Direct observation and questioning

LO3.	INSTALL TELEPHONE TERMINAL CABINET

ASSESSMENT CRITERIA:

- Telephone terminal cabinet is installed according to the latest edition of Philippine Electrical Code and National Electrical Code.

- Telephone terminal cabinet are installed according to the job requirements

- Tools/equipment and materials needed for the installation are prepared in line with job requirements.

- Safety procedures in installing telephone terminal cabinet are strictly observed according OHS guidelines and procedures.

CONTENTS:

- PEC/NEC provisions on telephone terminal cabinet

- Procedures in installing telephone terminal cabinet trays

- Safety procedures in installing telephone terminal cabinet

CONDITIONS:

Students/trainees must be provided with the following:

| - Tools and Equipment - Lineman’s pliers - Long nose pliers - Diagonal cutting pliers - Set of screw driver - Claw hammer - Hacksaw | - Materials - Telephone terminal cabinet and associated fittings - Learning Materials - Learning elements - Manuals - Books and - Philippine Electrical Code/National Electrical Code, Latest Edition |
| --- | --- |

METHODOLOGIES:

- Demonstration

- Discussion

- Practical exercises

- Laboratory exercises

ASSESSMENT METHODS:

- Demonstration

- Direct observation and questioning

LO4.	INSTALL CABLE BRIDGE

ASSESSMENT CRITERIA:

- Cable bridges are installed according to the latest edition of Philippine Electrical Code and National Electrical Code.

- Cable bridge are installed according to the job requirements

- Tools/equipment and materials needed for the installation are prepared in line with job requirements.

- Safety procedures in installing cable bridges are strictly observed according OHS guidelines and procedures.

CONTENTS:

- PEC provisions on cable bridge

- Procedures in installing cable bridge

- Safety procedures in installing cable bridge

CONDITIONS:

Students/trainees must be provided with the following:

| - Tools and Equipment - Lineman’s pliers - Long nose pliers - Diagonal cutting pliers - Set of screw driver - Claw hammer - Hacksaw - Measuring tools - Simulated workplace/wiring booth | - Materials - Cable bridge and associated fittings - Learning Materials - Learning elements - Books and manuals - Philippine Electrical Code, Latest Edition |
| --- | --- |

METHODOLOGIES:

- Demonstration

- Discussion

- Practical exercises

- Laboratory exercises

ASSESSMENT METHODS:

- Demonstration

- Direct observation and questioning

UNIT OF COMPETENCY	:	INSTALL WIRING DEVICES FOR FLOOR AND GROUND FAULT CURRENT INTERRUPTING OUTLETS

MODULE TITLE	:	Installing wiring devices for floor and ground fault current interrupting outlets

MODULE DESCRIPTON	:	This module covers the knowledge, skills and proper attitude in installing wiring devices such as GFCI outlets and other special wiring devices.

NOMINAL DURATION	:	30 hours

QUALIFICATION LEVEL	:	NC II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the trainees/student must be able to:

LO1.	Select wiring devices

LO2.	Install wiring devices

LO1.	SELECT WIRING DEVICES

ASSESSMENT CRITERIA:

- Wiring devices are inspected for damage according manufacturer’s specification.

- Wiring devices are selected according to the job requirements

CONTENTS:

- Selecting wiring devices

- GFCI protected outlets.

CONDITIONS:

Students/trainees must be provided with the following:

- Supplies and Materials

  - Wiring devices

- Learning Materials

- Learning elements

- Drawing plan

- Books, manuals, and catalogs

- Philippine Electrical Code

METHODOLOGIES:

- Demonstration

- Discussion

- Practical exercises

- Laboratory exercises

- Audio/Visual film showing

ASSESSMENT METHODS:

- Demonstration

- Direct observation and questioning

LO2.	INSTALL WIRING DEVICES

ASSESSMENT CRITERIA:

- Wiring devices are installed according to the latest edition of Philippine Electrical Code and National Electrical Code.

- Wiring devices are installed according to the job requirements

- Tools/equipment and materials needed for the installation are prepared in line with job requirements.

- Safety procedures in installing Wiring devices are strictly observed according OHS guidelines and procedures.

CONTENTS:

- Wiring devices

- PEC provisions on wiring devices

- Procedures in installing wiring devices

- Safety procedures in wiring devices

- GFCI protected outlets.

CONDITIONS:

Students/trainees must be provided with the following:

| - Equipment - Simulated work place or actual work place - ladder - Tools - Linesman’s pliers - Long nose pliers - Diagonal cutting pliers - Bar level - Screw drivers, - Set of screw drivers - Chisel | - Supplies and Materials - Wiring devices - Learning Materials - Learning elements - Drawing plan - Books, manuals, and catalogs - Philippine Electrical Code |
| --- | --- |

METHODOLOGIES:

- Demonstration

- Discussion

- Practical exercises

- Laboratory exercises

- Audio/Visual film showing

ASSESSMENT METHODS:

- Demonstration

- Direct observation and questioning

UNIT OF COMPETENCY	:	Install Electrical Protection System FOR LIGHTING AND GROUNDING

MODULE TITLE	:	Installing electrical protection system for lighting and grounding

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and proper attitude in installing electrical protection system. It deals with installation of high/low voltage switch gear, earth leakage circuit breaker, lightning protection and grounding system.

NOMINAL DURATION	:	30 hours

QUALIFICATION LEVEL	:	NC II

SUMMARY OF LEARNING OUTCOMES:

At the completion of this module the trainees/student must be able to:

LO1.	Plan and prepare work

LO2.	Install electrical protection system

LO1.	PLAN AND PREPARE WORK

ASSESSMENT CRITERIA:

- Instructions for the preparation of the work activity are communicated and confirmed to ensure clear understanding.

- Tools, equipment and PPE needed to install electrical protection system are identified, checked to ensure they work correctly as intended and are safe to use in accordance with established procedures.

- Materials needed for work are obtained in accordance with established procedures.

CONTENT:

- Planning and preparing work.

CONDITIONS:

Students/trainees must be provided with the following:

- Learning Materials

- Learning elements

METHODOLOGIES:

- Demonstration

- Discussion

- Practical exercises

- Laboratory exercises

- Audio/Visual film showing

ASSESSMENT METHODS:

- Demonstration

- Direct observation and questioning

LO2.	INSTALL ELECTRICAL PROTECTION SYSTEM

ASSESSMENT CRITERIA:

- Electrical protection system is installed according to the latest edition of Philippine Electrical Code and National Electrical Code.

- Electrical protection system is installed according to the job requirements

- Tools/equipment and materials needed for the installation are prepared in line with job requirements.

- Safety procedures in installing electrical protection system are strictly observed according OHS guidelines and procedures.

CONTENTS:

- PEC provisions on electrical protection system

- Procedures in installing electrical protection system

- Safety procedures in installing electrical protection system

CONDITION:

Students/trainees must be provided with the following:

| - Materials - High/low voltage switch gear - Earth leakage circuit breaker - Grounding equipment | - Learning Materials - Learning elements - Drawing plan/sketch - Diagrams |
| --- | --- |

METHODOLOGIES:

- Demonstration

- Discussion

- Practical exercises

- Laboratory exercises

- Audio/Visual film showing

ASSESSMENT METHODS:

- Demonstration

- Direct observation and questioning

UNIT OF COMPETENCY	: 	INSTALL ELECTRICAL LIGHTING SYSTEMS ON AUXILIARY OUTLETS AND LIGHTING FIXTURES

MODULE TITLE	:	Installing electrical lighting systems on auxiliary outlets and lighting fixtures

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitude in installing lighting fixtures.

NOMINAL DURATION	:	60 hours

QUALIFICATION LEVEL	: 	NC II

SUMMARY OF LEARNING OUTCOMES:

At the completion of this module the trainees/student must be able to:

LO1.  Plan and prepare work

LO2. 	Install lighting fixture

LO1.	PLAN AND PREPARE WORK

ASSESSMENT CRITERIA:

- Instructions for the preparation of the work activity are communicated and confirmed to ensure clear understanding

- Tools, equipment and PPE needed to install lighting system are identified, checked to ensure they work correctly as intended and are safe to use in accordance with established procedures

- Materials needed for work are obtained in accordance with established procedures

CONTENT:

- Planning and preparing work.

CONDITIONS:

Students/trainees must be provided with the following:

- Learning Materials

- Learning elements

METHODOLOGIES:

- Demonstration

- Discussion

- Practical exercises

- Laboratory exercises

- Audio/Visual film showing

ASSESSMENT METHODS:

- Demonstration

- Direct observation and questioning

LO2.	INSTALL LIGHTING FIXTURE

ASSESSMENT CRITERIA:

- Lighting fixtures are installed according to the latest edition of Philippine Electrical Code and National Electrical Code.

- Lighting fixtures are installed according to the job requirements

- Tools/equipment and materials needed for the installation are prepared in line with job requirements.

- Safety procedures in installing lighting fixtures are strictly observed according OHS guidelines and procedures.

CONTENTS:

- PEC provisions on installing lighting fixtures

- Procedures in installing lighting fixtures

- Safety procedures in installing lighting fixtures

- Floodlights/Spotlights

- Track Lights

- High/Low Bay Sodium Vapor Lamps

- Halogen Lamps

- Perimeter Lighting

CONDITIONS:

Students/trainees must be provided with the following:

| - Tools and Equipment - Lineman’s pliers - Long nose pliers - Diagonal cutting pliers - Set of screw driver - Claw hammer - Hacksaw - Measuring tools - reamer - Ladder | - Equipments - Wiring booth/Simulated workplace/wiring booth - PPE - Learning Materials - Learning elements - Manuals - Books and - Philippine Electrical Code/National Electrical Code, Latest Edition |
| --- | --- |

METHODOLOGIES:

- Demonstration

- Discussion

- Practical exercises

- Laboratory exercises

- Audio/Visual film showing

ASSESSMENT METHODS:

- Demonstration

- Direct observation and questioning

# What is Competency-Based Curriculum (CBC)

- A competency-based curriculum is a framework or guide for the subsequent detailed development of competencies, associated methodologies, training and assessment resources.

- The CBC specifies the outcomes which are consistent with the requirements of the workplace as agreed through the industry or community consultations.

- CBC can be developed immediately when competency standards exist.

- When competency standards do not exist, curriculum developers need to clearly define the learning outcomes to be attained. The standard of performance required must be appropriate to industry and occupational needs through the industry/enterprise or specified client group consultations.

These materials are available in both printed and electronic copies.

For more information please contact:

Technical Education and Skills Development Authority (TESDA)

Telephone Nos.: 893-8281, 817-4076 to 82 loc. 611, 630, 631 and 635 or visit our website: www.tesda.gov.ph or the TESDA Regional or Provincial Office nearest you.