- COMPETENCY-BASED CURRICULUM

| Sector: ###### AUTOMOTIVE MANUFACTURING |  |
| --- | --- |
| Qualification: LABORATORY AND METROLOGY/ CALIBRATION SERVICES NC III |  |
|  | Technical Education and Skills Development Authority East Service Road, South Superhighway, Taguig City, Metro Manila |

# TABLE OF CONTENTS

Page

A.	COURSE DESIGN	1-5

B.	MODULES OF INSTRUCTION	6-65

- Basic Competencies	6

  - Leading workplace communication	7-10

  - Leading small teams	11-15

  - Developing and practicing negotiation skills	16-19

  - Identifying / determining fundamental cause of problem	20-23

  - Using mathematical concepts and techniques	24-27

  - Using relevant technologies	28-31

- Common Competencies	32

  - Reading, interpreting and applying engineering drawings	33-37

  - Performing mensuration and calculation	38-41

  - Reading, interpreting and applying specifications and manuals	42-45

  - Performing shop maintenance	46-50

- CoRE Competencies	51

  - Using comparison and basic measuring devices	52-56

  - Measuring components using coordinate measuring machines	57-62

  - Using graphical techniques and performing simple statistical computations	63-65

C.	ACKNOWLEDGEMENT	66

# COURSE DESIGN

# COURSE TITLE	:	LABORATORY AND METROLOGY /

# CALIBRATION SERVICES NC III

NOMINAL DURATION	:	96 Hours

COURSE DESCRIPTION	:

This course is designed to equip individual with competency to perform laboratory and metrology/calibration services work specifically on using comparison and basic measuring devices. It also include competency in measure components using coordinate measuring machines and use graphical techniques and perform simple statistical computations

Basic competencies such as: Lead workplace communication; Lead small teams; Develop and practice negotiation skills; Solve problems related to work activities; Use mathematical concepts and techniques and Use relevant technologies are included.

It also includes common competencies such as: Read, Interpret and Apply Engineering Drawings; Perform Mensuration and Calculation Read; Interpret and Apply Specifications and Manuals and; Perform Shop Maintenance.

To obtain this, all units prescribed for this qualification must be achieved.

ENTRY REQUIREMENTS:

Student/trainee should possess the following requirements:

- With background in basic mensuration;

- Able to communicate both orally and in writing;

- Physically and mentally fit; and

- Must possess the LABORATORY AND METROLOGY/CALIBRATION SERVICES NC II.

COURSE STRUCTURE:

# BASIC COMPETENCIES

(20 hours)

| # Units of Competency | # Module Title | # Learning Outcomes | # Nominal Duration |
| --- | --- | --- | --- |
| # Lead workplace communication | # Leading workplace communication | - Communicate information about workplace processes - Lead workplace discussions - Identify and communicate issues arising in the workplace | # 3 hours |
| # Lead small team | # 2.1 Leading small team | - Provide team leadership. - Assign responsibilities among members. - Set performance expectation for team members - Supervise team performance | # 3 hours |
| # Develop and practice negotiation skills | # 3.1 Developing and practicing negotiation skills | - Identify relevant information in planning negotiations - Participate in negotiations - Document areas for agreement | # 4 hours |
| - Solve problem related to work activities | # 4.1 Identifying/ determining fundamental cause of problem | - Explain the analytical techniques. - Identify the problem. - Determine the possible cause/s of the problem. | # 4 hours |
| - Use mathematical concepts and techniques | # 5.1 Using mathematical concepts and techniques | - Identify mathematical tools and techniques to solve problem - Apply mathematical procedures/solution - Analyze results | # 3 hours |
| - Use relevant technologies | ##### 6.1 Using relevant technologies | - Identify appropriate technology - Apply relevant technology - Maintain/enhance relevant technology | # 3 hours |

# COMMON COMPETENCIES

(20 hours)

| # Units of Competency | # Module Title | # Learning Outcomes | # Nominal Duration |
| --- | --- | --- | --- |
| - Read, interpret and apply engineering drawings | - Reading, interpreting and applying engineering drawings | - Identify and access engineering drawings/ specifications - Interpret drawings - Apply information in the drawings and specifications - Store drawings | # 5 hours |
| #### 2. Perform mensuration and calculation | 2.1 Performing mensuration and calculation | - Select measuring instrument and carry out measurement and calculations - Maintain measuring instruments | # 5 hours |
| #### 3. Read, interpret and apply specifications and manual | - Reading, interpreting and applying specifications and manual | - Identify/access manuals and interpret data and specification - Apply information accessed in manual - Store manual | # 5 hours |
| #### 4. Perform shop maintenance | - Performing shop maintenance | - Inspect/clean tools and shop equipment - Store/arrange tools and shop equipment - Dispose waste/used lubricant - Report damaged tools/equipment | # 5 hours |

# CORE COMPETENCIES

(56 hours)

| # Units of Competency | # Module Title | # Learning Outcomes | # Nominal Duration |
| --- | --- | --- | --- |
| - Use comparison and basic measuring devices | 1.1 Using comparison and basic measuring devices | - Identify job requirements - Set comparative measuring devices - Use comparison and/or basic measuring devices - Maintain comparison and/or basic measuring devices | # 24 hours |
| 2. Measure components using coordinate measuring machines | 2.1 Measuring components using coordinate measuring machines | - Identify job requirements - Load components - Validate / calibrate precision measuring equipment - Set probes - Measure components | # 24 hours |
| - Use graphical techniques and performing simple statistical computations | 3.1 Using graphical techniques and perform simple statistical computations | - Read and construct graphs - Perform basic statistical computation | # 8 hours |

# ASSESSMENT METHODS:

- Observation with questioning

- Demonstration of practical skills

- Portfolio

- Third party report

COURSE DELIVERY:

- Demonstration

- Lecture

- Discussion

- Dual training

RESOURCES:

| Equipment | Tools | Materials |
| --- | --- | --- |
| - Oil Free Compressor - Air Conditioner - Air Handling Equipment - Surface Plate - Dial indicator with gage stand or comparator base - Coordinate measuring machine | - Line graduated rules - Line graduated Bar standard - Vernier caliper - Outside Micrometer - Inside micrometer - Bore gauges - Master setting gages - Gage block standard for square, rectangular and round - Height gage - Sine bar - Depth indicator gage - Rubber glove - Cotton glove - Nylon glove - Goggle - Gas mask - Safety shoe - Apron - Filter Cloth - (200 mesh) - Go/no-go devices - Thread angle and taper gauges - Temperature gauges - Pressure gauges - Measuring gauges - Overlay indicators - Templates - Digital devices - Pre-set verniers and micrometers | - Solvent Naptha - Sandpaper (Asstd. Grit) - Grit# 1200 - Grit# 600 - Grit# 400 - Grit# 360 - Grit# 280 - Grit# 180 - White rag - (De Hilo) |

# TRAINER’S QUALIFICATIONS:

- Must be a holder of LABORATORY AND METROLOGY/CALIBRATION SERVICES NC III

- Must have undergone training on Training Methodology II (TM II)

- Must be computer literate

- Must be physically and mentally fit

- Must have at least 2 years job/industry experience

- Must be a civil-service eligible or holder of appropriate professional license issued by the Professional Regulatory Commission (for government positions only)

* Optional. Only when required by the hiring institution.

Reference: TESDA Board Resolution No. 2004-03

MODULES OF INSTRUCTION

BASIC COMPETENCIES

LABORATORY AND METROLOGY /

CALIBRATION SERVICES NC III

BASIC COMPETENCY	:	COMMUNICATIONS

UNIT OF COMPETENCY	:	LEAD WORKPLACE COMMUNICATION

MODULE TITLE	:	LEADING WORKPLACE COMMUNICATION

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes required to prepare different reports required in the workplace.

SUGGESTED DURATION	:	3 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Communicate information about workplace processes.

LO2.	Lead workplace discussions.

LO3.	Identify and communicate issues arising in the workplace.

LO1.	COMMUNICATE INFORMATION ABOUT WORKPLACE PROCESSES

# ASSESSMENT CRITERIA:

- Appropriate communication method is selected.

- Multiple operations involving several topic areas are communicated.

- Questions are used to gain extra information.

- Correct sources of information are identified.

- Information is selected and sequenced correctly when required.

- Verbal and written reporting is maintained in both familiar and unfamiliar situations.

CONTENTS:

- Method of communication

- Communication skills

- Communication tools

- Questioning techniques

CONDITIONS:

The students/trainees must be provided with the following:

- Simulated workplace environment

- Communication tools

- Variety of information’s

METHODOLOGIES:

- Discussion

- Role play

- Brainstorming

ASSESSMENT METHODS:

- Direct observation

- Interview

LO2.	LEAD WORKPLACE DISCUSSIONS

# ASSESSMENT CRITERIA:

- Responses to workplace issues are sought.

- Response to workplace issues are provided when sought.

- Constructive contributions are made to workplace discussion on such issues as production, quality and safety.

- Goals and aims of actions under taken in the workplace are communicated.

CONTENTS:

- Method/techniques of discussion

- How to lead discussion

- How to solicit response

CONDITIONS:

The students/trainees must be provided with the following:

- Simulated workplace environment

- Communication tools

- Variety of information’s

METHODOLOGIES:

- Discussion

- Role play

- Brainstorming

ASSESSMENT METHODS:

- Direct observation

- Interview

LO3.	IDENTIFY AND COMMUNICATE ISSUES ARISING IN THE WORKPLACE

# ASSESSMENT CRITERIA:

- Issues and problems are identified as they arise.

- Information regarding problems and issues are organized coherently to ensure clear and effective communication.

- Dialog is initiated with appropriate personnel.

- Communication problems and issues are addressed as they arise.

CONTENTS:

- Identify problems and issues

- Organizing information on  problem and issues

- Relating problems and issues

- Communication barriers affecting workplace discussions.

CONDITIONS:

The students/trainees must be provided with the following:

- Simulated workplace environment

- Communication tools

- Variety of information’s

METHODOLOGIES:

- Discussion

- Role play

- Brainstorming

ASSESSMENT METHODS:

- Direct observation

- Interview

BASIC COMPETENCY	:	TEAM WORK

UNIT OF COMPETENCY	:	LEAD SMALL TEAM

MODULE TITLE	:	LEADING SMALL TEAM

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes required to lead small team including setting and maintaining team and individual performance standard.

SUGGESTED DURATION	:	3 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Provide team leadership

LO2.	Assign responsibilities among members

LO3.	Set performance expectation for team members

LO4.	Supervise team performance

LO1.	PROVIDE TEAM LEADERSHIP

# ASSESSMENT CRITERIA:

- Work requirements are identified and prescribed to members.

- Reasons for instructions and requirements are properly disseminated to team members.

- Team members questions, problems, concerns are recognized, discussed and dealt accordingly.

CONTENTS:

- Communication skills required for leading small team

- Skills and techniques in promoting  team building

- Negotiating skills

- Up to date dissemination of instruction and requirements to members.

- Art of listening and treating individual team members concern

CONDITIONS:

The students/trainees must be provided with the following:

- Learning materials

- team building manual

- catalogs

- brochures

- Simulated team

METHODOLOGIES:

- Traditional /lecture

- Demonstration

- Case studies

ASSESSMENT METHODS:

- Written examination

- Direct observation

LO2.	ASSIGN RESPONSIBILITIES AMONG MEMBERS

ASSESSMENT CRITERIA:

- Duties and responsibilities are allocated in respect to the skills, knowledge and attitudes of every team member.

- Duties are allocated having regard to individual preference, domestic and personal considerations.

- Duties and responsibilities of each member are properly identified and defined.

CONTENTS:

- Duties and responsibilities of each team member

- Skills in identifying individual skills ,knowledge  and attitude as basis for allocating responsibilities

- Knowledge in identifying each team member duties and responsibilities

CONDITIONS:

The students/trainees must be provided with the following:

- Learning materials

- relevant legal requirements

- manuals

METHODOLOGIES:

- Traditional /lecture

- Demonstration

ASSESSMENT METHODS:

- Written examination

- Direct observation

LO3.	SET PERFORMANCE EXPECTATION FOR TEAM MEMBERS

# ASSESSMENT CRITERIA:

- Performance expectations are established based on client needs and according to assigned requirements.

- Performance expectations are based on individual team member’s duties and responsibilities.

- Performance expectations are discussed and disseminated to individual team member.

CONTENTS:

- Knowledge and skills in setting individual performance target/expectation

- Team members duties  and responsibilities

- Employee policies and procedures

- Defining performance expectations criteria

CONDITIONS:

The students/trainees must be provided with the following:

- Performance expectation worksheet

- Relevant legal requirements

METHODOLOGIES:

- Traditional /lecture

- Demonstration

- Case studies

ASSESSMENT METHODS:

- Written examination

- Direct observation

LO4.	SUPERVISE TEAM PERFORMANCE

# ASSESSMENT CRITERIA:

- Team member’s performance is monitored in respect to the defined performance criteria.

- Team members are provided with feedback, positive support and advice on strategies to overcome any difficulties.

- Team members are informed of any changes in the priority allocated to assignment or task.

- Communication follow-up is provided on all issues affecting the team.

CONTENTS:

- Knowledge and skills in monitoring team member performance

- Monitoring team operation to ensure client needs  and satisfaction

- Methods of monitoring performance

- Informal/formal counseling skills

CONDITIONS:

The students/trainees must be provided with the following:

- Performance expectation worksheet

- Relevant legal requirements

METHODOLOGIES:

- Traditional /lecture

- Demonstration

- Modular

ASSESSMENT METHODS:

- Written examination

- Direct observation

UNIT OF COMPETENCY	:	DEVELOP AND PRACTICE NEGOTIATION SKILLS

MODULE TITLE	:	Developing and Practicing Negotiation Skills

MODULE DESCRIPTOR	: 	This module covers the skills, knowledge and attitudes required to collect information in order to plan and participate in the negotiation.

NOMINAL DURATION	:    4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/ trainees will be able to:

# LO1.	Identify relevant information in planning negotiations

LO2.	Participate in negotiations

LO3.	Document areas for agreement

# LO1.	Identify relevant information in planning negotiations

ASSESSMENT CRITERIA:

- Information in preparation for negotiation is identified and included in the plan.

- Information on creating non verbal environments for positive negotiations is identified and included in the plan.

- Information on different questioning techniques is identified and included in the plan.

CONTENTS:

- Background information on other parties to the negotiation

- Observing differences between content and process

- Identifying bargaining information

- Applying strategies to manage process

- Applying steps in negotiating process

- Strategies to manage conflict

- Steps in negotiating process

CONDITIONS:

The students/ trainees must be provided with the following:

- Pertinent documents

- Simulated workplace

- Paper and pencil

- Calculator

- Hands out

METHODOLOGIES:

- Lecturette

- Role playing

- practical exercises

ASSESSMENT METHODS:

- Written test/ questioning

- Demonstration

# LO2.	Participate in Negotiations

ASSESSMENT CRITERIA:

- Criteria for successful outcome are agreed upon by all parties.

- Desired outcome of all parties are considered.

- Appropriate language is used throughout the negotiation.

CONTENTS:

- Decision making and conflict resolution strategies procedures

- Problem solving strategies on how to deal with unexpected questions and attitudes during negotiation

- Background information on other parties to the negotiation

- Observing differences between content and process

CONDITIONS:

The students/ trainees must be provided with the following:

- Pertinent documents

- Simulated workplace

- Supplies

- Paper and pencil

- Calculator

- Hands out

METHODOLOGIES:

- Lecturette

- Role playing

- practical exercises

ASSESSMENT METHODS:

- Written test/ questioning

- Demonstration

# LO3.	Document areas for negotiation

ASSESSMENT CRITERIA:

- The issues and processes are documented and agreed upon by all parties.

- Possible solutions are discussed and their viability assessed.

- Areas for agreement are confirmed and recorded.

- Follow-up action is agreed upon by all parties.

CONTENTS:

- Procedure in documenting negotiations

- Managing information

- Filing documents

CONDITIONS:

The students/ trainees must be provided with the following:

- Pertinent documents

- Simulated workplace

- Supplies

- Paper and pencil

- Calculator

- Hands out

METHODOLOGIES:

- Lecturette

- Role playing

- practical exercises

ASSESSMENT METHODS:

- Written test/ questioning

- Demonstration

BASIC COMPETENCY	:	PROBLEM SOLVING

UNIT OF COMPETENCY	:	SOLVE PROBLEMS RELATED TO WORK ACTIVITIES

MODULE TITLE	:	IDENTIFYING / DETERMINING

FUNDAMENTAL CAUSE OF PROBLEM

MODULE DESCRIPTOR	: 	This module expresses the competency required to apply problem solving techniques to identify/determine fundamental cause problem.

SUGGESTED DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Explain the analytical techniques

LO2.	Identify the problem

LO3.	Determine the possible cause/s of the problem

LO1.	EXPLAIN THE ANALYTICAL TECHNIQUES

# ASSESSMENT CRITERIA:

- Importance and application of analytical techniques are explained.

- Analytical techniques such as brainstorming, cause and effects diagrams, PARETO analysis, SWOT analysis, GANT chart, PERT CPM & graphs, and scatter grams are defined.

CONTENTS:

- Observation, investigation & analytical techniques

- Brainstorming

- Cause and effect diagrams

- PARETO analysis

- SWOT analysis

- GANT chart

- PERT CPM & graph

- SCATTERGRAMS

CONDITIONS:

The students/trainees must be provided with the following:

- Coursewares

- Learning materials/guides

- Computer

- OHP

METHODOLOGIES:

- Direct observation

- Simulation /role playing

- Case studies

ASSESSMENT METHODS:

- Written

- Practical/performance test

LO2.	IDENTIFY THE PROBLEM

# ASSESSMENT CRITERIA:

- Variances are identified from normal operating parameters and product quality.

- Extent, cause, and nature of the problem are defined based on observation, investigation and analytical techniques.

- Problems are clearly stated and specified.

CONTENTS:

- Normal operating parameters & product quality

- Identifying & clarifying the nature of problem

- Application of analytical techniques

CONDITIONS:

The students/trainees must be provided with the following:

- Coursewares

- Learning materials/guides

- Computer

- OHP

METHODOLOGIES:

- Direct observation

- Simulation /role playing

- Case studies

ASSESSMENT METHODS:

- Written

- Practical/performance test

LO3.	DETERMINE THE POSSIBLE CAUSE/S OF THE PROBLEM

# ASSESSMENT CRITERIA:

- Possible causes of problems are identified based on experience & the use of problem solving tools/analytical techniques.

- Possible cause statements are developed.

- Fundamental causes are explained.

CONTENTS:

- Non-routine process and quality problems

- Teamwork and work allocation problem

- Safety and emergency situations and incidents

CONDITIONS:

The students/trainees must be provided with the following:

- Coursewares

- Learning materials/guides

- Computer

- OHP

METHODOLOGIES:

- Direct observation

- Simulation /role playing

- Case studies

ASSESSMENT METHODS:

- Written

- Practical/performance test

UNIT OF COMPETENCY	:	USE MATHEMATICAL CONCEPTS AND TECHNIQUES

MODULE TITLE	:	USING MATHEMATICAL CONCEPTS AND

TECHNIQUES

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes required in the application of mathematical concepts and techniques.

NOMINAL DURATION	:	3 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the learner/students must be able to:

LO1.	Identify mathematical tools and techniques to solve problems

LO2.	Apply mathematical procedure/solution

LO3. 	Analyze results

LO1.	Identify mathematical tools and techniques to solve problems

# ASSESSMENT CRITERIA:

- Problem areas based on given condition are identified.

- Mathematical techniques based on the given problem are selected.

CONTENTS:

- Four Fundamental Operations

- Steps in solving a problem

- Standard formulas

- Conversion

- Measurement

CONDITION:

The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Problem set

- Conversion table

- Table of formulas

- Measuring tools

METHODOLOGIES:

- Lecturette

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Written

- Demonstration

LO2.	Apply mathematical procedure/solution

# ASSESSMENT CRITERIA:

- Mathematical techniques based on the problem identified are applied.

- Mathematical computations are performed to the level of accuracy required for the problem.

- Results of mathematical computation based on job requirements is determined and verified.

CONTENTS:

- Problem-based questions

- Estimation

- Use of mathematical tools and standard formulas

- Mathematical techniques

CONDITION:

The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Calculator

- Measuring tools/devices

- Case problems

METHODOLOGIES:

- Lecturette

- Self-paced instruction

- Group discussion

- Practical Work Approach

ASSESSMENT METHODS:

- Written

- Oral Interview

LO3.	ANALYZE RESULTS

# ASSESSMENT CRITERIA:

  - Results of application based on expected and required specifications and outcome is reviewed.

  - Appropriate action in case of error is applied.

CONTENTS:

- Four fundamental operations

- Steps in solving a problem

- Standard formulas

- Conversion

- Measurement

CONDITION:

The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Problem set

- Conversion table

- Table of formulas

- Measuring tools

METHODOLOGIES:

- Lecturette

- Self-paced instruction

- Group discussion

- Research study

ASSESSMENT METHODS:

- Written

- Oral

##### UNIT OF COMPETENCY	:	USE RELEVANT TECHNOLOGIES

##### MODULE TITLE	:	USING RELEVANT TECHNOLOGIES

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes required in selecting, sourcing and applying appropriate and affordable technologies in the workplace.

NOMINAL DURATION	:	3 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the learner/students must be able to:

LO1.	Identify appropriate technology

LO2.	Apply relevant technology.

LO3. 	Maintain/ enhance relevant technology

LO1.	IDENTIFY appropriate technology

ASSESSMENT CRITERIA:

- Appropriate technologies are studied based on work requirements.

- Appropriate technologies are identified and selected based on work requirements.

CONTENTS:

- Machineries/ equipment and their application

- Software/ programs

CONDITION:

The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Multimedia

- Video tape

- Brochures

- CD’s

- Internet access

- Computer

METHODOLOGIES:

- Lecturette

- Self-paced instruction

- Group discussion

- Film showing

ASSESSMENT METHODS:

- Written

- Interview

LO2.	Apply relevant technology

# ASSESSMENT CRITERIA:

1.	Relevant technology is used in carrying out function based on work requirements.

2.	Applicable software and hardware is used as per job requirement.

3. 	Management concepts are observed as per established industry practices.

CONTENTS:

- Office technology

- Industrial technology

- System technology

- Information technology

- Training technology

- Different software/ hardware

- 5S (proper house keeping)

CONDITION:

The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Multimedia

- Video tape

- Brochures

- CD’s

- Internet access

- Computer

METHODOLOGIES:

- Lecturette

- Self-paced instruction

- Group discussion

- Film showing

ASSESSMENT METHODS:

- Written

- Interview

LO3.	MAINTAIN / ENHANCE RELEVANT TECHNOLOGY

# ASSESSMENT CRITERIA:

- Maintenance of technology is applied in accordance with the industry standard operating procedure, manufacturer’s operating guidelines and occupational health and safety procedure

- Updating of technology is maintained through continuing education or training in accordance with job requirement.

- Appropriate action for technology failure/defect is immediately reported to the concerned/ responsible person or section.

CONTENTS:

- Corrective and preventive maintenance

- Upgrading of technology

- Communication Skills

- Organizational set – up / work flow

CONDITION:

The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Multimedia

- Video tape

- Brochures

- CD’s

- Internet access

- Computer

METHODOLOGIES:

- Lecturette

- Self-paced instruction

- Group discussion

- Film showing

ASSESSMENT METHODS:

- Written

- Interview

MODULES OF INSTRUCTION

COMMON COMPETENCIES

LABORATORY AND METROLOGY /

CALIBRATION SERVICES NC III

UNIT OF COMPETENCY	:	READ, INTERPRET AND APPLY ENGINEERING DRAWINGS

MODULE TITLE	:	READING, INTERPRETING AND APPLYING ENGINEERING DRAWINGS/ SPECIFICATIONS

MODULE DESCRIPTOR	:	This module deals with identifying, interpreting and applying specification from engineering blue prints or drawings that provides the measurements of the product and pattern that is to be produced.

NOMINAL DURATION	:	5 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Identify and access engineering drawings/ specifications

LO2.	Interpret drawings

LO3.	Apply information and specifications in the drawings

LO4.	Store drawings

LO1.	Identify and access engineering drawings/ specifications

ASSESSMENT CRITERIA:

1.	Appropriate engineering drawings are identified and accessed as per job requirements.

2.	Version and date of drawing is checked to ensure correct specification and procedure are identified.

CONTENTS:

- Types of drawings used in automotive manufacturing industry

- Identification of symbols used in the drawings

- Identification of units of measurements

- Unit conversion

CONDITION:

Students/trainees must be provided with the following:

- Engineering drawings

    - Casting drawings

    - Machining drawing

    - Project plan

    - Technical drawing

METHODOLOGIES:

- Lecture/demonstration

- Dualized training

ASSESSMENT METHODS:

- Observation with questioning

- Interview

LO2.	INTERPRET DRAWINGS

ASSESSMENT CRITERIA:

- Relevant dimensions and sections of the drawings/ specifications are located in relation to the work to be conducted

- Information in the manual are interpreted in accordance to industry practices

CONTENTS:

- Locating relevant dimensions and drawing sections

- Ways of accessing information and data

- Interpreting information in the manual based on industry practices

CONDITION:

Students/trainees must be provided with the following:

- Engineering drawings

    - Casting drawings

    - Machining drawing

    - Project plan

    - Technical drawing

METHODOLOGIES:

- Lecture/demonstration

- Dualized training

ASSESSMENT METHODS:

- Observation with questioning

- Interview

LO3.	APPLY INFORMATION AND SPECIFICATIONS IN THE DRAWINGS

ASSESSMENT CRITERIA:

- Engineering drawing is interpreted according to job requirements

- Work steps are correctly identified in accordance with the specifications in the drawings.

- Dimensional data and shape are applied according to the given task

CONTENTS:

  - Reading and interpreting engineering drawings

  - Identifying work steps to be undertaken based on drawing

  - Applying work data based on given task

CONDITION:

Students/trainees must be provided with the following:

- Engineering drawings

    - Casting drawings

    - Machining drawing

    - Project plan

    - Technical drawing

- Work data

METHODOLOGIES:

- Lecture/demonstration

- Dualized training

ASSESSMENT METHODS:

- Observation with questioning

- Interview

LO4.  STORE DRAWINGS

ASSESSMENT CRITERI\ON:

- The drawings and specification are stored properly to ensure prevention of damage, ready access and updating of information when required in accordance with company requirements

CONTENTS:

- Proper storage of engineering drawings and plans

- Updating of information

CONDITION:

Students/trainees must be provided with the following:

- Engineering drawings

- Storage container or cabinet

METHODOLOGIES:

- Lecture/demonstration

- Dualized training

ASSESSMENT METHODS:

- Observation with questioning

- Interview

UNIT OF COMPETENCY	:	Perform Mensuration and Calculation

MODULE TITLE	:	Performing mensuration and calculation

MODULE DESCRIPTOR	:	This module covers calculations and mathematical problems related to automotive works including tolerances and measurement, including conversion of two systems of measurements.

NOMINAL DURATION	:	5 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/students should be able to:

LO1.	Select measuring instrument.

LO2.	Carry out measurement and calculation

LO3.	Maintain measuring instruments.

LO1.	SELECT MEASURING INSTRUMENT

ASSESSMENT CRITERIA:

- Objects or components to be measured are identified.

- Correct specifications are obtained from relevant source.

- Appropriate measuring instrument is selected as per job requirement.

CONTENTS:

- Types of measuring instruments and applications.

- Techniques in measuring parts/components.

- Methods of calculating/solving mathematical problems.

CONDITIONS:

- Equipment/tools/instrument

- Precise measuring instruments

- Calculator

- Calipers-vernier, micrometer, bore gauge, feeler gauge

- Steel rule, push rule

- Supplies/materials

- Pencil

- Paper

- Models of engine parts/components

- Instructional materials

- Reference books

- Learning guides

- Modules

METHODOLOGIES:

- Lecture

- Demonstration

- Practical exercises

ASSESSMENT METHODS:

- Written and oral examination

- Direct observation

LO2.	CARRY OUT MEASUREMENT AND CALCULATION

ASSESSMENT CRITERIA:

- Measuring tools are selected in line with job requirements.

- Accurate measurements are obtained.

- Calculations needed to complete work/task are performed using the four fundamental operation of mathematics.

- Numerical computation checked is correct and accurate.

CONTENTS:

- Conversion of units of measurement from English-metric and vise versa.

- Techniques in determining tolerance/allowance of parts/components

- Calibrating and using testing instruments.

- Solving problems using formulas.

- Finding areas of different geometrical figures.

CONDITIONS:

The students/trainees must be provided with the following:

- Equipment/tools/instrument

- Calculator

- Steel rule, push rule

- Precise measuring instrument - vernier caliper, micrometer, bore gauge, feeler gauge

- Supplies/materials

- Paper

- Pencil

- Engine parts/components

- Instructional materials

- Reference books

- Learning guides

- Modules

METHODOLOGIES:

- Demonstration

- Practical exercises

ASSESSMENT METHODS:

- Written and oral examination

- Direct observation

LO3.	MAINTAIN MEASURING INSTRUMENT

ASSESSMENT CRITERIA:

- Measuring instruments are cleaned before and after using.

- Measuring instruments are kept in safe dry place.

- Proper techniques in using precise instrument according to manufacturers standards.

- Proper handlings of measuring instruments are observed in accordance with industry standards.

CONTENTS:

- Handling and caring of measuring instruments.

- Calibrating measuring instrument.

- Safe handling and procedures in using measuring instruments.

- Storing of measuring instruments.

CONDITIONS:

Students/trainees must be provided with the following:

- Equipment/tools/instrument

- Computer

- VHS player

- OHP

- Vernier calipers, micrometer, bore gauge, feeler gauge

- Steel rule, push rule

- Supplies/materials

- Paper

- Pencil

- Engine parts

- Instructional materials

- Reference books

- Learning guides

- Modules

- CD’s VHS tapes, transparencies

METHODOLOGIES:

- Lecture

- Demonstration

- Simulation

ASSESSMENT METHODS:

- Written examination

- Direct observation

- Oral examination

UNIT OF COMPETENCY	:	READ, INTERPRET AND APPLY SPECIFICATION AND MANUAL

MODULE DESCRIPTOR	:	READING, INTERPRETING AND APPLYING SPECIFICATION AND MANUAL

MODULE DESCRIPTOR	:	This module deals with identifying, interpreting and applying service manuals, maintenance procedures manuals, repair manuals and periodical maintenance manual.

NOMINAL DURATION	:    5 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/ students should be able to:

LO1.	Identify/accessed manuals and interpret data and specification.

LO2.	Apply information accessed in manual.

LO3.	Store manual

LO1.	IDENTIFY/ACCESS MANUALS AND INTERPRET DATA AND SPECIFICATIONS

ASSESSMENT CRITERIA:

- Appropriate manuals are identified and accessed as per job requirements.

- Information and procedures in the manual are interpreted in accordance with industry practices.

- Relevant sections, chapter of manuals/specifications were located in relation to the work to be performed.

CONTENTS:

- Identifying appropriate manuals.

- Procedures/ techniques in interpreting data and specifications.

- Knowledge and techniques in accessing data and specifications as per job requirements.

- Types of manuals used in automotive industry.

- Identification of symbols used in the manuals.

- Identification of units of measurements.

CONDITIONS:

Students/trainees must be provided with the following:

- Supplies and materials:

- manufacturing specifications

- repair manual

- maintenance manual

- periodic maintenance manual

- Instructional materials

- reference books

- professional emergency

- learning guides

- modules

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Lecture/demonstration

- Dualized training

- Distance learning

ASSESSMENT METHODS:

- Written/oral examinations

- Direct observation

- Project method

- Interview

LO2.	APPLY INFORMATION ACCESSED IN THE MANUAL

ASSESSMENT CRITERIA:

- Data and specification are interpreted according to job requirement.

- Work steps are correctly identified in accordance with manufacturer specifications.

- Manual data is applied according to the given task.

- All correct sequence and adjustment are interpreted in accordance with information contained on the manual or specification.

CONTENTS:

- Interpreting appropriate data and specifications.

- Applying data and specification accessed from the manuals as required in the given task.

CONDITIONS:

The students/trainees must be provided with the following:

- Supplies and materials

- manufacturing specifications

- repair manual

- maintenance manual

- periodic maintenance manual

- Instructional materials

- reference books

- learning guides

- modules

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Lecture/demonstration

- Dualized training

- Distance learning

ASSESSMENT METHODS:

- Written/oral examinations

- Direct observation

- Project method

- Interview

LO3.	STORE MANUAL

ASSESSMENT CRITERIA:

- Manuals are stored appropriately to insure prevention of damage.

- Manuals are stored properly for easy accessed and ready for updating of information required in the given task.

CONTENTS:

- Techniques in storing manuals.

- Procedures in maintaining manuals.

CONDITIONS:

Students/trainees must be provided with the following:

- Supplies/materials

- manufacturing specifications

- repair manual

- maintenance manual

- periodic maintenance manual

- Instructional materials

- reference books

- learning guides

- modules

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Lecture/demonstration

- Dualized training

- Distance learning

ASSESSMENT METHODS:

- Written/oral examinations

- Direct observation

- Project method

- Interview

UNIT OF COMPETENCY	:	Perform Shop Maintenance

MODULE TITLE	:	PERFORMING SHOP MAINTENANCE

MODULE DESCRIPTOR	:	This module covers inspecting, cleaning, arranging and storing tools and shop equipment, including disposal of waste and used lubricant and reporting of damaged tools and equipment in the shop.

NOMINAL DURATION	:	5 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO 1.	Inspect and clean tools, equipment and the work area.

LO 2.	Store/arrange tools and shop equipment.

LO 3.	Dispose waste and used lubricants.

LO 4.	Report damaged tools and equipment.

LO1.  INSPECT AND CLEAN TOOLS, EQUIPMENT AND WORK AREA

ASSESSMENT CRITERIA:

- Tools, equipment and the work area is inspected and cleaned, free from dust, grease and other substances.

- Cleaning solvent used as per workshop cleaning requirements is observed.

- Work area is checked and cleaned.

- Wet surface or spot in the work area is kept dry.

CONTENTS:

- Workshop policies.

- Types and usage of cleaning chemicals.

- Safe handling of equipment and tools.

- Service procedures.

- Equipment maintenance standards.

CONDITIONS:

Students/trainees must be provided with the following:

- Open workshop/garage

- Well ventilated enclosed work and office area

- Wash area and mess hall

- Cleaning chemicals

- Inventory of equipment and tools

- Rugs

- Containers for used oils

- Vehicle

- Oiler

METHODOLOGIES:

- Lecture

- Demonstration

- Self-paced instruction

- Dual Training

ASSESSMENT METHODS:

- Direct Observation

- Practical

- Interview

- Written examination

LO2. STORE/ARRANGE TOOLS AND SHOP EQUIPMENT

ASSESSMENT CRITERIA:

1.	Tools and equipment are arranged and stored in their respective shelves/ location.

2.	Corresponding labels are posted and visible.

3.	Tools are secured and logged in the record book.

CONTENTS:

- Storage and disposal of hazardous/flammable tools/materials.

- Personal safety procedures.

- Relevant technical information

- Labeling procedures

- Principles of total quality management (TQM) and 5S

CONDITIONS:

Students/trainees must be provided with the following:

- Tool cabinet

- Appropriate tools and equipment

- Tool room

- Fire extinguishers

- Tool kit

- Log/record  book

- Labeling materials

METHODOLOGIES:

- Interactive lecture

- Dual Training

- Self-paced instruction

- Simulation

ASSESSMENT METHODS:

- Practical

- Direct observation

- Interview

- Written examination

LO3.  DISPOSE WASTE AND USED LUBRICANTS

ASSESSMENT CRITERIA:

- Waste and used lubricants are disposed in accordance with the standard operational procedures and environmental regulations.

- Containers for waste and used lubricants are properly labeled.

- Personal safety in disposing waste and used lubricants is evident.

CONTENTS:

- Effects of automotive wastes to men and its environment.

- Waste management and disposal

- Cleaning chemicals for grease and lubricants

- Labeling procedures and technique

CONDITIONS:

Students/trainees must be provided with the following:

- Waste disposal area

- Oiler

- Handouts for waste management and disposal

- Cleaning chemicals for grease and lubricants

- Containers for waste and used lubricants

METHODOLOGIES:

- Interactive lecture

- Dual training

- Self-paced instruction

- Simulation

- Demonstration

ASSESSMENT METHODS:

- Direct observation

- Simulation

- Written examination

- Interview

LO4.  REPORT DAMAGED TOOLS AND EQUIPMENT

ASSESSMENT CRITERIA:

- Complete inventory of tools and equipment is maintained.

- Damaged tools/equipment is identified with repair recommendation.

- Reports prepared on damaged tools/equipment have no error/discrepancy.

CONTENTS:

- Conducting inventory and preparing records

- Maintenance and safe handling of tools and equipment

- Maintenance and updating of records and reports

CONDITIONS:

- Records and inventory of tools and equipment

- Record books

- Checklist

- Waste disposal reports

- Racks for tools

METHODOLOGIES:

- Interactive lecture

- Dual Training

- Self-paced instruction

- Simulation

ASSESSMENT METHODS:

- Interview

- Written examination

- Demonstration

- Direct observation

MODULES OF INSTRUCTION

CORE COMPETENCIES

LABORATORY AND METROLOGY /

CALIBRATION SERVICES NC III

UNIT OF COMPETENCY	:	USE COMPARISON AND BASIC MEASURING DEVICES

MODULE TITLE	:	USING COMPARISON AND BASIC MEASURING DEVICES

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes in sorting items using basic comparison measuring equipment, and maintaining the equipment. Measurements are conducted in a production environment or at a work station. Work is undertaken autonomously or as part of teamwork. All comparative measurements are undertaken to standard operating procedures and to regulatory and legislative requirements

NOMINAL DURATION	:	24 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee student must be able to:

LO1.	Identify job requirements

LO2.	Set comparative measuring devices

LO3.	Use comparison and/or basic measuring devices

LO4.	Maintain comparison and/or basic measuring devices

LO1.	IDENTIFY JOB REQUIREMENTS

ASSESSMENT CRITERIA:

  - Job sheets or equivalent instructions are interpreted without error and in accordance with company standard operating procedures.

  - Determine what measuring equipment is needed

CONTENTS:

- Use and application of various comparison or measurement devices

- Procedures for the correct use of devices

- Procedures for maintaining and storing devices

- Hazards and control measures associated with conducting measurements, including housekeeping

- Safe work practices and procedures

CONDITIONS:  Student / trainees must be provided with the following

- Basic measuring devices

- Rules

- Tapes & retractable tapes

- Vernier caliper, micrometer

- Comparison measuring devices

- Go / no-go devices

- Thread angle and taper gauges

- Overlay indicators

- Templates

- Digital devices

- Pre-set verniers and micrometers

- Temperature gauges

- Pressure gauges

- Measuring gauges

- Profile Comparators

METHODOLOGIES:

- Lecture

- Demonstration

- Dualized training

- Discussion

ASSESSMENT METHODS:

- Observation and questioning

- Portfolio

- Third party report

LO2.	SET COMPARATIVE MEASURING DEVICES

ASSESSMENT CRITERION:

- Measuring equipment is set to specifications using manufacturer guidelines or standard operating procedures and techniques.

CONTENTS:

- Use and application of various comparison or measurement devices

- Procedures for the correct use of devices

- Procedures for maintaining and storing devices

- Hazards and control measures associated with conducting measurements, including housekeeping

- Safe work practices and procedures

CONDITIONS:  Student / trainees must be provided with the following

- Basic measuring devices

- Rules

- Tapes & retractable tapes

- Vernier caliper, micrometer

- Comparison measuring devices

- Go / no-go devices

- Thread angle and taper gauges

- Overlay indicators

- Templates

- Digital devices

- Pre-set verniers and micrometers

- Temperature gauges

- Pressure gauges

- Measuring gauges

- Profile Comparators

METHODOLOGIES:

- Lecture

- Demonstration

- Dualized training

- Discussion

ASSESSMENT METHODS:

- Observation and questioning

- Portfolio

- Third party report

LO3.	USE COMPARISON AND/OR BASIC MEASURING DEVICES

ASSESSMENT CRITERIA:

- Basic measuring devices are identified and used to undertake required comparisons or measurements using standard operating procedures.

- Checking or sorting of items is undertaken using comparison and/or basic measuring device according to standard operating procedures.

- Measurements are documented and reported.

CONTENTS:

- Use and application of various comparison or measurement devices

- Procedures for the correct use of devices

- Procedures for maintaining and storing devices

- Using basic numeracy skills for undertaking comparison measurements

- Hazards and control measures associated with conducting measurements, including housekeeping

- Following oral instructions and written standard operating procedures

- Safe work practices and procedures

CONDITIONS:  Student / trainees must be provided with the following

- Basic measuring devices

- Rules

- Tapes & retractable tapes

- Vernier caliper, micrometer

- Comparison measuring devices

- Go / no-go devices

- Thread angle and taper gauges

- Overlay indicators

- Templates

- Digital devices

- Pre-set verniers and micrometers

- Temperature gauges

- Pressure gauges

- Measuring gauges

- Profile Comparators

METHODOLOGIES:

- Lecture

- Demonstration

- Dualized training

- Discussion

ASSESSMENT METHODS:

- Observation and questioning

- Portfolio

- Third party report

LO4.	MAINTAIN COMPARISON AND/OR BASIC MEASURING DEVICES

ASSESSMENT CRITERION:

- Basic care and storage is maintained to manufacturers’ standards or standard operating procedures.

CONTENTS:

- Use and application of various comparison or measurement devices

- Procedures for the correct use of devices

- Procedures for maintaining and storing devices

- Using basic numeracy skills for undertaking comparison measurements

- Hazards and control measures associated with conducting measurements, including housekeeping

- Following oral instructions and written standard operating procedures

- Safe work practices and procedures

CONDITIONS:  Student / trainees must be provided with the following

- Basic measuring devices

- Rules

- Tapes & retractable tapes

- Vernier caliper, micrometer

- Comparison measuring devices

- Go / no-go devices

- Thread angle and taper gauges

- Overlay indicators

- Templates

- Digital devices

- Pre-set verniers and micrometers

- Temperature gauges

- Pressure gauges

- Measuring gauges

- Profile Comparators

METHODOLOGIES:

- Lecture

- Demonstration

- Dualized training

- Discussion

ASSESSMENT METHODS:

- Observation and questioning

- Portfolio

- Third party report

UNIT OF COMPETENCY	:	MEASURE COMPONENTS USING COORDINATE MEASURING MACHINES

MODULE TITLE	:	MEASURING COMPONENTS USING COORDINATE MEASURING MACHINES

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes in following established processes, practices and standard operating procedures and provides dimensional detail required for adjustment or checking of the manufacturing process.

Work is carried out autonomously using predetermined standards of quality and safety. Operators would be expected to have competence in basic setting and adjusting of machines.

NOMINAL DURATION	:	24 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee student must be able to:

LO1.	Identify job requirements

LO2.	Load components

LO3.	Validate / calibrate precision measuring equipment

LO4.	Set probes

LO5.	Measure components

LO1.	IDENTIFY JOB REQUIREMENTS

ASSESSMENT CRITERION:

- Job sheets or equivalent instructions are interpreted without error and in accordance with company standard operating procedures.

CONTENTS:

- Hazards and control measures associated with operating a CMM, including housekeeping

- Usage and application of personal protective equipment

- Safe work practices and procedures

- Fixtures/clamping devices and their uses

- Storage location and procedures

- Fixing/clamping methods

- Procedures for undertaking pre-measurement manual hits for manual alignment

- Procedures for checking probe configuration

- Procedures for running and verifying part program

- Methods/techniques for interpreting results

- Procedures for reporting results and recommendations for adjustment

- Procedures for shutting down part program

- Procedures to safely remove and handle components

- Required cleaning tasks and the importance of cleaning the CMM

- Effects of contamination

- Perseverance, Attention to details and Honesty

CONDITIONS:  Student / trainees must be provided with the following

- Probes

- Solid trigger probes

- Electronic trigger probes

- Coordinate measuring machine

- Manual machines

- Machines fitted with microprocessors

METHODOLOGIES:

- Lecture

- Demonstration

- Dualized training

- Discussion

ASSESSMENT METHODS:

- Observation with questioning

- Portfolio

- Third party report

LO2.	LOAD COMPONENTS

ASSESSMENT CRITERIA:

- Pre-start checks are undertaken to standard operating procedures.

- Correct safety procedures are observed and safety equipment is checked for correct operation.

- Correct fixture/clamping device is selected.

- Component and fixtures are loaded and clamped in accordance with standard operating procedures.

CONTENTS:

- Hazards and control measures associated with operating a CMM, including housekeeping

- Usage and application of personal protective equipment

- Safe work practices and procedures

- Fixtures/clamping devices and their uses

- Storage location and procedures

- Fixing/clamping methods

- Procedures for undertaking pre-measurement manual hits for manual alignment

- Procedures for checking probe configuration

- Procedures for running and verifying part program

- Methods/techniques for interpreting results

- Procedures for reporting results and recommendations for adjustment

- Procedures for shutting down part program

- Procedures to safely remove and handle components

- Required cleaning tasks and the importance of cleaning the CMM

- Effects of contamination

- Perseverance, Attention to details and Honesty

CONDITIONS:  Student / trainees must be provided with the following

- Probes

- Solid trigger probes

- Electronic trigger probes

- Coordinate measuring machine

- Manual machines

- Machines fitted with microprocessors

METHODOLOGIES:

- Lecture

- Demonstration

- Dualized training

- Discussion

ASSESSMENT METHODS:

- Observation with questioning

- Portfolio

- Third party report

LO3.	VALIDATE / CALIBRATE PRECISION MEASURING EQUIPMENT

ASSESSMENT CRITERIA:

- Calibration of precision measuring equipment is assessed to manufacturers’ specifications and/or standard operating procedures.

- Equipment is calibrated against appropriate physical standards using correct calibration devices, equipment, techniques using predetermined procedures.

- Equipment is recommissioned in accordance with standard operating procedures for precision measuring.

CONTENTS:

- Hazards and control measures associated with operating a CMM, including housekeeping

- Usage and application of personal protective equipment

- Safe work practices and procedures

- Fixtures/clamping devices and their uses

- Storage location and procedures

- Fixing/clamping methods

- Procedures for undertaking pre-measurement manual hits for manual alignment

- Procedures for checking probe configuration

- Procedures for running and verifying part program

- Methods/techniques for interpreting results

- Procedures for reporting results and recommendations for adjustment

- Procedures for shutting down part program

- Procedures to safely remove and handle components

- Required cleaning tasks and the importance of cleaning the CMM

- Effects of contamination

- Perseverance, Attention to details and Honesty

CONDITIONS:  Student / trainees must be provided with the following

- Probes

- Solid trigger probes

- Electronic trigger probes

- Coordinate measuring machine

- Manual machines

- Machines fitted with microprocessors

METHODOLOGIES:

- Lecture

- Demonstration

- Dualized training

- Discussion

ASSESSMENT METHODS:

- Observation with questioning

- Portfolio

- Third party report

LO4.	SET PROBES

ASSESSMENT CRITERIA:

- Probe configuration is checked in accordance with 3 Set probes standard operating procedures.

- Pre-measurement manual hits are taken for manual alignment in accordance with standard operating procedures.

CONTENTS:

- Hazards and control measures associated with operating a CMM, including housekeeping

- Usage and application of personal protective equipment

- Safe work practices and procedures

- Fixtures/clamping devices and their uses

- Storage location and procedures

- Fixing/clamping methods

- Procedures for undertaking pre-measurement manual hits for manual alignment

- Procedures for checking probe configuration

- Procedures for running and verifying part program

- Methods/techniques for interpreting results

- Procedures for reporting results and recommendations for adjustment

- Procedures for shutting down part program

- Procedures to safely remove and handle components

- Required cleaning tasks and the importance of cleaning the CMM

- Effects of contamination

- Perseverance, Attention to details and Honesty

CONDITIONS:  Student / trainees must be provided with the following

- Probes

- Solid trigger probes

- Electronic trigger probes

- Coordinate measuring machine

- Manual machines

- Machines fitted with microprocessors

METHODOLOGIES:

- Lecture

- Demonstration

- Dualized training

- Discussion

ASSESSMENT METHODS:

- Observation with questioning

- Portfolio

- Third party report

LO5.	MEASURE COMPONENTS

ASSESSMENT CRITERIA:

- Part program is selected as required, run and verified according to standard operating procedures.

- Components are measured according to standard operating procedures.

- Results are interpreted and non-conforming/out of tolerance measurements are identified and reported.

- Part program is correctly shut down and components are removed according to standard operating procedures.

- Coordinate measuring machine, accessories and surrounds are left in a clean, safe condition.

CONTENTS:

- Hazards and control measures associated with operating a CMM, including housekeeping

- Usage and application of personal protective equipment

- Safe work practices and procedures

- Fixtures/clamping devices and their uses

- Storage location and procedures

- Fixing/clamping methods

- Procedures for undertaking pre-measurement manual hits for manual alignment

- Procedures for checking probe configuration

- Procedures for running and verifying part program

- Methods/techniques for interpreting results

- Procedures for reporting results and recommendations for adjustment

- Procedures for shutting down part program

- Procedures to safely remove and handle components

- Required cleaning tasks and the importance of cleaning the CMM

- Effects of contamination

- Perseverance, Attention to details and Honesty

CONDITIONS:  Student / trainees must be provided with the following

- Probes

- Solid trigger probes

- Electronic trigger probes

- Coordinate measuring machine

- Manual machines

- Machines fitted with microprocessors

METHODOLOGIES:

- Lecture

- Demonstration

- Dualized training

- Discussion

ASSESSMENT METHODS:

- Observation with questioning

- Portfolio

- Third party report

UNIT OF COMPETENCY	:	USE GRAPHICAL TECHNIQUES AND PERFORM SIMPLE STATISTICAL COMPUTATIONS

MODULE TITLE	:	USING GRAPHICAL TECHNIQUES AND PERFORMKING SIMPLE STATISTICAL COMPUTATIONS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes in interpreting and constructing graphs and charts from given or determined data, and performing basic statistical calculations. Application of the graphs and charts may be applied to information from competency various work contexts, quality processes, production and market trends and other engineering applications. A range of devices may be used to assist with calculations.

.

NOMINAL DURATION	:	8 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee student must be able to:

LO1.	Read and construct graphs

LO2.	Perform basic statistical computation

LO1.	READ AND CONSTRUCT GRAPHS

ASSESSMENT CRITERIA:

- Complex information is extracted from graphical from given or determined representation.

- Data is analyzed with respect to emerging trends.

- Graphs are constructed as required from data and drawn with respect to scale and accepted method.

- Significant features of graphical representation are understood such as limit lines, gradients (straight line graphs), intercepts, maximum and minimum values.

- A wide variety of graphs are constructed as required including histograms, control charts, straight line graphs and parabolic graphs.

CONTENT:

- Trend(s) indicated by changes in gradient of a graph

- Procedures for drawing the line of best fit for the coordinates plotted

- Standard form of equations relating to straight lines and parabolic curves

- Gradient, intercepts, maximum and minimum values and limit lines for straight line and parabolic curves

- Function of control charts

- Meaning of the terms mean, median and mode

- Meaning of the term standard deviation

- Significance of 1, 2 and 3 sigma limits

- Safe work practices and procedures

- Characteristics of straight line, parabolic and hyperbolic curves

- Procedures for determining the slope/rate of change of a curve

CONDITIONS:

Student / trainees must be provided with the following

- Computer

- Printer

- Materials

  - Pen

  - Graphing paper

  - Ruler

METHODOLOGIES:

- Lecture

- Demonstration

- Dualized training

- Discussion

ASSESSMENT METHODS:

- Observation with questioning

- Portfolio

- Third party report

LO2.	PERFORM BASIC STATISTICAL COMPUTATION

ASSESSMENT CRITERIA:

- Mean, median and mode are calculated from given calculations data.

- Standard deviation is calculated.

- Application of standard deviation and limits to process improvement techniques is understood.

CONTENT:

- Trend(s) indicated by changes in gradient of a graph

- Procedures for drawing the line of best fit for the coordinates plotted

- Standard form of equations relating to straight lines and parabolic curves

- Gradient, intercepts, maximum and minimum values and limit lines for straight line and parabolic curves

- Function of control charts

- Meaning of the terms mean, median and mode

- Meaning of the term standard deviation

- Significance of 1, 2 and 3 sigma limits

- Safe work practices and procedures

- Characteristics of straight line, parabolic and hyperbolic curves

- Procedures for determining the slope/rate of change of a curve

CONDITIONS:

Student / trainees must be provided with the following

- Computer

- Printer

- Materials

  - Pen

  - Graphing paper

  - Ruler

METHODOLOGIES:

- Lecture

- Demonstration

- Dualized training

- Discussion

ASSESSMENT METHODS:

- Observation with questioning

- Portfolio

- Third party report

ACKNOWLEDGEMENT

We wish to express our appreciation and with particular thanks to the following developers, facilitators and managers of Competency-Based Curriculum in Laboratory and Metrology / Calibration Services NC III.

- Technology Experts:

## Antonio A. Gimenez- Executive Director - CATC/PAFI

  - Cesar R. Leal – Philippine Automotive Federation, Inc. (PAFI)

  - Elmo N. Serbito – PAFI (Samahan ng mga Manggagawang Supercast)

  - Carina J. Bondad- Administrative Support Staff, (CATC/PAFI)

- Facilitators:

## Florante P. Inoturan

## Agnes P. Panem

## Abel B. Elpedes

  - The management and staff of the Qualifications and Standards Office.

# What is Competency-Based Curriculum (CBC)

- A competency-based curriculum is a framework or guide for the subsequent detailed development of competencies, associated methodologies, training and assessment resources.

- The CBC specifies the outcomes which are consistent with the requirements of the workplace as agreed through the industry or community consultations.

- CBC can be developed immediately when competency standards exist.

- When competency standards do not exist, curriculum developers need to clearly define the learning outcomes to be attained. The standard of performance required must be appropriate to industry and occupational needs through the industry/enterprise or specified client group consultations.

These materials are available in both printed and electronic copies.

For more information please contact:

Technical Education and Skills Development Authority (TESDA)

Telephone Nos.: 893-8281, 817-4076 to 82 loc. 611, 630, 631 and 635 or visit our website: www.tesda.gov.ph or the TESDA Regional or Provincial Office nearest you.