|  | Technical Education and Skills Development Authority |
| --- | --- |

COMPETENCY-BASED CURRICULUM

Construction Sector

System Formwork Installation NC II

Qualifications and Standards Office

TESDA Complex

East Service Road, South Superhighway

Taguig City, Metro Manila

Tel. No. (02) 893-8281, 8938303

www.tesda.gov.ph

TABLE OF CONTENTS

Page

A. Course Design	1-5

B. Modules of Instruction	6-65

  - BASIC COMPETENCIES

  - Participate in workplace communication	7-10

  - Work in a team environment	11-13

  - Practice career professionalism	14-17

  - Practice occupational health and safety	18-22

  - COMMON COMPETENCIES

  - Preparing construction materials and tools	24-27

  - Performing mensuration and calculation	28-30

  - Maintaining tools and equipment.	31-34

  - Observing procedures, specifications and manuals of instructions	35-38

  - Interpreting technical drawings and plans	39-41

  - CORE COMPETENCIES

  - Assembling and dismantling scaffolding/shoring and braces	43-47

  - Installing system formwork	48-55

  - Stripping system formwork	56-60

# COURSE DESIGN

COURSE TITLE	:	SYSTEM FORMWORK INSTALLATION NC II

## TRAINING DURATION	:	156 Hours

COURSE DESCRIPTION	:

This course is designed to enhance the knowledge, skills, positive attitude and work values of a student/learner on competencies such as, participate in workplace communication, work in a team environment, practice career professionalism, and practice occupational health and safety, prepare construction materials and tools, perform mensuration, maintain tools and equipment, observe procedures specifications and manuals of instructions, and interpret technical drawings and plans.

This cover  the special  competencies  to enable a person  to  perform assembling and dismantling of shoring/scaffolding,  installation   and  stripping of  system  formwork  utilizing  various types of materials, and  technologies in constructing  various  structures  in  a  diverse construction work  environment.

ENTRY REQUIREMENTS	:

Candidate/trainee must reach/poses any of the following qualification:

- Ability to communicate

- Physically fit and mentally healthy

- Can perform basic mathematical computation and mensuration.

COURSE STRUCTURE:

# BASIC COMPETENCIES

(18 hours)

| UNIT OF COMPETENCY | ## MODULE TITLE | LEARNING OUTCOMES | TRAINING DURATION |
| --- | --- | --- | --- |
| 1. Participate in workplace communication | 1.1 Participating in workplace communication | # 1.1.1 Obtain and convey workplace information 1.1.2 Complete relevant work related documents. 1.1.3 Participate in workplace meeting and discussion. | 4 hours |
| 2. Work in a team environment | 2.1 Working in a team environment | 2.1.1 Describe and identify team role and responsibility in a team. 2.1.2 Describe work as a team. | 4 hours |
| 3. Practice career professionalism | 3.1 Practicing career professionalism | 3.1.1 Integrate personal objectives with organizational goals 3.1.2 Set and meet work priorities # 3.1.3 Maintain professional growth and development | 6 hours |
| 4. Practice occupational health and safety | 4.1 Practicing occupational health and safety | - Identity hazards and risks 4.1.2 Evaluate hazards and risks 4.1.3 Control hazards and risks # 4.1.4 Maintain occupational health and safety awareness | 4 hours |

# COMMON COMPETENCIES

(18 hours)

| UNIT OF COMPETENCY | MODULE TITLE | LEARNING OUTCOMES | TRAINING DURATION |
| --- | --- | --- | --- |
| 1. Prepare construction materials and tools | 1.1 Preparing construction (heavy equipment) materials and tools. | 1.1.1 Identify materials and tools applicable to a specific construction job. 1.1.2 Request appropriate materials and tools. 1.1.3 Receive and inspect materials. | 4 hours |
| 2. Perform mensuration and calculation | 2.1 Performing mensuration and calculations | - Carry out measurements and calculations. - Select measuring instruments. | 4 hours |
| 3. Maintain tools and equipment. | 3.1 Maintaining tools and equipment. | 3.1.1 Check condition of tools and equipments. - Perform basic preventive maintenance 3.1.3 Store tools and equipment | 3 hours |
| 4. Observe procedures, specifications and manuals of instructions | 4.1 Observing procedures, specifications and manuals of instructions. | - Identify, access, and interpret specification/ manuals. - Apply information in manual 4.1.3 Store manuals. | 4 hours |
| 5. Interpret technical drawings and plans | 5.1 Interpreting technical drawings and plans | 5.1.1 Analyze signs, symbols and data. 5.1.2 Interpret technical drawings and plans | 3 hours |

# CORE COMPETENCIES

(80 hours)

(Plus 40 hours OJT)

| UNIT OF COMPETENCY | MODULE TITLE | LEARNING OUTCOMES | TRAINING DURATION |
| --- | --- | --- | --- |
| - Assemble and dismantle scaffold/ shoring and braces | - Assembling and dismantling scaffolding/ shoring and braces | - Plan and prepare for operation - Erect shoring/scaffold - Inspect replace defective shoring/scaffolding components - Dismantle shoring/scaffolding and clean up | 32 hours |
| - Install formwork components | - Installing formwork components | - Prepare materials, tools and equipment for installing formworks - Assemble scaffolds/shoring and braces - Set/fix form system of structure components | 32 hours |
| - Strip formwork components | - Stripping formwork components | - Prepare staging area, tools and equipment - Strip formworks of building components - Shore or/and re-shore building components | 16 hours |

RESOURCES:

| Tools | Equipment | Materials |
| --- | --- | --- |
| - Hammer | - Compressor | - Sheathing (metal, laminated plastic) assembly |
| - Spirit level | - Saw (hand, circular) | - Shoring and accessories |
| - Pull-push pen | - Personal protective Equipment (Gloves, Safety shoes, Hard hat, Safety harness, Safety goggles) | - Scaffolds and accessories |
| - Plumb bob |  | - Pencil |
| - Steel square | - Audi video equipment | - Lumber plywood |
| - Tri-square | - Power drill | - Nails |
| - Meter tape | - Portable grinder | - Form ties/ walers |
| - Level hose | - Lifting equipment | - Form oil |
| - Wrenches /spanners |  | - Reference books, |
| - Chisels |  | - Modules, hands out, multimedia materials. |

TRAINING DELIVERIES:

- School-based training

- Center-based training

- Industry-based training

- Dual –Training systems

ASSESSMENT METHODS:

- Interview (oral/questionnaire)

- Direct Observation

- Demonstration of Practical Skills

# TRAINER’S QUALIFICATIONS:

- Must have undergone training on Training Methodology I (TM I)

- Must be a holder of Metal Formworks Installation  Certificate Level II

- Must be computer literate

- Must be physically and mentally fit

- *Must have 1 year industry experience and/or teaching experience

MODULES OF INSTRUCTION

BASIC COMPETENCIES

SYSTEM FORMWORK INSTALLATION NC II

UNIT OF COMPETENCY	:	PARTICIPATE IN WORKPLACE COMMUNICATION

MODULE TITLE	:	PARTICIPATING IN WORKPLACE COMMUNICATION

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes required to obtain, interpret and convey information in response to workplace requirements.

TRAINING DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/ trainees will be able to:

# LO1.	Obtain and convey workplace information

LO2.	Complete relevant work related documents.

LO3.	Participate in workplace meeting and discussion.

LO1.	OBTAIN AND CONVEY WORKPLACE INFORMATION

ASSESSMENT CRITERIA:

- Specific relevant information is accessed from appropriate sources.

- Effective questioning, active listening and speaking skills are used to gather and convey information.

- Appropriate medium is used to transfer information and ideas.

- Appropriate non-verbal communication is used.

- Appropriate lines of communication with superiors and colleagues are identified and followed.

- Defined workplace procedures for the location and storage of information are used.

- Personal interaction is carried out clearly and concisely.

CONTENTS:

- Parts of speech

- Sentence construction

- Effective communication

CONDITIONS:

The students/ trainees must be provided with the following:

- Writing materials (pen & paper)

- References (books)

- Manuals

METHODOLOGIES:

- Group discussion

- Interaction

- Lecture

- Reportorial

ASSESSMENT METHODS:

- Written test

- Practical/performance test

- Interview

L02.	COMPLETE RELEVANT WORK RELATED DOCUMENTS

ASSESSMENT CRTERIA:

- Ranges of forms relating to conditions of employment are completed accurately and legibly.

- Workplace data is recorded on standard workplace forms and documents.

- Basic mathematical process is used for routine calculations.

- Errors in recording information on forms/ documents are identified and rectified.

- Reporting requirements to superior are completed according to enterprise guidelines.

CONTENTS:

- Basic mathematics

- Technical writing

- Types of forms

CONDITIONS:

The students/trainees must be provided with the following:

- Paper

- pencils/ball pen

- Reference books

- Manuals

METHODOLOGIES:

- Group discussion

- Interaction

- Lecture

ASSESSMENT METHODS:

- Written test

- Practical/performance test

- Interview

LO3.	PARTICIPATE IN WORKPLACE MEETINGS AND DISCUSSIONS

ASSESSMENT CRITERIA:

- Team meetings are attended on time.

- Own opinions are clearly expressed and those of others are listened to without interruption.

- Meeting inputs are consistent with the meeting purpose and established protocols.

- Workplace interaction is conducted in a courteous manner appropriate to cultural background and authority in the enterprise procedures.

- Questions about simple routine workplace procedures and matters concerning conditions of employment are asked and responded.

- Meeting outcomes are interpreted and implemented.

CONTENTS:

- Sentence construction

- Technical writing

- Recording information

CONDITIONS:

The students/trainees must be provided with the following:

- Paper

- Pencils/ball pen

- References (books)

- Manuals

METHODOLOGIES:

- Group discussions

- Interaction

- Lecture

ASSESSMENT METHODS:

- Written test

- Practical/performance test

- Interview

UNIT OF COMPETENCY	:	WORK IN A TEAM ENVIRONMENT

MODULE TITLE	:	WORKING IN A TEAM ENVIRONMENT

MODULE DESCRIPTOR	:	This module covers the knowledge, skills, and attitudes required to relate in a work based environment.

TRAINING DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the students/ trainees will be able to:

LO1.	Describe and identify team role and responsibility in a team.

LO2.	Describe work as a team.

LO1.	DESCRIBE AND IDENTIFY TEAM ROLE AND RESPONSIBILITY IN A TEAM

ASSESSMENT CRITERIA:

- Role and objective of the team is identified.

- Team parameters, relationships and responsibilities are identified.

- Individual role and responsibilities within team environment are identified.

- Roles and responsibilities of other team members are identified and recognized.

- Reporting relationships within team and external to team are identified.

CONTENTS:

- Team role.

- Relationship and responsibilities

- Role and responsibilities with team environment.

- Relationship within a team.

CONDITIONS:

The students/ trainees must be provided with the following:

- Standard operating procedure (SOP) of workplace

- Job procedures

- Client/supplier instructions

- Quality standards

- Organizational or external personnel

METHODOLOGIES:

- Group discussion/interaction

- Case studies

- Simulation

ASSESSMENT METHODS:

- Written test

- Observation

- Simulation

- Role playing

LO2.	DESCRIBE WORK AS A TEAM MEMBER

ASSESSMENT CRITERIA:

- Appropriate forms of communication and interactions are undertaken.

- Appropriate contributions to complement team activities and objectives were made.

- Reporting using standard operating procedures followed.

- Development of teamwork plans based from role team were contributed

CONTENTS:

- Communication process

- Team structure/team roles

- Group planning and decision-making

CONDITIONS:

The students/trainees must be provided with the following:

- SOP of workplace

- Job procedures

- Organization or external personnel

METHODOLOGIES:

- Group discussion/interaction

- Case studies

- Simulation

ASSESSMENT METHODS:

- Observation of work activities

- Observation through simulation or role-play

- Case studies and scenarios.

UNIT OF COMPETENCY	:	PRACTICE CAREER PROFESSIONALISM

MODULE TITLE	:	PRACTICING CAREER PROFESSIONALISM

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes in promoting career growth and advancement, specifically; to integrate personal objectives with organizational goals set and meet work priorities and maintain professional growth and development.

TRAINING DURATION	:	6 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Integrate personal objectives with organizational goals

LO2.	Set and meet work priorities

LO3.	Maintain professional growth and development

LO1.	INTEGRATE PERSONAL OBJECTIVES WITH ORGANIZATIONAL GOALS

ASSESSMENT CRITERIA:

- Personal growth and work plans towards improving the qualifications set for professionalism are evident.

- Intra and interpersonal relationship in the course of managing oneself based on performance evaluation is maintained.

- Commitment to the organization and its goal is demonstrated in the performance of duties.

- Practice of appropriate personal hygiene is observed.

- Job targets within key result areas are attained.

CONTENTS:

- Personal development-social aspects: intra and interpersonal development

- Organizational goals

- Personal hygiene and practices

- Code of ethics

CONDITIONS:

The students/ trainees must be provided with the following:

- Workplace

- Code of ethics

- Organizational goals

- Handouts and Personal development-social aspects

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive -lecture

- Simulation

- Demonstration

- Self paced instruction

ASSESSMENT METHODS:

- Role play

- Interview

- Written examination

LO2.	SET AND MEET WORK PRIORITIES

ASSESSMENT CRITERIA:

- Competing demands to achieve personal, team and organizational goals and objectives are prioritized.

- Resources are utilized efficiently and effectively to manage work priorities and commitments.

- Practices and economic use and maintenance of equipment and facilities are followed as per established procedures.

- Job targets within key result areas are attained.

CONTENTS:

- Organizational key result areas (KRA)

- Work values and ethical standards

- Company policies on the use and maintenance of equipment

CONDITIONS:

The students/ trainees must be provided with the following

- Hand outs on

- Organizational KRA

- Work values and ethics

- Company policies and standards

- Sample job targets

- Learning guides

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive lecture

- Group discussion

- Structured activity

- Demonstration

ASSESSMENT METHODS:

- Role play

- Interview

- Written examination

LO3.	MAINTAIN PROFESSIONAL GROWTH AND DEVELOPMENT

ASSESSMENT CRITERIA:

- Training and career opportunities relevant to the job requirements are identified and availed.

- Licenses and/or certifications according to the requirements of the qualifications are acquired and maintained

- Fundamental rights at work including gender sensitivity are manifested/ observed

- Training and career opportunities based on the requirements of industry are completed and updated.

CONTENTS:

- Qualification standards

- Gender and development (GAD) sensitivity

- Professionalism in the workplace

- List of professional licenses

CONDITIONS:

## The students/trainees must be provided with the following

- Quality standards

- GAD handouts

- CD’s, VHS tapes on professionalism in the workplace

- Professional licenses samples

METHODOLOGIES:

- Interactive lecture

- Film viewing

- Role play/simulation

- Group discussion

ASSESSMENT METHODS:

- Demonstration

- Interview

- Written examination

UNIT OF COMPETENCY	:	PRACTICE OCCUPATIONAL HEALTH AND SAFETY PROCEDURES

MODULE TITLE	:	PRACTICING OCCUPATIONAL HEALTH AND SAFETY PROCEDURES

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes required to comply with the regulatory and organizational requirements for occupational health and safety such as identifying, evaluating and maintaining occupational health and safety (OHS) awareness.

TRAINING DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Identity hazards and risks

LO2.	Evaluate hazards and risks

LO3.	Control hazards and risks

LO4.	Maintain occupational health and safety awareness

LO1.	IDENTIFY HAZARDS AND RISKS

ASSESSMENT CRITERIA:

- Workplace hazards and risks are identified and clearly explained.

- Hazards/risks and its corresponding indicators are identified in with the company procedures.

- Contingency measures are recognized and established in accordance with organizational procedures.

CONTENTS:

- Hazards and risks identification and control

- Organizational safety and health protocol

- Threshold limit value (TLV)

- OHS indicators

CONDITIONS:

The students/ trainees must be provided with the following:

- Workplace

- Personal protective equipment (PPE)

- Learning guides

- Hand-outs

- Organizational safety and health protocol

- OHS indicators

- Threshold limit value

- Hazards/risk identification and control

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive lecture

- Simulation

- Symposium

- Group dynamics

ASSESSMENT METHODS:

- Situation analysis

- Interview

- Practical examination

- Written examination

# LO2.	EVALUATE HAZARDS AND RISKS

ASSESSMENT CRITERIA:

- Terms of maximum tolerable limits are identified based on threshold limit values (TLV)

- Effects of hazards are determined.

- OHS issues and concerns are identified in accordance with workplace requirements and relevant workplace OHS legislation.

CONTENTS:

- TLV table

- Philippine OHS standards

- Effects of hazards in the workplace

- Ergonomics

- ECC Regulations

CONDITIONS:

## The students/trainees must be provided with the following

- Hand outs on

- Philippine OHS standards

- Effects of hazards in the workplace

- Ergonomics

- ECC regulations

- TLV table

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive lecture

- Situation analysis

- Symposium

- Film viewing

- Group dynamics

ASSESSMENT METHODS:

- Interview

- Written examination

- Simulation

LO3.	CONTROL HAZARDS AND RISKS

ASSESSMENT CRITERIA:

- OHS procedures for controlling hazards and risk are strictly followed.

- Procedures in dealing with workplace accidents, fire and emergencies are followed in accordance with the organization’s OHS policies.

- Personal protective equipment (PPE) is correctly used in accordance with organization’s OHS procedures and practices.

- Procedures in providing appropriate assistance in the event of workplace emergencies are identified in line with the established organizational protocol.

CONTENTS

- Safety regulations

- Clean air act

- Electrical and fire safety code

- Waste management

- Disaster preparedness and management

- Contingency measures and procedures

CONDITIONS:

The students/trainees must be provided with the following:

- Hand outs on

- Safety regulations

- Clean air act

- Electrical and fire safety code

- Waste management

- Disaster preparedness and management

- Contingency measures and procedures

- OHS personal records

- PPE

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive lecture

- Symposium

- Film viewing

- Group dynamics

- Self-paced instruction

ASSESSMENT METHODS:

- Written examination

- Interview

LO4.	MAINTAIN OCCUPATIONAL HEALTH AND SAFETY AWARENESS

ASSESSMENT CRITERIA:

- Procedures in emergency related drill are strictly followed in line with the established organization guidelines and procedures.

- OHS personal records are filled up in accordance with workplace requirements.

- PPE are maintained in line with organization guidelines and procedures.

CONTENTS:

- Operational health and safety procedure, practices and regulations

- Emergency-related drills and training

CONDITIONS:

## The students/trainees must be provided with the following

- Workplace

- PPE

- OHS personal records

- CD’s, VHS tapes, transparencies

- Health record

METHODOLOGIES:

- Interactive lecture

- Simulation

- Symposium

- Film viewing

- Group dynamics

ASSESSMENT METHODS:

- Demonstration

- Interview

- Written examination

MODULES OF INSTRUCTION

COMMON COMPETENCIES

SYSTEM FORMWORK INSTALLATION NC II

UNIT OF COMPETENCY	:	PREPARE CONSTRUCTION MATERIALS AND TOOLS

MODULE TITLE	:	PREPARING CONSTRUCTION (SYSTEM FORMWORK)   MATERIALS AND TOOLS

TRAINING DURATION	:	4 hours

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on identifying, requesting and receiving construction materials and tools based on the required performance standards.

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Identify materials and tools applicable to a specific construction job

LO2.	Request appropriate materials and tools

LO3.	Receive and inspect materials

LO1.	IDENTIFY MATERIALS AND TOOLS APPLICABLE TO A SPECIFIC JOB

ASSESSMENT CRITERIA:

- Tools and materials are identified as per job requirements

- Tools are classified according to its function as per job requirements.

- Materials are classified according to its uses to a specific construction project.

- Tools and materials are selected as per job requirement.

CONTENTS:

- Types and uses of construction materials and tools

- Description of materials and tools

- Listing of materials as per company standards.

CONDITIONS:

Students/trainees must be provided with the following:

- Workplace location

- Materials relevant to the unit of competency

- Materials and tools

- Materials and tools different brand names, size, capacity and kind of application.

- Handouts/Instructional Materials

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

- PowerPoint presentation

ASSESSMENT METHODS:

- Direct observation

- Written test/ questioning

LO2.	REQUEST APPROPRIATE MATERIALS AND TOOLS

ASSESSMENT CRITERIA:

- Needed materials and tools listed as per job requirement.

- Materials and tools are requested according to the list prepared.

- Requests are done as per company’s standard operating procedures (SOP)

- Materials and tools are substituted and provided unavailable without sacrificing cost and quality of work.

CONTENTS:

- Different forms

- Job order slip

- Tools and materials requisition slip

- Borrower’s slip

- Requisition procedures

CONDITIONS:

Students/trainees must be provided with the following:

- Sample of company standard in tools and materials requisition.

- Job order form

- Requisition slip

- Borrowers slip

- Handouts/Instructional materials

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO3.	RECEIVE AND INSPECT MATERIALS

ASSESSMENT CRITERIA:

- Received and inspected materials and tools as per quantity and specification based on requisition.

- Tools and materials are checked for damages and manufacturing defects.

- Materials and tools received are handled with appropriate safety devices.

- Materials and tools are set aside to appropriate location nearest to the workplace.

CONTENTS:

- Procedures in receiving tools and materials

- Proper inspection of tools and materials received.

- Proper handling of tools and materials.

CONDITIONS:

Students/trainees must be provided with the following:

- Sample of company standard in tools and materials in receiving materials.

- Inspection checklist

- Materials handling safety devices

- Inventory form handouts/instructional materials

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

UNIT OF COMPETENCY	:	PERFORM MENSURATIONS AND CALCULATIONS

MODULE TITLE	:	PERFORMING MENSURATIONS AND CALCULATIONS

TRAINING DURATION	:	4 hours

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on identifying, and measuring objects based on the required performance standards.

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Carry out measurements and calculations.

LO2.	Select measuring instruments.

LO1.	CARRY OUT MEASUREMENTS AND CALCULATIONS

ASSESSMENT CRITERIA:

- Calculation needed to complete work tasks are performed using the four basic process of addition (+), subtraction (-), multiplication (x) and division (/) including but not limited to: trigonometric functions, algebraic computations.

- Calculations involving fractions, percentages and mixed numbers are used to complete workplace tasks

- Numerical computations are self-checked and corrected for accuracy.

- Accurate measurements are obtained according to job requirements.

- Identified and converted systems of measurement according to job requirements.

- Measured work pieces according to job requirements.

CONTENTS:

- Trade mathematics/mensuration

- Four fundamental operation

- Kinds of measurement

- Dimensions

- Ratio and proportion

- Trigonometric functions

- Algebraic equations

- Fractions, percentage and decimals

- Conversion

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace location

- Problems to solve

- Measuring instruments

- Instructional materials relevant to the propose activity.

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO2.	SELECT MEASURING INSTRUMENTS

ASSESSMENT CRITERIA

- Object or component to be measured are identified, classified and interpreted according to the appropriate regular geometric shape.

- Measuring tools are selected/identified as per object to be measured or job requirements

- Correct specifications are obtained from relevant sources.

- Measuring instruments are selected according to job requirements.

- Alternative measuring tools are used without sacrificing cost and quality of work.

- Measurements are obtained according to job requirements.

CONTENTS

- Visualizing objects and shapes specifically geometric shapes.

- Interpreting Formulas for volume, areas, and perimeters of plane and geometric figures.

- Measuring Instruments/Measuring Tools

- Proper handling of measuring instruments

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Problems to solve

- Measuring instruments

- Instructional materials relevant to the propose activity.

METHODOLOGIES:

- Actual demonstration

- Classroom discussions

ASSESSMENT METHODS:

- Actual demonstration

- Direct observation

- Written test/questioning

UNIT OF COMPETENCY	:	MAINTAIN TOOLS AND EQUIPMENT

MODULE TITLE	:	MAINTAINING TOOLS AND EQUIPMENT

TRAINING DURATION	:	3 hours

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on checking condition, performing preventive maintenance and storing of tools and equipment based on the required performance standard.

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Check condition of tools and equipments

LO2.	Perform basic preventive maintenance

LO3.	Store tools and equipment

LO1.	CHECK CONDITIONS OF TOOLS AND EQUIPMENTS

ASSESSMENT CRITERIA:

- Tools and equipment are identified according to classification/specification and job requirements.

- Non-functional tools and equipment are segregated and labeled according to classification

- Safety of tools and equipment are observed in accordance with manufacturer’s instructions

- Conditions of PPE are checked in accordance with manufacturer’s instructions.

CONTENTS:

- Types of Tools and Equipments

- Classification of functional and non-functional tools

- Uses of Personal Protective Equipment (PPE).

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace location

- Tools and equipment related to the ff:

- Heavy equipment tools for repair

- Measuring instruments/equipments

- Instructional materials

- Handouts

- PowerPoint presentations

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO2.	PERFORM BASIC PREVENTIVE MAINTENANCE

ASSESSMENT CRITERIA:

- Lubricants are identified according to types of equipment.

- Tools and equipment are lubricated according to preventive maintenance schedule or manufacturer’s specifications.

- Measuring instruments are checked and calibrated in accordance with manufacturer’s instructions.

- Tools are cleaned and lubricated according to standard procedures

- Defective equipment and tools are inspected and replaced according to manufacturer’s specification.

- Work place is cleaned and kept in safe state in line with OSHC regulations.

CONTENTS:

- Types uses of lubricants

- Types and uses of cleaning materials/solvent

- Types and uses of measuring instruments and equipment.

- Preventive maintenance techniques and procedures.

- OSHC workplace regulations

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace location

- Kinds of manuals:

- Manufacturer's specification manual

- Repair manual

- Maintenance procedure manual

- Periodic maintenance manual

- Maintenance schedule forms

- Handouts/Instructional materials

- Maintenance materials, tools and equipment

- Lubricants

- Cleaning materials

- Rust remover

- Rugs

- Spare parts

- PPE

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO3.	STORE TOOLS AND EQUIPMENT

ASSESSMENT CRITERIA:

- Inventory of tools, instruments, and equipment are conducted and recorded as per company practices.

- Tools are inspected, and replaced after use.

- Tools and equipment are stored safely in accordance with manufacturer’s specifications or company procedures.

CONTENTS:

- Inventory of tools and equipment

- Tools and equipment handling

- Tool safe-keeping/storage

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Handouts/instructional materials

- Workplace location/tool room

- Rack

- Tool box

- Forms

- Requisition slip

- Inventory form

- Inspection form

METHODOLOGIES:

- Demonstration

- Classroom discussions

ASSESSMENT METHODS:

- Practical examination

- Direct observation

- Written test/questioning

UNIT OF COMPETENCY	:	OBSERVE PROCEDURES, SPECIFICATIONS AND    MANUALS OF INSTRUCTIONS

MODULE TITLE	:	OBSERVE PROCEDURES, SPECIFICATIONS AND MANUALS OF INSTRUCTIONS

TRAINING DURATION	:	4 hours

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on identifying, interpreting, applying services to specifications and manuals and storing manuals.

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Identify, access, and interpret specification/manuals

LO2.	Apply information in manual

LO3.	Store manuals

LO1.	IDENTIFY, ACCESS, AND INTERPRET SPECIFICATION/MANUALS

ASSESSMENT CRITERIA:

- Manuals are identified and accessed as per job requirements.

- Version and date of manual are checked to ensure that correct specification and procedures are identified.

- Relevant sections, chapters of specifications/manuals are located in relation to the work to be conducted.

- Information and procedure in the manual are interpreted in accordance with industry practices.

CONTENTS:

- Types of manuals used in construction sector

- Different types of symbols.

- Accessing information and data.

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Manuals/catalogues relative to construction sector.

- Instructional materials

METHODOLOGIES:

- Classroom discussions/Lecture

- Self-paced

ASSESSMENT METHODS:

- Practical examination

- Written test/questioning

- Oral examination

LO2.	APPLY INFORMATION IN MANUAL

ASSESSMENT CRITERIA:

- Work steps are correctly identified in accordance with manufacturer’s specification.

- Manual data are applied according to the given task.

- Adjustments are interpreted in accordance with information contained on the manual or specifications.

CONTENTS:

- Manual/specification application.

- Interpreting specifications

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Manuals

- Workplace Location

- Measuring Instruments

- Instructional materials

METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

ASSESSMENT METHODS:

- Practical examination

- Oral examination

- Written test/questioning

LO3.	STORE MANUAL

ASSESSMENT CRITERION:

- Manual or specification is stored appropriately to prevent damage, ready access and updating of information when required in accordance with company requirements.

CONTENT:

- Manual handling

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion.

- Manuals

- Store rooms/library

- Instructional materials

METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

ASSESSMENT METHODS:

- Practical examination

- Direct observation

- Written test/questioning.

UNIT OF COMPETENCY	:	INTERPRET TECHNICAL DRAWINGS AND PLANS

MODULE TITLE	:	INTERPRETING TECHNICAL DRAWINGS AND PLANS

TRAINING DURATION	:	3 hours

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on analyzing and interpreting symbols, data and work plan based on the required performance standard.

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Analyze signs, symbols and data.

LO2.	Interpret technical drawings and plans

LO1.	ANALYZE SIGNS, SYMBOLS AND DATA

ASSESSMENT CRITERIA:

- Sign, symbols, and data are identified according to job specifications.

- Sign, symbols and data are determined according to classification or as appropriate in drawing.

CONTENTS:

- Drawing symbols and signs

- Trade mathematics

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Measuring Instruments

- Blueprints of plan

- Electrical

- Mechanical

- Instructional materials

METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

ASSESSMENT METHODS:

- Practical examination

- Direct observation

- Written test/questioning

LO2.	INTERPRET TECHNICAL DRAWINGS AND PLANS

ASSESSMENT CRITERIA:

- Necessary tools, materials and equipment are identified according to the plan.

- Components, assemblies or object are recognized as per job requirement.

- Dimensions and specification are identified according to job requirements.

CONTENTS:

- Basic technical drawing

- Technical plans and schematic diagram

- Symbols and abbreviations

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Measuring Instruments

- Blueprints of plan

- Electrical

- Mechanical

- Instructional materials

METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

ASSESSMENT METHODS:

- Practical examination

- Direct observation

- Written test/questioning

MODULES OF INSTRUCTION

CORE COMPETENCIES

SYSTEM FORMWORK INSTALLATION NC II

UNIT OF COMPETENCY	:	ASSEMBLE AND DISMANTLE SCAFFOLDING/SHORING AND BRACES

MODULE TITLE	:	ASSEMBLING AND DISMANTLING SCAFFOLDING/ SHORING AND BRACES

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitude to carry-out work activities in preparation for system formworks installation according to industry standard. This include   planning and preparing for work; conducting operational check; and perform effective erection and dismantling of scaffold.

TRAINING DURATION	:	40 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainees/student must be able to:

LO1.	Plan and prepare for operation

LO2.	Erect shoring/scaffolding

LO3.	Inspect and replace defective shoring/scaffolding components

LO4.	Dismantle shoring/scaffolding and clean up

LO1.	PLAN AND PREPARE FOR OPERATION

ASSESSMENT CRITERIA:

- Occupational Safety and Health Standards (OSHS)  requirements consistent to erect and dismantle shoring / scaffolding are verified and complied with

- Site access and emergency routes are identified and confirmed.

- Work instruction is reviewed, confirmed and clarified with authorized personnel.

- Operation to erect and dismantle shoring / scaffolding is determined and planned in line with job and site requirements.

- Purpose of shoring / scaffolding is confirmed and associated activities are identified.

- Equipment is selected in accordance with work requirements.

CONTENTS:

- OH&S standards

- Company policies

- Scaffolding erection and dismantling procedures

- Types of scaffold/shoring and braces

- Determining loads

- 5’s  and  3 R’s

CONDITIONS:

The students/trainees must be provided with the following:

- Work instructions

- Company policy manual

- OH&S manual

- Brochures of the different types of scaffolding

- Instructional materials

METHODOLOGIES:

- Classroom discussions

- Practical exercises

- Audio/video presentation

ASSESSMENT METHODS:

- Direct observation

- Written test/questioning

LO2.	ERECT  SHORING/SCAFFOLDING

ASSESSMENT CRITERIA:

- Shoring /scaffolding and components are inspected, damaged components are isolated, labeled, tagged and   rejected.

- Footings are prepared in accordance with OSHS requirements, codes of practice, manufacturer specifications and  engineer's instructions.

- Shoring / scaffolding is set out and erected in accordance with OSHS requirements and manufacturer specifications.

- Fall protection devices are installed in accordance with job specification and OSHS requirements.

CONTENTS:

- Scaffolding /shoring components

- Types of scaffold/shore defects

- Scaffolding load design

- Lifting devices

- Scaffolding/shoring erecting procedure

- OH&S standards

- Company policies

- Types of scaffolding

CONDITIONS:

The students/trainees must be provided with the following:

- Work instructions

- Tools and equipment

- Company policy manual

- OH&S manual

- PPE

- Scaffolding /shoring

- Labeling and tagging materials

- Brochures of the different types of scaffolding

- Instructional materials

- Workplace or simulated area

METHODOLOGIES:

- Classroom discussions

- Practical exercises

- Audio/video presentation

ASSESSMENT METHODS:

- Direct observation

- Written test/questioning

LO3.	INSPECT AND REPLACE DEFECTIVE SHORING/ SCAFFOLDING COMPONENT

ASSESSMENT CRITERIA:

- Faulty components are reported to appropriate personnel in line with company safe operating procedure.

- Shoring / scaffolding instability is reported to appropriate personnel in line with company safe operating procedure.

- Replacements of defective components are carried out.

- Shoring / scaffolding checklist report is accomplished and submitted to appropriate personnel following  work procedures.

CONTENTS:

- Scaffolding /shoring components defects

- Shoring/scaffolding inspection procedure

- Shoring/scaffolding stability

- OH&S standards

- Report  preparation

- Company policies

- Scaffolding erection and dismantling procedures

CONDITIONS:

The students/trainees must be provided with the following:

- Tools and equipment

- Shoring/ scaffolding components

- Work instructions

- Company policy manual

- OSH S manual

- PPE

- Report forms/checklist

METHODOLOGIES

- Classroom discussions

- Practical exercises

- Audio/video presentation

ASSESSMENT METHODS

- Direct observation

- Questioning

LO4.	DISMANTLE SHORING/SCAFFOLDING AND CLEAN UP

ASSESSMENT CRITERIA:

- Dismantling area is isolated with safety signs and barricades are put in place.

- Shoring / scaffolding is dismantled in accordance with engineering & safe principles.

- Work area is cleared and materials disposed of, re-used or recycled in accordance with OSHS requirements, codes of practice and job specifications.

- Tools and equipment are cleaned, checked, maintained and stored in accordance with manufacturer recommendations and standard work practices.

- Work completion procedures are applied and appropriate personnel notified of work completion.

- Advanced shoring / scaffolding operations and faults are recorded and reported to the appropriate personnel.

CONTENTS:

- Good housekeeping

- Scaffolding/shoring  dismantling procedures

- OSH standards

- Reusing/recycling of materials

- Work completion report

- Company policies

CONDITIONS:

The students/trainees must be provided with the following:

- Tools

- Cleaning tools and materials

- Work instructions

- Company policy manual

- OH&S manual

- Work area signs and barricades

- Instructional materials

- PPE

- Scaffolding

- Workplace or simulated area

METHODOLOGIES

- Classroom discussions

- Practical exercises

- Audio-video presentation

ASSESSMENT METHODS

- Direct observation

- Written test/questioning

UNIT OF COMPETENCY 	:	INSTALL SYSTEM FORMWORK

MODULE TITLE	:	INSTALLING SYSTEM FORMWORK

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitude in selecting and preparing materials and tools for installing metal formworks, Laying-out/assembling scaffolds and braces, setting/fixing form panels of building components.

TRAINING DURATION	:	40 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Prepare materials, tools and equipment for installing formworks

LO2.	Perform setting out

LO3.	Set/fix form system of structure components

LO4.	Double check installed formwork systems

LO1.	PREPARE MATERIALS, TOOLS AND EQUIPMENT FOR INSTALLING FORMWORKS

ASSESSMENT CRITERIA:

- Appropriate PPE is selected and used according to job requirements and OSHS specifications.

- Formworks components, power and hand tools and equipment are selected and prepared consistent with job requirements.

- Materials and other semi-consumables are re-checked and properly staged according to job requirements.

- Damaged materials are isolated and  reported to immediate superior.

- Unexpected situations are responded to in line with company rules and regulations.

- Housekeeping is performed according to safety regulations.

CONTENTS:

- Types of  formwork  systems

  - Table form/Flying form

  - System column formwork

  - Horizontal panel systems

  - Vertical panel systems

  - Jump form

  - Slip form

  - Tunnel form

- Other systems

  - Built-in –place suspended slab forming

  - Gang forms

  - Prefabricated panel formwork

  - Knock-down forming

  - Bridge construction- cast in place segmental, span –by –span /stepping formwork

  - One sided forms

- Other considerations

  - Function of formworks

  - Characteristics of good formworks

  - Formworks safety

  - Formworks components

  - Typical materials used  for formworks

  - Requirements for material strength

  - Advantages and disadvantages of  metal and other  formworks

  - Semi- consumables materials for formworks

- Power  and hand tools safe handling and preparations

- Tagging and coding

- Mensuration

- Formworks  and other materials preparations and staging procedures

- Power  and hand tools, and equipment uses

- Storage of formworks panels

- Contingency measures in the preparations of

- Workplace safety and best practices

CONDITIONS:

Students/trainees must be provided with the following:

| Tools | Equipment | Materials |
| --- | --- | --- |
| - Hammer | - Compressor | - Sheathing (metal, laminated plastic) assembly |
| - Spirit level | - Saw (hand, circular) | - Shoring and accessories |
| - Pull-push pen | Personal protective Equipment (Gloves, Safety shoes, Hard hat, Safety harness, Safety goggles) | - Scaffolds and accessories |
| - Plumb bob |  | - Pencil |
| - Steel square |  | - Lumber plywood |
| - Tri-square |  | - Nails |
| - Meter tape |  | - Form ties/ walers |
| - Level hose |  | - Form oil |
|  | - Audi video equipment | - Reference books, |
|  |  | - Modules, hands out, multimedia materials. |

METHODOLOGIES:

- Lecture/discussion

- Modular (self-pace learning)

- Return -demonstration

ASSESSMENT METHODS:

- Interview (oral/questionnaire)

- Observation

- Demonstration

LO2.	PERFORM SETTING OUT

ASSESSMENT CRITERIA:

- Base line is established/ Identified according to the site layout.

- Center line/location of columns/walls is established.

- Dimension of footing (columns & walls) are established.

- Defined locations are Marked-out using marking gauge or paints (columns/walls).

- Squareness of markings is checked.

- Offset lines for checking purposes are set-up.

CONTENTS:

- Concrete elements and building systems

  - Flat slabs

  - Ribbed and waffle slabs

  - Beams and slabs

  - Post -tensioned slabs

  - Tunnel form structures

- Types of worksite conditions

- Work area preparation and clearing procedures and techniques

- Establishing baseline,

- locating center-line of column and walls

- Dimensions and marking for  footing, column, and walls

- Squreness of markings

- Workplaces safety ad best practices

CONDITIONS:

Students/trainees must be provided with the following:

| Tools |  | Materials |
| --- | --- | --- |
| - Hammer | - Personal protective Equipment (Gloves, Safety shoes, Hard hat, Safety harness, Safety goggles) | - string lines |
| - Spirit level | - Leveling equipment | - Paint |
| - Plumb bob |  | - Paint rush |
| - Steel square |  |  |
| - Tri-square |  | - Reference books, |
| - Meter tape |  | - Modules, hands out, multimedia materials. |
| - Level hose |  |  |

METHODOLOGIES:

- Lecture/discussion

- Modular (self-pace learning)

- Return-demonstration

- Simulation

ASSESSMENT METHODS:

- Interview (oral/questionnaire)

- Observation

- Demonstration

LO3.	SET/FIX FORM SYSTEM OF STRUCTURE COMPONENTS

ASSESSMENT CRITERIA:

- Appropriate PPE is selected and used according to job requirements and OSHS specifications.

- Form oil is applied to form panels or sheathing in accordance with specifications.

- Formworks components are set to the required alignment, squareness, levelness, plumbness.

- Connectors, braces and locks are properly secured according to job requirements.

- Unexpected situations are responded to in line with company rules and regulations.

- Housekeeping is performed according to safety regulations.

- Formworks components are set to the required output at the given time.

- Debris are removed in accordance to standard procedure.

CONTENTS:

- Formworks systems defects

  - Sole plate

  - Horizontal supports

  - Vertical supports

  - General

- Causes of formworks failures

  - Improper stripping and shore removal

  - Inadequate bracing

  - Vibration

  - Unstable soil under mudsills, shoring not plumb

  - Inadequate control of concrete placement

  - Lack of attention to formwork details

- Procedures on setting/fixing different types of formwork  systems

- Steps in setting and fixing  formwork /components assembly

  - Sequence of assembly

  - Alignments

  - Levelness

  - Plumbness

  - Squareness

- Rigidity and stability  and equilibrium of structure

- Connectors, braces and locks securing procedures and techniques

- Formworks setting procedures and techniques

- Oiling formwork

  - Time of application

  - Methods of application

- Installed formworks double –checking Procedures

- Formworks cleaning procedures and techniques

- Proper use  of leveling instruments

- Stress on materials

  - Flexibility

  - Elasticity

  - Axial forces

  - Shear forces

CONDITIONS:  Students/trainees must be provided with the following:

| Tools | Equipment | Materials |
| --- | --- | --- |
| - Hammer | - Compressor and hoses | - Sheathing (metal, laminated plastic) assembly |
| - Spirit level | - Formworks components | - Shoring and accessories |
| - Pull-push pen | - Saw (hand, circular) | - Scaffolds and accessories |
| - Plumb bob | - Lifting equipment | - Pencil |
| - Steel square | - Personal protective Equipment (Gloves, Safety shoes, Hard hat, Safety harness, Safety goggles | - Lumber plywood |
| - Tri-square |  | - Nails |
| - Meter tape |  | - Form ties/ walers |
|  |  | - bolts and nuts, coach screws, masonry anchors, metal brackets, nails and spikes, patented metal fasteners, steel tie rods |
| - Level hose |  | - Form oil |

METHODOLOGIES:

- Lecture/discussion

- Modular (self-pace learning)

- Return- demonstration

- Simulation

ASSESSMENT METHODS:

- Interview (oral/questionnaire)

- Direct observation

- Demonstration

LO4	DOUBLE CHECK INSTALLED FORMWORK SYSTEMS

ASSESSMENT CRITERIA:

- Installed formwork are double checked in accordance to job instruction.

- Appropriate remedies/ adjustments are made to rectify non conformance to standards.

- Appropriate personnel are notified of the accomplished task.

CONTENTS:

- Checking of installed formworks

- Formworks defects/ non-conformance to standards

- Remedies and adjustments  procedures on  installed formworks

- Safety practices observed in the jobsite Lever/simple machines

- Work accomplished reporting procedure

CONDITIONS: Students/trainees must be provided with the following:

| Tools | Equipment | Materials |
| --- | --- | --- |
| - Hammer | - Personal protective equipment | - Plan and working drawings |
| - Measuring tools | - Portable circular saw | - Lumber |
|  | - Scaffolding | - Nails |
| - Sledge hammer |  |  |

METHODOLOGIES:

- Lecture /discussion

- Modular (self-pace learning)

- Return-demonstration

- Simulation

ASSESSMENT METHODS:

- Interview (oral/questionnaire)

- Direct observation

- Demonstration

UNIT OF COMPETENCY 	:	STRIP SYSTEM FORM WORK

MODULE TITLE	:	STRIPPING SYSTEM FORM WORK

MODULE DESCRIPTOR	:	This module covers the required competencies in preparing staging area, tools and equipment, and  in actual  stripping of meal formworks , shoring or/and re-shoring building components.

TRAINING DURATION	:	24 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Prepare staging area, tools and equipment

LO2.	Strip formworks of structure components

LO3.	Shore or/and re-shore building components

LO1.	PREPARE STAGING AREA, TOOLS AND EQUIPMENT

ASSESSMENT CRITERIA:

- Work instruction is secured from immediate superior

- Appropriate PPE is selected and used according to job requirements and OSHS specifications.

- Staging area is identified and prepared based on job requirements.

- Tools are selected and prepared consistent with job requirements.

- Unexpected situations are responded to in line with company rules and regulations.

- Housekeeping is performed according to safety regulations.

CONTENTS:

- Work instructions

- Staging area selection and preparation

- Proper storage and inventory of formwork components

- Types/kinds of power and hand tools/equipment are selected and prepared consistent with job requirement

- Necessary action must be taken in response to actual situation

- Safe practices in the job site

- Types of PPE

- OHS specification relevant to job requirement

- Basic oral communication

- Filling-out forms

CONDITIONS:

Students/trainees must be provided with the following:

| Tools | Equipment | Materials |
| --- | --- | --- |
| - Hammer | - Personal protective equipment | - Modules/handouts reference books |
| - Scaffolding | - Audio video /multimedia equipment | - Audio /video materials |
| - Open end wrench | - Lifting equipment | - Sample work forms |
| - Steel brush |  | - Paper and pencil |

METHODOLOGIES:

- Lecture/discussion

- Modular (self-pace learning)

- Return-demonstration

ASSESSMENT METHODS:

- Interview (oral/questionnaire)

- Direct observation

- Demonstration

LO2.	STRIP FORMWORKS OF BUILDING COMPONENTS

ASSESSMENT CRITERIA:

- Stripping permit is secured from immediate supervisor.

- Formwork components and accessories are stripped carefully, safely and sequentially.

- Formwork components and accessories are sorted, arranged and properly staged.

- Formwork components and accessories are cleaned, refurbished, inventoried and stored.

- Formwork components and accessories which are beyond repair are discarded for proper disposal.

- Unexpected situations are responded to Housekeeping is performed according to safety regulations.

CONTENTS:

- Cement curing theories

- Minimum setting time for:

  - Walls

  - Structural slabs

  - Footings and foundations

  - Earth supported foundations

- Procedure in stripping formworks

- Storage and inventory of formwork components

- Different types and uses of cleaning materials and equipment

- Necessary action must be taken in response to actual situation

- Safety procedures

- OHS regulations

CONDITIONS: Students/trainees must be provided with the following:

| Tools | Equipment | Materials |
| --- | --- | --- |
| - Hammer | - Personal protective equipment | - Sheathing (metal, laminated plastic) assembly |
| - Claw bar | - Portable circular saw | - Shoring and accessories |
| - Wrenches | - Lifting equipment | - Scaffolds and accessories |
|  |  | - Audio /video materials |
|  |  | - Sample work forms |
|  |  | - Pencil |
|  |  | - Work instructions |

METHODOLOGIES:

- Lecture/discussion

- Modular (self-pace learning)

- Return-demonstration

- Simulation

ASSESSMENT METHODS:

- Observation (oral/questioning )

- Demonstration

LO3.	SHORE AND RE-SHORE BUILDING COMPONENTS

ASSESSMENT CRITERIA:

- Appropriate PPE is selected and used according to job requirements and OSHS.

- Formworks structure components are re-shored where applicable.

- Shores are removed in accordance with standard procedures.

- Shores, tools and equipment are cleaned, maintained, inventoried and stored properly.

- Unexpected situations are responded to.

- Housekeeping is performed according to safety regulations.

CONTENTS:

- Shoring /re-shoring  theories  and principles

- Steps in shoring and re-shoring

- Storage & inventory of tools & equipment

- Necessary action must be taken in response to actual situation

- Safety practices observed in the jobsite Lever/simple machines

- Basic oral communication

- Reading and interpreting brochures and manuals

CONDITIONS: Students/trainees must be provided with the following:

| Tools | Equipment | Materials |
| --- | --- | --- |
| - Hammer | - Personal protective equipment | - Plan and working drawings |
| - Measuring tools | - Portable circular saw | - Lumber |
|  | - Scaffolding | - Nails |
| - Sledge hammer |  |  |

METHODOLOGIES:

- Lecture /discussion

- Modular (self-pace learning)

- Return-demonstration

- Simulation

ASSESSMENT METHODS:

- Interview (oral/questionnaire)

- Direct observation

- Demonstration

# What is Competency-Based Curriculum (CBC)

- A competency-based curriculum is a framework or guide for the subsequent detailed development of competencies, associated methodologies, training and assessment resources.

- The CBC specifies the outcomes which are consistent with the requirements of the workplace as agreed through the industry or community consultations.

- CBC can be developed immediately when competency standards exist.

- When competency standards do not exist, curriculum developers need to clearly define the learning outcomes to be attained. The standard of performance required must be appropriate to industry and occupational needs through the industry/enterprise or specified client group consultations.

These materials are available in both printed and electronic copies.

For more information please contact:

Technical Education and Skills Development Authority (TESDA)

Telephone Nos.: 893-8281, 817-4076 to 82 loc. 611, 630, 631 and 635 or visit our website: www.tesda.gov.ph or the TESDA Regional or Provincial Office nearest you.