| - COMPETENCY-BASED CURRICULUM |  |
| --- | --- |

| Sector: ###### UTILITIES |  |
| --- | --- |
| Qualification: Diesel Power Plant Maintenance NC III |  |
|  | Technical Education and Skills Development Authority East Service Road, South Superhighway, Taguig City, Metro Manila |

TABLE OF CONTENTS

Page

A.	COURSE DESIGN	1-7

B.	MODULES OF INSTRUCTION	8-82

- Basic Competencies	8

  - Leading workplace communication	9-12

  - Leading small team	13-17

  - Developing and practicing negotiation skills	18-21

  - Identifying / determining fundamental cause of problem	22-25

  - Using mathematical concepts and technique	26-29

  - Using relevant technologies	30-33

- Common Competencies	34

  - Reading, interpreting and applying specification and manual	35-38

  - Performing shop maintenance	39-43

  - Performing mensuration and calculations	44-47

  - Performing basic benchwork	48-51

  - Performing basic electrical works	52-54

- Core Competencies	55

  - Overhauling diesel engine 	56-64

  - Diagnosing and repairing diesel engine	65-68

  - Servicing alternator / generator	69-75

  - Diagnosing and repairing electrical system	76-82

# Course Design

# COURSE TITLE	:	Diesel Power Plant Maintenance NC III

NOMINAL DURATION	:    352 hours

COURSE DESCRIPTION	:

This course is designed to enhance the knowledge, skills and attitudes of a trainee/student in tending diesel engine operation, operating diesel power plant, maintaining and repairing diesel engine and servicing alternator or generator.

This course also participating in workplace communication, working in a team environment, practicing career professionalism, practicing occupational health and safety procedures, applying appropriate sealant and adhesive, reading, interpreting and applying specification and manual and using lubricants.

ENTRY REQUIREMENTS:

Trainees or students should possess the following requirements:

- can communicate both oral and written in English;

- physically and mentally fit;

- with good moral character; and

- can perform basic mathematical computation

This list does not include specific institutional requirements such as educational attainment and others that may be required from the trainees by the training school delivering the TVET program.

# COURSE STRUCTURE:

# BASIC COMPETENCIES

# (56 hours)

| # Units of Competency | # Module Title | # Learning Outcomes | # Nominal Duration |
| --- | --- | --- | --- |
| # Lead workplace communication | # Leading workplace communication | - Communicate information about workplace processes. - Lead workplace discussions. - Identify and communicate issues arising in the workplace | # 10 hours |
| # Lead small team | # 2.1 Leading small team | - Provide team leadership. - Assign responsibilities among members. - Set performance expectation for team members - Supervise team performance | # 10 hours |
| # Develop and practice negotiation skills | # 3.1 Developing and practicing negotiation skills | - Identify relevant information in planning negotiations - Participate in negotiations - Document areas for agreement | # 9 hours |
| - Solve problem related to work activities | # 4.1 Identifying/ determining fundamental cause of problem | - Explain the analytical techniques. - Identify the problem. - Determine the possible cause/s of the problem. | # 10 hours |
| - Use mathematical concepts and techniques | # 5.1 Using mathematical concepts and techniques | - Identify mathematical tools and techniques to solve problem - Apply mathematical procedures/solution - Analyze results | # 7 hours |
| - Use relevant technologies | ##### 6.1 Using relevant technologies | - Study/ select appropriate technology - Apply relevant technology - Maintain/enhance relevant technology | # 10 hours |

# COMMON COMPETENCIES

# (80 hours)

| # Units of Competency | # Module Title | # Learning Outcomes | # Nominal Duration |
| --- | --- | --- | --- |
| - Read, interpret and apply specification and manual | - Reading, interpreting and applying specification and manual | - Identify/accessed manuals and interpret data and specification. - Apply information accessed in manual. - Store manual | 16 hours |
| - Perform shop maintenance | - Performing shop maintenance | - Inspect and clean tools, equipment and the work area. - Store/arrange tools and shop equipment. - Dispose waste and used lubricants. - Report damaged tools and equipment | 14 hours |
| - Perform mensuration and calculation | - Perforning mensuration and calculation | - Select measuring instruments - Carry out measurement and calculation - Maintain measuring instruments | 18 hours |
| - Perform basic benchwork | - Performing basic benchwork | - Prepare supplies, materials, tools, and equipment - Layout necessary dimensions - Perform grinding, cutting, filing, drilling and boring | 18 hours |
| - Perform basic electrical works | - Performing basic electrical works | - Test power supply and electrical components - Perform basic repairs and installation | 14 hours |

# CORE COMPETENCIES

# (216 hours)

| # Units of Competency | # Module Title | # Learning Outcomes | # Nominal Duration |
| --- | --- | --- | --- |
| - Overhaul diesel engine | - Overhauling diesel engine | - Disassemble the engine Tend diesel engine - Assess and repair engine Block, parts and sub-assembly - Re-assemble engine - Test run the engine | 96 hours |
| - Diagnose and repair diesel engine | - Diagnosing and repair diesel engine | - Plan and prepare for troubleshooting and repair - Perform troubleshooting and repair | 48 hours |
| - Service alternator/ generator | - 4.1 Servicing alternator/ generator | - Perform dismantling of alternator/generator - Assess and repair alternator/generator components - Reassemble and test alternator/generator | 24 hours |
| - Diagnose and repair electrical system | - Diagnose and repair electrical system | - Plan and prepare for troubleshooting and repair - Perform trouble shooting and repair of alternator/generator - Perform troubleshooting and repair of control and protection system | 48 hours |

ASSESSMENT METHODs:

- Written test

- Practical test

- Direct observation

- Interview

COURSE DELIVERY:

- Lecture/discussion

- Demonstration

- Viewing multimedia

- Hands-on practice

- Project making/ laboratory exercises

- Distance learning

RESOURCES:

| ITEM DESCRIPTION | QTY | UNIT |
| --- | --- | --- |
| - Equipment |  |  |
| - Generating set with control panel, 160 KW | 1 | unit |
| - PPE | 1 | set |
| - Dummy load | 1 | set |
| - Hydraulic jack 10 tons | 2 | set |
| - Air compressor with spray gun | 1 | set |
| - AC Clamp ammeter | 1 | unit |
| - Insulation tester | 1 | set |
| - Multi tester | 1 | set |
| - Chain Block at least 3 tons | 2 | units |
| - Personal Computer | 10 | units |
| - Materials |  |  |
| - Assorted abrasive paper | 40 | pc |
| - Automotive wire #14 | 2 | m |
| - Automotive wire #18 | 2 | m |
| - Automotive wire, no. 12 AWG | 10 | m |
| - Bearing | 1 | pc |
| - Brush 2”, 3”, 4” | 9 | pc |
| - Cable ties Assorted | 2 | box |
| - Carbon remover | 1 | pail |
| - Contact cleaner 16oz | 3 | can |
| - Coolant | 40 | ltrs |
| - Cotton tapes | 3 | roll |
| - Degreaser | 1 | Gal |
| - Descaler | 1 | pail |
| - Diesel fuel | 124 | ltr |
| - Dye penetrant and developer | 4 | set |
| - Electrical enamel | 8 | ltr |
| - Electrical tapes | 16 | roll |
| - Foam | 1 | roll |
| - Gasket | 6 | sheet |
| - Grease and degreasers | 4 | pack |
| - Grinding compound(fine and coarse) | 3 | set |
| - Grinding sticks | 15 | pc |
| - Hi temp grease | 2 | kg |
| - Insulating varnish | 20 | ltr |
| - Log sheet/ Log book and writing tools | 1 | set |
| - Forms and writing materials | 1 | set |
| - Lube oil | 124 | ltr |
| - Manuals, Drawings and Diagrams | 1 | Set |
| - Metal marker | 1 | pc |
| - Nylon Rope or sling | 2 | mtrs |
| - O-rings | 1 | kit |
| - Penetrating oil | 3 | can |
| - Plastic gauge | 1 | set |
| - Rags | 40 | kg |
| - Replacement components (assorted) | 1 | lot |
| - Rubber tapes | 10 | roll |
| - Rust converter | 1 | pail |
| - Safety Solvent | 20 | ltr |
| - Scrubbing pad | 2 | pc |
| - Silicon gasket maker | 5 | pc |
| - Soldering lead | 1 | roll |
| - Spaghetti tube, 10 mm | 5 | m |
| - Steel brush | 5 | pc |
| - System diagrams and service manuals | 1 | set |
| - Terminal lugs assorted | 2 | box |
| - Terminal lugs, ½” dia, | 20 | Pc |
| - Thread sealant | 2 | tubes |
| - Repair kits for | 1 | set |
| - Turbo charger |  |  |
| - Water pump |  |  |
| - Primary fuel filter |  |  |
| - Wire marker | 1 | kit |
| - Wiring diagrams and service manuals | 1 | set |
| - Brochures/Catalogs | 1 | lot |
| - Reference materials | 1 | lot |
| - Tools |  |  |
| - A frame | 1 | set |
| - Allen wrench | 1 | set |
| - Bearing heater | 1 | unit |
| - Bearing Puller | 1 | unit |
| - Bench vise | 1 | unit |
| - Caliper 150 mm | 1 | pc |
| - Combination wrench (8-32) | 1 | Set |
| - Crimping tool | 1 | set |
| - Electric hand drill with bits | 1 | set |
| - Empty drum 210 L | 1 | unit |
| - Eye bolts and shackles | 2 | set |
| - Feeler gauge | 1 | set |
| - Flashlight | 1 | unit |
| - Grinder | 1 | unit |
| - Hacksaw | 1 | set |
| - Heater | 2 | Sets |
| - Magnetic dial gauge | 1 | unit |
| - Mechanical tools (i.e. wrenches, pliers, screw drivers, etc.) | 1 | set |
| - micrometer 150mm (inside and outside) | 1 | set |
| - micrometer 150mm (inside and outside) | 1 | set |
| - Nozzle tester | 1 | unit |
| - Panelboard key | 1 | pc |
| - Pliers and screw driver | 1 | set |
| - Pressure washer | 1 | unit |
| - Sling and shackles for 5 tons | 4 | sets |
| - Socket wrench (8-32) | 1 | Set |
| - Soldering set | 2 | set |
| - Torque wrench 0-1000N·m | 1 | Unit |
| - Torque wrench 50-300N·m | 1 | Unit |
| - Wooden blocks | 2 | set |

QUALIFICATIONS OF INSTRUCTORS/TRAINERS:

- Must be a holder of Diesel Power Plant Maintenance NC III or it’s equivalent

- Must have undergone training on Training Methodology III (TM III)

- Must be computer literate

- Must be physically and mentally fit

- *Must have at least 2 years job/industry experience related to Diesel Power Plant Operation and Maintenance specifically in generating set servicing

- Must be a civil service eligible (for government position or appropriate professional license issued by the Professional Regulatory Commission)

* Optional. Only when required by the hiring institution.

MODULES OF INSTRUCTION

BASIC COMPETENCIES

# Diesel Power Plant Maintenance NC III

# unit OF COMPETENCY	:	Lead Workplace Communication

# MODULE TITLE	:	Leading workplace communication

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes required to prepare different reports required in the workplace

NOMINAL DURATION	:	10 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Communicate information about workplace processes.

LO2.	Lead workplace discussions.

LO3.	Identify and communicate issues arising in the workplace.

## LO1.	COMMUNICATE INFORMATION ABOUT WORKPLACE PROCESSES

ASSESSMENT CRITERIA:

- Appropriate communication method is selected.

- Multiple operations involving several topic areas are communicated.

- Questions are used to gain extra information.

- Correct sources of information are identified.

- Information is selected and sequenced correctly when required.

- Verbal and written reporting is maintained in both familiar and unfamiliar situations.

CONTENTS:

- Method of communication

- Communication skills

- Communication tools

- Questioning techniques

CONDITIONS:

The students/trainees must be provided with the following:

- Simulated workplace environment

- Communication tools

- Variety of information’s

METHODOLOGIES:

- Discussion

- Role play

- Brainstorming

ASSESSMENT METHODS:

- Direct observation

- Interview

## LO2.	LEAD WORKPLACE DISCUSSIONS

ASSESSMENT CRITERIA:

- Responses to workplace issues are sought.

- Responses to workplace issues are provided when sought.

- Constructive contributions are made to workplace discussion on such issues as production, quality and safety.

- Goals and aims of actions under taken in the workplace are communicated.

CONTENTS:

- Method/techniques of discussion

- How to lead discussion

- How to solicit response

CONDITIONS:

The students/trainees must be provided with the following:

- Simulated workplace environment

- Communication tools

- Variety of information’s

METHODOLOGIES:

- Discussion

- Role play

- Brainstorming

ASSESSMENT METHODS:

- Direct observation

- Interview

## LO3.	IDENTIFY AND COMMUNICATE ISSUES ARISING IN THE WORKPLACE

ASSESSMENT CRITERIA:

- Issues and problems are identified as they arise.

- Information regarding problems and issues are organized coherently to ensure clear and effective communication.

- Dialog is initiated with appropriate personnel.

- Communication problems and issues are addressed as they arise.

CONTENTS:

- Identify problems and issues

- Organizing information on  problem and issues

- Relating problems and issues

- Communication barriers affecting workplace discussions.

CONDITIONS:

The students/trainees must be provided with the following:

- Simulated workplace environment

- Communication tools

- Variety of information’s

METHODOLOGIES:

- Discussion

- Role play

- Brainstorming

ASSESSMENT METHODS:

- Direct observation

- Interview

# unit OF COMPETENCY	:	Lead small team

# MODULE TITLE	:	Leading small team

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes required to lead small team including setting and maintaining team and individual performance standard.

NOMINAL DURATION	:	10 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Provide team leadership.

LO2.	Assign responsibilities among members.

LO3.	Set performance expectation for team members.

LO4.	Supervise team performance.

## LO1.	PROVIDE TEAM LEADERSHIP

ASSESSMENT CRITERIA:

- Work requirements are identified and prescribed to members.

- Reasons for instructions and requirements are properly disseminated to team members.

- Team members questions, problems, concerns are recognized, discussed and dealt accordingly.

CONTENTS:

- Communication skills required for leading small team

- Skills and techniques in promoting  team building

- Negotiating skills

- Up to date dissemination of instruction and requirements to members.

- Art of listening and treating individual team members concern

CONDITIONS:

The students/trainees must be provided with the following:

- Learning materials

- team building manual

- catalogs

- brochures

- Simulated team

METHODOLOGIES:

- Traditional /lecture

- Demonstration

- Case studies

ASSESSMENT METHODs:

- Written examination

- Direct observation

## LO2.	ASSIGN RESPONSIBILITIES AMONG MEMBERS.

ASSESSMENT CRITERIA:

- Duties and responsibilities are allocated in respect to the skills, knowledge and attitudes of every team member.

- Duties are allocated having regard to individual preference, domestic and personal considerations.

- Duties and responsibilities of each member are properly identified and defined.

CONTENTS:

- Duties and responsibilities of each team member

- Skills in identifying individual skills ,knowledge  and attitude as basis for allocating responsibilities

- Knowledge in identifying each team member duties and responsibilities

CONDITIONS:

The students/trainees must be provided with the following:

- Learning materials

- relevant legal requirements

- manuals

METHODOLOGIES:

- Traditional /lecture

- Demonstration

ASSESSMENT METHODs:

- Written examination

- Direct observation

## LO3.	SET PERFORMANCE EXPECTATION FOR TEAM MEMBERS

ASSESSMENT CRITERIA:

- Performance expectations are established based on client needs and according to assigned requirements.

- Performance expectations are based on individual team member’s duties and responsibilities.

- Performance expectations are discussed and disseminated to individual team member.

CONTENTS:

- Knowledge and skills in setting individual performance target/expectation

- Team members duties  and responsibilities

- Employee policies and procedures

- Defining performance expectations criteria

CONDITIONS:

The students/trainees must be provided with the following:

- Performance expectation worksheet

- Relevant legal requirements

METHODOLOGIES:

- Traditional /lecture

- Demonstration

- Case studies

ASSESSMENT METHODs:

- Written examination

- Direct observation

## LO4.	SUPERVISE TEAM PERFORMANCE

ASSESSMENT CRITERIA:

- Team member’s performance in respect to the defined performance criteria is monitored.

- Positive support and advice on strategies to overcome any difficulties are provided with feedback to team members.

- Team members are informed of any changes in the priority allocated to assignment or task.

- Communication follow-up is provided on all issues affecting the team.

CONTENTS:

- Knowledge and skills in monitoring team member performance

- Monitoring team operation to ensure client needs  and satisfaction

- Methods of monitoring performance

- Informal/formal counseling skills

CONDITIONS:

The students/trainees must be provided with the following:

- Performance expectation worksheet

- Relevant legal requirements

METHODOLOGIES:

- Traditional /lecture

- Demonstration

- Modular

ASSESSMENT METHODs:

- Written examination

- Direct observation

# unit OF COMPETENCY	:	DEVELOP AND PRACTICE NEGOTIATION SKILLS

# MODULE TITLE	:	Developing and Practicing Negotiation Skills

MODULE DESCRIPTION	:	This module covers the skills, knowledge and attitudes required to collect information in order to plan and participate in the negotiation.

NOMINAL DURATION	:	9 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/ trainees will be able to:

LO1.	Identify relevant information in planning negotiations

LO2.	Participate in negotiations

LO3.	Document areas for agreement

## LO1.	Identify relevant information in planning negotiations

ASSESSMENT CRITERIA:

- Information in preparation for negotiation is identified and included in the plan.

- Information on creating non verbal environments for positive negotiations is identified and included in the plan.

- Information on different questioning techniques is identified and included in the plan.

CONTENTS:

- Background information on other parties to the negotiation

- Observing differences between content and process

- Identifying bargaining information

- Applying strategies to manage process

- Applying steps in negotiating process

- Strategies to manage conflict

- Steps in negotiating process

CONDITIONS:

The students/ trainees must be provided with the following:

- Pertinent documents

- Simulated workplace

- Prepared  recipes

- Paper and pencil

- Calculator

- Hands out

METHODOLOGIES:

- Lecture

- Role playing

- practical exercises

ASSESSMENT METHODs:

- Written examination

- Direct observation

## LO2.	Participate in Negotiations

ASSESSMENT CRITERIA:

- Criteria for successful outcomes are agreed upon by all parties.

- Desired outcome of all parties are considered.

- Appropriate language is used throughout the negotiation.

CONTENTS:

- Decision making and conflict resolution strategies procedures

- Problem solving strategies on how to deal with unexpected questions and attitudes during negotiation

- Background information on other parties to the negotiation

- Observing differences between content and process

CONDITIONS:

The students/ trainees must be provided with the following:

- Pertinent documents

- Simulated workplace

- Supplies

- Paper and pencil

- Calculator

- Hands out

METHODOLOGIES:

- Lecturette

- Role playing

- practical exercises

ASSESSMENT METHODS:

- Written test/ questioning

- Demonstration

## LO3.	Document areas for AGREEMENT

ASSESSMENT CRITERIA:

- Issues and processes are documented and agreed upon by all parties.

- Possible solutions are discussed and their viability are assessed.

- Areas for agreement are confirmed and recorded.

- Follow-up action is agreed upon by all parties.

CONTENTS:

- Procedure in documenting negotiations

- Managing information

- Filing documents

CONDITIONS:

The students/ trainees must be provided with the following:

- Pertinent documents

- Simulated workplace

- Supplies

- Paper and pencil

- Calculator

- Hands out

METHODOLOGIES:

- Lecture

- Role playing

- Practical exercises

ASSESSMENT METHODS:

- Written test/ questioning

- Demonstration

# unit OF COMPETENCY	:	SOLVE PROBLEMS RELATED TO WORK ACTIVITIES

# MODULE TITLE	:	Identifying / determining fundamental cause of problem

MODULE DESCRIPTION	:	This module expresses the competency required to apply problem solving techniques to identify/determine fundamental cause problem.

NOMINAL DURATION	:	10 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Explain the analytical techniques.

LO2.	Identify the problem.

LO3.	Determine the possible cause /s of the problem.

## LO1.	EXPLAIN THE ANALYTICAL TECHNIQUES

ASSESSMENT CRITERIA:

- Importance and application of analytical techniques are explained.

- Analytical techniques such as brainstorming, cause and effects diagrams, PARETO analysis, SWOT analysis, GANT chart, PERT CPM & graphs, and scatter grams are defined.

CONTENTS:

- Observation, investigation & analytical techniques

- Brainstorming

- Cause and effect diagrams

- PARETO analysis

- SWOT analysis

- GANT chart

- PERT CPM & graph

- SCATTERGRAMS

CONDITIONS:

The students/trainees must be provided with the following:

- Coursewares

- Learning materials/guides

- Computer

- OHP

METHODOLOGIES:

- Direct observation

- Simulation /role playing

- Case studies

ASSESSMENT METHODs:

- Written

- Practical/performance test

## LO2.	IDENTIFY THE PROBLEM

ASSESSMENT CRITERIA:

- Variances are identified from normal operating parameters and product quality.

- Extent, cause, and nature of the problem are defined based on observation, investigation and analytical techniques.

- Problems are clearly stated and specified.

CONTENTS:

- Normal operating parameters & product quality

- Identifying & clarifying the nature of problem

- Application of analytical techniques

CONDITIONS:

The students/trainees must be provided with the following:

- Coursewares

- Learning materials/guides

- Computer

- OHP

METHODOLOGIES:

- Direct observation

- Simulation /role playing

- Case studies

ASSESSMENT METHODs:

- Written

- Practical/performance test

## LO3.	DETERMINE THE POSSIBLE CAUSE/S OF THE PROBLEM

ASSESSMENT CRITERIA:

- Possible causes of problem are identified based on experience and the use of problem solving tools/analytical techniques.

- Possible cause statements are developed.

- Fundamental causes are explained.

CONTENTS:

- Non-routine process and quality problems

- Teamwork and work allocation problem

- Safety and emergency situations and incidents

CONDITIONS:

The students/trainees must be provided with the following:

- Coursewares

- Learning materials/guides

- Computer

- OHP

METHODOLOGIES:

- Direct observation

- Simulation /role playing

- Case studies

ASSESSMENT METHODs:

- Written

- Practical/performance test

# unit OF COMPETENCY	:	Use mathematical concepts and techniques

# MODULE TITLE	:	Using mathematical concepts and techniques

MODULE DESCRIPTION	:	This unit covers the knowledge, skills and attitudes required in the application of mathematical concepts and techniques.

NOMINAL DURATION	:	7 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the learner/students must be able to:

LO1.	Identify mathematical tools and techniques to solve problems.

LO2.	Apply mathematical procedure/solution.

LO3. 	Analyze results.

## LO1.	Identify mathematical tools and techniques to solve problems

ASSESSMENT CRITERIA:

- Problem areas based on given condition are identified.

- Mathematical techniques based on the given problems are selected.

CONTENTS:

- Four Fundamental Operations

- Steps in solving a problem

- Standard formulas

- Conversion

- Measurement

CONDITIONs:

The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Problem set

- Conversion table

- Table of formulas

- Measuring tools

METHODOLOGIES:

- Lecture

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Written

- Demonstration

## LO2.	Apply mathematical procedure/solution

ASSESSMENT CRITERIA:

- Mathematical techniques based on the problem identified are applied.

- Mathematical computations are performed to the level of accuracy required for the problem.

- Results of mathematical computation based on job requirements is determined and verified.

CONTENTS:

- Problem-based questions

- Estimation

- Use of mathematical tools and standard formulas

- Mathematical techniques

CONDITIONs:

The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Calculator

- Measuring tools/devices

- Case problems

METHODOLOGIES:

- Lecture

- Self-paced instruction

- Group discussion

- Practical Work Approach

ASSESSMENT METHODS:

- Written

- Oral Interview

## LO3.	ANALYZE RESULTS

ASSESSMENT CRITERIA:

- Results of application based on expected and required specifications and outcome is reviewed.

- Appropriate action in case of error is applied.

CONTENTS:

- Four Fundamental Operations

- Steps in solving a problem

- Standard formulas

- Conversion

- Measurement

CONDITIONs:

The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Problem set

- Conversion table

- Table of formulas

- Measuring tools

METHODOLOGIES:

- Lecture

- Self-paced instruction

- Group discussion

- Research study

ASSESSMENT METHODS:

- Written

- Oral

# unit OF COMPETENCY	:	Use relevant technologies

# MODULE TITLE	:	Using relevant technologies

MODULE DESCRIPTION	:	This unit covers the knowledge, skills and attitudes required in selecting, sourcing and applying appropriate and affordable technologies in the workplace.

NOMINAL DURATION	:	10 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the learner/students must be able to:

LO1.	Study/ select appropriate technology

LO2.	Apply relevant technology.

LO3. 	Maintain / enhance relevant technology

## LO1. Study/ select appropriate technology

ASSESSMENT CRITERIA:

- Appropriate technologies are studied based on work requirements.

- Appropriate technologies are identified and selected based on work requirements.

CONTENTS:

- Machineries/ equipment and their application

- Software/ programs

CONDITIONs:

The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Multimedia

- Video tape

- Brochures

- CD’s

- Internet access

- Computer

METHODOLOGIES:

- Lecture

- Self-paced instruction

- Group discussion

- Film showing

ASSESSMENT METHODS:

- Written

- Interview

## LO2.	Apply relevant technology

ASSESSMENT CRITERIA:

- Relevant technology is used in carrying out function based on work requirements.

- Applicable software and hardware is used as per job requirement.

- Management concepts are observed as per established industry practices.

CONTENTS:

- Office technology

- Industrial technology

- System technology

- Information technology

- Training technology

- Different software / Hardware

- 5S (Proper House Keeping)

CONDITIONs:

The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Multimedia

- Video tape

- Brochures

- CD’s

- Internet access

- Computer

METHODOLOGIES:

- Lecture

- Self-paced instruction

- Group discussion

- Film showing

ASSESSMENT METHODS:

- Written

- Interview

## LO3.	MAINTAIN / ENHANCE RELEVANT TECHNOLOGY

ASSESSMENT CRITERIA:

- Maintenance of technology is applied in accordance with the industry standard operating procedure, manufacturer’s operating guidelines and occupational health and safety procedure.

- Updating of technology is maintained through continuing education or training in accordance with job requirement.

- Appropriate action for technology failure/ defect is immediately reported to the concerned/ responsible person or section.

CONTENTS:

- Corrective and preventive maintenance

- Upgrading of technology

- Communication Skills

- Organizational set – up / work flow

CONDITIONs:

The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Multimedia

- Video tape

- Brochures

- CD’s

- Internet access

- Computer

METHODOLOGIES:

- Lecturette

- Self-paced instruction

- Group discussion

- Film showing

ASSESSMENT METHODS:

- Written

- Interview

MODULES OF INSTRUCTION

COMMON COMPETENCIES

# Diesel Power Plant Maintenance NC III

# unit OF COMPETENCY	:	READ, INTERPRET AND APPLY SPECIFICATION AND MANUAL

# MODULE TITLE	:	Reading, Interpreting And Applying Specification And Manual

MODULE DESCRIPTION	:	This module deals with identifying, interpreting and applying service manuals, maintenance procedures manuals, repair manuals and periodical maintenance manual.

NOMINAL DURATION	:	16 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/ students should be able to:

LO1.	Identify/accessed manuals and interpret data and specification.

LO2.	Apply information accessed in manual.

LO3.	Store manual

## LO1.	IDENTIFY/ACCESS MANUALS AND INTERPRET DATA AND SPECIFICATIONS

ASSESSMENT CRITERIA:

- Appropriate manuals are identified and accessed as per job requirements.

- Information and procedures in the manual are interpreted in accordance with industry practices.

- Relevant sections, chapter of manuals/specifications are located in relation to the work to be performed.

CONTENTS:

- Identifying appropriate manuals.

- Procedure / techniques in interpreting data and specifications.

- Knowledge and techniques in accessing data and specifications as per job requirements.

- Types of manuals used in automotive industry.

- Identification of symbols used in the manuals.

- Identification of units of measurements.

CONDITIONS:

Students/trainees must be provided with the following:

- Supplies and materials:

  - manufacturing specifications

  - repair manual

  - maintenance manual

  - periodic maintenance manual

- Instructional materials

  - reference books

  - professional emergency

  - learning guides

  - modules

  - CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Lecture/demonstration

- Dualized training

- Distance learning

ASSESSMENT METHODS:

- Written/oral examinations

- Direct observation

- Project method

- Interview

## LO 2.  APPLY INFORMATION ACCESSED IN THE MANUAL

ASSESSMENT CRITERIA:

- Data and specification are interpreted according to job requirement.

- Work steps are correctly identified in accordance with manufacturer specifications.

- Manual data is applied according to the given task.

- All correct sequence and adjustment are interpreted in accordance with information contained on the manual or specification.

CONTENTS:

- Interpreting appropriate data and specifications.

- Applying data and specification accessed from the manuals as required in the given task.

CONDITIONS:

The students/trainees must be provided with the following:

- Supplies and materials

  - manufacturing specifications

  - repair manual

  - maintenance manual

  - periodic maintenance manual

- Instructional  materials

  - reference books

  - learning guides

  - modules

  - CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Lecture/demonstration

- Dualized training

- Distance learning

ASSESSMENT METHODS:

- Written/oral examinations

- Direct observation

- Project method

- Interview

## LO3.	STORE MANUAL

ASSESSMENT CRITERIA:

- Manuals are stored appropriately to insure prevention of damage.

- Manuals are stored properly for easy accessed and ready for updating of information required in the given task.

CONTENTS:

- Techniques in storing manuals.

- Procedures in maintaining manuals.

CONDITIONS:

Students/trainees must be provided with the following:

- Supplies/materials

  - manufacturing specifications

  - repair manual

  - maintenance manual

  - periodic maintenance manual

- Instructional materials

  - reference books

  - learning guides

  - modules

  - CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Lecture/demonstration

- Dualized training

- Distance learning

ASSESSMENT METHODS:

- Written/oral examinations

- Direct observation

- Project method

- Interview

# unit OF COMPETENCY	:	Perform Shop Maintenance

# MODULE TITLE	:	Performing Shop Maintenance

MODULE DESCRIPTION	:	This module covers inspecting, cleaning, arranging and storing tools and shop equipment, including disposal of waste and used lubricant and reporting of damaged tools and equipment in the shop.

NOMINAL DURATION	:	14 Hrs

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Inspect and clean tools, equipment and the work area.

LO2.	Store/arrange tools and shop equipment.

LO3.	Dispose waste and used lubricants.

LO4.	Report damaged tools and equipment

## LO1.	INSPECT AND CLEAN TOOLS, EQUIPMENT AND WORK AREA

ASSESSMENT CRITERIA:

- Tools, equipment and work area is inspected and cleaned, free from dust, grease and other substances.

- Cleaning solvent is used as per workshop cleaning requirements is observed.

- Work area is checked and cleaned.

- Wet surface or spot in the work area is kept dry.

CONTENTS:

- Workshop policies.

- Types and usage of cleaning chemicals.

- Safe handling of equipment and tools.

- Service procedures.

- Equipment maintenance standards.

CONDITIONS:

Students/trainees must be provided with the following:

- Open workshop/garage

- Well ventilated enclosed work and office area

- Wash area and mess hall

- Cleaning chemicals

- Inventory of equipment and tools

- Rugs

- Containers for used oils

- Diesel generating set

- Oiler

METHODOLOGIES:

- Lecture

- Self-paced instruction

- Demonstration

- Dual Training

ASSESSMENT METHODS:

- Direct Observation

- Practical

- Interview

- Written examination

LO2.	STORE/ARRANGE TOOLS AND SHOP EQUIPMENT

ASSESSMENT CRITERIA:

- Tools and equipment are arranged and stored in their respective shelves/ location.

- Corresponding labels are posted and visible.

- Tools are secured and logged in the record book.

CONTENTS:

- Storage and disposal of hazardous/flammable tools/materials.

- Personal safety procedures.

- Relevant technical information

- Labeling procedures

- Principles of total quality management (TQM) and 5S

CONDITIONS:

Students/trainees must be provided with the following:

- Tool cabinet

- Appropriate tools and equipment

- Tool room

- Fire extinguishers

- Tool kit

- Log/record  book

- Labeling materials

METHODOLOGIES:

- Interactive lecture

- Dual Training

- Self-paced instruction

- Simulation

ASSESSMENT METHODS:

- Practical

- Direct observation

- Interview

- Written examination

## LO3.	DISPOSE WASTE AND USED LUBRICANTS

ASSESSMENT CRITERIA:

- Waste and used lubricants are disposed in accordance with the standard operational procedures and environmental regulations.

- Containers for waste and used lubricants are properly labeled.

- Personal safety in disposing waste and used lubricants is evident.

CONTENTS:

- Effects of automotive wastes to men and its environment.

- Waste management and disposal

- Cleaning chemicals for grease and lubricants

- Labeling procedures and technique

CONDITIONS:

Students/trainees must be provided with the following:

- Waste disposal area

- Oiler

- Handouts for waste management and disposal

- Cleaning chemicals for grease and lubricants

- Containers for waste and used lubricants

METHODOLOGIES:

- Interactive lecture

- Dual training

- Self-paced instruction

- Simulation

- Demonstration

ASSESSMENT METHODS:

- Direct observation

- Simulation

- Written examination

- Interview

## LO4.	REPORT DAMAGED TOOLS/EQUIPMENT

ASSESSMENT CRITERIA:

- Complete inventory of tools and equipment is maintained.

- Damaged tools/equipment are identified with repair recommendation.

- Reports prepared on damaged tools/equipment have no error/discrepancy.

CONTENTS:

- Conducting inventory and preparing records

- Maintenance and safe handling of tools and equipment

- Maintenance and updating of records and reports

CONDITIONS:

- Records and inventory of tools and equipment

- Record books

- Checklist

- Waste disposal reports

- Racks for tools

METHODOLOGIES:

- Interactive lecture

- Dual Training

- Self-paced instruction

- Simulation

ASSESSMENT METHODS:

- Interview

- Written examination

- Demonstration

- Direct observation

# unit OF COMPETENCY	:	PERFORM MENSURATION AND CALCULATIONS

# MODULE TITLE	:	Performing Mensuration And Calculations

MODULE DESCRIPTION	:	This unit covers the knowledge, skills and attitudes in identifying and measuring objects based on the required   performance standard.

NOMINAL DURATION	:	18 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/students should be able to:

LO1.	Select measuring instruments

LO2.	Carry out measurements and calculations

LO3.	Maintain measuring instrument

## LO1.	SELECT MEASURING INSTRUMENTS

ASSESSMENT CRITERIA:

- Object or component to be measured is identified, classified and interpreted to the appropriate regular geometric shape.

- Measuring tools are selected/identified as per object to be measured or job requirements.

- Correct specifications are obtained from relevant sources.

- Appropriate measuring instruments are selected according  to job requirements.

- Alternative measuring tools are used without sacrificing cost and quality of work.

CONTENTS:

- Linear measurements

- Testing measurements

- Four fundamental operations

- Dimensions

- Units of conversion

- Ratio and proportion

- Trigonometric functions

- Algebraic equations

CONDITIONS:

Students/trainees must be provided with the following:

| Tools |  | Supplies and Materials |
| --- | --- | --- |
| - Micrometer | - Protractor | - Round |
| - Vernier Caliper | - Combination Gauge | - Square |
| - Dial Gauge with Magnitude Standard | - Steel Rule | - Rectangular |
| - Straight Edge | - Voltmeter | - Triangle |
| - Thickness Gauge | - Ammeter | - Sphere |
| - Torque Gauge | - Mega Ohmmeter | - Conical |
| - Small Hole Gauge | - KWH Meter |  |
| - Telescopic Gauge | - Gauges |  |
| - Try-square | - Thermometer |  |

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written examination

- Observation with questioning

## LO2. 	CARRY OUT MEASUREMENTS AND CALCULATIONS

ASSESSMENT CRITERIA:

- Accurate measurements are obtained according to job requirements.

- Alternative measuring tools are used without sacrificing cost and quality work.

- Calculation needed to complete work tasks are performed using the four fundamental operations (addition, subtraction, multiplication and division) including but not limited to trigonometric function and algebraic computations.

- Calculations involving fractions, percentages and mixed numbers are used to complete workplace tasks.

- Numerical computation is self- checked and corrected for accuracy.

- Instruments are read to the limit of accuracy of the tool.

- Systems of measurement are identified and converted according to job requirements/ISO.

- Workpieces are measured according to job requirements.

CONTENTS:

- Linear measurements

- Four fundamental operations

- Dimensions

- Units of conversion

- Ratio and proportion

- Trigonometric functions

- Algebraic equations

CONDITIONS:	Students/trainees must be provided with the following:

| Tools |  |  |
| --- | --- | --- |
| - Micrometer | - Torque Gauge | - Voltmeter |
| - Vernier Caliper | - Small Hole Gauge | - Ammeter |
| - Dial Gauge with Magnitude Standard | - Telescopic Gauge | - Mega Ohmmeter |
| - Protractor | - Try-square | - KWH Meter |
| - Straight Edge | - Combination Gauge | - Gauges |
| - Thickness Gauge | - Steel Rule | - Thermometer |
| Supplies and Materials |  |  |
| - Round | - Triangle |  |
| - Square | - Sphere |  |
| - Rectangular | - Conical |  |

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Group discussion

- E-learning

ASSESSMENT METHODS:

- Actual demonstration

- Direct observation

- Written test/questioning

## LO3.	MAINTAIN MEASURING INSTRUMENT

ASSESSMENT CRITERIA:

- Measuring instruments are cleaned before and after using.

- Measuring instruments are kept in safe dry place.

- Proper techniques in using precise instrument according to manufacturer’s standards.

- Proper handlings of measuring instruments are observed in accordance with industry standards.

CONTENTS:

- Handling and caring of measuring instruments.

- Calibrating measuring instrument.

- Safe handling and procedures in using measuring instruments.

- Storing of measuring instruments.

CONDITIONS:

Students/trainees must be provided with the following:

- Equipment/tools/instrument

  - Computer

  - VHS player

  - OHP

  - Vernier calipers, micrometer, bore gauge, feeler gauge

  - Steel rule, push rule

  - Supplies/materials

  - Paper

  - Pencil

  - Engine parts

- Instructional materials

  - Reference books

  - Learning guides

  - Modules

  - CD’s VHS tapes, Transparencies

METHODOLOGIES:

- Lecture

- Demonstration

- Simulation

ASSESSMENT METHODS:

- Written examination

- Direct observation

- Oral Examination

# unit OF COMPETENCY	:	PERFORM BASIC BENCHWORK

# MODULE TITLE	:	Performing Basic Benchwork

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes required in performing basic bench work..

NOMINAL DURATION	:	18 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/students should be able to:

LO1. 	Prepare supplies, materials, tools, and equipment

LO2. 	Layout necessary dimensions

LO3.	Perform grinding, cutting, filing, drilling and boring

## LO1. 	PREPARE SUPPLIES, MATERIALS, TOOLS, AND EQUIPMENT

ASSESSMENT CRITERIA:

- Supplies, materials, tools, and equipment are identified according to job requirements.

- Supplies, materials, tools, and equipment are prepared according to job requirements.

- Supplies, materials, tools, and equipment are checked according to job requirements.

- Tools and equipment condition are checked following SOP.

CONTENTS:

- Communication skills

- Materials, tools and equipment uses and specifications

CONDITIONS:

Students / trainees must be provided with the following:

- Blueprint

- Catalogue

- List of tools and equipment

- Forms (request & bill of materials)

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry Immersion

ASSESSMENT METHODS:

- Interview

- Written examination

- Observation with questioning

- Demonstration with questioning

## LO2. 	LAYOUT NECESSARY DIMENSIONS

ASSESSMENT CRITERIA:

- Layout dimensions are in accordance with job requirements.

- Dimensions are laid out within the required tolerance.

- Dimensions are checked within the actual work plan.

- Proper usage of measuring instrument is observed.

CONTENTS:

- Measuring tools functions and usage

- Communication skills

- Trade mathematics

- Mensuration

- Calculation

- Conversion

- Plan Specifications

CONDITIONS:

Students/trainees must be provided with the following:

- Measuring Tools

- Drawing Instruments

- Work Plan

- Markers

- Calculator

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry Immersion

ASSESSMENT METHODS:

- Interview

- Written examination

- Observation with questioning

- Demonstration with questioning

## LO3.	PERFORM GRINDING, CUTTING, FILING, DRILLING AND BORING

ASSESSMENT CRITERIA:

- Workpieces are cut according to required measurement.

- Workpieces are free from bores and sharp edge.

- Welded joints are free from weld defects.

- Appropriate Personal Protective Equipment (PPE) is applied.

- Safety work habits are observed.

- Worksite is cleaned and cleared of debris and left in safe  state according to occupational health and safety (OH & S)

CONTENTS:

- Tools and equipment usage and specifications

- Grinding, cutting, drilling, filing techniques

- Basic welding  principles and application

- Applied occupational  health and safety (OH & S)

CONDITIONS:

Students / trainees must be provided with the following:

- Personal Protective Equipment (PPE)

- Tools and equipment

- Measuring  instruments

- Work plan

- required  supplies and materials

- Worksite

METHODOLOGIES;

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written examination

- Observation with questioning

- Demonstration with questioning

# unit OF COMPETENCY	:	PERFORM BASIC ELECTRICAL WORKS

# MODULE TITLE	:	Performing Basic Electrical Works

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes required in performing basic electrical works.

NOMINAL DURATION	:	14 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/students should be able to:

LO1.	Test power supply and electrical components

LO2.	Perform basic repairs and installation

## LO1: 	TEST POWER SUPPLY AND ELECTRICAL COMPONENTS

ASSESSMENT CRITERIA:

- Required materials, tools and equipment are prepared in line with work requirements

- Required procedure in using testing instrument are applied

- Power supply and electrical components are checked with the manufacturers specification

- Identified  defects of power supply and electrical components are recorded

- Safe working habits are observed

CONTENTS:

- Functions and uses of testing instruments

- Basic electricity

- Electrical safety and hazards

- Testing procedures

CONDITIONS:

Students/trainees must be provided with the following:

- Tools and testing instruments

- Required electrical components

- Personal protective equipment

- Worksite

- Trainer / workshop

- Courseware

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written examination

- Observation with questioning

- Demonstration with questioning

## LO2.	PERFORM BASIC REPAIRS AND INSTALLATION

ASSESSMENT CRITERIA:

- Electrical fixtures are fixed in line with standard operating procedures (SOP).

- Defective electrical components are replaced with the same specifications.

- Testing of units after repair is performed.

- Work instructions are followed to ensure safety at work.

- Workplace is cleaned and cleared of debris and in a safe state of condition and in line with occupational health and safety (OH & S) regulations.

CONTENTS:

- Types of electrical fixtures

- Testing procedures

- Electrical safety and hazards

- Applied occupational health & safety (OH & S)

CONDITIONS:

Students / trainees must be provided with the following:

- Workplace

- Required electrical fixtures and components

- Tools and testing instruments

- Trainer / mock ups

- Personal protective equipment(PPE)

- Trainer/ mock ups

- Courseware

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Industry immersion

- E-learning

ASSESSMENT METHODS:

- Interview

- Written examination

- Observation with questioning

- Demonstration with questioning

MODULES OF INSTRUCTION

CORE COMPETENCIES

# Diesel Power Plant Maintenance NC III

# unit OF COMPETENCY	:	OVERHAUL DIESEL ENGINE

# MODULE TITLE	:	OVERHAULING DIESEL ENGINE

MODULE DESCRIPTION	:	This module covers the required performance in executing the overhauling of diesel engine.

NOMINAL DURATION	:	96 hours

PRE-REQUISITE	:	A trainee who wants to take this module must be familiar with the diesel engine systems, reading & interpreting mechanical diagrams, usage and handling of tools and precision measuring instruments.

Summary of learning outcomes

Upon completion of the module, the trainees/students should be able to:

LO1.	Disassemble the engine

LO2.	Assess and repair engine Block, parts and sub-assembly

LO3.	Re-assemble engine

LO4.	Test run the engine

## LO1.	DISASSEMBLE THE ENGINE

Assessment criteria:

- Engine is disassembled in accordance with manufacturer’s manual

- Parts and components are cleaned in accordance to industry regulation and occupational health and safety procedure

- Parts and components are properly arranged and marked during disassembly

CONTENTs:

- Parts and components of diesel engine.

- DC System.

- Cooling System.

- Aspiration System.

- Speed Regulating System.

- Fuel System.

- Lube-oil System.

- Diesel Engine Assembly.

- Procedure in disassembly of diesel engine

- Procedures in undertaking proper cleaning activities

CONDITIONs:     Students / trainees must be provided with the following:

| ITEM DESCRIPTION | QTY | UNIT |
| --- | --- | --- |
| - Equipment |  |  |
| - Diesel engine, 160kW | 1 | unit |
| - PPE | 1 | set |
| - Materials |  |  |
| - Rags | 5 | kg |
| - Log sheet/ Log book and writing tools | 1 | set |
| - Diesel fuel | 60 | ltr |
| - Penetrating oil | 3 | can |
| - Assorted abrasive paper | 25 | pc |
| - Steel brush | 5 | pc |
| - Grinding compound(fine and coarse) | 3 | set |
| - Grinding sticks | 15 | pc |
| - Plastic gauge | 1 | set |
| - Grease and degreasers | 1 | pack |
| - Lube oil | 60 | ltr |
| - Dye penetrant and developer | 2 | set |
| - Silicon gasket maker | 2 | pc |
| - Gasket | 2 | sheet |
| - Nylon Rope or sling | 2 | mtrs |
| - Metal marker | 1 | pc |
| - Foam | 1 | roll |
| - Paint Brush, asstd. sizes | 6 | pc |
| - Descaler | 1 | pail |
| - Carbon remover | 1 | pail |
| - Rust converter | 1 | pail |
| - Tools |  |  |
| - Mechanical tools (i.e. wrenches, pliers, screw drivers, etc.) | 1 | set |
| - Compressor | 1 | set |
| - Grinder | 1 | unit |
| - Pressure washer | 1 | unit |
| - Chain Block | 1 | unit |
| - Hydraulic jack | 1 | unit |
| - Sling and shackles | 1 | set |
| - A frame | 1 | set |
| - Wood blocks | 1 | set |
| - Empty drum 210 L | 1 | unit |

METHODOLOGies:

- Lecture

- Discussion

- Demonstration

- Practicum

ASSESSMENT METHODs:

- Written

- Demonstration with oral questioning

## LO2.	ASSESS AND REPAIR ENGINE BLOCK, PARTS AND SUB-ASSEMBLY

Assessment criteria

- Parts and components are tested and measured in accordance with prescribed methods.

- Components are assessed based on test results and measurements.

- Repairable components are repaired in accordance to manufacturer’s recommendation

- Data and results of assessment are recorded using prescribed forms.

CONTENTs:

- Engine parts and components limits and tolerances

- Testing and measurement of parts

- Repairing procedure of the ff:

- water pump

- turbo charger

- fuel injectors

- cylinder head

- oil cooler

- starter

- charge alternator

- primary fuel filter

- Service report

CONDITIONs:	Students / trainees must be provided with the following:

| ITEM DESCRIPTION | QTY | UNIT |
| --- | --- | --- |
| - Equipment |  |  |
| - Diesel engine, 160kW | 1 | unit |
| - PPE | 1 | set |
| - Materials |  |  |
| - Repair kits for | 1 | set |
| - Water pump |  |  |
| - Turbo charger |  |  |
| - Primary fuel filter |  |  |
| - Rags | 5 | kg |
| - Assorted abrasive paper | 25 | pc |
| - Grinding compound(fine and coarse) | 3 | set |
| - Grinding sticks | 15 | pc |
| - Grease | 1 | pack |
| - Lube oil | 60 | ltr |
| - Silicon gasket maker | 2 | pc |
| - Gasket | 2 | sheet |
| - Electrical Tape | 1 | roll |
| - Log book and writing tools | 1 | set |
| - Diesel Fuel | 1 | L |
| - Paper | 1 | sheet |

| - Tools |  |  |
| --- | --- | --- |
| - Mechanical tools (i.e. wrenches, pliers, screw drivers, etc.) | 1 | set |
| - Compressor | 1 | set |
| - Hydraulic jack 10 tons | 1 | unit |
| - Caliper 150 mm | 1 | pc |
| - micrometer 150mm (inside and outside) | 1 | set |
| - Nozzle tester | 1 | unit |
| - Bench vise | 1 | unit |
| - Magnetic dial gauge | 1 | unit |
| - Feeler gauge | 1 | set |

METHODOLOGies:

- Lecture

- Discussion

- Demonstration

- Practicum

ASSESSMENT METHODs:

- Written

- Demonstration with oral questioning

## LO3.	RE-ASSEMBLE ENGINE

Assessment criteria:

- Clearances are checked and/or corrected according to manufacturers specification during assembly

- Re-assembly of engine is performed accordance with first-out last-in sequence

- Tightening of bolts and nuts are done in accordance with manufacturer’s recommendation

CONTENTs:

- Diesel Engine re-assembly procedure

- Test and measurement during assembly

- Torque table

coNDITIONs:

Students / trainees must be provided with the following:

| ITEM DESCRIPTION | QTY | UNIT |
| --- | --- | --- |
| - Equipment |  |  |
| - Diesel engine 160 KW | 1 | unit |
| - PPE | 1 | set |
| - Materials |  |  |
| - Rags | 5 | kg |
| - Log sheet/ Log book and writing tools | 1 | set |
| - Diesel fuel | 1 | L |
| - Assorted abrasive paper | 5 | pcs |
| - Plastic gauge | 1 | set |
| - Grease | 1 | pack |
| - Lube oil | 2 | L |
| - Silicon gasket maker | 2 | pcs |
| - Gasket | 2 | sheets |
| - Electrical Tape | 2 | rolls |
| - Tools |  |  |
| - Mechanical tools (i.e. wrenches, pliers, screw drivers, etc.) | 1 | set |
| - Compressor | 1 | set |
| - Chain Block at least 3 tons | 2 | units |
| - Hydraulic jack 10 tons | 2 | units |
| - Sling and shackles for 5 tons | 4 | sets |
| - A frame | 1 | set |
| - Torque wrench 50-300N·m | 1 | Unit |
| - Torque wrench 0-1000N·m | 1 | Unit |
| - Caliper 150 mm | 1 | pc |
| - micrometer 150mm (inside and outside) | 1 | set |
| - Magnetic dial gauge | 1 | unit |
| - Feeler gauge | 1 | set |

METHODOLOGies:

- Lecture

- Discussion

- Demonstration

- Practicum

ASSESSMENT METHODs:

- Written

- Demonstration with oral questioning

LO4.	TEST RUN THE ENGINE

Assessment criteria:

- Pre-testing activities are performed in accordance with prescribed  procedure

- Testing of the assembled engine is performed using different methods

- Functional failures before and during testing are corrected following manufacturer’s manual

- Testing and Overhaul/service report is prepared using prescribed forms

CONTENTs:

- Pre-testing activities

  - Re-coupling of generator

  - Barring the engine

  - Re-connection of cables

- Preparation of the following system:

- dc system

- cooling system

- lube oil system

- fuel system

- aspiration system

- speed regulating system

- Engine performance test

  - Calibration of governor

  - Temperature and pressure monitoring

  - Vibration and sound inspection

  - Leakage detection

  - Exhaust gas monitoring

  - Load test

- Protection simulation testing

CONDITIONs:

Students / trainees must be provided with the following:

| ITEM DESCRIPTION | QTY | UNIT |
| --- | --- | --- |
| - Equipment |  |  |
| - Diesel generating set 160 KW | 1 | unit |
| - PPE | 1 | set |
| - Dummy load | 1 | set |
| - Materials |  |  |
| - Rags | 5 | kg |
| - Log sheet/ Log book and writing tools | 1 | set |
| - Lube oil | 60 | ltrs |
| - Coolant | 40 | ltrs |
| - Diesel fuel | 60 | ltrs |
| - Tools |  |  |
| - Mechanical tools (i.e. wrenches, pliers, screw drivers, etc.) | 1 | set |
| - Tachometer | 1 | set |

METHODOLOGies:

- Lecture

- Discussion

- Demonstration

- Practicum

ASSESSMENT METHODs:

- Written

- Demonstration with oral questioning

# unit OF COMPETENCY	:	DIAGNOSE AND REPAIR DIESEL ENGINE

# MODULE TITLE	:	DIAGNOSING AND REPAIRING DIESEL ENGINE

MODULE DESCRIPTION	:	This unit covers the required performance in diagnosing and repairing of diesel engine.

NOMINAL DURATION	:	48 	hours

PRE-REQUISITE	:	A trainee who wants to takes this module must have knowledge and experience in overhauling diesel engine.

Summary of learning outcomes

Upon completion of the module, the trainees/students should be able to:

LO1.	Plan and prepare for troubleshooting and repair

LO2.	Perform troubleshooting and repair

## LO1.	PLAN AND PREPARE FOR TROUBLESHOOTING AND REPAIR

Assessment criteria:

- Identification of work requirements, trouble and defects is performed.

- Identifying of required resources as service prerequisite based on enterprise policy.

- Observance to Safety practices in accordance with the enterprise policy.

CONTENTs:

- Diesel engine normal operating systems

- Possible defects and its cause

- Standard safety practices

CONDITIONs:

Students / trainees must be provided with the following:

| ITEM DESCRIPTION | QTY | UNIT |
| --- | --- | --- |
| - Equipment |  |  |
| - Diesel generating set 160 KW | 1 | unit |
| - PPE | 1 | set |
| - Materials |  |  |
| - Rags | 5 | kg |
| - Dye penetrant and developer | 2 | sets |
| - Papers and Writing Materials | 1 | set |
| - Tools |  |  |
| - Manuals, Drawings and Diagrams | 1 | Set |

METHODOLOGies:

- Lecture

- Discussion

- Demonstration

ASSESSMENT METHODs:

- Written

- Demonstration with oral questioning

## LO2.	PERFORM TROUBLESHOOTING AND REPAIR

Assessment criteria:

- Reference data is gathered using manufacturers maintenance manual

- Defective device or components are identified through systematic and logical method of isolation and testing without causing damage to the engine and other workplace property

- Root cause analysis is performed using result of based on data gathered and without causing damage to engine and other workplace property

- Repair or replacement of defective components are carried out in accordance with the result of troubleshooting and root cause analysis and manufacturers instruction.

CONTENTs:

- Troubleshooting and repair Cooling system

- Troubleshooting and repair Fuel system

- Troubleshooting and repair Lube oil system

- Troubleshooting and repair Aspiration system

- Troubleshooting and repair Speed regulating system

- Standard safety practices.

CONDITIONS:

Students / trainees must be provided with the following:

| ITEM DESCRIPTION | QTY | UNIT |
| --- | --- | --- |
| - Equipment |  |  |
| - Diesel engine, 160kW | 1 | unit |
| - PPE | 1 | set |
| - Materials |  |  |
| - Repair kits for | 1 | set |
| - Water pump |  |  |
| - Turbo charger |  |  |
| - Primary fuel filter |  |  |
| - Rags | 5 | kg |
| - Assorted abrasive paper | 10 | pc |
| - Grease | 1 | pack |
| - Lube oil | 2 | ltr |
| - Silicon gasket maker | 2 | pc |
| - Gasket | 2 | sheet |
| - Log book and writing tools | 1 | set |
| - Diesel Fuel | 1 | L |
| - Paper | 1 | sheet |
| - O-rings | 1 | kit |
| - Penetrating oil | 1 | can |
| - Degreaser | 1 | Gal |
| - Thread sealant | 2 | tubes |
| - Tools |  |  |
| - Mechanical tools (i.e. wrenches, pliers, screw drivers, etc.) | 1 | set |
| - Compressor | 1 | set |
| - Hydraulic jack 10 tons | 1 | unit |
| - Caliper 150 mm | 1 | pc |
| - micrometer 150mm (inside and outside) | 1 | set |
| - Nozzle tester | 1 | unit |
| - Bench vise | 1 | unit |
| - Magnetic dial gauge | 1 | unit |
| - Feeler gauge | 1 | set |

METHODOLOGies:

- Lecture

- Discussion

- Demonstration

- Practicum

ASSESSMENT METHods:

- Written

- Demonstration with oral questioning

# unit OF COMPETENCY	:	SERVICE ALTERNATOR/GENERATOR

# MODULE TITLE	:	Servicing Alternator/Generator

MODULE DESCRIPTION	:	This module covers the required performance in servicing alternator/generator.

NOMINAL DURATION	:	24 hours

PRE-REQUISITE	:	A trainee who wants to take this module must be familiar with the alternator/generator operation.

Summary of learning outcomes

Upon completion of the module, the trainees/students should be able to:

LO1.	Perform dismantling of alternator/generator

LO2.	Assess and repair alternator/generator components

LO3.	Reassemble and test alternator/generator

## LO1.	PERFORM DISMANTLING OF ALTERNATOR/GENERATOR

Assessment criteria:

- Opening, locking and tagging of Main Circuit breaker are performed in accordance with safety policy

- Marking and disconnecting of terminals are performed without damaging other components.

- Alternator/generator is decoupled and its sub assemblies are detached without damaging other components

- Baseline data are taken using prescribed methods.

- Service report is prepared based on alternator/generator components test and measurement.

- Disassembled components are cleaned, freed of dust, grease and other foreign materials in accordance with safety procedures

CONTENT:

- Tagging and lock-out procedures

- Alternator/generator disassembling and cleaning procedure

- Procedure in measuring insulation resistance of exciter rotor and stator

- Procedure in measuring insulation resistance of main rotor and stator

- 5S and Good Housekeeping

- Preparation of Service Report

CONDITIONS:

| ITEM DESCRIPTION | QTY | UNIT |
| --- | --- | --- |
| - Equipment |  |  |
| - Generating set, 160 KW | 1 | unit |
| - PPE | 1 | set |
| - Air compressor with spray gun | 1 | set |
| - Insulation tester | 1 | set |
| - Multi tester | 1 | set |
| - Materials |  |  |
| - Safety Solvent | 20 | ltr |
| - Brush 2”, 3”, 4” | 9 | pc |
| - Rags | 20 | Kg |
| - Tools |  |  |
| - Bearing Puller | 1 | unit |
| - Chain block | 1 | pc |
| - Combination wrench (8-32) | 1 | Set |
| - Socket wrench (8-32) | 1 | Set |
| - Allen wrench | 1 | set |
| - Feeler gauge | 1 | set |
| - Pliers and screw driver | 1 | set |
| - A-frame | 1 | Set |
| - Hydraulic jack at least 3 tonner | 2 | set |
| - Slings | 2 | set |
| - Eye bolts and shackles | 2 | set |
| - Wooden blocks | 2 | set |

METHODOLOGies:

- Lecture

- Discussion

- Demonstration

ASSESSMENT METHODS:

- Written

- Demonstration with oral questioning

## LO2. ASSESS AND REPAIR ALTERNATOR/GENERATOR COMPONENTS

ASSESSMENT CRITERIA:

- Conditions of exciter rotor, exciter stator, main rotor, and main stator windings are assessed using prescribed methods.

- Conditions of compounding transformer, PT’s, CT’s, and Diodes are tested and assessed using prescribed methods.

- Component repair or replacements are performed in accordance with the prescribed methods.

CONTENT:

- Procedure in testing of exciter rotor and stator

- Procedure in testing of main rotor and stator

- Procedure in testing Compounding Transformer

- Procedure in testing Current and Potential Transformer

- Procedure in testing Diodes

- Common defects and remedies

- Procedure in re-insulating windings

CONDITIONS:

| ITEM DESCRIPTION | QTY | UNIT |
| --- | --- | --- |
| - Equipment |  |  |
| - Alternator/generator, 160 KW | 1 | unit |
| - PPE | 1 | set |
| - Air compressor with spray gun | 1 | set |
| - Insulation tester | 1 | set |
| - Multi tester | 1 | set |
| - Materials |  |  |
| - Safety Solvent | 20 | ltr |
| - Bearing | 1 | pc |
| - Insulating varnish | 20 | ltr |
| - Electrical enamel | 8 | ltr |
| - Brush 2”, 3”, 4” | 9 | pc |
| - Terminal lugs, ½” dia, | 20 | Pc |
| - Cotton tapes | 3 | roll |
| - Rags | 10 | Kg |
| - Automotive wire, no. 12 AWG | 10 | m |
| - Hi temp grease | 2 | kg |
| - Rubber tapes | 10 | roll |
| - Electrical tapes | 10 | roll |
| - Spaghetti tube, 10 mm | 5 | m |
| - Wire marker | 1 | kit |
| - Scrubbing pad | 2 | pc |
| - Cable ties 6” | 24 | pc |
| - Tools |  |  |
| - Heater | 2 | Sets |
| - Bearing Puller | 1 | unit |
| - Bearing heater | 1 | unit |
| - Chain block | 1 | pc |
| - Combination wrench (8-32) | 1 | Set |
| - Pliers and screw driver | 1 | set |
| - A-frames | 1 | Set |
| - Hydraulic jack 3 tonner | 2 | set |
| - Hacksaw | 1 | set |
| - Electric hand drill with bits | 1 | set |
| - Slings | 2 | set |
| - Eye bolts and shackles | 2 | set |
| - Wooden blocks | 2 | set |
| - Crimping tool | 1 | set |
| - Soldering set | 2 | set |

METHODOLOGIES:

- Lecture

- Discussion

- Demonstration

- Practicum

ASSESSMENT METHODS:

- Written

- Demonstration with oral questioning

LO3.	REASSEMBLE AND TEST ALTERNATOR/GENERATOR

ASSESSMENT CRITERIA:

- Exciter rotor, exciter stator, main rotor, and main stator windings are re-assembled and re-terminated using prescribed methods.

- Alternator/generator sub-assemblies are re-assembled and re-terminated using prescribed methods.

- Alignment of the alternator/generator to the diesel engine is performed following manufacturer’s instruction.

- Unlocking and tagging out of main circuit breaker are performed in accordance with safety policy

- Test run of alternator/generator is performed and faults are remedied without causing damage to components or workplace properties

- Service report is finalized based on enterprise policy

CONTENT:

- Procedure in re-assembling and terminating alternator/generator and sub-assemblies

- Lock-out and tag-out procedures

- Test procedures

- Frequently encountered symptoms, problems and remedies

CONDITIONS:

| ITEM DESCRIPTION | QTY | UNIT |
| --- | --- | --- |
| - Equipment |  |  |
| - Alternator/generator and diesel engine, 160 KW | 1 | unit |
| - PPE | 1 | set |
| - Multi tester | 1 | set |
| - Materials |  |  |
| - Rags | 5 | Kg |
| - Hi temp grease | 2 | kg |
| - Rubber tapes | 10 | roll |
| - Electrical tapes | 10 | roll |
| - Wire marker | 1 | kit |
| - Cable ties 6” | 24 | pc |
| - Tools |  |  |
| - Chain block | 1 | pc |
| - Combination wrench (8-32) | 1 | Set |
| - Pliers and screw driver | 1 | set |
| - A-frames | 1 | Set |
| - Hydraulic jack 10 tons | 2 | set |
| - Slings | 2 | set |
| - Eye bolts and shackles | 2 | set |
| - Wooden blocks | 2 | set |
| - Crimping tool | 1 | set |
| - Soldering set | 2 | set |

METHODOLOGIES:

- Lecture

- Discussion

- Demonstration

- Practicum

ASSESSMENT METHODS:

- Written

- Demonstration with oral questioning

# unit OF COMPETENCY	:	DIAGNOSE AND REPAIR ELECTRICAL SYSTEM

# MODULE TITLE	:	DIAGNOSING AND REPAIRING ELECTRICAL SYSTEM

MODULE DESCRIPTION	:	This module covers the required performance in diagnosing and repairing defects in the power plant’s electrical system

NOMINAL DURATION	:	48 hours

PRE-REQUISITE	:	A trainee who wants to take this module must be familiar with the alternator/generator operation and can read and interpret diesel power plant circuit diagram.

Summary of learning outcomes

Upon completion of the module, the trainees/students should be able to:

LO1.	Plan and prepare for troubleshooting and repair

LO2.	Perform trouble shooting and repair of alternator/generator

LO3.	Perform troubleshooting and repair of control and protection system

## LO1.	PLAN AND PREPARE FOR TROUBLESHOOTING AND REPAIR

Assessment criteria

- Work requirements are gathered from Spot Report.

- Service pre-requisites are complied with in accordance with enterprise policy

- Required resources are prepared based on on-site validation report

- Safety and environmental practices are observed in accordance with enterprise policy

CONTENTs:

- Interpretation, validation and analysis of work requirements

- Preparation of on-site validation report or spot report

- Warehouse Requisition Slip preparation

- 5S and Good Housekeeping

CONDITIONs:  Students / trainees must be provided with the following:

| ITEM DESCRIPTION | QTY | UNIT |
| --- | --- | --- |
| - Equipment |  |  |
| - Generating set, 160 KW | 1 | unit |
| - PPE | 1 | set |
| - Insulation tester | 1 | set |
| - Multi tester | 1 | set |
| - Materials |  |  |
| - Contact cleaner | 1 | can |
| - Brush 2” | 1 | pc |
| - Rags | 1 | Kg |
| - Forms and writing materials | 1 | set |
| - System diagrams and service manuals | 1 | set |
| - Tools |  |  |
| - Flashlight | 1 | unit |
| - Combination wrench (8-32) | 1 | set |
| - Socket wrench (8-32) | 1 | set |
| - Allen wrench | 1 | set |
| - Pliers and screw driver | 1 | set |
| - Panel board key | 1 | pc |

METHODOLOGies:

- Lecture

- Discussion

- Demonstration

- Practicum

ASSESSMENT METHODs:

- Written

- Demonstration with oral questioning

## LO2.	PERFORM TROUBLE SHOOTING AND REPAIR OF ALTERNATOR/ GENERATOR

ASSESSMENT CRITERIA:

- Conditions of exciter rotor, exciter stator, main rotor, main stator windings and power cables are assessed using prescribed methods.

- Conditions of compounding transformer, PT’s, CT’s, and Diodes are tested and assessed using prescribed methods.

- Component repair or replacements are performed in accordance with the prescribed methods.

CONTENTs:

- Procedure in testing of exciter rotor and stator

- Procedure in testing of main rotor and stator

- Procedure in testing power cables

- Procedure in testing Compounding Transformer

- Procedure in testing Current and Potential Transformer

- Procedure in testing Diodes

- Common defects and remedies

- Procedure in re-insulating windings

CONDITIONs:  Students / trainees must be provided with the following:

| ITEM DESCRIPTION | QTY | UNIT |
| --- | --- | --- |
| - Equipment |  |  |
| - Alternator/generator, 160 KW | 1 | unit |
| - PPE | 1 | set |
| - Hydraulic jack 3 tons | 2 | set |
| - Air compressor with spray gun | 1 | set |
| - Insulation tester | 1 | set |
| - Multi tester | 1 | set |
| - Materials |  |  |
| - Safety Solvent | 20 | ltr |
| - Bearing | 1 | pc |
| - Insulating varnish | 20 | ltr |
| - Electrical enamel | 8 | ltr |
| - Brush 2”, 3”, 4” | 9 | pc |
| - Terminal lugs, ½” dia, | 20 | Pc |
| - Cotton tapes | 3 | roll |
| - Rags | 10 | Kg |
| - Automotive wire, no. 12 AWG | 10 | m |
| - Hi temp grease | 2 | kg |
| - Rubber tapes | 10 | roll |
| - Electrical tapes | 10 | roll |
| - Spaghetti tube, 10 mm | 5 | m |
| - Wire marker | 1 | kit |
| - Scrubbing pad | 2 | pc |
| - Cable ties 6” | 24 | pc |
| - Wiring diagrams and service manuals | 1 | set |
| - Tools |  |  |
| - Heater | 2 | Sets |
| - Bearing Puller | 1 | unit |
| - Bearing heater | 1 | unit |
| - Chain block | 1 | pc |
| - Combination wrench (8-32) | 1 | Set |
| - Pliers and screw driver | 1 | set |
| - A-frames | 1 | Set |
| - Hacksaw | 1 | set |
| - Electric hand drill with bits | 1 | set |
| - Slings | 2 | set |
| - Eye bolts and shackles | 2 | set |
| - Wooden blocks | 2 | set |
| - Crimping tool | 1 | set |
| - Soldering set | 2 | set |

METHODOLOGies:

- Lecture

- Discussion

- Demonstration

- Practicum

ASSESSMENT METHODs:

- Written

- Demonstration with oral questioning

## LO3.	PERFORM TROUBLESHOOTING AND REPAIR OF CONTROL AND PROTECTION SYSTEM

ASSESSMENT CRITERIA

- Defective circuit is isolated based on panel indicator display

- Cause of trouble is identified by tracing diagrams and testing components

- Remedy is applied in accordance with enterprise policy

CONTENTs:

- Troubleshooting and repair voltage regulation circuit

- Troubleshooting and repair speed regulation circuit

- Troubleshooting and repair reverse power circuit

- Troubleshooting and repair earth-fault circuit

- Troubleshoot and repair low-oil pressure and high engine temperature protection circuit

- Troubleshooting and repair breaker control circuit

- Troubleshooting and repair synchronization circuit

- Troubleshooting and repair re-closer circuit

CONDITIONs:   Students / trainees must be provided with the following:

| ITEM DESCRIPTION | QTY | UNIT |
| --- | --- | --- |
| - Equipment |  |  |
| - Generating set with control panel, 160 KW | 1 | unit |
| - PPE | 1 | set |
| - Multi tester | 1 | set |
| - AC Clamp ammeter | 1 | unit |
| - Insulation Tester 500V | 1 | unit |
| - Materials |  |  |
| - Rags | 2 | Kg |
| - Terminal lugs assorted | 1 | box |
| - Rubber tapes | 1 | roll |
| - Electrical tapes | 2 | roll |
| - Wire marker | 1 | kit |
| - Cable ties Assorted | 1 | box |
| - Soldering lead | 1 | roll |
| - Contact cleaner 16oz | 1 | can |
| - Paint brush ½” | 1 | pc |
| - Automotive wire #14 | 1 | m |
| - Automotive wire #18 | 1 | m |
| - Replacement components (assorted) | 1 | lot |
| - Tools |  |  |
| - Mechanical tools (i.e. wrenches, pliers, screw drivers, etc.) | 1 | set |
| - Crimping tool | 1 | set |
| - Soldering set | 2 | set |

METHODOLOGies:

- Lecture

- Discussion

- Demonstration

- Practicum

ASSESSMENT METHODs:

- Written

- Demonstration with oral questioning

## LO4.	PERFORM TROUBLESHOOTING AND REPAIR OF DC SYSTEM

ASSESSMENT CRITERIA:

- Defective circuit is isolated based on panel indicator and engine performance symptoms

- Cause of trouble is identified by tracing diagrams and testing components

- Remedy is applied in accordance with enterprise policy

CONTENTs:

- Troubleshooting and repair of starter motor

- Troubleshooting and repair of charge alternator

- Troubleshooting and repair of panel board auxiliary charger

- Troubleshooting and repair of ignition circuit

CONDITIONs:   Students / trainees must be provided with the following:

| ITEM DESCRIPTION | QTY | UNIT |
| --- | --- | --- |
| - Equipment |  |  |
| - Generating set with control panel, 160 KW | 1 | unit |
| - PPE | 1 | set |
| - Multi tester | 1 | set |
| - Materials |  |  |
| - Rags | 2 | Kg |
| - Terminal lugs assorted | 1 | box |
| - Rubber tapes | 1 | roll |
| - Electrical tapes | 2 | roll |
| - Wire marker | 1 | kit |
| - Cable ties Assorted | 1 | box |
| - Soldering lead | 1 | roll |
| - Contact cleaner 16oz | 1 | can |
| - Paint brush ½” | 1 | pc |
| - Automotive wire #14 | 1 | m |
| - Automotive wire #18 | 1 | m |
| - Replacement components (assorted) | 1 | lot |
| - Tools |  |  |
| - Mechanical tools (i.e. wrenches, pliers, screw drivers, etc.) | 1 | set |
| - Crimping tool | 1 | set |
| - Soldering set | 2 | set |

METHODOLOGies:

- Lecture

- Discussion

- Demonstration

- Practicum

ASSESSMENT METHODs:

- Written

- Demonstration with oral questioning

# What is Competency-Based Curriculum (CBC)

- A competency-based curriculum is a framework or guide for the subsequent detailed development of competencies, associated methodologies, training and assessment resources.

- The CBC specifies the outcomes which are consistent with the requirements of the workplace as agreed through the industry or community consultations.

- CBC can be developed immediately when competency standards exist.

- When competency standards do not exist, curriculum developers need to clearly define the learning outcomes to be attained. The standard of performance required must be appropriate to industry and occupational needs through the industry/enterprise or specified client group consultations.

These materials are available in both printed and electronic copies.

For more information please contact:

Technical Education and Skills Development Authority (TESDA)

Telephone Nos.: 893-8281, 817-4076 to 82 loc. 613 to 614, 625 and 626 or visit our website: www.tesda.gov.ph

or the TESDA Regional or Provincial Office nearest you.