| - COMPETENCY-BASED CURRICULUM |  |
| --- | --- |

| Sector: ###### ELECTRONICS |  |
| --- | --- |
| Qualification: Instrumentation and Control Servicing NC II |  |
|  | Technical Education and Skills Development Authority East Service Road, South Superhighway, Taguig City, Metro Manila |

# TABLE OF CONTENTS

Page

A.	COURSE DESIGN	1-5

B.	MODULES OF INSTRUCTION	6-82

- Basic Competencies	6

  - Participating in workplace communication	7-10

  - Working in a team environment	11-13

  - Practicing career professionalism	14-17

  - Practicing occupational health and safety procedures	18-22

- Common Competencies	23

  - Using hand tools	24-28

  - Performing mensuration and calculation	29-32

  - Preparing and interpreting technical drawing	33-36

  - Applying quality standards	37-40

  - Performing computer operations	41-47

  - Terminating and connecting electrical wiring and electronics circuits	48-51

- Core Competencies	52

  - Installing instrumentation control devices	53-62

  - Calibrating instrumentation and control devices	63-72

  - Configuring instrumentation and control devices	73-82

COURSE DESIGN

COURSE TITLE	:	INSTRUMENTATION AND CONTROL DEVICES NC II

NOMINAL DURATION	:	238 hours

COURSE DESCRIPTION	:

This course is designed to enhance the knowledge, skills and attitudes of a trainee/student on core competencies such as; installation, calibration and configuration of instrumentation and control systems in accordance with the industry standards. It includes basic competencies such as; participate in workplace communication, work in team environment, practice career professionalism and practice occupational health and safety procedures.

It also includes common competencies such as; use hand tools, perform mensuration and calculation, prepare and interpret technical drawing, apply quality standards, perform computer operations and terminate & connect electrical wiring and electronic circuits.

ENTRY REQUIREMENTS:

Trainees or students should possess the following requirements:

- Can communicate orally and in writing

- Can perform basic mathematical computations

- Can recognize abstract and 3-dimensional figures

- Must be mentally fit

- With good moral character

COURSE STRUCTURE:

# BASIC COMPETENCIES

(18 hours)

| # Units of Competency | # Module Title | # Learning Outcomes | # Nominal Duration |
| --- | --- | --- | --- |
| - Participate in workplace communication | - Participating in workplace communication | - Obtain and convey workplace information - Participate in workplace meeting and discussion - Complete relevant work-related document | 4 hours |
| - Work in a team environment | 2.1 Working in a team environment | - Describe and identify team role and responsibility - Describe work as a team member | 4 hours |
| - Practice career professionalism | 3.1 Practicing career professionalism | - Integrate personal objectives with organizational goals. - Set and meet work priorities. - Maintain professional growth and development. | 4 hours |
| - Practice occupational health and safety procedures | 4.1 Practicing occupational health and safety procedure | - Identify hazards and risks. - Evaluate hazards and risks. - Control hazards and risks. - Maintain occupational health and safety awareness. | 6 hours |

# COMMON COMPETENCIES

(60 hours)

| Units of Competency | Module Title | Learning Outcomes | Nominal Duration |
| --- | --- | --- | --- |
| - Use hand tools | - Using hand tools | - Plan and prepare for task to be undertaken - Prepare hand tools - Use appropriate hand tools and equipment - Maintain hand tools | 8 hours |
| - Perform mensuration and calculation | 2.1 Perforning mensuration and calculation | - Select measuring instruments - Carry out measurements and calculations - Maintain measuring instruments | 16 hours |
| - Prepare and interpret technical drawings | 3.1 Preparing and interpreting technical drawings | - Identify different kinds of technical drawings - Interpret technical drawing - Prepare/make changes on electrical/electronic schematic and drawings | 8 hours |
| - Apply quality standards | - Applying quality standards | - Assess quality or received materials - Assess own work - Engage in quality improvement | 12 hours |
| - Perform computer operations | - Performing computer operations | - Plan and prepare for tasks to be taken/undertaken - Input data into computer - Assess information using computer - Produce output/data using computer systems - Use basic functions of a web browser to locate information - Maintain computer equipment | 8 hours |
| - Terminate and connect electrical wiring and electronics circuits | 6.1 Terminating and connecting electrical wiring and electronics circuits | - Plan and prepare for termination/ connection of electrical wiring/electronic circuits - Terminate/connect wiring/electronic circuits - Test termination/connections of electrical wiring and electronics circuits | 8 hours |

# CORE COMPETENCIES

(160 hours)

| Units of Competency | Module Title | Learning Outcomes | Nominal Duration |
| --- | --- | --- | --- |
| 1. Install instrumentation and control devices | 1.1 Installing instrumentation and control devices | - Interpret work instructions for installation - Identify tools, equipment, testing devices and materials needed for installation - Identify the PPE and OHS policies and procedures required for the installation job - Install instrumentation and control devices - Test installed instrumentation and control devices | 80 hours |
| 2. Calibrate instrumentation and control devices | 2.1 Calibrating instrumentation and control devices | - Interpret work instructions for calibration - Identify tools, equipment, testing devices and materials needed for calibration - Identify the PPE and OHS policies required for the calibration job - Calibrate instrumentation and control devices - Inspect and test the calibrated instrumentation and control devices | 40 hours |
| 3. Configure instrumentation and control devices | 3.1 Configuring instrumentation and control devices | - Interpret work instructions for calibration - Identify tools, equipment, testing devices and materials needed for configuration - Identify the PPE and OHS policies and procedures required for the configuration job | 40 hours |

ASSESSMENT METHODS

- Written test

- Practical test

- Direct observation

- Interview

COURSE DELIVERY:

- Lecture/discussion

- Demonstration

- Project method

- Experiment/simulation

- Company visit

- Multimedia

- Competency-based

- Dual training

- Distance learning

RESOURCES:

| TOOLS - Long-nosed pliers - Diagonal cutters - Standard screwdrivers - Electrical pliers - Soldering iron - Adjustable wrench - Wire stripper - Crimping tool - Allen key wrench - Jeweler’s screwdrivers - Combination wrench, metric - Combination wrench, English | EQUIPMENT - Multimeters - Signal simulators - Multifunction calibrators - Pressure transmitters - Pressure gages - Air compressor - Thermocouple sensors - RTD sensors - Temperature transmitters, universal input - Loop power supplies - Instrument stanchions - Process indicators - Process controllers - Control valve with positioner - I/P converter - Desktop PC - Oscilloscope - Communication equipment - Safety helmet - Safety shoes - Safety harness - Safety glasses/goggles - Ear plugs/earmuffs - Gas mask - Face shield | MATERIALS - Manuals/books - Learning elements and activity sheets - Schematic diagrams - Component layout - Technical brochures - Technical references - Solder lead - Shielded instrumentation cables - Terminal lugs - Terminal strips/blocks - Cotton gloves - Copper tubing - Plastic tubing - Compression fittings - Electrical tape - Teflon sealant tape - Cable ties - Calibration stickers |
| --- | --- | --- |

QUALIFICATIONS OF INSTRUCTORS/TRAINER’S:

- Must be a holder of TESDA Instrumentation and Control Certificate NCIII or NCIV, Certified Instrumentation & Control Technician or Certified Instrumentation and Control Engineer by a nationally-recognized body, or its equivalent in other countries.

- * Must have completed a Trainer’s Training course or has been a technical trainer for at least 3 years.

- * Must have at least 2-years relevant industry experience.

- • Must be physically and mentally fit.

* Optional. Only when required by the hiring institution.

MODULES OF INSTRUCTION

BASIC COMPETENCIES

INSTRUMENTATION AND CONTROL SERVICING NC II

BASIC COMPETENCY	:	COMMUNICATIONS

UNIT OF COMPETENCY	:	PARTICIPATE IN WORKPLACE COMMUNICATION

MODULE TITLE	:	PARTICIPATING IN WORKPLACE COMMUNICATION

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes required to obtain, interpret and convey information in response to workplace requirements.

SUGGESTED DURATION	:	4 hours

PREREQUISITE	:	Receive and Respond to workplace Communication. (NC I)

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/ trainees will be able to:

# LO1.	Obtain and convey workplace information

LO2.	Complete relevant work related documents.

LO3.	Participate in workplace meeting and discussion.

LO1.	OBTAIN AND CONVEY WORKPLACE INFORMATION

ASSESSMENT CRITERIA:

1.	Specific relevant information is accessed from appropriate sources.

2.	Effective questioning, active listening and speaking skills are used to gather and convey information.

3.	Appropriate medium is used to transfer information and ideas.

4.	Appropriate non-verbal communication is used.

5.	Appropriate lines of communication with superiors and colleagues are identified and followed.

6.	Defined workplace procedures for the location and storage of information are used.

7.	Personal interaction is carried out clearly and concisely.

CONTENTS:

- Parts of speech

- Sentence construction

- Effective communication

CONDITIONS:

The students/ trainees must be provided with the following:

- Writing materials (pen & paper)

- References (books)

- Manuals

METHODOLOGIES:

- Group discussion

- Interaction

- Lecture

- Reportorial

ASSESSMENT METHODS:

- Written test

- Practical/performance test

- Interview

L02.	COMPLETE RELEVANT WORK RELATED DOCUMENTS

ASSESSMENT CRTERIA:

1.	Ranges of forms relating to conditions of employment are completed accurately and legibly.

2.	Workplace data is recorded on standard workplace forms and documents.

- Basic mathematical processes are used for routine calculations.

- Errors in recording information on forms/documents are identified and rectified.

5.	Reporting requirements to superior are completed according to enterprise guidelines.

CONTENTS:

- Basic mathematics

- Technical writing

- Types of forms

CONDITIONS:

The students/trainees must be provided with the following:

- Paper

- Pencils/ball pen

- Reference books

- Manuals

METHODOLOGIES:

- Group discussion

- Interaction

- Lecture

ASSESSMENT METHODS:

- Written test

- Practical/performance test

- Interview

LO3.	PARTICIPATE IN WORKPLACE MEETINGS AND DISCUSSIONS

ASSESSMENT CRITERIA:

1.	Team meetings are attended on time.

2.	Own opinions are clearly expressed and those of others are listened to without interruption.

3.	Meeting inputs are consistent with the meeting purpose and established protocols.

4.	Workplace interactions are conducted in a courteous manner appropriate to cultural background and authority in the enterprise procedures.

5.	Questions about simple routine workplace procedures and matters concerning conditions of employment are asked and responded.

6.	Meeting outcomes are interpreted and implemented.

CONTENTS:

- Sentence construction

- Technical writing

- Recording information

CONDITIONS:

The students/trainees must be provided with the following:

- Paper

- Pencils/ball pen

- References (books)

- Manuals

METHODOLOGIES:

- Group discussions

- Interaction

- Lecture

ASSESSMENT METHODS:

- Written test

- Practical/performance test

- Interview

BASIC COMPETENCY	:	TEAM WORK

UNIT OF COMPETENCY	:	WORK IN A TEAM ENVIRONMENT

MODULE TITLE	:	WORKING IN A TEAM ENVIRONMENT

MODULE DESCRIPTOR	:	This module covers the knowledge, skills, and attitudes required to relate in a work based environment.

SUGGESTED DURATION	:	4 hours

PREREQUISITE	:   	TEAMWORK (NC I)

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the students/ trainees will be able to:

LO1.	Describe and identify team role and responsibility in a team.

LO2.	Describe work as a team.

LO1.	DESCRIBE AND IDENTIFY TEAM ROLE AND RESPONSIBILITY IN A TEAM

ASSESSMENT CRITERIA:

1.	Role and objective of the team is identified.

2.	Team parameters, relationships and responsibilities are identified.

3.	Individual role and responsibilities within team environment are identified.

4.	Roles and responsibilities of other team members are identified and recognized.

5.	Reporting relationships within team and external to team are identified.

CONTENTS:

- Team role.

- Relationship and responsibilities

- Role and responsibilities with team environment.

- Relationship within a team.

CONDITIONS:

The students/ trainees must be provided with the following:

- Standard operating procedure (SOP) of workplace

- Job procedures

- Client/supplier instructions

- Quality standards

- Organizational or external personnel

METHODOLOGIES:

- Group discussion/interaction

- Case studies

- Simulation

ASSESSMENT METHODS:

- Written test

- Observation

- Simulation

- Role playing

LO2.	DESCRIBE WORK AS A TEAM MEMBER

ASSESSMENT CRITERIA:

1.	Appropriate forms of communication and interactions are undertaken.

2.	Appropriate contributions to complement team activities and objectives are made.

3.	Reporting using standard operating procedures is followed.

4.	Development of team work plans based from team role is contributed.

CONTENTS:

- Communication process

- Team structure/team roles

- Group planning and decision making

CONDITIONS:

The students/trainees must be provided with the following:

- SOP of workplace

- Job procedures

- Organization or external personnel

METHODOLOGIES:

- Group discussion/interaction

- Case studies

- Simulation

ASSESSMENT METHODS:

- Observation of work activities

- Observation through simulation or role play

- Case studies and scenarios.

UNIT OF COMPETENCY	:	PRACTICE CAREER PROFESSIONALISM

MODULE TITLE	: 	PRACTICING CAREER PROFESSIONALISM

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes in promoting career growth and advancement, specifically to integrate personal objectives with organizational goals set and meet work priorities and maintain professional growth and development.

NOMINAL DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Integrate personal objectives with organizational goals

LO2.	Set and meet work priorities

LO3.	Maintain professional growth and development

LO1.	INTEGRATE PERSONAL OBJECTIVES WITH ORGANIZATIONAL GOALS

ASSESSMENT CRITERIA:

1.	Personal growth and work plans towards improving the qualifications set for professionalism are evident.

2.	Intra and interpersonal relationship in the course of managing oneself based on performance evaluation is maintained.

3.	Commitment to the organization and its goal is demonstrated in the performance of duties.

4.	Practice of appropriate personal hygiene is observed.

5.	Job targets within key result areas are attained.

CONTENTS:

- Personal development-social aspects: intra and interpersonal development

- Organizational goals

- Personal hygiene and practices

- Code of ethics

CONDITIONS:

The students/ trainees must be provided with the following:

- Workplace

- Code of ethics

- Organizational goals

- Hand outs and Personal development-social aspects

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive -lecture

- Simulation

- Demonstration

- Self-paced instruction

ASSESSMENT METHODS:

- Role play

- Interview

- Written examination

LO2.	SET AND MEET WORK PRIORITIES

ASSESSMENT CRITERIA:

1.	Competing demands to achieve personal, team and organizational goals and objectives are prioritized.

2.	Resources are utilized efficiently and effectively to manage work priorities and commitments.

3.	Practices and economic use and maintenance of equipment and facilities are followed as per established procedures.

4.	Job targets within key result areas are attained.

CONTENTS:

- Organizational Key Result Areas (KRA)

- Work values and ethical standards

- Company policies on the use and maintenance of equipment

CONDITIONS:

The students/ trainees must be provided with the following

- Hand outs on

  - Organizational KRA

  - Work values and ethics

  - Company policies and standards

  - Sample job targets

- Learning guides

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive lecture

- Group discussion

- Structured activity

- Demonstration

ASSESSMENT METHODS:

- Role play

- Interview

- Written examination

LO3.	MAINTAIN PROFESSIONAL GROWTH AND DEVELOPMENT

ASSESSMENT CRITERIA:

1.	Training and career opportunities relevant to the job requirements are identified and availed.

2.	Licenses and/or certifications according to the requirements of the qualifications are acquired and maintained

3.	Fundamental rights at work including gender sensitivity are manifested/ observed

4.	Training and career opportunities based on the requirements of industry are completed and updated.

CONTENTS:

- Qualification standards

- Gender and development (GAD) sensitivity

- Professionalism in the workplace

- List of professional licenses

CONDITIONS:

## The students/trainees must be provided with the following

- Quality standards

- GAD handouts

- CD’s, VHS tapes on professionalism in the workplace

- Professional licenses samples

METHODOLOGIES:

- Interactive lecture

- Film viewing

- Role play/simulation

- Group discussion

ASSESSMENT METHODS:

- Demonstration

- Interview

- Written examination

- Portfolio assessment

UNIT OF COMPETENCY	:	PRACTICE OCCUPATIONAL HEALTH AND SAFETY PROCEDURES

MODULE TITLE	:	PRACTICING OCCUPATIONAL HEALTH AND SAFETY PROCEDURES

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes required to comply with the regulatory and organizational requirements for occupational health and safety such as identifying, evaluating and maintaining occupational health and safety (OHS) awareness.

NOMINAL DURATION	:	6 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Identity hazards and risks

LO2.	Evaluate hazards and risks

LO3.	Control hazards and risks

LO4.	Maintain occupational health and safety awareness

LO1.	IDENTIFY HAZARDS AND RISKS

ASSESSMENT CRITERIA:

1.	Workplace hazards and risks are identified and clearly explained.

2.	Hazards/risks and its corresponding indicators are identified in line with the company procedures.

3.	Contingency measures are recognized and established in accordance with organizational procedures.

CONTENTS:

- Hazards and risks identification and control

- Organizational safety and health protocol

- Threshold limit value (TLV)

- OHS indicators

CONDITIONS:

The students/ trainees must be provided with the following:

- Workplace

- Personal protective equipment (PPE)

- Learning guides

- Hand-outs

  - Organizational safety and health protocol

  - OHS indicators

  - Threshold limit value

  - Hazards/risk identification and control

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive -lecture

- Simulation

- Symposium

- Group dynamics

ASSESSMENT METHODS:

- Situation analysis

- Interview

- Practical examination

- Written examination

# LO2.	EVALUATE HAZARDS AND RISKS

ASSESSMENT CRITERIA:

1.	Terms of maximum tolerable limits are identified based on threshold limit values (TLV).

2.	Effects of hazards are determined.

3.	OHS issues and concerns are identified in accordance with workplace requirements and relevant workplace OHS legislation.

CONTENTS:

- 1.	TLV table

- 2.	Philippine OHS standards

- 3.	Effects of hazards in the workplace

- 4.	Ergonomics

- 5.	ECC Regulations

CONDITIONS:

## The students/trainees must be provided with the following

- Hand outs on

  - Philippine OHS standards

  - Effects of hazards in the workplace

  - Ergonomics

  - ECC regulations

- TLV table

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive lecture

- Situation analysis

- Symposium

- Film viewing

- Group dynamics

ASSESSMENT METHODS:

- Interview

- Written examination

- Simulation

LO3.	CONTROL HAZARDS AND RISKS

ASSESSMENT CRITERIA:

1.	OHS procedures for controlling hazards and risk are strictly followed.

2.	Procedures in dealing with workplace accidents, fire and emergencies are followed in accordance with the organization’s OHS policies.

3.	Personal protective equipment (PPE) is correctly used in accordance with organization’s OHS procedures and practices.

4.	Procedures in providing appropriate assistance in the event of workplace emergencies are identified in line with the established organizational protocol.

CONTENTS:

- Safety regulations

  - Clean air act

  - Electrical and fire safety code

  - Waste management

  - Disaster preparedness and management

- Contingency measures and procedures

CONDITIONS:

The students/trainees must be provided with the following:

- Hand outs on

- Safety Regulations

- Clean air act

- Electrical and fire safety code

- Waste management

- Disaster preparedness and management

- Contingency measures and procedures

- OHS personal records

- PPE

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive lecture

- Symposium

- Film viewing

- Group dynamics

- Self-paced instruction

ASSESSMENT METHODS:

- Written examination

- Interview

- Case/situation analysis

- Simulation

LO4.	MAINTAIN OCCUPATIONAL HEALTH AND SAFETY AWARENESS

ASSESSMENT CRITERIA:

1.	Procedures in emergency related drill are strictly followed in line with the established organization guidelines and procedures.

2.	OHS personal records are filled up in accordance with workplace requirements.

3.	PPE is maintained in line with organization guidelines and procedures.

CONTENTS:

- Operational health and safety procedure, practices and regulations

- Emergency-related drills and training

CONDITIONS:

## The students/trainees must be provided with the following

- Workplace

- PPE

- OHS personal records

- CD’s, VHS tapes, transparencies

- Health record

METHODOLOGIES:

- Interactive lecture

- Simulation

- Symposium

- Film viewing

- Group dynamics

ASSESSMENT METHODS:

- Demonstration

- Interview

- Written examination

- Portfolio assessment

MODULES OF INSTRUCTION

COMMON COMPETENCIES

INSTRUMENTATION AND CONTROL SERVICING NC II

UNIT OF COMPETENCY	:	USE HAND TOOLS

CODE	:	ELC724201

MODULE TITLE	:	USING HAND TOOLS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes on the safe use, handling and maintenance of tools.

.

NOMINAL DURATION	:	8 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Plan and prepare for tasks to be undertaken

LO2. 	Prepare hand tools

LO3.	Use appropriate hand tools and test equipment

LO4.	Maintain hand tools

LO1.	PLAN AND PREPARE TASKS TO BE UNDERTAKEN

ASSESSMENT CRITERIA:

1.	Tasks to be undertaken properly identified.

2.	Appropriate hand tools identify

3.	Hand tools selected according to the task requirements.

CONTENTS:

- Identifying appropriate hand tools

- Identifying tasks

- Selecting appropriate hand tools

CONDITION:

Students/trainees must be provided with the following:

- Hand tools for adjusting, dismantling, assembling, finishing, cutting, screwdrivers, pliers, punches

- Wrenches

- Files

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO2.	PREPARE HAND TOOLS

ASSESSMENT CRITERIA:

- Appropriate hand tools checked for proper operation and safety

- Unsafe or faulty tools identified

- Marked all tools for repair according to standard company procedures

CONTENTS:

- Operation of hand tools

- Function of hand tools

- Common faults of hand tools

- Safety requirements of hand tools

- Preparing tools

CONDITION:

Students/trainees must be provided with the following:

- Hand tools for adjusting, dismantling, assembling, finishing, cutting,

- Tool set (screwdrivers, pliers, punches, wrenches, files)

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO3.	USE APPROPRIATE HAND TOOLS AND TEST EQUIPMENT

ASSESSMENT CRITERIA:

- Tools used according to tasks undertaken

- All safety procedures in using tools observed at all times

- Malfunctions, unplanned or unusual events reported to the supervisor

CONTENTS:

- Function of tools

- Safety requirements of tools

- Proper used of tools

- Creating report for malfunctions, unplanned or unusual events

CONDITION:

Students/trainees must be provided with the following:

- Cleaning

- Lubricating

- Tightening

- Simple tool repairs

- Hand sharpening

- Adjustment using correct procedures

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO4.	MAINTAIN HAND TOOLS

ASSESSMENT CRITERIA:

- Tools used according to tasks undertaken

- Routine maintenance of tools undertaken according to standard operational procedures, principles and techniques

- Tools stored safely in appropriate locations in accordance with manufacturers specifications or standard operating procedures

CONTENTS:

- Maintenance of tools

- Storage of tools

- Standard operational procedures, principles and techniques in maintaining a tools

CONDITION:

Students/trainees must be provided with the following:

- Cleaning

- Lubricating

- Tightening

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

UNIT OF COMPETENCY	:	Perform Mensuration and Calculation

MODULE TITLE	:	Performing mensuration and calculation

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes and values needed identifying, caring, and using measuring instruments.

NOMINAL DURATION	:	16 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/students should be able to:

LO1.	Select measuring instrument.

LO2.	Carry out measurement and calculation.

LO3.	Maintain measuring instruments.

LO1.	SELECT MEASURING INSTRUMENT

ASSESSMENT CRITERIA:

- Object or component to be measured is identified.

- Correct specifications are obtained from relevant source.

- Appropriate measuring instrument is selected in line with job requirement.

CONTENTS:

- Types of components and object to be identified

- Knowing the correct specifications of the relevant sources

- Identify the necessary measuring tools in selecting the job requirements

- Reading skills required to interpret work instruction

- Communication skills

CONDITIONS:

- Try square

- Protractor

- Steel rule

- Taper

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO2.	CARRY OUT MEASUREMENT AND CALCULATION

ASSESSMENT CRITERIA:

- Appropriate measuring instrument selected to achieve required outcome.

- Accurate measurements obtained for job.

- Calculation needed to complete work tasks are performed using the four fundamentals operations (addition, subtractions, multiplication and division)

- Calculation involving fractions, percentages, and mixed numbers used to complete workplace tasks.

- Instruments read to the limit of accuracy of the tool.

CONTENTS:

- Identifying appropriate measuring instruments to be used

- Use accurate measurements for the tasks given.

- Using the four fundaments of mathematical operations

- Introducing proper procedure in calculating fractions, percentages, and mixed numbers to perform in the given tasks.

- Reading skills required to interpret work instruction

- Reading skills required to interpret work instruction

- Communication skills

CONDITIONS:

The students/trainees must be provided with the following:

- Torque gauge

- Combination gauge

- Volume

- Area

- Circumstance

- Thickness

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO3.	MAINTAIN MEASURING INSTRUMENT

ASSESSMENT CRITERIA:

- Measuring instruments not dropped to avoid damage.

- Measuring instruments cleaned before and after using.

- Proper storage of instruments undertaken according to the manufacturer’s specifications and standard operating procedures.

CONTENTS:

- Using appropriate instruments tools to avoid damage.

- Proper procedure in cleaning up the workplace before and after using

- Identifying the proper storage of the instruments to be kept that met the manufacturer’s specifications and standard to avoid damage in mismatching.

- Reading skills required to interpret work instruction

- Communication skills

CONDITIONS:

Students/trainees must be provided with the following:

- Straight edge

- Steel rule

- Displacement

- Inside diameter

- Outside diameter

- Thickness

- Taper

- Out of roundness

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

UNIT OF COMPETENCY	:	PREPARE AND INTERPRET TECHNICAL DRAWING

MODULE DESCRIPTOR	:	PREPARING AND INTERPRETING TECHNICAL DRAWING

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitude and values needed to prepare/interpret diagrams, engineering abbreviation and drawings, symbols and dimensions

.

NOMINAL DURATION	:    8 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/ students should be able to:

LO1.	Identify different kinds of technical drawings

LO2.	Interpret technical drawings

LO3.	Prepare/ make changes on electrical/ electronic schematics and drawings

LO1.	IDENTIFY DIFFERENT KINDS OF TECHNICAL DRAWINGS

ASSESSMENT CRITERIA:

- Correct technical drawing selected according to job requirements

- Technical drawings segregated in accordance with the types and kinds of drawings.

CONTENTS:

- Drawing conventions

- Symbols

- Dimensioning conventions

- Mark-p / Notation of drawings

CONDITIONS:

Students/trainees must be provided with the following:

- Schematic diagrams

- Charts

- Block diagrams

- Layout plans

- Location plans

- Process and Instrumentation diagrams

- Loop diagrams

- System control diagrams

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO2.	INTERPRET TECHNICAL DRAWING

ASSESSMENT CRITERIA:

- Components, assemblies or objects recognized as required

- Dimensions of the key features of the objects depicted in the drawing correctly identified

- Symbols used in the drawing identified and interpreted correctly

- Drawing checked and validated against job requirements or equipment in accordance with standard operating procedures

CONTENTS:

- Reading skills required to interpret work instructions

- Skills in interpreting electrical/ electronic signs and symbols

CONDITIONS:

The students/trainees must be provided with the following:

- Schematic diagrams

- Charts

- Block diagrams

- Layout plans

- Location plans

- Process and Instrumentation diagrams

- Loop diagrams

- System control diagrams

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO3.	PREPARE / MAKE CHANGES ON ELECTRICAL ELECTRONIC SCHEMATICS AND DRAWINGS

ASSESSMENT CRITERIA:

- Electrical/ electronic schematic drawn and correctly identified

- Correct drawing identified, equipment selected and used in accordance with job requirements

CONTENTS:

- Mathematics

- Communication skills

CONDITIONS:

Students/trainees must be provided with the following:

- Components/ dividers

- Drawing boards

- Rulers

- T-square

- Calculator

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

UNIT OF COMPETENCY	:	APPLY QUALITY STANDARDS

MODULE TITLE	:	APPLYING QUALITY STANDARDS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills, attitudes and values needed to apply quality standards in the workplace. The unit also includes the application of relevant safety procedures and regulations, organization procedures and customer requirements.

.

NOMINAL DURATION	:	12 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Assess quality of received materials

LO2.	Assess own work

LO3.	Engage in quality improvement

LO1.	ASSESS QUALITY OF RECEIVED MATERIALS

ASSESSMENT CRITERIA:

- Work instruction obtained and work carried out in accordance with standard operating procedures.

- Received materials checked against workplace standards and specifications.

- Faulty materials related to work are identified and isolated

- Faults and any identified causes recorded and or reported to the supervisor concerned in accordance with workplace procedures

- Faulty materials are replaced in accordance with workplace procedures

CONTENTS:

- Reading skills required to interpret work instruction

- Workplace standards and specifications

- Procedures in obtaining and carrying out work instructions

- Quality checking procedures

- Fault identification and reporting

- Safety and environmental aspects of production process

- Carry out work in accordance with policies and procedures

CONDITIONS:

Students/trainees must be provided with the following:

- Work instructions

- Manuals (operation manual of the company/ manufacturer’s Instruction/ service manual)

- Company/ workplace standards and specifications

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO2.   ASSESS OWN WORK

ASSESSMENT CRITERIA:

- Documentation relative to quality within the company identified and used

- Completed work checked against workplace standards and specifications

- Errors are identified and isolated

- Information on the quality and other indicators of production procedures recorded in accordance with workplace procedures

- In cases of deviation from specific quality standards, causes documented and reported in accordance with the workplace’s standard operating procedures.

CONTENTS:

- Communication skills needed to interpret and apply defined work procedures

- Identifying errors (deviation from customer and or organization requirements)

CONDITIONS:

Students/trainees must be provided with the following:

- Organization work procedures

- Manufacturer’s Instruction manual

- Customer requirements

- Other forms

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO3.  	ENGAGE IN QUALITY IMPROVEMENT

ASSESSMENT CRITERIA:

- Process improvement procedures participated in relative to workplace assignment

- Work carried out in accordance with process improvement procedures

- Performance of operation or quality of product of service to ensure customer satisfaction monitored

CONTENTS:

- Relevant production processes, materials and products

- Safety and environmental aspects of production processes

- Critical thinking

- Quality improvement processes

CONDITIONS:

Students/trainees must be provided with the following:

- Organization work procedures

- Manufacturer’s instruction manual

- Customer requirements

- Other forms

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

UNIT OF COMPETENCY	:	Perform COMPUTER OPERATIONS

MODULE TITLE	:	PERFORMING COMPUTER OPERATIONS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills, attitudes and values needed to perform computer operations which include inputting, accessing, producing, and transferring data using the appropriate hardware and software.

NOMINAL DURATION	:	8 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Plan and prepare for tasks to be taken/ undertaken

LO2.	Input data into computer

LO3.	Access information using computer

LO4.	Produce output/data using computer systems

LO5.	Use basic functions of a web browser to locate information

LO6.	Maintain computer equipment and systems

LO1.	PLAN AND PREPARE FOR TASKS TO BE UNDERTAKEN

ASSESSMENT CRITERIA:

- Requirements of tasks determined in accordance with the required output

- Appropriate hardware and software selected according to task assigned and required outcome

- Task planned to ensure that OH and S guidelines and procedures followed

- Client-specific guidelines and procedures followed

- Required data security guidelines applied in accordance with existing procedures

CONTENTS:

- Reading and comprehension skills required to interpret work instructions and to interpret basic user manuals

- OH and S principles and responsibilities

- Main types of computers and basic features of different operating systems

- Main parts of a computer

- Storage devices and basic categories of memory

- Relevant types of software

- General security, privacy legislation and copyright

CONDITIONS:

Students/trainees must be provided with the following:

- Equipment:

1 unit of computer

Voltage regulator / UPS

- Learning materials:

Learning manuals

Work Instruction

Hand-outs

- Supplies/ materials:

Operating system

Application program

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO2.	INPUT DATA INTO COMPUTER

ASSESSMENT CRITERIA:

- Data entered into the computer using appropriate program/application in accordance with company procedure

- Accuracy of information checked and information saved in accordance with standard operating procedures

- Inputted data stored in storage media according to requirements

- Work performed within ergonomic guidelines

CONTENTS:

- Relevant types of software

- Communication skills to identify lines of communication, request advice, follow instructions and receive feedback

- Storage devices and basic categories of memory

- Basic ergonomics of keyboard and computer user

CONDITIONS:

Students/trainees must be provided with the following:

- Equipment:

1 unit of computer

Voltage regulator/ UPS

- Learning materials:

Learning manuals

Work Instruction

Hand-outs

- Supplies/ materials:

Operating system

Application program

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO3.	ACCESS INFORMATION USING COMPUTER

ASSESSMENT CRITERIA:

- Correct program/application selected based on job requirements

- Program/Application containing the information required accessed according to company procedures

- Desktop icons correctly selected, opened and closed for navigation purposes

- Keyboard techniques carried out in line with OHS requirements for safe use of keyboards

CONTENTS:

- Relevant types of software

- Business application

- System software

- Basic ergonomics of keyboard and computer user

CONDITIONS:

Students/trainees must be provided with the following:

- Equipment:

1 unit of computer

Voltage regulator / UPS

- Learning materials:

Learning manuals

Work Instruction

Hand-outs

- Supplies/ materials:

Operating system

Application program

Disks

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO4.	PRODUCE OUTPUT/DATA USING COMPUTER SYSTEM

ASSESSMENT CRITERIA:

- Entered data processed using appropriate software commands

- Data printed as required using computer hardware/peripheral devices in accordance with standard operating procedures

- Files and data transferred between compatible systems using computer software, hardware/peripheral devices in accordance with standard operating procedures

CONTENTS:

- Relevant types of software

- Computer peripherals

- Storage devices and basic categories of memory

CONDITIONS:

- Equipment:

1 unit of computer

Printer

Voltage regulator/ UPS

- Learning materials:

Learning Manuals

Work Instruction

Hand-outs

- Supplies/ materials:

Operating system

Application program

Disks

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO5.	USE BASIC FUNCTIONS OF A WEB BROWSER TO LOCATE INFORMATION

ASSESSMENT CRITERIA:

- Information requirements for Internet search established

- Browser launched

- Search engine loaded

- Appropriate search criteria and/or URL of site entered

- Relevant links followed to locate required information

- Useful pages bookmarked or printed as required

CONTENTS:

- Web surfing

- Web browsers

- Search engines

- URLS and keywords

- Links

- Book marking

CONDITIONS:

- Equipment:

1 unit of computer

Voltage regulator/ UPS

- Learning materials:

Learning manuals

Work Instruction

Hand-outs

- Supplies/ materials:

Operating system

Application program

Disks

-	Paper

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO6.	MAINTAIN COMPUTER EQUIPMENT AND SYSTEMS

ASSESSMENT CRITERIA:

- Procedures for ensuring security of data, including regular back-ups and virus checks implemented in accordance with standard operating procedures

- Basic file maintenance procedures implemented in line with standard operating procedures

CONTENTS:

- Security measures

- Anti-virus software/programs

- File Management

CONDITIONS:

- Equipment:

1 unit of computer

Voltage regulator/ UPS

- Learning materials:

Learning manuals

Work Instruction

Hand-outs

- Supplies/ materials:

Operating system

Application program

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

UNIT OF COMPETENCY	:	TERMINATE AND CONNECT ELECTRICAL WIRING AND ELECTRONICS CIRCUIT

MODULE TITLE	:	TERMINAINGE AND CONNECTING ELECTRICAL WIRING AND ELECTRONICS CIRCUIT

MODULE DESCRIPTOR	:	This unit covers the knowledge, skills and attitudes and values needed to terminate and connect electrical wiring and electronic circuits.

.

NOMINAL DURATION	:	8 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Plan and prepare for termination/connection of electrical wiring/electronics circuits

LO2.	Terminate/connect wiring/electronic circuits

LO3.	Test termination/connections of electrical wiring/electronics circuits

LO1.	PLAN AND PREPARE FOR TERMINATION/CONNECTION OF ELECTRICAL WIRING/ELECTRONICS CIRCUITS

ASSESSMENT CRITERIA:

- Materials checked according to specification and tasks

- Appropriate tools and equipment selected according to tasks requirements

- Task is planned to ensure OH & S guidelines and procedures followed.

- Electrical wiring/electronic, circuits correctly prepared for connecting/termination in accordance with instructions and worksite procedures.

CONTENTS:

- Identified the materials needed to perform the given specification

- Used appropriate tools and equipment as required in the given tasks

- Prior planning to perform the specific guidelines and procedures

- Ensuring the accuracy and correctness of electrical/wiring and electronics connections to be used and placed in the worksite.

- Reading skills required to interpret work instruction

- Communication skills

CONDITIONS:

Students/trainees must be provided with the following:

- Materials

- Soldering lead

- Toots and equipment

- Pliers

- Personal protective equipment

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO2.	TERMINATE/CONNECT WIRING/ELECTRONIC CIRCUITS

ASSESSMENT CRITERIA:

- Safety procedures in using tools observed at all times and appropriate personal protective equipment used

- All works undertaken safety in accordance with the workplace and standard procedures.

- Appropriate ranges of methods in termination/connection used according to specifications, manufacturer’s requirements and safety.

- Correct sequence of operation followed

- Accessories used adjusted, if necessary

- Confirm termination/connections undertaken successfully in accordance with job specification.

CONTENTS:

- Provide necessary safety procedures in using tools and appropriate protective equipment in the worksite.

- Tasks given are based to standards procedures in accordance with the safety requirements.

- Identifying appropriate methods in terminating connection are according to prescribed standards.

- Using proper sequence of operation

- Jobs performance must be in accordance with the standard procedures.

- Reading skills required to interpret work instruction

- Communication skills

CONDITIONS:

Students/trainees must be provided with the following:

- Materials

Cables

Soldering lead

Wires

- Tools and equipment

Pliers

Cutters

Screw drivers

Soldering gun

Multi-tester

- Personal protective equipment

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO3.	TEST TERMINATION/CONNECTIONS OF ELECTRICAL WIRING/ELECTRONICS CIRCUITS

ASSESSMENT CRITERIA:

- Testing of all completed termination/connections of electric wiring/electronic circuits conducted for compliance with specification and regulations using appropriate procedures and equipment

- Wiring and circuits checked using specified testing procedures

- Unplanned events or conditions responded to in accordance with established procedures.

CONTENTS:

- Using of appropriate tools in testing of the different circuits connected to ensure the validity and conformity of the connection

- Identify the accurate tools to checked the specified wiring circuits

- Reading skills required to interpret work instruction

- Communication skills

- Responding as compliance with the standard established procedures

CONDITIONS:

Students/trainees must be provided with the following:

- Materials

Cables

Soldering lead

Wires

- Tools and equipment

-	Pliers

-	Cutters

-	Screw drivers

-	Soldering gun

-	Multi-tester

- Personal protective equipment

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

MODULES OF INSTRUCTION

CORE COMPETENCIES

INSTRUMENTATION AND CONTROL SERVICING NC II

UNIT OF COMPETENCY	:	INSTALL INSTRUMENTATION AND CONTROL DEVICES

MODULE TITLE	:	INSTALL INSTRUMENTATION AND CONTROL DEVICES

MODULE DESCRIPTION	:	This module is designed to enhance the knowledge, skills and attitude of the trainees in installing and testing the installed instrumentation and control devices

NOMINAL DURATION      :	80 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Interpret work instructions for installation

LO2.	Identify tools, equipment testing devices and materials needed for installation

LO3.	Identify the PPE and OHS policies and procedures required for the installation job

LO4.	Install instrumentation and control devices

LO5.	Test installed instrumentation and control devices

.

LO1.	INTERPRET WORK INSTRUCTION FOR INSTALLATION

ASSESSMENT CRITERIA:

- Communication skills to interpret work instructions are defined and demonstrated according to the established procedures

- Work signs, symbols and conventions are defined and explained according to the set standards

- Work instructions and procedures are demonstrated according to the set standards

CONTENTS:

- Effective communication skills

- Work signs, symbols and conventions

- Work instructions and procedures

- Work instruction interpretation

CONDITION:

Students/trainees must be provided with the following:

- Learning materials

-	Component manufacturers manual

-	Engineering specifications

-	Learning elements

-	Catalogue/reference materials

-	Plan/blue print

-	OH & S guidelines and policies

-	Philippine environmental standards

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO2.	IDENTIFY THE TOOLS, EQUIPMENT, TESTING DEVICES AND MATERIALS NEEDED FOR INSTALLATION

ASSESSMENT CRITERIA:

1.	Materials needed for installation are identified and prepared according to the work instructions

2.	Tools and equipment types and functions needed for installation are identified and demonstrated according to set standards

3.	Testing devices and instruments operations needed for installation are explained and demonstrated according to instruction manual

4.	Personal protective equipment are used in accordance with the occupational health and safety guidelines and policies

CONTENTS:

- Types and functions of tools and equipment

- Operation of testing devices and instruments

- Personal protective equipment

- Occupational health and safety

- Equipment, testing devices and instruments signs, symbols and conventions

CONDITION:

Students/trainees must be provided with the following:

- TOOLS:

Pliers (assorted)

Screw drivers (assorted)

Soldering iron/gun

Wrenches

- EQUIPMENT:

Communication equipment e.g., 2-way radio, cell phone

Lifting equipment

Fastening equipment

- Testing devices includes but not limited to:

Multimeter

Calibrators

- MATERIALS:

Wires and cables

Pipes/tubes & fittings

Sealing materials

Fasteners

- PPE:

Ear muffs/plugs

Goggles/glasses/face shield

Safety hat

Safety apparel/suit

Safety belt/harness

Safety shoes

Mask

Gloves

- DEVICES

Sensors/transmitters/transducers

Indicators

Controllers

Control valves

Actuators

Recorders

Annunciators

Process switches

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO3.	IDENTIFY THE PPE AND OHS POLICIES AND PROCEDURES REQUIRED FOR THE INSTALLATION JOB

ASSESSMENT CRITERIA:

- Personal Protective Equipment (PPE) needed for installation are identified and prepared according to the work instructions

- Use of PPE needed for installation are demonstrated according to the set standards

- Occupational and Health Safety (OHS) needed for installation are identified and explained according to the work instructions

- OHS procedures and policies needed for installation are demonstrated according to the set standards

CONTENTS:

- Personal protective equipment

- Occupational health and safety

- Effective communication skills

- Work instructions and procedures

- Work signs, symbols and conventions

CONDITION:

Students/trainees must be provided with the following:

- Personal protective equipment

-	Safety hat

-	Safety shoes

-	Ear muffs

-	Safety belt/harness

-	Mask

-	Safety goggles

-	Hand gloves

- Learning materials

-	Component manufacturers manual

-	Engineering specifications

-	Learning elements

-	Catalogue/reference materials

-	Plan/blue print

-	Simulator and actual setting

-	OH & S guidelines

-	Philippine environmental standards

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO4.	INSTALL INSTRUMENTATION AND CONTROL DEVICES

ASSESSMENT CRITERIA:

  - Appropriate personal protective equipment is worn in line with standard operating procedures.

  - OH & S policies and procedures for installation are followed in line with the requirements.

  - Instrumentation and Control standards are followed in line with the job requirements.

  - Devices are installed in accordance with manufacturer’s instructions, requirements, and without damage to the surrounding place or environment

  - Unplanned events or conditions are responded to in accordance with established procedures

CONTENTS:

- Occupational health and safety

- Instrumentation and control standards

- Use of tools

- Mathematical calculations

- Electrical theory

- Electronics theory

- Use of test equipment and calibrators

- Wiring techniques

- Drawing interpretation

- Soldering techniques

- Principles of Instrumentation

- Process variable measurements (pressure, level, flow, temperature, analysis, etc.)

- Process control theory

- Process control system ( single-loop & multi-loop controllers, DCS, DAS, SCADA, etc)

- Sensors, transmitters, transducers & converters

- Programmable logic controllers

- Control valves and final control elements

- Reading skills required to interpret work instructions

- Communication skills needed to interpret and define work procedures

- Selection & use of proper tools & equipment

- Installation skills

- Problem solving in unplanned events

CONDITION:

Students/trainees must be provided with the following:

- TOOLS:

Pliers (assorted)

Screw drivers (assorted)

Soldering iron/gun

Wrenches

- EQUIPMENT:

Communication equipment e.g., 2-way radio, cell phone

Lifting equipment

Fastening equipment

- Testing devices includes but not limited to:

Multimeter

Calibrators

- MATERIALS:

Wires and cables

Pipes/tubes & fittings

Sealing materials

Fasteners

- PPE:

Ear muffs/plugs

Goggles/glasses/face shield

Safety hat

Safety apparel/suit

Safety belt/harness

Safety shoes

Mask

Gloves

- DEVICES

Sensors/transmitters/transducers

Indicators

Controllers

Control valves

Actuators

Recorders

Annunciators

Process switches

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO5.	TEST INSTALLED INSTRUMENTATION AND CONTROL DEVICES

ASSESSMENT CRITERIA:

- Devices are tested in accordance with standard procedures.

- Final inspections are undertaken to ensure that the installed devices conforms with technical requirements.

- Work site is cleaned and cleared of all debris and left safe in accordance with the company requirements

- Report on installation and testing of equipment is prepared according to company’s procedures/policies.

CONTENTS:

- Occupational health and safety

- Instrumentation & control standards

- Use of tools

- Mathematical calculations

- Electrical theory

- Electronics theory

- Use of test equipment and calibrators

- Wiring techniques

- Drawing interpretation

- Soldering techniques

- Principles of Instrumentation

- Process variable measurements (pressure, level, flow, temperature, analysis, etc.)

- Process control theory

- Process control system (single-loop & multi-loop controllers, DCS, DAS, SCADA, etc)

- Sensors, transmitters, transducers & converters

- Programmable logic controllers

- Control valves and final control elements

- Reading skills required to interpret work instructions

- Communication skills needed to interpret and define work procedures

- Selection & use of proper tools & equipment

- Installation skills

- Problem solving in unplanned events

CONDITION:

Students/trainees must be provided with the following:

- TOOLS:

Pliers (assorted)

Screw drivers (assorted)

Soldering iron/gun

Wrenches

- EQUIPMENT:

Communication equipment e.g., 2-way radio, cell phone

Lifting equipment

Fastening equipment

- Testing devices includes but not limited to:

Multimeter

Calibrators

- MATERIALS:

Wires and cables

Pipes/tubes & fittings

Sealing materials

Fasteners

- PPE:

Ear muffs/plugs

Goggles/glasses/face shield

Safety hat

Safety apparel/suit

Safety belt/harness

Safety shoes

Mask

Gloves

- DEVICES

Sensors/transmitters/transducers

Indicators

Controllers

Control valves

Actuators

Recorders

Annunciators

Process switches

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

UNIT OF COMPETENCY	:	CALIBRATE INSTRUMENTATION AND CONTROLDEVICES

MODULE TITLE	:	CALIBRATING INSTRUMENTATION AND CONTROLDEVICES

MODULE DESCRIPTION	:	This module is designed to enhance the knowledge, skills and attitude of the trainees in planning, calibrating and testing the calibrated instrumentation and control devices.

NOMINAL DURATION	:	40 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Interpret work instructions for calibration

LO2.	Identify tools, equipment testing devices and materials needed for calibration

LO3.	Identify the PPE and OHS policies and procedures required for the calibration job

LO4.	Calibrate instrumentation and control devices

LO5.	Inspect and test the calibrated instrumentation and control devices

LO1.	INTERPRET WORK INSTRUCTION FOR CALIBRATION

ASSESSMENT CRITERIA:

- Communication skills to interpret work instructions are defined and demonstrated according to the established procedures

- Work signs, symbols and conventions are defined and explained according to the set standards

- Work instructions and procedures are demonstrated according to the set standards

CONTENTS:

- Effective communication skills

- Work signs, symbols and conventions

- Work instructions and procedures

- Work instruction interpretation

CONDITIONS:

Students/trainees must be provided with the following:

- Learning materials

-	Component manufacturers manual

-	Engineering specifications

-	Learning elements

-	Catalogue/reference materials

-	Plan/blue print

-	OH & S guidelines and policies

-	Philippine environmental standards

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO2.	IDENTIFY THE TOOLS, EQUIPMENT, TESTING DEVICES AND MATERIALS NEEDED FOR CALIBRATION

ASSESSMENT CRITERIA:

- Materials needed for calibration are identified and prepared according to the work instructions

- Tools and equipment types and functions needed for calibration are identified and demonstrated according to set standards

- Testing devices and instruments operations needed for calibration are explained and demonstrated according to instruction manual

- Personal protective equipment are used in accordance with the occupational health and safety guidelines and policies

CONTENTS:

- Types and functions of tools and equipment

- Operation of testing devices and instruments

- Personal protective equipment

- Occupational health and safety

- Equipment, testing devices and instruments signs, symbols and conventions

CONDITION:

Students/trainees must be provided with the following:

- TOOLS:

Pliers (assorted)

Screw drivers (assorted)

Soldering iron/gun

Wrenches

- EQUIPMENT:

Communication equipment e.g., 2-way radio, cell phone

Lifting equipment

Fastening equipment

- Testing devices includes but not limited to:

Multimeter

Calibrators

- MATERIALS:

Wires and cables

Pipes/tubes & fittings

Sealing materials

Fasteners

- PPE:

Ear muffs/plugs

Goggles/glasses/face shield

Safety hat

Safety apparel/suit

Safety belt/harness

Safety shoes

Mask

Gloves

- DEVICES

Sensors/transmitters/transducers

Indicators

Controllers

Control valves

Actuators

Recorders

Annunciators

Process switches

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO3.	IDENTIFY THE PPE AND OHS POLICIES AND PROCEDURES REQUIRED FOR THE CALIBRATION JOB

ASSESSMENT CRITERIA:

  - Personal protective equipment (PPE) needed for calibration are identified and prepared according to the work instructions

  - Use of PPE needed for calibration are demonstrated according to the set standards

  - Occupational and health safety (OHS) needed for calibration are identified and explained according to the work instructions

  - OHS procedures and policies needed for calibration are demonstrated according to the set standards

CONTENTS:

- Personal protective equipment

- Occupational health and safety

- Effective communication skills

- Work instructions and procedures

- Work signs, symbols and conventions

CONDITION:

Students/trainees must be provided with the following:

- Personal protective equipment

-	Safety hat

-	Safety shoes

-	Ear muffs

-	Safety belt/harness

-	Mask

-	Safety goggles

-	Hand gloves

- Learning materials

-	Component manufacturers manual

-	Engineering specifications

-	Learning elements

-	Catalogue/reference materials

-	Plan/blue print

-	Simulator and actual setting

-	OH & S guidelines

-	Philippine environmental standards

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO4.	CALIBRATE INSTRUMENTATION AND CONTROL DEVICES

ASSESSMENT CRITERIA:

- Appropriate personal protective equipment is used and OHS policies and procedures are followed

- Normal functions of devices are checked in accordance with manufacturer’s instructions & standard procedures.

- Fault/s or problem/s in the device is diagnosed in line with the standard operating procedures.

- Instrumentation and control devices are calibrated in line with the standard operating procedures.

- Unplanned events or conditions are responded to in accordance with established procedures

CONTENTS:

- Occupational health and safety

- Instrumentation & Control standards

- Use of tools

- Mathematical calculations

- Electrical theory

- Electronics theory

- Use of test equipment and calibrators

- Wiring techniques

- Drawing interpretation

- Soldering techniques

- Principles of Instrumentation

- Process variable measurements (pressure, level, flow, temperature, analysis, etc.)

- Process control theory

- Process control system (single-loop & multi-loop controllers, DCS, DAS, SCADA, etc)

- Sensors, transmitters, transducers & converters

- Programmable logic controllers

- Control valves and final control elements

- Computer operation

- Reading skills required to interpret work instructions

- Communication skills needed to interpret and define work procedures

- Selection & use of proper tools & equipment

- Calibration skills

- Problem solving in unplanned events

CONDITION:

Students/trainees must be provided with the following:

- TOOLS:

Pliers (assorted)

Screw drivers (assorted)

Soldering iron/gun

Wrenches

- EQUIPMENT:

Calibration bench

Instrument air supply equipment

Power supply equipment

- Testing devices includes but not limited to:

Multimeter

Calibrators, configurator or programmer

Signal generator

Oscilloscope

- MATERIALS:

Wires and cables

Pipes/tubes & fittings

Sealing materials

Fasteners

- PPE:

Ear muffs/plugs

Goggles/glasses/face shield

Safety hat

Safety apparel/suit

Safety belt/harness

Safety shoes

Mask

Gloves

- DEVICES

Sensors/transmitters/transducers

Indicators

Controllers

Control valves

Actuators

Recorders

Annunciators

Process switches

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO5.	INSPECT AND TEST CALIBRATED INSTRUMENTATION AND CONTROL DEVICES

ASSESSMENT CRITERIA:

- Final inspections are undertaken to ensure that the calibration done on the device conforms with the manufacturer’s instruction/manual

- Instrumentation and control devices are checked and tested to ensure safe operation.

- Report is prepared/completed according to company requirements

CONTENTS:

- Occupational health and safety

- Instrumentation & Control standards

- Use of tools

- Mathematical calculations

- Electrical theory

- Electronics theory

- Use of test equipment and calibrators

- Wiring techniques

- Drawing interpretation

- Soldering techniques

- Principles of Instrumentation

- Process variable measurements (pressure, level, flow, temperature, analysis, etc.)

- Process control theory

- Process control system (single-loop & multi-loop controllers, DCS, DAS, SCADA, etc)

- Sensors, transmitters, transducers & converters

- Programmable logic controllers

- Control valves and final control elements

- Computer operation

- Reading skills required to interpret work instructions

- Communication skills needed to interpret and define work procedures

- Selection & use of proper tools & equipment

- Calibration skills

- Problem solving in unplanned events

CONDITION:

Students/trainees must be provided with the following:

- TOOLS:

Pliers (assorted)

Screw drivers (assorted)

Soldering iron/gun

Wrenches

- EQUIPMENT:

Calibration bench

Instrument air supply equipment

Power supply equipment

- Testing devices includes but not limited to:

Multimeter

Calibrators, configurator or programmer

Signal generator

Oscilloscope

- MATERIALS:

Wires and cables

Pipes/tubes & fittings

Sealing materials

Fasteners

- PPE:

Ear muffs/plugs

Goggles/glasses/face shield

Safety hat

Safety apparel/suit

Safety belt/harness

Safety shoes

Mask

Gloves

- DEVICES

Sensors/transmitters/transducers

Indicators

Controllers

Control valves

Actuators

Recorders

Annunciators

Process switches

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

UNIT OF COMPETENCY	:	CONFIGURE INSTRUMENTATION AND CONTROL DEVICES

MODULE TITLE	:	CONFIGURING INSTRUMENTATION AND CONTROL DEVICES

MODULE DESCRIPTION	:	This module is designed to enhance the knowledge, skills and attitude of the trainees in planning, configuring and testing the configured instrumentation and control devices

.

NOMINAL DURATION	:	40 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Interpret work instructions for configuration

LO2.	Identify tools, equipment testing devices and materials needed for configuration

LO3.	Identify the PPE and OHS policies and procedures required for the configuration job

LO4.	Configure instrumentation and control devices

LO5.	Inspect and test the configured instrumentation and control devices

LO1.	INTERPRET WORK INSTRUCTION FOR CONFIGURATION

ASSESSMENT CRITERIA:

- Communication skills to interpret work instructions are defined and demonstrated according to the established procedures

- Work signs, symbols and conventions are defined and explained according to the set standards

- Work instructions and procedures are demonstrated according to the set standards

CONTENTS:

- Effective communication skills

- Work signs, symbols and conventions

- Work instructions and procedures

- Work instruction interpretation

CONDITIONS:

Students/trainees must be provided with the following:

- Learning materials

-	Component manufacturers manual

-	Engineering specifications

-	Learning elements

-	Catalogue/reference materials

-	Plan/blue print

-	OH & S guidelines and policies

-	Philippine environmental standards

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO2.	IDENTIFY THE TOOLS, EQUIPMENT, TESTING DEVICES AND MATERIALS NEEDED FOR CONFIGURATION

ASSESSMENT CRITERIA:

- Materials needed for configuration are identified and prepared according to the work instructions

- Tools and equipment types and functions needed for configuration are identified and demonstrated according to set standards

- Testing devices and instruments operations needed for configuration are explained and demonstrated according to instruction manual

- Personal protective equipment are used in accordance with the occupational health and safety guidelines and policies

CONTENTS:

- Types and functions of tools and equipment

- Operation of testing devices and instruments

- Personal protective equipment

- Occupational health and safety

- Equipment, testing devices and instruments signs, symbols and conventions

CONDITION:

Students/trainees must be provided with the following:

- TOOLS:

Pliers (assorted)

Screw drivers (assorted)

Soldering iron/gun

Wrenches

- EQUIPMENT:

Communication equipment e.g., 2-way radio, cell phone

Lifting equipment

Fastening equipment

- Testing devices includes but not limited to:

Multimeter

Calibrators

- MATERIALS:

Wires and cables

Pipes/tubes & fittings

Sealing materials

Fasteners

- PPE:

Ear muffs/plugs

Goggles/glasses/face shield

Safety hat

Safety apparel/suit

Safety belt/harness

Safety shoes

Mask

Gloves

- DEVICES

Sensors/transmitters/transducers

Indicators

Controllers

Control valves

Actuators

Recorders

Annunciators

Process switches

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO3.	IDENTIFY THE PPE AND OHS POLICIES AND PROCEDURES REQUIRED FOR THE CONFIGURATION JOB

ASSESSMENT CRITERIA:

  - Personal protective equipment (PPE) needed for configuration are identified and prepared according to the work instructions

  - Use of PPE needed for calibration are demonstrated according to the set standards

  - Occupational and health safety (OHS) needed for configuration are identified and explained according to the work instructions

  - OHS procedures and policies needed for configuration are demonstrated according to the set standards

CONTENTS:

- Personal protective equipment

- Occupational health and safety

- Effective communication skills

- Work instructions and procedures

- Work signs, symbols and conventions

CONDITION:

Students/trainees must be provided with the following:

- Personal protective equipment

-	Safety hat

-	Safety shoes

-	Ear muffs

-	Safety belt/harness

-	Mask

-	Safety goggles

-	Hand gloves

- Learning materials

-	Component manufacturers manual

-	Engineering specifications

-	Learning elements

-	Catalogue/reference materials

-	Plan/blue print

-	Simulator and actual setting

-	OH & S guidelines

-	Philippine environmental standards

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO4.	CONFIGURE INSTRUMENTATION AND CONTROL DEVICES

ASSESSMENT CRITERIA:

- Appropriate personal protective equipment is used and OHS policies and procedures are followed

- Normal functions of devices are checked in accordance with manufacturer’s instructions & standard procedures.

- Fault/s or problem/s in the device is diagnosed in line with the standard operating procedures.

- Instrumentation and control devices are configured in line with the standard operating procedures.

- Unplanned events or conditions are responded to in accordance with established procedures

CONTENTS:

- Occupational health and safety

- Instrumentation & Control standards

- Use of tools

- Mathematical calculations

- Electrical theory

- Electronics theory

- Use of test equipment and calibrators

- Wiring techniques

- Drawing interpretation

- Soldering techniques

- Principles of Instrumentation

- Process variable measurements (pressure, level, flow, temperature, analysis, etc.)

- Process control theory

- Process control system (single-loop & multi-loop controllers, DCS, DAS, SCADA, etc)

- Sensors, transmitters, transducers & converters

- Programmable logic controllers

- Control valves and final control elements

- Computer operation

- Reading skills required to interpret work instructions

- Communication skills needed to interpret and define work procedures

- Selection & use of proper tools & equipment

- Configuration skills

- Problem solving in unplanned events

CONDITION:

Students/trainees must be provided with the following:

- TOOLS:

Pliers (assorted)

Screw drivers (assorted)

Soldering iron/gun

Wrenches

- EQUIPMENT:

Calibration bench

Computer

- Testing devices includes but not limited to:

Multimeter

Calibrators

Signal generator

Oscilloscope

- MATERIALS:

Connectors

-	Adapters

-	Wires and cables

-	Appropriate software

-	Computer storage media

- PPE:

Ear muffs/plugs

Goggles/glasses/face shield

Safety hat

Safety apparel/suit

Safety belt/harness

Safety shoes

Mask

Gloves

- DEVICES

Sensors/transmitters/transducers

Indicators

Controllers

Control valves

Actuators

Recorders

Annunciators

Process switches

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO5.	INSPECT AND TEST CONFIGURED INSTRUMENTATION AND CONTROL DEVICES

ASSESSMENT CRITERIA:

- Final inspections are undertaken to ensure that the configuration done on the device conforms with the manufacturer’s instruction/manual

- Instrumentation and control devices are checked and tested to ensure safe operation.

- Report is prepared/completed according to company requirements

CONTENTS:

- Occupational health and safety

- Instrumentation & Control standards

- Use of tools

- Mathematical calculations

- Electrical theory

- Electronics theory

- Use of test equipment and calibrators

- Wiring techniques

- Drawing interpretation

- Soldering techniques

- Principles of Instrumentation

- Process variable measurements (pressure, level, flow, temperature, analysis, etc.)

- Process control theory

- Process control system (single-loop & multi-loop controllers, DCS, DAS, SCADA, etc)

- Sensors, transmitters, transducers & converters

- Programmable logic controllers

- Control valves and final control elements

- Computer operation

- Reading skills required to interpret work instructions

- Communication skills needed to interpret and define work procedures

- Selection & use of proper tools & equipment

- Configuration skills

- Problem solving in unplanned events

CONDITION:

Students/trainees must be provided with the following:

- TOOLS:

Pliers (assorted)

Screw drivers (assorted)

Soldering iron/gun

Wrenches

- EQUIPMENT:

Calibration bench

Computer

- Testing devices includes but not limited to:

Multimeter

Calibrators

Signal generator

Oscilloscope

- MATERIALS:

Connectors

-	Adaptors

-	Wires and cables

-	Appropriate software

-	Computer storage media

- PPE:

Ear muffs/plugs

Goggles/glasses/face shield

Safety hat

Safety apparel/suit

Safety belt/harness

Safety shoes

Mask

Gloves

- DEVICES

Sensors/transmitters/transducers

Indicators

Controllers

Control valves

Actuators

Recorders

Annunciators

Process switches

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

# What is Competency-Based Curriculum (CBC)

- A competency-based curriculum is a framework or guide for the subsequent detailed development of competencies, associated methodologies, training and assessment resources.

- The CBC specifies the outcomes which are consistent with the requirements of the workplace as agreed through the industry or community consultations.

- CBC can be developed immediately when competency standards exist.

- When competency standards do not exist, curriculum developers need to clearly define the learning outcomes to be attained. The standard of performance required must be appropriate to industry and occupational needs through the industry/enterprise or specified client group consultations.

These materials are available in both printed and electronic copies.

For more information please contact:

Technical Education and Skills Development Authority (TESDA)

Telephone Nos.: 893-8281, 817-4076 to 82 loc. 611, 630, 631 and 635 or visit our website: www.tesda.gov.ph or the TESDA Regional or Provincial Office nearest you.