| - COMPETENCY-BASED CURRICULUM |  |
| --- | --- |

| Sector: ###### ELECTRONICS |  |
| --- | --- |
| Qualification: Instrumentation and Control Servicing NC IV |  |
|  | Technical Education and Skills Development Authority East Service Road, South Superhighway, Taguig City, Metro Manila |

# TABLE OF CONTENTS

Page

A.	COURSE DESIGN	1-6

B.	MODULES OF INSTRUCTION	7-90

- Basic Competencies	7

  - Utilizing specialized communication skills	8-10

  - Developing team and individual 	11-16

  - Planning and organizing work 	17-21

  - Identifying possible solution	22-25

  - Recommending and implementing solutions 	26-29

  - Collecting, analyzing and organizing information 	30-34

  - Promoting environmental protection 	35-38

- Common Competencies	39

  - Using hand tools	40-44

  - Performing mensuration and calculation	45-48

  - Preparing and interpreting technical drawing	49-52

  - Applying quality standards	53-56

  - Performing computer operations	57-63

  - Terminating and connecting electrical wiring and electronics circuits	64-67

- Core Competencies	68

  - Starting-up and commissioning instrumentation and control devices 	69-78

  - Diagnosing and troubleshooting instrumentation and control devices 	79-90

COURSE DESIGN

COURSE TITLE	:	INSTRUMENTATION AND CONTROL DEVICES NC IV

NOMINAL DURATION	:	170 hours

COURSE DESCRIPTION	:

This course is designed to enhance the knowledge, skills and attitudes of a trainee/student on core competencies such as; start-up, commission, diagnose and troubleshoot instrumentation and control systems in accordance with the industry standards. It includes basic competencies such as; Utilize specialized communication skills, develop teams and individuals, apply problem solving techniques in the workplace, collect, analyze and organize information, plan and organize work and Promote environmental protection

It also includes common competencies such as; use hand tools, perform mensuration and calculation, prepare and interpret technical drawing, apply quality standards, perform computer operations and terminate and connect electrical wiring and electronic circuits.

.

ENTRY REQUIREMENTS:

Trainees or students should possess the following requirements:

- Can communicate orally and in writing

- Can perform basic mathematical computations

- Can recognize abstract and 3-dimensional figures

- Must be mentally fit

- With good moral character

- Must be a TESDA certified Instrumentation & Control Technician NCII or Certified Instrumentation & Control Technician or Certified Instrumentation and Control Engineer by a nationally-recognized body, or its equivalent in other countries.

COURSE STRUCTURE:

# BASIC COMPETENCIES

(30 hours)

| # Units of Competency | # Module Title | # Learning Outcomes | # Nominal Duration |
| --- | --- | --- | --- |
| # 1. Utilize specialized communication skills | # 1.1 Utilizing specialized communication skills | 1.1.1 Apply communication strategies to meet specific needs of internal and external client. 1.1.2 Represent the organization in internal and external forums. 1.1.3 Facilitate group discussion. 1.1.4 Conduct interview. | # 6 hours |
| # 2. Develop team and individual needs | 2.1 Developing team and individual needs | 2.1.1 Determine development needs 2.1.2 Foster individual and organizational growth 2.1.3 Monitor and evaluate workplace learning 2.1.4 Develop team commitment and cooperation 2.1.5 Facilitate accomplishment of organizational goals | # 4 hours |
| 3. Plan and organize work | 3.1 Plan and organize work | 3.1.1 Set work objectives. 3.1.2 Plan and schedule work activities. 3.1.3 Implement and monitor plans/activities. 3.1.4 Review and evaluate work plans and activities. | # 4 hours |
| # 4. Apply problem solving techniques in the workplace | 4.1 Identifying possible solution | 4.1.1 Analyze the problem 4.1.2 Identify fundamental cause of the problem 4.1.3 Determine possible solution | # 4 hours |
|  | 4.2 Recommending and implementing solutions | 4.2.1 Prepare communication or documentation report 4.2.2 Present recommendation to appropriate personnel 4.2.3 Implement solution | # 4 hours |
| 5. Collect, analyze and organize information | 5.1 Collecting, analyzing and organizing information | 5.1.1 Study information requirements. 5.1.2 Process data 5.1.3 Analyze, interpret and organize information gathered. 5.1.4 Present findings/ recommendations. | # 4 hours |
| 6. Promote environmental protection | # 6.1 Promoting environmental protection | 6.1.1 Study Guidelines for environmental concerns. 6.1.2 Implement specific environmental programs. 6.1.3 Monitor activities on environmental protection/ programs. | # 4 hours |

# COMMON COMPETENCIES

(60 hours)

| Units of Competency | Module Title | Learning Outcomes | Nominal Duration |
| --- | --- | --- | --- |
| - Use hand tools | - Using hand tools | - Plan and prepare for task to be undertaken - Prepare hand tools - Use appropriate hand tools and equipment - Maintain hand tools | 8 hours |
| - Perform mensuration and calculation | 2.1 Perforning mensuration and calculation | - Select measuring instruments - Carry out measurements and calculations - Maintain measuring instruments | 16 hours |
| - Prepare and interpret technical drawings | 3.1 Preparing and interpreting technical drawings | - Identify different kinds of technical drawings - Interpret technical drawing - Prepare/make changes on electrical/electronic schematic and drawings | 8 hours |
| - Apply quality standards | - Applying quality standards | - Assess quality or received materials - Assess own work - Engage in quality improvement | 12 hours |
| - Perform computer operations | - Performing computer operations | - Plan and prepare for tasks to be taken/undertaken - Input data into computer - Assess information using computer - Produce output/data using computer systems - Use basic functions of a web browser to locate information - Maintain computer equipment | 8 hours |
| - Terminate and connect electrical wiring and electronics circuits | 6.1 Terminating and connecting electrical wiring and electronics circuits | - Plan and prepare for termination/ connection of electrical wiring/electronic circuits - Terminate/ connect wiring/ electronic circuits - Test termination/ connections of electrical wiring and electronics circuits | 8 hours |

# CORE COMPETENCIES

(80 hours)

| Units of Competency | Module Title | Learning Outcomes | Nominal Duration |
| --- | --- | --- | --- |
| 1. Start-up and commissioning instrumentation and control systems | 1.1 Starting-up and commissioning instrumentation and control systems | - Interpret work instructions for starting-up and commissioning - Identify tools, equipment testing devices and materials needed for starting-up and commissioning - Identify the PPE and OHS policies and procedures required for the starting-up and commissioning job - Start-up and commission instrumentation and control systems - Check commissioned systems and equipment | 40 hours |
| 2. Diagnose and troubleshoot instrumentation and control systems | 2.1 Diagnosing and troubleshooting instrumentation and control systems | - Interpret work instructions for diagnosing and troubleshooting - Identify tools, equipment testing devices and materials needed for diagnosing and troubleshooting - Identify the PPE and OHS policies and procedures required for the diagnosing and troubleshooting job - Diagnose faults of instrumentation and control systems - Rectify correct defects in instrumentation and control systems - Test diagnosed and corrected instrumentation and control systems | 40 hours |

ASSESSMENT METHODS

- Written test

- Practical test

- Direct observation

- Interview

COURSE DELIVERY:

- Lecture/discussion

- Demonstration

- Project method

- Experiment/simulation

- Company visit

- Multimedia

- Competency-based

- Dual training

- Distance learning

RESOURCES:

| TOOLS | EQUIPMENT | MATERIALS |
| --- | --- | --- |
| - Long-nosed pliers - Diagonal cutters - Standard screwdrivers - Phillips screwdrivers - Electrical pliers - Soldering iron - Adjustable wrench - Wire stripper - Crimping tool - Allen key wrench - Jeweler’s screwdrivers - Combination wrench, metric - Combination wrench, English | - Multimeters - Signal simulators - Multifunction calibrators - Pressure transmitters - Pressure gages - Air compressor - Thermocouple sensors - RTD sensors - Temperature transmitters, universal input - Loop power supplies - Instrument stanchions - Process indicators - Process controllers - Control valve with positioner - I/P converter - Desktop PC - Oscilloscope - Communication equipment - Safety helmet - Safety shoes - Safety harness - Safety glasses/goggles - Ear plugs/earmuffs - Gas mask - Face shield | - Manuals/books - Learning elements and activity sheets - Schematic diagrams - Component layout - Technical brochures - Technical references - Solder lead - Shielded instrumentation cables - Terminal lugs - Terminal strips/blocks - Cotton gloves - Copper tubing - Plastic tubing - Compression fittings - Electrical tape - Teflon sealant tape - Cable ties |

QUALIFICATIONS OF INSTRUCTORS/TRAINER’S:

- Must be a Certified Instrumentation & Control Technician or Certified Instrumentation & Control Engineer issued by a nationally-recognized body, or its equivalent in other countries.

- Must have completed a Trainer’s Training course or has been a technical trainer for at least 3 years.

- Must have at least 2-years relevant industry experience.

- Must be physically and mentally fit.

MODULES OF INSTRUCTION

BASIC COMPETENCIES

INSTRUMENTATION AND CONTROL SERVICING NC IV

UNIT OF COMPETENCY	:	UTILIZE SPECIALIZED COMMUNICATION SKILLS

MODULE TITLE	:	UTILIZING SPECIALIZED COMMUNICATION SKILLS

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes required to use specialized communication skills to meet specific needs of internal and external clients, conduct interviews, facilitate group discussion, and contribute to the development of communication strategies.

NOMINAL DURATION	: 	6 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Apply communication strategies to meet specific needs of internal and external client.

LO2.	Represent the organization in internal and external forums.

LO1.	APPLY COMMUNICATION STRATEGIES TO MEET SPECIFIC NEEDS OF INTERNAL AND EXTERNAL CLIENT

# ASSESSMENT CRITERIA:

- Specific needs of client and colleagues were identified and met.

- Different strategies were used to meet communication needs of clients and colleagues.

- Conflict was addressed in a timely way and in a manner which does not compromise the standing of the organization.

- Strategies for external and internal dissemination of information were developed, promoted, implemented and reviewed as required.

- Channel of communications were reviewed and established regularly.

- Coaching in effective communication was provided.

- Work related network and relationship were maintained.

- Negotiation and conflict resolution strategies were used.

- Communication with client's colleagues was appropriate to individual needs and organizational objectives.

# CONTENTS:

- Communication process

- Full range of communication

- Active listening

- Feedback

- Interpretation

- Role boundaries setting

- Negotiation

- Establishing empathy

# CONDITIONS:

# The students/trainees must be provided with the following:

- Equipment

- video tapes

- LCD projector/OHP

- Personal computers

- Learning materials

- learning element

- books and manuals

- transparencies

- slides

# METHODOLOGIES:

- Discussion

- Role playing

- Observation

# ASSESSMENT METHODS:

- Written examination

- Direct observation

LO2.	REPRESENT THE ORGANIZATION IN INTERNAL AND EXTERNAL FORUMS

# ASSESSMENT CRITERIA:

- Presentation was relevant, appropriately researched and presented in a manner that promotes the organization.

- Presentation was cleared and sequentially delivered within a predetermined time.

- Utilized appropriate media to enhance the presentation.

- Written communication was consistent with organizational standards.

- Respect differences in views and respond to inquiries in a manner consistent with organizational standard.

CONTENTS:

- Presentation techniques

- Developing a presentation

- Multi-media utilization in presentation

CONDITIONS:

The students/trainees must be provided with the following:

- Equipment

- video tapes

- LCD projector/ OHP

- Personal computers

- Learning materials

- learning element

- books and manuals

- transparencies

- slides

METHODOLOGIES:

- Discussion

- Role playing

- Observation

ASSESSMENT METHODS:

- Written examination

- Direct observation

UNIT OF COMPETENCY	:	DEVELOP TEAM AND INDIVIDUAL NEEDS

MODULE TITLE	:	DEVELOPING TEAM AND INDIVIDUAL NEEDS

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes required to determine individual needs and develop team for a work group.

NOMINAL DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Determine development needs

LO2.	Foster individual and organizational growth

LO3.	Monitor and evaluate workplace learning

LO4.	Develop team commitment and cooperation

LO5.	Facilitate accomplishment of organizational goals

LO1.	DETERMINE DEVELOPMENT NEEDS

# ASSESSMENT CRITERIA:

- Learning and development need were systematically identified and implemented in line with organizational requirements.

- Learning plan to meet individual and group training and development needs was collaboratively developed agreed to and implemented.

- Individual were encouraged to self evaluate performance and identify areas for improvement.

- Feedback on performance of team members were collected from relevant service and compared with established team learning process.

# CONTENTS:

- Quality assurance and/or procedures manuals

- Goals, objectives, plans, system and process

- Legal and organization policy/guidelines and requirements

- Safety policies, procedures and programs

- Confidentiality and security requirements

- Ethical standards

- Business and performance plans

- Quality and continues improvement processes and standards

- Formal/informal performance appraisal

- Obtaining feedback from superior and colleagues

- Personal reflective behavior strategies

- Routine, organization methods for monitoring service delivery

# CONDITIONS:

# The students/trainees must be provided with the following:

- Equipment

- personal computers

- simulated work area

- Learning materials

- manuals for organizational  requirements

- quality assurance and procedures

- work ethics manual

- personality development

- Supplies and materials

- Office supplies, (pen, pencil, paper/bond paper)

# METHODOLOGIES:

- Discussion

- Role playing

- Observation

# ASSESSMENT METHODS:

- Written examination

- Direct observation

LO2.	FOSTER INDIVIDUAL AND ORGANIZATIONAL GROWTH

# ASSESSMENT CRITERIA:

- Learning and development program goals and objectives were identified to match specific knowledge and skills requirements of competency standards.

- Learning delivery methods were appropriate to the learning goals, the learning style of participants and availability of equipment and resources.

- Workplace learning opportunities and coaching and mentoring assistance were provided to facilitate individual and team achievement of competencies.

- Resources and timelines required for learning activities were identified and approved in accordance with organizational requirements.

CONTENTS:

- Coaching and mentoring principles

- Knowledge of career paths and competency standards in the industry

- Learning plans to match skills needs

- Involvement in professional networks

- Formal course participation

- Work experience

- Conference  and seminar attendance

- Problem solving

- Resources and timelines required for learning activities

CONDITIONS:

The students/trainees must be provided with the following:

- Equipment

- personal computers

- Learning materials

- Coaching and mentoring principles manual

- Learning and development program goals and objectives

- Learning activity methods

- Supplies and materials

- Office supplies, (pen, pencil, paper/bond paper)

METHODOLOGIES:

- Problem solving

- Formal course participation

- On the job coaching/mentoring

- Presentation/demonstration

- Conference and seminar attendance

ASSESSMENT METHODS:

- Direct observation

- Case  studies (Defense)

- Demonstration

LO3.	MONITOR AND EVALUATE WORKPLACE LEARNING

# ASSESSMENT CRITERIA:

- Feedback from individuals or teams was used to identify and implement improvements in future learning arrangements.

- Outcomes and performance of individuals/teams were assessed and recorded to determine the effectiveness of developed programs and the extent of additional development support.

- Modifications to learning plans were negotiated to improve the efficiency and effectiveness of learning.

- Records and reports of competency were documented and maintained within organizational requirements.

CONTENTS:

- Coaching and mentoring principles

- Methods and techniques for eliciting and interpreting feedback

- Methods for identifying and prioritizing personal development opportunities and options.

- Knowledge of career paths and competency standards in industry

CONDITIONS:

The students/trainees must be provided with the following:

- Equipment

- personal computers

- simulated work area

- Learning materials

- manuals for organizational  requirements

- quality assurance and procedures

- work ethics manual

- personality development manual

- Supplies and materials

- Office supplies, (pen, pencil, paper/bond paper)

METHODOLOGIES:

- On-the-job  coaching and mentoring

- Problem solving

- Formal course participation

ASSESSMENT METHODS:

- Written examination

- Direct observation

LO4.	DEVELOP TEAM COMMITMENT AND COOPERATION

# ASSESSMENT CRITERIA:

- Open communication processes to obtain and share information was used by team.

- Decisions were team made in accordance with its agreed roles and responsibilities.

- Mutual concern and camaraderie is developed in the team.

CONTENTS:

- Goals, objectives, plans, procedures

- Coaching and mentoring principles

- Formal/ informal learning programs

- knowledge on how to develop team commitment and cooperation

- personal reflective behavior strategies

- Understanding how to work effectively with team members of different work style, aspirations, culture and perspective.

CONDITIONS:

The students/trainees must be provided with the following:

- Equipment

- personal computers

- simulated team

- Learning materials

- manuals for organizational  requirements

- quality assurance and procedures

- work ethics manual

- personality development

- Supplies and materials

- Office supplies, (pen, pencil, paper/bond paper)

METHODOLOGIES:

- On- the-job coaching

- Seminar training (team building)

ASSESSMENT METHODS:

- Direct observation of work activities

- Observation  of  Role playing

LO5.	FACILITATE ACCOMPLISHMENT OF ORGANIZATIONAL GOALS

# ASSESSMENT CRITERIA:

- Team members actively participated in team activities and communication process.

- Individual and teams developed individual and joint responsibility for their actions.

- Collaborative efforts are sustained to obtain organizational goals.

CONTENTS:

- Understanding how to work effectively with team members who are divers work styles, aspirations, cultures and perspective

- Understanding how to facilitate team development and improvement

- Communication skills including  receiving feedback and reporting, maintaining effecting effective relationship & conflict management

- Quality assurance and/or procedures

CONDITIONS:

The students/trainees must be provided with the following:

- Equipment

- personal computers

- simulated work area

- Learning materials

- manuals for organizational  requirements

- quality assurance and procedures

- work ethics manual

- personality development

- Supplies and materials

- Office supplies, (pen, pencil, paper/bond paper)

METHODOLOGIES:

- Discussion

- Role playing

- On-the- job coaching

- Conference seminars

ASSESSMENT METHODS:

- Written examination

- Direct observation

- interview

UNIT OF COMPETENCY	:	PLAN AND ORGANIZE WORK

MODULE TITLE	:	PLANNING AND ORGANIZING WORK

MODULE DESCRIPTOR	: 	This module covers knowledge, skills and attitudes required to plan and organize work.

NOMINAL DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Set work objectives.

LO2.	Plan and schedule work activities.

LO3.	Implement and monitor plans/activities.

LO4.	Review and evaluate work plans and activities.

LO1.	SET WORK OBJECTIVES

# ASSESSMENT CRITERIA:

- Objectives were relevant to work activities in accordance with organizational aims.

- Objectives were based on accurate, relevant and correct information.

- Objectives were stated as measurable targets with clear time frames.

- Objectives were communicated/ disseminated to team members.

CONTENTS:

- Organizational policies and procedures

- Planning process

- Communication process

- Organizational aims

- Prioritizing and managing workloads

- SWOT analysis

CONDITIONS:

The students/trainees must be provided with the following:

- Training materials

-	Organizational policies and procedures

-	Reference materials on organizational planning

-	Pen, paper

- Students project

METHODOLOGIES:

- Brainstorming

- Discussion

- Case studies

- Role playing

- Small group work

ASSESSMENT METHODS:

- Written

- Direct observation

- Interview

LO2.	PLAN AND SCHEDULE WORK ACTIVITIES

# ASSESSMENT CRITERIA:

- Task/ work activities were identified and prioritized in accordance with organizational aims.

- Task/ work activities were scheduled in accordance with organizational aims.

- Resources for each activity were identified and allocated in accordance with organizational aims.

- Schedule of work activities were coordinated with relevant staff in accordance with organizational aims.

CONTENTS:

- GANTT chart

- Consultation and negotiation with stakeholders

- Prioritizing and managing work loads

CONDITIONS:

The students/trainees must be provided with the following:

- Equipment

- Computers

- Training materials

-	GANTT charts

-	Reference materials on organizational planning

- Pen, paper

- Students projects

METHODOLOGIES:

- Brainstorming

- Discussion

- Case studies

- Role playing

- Small group work

ASSESSMENT METHODS:

- Written

- Direct observation

- Interview

LO3.	IMPLEMENT AND MONITOR PLANS/ACTIVITIES

# ASSESSMENT CRITERIA:

- Work plans were implemented with set time frame, resources and required standards of the organization

- Work activities were monitored and reviewed against the set objectives of the organization.

- Deviations from work activities were reported and recommendations were obtained / negotiated with appropriate personnel.

- Reporting requirements were complied with recommended format.

- Files record were established and maintained

CONTENTS:

- Developing work plans

- Implementation and monitoring

- Reporting

- Setting schedules

- Contingency approach (planning)

- Coordinating schedules

- Motivation and team building

CONDITIONS:

The students/trainees must be provided with the following:

- Equipment

- computers

- Training materials

-	Work plan schedules

-	Monitoring tools and materials

- Pen, paper

- Plant/enterprises

-	Students projects

METHODOLOGIES:

- Brainstorming

- Discussion

- Case studies

- Role playing

- Small group work

ASSESSMENT METHODS:

- Written

- Direct observation

- Interview

LO4.	REVIEW AND EVALUATE WORK PLANS AND ACTIVITIES.

# ASSESSMENT CRITERIA:

- Review of work activities/outcomes was based on accurate, relevant and current information.

- Review was based on comprehensive consultation with appropriate personnel using reliable feedback tools.

- Results of review were provided to appropriate personnel in recommended format.

- Performance appraisal report was conducted and reported in accordance with organizational requirements.

- Feedback mechanisms were followed in accordance with organizational policies.

CONTENTS:

- Report writing

- Collecting information/data gathering

- Feedback

- Performance appraisal

CONDITIONS:

The students/trainees must be provided with the following:

- Equipment

- Computers

- Training materials

-	Reporting formats

- Performance appraisal format

- Reference materials on research techniques

- Pen, paper

- Plant/enterprises (simulation)

-	Students projects

METHODOLOGIES:

- Brainstorming

- Discussion

- Case studies

- Role playing

- Small group work

ASSESSMENT METHODS:

- Written

- Direct observation

- Interview

UNIT OF COMPETENCY	:	APPLY PROBLEM SOLVING TECHNIQUES IN THE WORKPLACE

MODULE TITLE	:	IDENTIFYING POSSIBLE SOLUTION

MODULE DESCRIPTOR	: 	This module cover the knowledge, skills and attitude required to identify all possible options, for to solve workplace problem through analysis.

NOMINAL DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Analyze the problem

LO2.	Identify fundamental cause of the problem

LO3.	Determine possible solution

LO1.	ANALYZE THE PROBLEM

# ASSESSMENT CRITERIA:

- Area of responsibility was determined.

- Possible causes of problem were identified based on experience and uses of problem solving tools/analytical techniques.

- Possible cause statements were developed.

CONTENTS:

- Problem solving   tools/ analytical techniques

- Area of responsibility

-	Work responsibility

-	Problem solution

-	Preventive maintenance and diagnostic policy

-	Rules and technical responsibility

-	Vendor and product service level support agreement

CONDITIONS:

The students/trainees must be provided with the following:

- Equipment

  - OHP

  - Computers

- Instructional materials

  - Reference books

  - Sample of process and other problems

  - Learning guides

METHODOLOGIES:

- Direct observation

- Simulation/ role playing

ASSESSMENT METHODS:

- Written

- Practical/performance test

- Case studies (defense)

LO2.	IDENTIFY FUNDAMENTAL CAUSE OF THE PROBLEM

# ASSESSMENT CRITERIA:

- Area of responsibility was reviewed.

- Listings of possible cause statements were analyzed.

- Fundamental cause statement was developed.

CONTENTS:

- Identification of fundamental cause of problem

- Application of problem solving tools/ analytical techniques

CONDITIONS:

The students/trainees must be provided with the following:

- Equipment

  - OHP

  - Computers

- Instructional materials

  - Reference books

  - Sample of process and other problems

  - Learning guides

METHODOLOGIES:

- Direct observation

- Simulation/ role playing

ASSESSMENT METHODS:

- Written

- Practical/performance test

- Case studies (defense)

LO3.	DETERMINE POSSIBLE SOLUTION

# ASSESSMENT CRITERIA:

- Possible options for the resolution of the problem were listed

- Possible options were analytical based on strength and weaknesses

- Corrective action was identified to remove the problem and possible future causes.

CONTENTS:

- Listing of the possible  options for  the resolution of the problem

- Determining strength and weaknesses of a problem

- Determining corrective action

- Application of problem solving techniques

CONDITIONS:

The students/trainees must be provided with the following:

- Equipment

  - OHP

  - Computers

- Instructional materials

  - Reference books

  - Sample of process and other problems

  - Learning guides

METHODOLOGIES:

- Direct observation

- Simulation/ role playing

ASSESSMENT METHODS:

- Written

- Case study (defense)

UNIT OF COMPETENCY	:	APPLY PROBLEM SOLVING TECHNIQUES IN THE WORKPLACE

MODULE TITLE	:	RECOMMENDING AND IMPLEMENTING SOLUTIONS

MODULE DESCRIPTOR	: 	This module cover the knowledge, skills and attitudes required to; recommend and implement solutions to a problem using structured process improvement which is typically performed by an experienced technician, team leader or supervisor.

NOMINAL DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Prepare communication or documentation report

LO2.	Present recommendation to appropriate personnel

LO3.	Implement solution

LO1.	PREPARE COMMUNICATION OR DOCUMENTATION

# ASSESSMENT CRITERIA:

- Draft (hand written) report  for corrective actions to the problem was prepared

- Draft (hand written) report and documents were reviewed in accordance with standard format.

- Communication/Documentation  report was finalized based on standard format & SOP’s

CONTENTS:

- Preparation of communication & documentation report

- Types of communication

-	Hand written

-	Printed report

-	Internal memos

-	Electronic mail

-	Briefing notes

-	Bulletin boards

- Documentation

-	Audit trails

-	Naming standards

-	Version control

CONDITIONS:

The students/trainees must be provided with the following:

- Equipment

  - OHP

  - Computers

- Instructional materials

  - Reference books

  - Corrective actions

  - Statement/ reports

  - Learning guides

METHODOLOGIES:

- Direct observation

- Simulation/ role playing

ASSESSMENT METHODS:

- Written examination

- case study (defense)

LO2.	PRESENT RECOMMENDATION TO APPROPRIATE PERSONNEL

# ASSESSMENT CRITERIA:

- Recommendations were presented to appropriate personnel

- Changes, corrections, and further instructions were noted and finalized

- Recommendations were followed-up.

CONTENTS:

- Oral communication

- Receiving and finalization of instructions

- Organizational protocol

CONDITIONS:

The students/trainees must be provided with the following:

- Equipment

  - OHP

  - Computers

- Instructional materials

  - Reference books

  - Recommendation report

  - Learning guides

METHODOLOGIES:

- Direct observation

- Simulation /role playing

ASSESSMENT METHODS:

- Written examination

- case study (defense)

LO3.	IMPLEMENT SOLUTIONS

# ASSESSMENT CRITERIA:

- Measurable objectives were identified

- Resources needed were identified

- Timelines were identified in accordance with safety and operating procedures

CONTENTS:

- Setting of objectives

- Statutory and vendor requirements

- Ergonomic and environmental factors

- Identification of  timelines

CONDITIONS:

The students/trainees must be provided with the following:

- Equipment

  - OHP

  - Computers

- Instructional materials

  - Reference books

  - Recommendation report

  - Learning guides

METHODOLOGIES:

- Direct observation

- Simulation/ role playing

- Distance education

ASSESSMENT METHODS:

- Written examination

- Case study (defense)

UNIT OF COMPETENCY	:	Collect, analyze and organize information

MODULE TITLE	:	Collecting, analyzing and organizing information

MODULE DESCRIPTOR	:	This module covers the outcomes required to process, analyze, interpret and organize workplace information and other relevant data.

NOMINAL DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Study information requirements.

LO2.	Process data

LO3.	Analyze, interpret and organize information gathered.

LO4.	Present findings / recommendations.

LO1.	STUDY INFORMATION REQUIREMENTS

ASSESSMENT CRITERIA:

- Identified the needs using established research procedures.

- Used relevant forms and recording system.

- Determined information requirements based on organizational goals and objectives.

CONTENTS:

- Data processing, information analysis and interpretation.

- Research methods: qualitative, quantitative, statistical

- Effective communication

- Report writing

CONDITIONS:

The students/trainees must be provided with the following:

- Reference book

- Handouts/modules/printed materials

- Forms

METHODOLOGIES:

- Lectures

- Discussions

- Demonstrations

ASSESSMENT METHODS:

- Written/ oral examination

- Exercises

- Case study (defense)

LO2.	PROCESS DATA

ASSESSMENT CRITERIA:

- Collected and collated data based on the prescribed method.

- Utilized relevant research methods and processed data based on the objective of the program.

- Compiles information according to the required form.

CONTENTS:

  - Data processing

  - Research method

  - Problem solving

CONDITIONS:

The students/trainees must be provided with the following:

  - PC

  - Reference book

  - Handouts/modules/printed materials

  - Data processing software (MS WORD, EXCEL, etc.)

METHODOLOGIES:

- Lectures

- Discussions

- Demonstrations

- Reporting

ASSESSMENT METHODS:

- Written/ oral examination

- Observation

- Practical demonstration

- Case study (defense)

LO3.	ANALYZE, INTERPRET AND ORGANIZE INFORMATION GATHERED

ASSESSMENT CRITERIA:

- Analyzed and organized information gathered.

- Used statistical analysis according to the objectives of the program.

- Prepared graphs and other visual presentation to facilitate analysis interpretation of information.

CONTENTS:

- Research and analysis

- Read/ Interpret data and information

- Problem solving

- Presentation graphics

CONDITIONS:

The students/trainees must be provided with the following:

- PC

- Reference book

- Handouts/modules/printed materials

- Desktop publishing software

METHODOLOGIES:

- Lectures

- Discussions

- Demonstrations

ASSESSMENT METHODS:

- Written/ oral examination

- Observation

- Practical demonstration

- Case study (defense)

LO4.	PRESENT FINDINGS / RECOMMENDATIONS

ASSESSMENT CRITERIA:

- Present findings/ recommendations summarized in user-friendly manner.

- Gathered relevant inputs to finalize reports.

- Prepared draft report based on summary formats.

- Submitted/ disseminated technical reports to concerned offices.

CONTENTS:

- Technical report writing

CONDITIONS:

The students/trainees must be provided with the following:

- PC

- Reference book

- Handouts/modules/printed materials

METHODOLOGIES:

- Lectures

- Discussions

- Demonstrations

ASSESSMENT METHODS:

- Written/ oral examination

- Observation

- Practical demonstration

- Case study (defense)

UNIT OF COMPETENCY	:	PROMOTE ENVIRONMENTAL PROTECTION

MODULE TITLE	:	Promoting environmental protection

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitude required in adhering to environmental protection principles, strategies and guidelines.

NOMINAL DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Study guidelines for environmental concerns.

LO2.	Implement specific environmental programs.

LO3.	Monitor activities on environmental protection/ programs.

LO1.	STUDY GUIDELINES FOR ENVIRONMENTAL CONCERNS

ASSESSMENT CRITERIA:

- Environmental legislation/ conventions and local ordinances were identified according to the different environmental aspects/ impact

- Industrial standard/ environmental practices according to the different environmental concerns were described.

CONTENTS:

  - Environmental issues and concerns.

  - Features of environmental management strategy

  - Sanitary code

  - Environmental code of practice

  - International environmental protocols (Montreal, Kyoto)

CONDITIONS:

The students/trainees must be provided with the following:

  - Workplace/ assessment locations

  - Legislation, policies, procedures, protocols and local ordinances relating to environmental protection.

  - Case studies/ scenarios relating to environmental protection (sample)

METHODOLOGIES:

- Discussion – demonstration

- Research and reporting

ASSESSMENT METHODS:

- Written/ oral examination

- Interview/ third party report

- Portfolio

LO2.	IMPLEMENT SPICIFIC ENVIRONMENTAL PROGRAMS

ASSESSMENT CRITERIA:

- Programs/ activities were identified according to organizations policies and guidelines.

- Individual roles/ responsibilities were determined and performed based on the activities identified.

- Problems/ constraints encountered were resolved in accordance with organizations policies and guidelines.

- Stakeholders were consulted based on company guidelines.

CONTENTS:

  - Community needs and expectations

  - Environment-friendly/ environmental advocates

  - 5 S of good house keeping

  - 3R’s reduce, reuse and recycle.

CONDITIONS:

The students/trainees must be provided with the following:

  - Workplace/ assessment location

  - Legislation, policies, procedures, protocols and local ordinances relating to environmental protection.

  - Case studies/ scenarios relating to environmental protection (sample)

METHODOLOGIES:

- Lectures

- Discussions

- Demonstrations

- Reporting

- Role playing

ASSESSMENT METHODS:

- Written/ oral examination

- Observation

- Practical demonstration

LO3.	MONITOR ACTIVITIES ON ENVIRONMENTAL PROTECTION/ PROGRAM

ASSESSMENT CRITERIA:

- Activities were periodically monitored and evaluated according to the objectives of the environmental program.

- Feedback from stakeholders were gathered and considered in proposing enhancement to the program based on consultations.

- Data gathered were analyzed based on evaluation requirements.

- Recommendations were submitted based on the findings.

- Management support system were set/ established to sustain and enhance the program.

- Environmental incidents were monitored and reported to concerned / proper authorities.

CONTENTS:

  - Communicating effectively

  - Performing research and analysis

  - Reading/ interpreting data and information

  - Problem solving

CONDITIONS:

The students/trainees must be provided with the following:

  - Personal computer

  - Reference book

  - Handouts/modules/printed materials

  - Statistical package

  - Workplace/ assessment location

METHODOLOGIES:

- Demonstrations

- Reporting

ASSESSMENT METHODS:

- Written/ oral examination

- Observation

- Interview/ third-party reports

MODULES OF INSTRUCTION

COMMON COMPETENCIES

INSTRUMENTATION AND CONTROL SERVICING NC IV

UNIT OF COMPETENCY	:	USE HAND TOOLS

MODULE TITLE	:	USING HAND TOOLS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes on the safe use, handling and maintenance of tools.

.

NOMINAL DURATION	:	8 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Plan and prepare for tasks to be undertaken

LO2. 	Prepare hand tools

LO3.	Use appropriate hand tools and test equipment

LO4.	Maintain hand tools

LO1.	PLAN AND PREPARE TASKS TO BE UNDERTAKEN

ASSESSMENT CRITERIA:

1.	Tasks to be undertaken properly identified.

2.	Appropriate hand tools identify

3.	Hand tools selected according to the task requirements.

CONTENTS:

- Identifying appropriate hand tools

- Identifying tasks

- Selecting appropriate hand tools

CONDITION:

Students/trainees must be provided with the following:

- Hand tools for adjusting, dismantling, assembling, finishing, cutting, screwdrivers, pliers, punches

- Wrenches

- Files

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO2.	PREPARE HAND TOOLS

ASSESSMENT CRITERIA:

- Appropriate hand tools checked for proper operation and safety

- Unsafe or faulty tools identified

- Marked all tools for repair according to standard company procedures

CONTENTS:

- Operation of hand tools

- Function of hand tools

- Common faults of hand tools

- Safety requirements of hand tools

- Preparing tools

CONDITION:

Students/trainees must be provided with the following:

- Hand tools for adjusting, dismantling, assembling, finishing, cutting,

- Tool set (screwdrivers, pliers, punches, wrenches, files)

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO3.	USE APPROPRIATE HAND TOOLS AND TEST EQUIPMENT

ASSESSMENT CRITERIA:

- Tools used according to tasks undertaken

- All safety procedures in using tools observed at all times

- Malfunctions, unplanned or unusual events reported to the supervisor

CONTENTS:

- Function of tools

- Safety requirements of tools

- Proper used of tools

- Creating report for malfunctions, unplanned or unusual events

CONDITION:

Students/trainees must be provided with the following:

- Cleaning

- Lubricating

- Tightening

- Simple tool repairs

- Hand sharpening

- Adjustment using correct procedures

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO4.	MAINTAIN HAND TOOLS

ASSESSMENT CRITERIA:

- Tools used according to tasks undertaken

- Routine maintenance of tools undertaken according to standard operational procedures, principles and techniques

- Tools stored safely in appropriate locations in accordance with manufacturers specifications or standard operating procedures

CONTENTS:

- Maintenance of tools

- Storage of tools

- Standard operational procedures, principles and techniques in maintaining a tools

CONDITION:

Students/trainees must be provided with the following:

- Cleaning

- Lubricating

- Tightening

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

UNIT OF COMPETENCY	:	Perform Mensuration and Calculation

MODULE TITLE	:	Performing mensuration and calculation

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes and values needed identifying, caring, and using measuring instruments.

NOMINAL DURATION	:	16 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/students should be able to:

LO1.	Select measuring instrument.

LO2.	Carry out measurement and calculation.

LO3.	Maintain measuring instruments.

LO1.	SELECT MEASURING INSTRUMENT

ASSESSMENT CRITERIA:

- Object or component to be measured is identified.

- Correct specifications are obtained from relevant source.

- Appropriate measuring instrument is selected in line with job requirement.

CONTENTS:

- Types of components and object to be identified

- Knowing the correct specifications of the relevant sources

- Identify the necessary measuring tools in selecting the job requirements

- Reading skills required to interpret work instruction

- Communication skills

CONDITIONS:

- Try square

- Protractor

- Steel rule

- Taper

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO2.	CARRY OUT MEASUREMENT AND CALCULATION

ASSESSMENT CRITERIA:

- Appropriate measuring instrument selected to achieve required outcome.

- Accurate measurements obtained for job.

- Calculation needed to complete work tasks are performed using the four fundamentals operations (addition, subtractions, multiplication and division)

- Calculation involving fractions, percentages, and mixed numbers used to complete workplace tasks.

- Instruments read to the limit of accuracy of the tool.

CONTENTS:

- Identifying appropriate measuring instruments to be used

- Use accurate measurements for the tasks given.

- Using the four fundaments of mathematical operations

- Introducing proper procedure in calculating fractions, percentages, and mixed numbers to perform in the given tasks.

- Reading skills required to interpret work instruction

- Reading skills required to interpret work instruction

- Communication skills

CONDITIONS:

The students/trainees must be provided with the following:

- Torque gauge

- Combination gauge

- Volume

- Area

- Circumstance

- Thickness

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO3.	MAINTAIN MEASURING INSTRUMENT

ASSESSMENT CRITERIA:

- Measuring instruments not dropped to avoid damage.

- Measuring instruments cleaned before and after using.

- Proper storage of instruments undertaken according to the manufacturer’s specifications and standard operating procedures.

CONTENTS:

- Using appropriate instruments tools to avoid damage.

- Proper procedure in cleaning up the workplace before and after using

- Identifying the proper storage of the instruments to be kept that met the manufacturer’s specifications and standard to avoid damage in mismatching.

- Reading skills required to interpret work instruction

- Communication skills

CONDITIONS:

Students/trainees must be provided with the following:

- Straight edge

- Steel rule

- Displacement

- Inside diameter

- Outside diameter

- Thickness

- Taper

- Out of roundness

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

UNIT OF COMPETENCY	:	PREPARE AND INTERPRET TECHNICAL DRAWING

MODULE DESCRIPTOR	:	PREPARING AND INTERPRETING TECHNICAL DRAWING

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitude and values needed to prepare/interpret diagrams, engineering abbreviation and drawings, symbols and dimensions

.

NOMINAL DURATION	:    8 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/ students should be able to:

LO1.	Identify different kinds of technical drawings

LO2.	Interpret technical drawings

LO3.	Prepare/ make changes on electrical/ electronic schematics and drawings

LO1.	IDENTIFY DIFFERENT KINDS OF TECHNICAL DRAWINGS

ASSESSMENT CRITERIA:

- Correct technical drawing selected according to job requirements

- Technical drawings segregated in accordance with the types and kinds of drawings.

CONTENTS:

- Drawing conventions

- Symbols

- Dimensioning conventions

- Mark-p / Notation of drawings

CONDITIONS:

Students/trainees must be provided with the following:

- Schematic diagrams

- Charts

- Block diagrams

- Layout plans

- Location plans

- Process and Instrumentation diagrams

- Loop diagrams

- System control diagrams

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO2.	INTERPRET TECHNICAL DRAWING

ASSESSMENT CRITERIA:

- Components, assemblies or objects recognized as required

- Dimensions of the key features of the objects depicted in the drawing correctly identified

- Symbols used in the drawing identified and interpreted correctly

- Drawing checked and validated against job requirements or equipment in accordance with standard operating procedures

CONTENTS:

- Reading skills required to interpret work instructions

- Skills in interpreting electrical/ electronic signs and symbols

CONDITIONS:

The students/trainees must be provided with the following:

- Schematic diagrams

- Charts

- Block diagrams

- Layout plans

- Location plans

- Process and Instrumentation diagrams

- Loop diagrams

- System control diagrams

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO3.	PREPARE / MAKE CHANGES ON ELECTRICAL ELECTRONIC SCHEMATICS AND DRAWINGS

ASSESSMENT CRITERIA:

- Electrical/ electronic schematic drawn and correctly identified

- Correct drawing identified, equipment selected and used in accordance with job requirements

CONTENTS:

- Mathematics

- Communication skills

CONDITIONS:

Students/trainees must be provided with the following:

- Components/ dividers

- Drawing boards

- Rulers

- T-square

- Calculator

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

UNIT OF COMPETENCY	:	APPLY QUALITY STANDARDS

MODULE TITLE	:	APPLYING QUALITY STANDARDS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills, attitudes and values needed to apply quality standards in the workplace. The unit also includes the application of relevant safety procedures and regulations, organization procedures and customer requirements.

.

NOMINAL DURATION	:	12 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Assess quality of received materials

LO2.	Assess own work

LO3.	Engage in quality improvement

LO1.	ASSESS QUALITY OF RECEIVED MATERIALS

ASSESSMENT CRITERIA:

- Work instruction obtained and work carried out in accordance with standard operating procedures.

- Received materials checked against workplace standards and specifications.

- Faulty materials related to work are identified and isolated

- Faults and any identified causes recorded and or reported to the supervisor concerned in accordance with workplace procedures

- Faulty materials are replaced in accordance with workplace procedures

CONTENTS:

- Reading skills required to interpret work instruction

- Workplace standards and specifications

- Procedures in obtaining and carrying out work instructions

- Quality checking procedures

- Fault identification and reporting

- Safety and environmental aspects of production process

- Carry out work in accordance with policies and procedures

CONDITIONS:

Students/trainees must be provided with the following:

- Work instructions

- Manuals (operation manual of the company/ manufacturer’s Instruction/ service manual)

- Company/ workplace standards and specifications

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO2.   ASSESS OWN WORK

ASSESSMENT CRITERIA:

- Documentation relative to quality within the company identified and used

- Completed work checked against workplace standards and specifications

- Errors are identified and isolated

- Information on the quality and other indicators of production procedures recorded in accordance with workplace procedures

- In cases of deviation from specific quality standards, causes documented and reported in accordance with the workplace’s standard operating procedures.

CONTENTS:

- Communication skills needed to interpret and apply defined work procedures

- Identifying errors (deviation from customer and or organization requirements)

CONDITIONS:

Students/trainees must be provided with the following:

- Organization work procedures

- Manufacturer’s Instruction manual

- Customer requirements

- Other forms

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO3.  	ENGAGE IN QUALITY IMPROVEMENT

ASSESSMENT CRITERIA:

- Process improvement procedures participated in relative to workplace assignment

- Work carried out in accordance with process improvement procedures

- Performance of operation or quality of product of service to ensure customer satisfaction monitored

CONTENTS:

- Relevant production processes, materials and products

- Safety and environmental aspects of production processes

- Critical thinking

- Quality improvement processes

CONDITIONS:

Students/trainees must be provided with the following:

- Organization work procedures

- Manufacturer’s instruction manual

- Customer requirements

- Other forms

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

UNIT OF COMPETENCY	:	Perform COMPUTER OPERATIONS

MODULE TITLE	:	PERFORMING COMPUTER OPERATIONS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills, attitudes and values needed to perform computer operations which include inputting, accessing, producing, and transferring data using the appropriate hardware and software.

NOMINAL DURATION	:	8 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Plan and prepare for tasks to be taken/ undertaken

LO2.	Input data into computer

LO3.	Access information using computer

LO4.	Produce output/data using computer systems

LO5.	Use basic functions of a web browser to locate information

LO6.	Maintain computer equipment and systems

LO1.	PLAN AND PREPARE FOR TASKS TO BE UNDERTAKEN

ASSESSMENT CRITERIA:

- Requirements of tasks determined in accordance with the required output

- Appropriate hardware and software selected according to task assigned and required outcome

- Task planned to ensure that OH and S guidelines and procedures followed

- Client-specific guidelines and procedures followed

- Required data security guidelines applied in accordance with existing procedures

CONTENTS:

- Reading and comprehension skills required to interpret work instructions and to interpret basic user manuals

- OH and S principles and responsibilities

- Main types of computers and basic features of different operating systems

- Main parts of a computer

- Storage devices and basic categories of memory

- Relevant types of software

- General security, privacy legislation and copyright

CONDITIONS:

Students/trainees must be provided with the following:

- Equipment:

1 unit of computer

voltage regulator / UPS

- Learning materials:

Learning manuals

Work Instruction

Hand-outs

- Supplies/ materials:

Operating system

Application program

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO2.	INPUT DATA INTO COMPUTER

ASSESSMENT CRITERIA:

- Data entered into the computer using appropriate program/application in accordance with company procedure

- Accuracy of information checked and information saved in accordance with standard operating procedures

- Inputted data stored in storage media according to requirements

- Work performed within ergonomic guidelines

CONTENTS:

- Relevant types of software

- Communication skills to identify lines of communication, request advice, follow instructions and receive feedback

- Storage devices and basic categories of memory

- Basic ergonomics of keyboard and computer user

CONDITIONS:

Students/trainees must be provided with the following:

- Equipment:

1 unit of computer

Voltage regulator/ UPS

- Learning materials:

Learning manuals

Work Instruction

Hand-outs

- Supplies/ materials:

Operating system

Application program

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO3.	ACCESS INFORMATION USING COMPUTER

ASSESSMENT CRITERIA:

- Correct program/application selected based on job requirements

- Program/Application containing the information required accessed according to company procedures

- Desktop icons correctly selected, opened and closed for navigation purposes

- Keyboard techniques carried out in line with OHS requirements for safe use of keyboards

CONTENTS:

- Relevant types of software

- Business application

- System software

- Basic ergonomics of keyboard and computer user

CONDITIONS:

Students/trainees must be provided with the following:

- Equipment:

1 unit of computer

Voltage regulator / UPS

- Learning materials:

Learning manuals

Work Instruction

Hand-outs

- Supplies/ materials:

Operating system

Application program

Disks

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO4.	PRODUCE OUTPUT/DATA USING COMPUTER SYSTEM

ASSESSMENT CRITERIA:

- Entered data processed using appropriate software commands

- Data printed as required using computer hardware/peripheral devices in accordance with standard operating procedures

- Files and data transferred between compatible systems using computer software, hardware/peripheral devices in accordance with standard operating procedures

CONTENTS:

- Relevant types of software

- Computer peripherals

- Storage devices and basic categories of memory

CONDITIONS:

- Equipment:

1 unit of computer

Printer

Voltage regulator/ UPS

- Learning materials:

Learning Manuals

Work Instruction

Hand-outs

- Supplies/ materials:

Operating system

Application program

Disks

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO5.	USE BASIC FUNCTIONS OF A WEB BROWSER TO LOCATE INFORMATION

ASSESSMENT CRITERIA:

- Information requirements for Internet search established

- Browser launched

- Search engine loaded

- Appropriate search criteria and/or URL of site entered

- Relevant links followed to locate required information

- Useful pages bookmarked or printed as required

CONTENTS:

- Web surfing

- Web browsers

- Search engines

- URLS and keywords

- Links

- Book marking

CONDITIONS:

- Equipment:

1 unit of computer

Voltage regulator/ UPS

- Learning materials:

Learning manuals

Work Instruction

Hand-outs

- Supplies/ materials:

Operating system

Application program

Disks

-	Paper

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO6.	MAINTAIN COMPUTER EQUIPMENT AND SYSTEMS

ASSESSMENT CRITERIA:

- Procedures for ensuring security of data, including regular back-ups and virus checks implemented in accordance with standard operating procedures

- Basic file maintenance procedures implemented in line with standard operating procedures

CONTENTS:

- Security measures

- Anti-virus software/programs

- File Management

CONDITIONS:

- Equipment:

1 unit of computer

Voltage regulator/ UPS

- Learning materials:

Learning manuals

Work Instruction

Hand-outs

- Supplies/ materials:

Operating system

Application program

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

UNIT OF COMPETENCY	:	TERMINATE AND CONNECT ELECTRICAL WIRING AND ELECTRONICS CIRCUIT

MODULE TITLE	:	TERMINAINGE AND CONNECTING ELECTRICAL WIRING AND ELECTRONICS CIRCUIT

MODULE DESCRIPTOR	:	This unit covers the knowledge, skills and attitudes and values needed to terminate and connect electrical wiring and electronic circuits.

.

NOMINAL DURATION	:	8 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Plan and prepare for termination/connection of electrical wiring/electronics circuits

LO2.	Terminate/connect wiring/electronic circuits

LO3.	Test termination/connections of electrical wiring/electronics circuits

LO1.	PLAN AND PREPARE FOR TERMINATION/CONNECTION OF ELECTRICAL WIRING/ELECTRONICS CIRCUITS

ASSESSMENT CRITERIA:

- Materials checked according to specification and tasks

- Appropriate tools and equipment selected according to tasks requirements

- Task is planned to ensure OH & S guidelines and procedures followed.

- Electrical wiring/electronic, circuits correctly prepared for connecting/termination in accordance with instructions and worksite procedures.

CONTENTS:

- Identified the materials needed to perform the given specification

- Used appropriate tools and equipment as required in the given tasks

- Prior planning to perform the specific guidelines and procedures

- Ensuring the accuracy and correctness of electrical/wiring and electronics connections to be used and placed in the worksite.

- Reading skills required to interpret work instruction

- Communication skills

CONDITIONS:

Students/trainees must be provided with the following:

- Materials

- Soldering lead

- Toots and equipment

- Pliers

- Personal protective equipment

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO2.	TERMINATE/CONNECT WIRING/ELECTRONIC CIRCUITS

ASSESSMENT CRITERIA:

- Safety procedures in using tools observed at all times and appropriate personal protective equipment used

- All works undertaken safety in accordance with the workplace and standard procedures.

- Appropriate ranges of methods in termination/connection used according to specifications, manufacturer’s requirements and safety.

- Correct sequence of operation followed

- Accessories used adjusted, if necessary

- Confirm termination/connections undertaken successfully in accordance with job specification.

CONTENTS:

- Provide necessary safety procedures in using tools and appropriate protective equipment in the worksite.

- Tasks given are based to standards procedures in accordance with the safety requirements.

- Identifying appropriate methods in terminating connection are according to prescribed standards.

- Using proper sequence of operation

- Jobs performance must be in accordance with the standard procedures.

- Reading skills required to interpret work instruction

- Communication skills

CONDITIONS:

Students/trainees must be provided with the following:

- Materials

Cables

Soldering lead

Wires

- Tools and equipment

Pliers

Cutters

Screw drivers

Soldering gun

Multi-tester

- Personal protective equipment

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

LO3.	TEST TERMINATION/CONNECTIONS OF ELECTRICAL WIRING/ELECTRONICS CIRCUITS

ASSESSMENT CRITERIA:

- Testing of all completed termination/connections of electric wiring/electronic circuits conducted for compliance with specification and regulations using appropriate procedures and equipment

- Wiring and circuits checked using specified testing procedures

- Unplanned events or conditions responded to in accordance with established procedures.

CONTENTS:

- Using of appropriate tools in testing of the different circuits connected to ensure the validity and conformity of the connection

- Identify the accurate tools to checked the specified wiring circuits

- Reading skills required to interpret work instruction

- Communication skills

- Responding as compliance with the standard established procedures

CONDITIONS:

Students/trainees must be provided with the following:

- Materials

Cables

Soldering lead

Wires

- Tools and equipment

-	Pliers

-	Cutters

-	Screw drivers

-	Soldering gun

-	Multi-tester

- Personal protective equipment

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Hands-on

- Direct observation

- Practical demonstration

MODULES OF INSTRUCTION

CORE COMPETENCIES

INSTRUMENTATION AND CONTROL SERVICING NC IV

UNIT OF COMPETENCY	:	START-UP AND COMMISSION INSTRUMENTATION AND CONTROL SYSTEMS

MODULE TITLE	:	STARTING-UP AND COMMISSIONING INSTRUMENTATION AND CONTROL SYSTEMS

MODULE DESCRIPTION	:	This module is designed to enhance the knowledge, skills and attitude of the trainees in planning, start-up and commissioning and checking the commissioned system and equipment.

NOMINAL DURATION      :	40 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Interpret work instructions for starting-up and commissioning

LO2.	Identify tools, equipment testing devices and materials needed for starting-up and commissioning

LO3.	Identify the PPE and OHS policies and procedures required for the starting-up and commissioning job

LO4.	Start-up and commission instrumentation and control systems

LO5.	Check commissioned systems and equipment

.

LO1.	INTERPRET WORK INSTRUCTION FOR STARTING-UP AND COMMISSIONING

ASSESSMENT CRITERIA:

- Communication skills to interpret work instructions are defined and demonstrated according to the established procedures

- Work signs, symbols and conventions are defined and explained according to the set standards

- Work instructions and procedures are demonstrated according to the set standards

CONTENTS:

- Effective communication skills

- Work signs, symbols and conventions

- Work instructions and procedures

- Work instruction interpretation

CONDITION:

Students/trainees must be provided with the following:

- Learning materials

-	Component manufacturers manual

-	Engineering specifications

-	Learning elements

-	Catalogue/reference materials

-	Plan/blue print

-	OH & S guidelines and policies

-	Philippine environmental standards

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO2.	IDENTIFY THE TOOLS, EQUIPMENT, TESTING DEVICES AND MATERIALS NEEDED FOR STARTING-UP AND COMMISSIONING

ASSESSMENT CRITERIA:

    - Materials needed for starting-up and commissioning are identified and prepared according to the work instructions

    - Tools and equipment types and functions needed for starting-up and commissioning are identified and demonstrated according to set standards

    - Testing devices and instruments operations needed for starting-up and commissioning are explained and demonstrated according to instruction manual

    - Personal protective equipment are used in accordance with the Occupational

    - Health and Safety guidelines and policies

CONTENTS:

- Types and functions of tools and equipment

- Operation of testing devices and instruments

- Personal protective equipment

- Occupational health and safety

- Equipment, testing devices and instruments signs, symbols and conventions

CONDITION:

Students/trainees must be provided with the following:

- TOOLS:

Pliers (assorted)

Screw drivers (assorted)

Soldering iron/gun

Wrenches

- EQUIPMENT:

Communication equipment e.g., 2-way radio, cell phone

Lifting equipment

Fastening equipment

- Testing devices includes but not limited to:

Multimeter

Calibrators

- MATERIALS:

Wires and cables

Pipes/tubes & fittings

Sealing materials

Fasteners

- PPE:

Ear muffs/plugs

Goggles/glasses/face shield

Safety hat

Safety apparel/suit

Safety belt/harness

Safety shoes

Mask

Gloves

- DEVICES

Sensors/transmitters/transducers

Indicators

Controllers

Control valves

Actuators

Recorders

Annunciators

Process switches

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO3.	IDENTIFY THE PPE AND OHS POLICIES AND PROCEDURES REQUIRED FOR THE STARTING-UP AND COMMISSIONING JOB

ASSESSMENT CRITERIA:

- Personal Protective Equipment (PPE) needed for starting-up and commissioning are identified and prepared according to the work instructions

- Use of PPE needed for starting-up and commissioning are demonstrated according to the set standards

- Occupational and Health Safety (OHS) needed for starting-up and commissioning are identified and explained according to the work instructions

- OHS procedures and policies needed for installation are demonstrated according to the set standards

CONTENTS:

- Personal protective equipment

- Occupational health and safety

- Effective communication skills

- Work instructions and procedures

- Work signs, symbols and conventions

CONDITION:

Students/trainees must be provided with the following:

- Personal protective equipment

-	Safety hat

-	Safety shoes

-	Ear muffs

-	Safety belt/harness

-	Mask

-	Safety goggles

-	Hand gloves

- Learning materials

-	Component manufacturers manual

-	Engineering specifications

-	Learning elements

-	Catalogue/reference materials

-	Plan/blue print

-	Simulator and actual setting

-	OH & S guidelines

-	Philippine environmental standards

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO4.	START-UP AND COMMISSION INSTRUMENTATION AND CONTROL SYSTEMS

ASSESSMENT CRITERIA:

  - Appropriate personal protective equipment is used in line with standard procedures.

  - Start-up and commissioning is done using specified procedures

  - Work is performed in accordance with requirements without damage to the surrounding environment or services

  - Unplanned events or conditions are responded to in accordance with established procedures

CONTENTS:

- Occupational health and safety

- Instrumentation and control standards

- Use of tools

- Mathematical calculations

- Electrical theory

- Electronics theory

- Use of test equipment and calibrators

- Wiring techniques

- Drawing interpretation

- Soldering techniques

- Principles of Instrumentation

- Process variable measurements (pressure, level, flow, temperature, analysis, etc.)

- Process control theory

- Process control system (single-loop & multi-loop controllers, DCS, DAS, SCADA, etc)

- Sensors, transmitters, transducers & converters

- Programmable logic controllers

- Control valves and final control elements

- Computer operation

- Process and machinery operation

- Reading skills required to interpret work instructions

- Communication skills needed to interpret and define work procedures

- Selection and use of proper tools and equipment

- Start-up and commissioning skills

- Problem solving in unplanned events

CONDITION:

Students/trainees must be provided with the following:

- TOOLS:

Pliers (assorted)

Screw drivers (assorted)

Soldering iron/gun

Wrenches

- EQUIPMENT:

Communication equipment

Configurator or programmer

- Testing devices includes but not limited to:

Multimeter

Calibrators

  - Signal simulators

- Materials:

Sealing materials

Pipes, tubes and fittings

Wires and cables

- PPE:

Ear muffs/plugs

Goggles/glasses/face shield

Safety hat

Safety apparel/suit

Safety belt/harness

Safety shoes

Mask

Gloves

- DEVICES

Sensors/transmitters/transducers

Indicators

Controllers

Control valves, dampers

Actuators

Recorders

Annunciators

Process and machineries

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO5.	CHECK COMMISSIONED SYSTEMS AND EQUIPMENT

ASSESSMENT CRITERIA:

- Commissioned systems are verified according to established procedures.

- Commissioned systems are checked to insure safety.

- Unplanned events or conditions are responded to in accordance with established procedures.

- Report is prepared and completed according to the company procedures..

CONTENTS:

- Occupational health and safety

- Instrumentation and control standards

- Use of tools

- Mathematical calculations

- Electrical theory

- Electronics theory

- Use of test equipment and calibrators

- Wiring techniques

- Drawing interpretation

- Soldering techniques

- Principles of Instrumentation

- Process variable measurements (pressure, level, flow, temperature, analysis, etc.)

- Process control theory

- Process control system (single-loop & multi-loop controllers, DCS, DAS, SCADA, etc)

- Sensors, transmitters, transducers & converters

- Programmable logic controllers

- Control valves and final control elements

- Computer operation

- Process and machinery operation

- Reading skills required to interpret work instructions

- Communication skills needed to interpret and define work procedures

- Selection and use of proper tools and equipment

- Start-up and commissioning skills

- Problem solving in unplanned events

CONDITION:

Students/trainees must be provided with the following:

- TOOLS:

Pliers (assorted)

Screw drivers (assorted)

Soldering iron/gun

Wrenches

- EQUIPMENT:

Communication equipment

Configurator or programmer

- Testing devices includes but not limited to:

Multimeter

Calibrators

-	Signal simulators

- Materials:

Sealing materials

Pipes, tubes and fittings

Wires and cables

- PPE:

Ear muffs/plugs

Goggles/glasses/face shield

Safety hat

Safety apparel/suit

Safety belt/harness

Safety shoes

Mask

Gloves

- DEVICES

Sensors/transmitters/transducers

Indicators

Controllers

Control valves, dampers

Actuators

Recorders

Annunciators

Process and machineries

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

UNIT OF COMPETENCY	:	DIAGNOSE AND TROUBLESHOOT INSTRUMENTATION AND CONTROL SYSTEMS

MODULE TITLE	:	DIAGNOSING AND TROUBLESHOOTING INSTRUMENTATION AND CONTROL SYSTEMS

MODULE DESCRIPTION	:	This module is designed to enhance the knowledge, skills and attitude of the trainees in planning, maintaining and repairing instrumentation and control devices

..

NOMINAL DURATION	:	40 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Interpret work instructions for diagnosing and troubleshooting

LO2.	Identify tools, equipment testing devices and materials needed for diagnosing and troubleshooting

LO3.	Identify the PPE and OHS policies and procedures required for the diagnosing and troubleshooting job

LO4.	Diagnose faults of instrumentation and control systems

LO5.	Rectify correct defects in instrumentation and control systems

LO6.	Test diagnosed and corrected instrumentation and control systems

LO1.	INTERPRET WORK INSTRUCTION FOR DIAGNOSING AND TROUBLESHOOTING

ASSESSMENT CRITERIA:

- Communication skills to interpret work instructions are defined and demonstrated according to the established procedures

- Work signs, symbols and conventions are defined and explained according to the set standards

- Work instructions and procedures are demonstrated according to the set standards

CONTENTS:

- Effective communication skills

- Work signs, symbols and conventions

- Work instructions and procedures

- Work instruction interpretation

CONDITIONS:

Students/trainees must be provided with the following:

- Learning materials

-	Component manufacturers manual

-	Engineering specifications

-	Learning elements

-	Catalogue/reference materials

-	Plan/blue print

-	OH & S guidelines and policies

-	Philippine environmental standards

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO2.	IDENTIFY THE TOOLS, EQUIPMENT, TESTING DEVICES AND MATERIALS NEEDED FOR DIAGNOSING AND TROUBLESHOOTING

ASSESSMENT CRITERIA:

- Materials needed for diagnosing and troubleshooting are identified and prepared according to the work instructions

- Tools and equipment types and functions needed for diagnosing and troubleshooting are identified and demonstrated according to set standards

- Testing devices and instruments operations needed for diagnosing and troubleshooting are explained and demonstrated according to instruction manual

- Personal protective equipment are used in accordance with the occupational health and safety guidelines and policies

CONTENTS:

- Types and functions of tools and equipment

- Operation of testing devices and instruments

- Personal protective equipment

- Occupational health and safety

- Equipment, testing devices and instruments signs, symbols and conventions

CONDITION:

Students/trainees must be provided with the following:

- TOOLS:

Pliers (assorted)

Screw drivers (assorted)

Soldering iron/gun

Wrenches

- EQUIPMENT:

Communication equipment e.g., 2-way radio, cell phone

Lifting equipment

Fastening equipment

- Testing devices includes but not limited to:

Multimeter

Calibrators

- MATERIALS:

Wires and cables

Pipes/tubes & fittings

Sealing materials

Fasteners

- PPE:

Ear muffs/plugs

Goggles/glasses/face shield

Safety hat

Safety apparel/suit

Safety belt/harness

Safety shoes

Mask

Gloves

- DEVICES

Sensors/transmitters/transducers

Indicators

Controllers

Control valves

Actuators

Recorders

Annunciators

Process switches

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO3.	IDENTIFY THE PPE AND OHS POLICIES AND PROCEDURES REQUIRED FOR THE DIAGNOSING AND TROUBLESHOOTING JOB

ASSESSMENT CRITERIA:

  - Personal Protective Equipment (PPE) needed for diagnosing and troubleshooting are identified and prepared according to the work instructions

  - Use of PPE needed for diagnosing and troubleshooting are demonstrated according to the set standards

  - Occupational and Health Safety (OHS) needed for diagnosing and troubleshooting are identified and explained according to the work instructions

  - OHS procedures and policies needed for installation are demonstrated according to the set standards

CONTENTS:

- Personal protective equipment

- Occupational health and safety

- Effective communication skills

- Work instructions and procedures

- Work signs, symbols and conventions

CONDITION:

Students/trainees must be provided with the following:

- Personal protective equipment

-	Safety hat

-	Safety shoes

-	Ear muffs

-	Safety belt/harness

-	Mask

-	Safety goggles

-	Hand gloves

- Learning materials

-	Component manufacturers manual

-	Engineering specifications

-	Learning elements

-	Catalogue/reference materials

-	Plan/blue print

-	Simulator and actual setting

-	OH & S guidelines

-	Philippine environmental standards

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO4.	DIAGNOSE FAULTS OF INSTRUMENTATION AND CONTROL SYSTEMS

ASSESSMENT CRITERIA:

- Appropriate personal protective equipment is used in line with standard procedures.

- Faults or problems in the instrumentation and control systems are diagnosed according to requirements and in line with the standard procedures.

- Contingency measures are managed and implemented in accordance with established procedures

- Unplanned events or conditions are responded to in accordance with established procedures

CONTENTS:

- Occupational health and safety

- Instrumentation and control standards

- Use of tools

- Mathematical calculations

- Electrical theory

- Electronics theory

- Use of test equipment and calibrators

- Wiring techniques

- Drawing interpretation

- Soldering techniques

- Principles of Instrumentation

- Process variable measurements (pressure, level, flow, temperature, analysis, etc.)

- Process control theory

- Process control system (single-loop & multi-loop controllers, DCS, DAS, SCADA, etc)

- Sensors, transmitters, transducers & converters

- Programmable logic controllers

- Control valves and final control elements

- Computer operation

- Preventive and predictive maintenance procedures

- Reading skills required to interpret work instructions

- Communication skills needed to interpret and define work procedures

- Selection and use of proper tools and equipment

- System diagnostics and troubleshooting skills

- Problem solving in unplanned events

CONDITION:

Students/trainees must be provided with the following:

- TOOLS:

Pliers (assorted)

Screw drivers (assorted)

Soldering iron/gun

Wrenches

- EQUIPMENT:

Communication equipment

-	Configurator of programmer

-	Instrument air supply equipment

-	Power supply equipment

- Testing devices includes but not limited to:

Multimeter

Calibrators

-	Signal generators

-	Oscilloscope

- MATERIALS:

Sealing materials

-	Pipes, tubes and fittings

-	Wires and cables

- PPE:

Ear muffs/plugs

Goggles/glasses/face shield

Safety hat

Safety apparel/suit

Safety belt/harness

Safety shoes

Mask

Gloves

- DEVICES

Sensors/transmitters/transducers

Indicators

Controllers

Control valves

Actuators

Recorders

Annunciators

Process switches

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO5.	RECTIFY/CORRECT DEFECTS IN INSTRUMENTATION AND CONTROL SYSTEMS

ASSESSMENT CRITERIA:

- Appropriate personal protective equipment is used in line with standard procedures.

- Systems and associated equipment are isolated where necessary, in accordance with established procedures

- Adjustments, if necessary are made in accordance with established procedures

- Defective components or parts are replaced or corrected without damage to the surrounding environment or services

- Unplanned events or conditions are responded to in accordance with established procedures

CONTENTS:

- Occupational health and safety

- Instrumentation and control standards

- Use of tools

- Mathematical calculations

- Electrical theory

- Electronics theory

- Use of test equipment and calibrators

- Wiring techniques

- Drawing interpretation

- Soldering techniques

- Principles of Instrumentation

- Process variable measurements (pressure, level, flow, temperature, analysis, etc.)

- Process control theory

- Process control system (single-loop & multi-loop controllers, DCS, DAS, SCADA, etc)

- Sensors, transmitters, transducers & converters

- Programmable logic controllers

- Control valves and final control elements

- Computer operation

- Preventive and predictive maintenance procedures

- Reading skills required to interpret work instructions

- Communication skills needed to interpret and define work procedures

- Selection and use of proper tools and equipment

- System diagnostics and troubleshooting skills

- Problem solving in unplanned events

CONDITION:

Students/trainees must be provided with the following:

- TOOLS:

Pliers (assorted)

Screw drivers (assorted)

Soldering iron/gun

Wrenches

- EQUIPMENT:

Communication equipment

-	Configurator of programmer

-	Instrument air supply equipment

-	Power supply equipment

- Testing devices includes but not limited to:

Multimeter

Calibrators

-	Signal generators

-	Oscilloscope

- MATERIALS:

Sealing materials

Pipes/tubes & fittings

Wires and cables

- PPE:

Ear muffs/plugs

Goggles/glasses/face shield

Safety hat

Safety apparel/suit

Safety belt/harness

Safety shoes

Mask

Gloves

- DEVICES

Sensors/transmitters/transducers

Indicators

Controllers

Control valves

Actuators

Recorders

Annunciators

Process switches

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

LO6.	TEST DIAGNOSED AND CORRECTED INSTRUMENTATION AND CONTROL SYSTEMS

ASSESSMENT CRITERIA:

- Instrumentation & Control systems are tested to ensure safe operation.

- Instrumentation & Control systems are tested using standard testing procedures

- Unplanned events or conditions are responded to in accordance with established procedures.

- Report/s are prepared and completed according to company policy

CONTENTS:

- Occupational health and safety

- Instrumentation and control standards

- Use of tools

- Mathematical calculations

- Electrical theory

- Electronics theory

- Use of test equipment and calibrators

- Wiring techniques

- Drawing interpretation

- Soldering techniques

- Principles of Instrumentation

- Process variable measurements (pressure, level, flow, temperature, analysis, etc.)

- Process control theory

- Process control system (single-loop & multi-loop controllers, DCS, DAS, SCADA, etc)

- Sensors, transmitters, transducers & converters

- Programmable logic controllers

- Control valves and final control elements

- Computer operation

- Preventive and predictive maintenance procedures

- Reading skills required to interpret work instructions

- Communication skills needed to interpret and define work procedures

- Selection and use of proper tools and equipment

- System diagnostics and troubleshooting skills

- Problem solving in unplanned events

CONDITION:

Students/trainees must be provided with the following:

- TOOLS:

Pliers (assorted)

Screw drivers (assorted)

Soldering iron/gun

Wrenches

- EQUIPMENT:

Communication equipment

-	Configurator of programmer

-	Instrument air supply equipment

-	Power supply equipment

- Testing devices includes but not limited to:

Multimeter

Calibrators

-	Signal generators

-	Oscilloscope

- MATERIALS:

Sealing materials

Pipes/tubes & fittings

Wires and cables

- PPE:

Ear muffs/plugs

Goggles/glasses/face shield

Safety hat

Safety apparel/suit

Safety belt/harness

Safety shoes

Mask

Gloves

- DEVICES

Sensors/transmitters/transducers

Indicators

Controllers

Control valves

Actuators

Recorders

Annunciators

Process switches

METHODOLOGIES:

- Lecture/discussion

- Demonstration

- Self-paced Instructions

- Multimedia

ASSESSMENT METHODS:

- Written test

- Practical test

- Direct observation

- Interview (oral)

# What is Competency-Based Curriculum (CBC)

- A competency-based curriculum is a framework or guide for the subsequent detailed development of competencies, associated methodologies, training and assessment resources.

- The CBC specifies the outcomes which are consistent with the requirements of the workplace as agreed through the industry or community consultations.

- CBC can be developed immediately when competency standards exist.

- When competency standards do not exist, curriculum developers need to clearly define the learning outcomes to be attained. The standard of performance required must be appropriate to industry and occupational needs through the industry/enterprise or specified client group consultations.

These materials are available in both printed and electronic copies.

For more information please contact:

Technical Education and Skills Development Authority (TESDA)

Telephone Nos.: 893-8281, 817-4076 to 82 loc. 611, 630, 631 and 635 or visit our website: www.tesda.gov.ph or the TESDA Regional or Provincial Office nearest you.