| - COMPETENCY-BASED CURRICULUM |  |
| --- | --- |

| Sector : UTILITIES SECTOR |  |
| --- | --- |
| Qualification : ELECTRIC POWER DISTRIBUTION LINE CONSTRUCTION NC II |  |
|  | Technical Education and Skills Development Authority East Service Road, South Superhighway, Taguig City, Metro Manila |

TABLE OF CONTENTS

Page

A.	Course Design	1-6

B.	Modules of Instruction	7-73

- BASIC COMPETENCIES	7

- Participating in workplace communication	8-11

- Working in a team environment 	12-14

- Practicing career professionalism 	15-18

- Practicing occupational health and safety procedures	19-23

- Common Competencies	24

- Applying quality standards……………………	25-28

- Complying with environmental protection procedures	29-32

- Observing procedures, specifications and manuals of instruction	33-37

- Operating and maintain  tools and equipment	38-44

- Core Competencies	45

- Erect distribution line poles	46-52

- Climb pole and install pole assembly/ conductors	53-63

- Install distribution line equipment and devices	64-70

- Install consumer service connection facility	71-73

# COURSE DESIGN

COURSE TITLE	:	ELECTRIC POWER DISTRIBUTION LINE CONSTRUCTION NC II

NOMINAL DURATION	:     250 hours

COURSE DESCRIPTION	:

This course is designed to develop & enhance the knowledge, skills, & attitudes of a power distribution lineman, in accordance with industry standards. It covers the basic and common competencies in addition to the core competencies such as erecting pole, climb pole and install pole assembly, conductors, line equipment and devices as well as installing consumer service connection facility. Line construction includes construction/ extension of new distribution lines.

ENTRY REQUIREMENTS:

Student/trainee must posses any of the following qualifications:

- At least high school graduate or equivalent

- Can communicate in oral and written

- Physically and mentally fit  to undergo training e.g., no fear of working in height

- At least 5’4’’ in height

- 18-25 years old

COURSE STRUCTURE:

# BASIC COMPETENCIES

18 hours

| UNIT OF COMPETENCY | MODULE TITLE | LEARNING OUTCOMES | NOMINAL DURATION |
| --- | --- | --- | --- |
| 1. Participate in workplace communication | ## 1.1 Participating in workplace communication | - Obtain and convey workplace information - Complete relevant work related documents - Participate in workplace meeting and discussion | 4 hours |
| 2. Work in a team environment | ## 2.1 Working in a team environment | - Describe and identify team role and responsibility in a team - Describe work as a team member | 4 hours |
| 3. Practice career professionalism | ## 3.1 Practicing career professionalism | - Integrate personal objectives with organizational goals. - Set and meet work priorities - Maintain professional growth and development | 4 hours |
| 4. Practice occupational health and safety procedures | ## 4.1 Practicing occupational health and safety procedures | - Identify hazards and risks - Evaluate hazard and risks - Control hazards and risks - Maintain occupational health and safety awareness | 6 hours |

# COMMON COMPETENCIES

48 hours

| UNIT OF COMPETENCY | MODULE TITLE | LEARNING OUTCOMES | NOMINAL DURATION |
| --- | --- | --- | --- |
| 1. Apply Quality Standards | - Applying Quality Standards | - Check materials and replace faulty ones in accordance with workplace standards and requirements - Carry out work assignments in accordance with standard operating procedures - Check completed work against standards and specifications - Document and prepare a report on deviations from specific quality standards | 12 hours |
| 2. Comply with environmental protection procedures | - Complying with environmental protection procedures | - Access information concerning environmental protection regulations and procedures - Implement and monitor procedures concerning environmental hazards - Implement and Monitor environmental control procedures | 12 hours |
| 3. Observe procedures, specifications and manuals of instructions | - Observing procedures, specifications and manuals of instructions | - Identify and access specifications and manuals - Interpret and apply information in manuals | 12 hours |
| - Operate and maintain line tools and equipment | - Maintaining and operate power distribution line tools and equipment | - Plan and prepare for work to operate and maintain tools and equipment - Prepare hardware, tools and equipment for operation and maintenance - Operate tools and equipment - Check condition of tools and equipment - Perform basic preventive maintenance - Store tools and equipment | 12 hours |

# CORE COMPETENCIES

184 hours

| UNIT OF COMPETENCY | MODULE TITLE | LEARNING OUTCOMES | NOMINAL DURATION |
| --- | --- | --- | --- |
| 1. Erect distribution line poles | - Erecting distribution line poles | - Load/Haul and spot distribution poles - Perform pole digging and grounding - Set up/Erect distribution poles | 24 hours |
| 2. Climb pole and install pole assembly/conductors | 2.1 Climbing pole and install pole assembly/conductors | - Climb pole - Dress/ frame pole - Install pole anchor and guy - Perform conductor stringing, tensioning, armoring and tying - Install conductor/ground taps and jumper | 136 hours |
| 3. Install distribution line equipment and devices | 3.1 Installing distribution line equipment and devices | - Install line equipment and devices - Tap/ connect line equipment and devices to distribution line - Install grounding to equipment | 16 hours |
| 4. Install consumer service connection facility | 4.1 Installing consumer service connection facility | - Install service drop and kilo-watt hour meter | 8 hours |

* Note:  Training providers may include separate modules or learning outcomes on Basic Electricity (including basic power generation, transmission and distribution), Industrial Safety and First Aid.

ASSESSMENT METHODS:

- Written examination

- Demonstration of practical skills

- Direct observation

- Interview

COURSE DELIVERY:

- Modular

- Demonstration

- Lecture

- Discussion

- Dual training

- Distance learning

RESOURCES:

| # TOOLS |  |  |
| --- | --- | --- |
| - Ordinary shovel - Spoon shovel, 7 ft - Straight shovel, 7 ft. - Digging/tamping bar, 8’, forge steel - Pole pike, assorted size - Pole Jenny (salagunting), 14 ft. - Pole Jenny (salagunting), 18 ft. - Butting board (1”x6”x7” wood or steel) - Cant hook, 4”, wooden handle - Bolt cutter, 24” & 36”, steel handle | - Auger bit, ¾” & 5/8” - Ratchet, ½ ton - Cum-a-long (wire group) - Conductor rack (payout reel) - Transformer gin/hoist - Bull line (3/4” manila or polypropylene rope) - Hand line (1/2” rope) - Dead end loop clamp - Hot line clamp for 1/0 ACSR - Impact tool, power actuated - Pruning saw, diff. sizes | - HANDTOOLS - (1 per trainee) - Linemen pliers, 9 inch, insulated handle - Adjustable wrench, 12 inch - Ball peen hammer, 10 lbs; forge steel - Screw driver, 12”, flat - Adjustable wrench, 12”, forge steel - Skinning knife, 2 ¼”, insulated - Canvas bag |
| HARDWARE/ ACCESSORIES |  |  |
| - Cross arm, wood or steel, 10 ft. or 8 ft. - Pin insulator - Steel pin - Armor rod for # 1/0 AWG, ACSR - # 1/0 AWG, ACSR - Strand of # 1/0 ACSR two (2) meters length - Pole, wood (tanalized), 40 ft., cl 2 - Pole, wood (tanalized), 35 ft., cl 2 - Pole, wood (tanalized), 30 ft., cl 3 - Pole, wood (tanalized), 25 ft., cl 3 - Cross-arm, 8 ft. - Pin insulator - Suspension insulator 6” - Dead end strain clamp, 1/0 ACSR - Pole top pin - Double arming bolt “5/8x22 - Eye nut, oval 5/8” - Single upset bolt 5/8x10” | - Double upset bolt 5/8x10” - Pipe spacer 5/8” - Ordinary brace, 28” - Log screw - Malleable guy attachment - Guy hook - Guy plate - Three bolt clamp - Guy grip, 3/8guy wire - Dead-end strain clamp, 4/0” - Anchor log, 4 ft. - Anchor expanding - Anchor rod 5/8”, Twin eye - Anchor rod 5/8”, Single eye - Spool insulator, 1 ¾” - Spool insulator, 3” - Ground rod 5/8x8’ - Ground rod clamp - Eye bolt 5/8x10” - Eye bolt 5/8x12” - Dead end loop clamp for 1/0 ACSR | - Conductor ACSR, #1/0 - Conductor ACSR, #4/0 - Conductor ACSR, #2 - Guy wire, 3/8” - Machine bolt, 5/8”x12 - V-brace, 60” span - Machine bolt, ½ x 6” - Ground wire, 3 strand - Staple wire - Washer square, 1 3/16” hole, 2 ¼ x 2 ¼ x 3/16 - Lock nut 5/8” - Lock nut ½” - Square washer 4”x4” - Anchor shackle - Duplex Wire, #6 - Service Grip, secondary - Insulated copper, #2 connector - Fuse cut-out with lighting arrester combination - Compression connector, #1/0 - #2 ACSR - Compression connector, #1/0 - #6 ACSR |

| EQUIPMENT |  |  |
| --- | --- | --- |
| - Pole climbing equipment - Hole digger - Telescopic ladder - KWH meter, 1 10 (30)A, bottom connection - DX transformer, 10 KVA, (busted) double bushing | - Boom truck and a line truck (only during actual line construction) - Block and tackle, single, 5”, 3/8” MSL 227 kg. | Personal Protective Equipment (PPE) - Hard hat - Goggles/eye protector - Working gloves - Maong jacket (long sleeve) - Safety shoes, high cut with 90 degrees heel boots, |

TRAINING FACILITIES

Recommended space requirements for the various teaching/learning areas are as follows:

| TEACHING/LEARNING AREAS | SIZE IN METERS (M) | AREA IN SQ. M | QTY | TOTAL AREA IN SQ. M |
| --- | --- | --- | --- | --- |
| Lecture Area | 8 x 10 | 80 | 1 | 80 |
| Laboratory Area (field-based – 6 poles minimum) | 500 |  |  |  |
| Learning Resource Area | 5x 6 | 30 | 1 | 30 |
| Clinic/Multi-purpose Area | 4 x 5 | 20 | 1 | 20 |
| Wash ,Toilet & Locker Room | 3 x 5 | 15 | 1 | 15 |
| Total |  |  |  | 645 |
| Facilities / Equipment / Circulation |  |  |  | 50 |
| Total Area |  |  |  | 695 |

TRAINER’S QUALIFICATIONS:

ELECTRIC POWER DISTRIBUTION LINE CONSTRUCTION NC II

Trainer’s Qualification TQ II

- Must be a holder of Electric Power Distribution Line Construction NCII or equivalent

- Must have completed Training Methodology (TM) course or equivalent

- Must have reached supervisory level in distribution line works, e.g. Line Foreman/Leadman

- Must have at least 5-years relevant industry experience

- Must be physically & mentally fit.

MODULES OF INSTRUCTION

BASIC COMPETENCIES

ELECTRIC POWER DISTRIBUTION LINE CONSTRUCTION NC II

BASIC COMPETENCY	:	COMMUNICATION

UNIT OF COMPETENCY	:	PARTICIPATE IN WORKPLACE COMMUNICATION

MODULE TITLE	:	PARTICIPATING IN WORKPLACE COMMUNICATIONS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes required to obtain, interpret and convey information in response to workplace requirements.

NOMINAL DURATION	:	4 hours

QUALIFICATION LEVEL	:	NC II

PREREQUISITE	:	Receive and Respond to Workplace Communication (NC I)

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/ trainees should be able to:

# LO1.	Obtain and convey workplace information

LO2.	Complete relevant work related documents

LO3.	Participate in workplace meeting and discussion

LO1.	OBTAIN AND CONVEY WORKPLACE INFORMATION

ASSESSMENT CRITERIA:

1.	Specific relevant information is accessed from appropriate sources.

2.	Effective questioning and active listening and speaking are used to gather and convey information.

3.	Appropriate medium is used to transfer information and ideas.

4.	Appropriate non-verbal communication is used.

5.	Appropriate lines of communication with superiors and colleagues are identified and followed.

6.	Defined work procedures for the location and storage of information are used.

7.	Personnel interaction is carried out clearly and concisely.

CONTENTS:

- Parts of speech

- Sentence construction

- Effective communication

CONDITIONS:

The students/trainees must be provided with the following:

- Writing materials (pen & paper)

- References (books)

- Manuals

METHODOLOGIES:

- Group discussion

- Interaction

- Lecture

- Reportorial

ASSESSMENT METHODS:

- Written test

- Practical performance test

- Interview

LO2.	COMPLETE RELEVANT WORK RELATED DOCUMENTS

ASSESSMENT CRTERIA:

- Forms relating to conditions of employment are completed accurately and legibly.

- Workplace data are recorded on standard workplace forms and documents.

- Basic mathematical process is used for routine calculations.

- Errors in recording information on forms and documents are identified and rectified.

- Reporting requirements to superior are completed according to enterprise guidelines.

CONTENTS:

- Basic mathematics

- Technical writing

- Types of forms

CONDITIONS:

The students/trainees must be provided with the following:

- Paper

- Pencils / ball pen

- Reference books

- Manuals

METHODOLOGIES:

:

- Group discussion

- Interaction

- Lecture

ASSESSMENT METHODS:

- Written test

- Practical performance test

- Interview

LO3.	PARTICIPATE IN WORKPLACE MEETING AND DISCUSSION

ASSESSMENT CRITERIA:

1.	Team meetings are attended on time.

2.	Own opinions are clearly expressed and those of others are listened to without interruption.

3.	Meeting inputs are consistent with the meeting purpose and established protocols.

4.	Workplace interaction are conducted in a courteous manner appropriate to cultural background and authority in accordance with procedures.

5.	Questions about simple routine workplace procedures and matters concerning conditions of employment are asked and responded.

6.	Meeting outcomes are interpreted and implemented.

CONTENTS:

- Sentence construction

- Technical writing

- Recording information

CONDITIONS:

The students/trainees must be provided with the following:

- Paper

- Pencils/ball pen

- References (books)

- Manuals

METHODOLOGIES:

- Group discussions

- Interaction

- Lecture

ASSESSMENT METHODS:

- Written test

- Practical / performance test

- Interview

BASIC COMPETENCY	:	TEAM WORK

UNIT OF COMPETENCY	:	WORK IN A TEAM ENVIRONMENT

MODULE TITLE	:	WORKING IN A TEAM ENVIRONMENT

MODULE DESCRIPTOR	:	This module covers the knowledge, skills, and attitudes required to relate in a work based environment.

NOMINAL DURATION	:	4 hours

QUALIFICATION LEVEL	: 	NCII

PREREQUISITE	:	TEAMWORK (NC I)

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/ trainees should be able to:

LO1.	Describe and identify team role and responsibility in a team

LO2.	Describe work as a team

LO1.	DESCRIBE AND IDENTIFY TEAM ROLE AND RESPONSIBILITY IN A TEAM

ASSESSMENT CRITERIA:

1.	Role and objective of the team are identified.

2.	Team parameters, relationships and responsibilities are identified.

3.	Individual role and responsibilities within team environment are identified.

4.	Roles and responsibilities of other team members are identified and recognized.

5.	Reporting relationships within team and external to team are identified.

CONTENTS:

- Team role

- Relationship and responsibilities

- Role and responsibilities with team environment.

- Relationship within a team

CONDITIONS:

The students/trainees must be provided with the following:

- SOP in workplace

- Job procedures

- Client / supplier instructions

- Quality standards

- Organizational or external personnel

METHODOLOGIES:

- Group discussion/interaction

- Case studies

- Simulation

ASSESSMENT METHODS:

- Written test

- Observation

- Simulation

- Role playing

###### LO2.	DESCRIBE WORK AS A TEAM MEMBER

ASSESSMENT CRITERIA:

1.	Appropriate forms of communication and interactions are undertaken.

2.	Appropriate contributions to complement team activities and objectives are made.

3.	Reporting using standard operating procedures is followed.

4.	Development of team work plans based from on team are contributed.

CONTENTS:

- Communication process

- Team structure / team roles

- Group planning and decision making

CONDITIONS:

The students/trainees must be provided with the following:

- SOP in workplace

- Job procedures

- Organization or external personnel

METHODOLOGIES:

- Group discussion/interaction

- Case studies

- Simulation

ASSESSMENT METHODS:

- Observation of work activities

- Observation through simulation or role play

- Case studies and scenarios

UNIT OF COMPETENCY	:	PRACTICE CAREER PROFESSIONALISM

MODULE TITLE	: 	PRACTICING CAREER PROFESSIONALISM

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes in promoting career growth and advancement, specifically to integrate personal objectives with organizational goals set and meet work priorities and maintain professional growth and development.

NOMINAL DURATION	:	4 hours

QUALIFICATION LEVEL	: 	NC II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Integrate personal objectives with organizational goals

LO2.	Set and meet work priorities

LO3.	Maintain professional growth and development

###### LO1.	INTEGRATE PERSONAL OBJECTIVES WITH ORGANIZATIONAL GOALS

ASSESSMENT CRITERIA:

1.	Personal growth and work plans towards improving the qualifications set for professionalism are achieved.

2.	Intra- and interpersonal relationship in the course of managing oneself based on performance evaluation are maintained.

3.	Commitment to the organization and its goal is demonstrated in the performance of duties.

4.	Practice of appropriate personal hygiene is observed.

5.	Job targets within key result areas are attained.

CONTENTS:

- Personal Development-Social Aspects: Intra and Interpersonal Development

- Organizational Goals

- Personal Hygiene and Practices

- Code of Ethics

CONDITIONS:

The students/trainees must be provided with the following:

- Workplace

- Code of Ethics

- Organizational Goals

- Hand outs and PD-Social Aspects

- CDs, VHS tapes, transparencies

METHODOLOGIES:

- Interactive-lecture

- Simulation

- Demonstration

- Self-paced

ASSESSMENT METHODS:

- Role play

- Interview

- Written exam

###### LO2.	SET AND MEET WORK PRIORITIES

ASSESSMENT CRITERIA:

1.	Competing demands to achieve personal, team and organizational goals and objectives are prioritized.

2.	Resources are utilized efficiently and effectively to manage work priorities and commitments.

3.	Practices and economic use and maintenance of equipment and facilities are followed as per established procedures.

4.	Job targets within key result areas are attained.

CONTENTS:

- Organizational KRAs

- Work Values and Ethical Standards

- Company policies on the use and maintenance of equipment

CONDITIONS:

The students/trainees must be provided with the following:

- Organizational KRA

- Work values and ethics

- Company policies and standards

- Sample job targets

- Learning Guides

- CDs, VHS tapes, transparencies

METHODOLOGIES:

- Interactive lecture

- Group discussion

- Structured activity

- Demonstration

ASSESSMENT METHODS:

- Role play

- Interview

- Written exam

###### LO3.	MAINTAIN PROFESSIONAL GROWTH AND DEVELOPMENT

ASSESSMENT CRITERIA:

1.	Training and career opportunities relevant to the job requirements are identified and availed.

2.	Licenses and/or certifications according to the requirements of the qualifications are acquired and maintained.

3.	Fundamental rights at work including gender sensitivity are manifested/observed.

4.	Training and career opportunities based on the requirements of industry are completed and updated.

CONTENTS:

- Qualification Standards

- Gender and Development (GAD) Sensitivity

- Professionalism in the Workplace

- List of Professional Licenses

CONDITIONS:

The students/trainees must be provided with the following:

- Quality Standards

- GAD handouts

- CDs, VHS tapes on Professionalism in the Workplace

- Professional Licenses samples

METHODOLOGIES:

- Interactive-lecture

- Film viewing

- Role play/simulation

- Group discussion

ASSESSMENT METHODS:

- Demonstration

- Interview

- Written exam

- Portfolio assessment

UNIT OF COMPETENCY	:	PRACTICE OCCUPATIONAL HEALTH AND SAFETY PROCEDURES

MODULE TITLE	:	PRACTICING OCCUPATIONAL HEALTH AND SAFETY PROCEDURES

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes required to comply with the regulatory and organizational requirements for occupational health and safety such as identifying, evaluating and maintaining OH & S awareness.

NOMINAL DURATION	:	6 hours

QUALIFICATION LEVEL	:	NC II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Identity hazards and risks

LO2.	Evaluate hazards and risks

LO3.	Control hazards and risks

LO4.	Maintain occupational health and safety awareness

###### LO1.	IDENTIFY HAZARDS AND RISKS

ASSESSMENT CRITERIA:

1.	Workplace hazards and risks are identified and clearly explained.

2.	Hazards/Risks and their corresponding indicators are identified in accordance with the company procedures.

3.	Contingency measures are recognized and established in accordance with organizational procedures.

CONTENTS:

- Hazards and risks identification and control

- Organizational safety and health protocol

- Threshold limit value (TLV)

- OHS indicators

CONDITIONS:

The students/trainees must be provided with the following:

- Workplace

- PPE

- Learning Guides

- Hand-outs

- Organizational Safety and Health Protocol

- OHS Indicators

- Threshold Limit Value

- Hazards/Risk Identification and Control

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive-lecture

- Simulation

- Symposium

- Group dynamics

ASSESSMENT METHODS:

- Situation analysis

- Interview

- Practical exam

- Written exam

# LO2.	EVALUATE HAZARDS AND RISKS

ASSESSMENT CRITERIA:

1.	Terms of maximum tolerable limits are identified based on threshold limit values (TLV).

2.	Effects of hazards are determined.

3.	OHS issues and concerns are identified in accordance with workplace requirements and relevant workplace OHS legislation.

CONTENTS:

- TLV table

- Phil OHS Standards

- Effects of hazards in the workplace

- Ergonomics

- ECC Regulations

CONDITIONS:

The students/trainees must be provided with the following:

- Hand outs on

- Phil. OHS Standards

- Effects of hazards in the workplace

- Ergonomics

- ECC regulations

- TLV Table

- CDs, VHS tapes, transparencies

METHODOLOGIES:

- Interactive-lecture

- Situation analysis

- Symposium

- Film viewing

- Group dynamics

ASSESSMENT METHODS:

- Interview

- Written exam

- Simulation

###### LO3.	CONTROL HAZARDS AND RISKS

ASSESSMENT CRITERIA:

1.	OHS procedures for controlling hazards and risk are strictly followed.

2.	Procedures in dealing with workplace accidents, fire and emergencies are followed in accordance with the organization’s OHS policies.

3.	Personal protective equipment is correctly used in accordance with organization’s OHS procedures and practices.

4.	Procedures in providing appropriate assistance in the event of workplace emergencies are identified in line with the established organizational protocol.

CONTENTS:

- Safety Regulations

- Clean Air Act

- Electrical and Fire Safety Code

- Waste management

- Disaster Preparedness and Management

- Contingency Measures and Procedures

CONDITIONS:

The students/trainees must be provided with the following:

- Hand outs on

- Safety Regulations

- Clean Air Act

- Electrical and Fire Safety Code

- Waste management

- Disaster Preparedness and Management

- Contingency Measures and Procedures

- OHS Personal Records

- PPE

- CDs, VHS tapes, transparencies

METHODOLOGIES:

- Interactive-lecture

- Symposium

- Film viewing

- Group dynamics

- Self-paced

ASSESSMENT METHODS:

- Written

- Interview

- Case/situation analysis

- Simulation

###### LO4.	MAINTAIN OCCUPATIONAL HEALTH AND SAFETY AWARENESS

ASSESSMENT CRITERIA:

1.	Procedures in emergency related drill are strictly followed in line with the established organization guidelines and procedures.

2.	OHS personal records are filled up in accordance with workplace requirements.

3.	PPE is maintained in line with organization guidelines and procedures.

CONTENTS:

- Operational health and safety procedure, practices and regulations

- Emergency-related drills and training

CONDITIONS:

The students/trainees must be provided with the following:

- Workplace

- PPE

- OHS personal records

- CD’s, VHS tapes, transparencies

- Health record

METHODOLOGIES:

- Interactive-lecture

- Simulation

- Symposium

- Film viewing

- Group dynamics

ASSESSMENT METHODS:

- Demonstration

- Interview

- Written exam

- Portfolio assessment

MODULES OF INSTRUCTION

COMMON COMPETENCIES

ELECTRIC POWER DISTRIBUTION LINE CONSTRUCTION NC II

UNIT OF COMPETENCY	:	APPLY QUALITY STANDARDS

MODULE TITLE	:	APPLYING QUALITY STANDARDS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes needed to apply quality standards in the workplace.  The module also includes the application of relevant safety procedures and regulations, organization procedures and customer requirements.

NOMINAL DURATION	:	12 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/students should be able to:

LO1.	Assess quality of received materials or components

LO2.	Assess own work

## LO3.	Engage in quality improvement

###### LO1.	Assess quality of received materials or components

ASSESSMENT CRITERIA:

  - Work instructions are obtained and work is carried out in accordance with standard operating procedures.

  - Received materials or component parts are checked against workplace standards and specifications.

  - Faulty material or components related to work are identified and isolated.

  - Faults and any identified causes are recorded and/or reported to the supervisor concerned in accordance with workplace procedures.

  - Faulty materials or components are replaced in accordance with workplace procedures.

CONTENTS:

- Relevant production processes, materials and products

- Characteristics of materials/component parts used in electronic production processes

- Quality checking procedures

- Workplace procedures

- Safety and environmental aspects of production processes

- Fault identification and reporting

- Quality improvement process

- Reading skills required to interpret work instruction

- Communication skills needed to interpret and apply defined work procedures

- Carry out work in accordance with OHS policies and procedures

CONDITIONS:

Students/trainees must be provided with the following:

- Equipment

# Audiovisual equipment

- Supplies and materials

# Manufacturer’s specification manual

# Repair manual

# Maintenance procedure manual

# Periodic maintenance manual

METHODOLOGIES:

- Self-pace instruction

- Film viewing

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/ examination

- Observation with questioning

###### LO2.	Assess own work

ASSESSMENT CRITERIA:

- Documentation relative to quality within the company is identified and used.

- Completed work is checked against workplace standards relevant to the task undertaken.

- Faulty pieces are identified and isolated.

- Information on the quality and other indicators of production performance is recorded in accordance with workplace procedures.

- Deviations from specified quality standards, causes are documented and reported in accordance with the workplace standards operating procedures.

CONTENTS:

- Relevant production processes, materials and products

- Characteristics of materials/component parts used in electronic production processes

- Quality checking procedures

- Workplace procedures

- Safety and environmental aspects of production processes

- Fault identification and reporting

- Quality improvement process

- Reading skills required to interpret work instruction

- Communication skills needed to interpret and apply defined work procedures

- Carry out work in accordance with OHS policies and procedures

CONDITIONS:

Students/trainees must be provided with the following:

- Equipment

- Computer

- Supplies and Materials

- Manufacturer’s specification manual

- Repair manual

- Maintenance procedure manual

- Periodic maintenance manual

METHODOLOGIES:

- Self- paced instruction

- Film viewing

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/ examination

- Observation with questioning

###### LO3.	Engage in quality improvement

ASSESSMENT CRITERIA:

- Process improvement procedures are participated in relation to workplace assignment.

- Work is carried out in accordance with process improvement procedures.

- Performance of operation or quality of product or service to ensure customer satisfaction is monitored.

CONTENTS:

- Relevant production processes, materials and products

- Characteristics of materials/component parts used in electronic production processes

- Quality checking procedures

- Workplace procedures

- Safety and environmental aspects of production processes

- Fault identification and reporting

- Quality improvement process

- Reading skills required to interpret work instruction

- Communication skills needed to interpret and apply defined work procedures

- Carry out work in accordance with OHS policies and procedures

CONDITIONS:

Students/trainees must be provided with the following:

- Supplies and materials

# Manufacturer’s specification manual

# Repair manual

# Maintenance procedure manual

# Periodic maintenance manual

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/ examination

- Observation with questioning

UNIT OF COMPETENCY	:	COMPLY WITH ENVIRONMENTAL PROTECTION PROCEDURES

## MODULE TITLE	:	COMPLYING WITH ENVIRONMENTAL PROTECTION

PROCEDURES

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes required to implement and monitor environmental protection policies and procedures including accessing relevant information concerning environmental protection regulations and procedures, and implementing, monitoring procedures concerning environmental hazards, related control procedures, environmental training arrangements, and required records and documentation.

NOMINAL DURATION	:	14 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Access information concerning environmental protection regulations and procedures

LO2.	Implement and monitor procedures environmental hazards.

LO3.	Implement and monitor on environmental control procedures.

LO1.	ACCESS INFORMATION CONCERNING ENVIRONMENTAL PROTECTION REGULATIONS AND PROCEDURES

ASSESSMENT CRITERIA:

- Relevant provisions of environmental legislation and codes of practice are accurately followed

- Information on workplace environmental policies, procedures and programs is stored in a readily accessible location and manner

- Information is accurately and clearly explained to the work team and updated according to change in workplace policy

- Information about the outcomes of environmental risk identification and control procedures is provided to the appropriate personnel

CONTENTS:

- Provision of environmental legislation

Environmental policies

- Change in workplace policy

- Environmental Code of Practice

- International Environmental Protocols (Montreal, Kyoto)

CONDITIONS:

The students/trainees must be provided with the following:

- Workplace / assessment locations

- Legislation, policies, procedures, protocols and local ordinances relating to environmental protection.

- Case studies / scenarios relating to environmental protection (sample)

METHODOLOGIES:

- Discussion – demonstration

- Research and reporting

ASSESSMENT METHODS:

- Written / oral examination

- Interview / third party report

- Portfolio

LO2.	IMPLEMENT AND MONITOR PROCEDURES CONCERNING ENVIRONMENTAL HAZARDS

ASSESSMENT CRITERIA:

- Existing and potential environmental hazards in the workplace are identified and reported

- Identified hazards are assessed in relation to relevant environmental protection policies

- Workplace procedures for dealing with hazardous events are implemented wherever necessary to ensure that prompt control action is taken

- Personal protective equipment (PPE) are obtained and used in accordance with job requirements

- Hazardous events are investigated to identify causes, and control measures are implemented to prevent recurrence and minimize risks of such events

CONTENTS:

  - Potential environmental hazards

  - Environmental  protection policies

  - 5 S of good house keeping

  - Hazardous control measures

CONDITIONS:

The students/trainees must be provided with the following:

- Workplace / assessment location

- Legislation, Policies, Procedures, Protocols and local ordinances relating to environmental protection.

- Case studies / scenarios relating to environmental protection (sample)

METHODOLOGIES:

- Lectures

- Discussions

- Demonstrations

- Reporting

- Role Playing

ASSESSMENT METHODS:

- Written / oral examination

- Observation

- Practical demonstration

LO3. 	IMPLEMENT AND MONITOR ENVIRONMENTAL CONTROL PROCEDURES

ASSESSMENT CRITERIA:

- Existing environmental protection measures are implemented, monitored and reviewed

- Work procedures to protect environment are implemented and adherence to them by the work group is monitored

- Required improvements to existing control measures are identified, including required resources for implementation, and reported to appropriate personnel

CONTENTS:

- Environmental protection measures

- Environmental work procedures

- Improvements of existing control measures

CONDITIONS:

The students/trainees must be provided with the following:

  - Personal Computer

  - Reference Book

  - Handouts/Modules/Printed Materials

  - Statistical Package

  - Workplace / Assessment location

METHODOLOGIES:

  - Demonstrations

  - Reporting

ASSESSMENT METHODS:

  - Written / oral examination

  - Observation

  - Interview / third party reports

# UNIT OF COMPETENCY	:	OBSERVE PROCEDURES, SPECIFICATIONS AND MANUALS OF INSTRUCTIONS

MODULE TITLE	:	OBSERVING PROCEDURES, SPECIFICATIONS AND MANUALS OF INSTRUCTIONS

MODULE DESCRIPTOR	:	This unit covers the knowledge, skills, and attitudes in identifying, interpreting and applying services to the specifications and manuals and storing manuals.

NOMINAL DURATION	:	12 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module; the trainees/students should be able to:

LO1.	Identify and access specifications/manuals.

LO2.	Interpret manuals.

## LO3.	Apply information in manual.

## LO4.	Store manuals

###### LO1.	IDENTIFY AND ACCESS SPECIFICATIONS/MANUALS

ASSESSMENT CRITERIA:

- Appropriate manuals are identified and accessed as per job requirements.

- Version and date of manual are checked to ensure that correct specification and procedures are identified.

CONTENTS:

- Types of manuals

- Identification of symbols used in the manuals

- Identification of units of measurements

- Units of conversion

CONDITIONS:

Students/trainees must be provided with the following:

- Equipment

# Audio-visual equipment

- Supplies and materials

# Manufacturer’s specification manual

# Repair manual

# Maintenance procedure manual

# Periodic maintenance manual

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/examination

- Observation with questioning

LO2.	INTERPRET MANUALS

ASSESSMENT CRITERIA:

- Relevant sections, chapters of specifications/manuals are located in relation; to the work to be conducted.

- Information and procedure in the manual are interpreted in accordance with industry practices.

CONTENTS:

- Manual reading and plan specifications

- Reading and comprehension of interpreting manuals

- Written communication skills

- Signs and symbols

# Electrical

# Mechanical

CONDITIONS:

Students/trainees must be provided with the following:

- Equipment

# Audio-visual equipment

- Supplies and materials

# Manufacturer’s specification manual

# Repair manual

# Maintenance procedure manual

# Periodic maintenance manual

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/examination

- Observation with questioning

LO3.	APPLY INFORMATION IN MANUALS

ASSESSMENT CRITERIA:

- Manual is interpreted according to job requirements.

- Work steps are correctly identified in accordance with manufacturer’s specifications.

- Manual data are applied according to the given task.

- All correct sequencing and adjustments are interpreted in accordance with information contained in the manual on specifications.

CONTENTS:

- Reading and comprehension skills required to identify & interpret construction manuals and specifications

- Accessing information and data

- Work schedule

- Steps of work

CONDITIONS:

Students/trainees must be provided with the following:

- Supplies and materials

# Manufacturer’s specification manual

# Repair manual

# Maintenance procedure manual

# Periodic maintenance manual

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Group discussion

ASSESSMENT METHODS:

- Interview

- Written test/ examination

- Observation with questioning

LO4.	STORE MANUALS

ASSESSMENT CRITERION:

- Manuals on specifications are stored appropriately to ensure prevention of damage, ready access and updating of information when required in accordance with company’s requirements.

CONTENTS:

- 5 S procedure

- Proper storage of manual

CONDITIONS:

Students/trainees must be provided with the following:

- Supplies and materials

# Manufacturer’s specification manual

# Repair manual

# Maintenance procedure manual

# Periodic maintenance manual

METHODOLOGIES:

- Self-paced instruction

- Film Viewing

- Group Discussion

ASSESSMENT METHODS:

- Interview

- Written test/ examination

- Observation with questioning

UNIT OF COMPETENCY	:     OPERATE AND MAINTAIN POWER DISTRIBUTION LINE TOOLS AND EQUIPMENT

MODULE TITLE	:	OPERATING AND MAINTAINING POWER DISTRIBUTION LINE TOOLS AND EQUIPMENT

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitude to operate and maintain transmission line tools and equipment. This module will involve working in a team environment.

NOMINAL DURATION	:	14 hours

QUALIFICATION LEVEL	:	NC II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/students should be able to:

LO1.	Plan and prepare for work

LO2.	Prepare power distribution line tools and equipment

LO3.	Operate power distribution line tools and equipment

LO4.   Check condition of power distribution line tools and equipment

LO5.    Perform basic preventive maintenance

LO6.    Store tools and equipment

LO1.	Plan and prepare for work

ASSESSMENT CRITERIA:

- Work instruction is secured and interpreted according to job requirements.

- Relevant occupational health and safety requirements are identified following job specifications.

- Relevant transmission line tools, equipment and hardware are identified and requested in accordance with job specifications.

CONTENTS:

- Relevant occupational health and safety standards

- Proper procedure for the use of  tools and equipment

- Basic preventive maintenance servicing for  equipment

- Following and complying occupational health and safety standards

- Following procedures for the safe use of  tools and equipment

- Performing basic preventive maintenance servicing for  equipment

CONDITIONS:

Students/trainees must be provided with the following:

- Required tools and equipment

- Workplace

- Personal Protective Equipment (PPE)

- Courseware

- Signage

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry immersion

ASSESSMENT METHODS:

- Interview

- Written test/exam

- Observation with questioning

- Demonstration with questioning

LO2.	Prepare power distribution line tools and equipment

ASSESSMENT CRITERIA:

### Personal protective equipment (PPE) are obtained following job requirements.

### Power distribution line tools, equipment and hardware are acquired and secured in line with job requirements.

- Power distribution line tools are tested/set following manufacturer’s standards or recommendations.

CONTENTS:

- Relevant occupational health and safety standards

- Proper procedure for the use of transmission line tools and equipment

- Basic preventive maintenance servicing for transmission line equipment

- Following and complying occupational health and safety standards

- Following procedures for the safe use of  tools and equipment

- Performing basic preventive maintenance servicing for  equipment

CONDITIONS:

Students/trainees must be provided with the following:

- Required types of lubricants

- Personal Protective Equipment (PPE)

- Courseware

- Workplace

- Cleaning materials and solution

- Inventory forms

- Storage

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry immersion

ASSESSMENT METHODS:

- Interview

- Written exam

- Observation with questioning

- Demonstration with questioning

LO3.	Operate power distribution line tools and equipment

ASSESSMENT CRITERIA:

- PPE are used in line with job requirements.

- Power distribution line tools and equipment are used in line with job requirements.

CONTENTS:

- Relevant occupational health and safety standards

- Proper procedure for the use of  tools and equipment

- Basic preventive maintenance servicing for  equipment

- Following and complying occupational health and safety standards

- Following procedures for the safe use of  tools and equipment

- Performing basic preventive maintenance servicing for  equipment

CONDITIONS:

Students/trainees must be provided with the following:

- Required types of lubricants

- Personal Protective Equipment (PPE)

- Courseware

- Workplace

- Cleaning materials and solution

- Inventory forms

- Storage

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry immersion

ASSESSMENT METHODS:

- Interview

- Written exam

- Observation with questioning

- Demonstration with questioning

LO4.	Check condition of power distribution line tools and equipment

ASSESSMENT CRITERIA:

- Tools and equipment are identified according to classification and job requirements.

- Non-functional tools and equipment are segregated and labeled according to classification.

- Safety of tools and equipment are observed in accordance with manufacturer's instructions.

- Condition of PPE is checked in accordance with manufacturer's instructions.

CONTENTS:

- Relevant occupational health and safety standards

- Proper procedure for the use of  tools and equipment

- Basic preventive maintenance servicing for  equipment

- Following and complying occupational health and safety standards

- Following procedures for the safe use of  tools and equipment

- Performing basic preventive maintenance servicing for  equipment

CONDITIONS:

Students/trainees must be provided with the following:

- Required types of lubricants

- Required  equipment, tools and instruments

- Personal Protective Equipment (PPE)

- Courseware

- Workplace

- Cleaning materials and solution

- Inventory forms

- Storage

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry immersion

ASSESSMENT METHODS:

- Interview

- Written exam

- Observation with questioning

- Demonstration with questioning

LO5.	Perform basic preventive maintenance

ASSESSMENT CRITERIA:

- Appropriate lubricants are identified according to types of equipment.

- Equipment are lubricated according to preventive maintenance schedule or manufacturer's specifications.

- Tools are cleaned and tested according to standard procedures.

- Tools and equipment are inspected, and repaired and replaced, if necessary, after use.

- Work place is cleaned and kept in safe state in line with OHSA regulations.

CONTENTS:

- Relevant occupational health and safety standards

- Proper procedure for the use of  tools and equipment

- Basic preventive maintenance servicing for equipment

- Following and complying occupational health and safety standards

- Following procedures for the safe use of  tools and equipment

- Performing basic preventive maintenance servicing for equipment

CONDITIONS:

Students/trainees must be provided with the following:

- Required types of lubricants

- Required HVAC/R equipment, tools and instruments

- Personal Protective Equipment (PPE)

- Courseware

- Workplace

- Cleaning materials and solution

- Inventory forms

- Storage

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry immersion

ASSESSMENT METHODS:

- Interview

- Written exam

- Observation with questioning

- Demonstration with questioning

LO6.	Store tools and equipment

ASSESSMENT CRITERIA:

- Inventory of transmission line tools and equipment are conducted and recorded as per company practices

- Transmission line tools and equipment are stored safely in appropriate locations in accordance with manufacturer's specifications or company procedures

CONTENTS:

- Relevant occupational health and safety standards

- Proper procedure for the use of  tools and equipment

- Basic preventive maintenance servicing for equipment

- Following and complying occupational health and safety standards

- Following procedures for the safe use of  tools and equipment

- Performing basic preventive maintenance servicing for equipment

CONDITIONS:

Students/trainees must be provided with the following:

- Required types of lubricants

- Personal Protective Equipment (PPE)

- Courseware

- Workplace

- Cleaning materials and solution

- Inventory forms

- Storage

METHODOLOGIES:

- Self-paced instruction

- Film viewing

- Direct laboratory experience

- Group discussion

- Industry immersion

ASSESSMENT METHODS:

- Interview

- Written exam

- Observation with questioning

- Demonstration with questioning

MODULES OF INSTRUCTION

CORE COMPETENCIES

ELECTRIC POWER DISTRIBUTION LINE CONSTRUCTION NC II

UNIT OF COMPETENCY	:	ERECT DISTRIBUTION LINE POLES

MODULE TITLE	:	ERECTING DISTRIBUTION LINE POLES

MODULE DESCRIPTION	:	This module is design to enhance knowledge, skills and attitude of the trainees in installing new distribution line poles as well as transporting/hauling pole to jobsite, performing pole hole digging, grounding and pole setting/erection.

NOMINAL DURATION	:	16 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/students should be able to:

LO1.   Load/haul distribution pole

LO2.   Perform pole digging and grounding

LO3.    Set up/erect pole

LO1.    LOAD/HAUL DISTRIBUTION POLE

ASSESSMENT CRITERIA:

- Distribution line equipment are used in line with job requirements

- Personal protective equipment (PPE) are used following job requirements

### Loading and unloading procedure for poles is performed following safety requirements

- Poles hauling and pole spotting (unloading) is performed based on staking sheet/work order.

CONTENTS:

- Types and uses of pole hauling materials, and equipment

- Reading and interpreting staking sheet/work order

- Procedure in manual transporting

CONDITIONS:  The student must be provided with the following:

- Materials

- Log screws

- Signage

- Tools

- Rope/Hand line

- Turning hook/cant hook

- Ratchet

- Equipment

- Trailer

- Line truck

- Boom truck or derrick truck

- Sling

- Binder

- PPE

- Pair climbers complete with strap and pads

- Safety strap

- Rubber gloves with leather protection gloves (PPE)

- Canvas glove bag

- Helmet

- Working gloves

- Learning Materials

- Lecture room

- Computer

- Projector

- White board and white board markers

- Handouts and activity sheets

- Visual aids (i.e. PowerPoint presentation, diagrams)

- Sample project/job sheet

METHODOLOGIES:

- Lecture

- Discussion

- Demonstration of manipulative skill

- Return Demonstration

ASSESSMENT METHODS:

- Written

- Demonstration with oral questioning

- Practicum

LO2.  PERFORM POLE DIGGING AND GROUNDING

ASSESSMENT CRITERIA:

- Distribution line tools, equipment and hardware are used in line with construction specifications

- Personal protective equipment (PPE) are used following job requirements

- Pole-hole digging is performed following established depth requirements

- Pole grounding is installed in line with specification

- Pole setting/erection procedure is performed in line with job requirements

- Good housekeeping is performed following established procedure.

CONTENTS:

- Types and classes of poles

- Types and uses of pole erection materials, and equipment

- Pole hole digging procedure

- Pole grounding installation procedure

- Pole setting/erection procedure

- Backfilling procedure

CONDITIONS:  The student must be provided with the following:

- Materials

- Log screws

- Signage

- Tools

- Rope/Hand line

- Turning hook/cant hook

- Digging bar/ Tamping bar

- Pole pike

- Jenny

- Straight shovel (long and short)

- Pole hole digger

- Spoon shovel

- Butting board

- Ratchet

- Equipment

- Trailer

- Line truck

- Boom truck or derrick truck

- Sling

- Binder

- Hardware

- Ground wire

- Ground wire staple

- Butt plate

- PPE

- Pair climbers complete with strap and pads

- Safety strap

- Rubber gloves with leather protection gloves (PPE)

- Canvas glove bag

- Helmet with chin strap

- Working gloves and safety shoes

- Learning Materials

- Lecture room

- Computer

- Projector

- White board and white board markers

- Handouts and activity sheets

- Visual aids (i.e. PowerPoint presentation, diagrams)

- Actual samples of line equipment (shown inside the classroom and in an actual or simulated environment)

METHODOLOGIES:

- Lecture

- Discussion

- Demonstration of manipulative skill

- Return demonstration/practicum

ASSESSMENT METHODS:

- Written

- Demonstration with oral questioning

LO3.   ERECT POLE

ASSESSMENT CRITERIA:

- Distribution line tools, equipment and hardware are used in line with construction specifications

- Personal protective equipment (PPE) are used following job requirements

- Pole-hole digging is performed following established depth requirements

- Pole grounding is installed in line with specification

- Pole setting/erection procedure is performed in line with job requirements

- Good housekeeping is performed following established procedure.

CONTENTS:

- Types and classes of poles

- Types and uses of pole erection materials, and equipment

- Pole hole digging procedure

- Pole grounding installation procedure

- Pole setting/erection procedure

- Backfilling procedure

CONDITIONS:  The student must be provided with the following:

- Materials

- Log screws

- Signage

- Tools

- Rope/Hand line

- Turning hook/cant hook

- Digging bar/ Tamping bar

- Pole pike

- Jenny

- Straight shovel (long and short)

- Pole hole digger

- Spoon shovel

- Butting board

- Ratchet

- Equipment

- Trailer

- Line truck

- Boom truck or derrick truck

- Sling

- Binder

- Hardware

- Ground wire

- Ground wire staple

- Butt plate

- PPE

- Pair climbers complete with strap and pads

- Safety strap

- Rubber gloves with leather protection gloves (PPE)

- Canvas glove bag

- Helmet with chin strap

- Working gloves and safety shoes

- Learning Materials

- Lecture room

- Computer

- Projector

- White board and white board markers

- Handouts and activity sheets

- Visual aids (i.e. PowerPoint presentation, diagrams)

- Actual samples of line equipment (shown inside the classroom and in an actual or simulated environment)

METHODOLOGIES:

- Lecture

- Discussion

- Demonstration of manipulative skill

- Return demonstration/practicum

ASSESSMENT METHODS:

- Written

- Demonstration with oral questioning

UNIT OF COMPETENCY	:	CLIMB POLE AND INSTALL POLE ASSEMBLY/    CONDUCTORS

MODULE TITLE	:	CLIMBING POLE AND INSTALLING POLE ASSEMBLY/ CONDUCTORS

MODULE DESCRIPTION	:	This module is design to enhance knowledge, skills and attitude of the trainees in climbing poles and installing pole assembly/conductors. The scope of this unit covers pole climbing techniques; dressing/framing of pole; installing anchor and guy; stringing, tensioning, armoring and tying of conductors.

NOMINAL DURATION	:	176 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/ student should be able to:

LO1.	Climb pole

LO2.	Dress/frame pole

LO3.	Install pole anchor and guy

LO4.	Perform conductor stringing, tensioning, armoring and  tying

LO5.	Install conductor/ ground taps and jumper

LO1.  CLIMB POLE

ASSESSMENT CRITERIA:

### Pole climbing procedure is demonstrated in line with occupational health and safety standards

- Housekeeping is performed in line with established procedure

### Poles are inspected for hazards and risks

CONTENTS:

- Types and classes of pole

- Types, uses and care of climbing gears, climbing equipment, safety climbing tools

- Pole climbing guidelines

  - Proper clothing

  - Climbing equipment

  - Wearing climbing gears

  - Inspecting wooden poles for hazards and risks

  - Body positioning when climbing poles

  - Fastening and unfastening safety straps

- Procedures in ascending and descending poles

CONDITIONS:  The student must be provided with the following:

- Materials

- Poles

- Tools

- Rope/Hand line

- Equipment

- Complete set of climbing equipment

- Boom truck or derrick truck

- PPE

- Pair climbers complete with strap and pads

- Safety strap

- Rubber gloves with leather protection gloves (PPE)

- Canvas glove bag

- Helmet with chin strap

- Working gloves

- Learning Materials

- Lecture room

- Computer

- Projector

- White board and white board markers

- Handouts and activity sheets

- Visual aids (i.e. PowerPoint presentation, diagrams)

- Sample project/job sheet

- Actual samples of line equipment (shown inside the classroom and in an actual or simulated environment)

METHODOLOGIES:

- Lecture

- Discussion

- Demonstration of manipulative skill

- Return demonstration

ASSESSMENT METHODS:

- Written

- Demonstration with oral questioning

- Practicum

LO2.	DRESS/FRAME POLE

ASSESSMENT CRITERIA:

### Installation of pole top assembly is performed in accordance with construction specifications

### Boring is performed in accordance with the construction specification

### Housekeeping is performed in line with established procedure

CONTENTS:

- Tools and materials used in pole top assembly

- Types of pole top assembly

- Procedures in installing pole top assembly

- Understanding the construction specification manual related to pole dressing

- Systematic arrangement of tools and materials

CONDITIONS:   The student must be provided with the following:

- Materials

- Poles

- Cross-arms

- Conductors

- Hardwares

- Tools

- Rope/Hand line

- Adjustable wrench or lineman wrench

- Pliers

- Ball hammer

- Measuring rule / steel tape

- Screw driver

- Auger bit

- Ratchet

- Cam-along

- Bolt cutter

- Equipment

- Complete set of climbing equipment

- Boom truck or derrick truck

- PPE

- Pair climbers complete with strap and pads

- Safety strap

- Rubber gloves with leather protection gloves (PPE)

- Canvas glove bag

- Helmet with chin strap

- Working gloves

- Learning Materials

- Lecture room

- Computer

- Projector

- White board and white board markers

- Handouts and activity sheets

- Visual aids (i.e. PowerPoint presentation, diagrams)

- Sample project/job sheet

- Actual samples of line equipment (shown inside the classroom and in an actual or simulated environment)

METHODOLOGIES:

- Lecture

- Discussion

- Demonstration of manipulative skill

- Return demonstration

ASSESSMENT METHODS:

- Written

- Demonstration with oral questioning

- Practicum

LO3.	INSTALL POLE ANCHOR AND GUY

ASSESSMENT CRITERIA:

- Boring is performed in accordance with the construction specification

- Guy wire is installed on the pole with other hardware based on construction specification

- Anchor is installed based on type of construction.

CONTENTS:

- Understanding the construction specification manual related to anchoring and guying

- Installation of anchor and guy wires

CONDITIONS:   The student must be provided with the following:

- Materials

- Guy wires

- Anchors

- Anchor rod

- Three-bolt clamp

- Dead-end guy grip

- Machine bolt

- Guy hook

- Guy plate

- Nail

- Tools

- Rope/Hand line

- Cam-along / Wire grip

- Ratchet

- Hammer

- Adjustable wrench / Lineman wrench

- Pliers

- Bolt cutter

- Auger bit

- Measuring rule / steel tape

- PPE

- Pair climbers complete with strap and pads

- Safety strap

- Rubber gloves with leather protection gloves (PPE)

- Canvas glove bag

- Helmet

- Working gloves

- Learning Materials

- Lecture room

- Computer

- Projector

- White board and white board markers

- Handouts and activity sheets

- Visual aids (i.e. PowerPoint presentation, instructional video, diagrams)

- Sample project/job sheet

- Actual samples of line equipment (shown inside the classroom and in an actual or simulated environment)

METHODOLOGIES:

- Lecture

- Discussion

- Demonstration of manipulative skill

- Return demonstration

ASSESSMENT METHODS:

- Demonstration with oral questioning

- Practicum

LO4.	PERFORM CONDUCTOR STRINGING, TENSIONING, ARMORING AND TYING

ASSESSMENT CRITERIA:

- Conductor is prepared with pay-out stand.

- Conductor is pulled out from the reel to various electric poles.

- Conductor is installed on the conductor support based on construction specification.

- Tensioning is applied to attain the required sag of conductor.

- Armoring is applied for protection of conductor.

- Tying of conductors is applied to avoid detachment from the insulators.

CONTENTS:

- Understanding the construction specification manual related to conductor stringing, tensioning, armoring and tying

- Procedure in installation of conductors

- Proper stringing and tensioning,

- Applying armoring and tying

CONDITIONS:   The student must be provided with the following:

- Materials

- Conductors

- Armor rod

- Tie wire

- Tools

- Rope/Hand line

- Cam-along

- Ratchet

- Hammer

- Adjustable wrench / Lineman wrench

- Pliers

- Bolt cutter

- Equipment

- Hand-held radio

- Truck or vehicle with reel

- Pay-out stand

- Pulley / roller

- PPE

- Pair climbers complete with strap and pads

- Safety strap

- Rubber gloves with leather protection gloves (PPE)

- Canvas glove bag

- Helmet with chin strap

- Working gloves

- Learning Materials

- Lecture room

- Computer

- Projector

- White board and white board markers

- Handouts and activity sheets

- Visual aids (i.e. PowerPoint presentation, instructional video, diagrams)

- Sample project/job sheet

- Actual samples of line equipment (shown inside the classroom and in an actual or simulated environment)

METHODOLOGIES:

- Lecture

- Discussion

- Demonstration of manipulative skill

ASSESSMENT METHODS:

- Demonstration with oral questioning

- Practicum

LO5.  INSTALL CONDUCTOR/GROUND TAPS AND JUMPER

ASSESSMENT CRITERIA:

- Pole ground to neutral condition and guys jumpering are installed in conformity with line construction specifications.

- Rigid grounding taps and connectors are installed to avoid loose connection

- Pole ground to neutra Conductor is prepared with pay-out stand.

- Conductor is pulled out from the reel to various electric poles.

- Conductor is installed on the conductor support based on construction specification.

- Tensioning is applied to attain the required sag of conductor.

- Armoring is applied for protection of conductor.

- Tying of conductors is applied to avoid detachment from the insulators.

CONTENTS:

- Understanding the construction specification manual related to conductor stringing, tensioning, armoring and tying

- Procedure in installation of conductors

- Proper stringing and tensioning,

- Applying armoring and tying

CONDITIONS:   The student must be provided with the following:

- Materials

- Conductors

- Armor rod

- Tie wire

- Tools

- Rope/Hand line

- Cam-along

- Ratchet

- Hammer

- Adjustable wrench / Lineman wrench

- Pliers

- Bolt cutter

- Equipment

- Hand-held radio

- Truck or vehicle with reel

- Pay-out stand

- Pulley / roller

- PPE

- Pair climbers complete with strap and pads

- Safety strap

- Rubber gloves with leather protection gloves (PPE)

- Canvas glove bag

- Helmet with chin strap

- Working gloves

- Learning Materials

- Lecture room

- Computer

- Projector

- White board and white board markers

- Handouts and activity sheets

- Visual aids (i.e. PowerPoint presentation, instructional video, diagrams)

- Sample project/job sheet

- Actual samples of line equipment (shown inside the classroom and in an actual or simulated environment)

METHODOLOGIES:

- Lecture

- Discussion

- Demonstration of manipulative skill

ASSESSMENT METHODS:

- Demonstration with oral questioning

- Practicum

UNIT OF COMPETENCY	:	INSTALL DISTRIBUTION LINE EQUIPMENT AND          DEVICES

MODULE TITLE	:	INSTALLING DISTRIBUTION LINE EQUIPMENT AND DEVICES

MODULE DESCRIPTION	:	This module is design to enhance knowledge, skills and attitude of the trainees in installing distribution line equipment and devices. The scope of this unit covers performing installation of distribution line equipment and devices as well as tapping/connecting line equipment and devices to distribution line.

NOMINAL DURATION	:	8 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/ students should be able to:

LO1.	Install line equipment and devices

LO2.	Tap/connect line equipment and devices to distribution line

LO3.	Install grounding to equipment

LO1.	INSTALL LINE EQUIPMENT AND DEVICES

ASSESSMENT CRITERIA:

### Lifting devices is installed securely to the top of the pole.

### Boring is performed, if necessary, in accordance with the construction specification

### Line equipment and devices are installed in accordance with construction specifications and standards

### Housekeeping procedure is performed in line with established procedure

CONTENTS:

- Types and classes of lifting devices

- Proper use of lifting devices

- Understanding the construction specification manual related to installation of line equipment and devices

- Types of electrical line equipment and devices

- Procedures in installing line equipment and devices

- Proper handling of equipment and devices

CONDITIONS:   The student must be provided with the following:

- Tools

- Rope/Hand line

- Adjustable wrench or lineman wrench

- Pliers

- Ball hammer

- Measuring rule / steel tape

- Screw driver

- Auger bit

- Ratchet

- Cam-along

- Bolt cutter

- Equipment and devices

- Transformer gin

- Cut-out and lightning arrester

- distribution transformer

- Pulley or block and tackle

- Boom truck or derrick truck

- Pole climbing equipment

- Recloser

- PPE

- Pair climbers complete with strap and pads

- Safety strap

- Rubber gloves with leather protection gloves (PPE)

- Canvas glove bag

- Helmet with chin strap

- Working gloves

- Learning Materials

- Lecture room

- Computer

- Projector

- White board and white board markers

- Handouts and activity sheets

- Visual aids (i.e. PowerPoint presentation, instructional video, diagrams)

- Sample project/job sheet

- Actual samples of line equipment ad devices(shown inside the classroom and in an actual or simulated environment)

METHODOLOGIES:

- Lecture

- Discussion

- Demonstration of manipulative skill

- Return demonstration

ASSESSMENT METHOD:

- Demonstration with oral questioning

LO2.	TAP/CONNECT LINE EQUIPMENT AND DEVICES TO DISTRIBUTION LINE

ASSESSMENT CRITERIA:

- Connectors/jumpers are installed between line conductors for safety, conductivity and reliability purposes.

- Line tapping and connection is performed in accordance with the construction specification

CONTENTS:

- Basic requirements on line tapping and connection

- Safety precautions on line tapping and connection

CONDITIONS:   The student must be provided with the following:

- Materials

- Hotline clamp

- Armor rod tapping

- Compression connector

- Connecting wires

- Tools

- Rope/Hand line

- Compression tool

- Hotstick

- Shot gun stick

- Adjustable wrench / Lineman wrench

- Pliers

- PPE

- Pair climbers complete with strap and pads

- Safety strap

- Rubber gloves with leather protection gloves (PPE)

- Canvas glove bag

- Helmet with chin strap

- Working gloves

- Learning Materials

- Lecture room

- Computer

- Projector

- White board and white board markers

- Handouts and activity sheets

- Visual aids (i.e. PowerPoint presentation, instructional video, diagrams)

- Sample project/job sheet

- Actual samples of line equipment ad devices(shown inside the classroom and in an actual or simulated environment)

METHODOLOGIES:

- Lecture

- Discussion

- Demonstration of manipulative skill

- Return demonstration

ASSESSMENT METHOD:

- Demonstration with oral questioning

LO3.  INSTALL GROUNDING TO EQUIPMENT

ASSESSMENT CRITERIA:

- Grounding for equipment is installed in accordance with line construction specifications.

- Connectors/jumpers are installed between line conductors for safety, conductivity and reliability purposes.

- Line tapping and connection is performed in accordance with the construction specification

CONTENTS:

- Basic requirements on line tapping and connection

- Safety precautions on line tapping and connection

CONDITIONS:   The student must be provided with the following:

- Materials

- Hotline clamp

- Armor rod tapping

- Compression connector

- Connecting wires

- Tools

- Rope/Hand line

- Compression tool

- Hotstick

- Shot gun stick

- Adjustable wrench / Lineman wrench

- Pliers

- PPE

- Pair climbers complete with strap and pads

- Safety strap

- Rubber gloves with leather protection gloves (PPE)

- Canvas glove bag

- Helmet with chin strap

- Working gloves

- Learning Materials

- Lecture room

- Computer

- Projector

- White board and white board markers

- Handouts and activity sheets

- Visual aids (i.e. PowerPoint presentation, instructional video, diagrams)

- Sample project/job sheet

- Actual samples of line equipment ad devices(shown inside the classroom and in an actual or simulated environment)

METHODOLOGIES:

- Lecture

- Discussion

- Demonstration of manipulative skill

- Return demonstration

ASSESSMENT METHOD:

- Demonstration with oral questioning

UNIT OF COMPETENCY	:	INSTALL CONSUMER SERVICE CONNECTION FACILITY

MODULE TITLE	:	INSTALLING CONSUMER SERVICE CONNECTION FACILITY

MODULE DESCRIPTION	:	This module is design to enhance knowledge, skills and attitude of the trainees in installing consumer service connection facility. The scope of this unit covers installing service drop and KWH meter.

NOMINAL DURATION	:	8 hours

SUMMARY OF LEARNING OUTCOME:

Upon completion of the module the trainees/ student should be able to:

LO1.	Install service drop and kilowatt-hour meter

LO1.	INSTALL SERVICE DROP AND KILOWATT-HOUR METER

ASSESSMENT CRITERIA:

### Service drop accessories and cables are installed according construction standards and requirements

### KWH meter is installed according to construction standards and requirements

### Housekeeping procedure is performed in line with established procedure

CONTENTS:

- Understanding the construction specification manual related to service drop and KWH meter installation

- Types and uses of service drop wire/cable and accessories

- Types of KWH meter

- Safety procedures for installing service drop and KWH meter

CONDITIONS:   The student must be provided with the following:

- Materials and accessories

- Oval eye nut (conventional) /Shoulder-eye nut

- Service swinging clevis

- Spool insulator

- Service grip / Dead-end loop clamp

- Service drop wire/cable

- Service wire holder

- KWH meter

- Compression connector

- Tools

- Rope/Hand line

- Adjustable wrench or lineman wrench

- Pliers

- Ball hammer

- Measuring rule / steel tape

- Screw driver

- Auger bit

- Electrical tape

- Equipment and devices

- Ladder

- Pole climbing equipment

- KWH meter

- PPE

- Pair climbers complete with strap and pads

- Safety strap

- Rubber gloves with leather protection gloves (PPE)

- Canvas glove bag

- Helmet with chin strap

- Working gloves

- Learning Materials

- Lecture room

- Computer

- Projector

- White board and white board markers

- Handouts and activity sheets

- Visual aids (i.e. PowerPoint presentation, instructional video, diagrams)

- Sample project/job sheet

METHODOLOGIES:

- Lecture

- Discussion

- Demonstration of manipulative skill

ASSESSMENT METHOD:

- Demonstration with oral questioning

# What is Competency-Based Curriculum (CBC)

- A competency-based curriculum is a framework or guide for the subsequent detailed development of competencies, associated methodologies, training and assessment resources.

- The CBC specifies the outcomes which are consistent with the requirements of the workplace as agreed through the industry or community consultations.

- CBC can be developed immediately when competency standards exist.

- When competency standards do not exist, curriculum developers need to clearly define the learning outcomes to be attained. The standard of performance required must be appropriate to industry and occupational needs through the industry/enterprise or specified client group consultations.

These materials are available in both printed and electronic copies.

For more information please contact:

Technical Education and Skills Development Authority (TESDA)

Telephone Nos.: 893-8281, 817-4076  to 82 loc. 611, 630, 631 and 635 or visit our website: www.tesda.gov.ph or the TESDA Regional or Provincial Office nearest you.