| - COMPETENCY-BASED CURRICULUM |  |
| --- | --- |

| Sector : CONSTRUCTION |  |
| --- | --- |
| Qualification : MASONRY NC II |  |
|  | Technical Education and Skills Development Authority East Service Road, South Superhighway, Taguig City, Metro Manila |

TABLE OF CONTENTS

Page

A. Course Design	1-5

B. Modules of Instruction	6-68

  - BASIC COMPETENCIES

  - Participating in workplace communication	7-10

  - Working in a team environment	11-13

  - Practicing career professionalism	14-17

  - Practicing occupational health and safety	18-22

  - COMMON COMPETENCIES

  - Preparing construction materials and tools	24-27

  - Performing mensuration and calculation	28-30

  - Maintaining tools and equipment.	31-34

  - Observing procedures, specifications and manuals of instructions	35-38

  - Interpreting technical drawings and plans	39-41

  - CORE COMPETENCIES

  - Preparing masonry materials	43-46

  - Performing basic masonry works	47-54

  - Laying brick/block for structure	55-59

  - Plastering  wall surface	 60-64

  - Installing pre-cast balusters and handrail	65-68

# COURSE DESIGN

# COURSE TITLE	:	MASONRY NC II

NOMINAL DURATION	:  258 hours

COURSE DESCRIPTION	:

This course is designed to enhance the knowledge, desirable attitudes and skills of mason in accordance with industry standards. It covers specialized competencies such as; Lay brick/block for structure, plaster concrete/masonry surface and Install pre-cast baluster and handrails. It also includes competencies in workplace communication, team work, safety, use of hand tools, and house keeping.

ENTRY REQUIREMENTS	:

Candidate/trainee must reach/possess any of the following qualification:

- Can communicate both orally and in written form

- Physically and mentally fit

- With good moral character

- Can perform basic mathematical computation and mensuration

COURSE STRUCTURE:

# BASIC COMPETENCIES

(18 hours)

| UNIT OF COMPETENCY | ## MODULE TITLE | LEARNING OUTCOMES | NOMINAL DURATION |
| --- | --- | --- | --- |
| 1. Participate in workplace communication | 1.1 Participating in workplace communication | # 1.1.1 Obtain and convey workplace information 1.1.2 Complete relevant work related documents. 1.1.3 Participate in workplace meeting and discussion. | 4 hours |
| 2. Work in a team environment | 2.1 Working in a team environment | 2.1.1 Describe and identify team role and responsibility in a team. 2.1.2 Describe work as a team. | 4 hours |
| 3. Practice career professionalism | 3.1 Practicing career professionalism | 3.1.1 Integrate personal objectives with organizational goals 3.1.2 Set and meet work priorities # 3.1.3 Maintain professional growth and development | 6 hours |
| 4. Practice occupational health and safety | 4.1 Practicing occupational health and safety | - Identity hazards and risks 4.1.2 Evaluate hazards and risks 4.1.3 Control hazards and risks # 4.1.4 Maintain occupational health and safety awareness | 4 hours |

# COMMON COMPETENCIES

(24 hours)

| UNIT OF COMPETENCY | MODULE TITLE | LEARNING OUTCOMES | NOMINAL DURATION |
| --- | --- | --- | --- |
| 1. Prepare construction materials and tools | 1.1 Preparing construction (heavy equipment) materials and tools. | 1.1.1 Identify materials and tools applicable to a specific construction job. 1.1.2 Request appropriate materials and tools. 1.1.3 Receive and inspect materials. | 4 hours |
| 2. Perform mensuration and calculation | 2.1 Performing mensuration and calculations | - Carry out measurements and calculations. - Select measuring instruments. | 6 hours |
| 3. Maintain tools and equipment. | 3.1 Maintaining tools and equipment. | 3.1.1 Check condition of tools and equipments. - Perform basic preventive maintenance 3.1.3 Store tools and equipment | 4 hours |
| 4. Observe procedures, specifications and manuals of instructions | 4.1 Observing procedures, specifications and manuals of instructions. | - Identify, access, and interpret specification/ manuals. - Apply information in manual 4.1.3 Store manuals. | 4 hours |
| 5. Interpret technical drawings and plans | 5.1 Interpreting technical drawings and plans | 5.1.1 Analyze signs, symbols and data. 5.1.2 Interpret technical drawings and plans | 6 hours |

# CORE COMPETENCIES

(216 hours)

| UNIT OF COMPETENCY | MODULE TITLE | LEARNING OUTCOMES | NOMINAL DURATION |
| --- | --- | --- | --- |
| - Prepare Masonry materials | - Preparing masonry materials | - Select materials, tools and equipment needed in hauling and mixing - Haul materials; - Mix mortar/concrete. | 20 hours |
| - Perform basic masonry works | - Performing basic masonry works | 2.1.1 Assist in re-bar fabrication and installation. 2.1.2 Erect and dismantle scaffolding (1.8 m and below). 2.1.3 Assist in fabrication, installation and stripping of formworks. 2.1.4 Perform excavation and backfilling/compaction. 2.1.5 Assist in concreting works. 2.1.6 Perform housekeeping. | 36 hours |
| - Lay brick/block for structure | - Laying brick/block for structure | 3.1.1 Prepare for laying brick/block for structure; 3.1.2 Lay-out/establish brick/block structure location; 3.1.3 Perform laying brick/block for structure; 3.1.4 Complete laying of brick/block for structure. | 60 hours |
| - Plaster wall surface | - Plastering wall surface | 4.1.1 Prepare concrete/masonry surfaces for plastering; 4.1.2 Prepare for plastering concrete/masonry surface; 4.1.3 Perform plastering work; 4.1.4 Complete plastering work. | 60 hours |
| - Install pre-cast balusters and handrail | - Installing pre-cast balusters and handrail | 5.1.1 Prepare for installing pre-cast balusters and handrails; 5.1.2 Perform pre-cast balusters and handrails installation; 5.1.3 Complete installation of pre-cast balusters and handrails | 40 hours |

# ASSESSMENT METHOD:

- Written and interview assessment

- Portfolio assessment

- Third party report

- Practical demonstration

COURSE DELIVERY:

- Group discussion and demonstration

- Modular/ self paced

- Project based instruction

- OJT/ DTS

RESOURCES:

- Concrete blocks, bricks, pen, working plan - Coarse aggregates, pail, shovel/spade - mixing board, pointed trowel, reinforcement bars, water - hammer, measuring tools, nails, lumber, hand saw, hack saw - cement, nylon string, scaffolding, tie wire, wooden float, mortar box - concrete nails, plumb bob, level hose , spirit level, - batter board, guide post, common wire nail - Wooden float, steel float, tie twister - Report forms, checklist of tools and materials - Steel brush, chipping hammer, cold chisel, broom - Plan/blueprint, fine aggregates, foam/paint brush - Bar bender, bar cutter - Balusters/handrails, pencil, framing square, try square

# TRAINER’S QUALIFICATIONS:

- Be a holder of B.S. Civil engineering or Industrial Education major in civil technology.

- Must have at least 1 year job experience in industry or any civil related works and teaching experience.

- A holder of NC II mason given by an accredited competency assessor.

- Must pass the required government examination such as, licensure examination for teachers or board examination for civil engineer.

- Must be computer literate

- Physically and mentally fit

MODULES OF INSTRUCTION

BASIC COMPETENCIES

MASONRY NC II

UNIT OF COMPETENCY	:	PARTICIPATE IN WORKPLACE COMMUNICATION

MODULE TITLE	:	PARTICIPATING IN WORKPLACE COMMUNICATION

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes required to obtain, interpret and convey information in response to workplace requirements.

NOMINAL DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/ trainees will be able to:

# LO1.	Obtain and convey workplace information

LO2.	Complete relevant work related documents.

LO3.	Participate in workplace meeting and discussion.

LO1.	OBTAIN AND CONVEY WORKPLACE INFORMATION

ASSESSMENT CRITERIA:

- Specific relevant information is accessed from appropriate sources.

- Effective questioning, active listening and speaking skills are used to gather and convey information.

- Appropriate medium is used to transfer information and ideas.

- Appropriate non-verbal communication is used.

- Appropriate lines of communication with superiors and colleagues are identified and followed.

- Defined workplace procedures for the location and storage of information are used.

- Personal interaction is carried out clearly and concisely.

CONTENTS:

- Parts of speech

- Sentence construction

- Effective communication

CONDITIONS:

The students/ trainees must be provided with the following:

- Writing materials (pen & paper)

- References (books)

- Manuals

METHODOLOGIES:

- Group discussion

- Interaction

- Lecture

- Reportorial

ASSESSMENT METHODS:

- Written test

- Practical/performance test

- Interview

L02.	COMPLETE RELEVANT WORK RELATED DOCUMENTS

ASSESSMENT CRTERIA:

- Ranges of forms relating to conditions of employment are completed accurately and legibly.

- Workplace data is recorded on standard workplace forms and documents.

- Basic mathematical process is used for routine calculations.

- Errors in recording information on forms/ documents are identified and rectified.

- Reporting requirements to superior are completed according to enterprise guidelines.

CONTENTS:

- Basic mathematics

- Technical writing

- Types of forms

CONDITIONS:

The students/trainees must be provided with the following:

- Paper

- pencils/ball pen

- Reference books

- Manuals

METHODOLOGIES:

- Group discussion

- Interaction

- Lecture

ASSESSMENT METHODS:

- Written test

- Practical/performance test

- Interview

LO3.	PARTICIPATE IN WORKPLACE MEETINGS AND DISCUSSIONS

ASSESSMENT CRITERIA:

- Team meetings are attended on time.

- Own opinions are clearly expressed and those of others are listened to without interruption.

- Meeting inputs are consistent with the meeting purpose and established protocols.

- Workplace interaction is conducted in a courteous manner appropriate to cultural background and authority in the enterprise procedures.

- Questions about simple routine workplace procedures and matters concerning conditions of employment are asked and responded.

- Meeting outcomes are interpreted and implemented.

CONTENTS:

- Sentence construction

- Technical writing

- Recording information

CONDITIONS:

The students/trainees must be provided with the following:

- Paper

- Pencils/ball pen

- References (books)

- Manuals

METHODOLOGIES:

- Group discussions

- Interaction

- Lecture

ASSESSMENT METHODS:

- Written test

- Practical/performance test

- Interview

UNIT OF COMPETENCY	:	WORK IN A TEAM ENVIRONMENT

MODULE TITLE	:	WORKING IN A TEAM ENVIRONMENT

MODULE DESCRIPTOR	:	This module covers the knowledge, skills, and attitudes required to relate in a work based environment.

NOMINAL DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the students/ trainees will be able to:

LO1.	Describe and identify team role and responsibility in a team.

LO2.	Describe work as a team.

LO1.	DESCRIBE AND IDENTIFY TEAM ROLE AND RESPONSIBILITY IN A TEAM

ASSESSMENT CRITERIA:

- Role and objective of the team is identified.

- Team parameters, relationships and responsibilities are identified.

- Individual role and responsibilities within team environment are identified.

- Roles and responsibilities of other team members are identified and recognized.

- Reporting relationships within team and external to team are identified.

CONTENTS:

- Team role.

- Relationship and responsibilities

- Role and responsibilities with team environment.

- Relationship within a team.

CONDITIONS:

The students/ trainees must be provided with the following:

- Standard operating procedure (SOP) of workplace

- Job procedures

- Client/supplier instructions

- Quality standards

- Organizational or external personnel

METHODOLOGIES:

- Group discussion/interaction

- Case studies

- Simulation

ASSESSMENT METHODS:

- Written test

- Observation

- Simulation

- Role playing

LO2.	DESCRIBE WORK AS A TEAM MEMBER

ASSESSMENT CRITERIA:

- Appropriate forms of communication and interactions are undertaken.

- Appropriate contributions to complement team activities and objectives were made.

- Reporting using standard operating procedures followed.

- Development of teamwork plans based from role team were contributed

CONTENTS:

- Communication process

- Team structure/team roles

- Group planning and decision-making

CONDITIONS:

The students/trainees must be provided with the following:

- SOP of workplace

- Job procedures

- Organization or external personnel

METHODOLOGIES:

- Group discussion/interaction

- Case studies

- Simulation

ASSESSMENT METHODS:

- Observation of work activities

- Observation through simulation or role-play

- Case studies and scenarios.

UNIT OF COMPETENCY	:	PRACTICE CAREER PROFESSIONALISM

MODULE TITLE	:	PRACTICING CAREER PROFESSIONALISM

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes in promoting career growth and advancement, specifically, to integrate personal objectives with organizational goals set and meet work priorities and maintain professional growth and development.

NOMINAL DURATION	:	6 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Integrate personal objectives with organizational goals

LO2.	Set and meet work priorities

LO3.	Maintain professional growth and development

LO1.	INTEGRATE PERSONAL OBJECTIVES WITH ORGANIZATIONAL GOALS

ASSESSMENT CRITERIA:

- Personal growth and work plans towards improving the qualifications set for professionalism are evident.

- Intra and interpersonal relationship in the course of managing oneself based on performance evaluation is maintained.

- Commitment to the organization and its goal is demonstrated in the performance of duties.

- Practice of appropriate personal hygiene is observed.

- Job targets within key result areas are attained.

CONTENTS:

- Personal development-social aspects: intra and interpersonal development

- Organizational goals

- Personal hygiene and practices

- Code of ethics

CONDITIONS:

The students/ trainees must be provided with the following:

- Workplace

- Code of ethics

- Organizational goals

- Handouts and Personal development-social aspects

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive -lecture

- Simulation

- Demonstration

- Self paced instruction

ASSESSMENT METHODS:

- Role play

- Interview

- Written examination

LO2.	SET AND MEET WORK PRIORITIES

ASSESSMENT CRITERIA:

- Competing demands to achieve personal, team and organizational goals and objectives are prioritized.

- Resources are utilized efficiently and effectively to manage work priorities and commitments.

- Practices and economic use and maintenance of equipment and facilities are followed as per established procedures.

- Job targets within key result areas are attained.

CONTENTS:

- Organizational key result areas (KRA)

- Work values and ethical standards

- Company policies on the use and maintenance of equipment

CONDITIONS:

The students/ trainees must be provided with the following

- Hand outs on

- Organizational KRA

- Work values and ethics

- Company policies and standards

- Sample job targets

- Learning guides

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive lecture

- Group discussion

- Structured activity

- Demonstration

ASSESSMENT METHODS:

- Role play

- Interview

- Written examination

LO3.	MAINTAIN PROFESSIONAL GROWTH AND DEVELOPMENT

ASSESSMENT CRITERIA:

- Training and career opportunities relevant to the job requirements are identified and availed.

- Licenses and/or certifications according to the requirements of the qualifications are acquired and maintained

- Fundamental rights at work including gender sensitivity are manifested/ observed

- Training and career opportunities based on the requirements of industry are completed and updated.

CONTENTS:

- Qualification standards

- Gender and development (GAD) sensitivity

- Professionalism in the workplace

- List of professional licenses

CONDITIONS:

## The students/trainees must be provided with the following

- Quality standards

- GAD handouts

- CD’s, VHS tapes on professionalism in the workplace

- Professional licenses samples

METHODOLOGIES:

- Interactive lecture

- Film viewing

- Role play/simulation

- Group discussion

ASSESSMENT METHODS:

- Demonstration

- Interview

- Written examination

UNIT OF COMPETENCY	:	PRACTICE OCCUPATIONAL HEALTH AND SAFETY PROCEDURES

MODULE TITLE	:	PRACTICING OCCUPATIONAL HEALTH AND SAFETY PROCEDURES

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes required to comply with the regulatory and organizational requirements for occupational health and safety such as identifying, evaluating and maintaining occupational health and safety (OHS) awareness.

NOMINAL DURATION	:	4 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Identity hazards and risks

LO2.	Evaluate hazards and risks

LO3.	Control hazards and risks

LO4.	Maintain occupational health and safety awareness

LO1.	IDENTIFY HAZARDS AND RISKS

ASSESSMENT CRITERIA:

- Workplace hazards and risks are identified and clearly explained.

- Hazards/risks and its corresponding indicators are identified in with the company procedures.

- Contingency measures are recognized and established in accordance with organizational procedures.

CONTENTS:

- Hazards and risks identification and control

- Organizational safety and health protocol

- Threshold limit value (TLV)

- OHS indicators

CONDITIONS:

The students/ trainees must be provided with the following:

- Workplace

- Personal protective equipment (PPE)

- Learning guides

- Hand-outs

- Organizational safety and health protocol

- OHS indicators

- Threshold limit value

- Hazards/risk identification and control

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive lecture

- Simulation

- Symposium

- Group dynamics

ASSESSMENT METHODS:

- Situation analysis

- Interview

- Practical examination

- Written examination

# LO2.	EVALUATE HAZARDS AND RISKS

ASSESSMENT CRITERIA:

- Terms of maximum tolerable limits are identified based on threshold limit values (TLV)

- Effects of hazards are determined.

- OHS issues and concerns are identified in accordance with workplace requirements and relevant workplace OHS legislation.

CONTENTS:

- TLV table

- Philippine OHS standards

- Effects of hazards in the workplace

- Ergonomics

- ECC Regulations

CONDITIONS:

## The students/trainees must be provided with the following

- Hand outs on

- Philippine OHS standards

- Effects of hazards in the workplace

- Ergonomics

- ECC regulations

- TLV table

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive lecture

- Situation analysis

- Symposium

- Film viewing

- Group dynamics

ASSESSMENT METHODS:

- Interview

- Written examination

- Simulation

LO3.	CONTROL HAZARDS AND RISKS

ASSESSMENT CRITERIA:

- OHS procedures for controlling hazards and risk are strictly followed.

- Procedures in dealing with workplace accidents, fire and emergencies are followed in accordance with the organization’s OHS policies.

- Personal protective equipment (PPE) is correctly used in accordance with organization’s OHS procedures and practices.

- Procedures in providing appropriate assistance in the event of workplace emergencies are identified in line with the established organizational protocol.

CONTENTS

- Safety regulations

- Clean air act

- Electrical and fire safety code

- Waste management

- Disaster preparedness and management

- Contingency measures and procedures

CONDITIONS:

The students/trainees must be provided with the following:

- Hand outs on

- Safety regulations

- Clean air act

- Electrical and fire safety code

- Waste management

- Disaster preparedness and management

- Contingency measures and procedures

- OHS personal records

- PPE

- CD’s, VHS tapes, transparencies

METHODOLOGIES:

- Interactive lecture

- Symposium

- Film viewing

- Group dynamics

- Self-paced instruction

ASSESSMENT METHODS:

- Written examination

- Interview

LO4.	MAINTAIN OCCUPATIONAL HEALTH AND SAFETY AWARENESS

ASSESSMENT CRITERIA:

- Procedures in emergency related drill are strictly followed in line with the established organization guidelines and procedures.

- OHS personal records are filled up in accordance with workplace requirements.

- PPE are maintained in line with organization guidelines and procedures.

CONTENTS:

- Operational health and safety procedure, practices and regulations

- Emergency-related drills and training

CONDITIONS:

## The students/trainees must be provided with the following

- Workplace

- PPE

- OHS personal records

- CD’s, VHS tapes, transparencies

- Health record

METHODOLOGIES:

- Interactive lecture

- Simulation

- Symposium

- Film viewing

- Group dynamics

ASSESSMENT METHODS:

- Demonstration

- Interview

- Written examination

MODULES OF INSTRUCTION

COMMON COMPETENCIES

MASONRY NC II

UNIT OF COMPETENCY	:	PREPARE CONSTRUCTION MATERIALS AND TOOLS

MODULE TITLE	:	PREPARING CONSTRUCTION (HEAVY EQUIPMENT)   MATERIALS AND TOOLS

NOMINAL DURATION	:	4 hours

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on identifying, requesting and receiving construction materials and tools based on the required performance standards.

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Identify materials and tools applicable to a specific construction job.

LO2.	Request appropriate materials and tools.

LO3.	Receive and inspect materials.

LO1.	IDENTIFY MATERIALS AND TOOLS APPLICABLE TO A SPECIFIC JOB

ASSESSMENT CRITERIA:

- Tools and materials are identified as per job requirements

- Tools are classified according to its function as per job requirements.

- Materials are classified according to its uses to a specific construction project.

- Tools and materials are selected as per job requirement.

CONTENTS:

- Types and uses of construction materials and tools

- Description of materials and tools

- Listing of materials as per company standards.

CONDITIONS:

Students/trainees must be provided with the following:

- Workplace location

- Materials relevant to the unit of competency

- Materials and tools

- Materials and tools different brand names, size, capacity and kind of application.

- Handouts/Instructional Materials

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

- PowerPoint presentation

ASSESSMENT METHODS:

- Direct observation

- Written test/ questioning

LO 2. REQUEST APPROPRIATE MATERIALS AND TOOLS

ASSESSMENT CRITERIA:

- Needed materials and tools listed as per job requirement.

- Materials and tools are requested according to the list prepared.

- Requests are done as per company’s standard operating procedures (SOP)

- Materials and tools are substituted and provided unavailable without sacrificing cost and quality of work.

CONTENTS:

- Different forms

- Job order slip

- Tools and materials requisition slip

- Borrower’s slip

- Requisition procedures

CONDITIONS:

Students/trainees must be provided with the following:

- Sample of company standard in tools and materials requisition.

- Job order form

- Requisition slip

- Borrowers slip

- Handouts/Instructional materials

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO3.	RECEIVE AND INSPECT MATERIALS

ASSESSMENT CRITERIA:

- Received and inspected materials and tools as per quantity and specification based on requisition.

- Tools and materials are checked for damages and manufacturing defects.

- Materials and tools received are handled with appropriate safety devices.

- Materials and tools are set aside to appropriate location nearest to the workplace.

CONTENTS:

- Procedures in receiving tools and materials

- Proper inspection of tools and materials received.

- Proper handling of tools and materials.

CONDITIONS:

Students/trainees must be provided with the following:

- Sample of company standard in tools and materials in receiving materials.

- Inspection checklist

- Materials handling safety devices

- Inventory form handouts/instructional materials

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

UNIT OF COMPETENCY	:	PERFORM MENSURATIONS AND CALCULATIONS

MODULE TITLE	:	PERFORMING MENSURATIONS AND CALCULATIONS

NOMINAL DURATION	:	4 hours

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on identifying, and measuring objects based on the required performance standards.

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Carry out measurements and calculations.

LO2.	Select measuring instruments.

LO1.	CARRY OUT MEASUREMENTS AND CALCULATIONS

ASSESSMENT CRITERIA:

- Calculation needed to complete work tasks are performed using the four basic process of addition (+), subtraction (-), multiplication (x) and division (/) including but not limited to: trigonometric functions, algebraic computations.

- Calculations involving fractions, percentages and mixed numbers are used to complete workplace tasks

- Numerical computations are self-checked and corrected for accuracy.

- Accurate measurements are obtained according to job requirements.

- Identified and converted systems of measurement according to job requirements.

- Measured work pieces according to job requirements.

CONTENTS:

- Trade mathematics/mensuration

- Four fundamental operation

- Kinds of measurement

- Dimensions

- Ratio and proportion

- Trigonometric functions

- Algebraic equations

- Fractions, percentage and decimals

- Conversion

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace location

- Problems to solve

- Measuring instruments

- Instructional materials relevant to the propose activity.

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO2.	SELECT MEASURING INSTRUMENTS

ASSESSMENT CRITERIA

- Object or component to be measured are identified, classified and interpreted according to the appropriate regular geometric shape.

- Measuring tools are selected/identified as per object to be measured or job requirements

- Correct specifications are obtained from relevant sources.

- Measuring instruments are selected according to job requirements.

- Alternative measuring tools are used without sacrificing cost and quality of work.

- Measurements are obtained according to job requirements.

CONTENTS

- Visualizing objects and shapes specifically geometric shapes.

- Interpreting Formulas for volume, areas, and perimeters of plane and geometric figures.

- Measuring Instruments/Measuring Tools

- Proper handling of measuring instruments

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Problems to solve

- Measuring instruments

- Instructional materials relevant to the propose activity.

METHODOLOGIES:

- Actual demonstration

- Classroom discussions

ASSESSMENT METHODS:

- Actual demonstration

- Direct observation

- Written test/questioning

UNIT OF COMPETENCY	:	MAINTAIN TOOLS AND EQUIPMENT

MODULE TITLE	:	MAINTAINING TOOLS AND EQUIPMENT

NOMINAL DURATION	:	3 hours

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on checking condition, performing preventive maintenance and storing of tools and equipment based on the required performance standard.

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Check condition of tools and equipments.

LO2.	Perform basic preventive maintenance

LO3.	Store tools and equipment.

LO1.	CHECK CONDITIONS OF TOOLS AND EQUIPMENTS

ASSESSMENT CRITERIA:

- Tools and equipment are identified according to classification/specification and job requirements.

- Non-functional tools and equipment are segregated and labeled according to classification

- Safety of tools and equipment are observed in accordance with manufacturer’s instructions

- Conditions of PPE are checked in accordance with manufacturer’s instructions.

CONTENTS:

- Types of Tools and Equipments

- Classification of functional and non-functional tools

- Uses of Personal Protective Equipment (PPE).

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace location

- Tools and equipment related to the ff:

- Heavy equipment tools for repair

- Measuring instruments/equipments

- Instructional materials

- Handouts

- PowerPoint presentations

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO2.	PERFORM BASIC PREVENTIVE MAINTENANCE

ASSESSMENT CRITERIA:

- Lubricants are identified according to types of equipment.

- Tools and equipment are lubricated according to preventive maintenance schedule or manufacturer’s specifications.

- Measuring instruments are checked and calibrated in accordance with manufacturer’s instructions.

- Tools are cleaned and lubricated according to standard procedures

- Defective equipment and tools are inspected and replaced according to manufacturer’s specification.

- Work place is cleaned and kept in safe state in line with OSHC regulations.

CONTENTS:

- Types uses of lubricants

- Types and uses of cleaning materials/solvent

- Types and uses of measuring instruments and equipment.

- Preventive maintenance techniques and procedures.

- OSHC workplace regulations

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace location

- Kinds of manuals:

- Manufacturer's specification manual

- Repair manual

- Maintenance procedure manual

- Periodic maintenance manual

- Maintenance schedule forms

- Handouts/Instructional materials

- Maintenance materials, tools and equipment

- Lubricants

- Cleaning materials

- Rust remover

- Rugs

- Spare parts

- PPE

METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO3.	STORE TOOLS AND EQUIPMENT

ASSESSMENT CRITERIA:

- Inventory of tools, instruments, and equipment are conducted and recorded as per company practices.

- Tools are inspected, and replaced after use.

- Tools and equipment are stored safely in accordance with manufacturer’s specifications or company procedures.

CONTENTS:

- Inventory of tools and equipment

- Tools and equipment handling

- Tool safe-keeping/storage

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Handouts/instructional materials

- Workplace location/tool room

- Rack

- Tool box

- Forms

- Requisition slip

- Inventory form

- Inspection form

METHODOLOGIES:

- Demonstration

- Classroom discussions

ASSESSMENT METHODS:

- Practical examination

- Direct observation

- Written test/questioning

UNIT OF COMPETENCY	:	OBSERVE PROCEDURES, SPECIFICATIONS AND    MANUALS OF INSTRUCTIONS

MODULE TITLE	:	OBSERVE PROCEDURES, SPECIFICATIONS AND MANUALS OF INSTRUCTIONS

NOMINAL DURATION	:	3 hours

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on identifying, interpreting, applying services to specifications and manuals and storing manuals.

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Identify, access, and interpret specification/manuals.

LO2.	Apply information in manual.

LO3.	Store manuals.

LO1.	IDENTIFY, ACCESS, AND INTERPRET SPECIFICATION/MANUALS

ASSESSMENT CRITERIA:

- Manuals are identified and accessed as per job requirements.

- Version and date of manual are checked to ensure that correct specification and procedures are identified.

- Relevant sections, chapters of specifications/manuals are located in relation to the work to be conducted.

- Information and procedure in the manual are interpreted in accordance with industry practices.

CONTENTS:

- Types of manuals used in construction sector

- Different types of symbols.

- Accessing information and data.

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Manuals/catalogues relative to construction sector.

- Instructional materials

METHODOLOGIES:

- Classroom discussions/Lecture

- Self-paced

ASSESSMENT METHODS:

- Practical examination

- Written test/questioning

- Oral examination

LO2.	APPLY INFORMATION IN MANUAL

ASSESSMENT CRITERIA:

- Work steps are correctly identified in accordance with manufacturer’s specification.

- Manual data are applied according to the given task.

- Adjustments are interpreted in accordance with information contained on the manual or specifications.

CONTENTS:

- Manual/specification application.

- Interpreting specifications

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Manuals

- Workplace location

- Measuring instruments

- Instructional materials

METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

ASSESSMENT METHODS:

- Practical examination

- Oral examination

- Written test/questioning

LO3.	STORE MANUAL

ASSESSMENT CRITERIA:

- Manual or specification is stored appropriately to prevent damage, ready access and updating of information when required in accordance with company requirements.

CONTENTS:

- Manual handling

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion.

- Manuals

- Store rooms/library

- Instructional materials

METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

ASSESSMENT METHODS:

- Practical examination

- Direct observation

- Written test/questioning.

UNIT OF COMPETENCY	:	INTERPRET TECHNICAL DRAWINGS AND PLANS

MODULE TITLE	:	INTERPRETING TECHNICAL DRAWINGS AND PLANS

NOMINAL DURATION	:	4 hours

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on analyzing and interpreting symbols, data and work plan based on the required performance standard.

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Analyze signs, symbols and data.

LO2.	Interpret technical drawings and plans

LO1.	ANALYZE SIGNS, SYMBOLS AND DATA

ASSESSMENT CRITERIA:

- Sign, symbols, and data are identified according to job specifications.

- Sign, symbols and data are determined according to classification or as appropriate in drawing.

CONTENTS:

- Drawing symbols and signs

- Trade mathematics

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace location

- Measuring instruments

- Blueprints of plan

- Electrical

- Mechanical

- Instructional materials

METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

ASSESSMENT METHODS:

- Practical examination

- Direct observation

- Written test/questioning

LO2.	INTERPRET TECHNICAL DRAWINGS AND PLANS

ASSESSMENT CRITERIA:

- Necessary tools, materials and equipment are identified according to the plan.

- Components, assemblies or object are recognized as per job requirement.

- Dimensions and specification are identified according to job requirements.

CONTENTS:

- Basic technical drawing

- Technical plans and schematic diagram

- Symbols and abbreviations

CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace location

- Measuring instruments

- Blueprints of plan

- Electrical

- Mechanical

- Instructional materials

METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

ASSESSMENT METHODS:

- Practical examination

- Direct observation

- Written test/questioning

MODULES OF INSTRUCTION

CORE COMPETENCIES

MASONRY NC II

UNIT OF COMPETENCY	:	PREPARE MASONRY MATERIALS

MODULE TITLE	:	PREPARING MASONRY MATERIALS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes in hauling materials and mixing mortars/concrete.

NOMINAL DURATION	:	20 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/students should be able:

LO1.	Select materials, tools and equipment needed in hauling and mixing

LO2.	Haul materials;

LO3.	Mix mortar/concrete.

LO1.	SELECT MATERIALS, TOOLS AND EQUIPMENT NEEDED IN HAULING AND MIXING

ASSESSMENT CRITERIA:

- Quantity and quality of material to be hauled is determined according to the work instruction.

- Quantity and quality of materials to be used are placed in designated area.

- Quantity and quality of tools and equipment used in hauling are identified and selected according to work requirements.

- Quantity and type of materials and tools/equipment used in mixing are identified according to work requirements.

CONTENTS:

- Types of concrete blocks, bricks, cement and aggregates

- Types of mixture

- Types of masonry anchors, ties and reinforcements.

- Form works and platforms.

- Scaffoldings construction elements and materials.

- Properties of masonry materials

- Filling-up of forms

- Mixture and proportion

CONDITIONS:

Students/trainees must be provided with the following:

| - Aggregates - Form works - Blocks - Scaffoldings - Bricks - Masonry anchors - Cement - Tie wire - Reinforcements | - Manuals, codes and specifications of masonry materials - Water - Wheel barrow - Pail - Shovel - Measuring box - Sieve - Drum |
| --- | --- |

METHODOLOGIES:

- Demonstration

- Classroom discussions

ASSESSMENT METHODS:

- Practical examination

- Direct observation

- Written test/questioning

LO2.	HAUL MATERIALS

ASSESSMENT CRITERIA:

- Appropriate personal protective equipment (PPE) are used and demonstrated according to job requirements.

- Availability and serviceability of appropriate hauling equipment are checked and specified.

- Materials are hauled based on work schedule as specified.

- Required materials are stockpiled base on instruction

- Safe handling of materials, tools and equipment are observed.

- Instructions, safety signs and symbols are properly interpreted and followed.

- Quantity and type of materials are hauled and delivered timely.

CONTENTS:

- types and uses of hauling tools, equipment and PPE

- procedures in handling construction materials

- storage of construction materials

CONDITIONS:

Students/trainees must be provided with the following:

- Helmet, safety shoes, proper uniform, gloves, dust masks, safety glasses.

- Buggy, wheel barrow, pallet, pallet track, pail, measuring box, shovel/spade,

METHODOLOGIES:

- Demonstration

- Classroom discussions

ASSESSMENT METHODS:

- Practical examination

- Direct observation

- Written test/questioning

LO3.	MIX MORTAR/CONCRETE

ASSESSMENT CRITERIA:

- Mixing tools and equipment to be used are checked according to job requirements.

- Concrete or mortar mix and quantity are delivered according to the instruction.

- Concrete or mortar is mixed according to specified proportion and consistency / workability.

- Proper handling and use of mixing tools and equipment are observed.

CONTENTS:

- Mixing proportions of concrete/mortar.

- Uses and proper handling of mixing tools and equipment.

CONDITIONS: Students/trainees must be provided with the following:

- One bagger concrete mixer

- Mixing board

- Shovel/spade

- Pails

- Water storage/drum

- Fresh water

- Cement

- Aggregates(sand and gravel)

- Measuring box

METHODOLOGIES:

- Group discussion and demonstration

- Modular/ self paced

- Project based instruction

- OJT / DTS

ASSESSMENT METHODS:

- interview

- Practical demonstration

UNIT OF COMPETENCY	:	PERFORM BASIC MASONRY WORK

MODULE TITLE	:	PERFORMING BASIC MASONRY WORK

MODULE DESCRIPTOR	:	This module deals with knowledge, skills and attitudes in assisting masonry work (scaffolding, re-bars and formworks).

NOMINAL DURATION	:	36 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the trainees/students should be able to:

LO1.	Assist in re-bar fabrication and installation.

LO2.	Erect and dismantle scaffolding (1.8 m and below).

LO3.	Assist in fabrication, installation and stripping of formworks.

LO4.	Perform excavation and backfilling/compaction.

LO5.	Assist in concreting works.

LO6.	Perform housekeeping.

LO1.	ASSIST IN RE-BAR FABRICATION AND INSTALLATION

ASSESSMENT CRITERIA:

- Steel bars are identified, measured, cut and bent as required.

- Cut and bent steel bars are segregated according to steel types and sizes.

- Steel bars are fabricated as wall footing, stiffener, columns and lintel beams in accordance with the re-bar cutting and bending schedule.

- Mason II is assisted for installing fabricated steel bars.

- Ability to produce the required quantity and quality of steel bars are demonstrated.

CONTENTS:

- Classification  of masonry anchors, ties and reinforcements,

- Fabrication procedures of reinforcement bars

- Properties of metal

- Corrosion

- Composition of metals

- Thermal expansion of materials

- Basic operations

- Linear measurements

- Conversion of units

- Angles

- Fractions

- Decimals

- Following oral and written instructions

CONDITIONS: Students/ trainees must be provided with the following:

- Tie wire

- Reinforcement bars

- Bar cutter

- Hacksaw with blade

- Bender

- Tie twister

- Pull-push rule

METHODOLOGIES:

- Group discussion and demonstration

- Modular/ self paced

- Project based instruction

- OJT/ DTS

ASSESSMENT METHODS:

- interview

- Practical demonstration

LO2.	ERECT AND DISMANTLE SCAFFOLDINGS (1.8 M AND BELOW)

ASSESSMENT CRITERIA:

- Components of scaffolding are checked and verified based on job requirements.

- Scaffolding is erected in accordance with safety practices.

- Scaffolding is dismantled in accordance with safety practices.

- Components are inventoried and returned to stockpile area based on company rules and procedures.

- Ability in installing and dismantling the required scaffold based on standard safety practices is demonstrated.

- Rules on safe erection, use and dismantling of scaffolds (1.8 m and below) are properly followed.

- Ability to use PPE appropriately is demonstrated.

CONTENTS:

- Components of steel/wooden scaffoldings.

- Advantages and disadvantages of steel/wooden scaffoldings.

- Procedures in erecting and dismantling scaffoldings.

- Scaffolding safety practices

- Safekeeping of scaffoldings

- Characteristics of steel and lumber

- Equilibrium of forces

- Linear  measurements

- Mensuration

- Conversion of units

- Fractions

- Receiving and responding to workplace communication

- Preparing inventory reports

CONDITIONS: Students/trainees must be provided with the following:

- Steel scaffoldings with complete accessories

- Wooden scaffolding (lumber and nails)

- Claw hammer/claw bar

- Wrenches

- Personal protective equipment (PPE)

- Rope and pulley

METHODOLOGIES:

- Group discussion and demonstration

- Modular / self paced

- Project based instruction

- OJT / DTS

ASSESSMENT METHODS:

- Interview

- Practical demonstration

LO3.	ASSIST IN FABRICATION, INSTALLATION AND STRIPPING OF FORMWORKS

ASSESSMENT CRITERIA:

- Formwork materials are identified, measured, cut and fabricated as required.

- Cut materials are segregated according to size.

- Mason II is assisted in fabricating materials into forms or stiffener columns and lintel beams.

- Mason II is assisted in installing formworks.

- Formworks are stripped for future use.

- Ability to produce the required quality and quantity of fabricated formworks through correct cutting of formwork materials is demonstrated.

CONTENTS:

- Types, parts, shape and uses of formworks

- Proper stockpiling of formworks

- Formwork fabrication procedures

- Techniques in installing  formworks

- Procedures in stripping formworks

- Formworks preservation

- Properties of metal

- Corrosion

- Composition of metals

- Basic operations

- Linear  measurements

- Conversion of units

- Fractions and decimal

- Following oral and written instructions

CONDITIONS: Students/trainees must be provided with the following:

- Plywood

- Tie rod

- Wrenches

- Rough lumber

- Rope

- Nails

- Shoring

- Tie wire

- Scaffolding

- Claw bar

- Stakes

- Lubricants

- Claw hammer

- Steel forms

- Pulley

- Bolts and nuts

- PPE

METHODOLOGIES:

- Group discussion and demonstration

- Modular/ self paced

- Project based instruction

- OJT/ DTS

ASSESSMENT METHODS:

- Interview

- Practical demonstration

LO4.	PERFORM EXCAVATION AND BASIC FILLING/COMPACTION

ASSESSMENT CRITERIA:

- Excavation work is performed based on job specifications.

- Excavated portion is filled with gravel base coarse.

- Backfilling and compaction are performed after concreting of wall footing and blocks had been installed up to ground level.

- Ability to excavate according to the required width and depth is demonstrated.

CONTENTS:

- Procedures in excavating and backfilling

- Types of soil

- Excavation tools and their uses

- Types of filling materials

- Characteristics of soil

- Types and composition of soil

- Layers of soil

- Linear  measurements

- Mensuration

- Reading scales

- Receiving and responding to workplace communication

CONDITIONS: Students/trainees must be provided with the following:

- PPE

- Spade and shovel

- Digging bar

- Plumb bob

- Spirit level

- Framing square

- Pull-push rule

- Pail

- Compactor

- Wheelbarrow

METHODOLOGIES:

- Group discussion and demonstration

- Modular/ self paced

- Project based instruction

- OJT/ DTS

ASSESSMENT METHODS:

- Interview

- Practical demonstration

LO5.	ASSIST IN CONCRETING WORK

ASSESSMENT CRITERIA:

- Mason III is assisted in concreting wall footing, stiffener, columns and lintel beams based on line and grade.

- Consolidation of concrete by vibration is performed.

- Ability to produce concrete that conforms with the quality requirement is observed.

CONTENTS:

- Slump test requirements

- Concrete pouring procedure

- Curing of concrete and mortar

- Breaking strength

- Properties of concrete

- Thermal expansion of  materials

- Ratio and proportion

- Interpretation and conversion of units

- Verbal/non-verbal communication

CONDITIONS:  Students/trainees must be provided with the following:

- PPE

- Spade and shovel

- Pail

- Rope and pulley

- Wheelbarrow

- Slump cone

- Curing compound

- Sprayer

- Concrete vibrator

METHODOLOGIES:

- Group discussion and demonstration

- Modular/ self paced

- Project based instruction

- OJT/ DTS

ASSESSMENT METHODS:

- Interview

- Practical demonstration

LO6.	PERFORM HOUSEKEEPING

ASSESSMENT CRITERIA:

- Materials such as excess re-bars, scaffoldings and formworks are recovered and stockpiled according to company rules and procedures.

- Wastage and unnecessary reworks are avoided by providing protection on flooring during concrete hollow blocks/bricks laying and plastering.

- Wastage and unnecessary repair on flooring is avoided by using mixing board during manual mixing.

- Workplace is cleaned and cleared of any obstruction and hazards before, during and afterward.

- Tools, equipment and other materials are cleaned after use.

- 5‘S of Good Housekeeping (GHK) is performed and practiced.

CONTENTS:

- 5S of good housekeeping

- methods of proper waste disposal

- wastes and pollution

- basic four  fundamental operations

- filling-up forms

- reporting

CONDITIONS:  Students/ trainees must be provided with the following:

- Rake

- Dust pan

- Stock room

- Water

- Brooms

- Soap

- Rags

- Mop

- Trash can/waste box

- Lubricants

- Scraper

METHODOLOGIES:

- Group discussion and demonstration

- Modular/ self paced

- Project based instruction

- OJT/ DTS

ASSESSMENT METHODS

- interview

- Practical demonstration

UNIT OF COMPETENCY	: 	LAY BRICK/BLOCK FOR STRUCTURE

MODULE TITLE	:	LAYING BRICK/BLOCK FOR STRUCTURE

MODULE DESCRIPTOR	:	This unit covers the knowledge, skills and attitudes in laying brick/block for structure. It includes preparing materials, tools and equipment, establishing brick/block structure location and performing brick/block laying.

NOMINAL DURATION	: 	 60 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainees/students should be able to:

LO1.	Prepare for laying brick/block for structure;

LO2.	Lay-out/establish brick/block structure location;

LO3.	Perform laying brick/block for structure;

LO4.	Complete laying of brick/block for structure.

LO1.	PREPARE FOR LAYING BRICK/BLOCK FOR STRUCTURE

ASSESSMENT CRITERIA:

- Plans as per job requirement are read and interpreted.

- Materials, tools and equipment are selected and prepared consistent with job requirements.

- Materials are properly stored/stockpiled and freed from foreign matters.

CONTENTS:

- Classification of work plans

- Interpretation of work plans

- Brick/block laying tools and equipment

- Proper storing of materials

- Composition of bricks/block

- Characteristic of soils

- Effects of heat

- Basic operations

- Mensuration

- Ratio and proportion

- Preparing, reading and interpreting  work plans

CONDITIONS: Students/trainees must be provided with the following:

| - Concrete blocks Lumber - Bricks - Hand saw - Pen - Bar bender - Working plan - Bar cutter - Aggregates - Cements - Pail - Mixing board - Scaffolding | - Tie wire - Reinforcement bars - Wooden float - Water - Mortar box - Hammer - Measuring tools - Plumb bob - Nails - Spirit level/hose - Shovel - Nylon string - Pointed trowel |
| --- | --- |

METHODOLOGIES:

- Group discussion and demonstration

- Modular/ self paced

- Project based instruction

- OJT/ DTS

ASSESSMENT METHODS:

- Interview

- Practical demonstration

LO2.	LAY-OUT/ESTABLISH BRICK/BLOCK STRUCTURE LOCATION

ASSESSMENT CRITERIA:

- Reference building lines are correctly identified/ located as per job requirements.

- Location of brick/block structure based on reference building lines is established using batter board at ±3 mm tolerance for proper alignment, squareness and dimension.

- Lay-out of brick/block structure is correctly marked as per job requirements.

- Bricks and concrete block laid on the line at minimum allowance at 1/16 in (2 mm).

CONTENTS:

- Reference building lines

- Brick/block laying tolerances

- Proper housekeeping practices

- Basic structural bonds and Joints

- Classification of concrete masonry units

- Geographical orientation

- Topographical conditions

- Mensuration

- Basic operations

- Reading and interpreting graphs and conversion tables

- Receiving and responding to workplace communication

CONDITIONS:  Students/trainees must be provided with the following:

- Nylon string

- Measuring tools

- Claw hammer

- Concrete nails

- Plumb bob

- Scaffoldings

- Level hose

- Spirit level

- Batter board

- Guide post

- Common wire nail

METHODOLOGIES:

- Group discussion and demonstration

- Modular/ self paced

- Project based instruction

- OJT/ DTS

ASSESSMENT METHODS:

- Interview

- Practical demonstration

LO3.	PERFORM LAYING BRICK/BLOCK FOR STRUCTURE

ASSESSMENT CRITERIA:

- Appropriate PPE is selected and used in line with job requirements.

- Horizontal/vertical guide for brick/block is installed according to job specification.

- Reinforcing bar/dowel is installed according required to job specifications.

- Mortars are spread on the base/edge of brick/block mortar according to job specifications.

- Bricks/blocks are positioned/laid according to design/specifications/locations.

- Constant checking of plumbness is done during brick/block laying.

- Formworks are installed in accordance with building plan.

- Cast-in place concrete structures are constructed according to design and job specifications.

- Work site is cleaned and kept in safe state in line with OHS Regulations.

- Unexpected situations are responded accordingly.

CONTENTS:

- Selection and use of appropriate PPE.

- Procedures in installing horizontal/vertical guide for brick/block

- Reinforcement bars/dowel Sizes

- Brick/block laying procedures

- OHS regulations

- Geographical orientation

- Mensuration

- Basic operations

- Reading and interpreting graphs and tables

- Receiving and responding to workplace communication

CONDITIONS:  Students/trainees must be provided with the following:

| - Concrete blocks/bricks - Pointed trowel - Cement - Wooden float - Aggregates - Water - Pail | - Reinforcement bars - Mixing board - Tie wire - Shovel/spade - mortar box - Tie twister - Spirit level |
| --- | --- |

METHODOLOGIES:

- Modular

- Demonstration of practical skills

- Project-based instruction

- Dualized

ASSESSMENT METHODS:

- Observation and oral questioning

- Demonstration

- Project method

- Written test

LO4.	COMPLETE LAYING OF BRICK/BLOCK FOR STRUCTURE

ASSESSMENT CRITERIA:

- Final checks are made with the foreman to ensure that works conform with instructions and to requirements.

- Tools, equipment and any surplus resources and materials are checked in accordance with established procedures.

- Work area is maintained as to cleanliness and safety.

CONTENTS:

- Standard operating procedures

- Proper housekeeping practices

- Recycling

- Basic operations

CONDITIONS:

Students/trainees must be provided with the following:

- Report forms

- Checklist of tools and materials

METHODOLOGIES:

- Modular

- Demonstration of practical skills

- Small group discussion

- Project-based instruction

- Dualized

ASSESSMENT METHODS:

- Observation and oral questioning

- Demonstration

- Project method

- Written test

UNIT OF COMPETENCY	:	PLASTER CONCRETE/MASONRY SURFACE

MODULE TITLE	:	PLASTERING CONCRETE/MASONRY SURFACE

MODULE DESCRIPTOR	: 	This unit of competency covers the knowledge, skills and attitudes in plastering concrete/masonry surface.  It includes interpreting plans, preparing materials, tools, and equipment and performing plastering work.

NOMINAL DURATION	:	60 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainees/students should be able to:

LO1.	Prepare concrete/masonry surfaces for plastering;

LO2.	Prepare for plastering concrete/masonry surface;

LO3.	Perform plastering work;

LO4.	Complete plastering work.

LO1.	PREPARE CONCRETE/MASONRY SURFACES FOR PLASTERING

ASSESSMENT CRITERIA:

- Materials, tools and equipment are selected and prepared in line with job requirements.

- Wall surface preparation is performed according to established plastering procedures.

CONTENTS:

- Preparation and selection of materials, tools and equipment

- Preparation of wall surface for plastering

- Composition and properties of concrete/masonry materials

- Climatic conditions

- Basic operations

- Mensuration

- Conversion of units

- Receiving and responding to workplace communication

CONDITIONS:

Students/trainees must be provided with the following:

- Steel brush

- Claw hammer

- Concrete nails

- Water

- Scaffolding

- Chipping hammer/cold chisel

- Broom

METHODOLOGIES:

- Modular

- Demonstration of practical skills

- Small group discussion

- Project-based instruction

- Dualized

ASSESSMENT METHODS:

- Observation and oral questioning

- Demonstration

- Project method

- Written test

LO2.	PREPARE FOR PLASTERING CONCRETE/MASONRY SURFACE

ASSESSMENT CRITERIA:

- Plans and details are interpreted as per job requirements.

- Materials, tools, equipment are selected and prepared in line with job requirements.

- Materials are properly stored/ stockpiled at designated workplace and must be free from any foreign matters.

- Ability to produce correct proportion of plastering materials according to job requirements is demonstrated.

CONTENTS:

- Interpretation of plans and details

- Selection and preparation of materials and tools for plastering

- Mixing proportion of plaster mortar

- Proper storing of materials

- Texture of concrete and masonry surfaces

- Interpretation of plans and details

- Mensuration

- Receiving and responding to workplace communication

CONDITIONS:

Students/trainees must be provided with the following:

| - Plan/blue print - Cement - Fine aggregates - Water - Pointed trowel - Shovel/spade - Mixing board | - Wooden float - Nylon string - Scaffolding - Concrete nails - Steel float - Foam/paint brush |
| --- | --- |

METHODOLOGIES:

- Modular

- Demonstration of practical skills

- Small group discussion

- Project-based instruction

- Dualized

ASSESSMENT METHODS:

- Observation and oral questioning

- Demonstration

- Project method

- Written test

LO3.	PERFORM PLASTERING WORK

ASSESSMENT CRIETRIA:

- Limits of plastering are determined to establish required thickness, plumbness, squareness, levelness and alignment of structure.

- Plastering wall is performed according to job requirements.

- Distribution of mortar/coating is applied on the wall surface evenly.

- Approved PPE is selected and used in line with job requirements.

- Work site is cleaned and kept in safe state in accordance with OHS Regulations.

- Ability to produce quality plastering work is demonstrated.

CONTENTS:

- Procedures of plastering

- Plastering techniques

- OHS regulations

- Climatic conditions

- Health hazards

- Recycling

- Waste and pollution

- Linear measurements

- Mensuration

- Receiving and responding to workplace communication

CONDITIONS:  Students/trainees must be provided with the following:

| - Trowel - Spirit level - Wooden float - Plumb bob - Water - Concrete nails - Shovel/spade | - Claw hammer - Nylon string - Mixing board - Scaffolding - Foam/paint brush - Mortar |
| --- | --- |

METHODOLOGIES:

- Modular

- Demonstration of practical skills

- Small group discussion

- Project-based instruction

- Dualized

ASSESSMENT METHODS:

- Observation and oral questioning

- Demonstration

- Project method

- Written test

LO4.	COMPLETE PLASTERING WORK

ASSESSMENT CRITERIA:

- Plastering concrete masonry surface is completed according to job specification.

- Immediate superior is informed upon completion of work for final checking.

- Tools, equipment and any surplus resources and materials are checked and monitored in accordance with established procedures.

- Work area is maintained of its cleanliness and safety.

CONTENTS:

- Standard operating procedures

- Proper housekeeping practices

- Masonry materials preservation

- Recycling

- Basic calculations

- Mensurations

- Filling-up forms

- Reporting

CONDITIONS:

Students/trainees must be provided with the following:

- Report forms

- Checklist of tools and materials

METHODOLOGIES:

- Small group discussion

- Demonstration

- Dualized training

- Modular

ASSESSMENT METHODS:

- Practical demonstration of skills

- Written test

- Portfolio assessment

- Interview

UNIT OF COMPETENCY	:	INSTALL PRE-CAST BALUSTERS AND HANDRAIL

MODULE TITLE	:	INSTALLING PRE-CAST BALUSTERS AND HANDRAILS

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes in installing pre-cast balusters and handrails.

NOMINAL DURATION	:	40 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainees/students should be able to:

LO1.	Prepare for installing pre-cast balusters and handrails;

LO2.	Perform pre-cast balusters and handrails installation;

LO3.	Complete installation of pre-cast balusters and handrails.

LO1.	PREPARE FOR INSTALLING PRE-CAST BALUSTERS AND HANDRAILS

ASSESSMENT CRITERIA:

- Plans and details are interpreted as per job requirement.

- Materials, tools and equipment are prepared and selected consistent with job requirements.

- Materials are properly stored/ stockpiled at designated work place and must be free from foreign matters.

- Location of pre-cast balusters is established in accordance with job requirements.

CONTENTS:

- Interpretation Of Plans And Details

- Preparing And Selecting Materials Tools And Equipment

- Proper Storing Of Materials

- Mixing Proportion Of Materials

- Phases Of Matter

- Interpretation Of Plans And Details

- Linear  Measurements

- Basic Operations

- Receiving And Responding To Workplace Communication

CONDITIONS:  Students/trainees must be provided with the following:

| - Plans/blueprints - Water - Cement - Foam - Balusters/Handrails - Pencil - Fine aggregates - Pull-push rule | - Cold chisel - Nylon string - Plumb bob - Pail - Spirit level - Mixing box - Pointed trowel - Wooden float |
| --- | --- |

METHODOLOGIES:

- Modular

- Demonstration of practical skills

- Small group discussion

- Project-based instruction

- Dualized

ASSESSMENT METHODS:

- Observation and oral questioning

- Demonstration

- Project method

- Written test

LO2.	PERFORM PRE-CAST BALUSTER AND HANDRAIL INSTALLATION

ASSESSMENT CRITERIA:

- Pre-cast baluster and handrail is laid out and marked in accordance with job requirements.

- Pre-cast baluster and handrail are aligned and secured according to job requirements.

- Mortar is applied to pre-cast baluster and handrail according to job requirements.

- Appropriate PPE is selected and used in line with job requirements.

- Worksite is cleaned and kept in safe state in line with OHS Regulations.

- Ability to produce installation works is demonstrated.

- Erected scaffoldings (if needed) in accordance with OHS Regulations.

CONTENTS:

- Lay-outing/marking distance of balusters

- Checking alignment of balusters

- Mortar application

- PPE

- OHS regulations

- Geographical conditions

- Climatic conditions

- Force, power and energy

- Conversion of units

- Linear/angular measurements

- Receiving and responding to workplace communication

CONDITIONS: Students/trainees must be provided with the following:

| - Balusters/handrails - Concrete nails - Tie wire - Shovel/spade - Nylon string - Wooden float - Cement - Framing square - Fine aggregates | - Foam - Water - Pail - Pointed trowel - Mixing box - Plumb bob - Spirit level - Claw hammer - Cold Chisel |
| --- | --- |

METHODOLOGIES:

- Modular

- Demonstration of practical skills

- Small group discussion

- Project-based instruction

- Dualized

ASSESSMENT METHODS:

- Observation and oral questioning

- Demonstration

- Project method

- Written test

LO3.	COMPLETE INSTALLATION OF PRE-CAST BALUSTER AND HANDRAIL

ASSESSMENT CRITERIA:

- Final checks are made to ensure that works conform with instructions and job requirements.

- Immediate supervisor is informed upon the completion of work.

- Tools, equipment and any surplus resources and materials are checked and monitored in accordance with established procedures.

- Work area is maintained of its cleanliness and safety.

CONTENTS:

- Standard operating procedures

- Proper housekeeping practices

- Masonry materials preservation

- Recycling

- Basic calculations

- Mensurations

- Filling-up forms

- Reporting

CONDITIONS:

Students/trainees must be provided with the following:

- Report forms

- Checklist of tools and materials

METHODOLOGIES:

- Small group discussion

- Demonstration

- Dualized training

- Modular

ASSESSMENT METHODS:

- Practical demonstration of skills

- Written test

- Portfolio assessment

- Interview

# What is Competency-Based Curriculum (CBC)

- A competency-based curriculum is a framework or guide for the subsequent detailed development of competencies, associated methodologies, training and assessment resources.

- The CBC specifies the outcomes which are consistent with the requirements of the workplace as agreed through the industry or community consultations.

- CBC can be developed immediately when competency standards exist.

- When competency standards do not exist, curriculum developers need to clearly define the learning outcomes to be attained. The standard of performance required must be appropriate to industry and occupational needs through the industry/enterprise or specified client group consultations.

These materials are available in both printed and electronic copies.

For more information please contact:

Technical Education and Skills Development Authority (TESDA)

Telephone Nos.: 893-8281, 817-4076 to 82 loc. 613 to 614, 625 and 626 or visit our website: www.tesda.gov.ph or the TESDA Regional or Provincial Office nearest you.