| - COMPETENCY-BASED CURRICULUM |  |
| --- | --- |

| Sector: ###### CONSTRUCTION |  |
| --- | --- |
| Qualification: PV SYSTEM DESIGN NC III |  |
|  | Technical Education and Skills Development Authority East Service Road, South Superhighway, Taguig City, Metro Manila |

# TABLE OF CONTENTS

Page

A.	COURSE DESIGN	1-4

B.	MODULES OF INSTRUCTION	7-65

- Basic Competencies	5

  - Leading workplace communication	6-9

  - Leading small teams	10-14

  - Developing and practicing negotiation skills	15-17

  - Identifying / determining fundamental cause of problem	18-21

  - Using mathematical concepts and techniques	22-25

  - Using relevant technologies	26-29

- Common Competencies	30

  - Preparing construction materials and tools	31-34

  - Performing mensurations and calculations	35-37

  - Maintaining tools and equipment	38-42

  - Observing procedures, specifications and manuals of instructions	43-46

  - Interpreting technical drawings and plans	47-49

- CoRE Competencies	50

  - Determining customer requirements	51-53

  - Calculating system components requirements	54-59

  - Specifying components in bill of materials 	60-62

  - Preparing installation drawing	63-65

# COURSE DESIGN

# COURSE TITLE	:	PV SYSTEM DESIGN NC III

NOMINAL DURATION	:	148 Hours

COURSE DESCRIPTION	:

The course is designed to enhance the knowledge, skills and desirable attitudes of a PV System Design Technician in accordance with industry standards.  It covers core competencies such as: Determine customer requirement; Calculate PV system components (system sizing) of small solar home systems up to 1kWp. It also include competency to prepare and specify components in Bill of Materials and prepare Installation drawing.

Basic competencies such as: Lead workplace communication; Lead small teams; Develop and practice negotiation skills; Solve problems related to work activities; Use mathematical concepts and techniques and Use relevant technologies are included.

It also include common competencies such as; Prepare construction materials and tools; Perform mensuration and calculation; Maintain tools and equipment; Observe procedures, specifications and manuals of instructions and Interpret technical drawings and plans.

ENTRY REQUIREMENTS:

An individual who wishes to undergo this course must possess the following:

- Have undergone training on PV Installation National Certificate Level II

- With good moral character

- Can communicate both oral and written

- At least 18 yrs old

COURSE STRUCTURE:

# BASIC COMPETENCIES

(20 hours)

| # Units of Competency | # Module Title | # Learning Outcomes | # Nominal Duration |
| --- | --- | --- | --- |
| # Lead workplace communication | # Leading workplace communication | - Communicate information about workplace processes - Lead workplace discussions - Identify and communicate issues arising in the workplace | # 3 hours |
| # Lead small team | # 2.1 Leading small team | - Provide team leadership. - Assign responsibilities among members. - Set performance expectation for team members - Supervise team performance | # 3 hours |
| # Develop and practice negotiation skills | # 3.1 Developing and practicing negotiation skills | - Identify relevant information in planning negotiations - Participate in negotiations - Document areas for agreement | # 3 hours |
| - Solve problem related to work activities | # 4.1 Identifying/ determining fundamental cause of problem | - Explain the analytical techniques. - Identify the problem. - Determine the possible cause/s of the problem. | # 4 hours |
| - Use mathematical concepts and techniques | # 5.1 Using mathematical concepts and techniques | - Identify mathematical tools and techniques to solve problem - Apply mathematical procedures/solution - Analyze results | # 4 hours |
| - Use relevant technologies | # 6.1 Using relevant technologies | - Study / select appropriate technology - Apply relevant technology - Maintain/enhance relevant technology | # 3 hours |

# COMMON COMPETENCIES

(72 hours)

| # Units of Competency | # Module Title | # Learning Outcomes | # Nominal Duration |
| --- | --- | --- | --- |
| 1. Prepare construction materials and tools | 1.1 Preparing construction materials and tools. | - Identify materials and tools applicable to a specific construction job - Request appropriate materials and tools - Receive and inspect materials. | 12 hours |
| 2. Perform mensuration and calculation | 2.1 Performing mensuration and calculations | - Carry out measurements and calculations. - Select measuring instruments. | 24 hours |
| 3. Maintain tools and equipment. | 3.1 Maintaining tools and equipment. | - Check condition of tools and equipments. - Perform basic preventive maintenance - Store tools and equipment | 12 hours |
| 4. Observe procedures, specifications and manuals of instructions | 4.1 Observing procedures, specifications, and manuals of instructions. | - Identify, access, and interpret specification/ manuals. - Apply information in manual. - Store manuals. | 8 hours |
| 5. Interpret technical drawings and plans | 5.1 Interpret technical drawings and plans | - Analyze signs, symbols, and data. - Interpret technical drawings and plans | 16 hours |

# CORE COMPETENCIES

(56 hours)

| # Units of Competency | # Module Title | Learning Outcomes | Nominal Duration |
| --- | --- | --- | --- |
| # Determine customer requirements | # 1.1 Determining customer requirements | - Assess current and future electrical needs of customer and site characteristics - Recommend options | 12 hours |
| # Calculate system components requirements (system sizing) | # 2.1 Calculating components requirements (system sizing) | - Calculate energy demand - Determine battery capacity - Calculate array size - Determine peak AC load and inverter size - Calculate the minimum power specification (size) of the controller | 28 hours |
| # Specify components in bill of materials | # 3.1 Specifying components in bill of materials | - Select components - Prepare bill of materials | 6 hours |
| # Prepare installation drawing | # 4.1 Preparing installation drawing | - Prepare electrical diagram - Prepare mechanical drawing | 10 hours |

ASSESSMENT METHODS:

- Written test

- Practical/performance test

- Interview/oral questioning

- Demonstration

COURSE DELIVERY:

- Lecture/discussion

- Multimedia presentation

- Self-pace learning

- Group discussion

RESOURCES:

- Learning Materials

- Data gathering forms

- Electrical measuring instruments

- Modules

- Calculator

- References

- Books

- Company manuals

QUALIFICATON OF INSTRUCTORS/TRAINERS

- Must be a holder of PV Installation NC II

- Must have undergone Training Methodology (TM II)

- Must be computer literate

- Must be physically and mentally fit

- Must have at least 2 years job/ industry experience (optional to the hiring institution)

MODULES OF INSTRUCTION

BASIC COMPETENCIES

PV SYSTEM DESIGN NC III

UNIT OF COMPETENCY	:	LEAD WORKPLACE COMUNICATION

MODULE TITLE	:	LEADING WORKPLACE COMMUNICATION

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes required to prepare different reports required in the workplace.

NOMINAL DURATION	:     3 hours

QUALIFICATION LEVEL	:	NC III

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Communicate information about workplace processes.

LO2.	Lead workplace discussions.

LO3.	Identify and communicate issues arising in the workplace.

LO1. COMMUNICATE INFORMATION ABOUT WORKPLACE PROCESSES

# ASSESSMENT CRITERIA:

- Appropriate communication method is selected.

- Multiple operations involving several topic areas are communicated.

- Question are used to gain extra information.

- Correct sources of information are identified.

- Information is selected and sequenced correctly when required.

- Verbal and written reporting are maintained in both familiar and unfamiliar situations.

CONTENTS:

- Method of communication

- Communication skills

- Communication tools

- Questioning techniques

CONDITIONS:	The students/trainees must be provided with the following:

- Simulated workplace environment

- Communication tools

- Variety of information’s

METHODOLOGIES:

- Discussion

- Role play

- Brainstorming

ASSESSMENT METHODS:

- Direct observation

- Interview

LO2.	LEAD WORKPLACE DISCUSSIONS

# ASSESSMENT CRITERIA:

- Response to workplace issues is sought.

- Response to workplace issues are provided when sought.

- Constructive contributions are made to workplace discussion on such issues as production, quality and safety.

- Goals and aims of actions under taken in the workplace are communicated.

CONTENTS:

- Method/techniques  of discussion

- How to lead discussion

- How to solicit response

CONDITIONS:	The students/trainees must be provided with the following:

- Simulated workplace environment

- Communication tools

- Variety of information’s

METHODOLOGIES:

- Discussion

- Role play

- Brainstorming

ASSESSMENT METHODS:

- Direct observation

- Interview

LO3.	IDENTIFY AND COMMUNICATE ISSUES ARISING IN THE WORKPLACE

# ASSESSMENT CRITERIA:

- Issues and problems are identified as they arise.

- Information regarding problems and issues are organized coherently to ensure clear and effective communication.

- Dialog is initiated with appropriate personnel.

- Communication problems and issues are addressed as they arises.

CONTENTS:

- Identify problems and issues

- Organizing information on  problem and issues

- Relating problems and issues

- Communication barriers affecting workplace discussions.

CONDITIONS:	The students/trainees must be provided with the following:

- Simulated workplace environment

- Communication tools

- Variety of information’s

METHODOLOGIES:

- Discussion

- Role play

- Brainstorming

ASSESSMENT METHODS:

- Direct observation

- Interview

CORE COMPETENCY	:	TEAM WORK

UNIT OF COMPETENCY	:	LEAD SMALL TEAM

MODULE TITLE	:	LEADING SMALL TEAM

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes   required to lead small team including setting and maintaining team and individual performance standard.

NOMINAL DURATION	:	3 hours

QUALIFICATION LEVEL	:	NC III

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Provide team leadership.

LO2.	Assign responsibilities among members.

LO3.	Set performance expectation for team members.

LO4.	Supervise team performance.

LO1.	PROVIDE TEAM LEADERSHIP

# ASSESSMENT CRITERIA:

- Work requirements are identified and prescribed to members.

- Reasons for instructions and requirements are properly disseminated to team members.

- Team members questions, problems, concerns are recognized, discussed and dealt accordingly.

CONTENTS:

- Communication skills required for leading small team

- Skills and techniques in promoting  team building

- Negotiating skills

- Up to date dissemination of instruction and requirements to members.

- Art of listening and treating individual team members concern

CONDITIONS:	The students/trainees must be provided with the following:

- Learning materials

- team building manual

- catalogs

- brochures

- Simulated team

METHODOLOGIES:

- Traditional / lecture

- Demonstration

- Case studies

ASSESSMENT METHODS:

- Written examination

- Direct observation

LO2.  ASSIGN RESPONSIBILITIES AMONG MEMBERS

ASSESSMENT CRITERIA:

- Duties and responsibilities are allocated in respect to the skills, knowledge and attitudes of every team member.

- Duties are allocated having regard to individual preference, domestic and personal considerations.

- Duties and responsibilities of each member are properly identified and defined.

CONTENTS:

- Duties and responsibilities of each team member

- Skills in identifying individual skills ,knowledge  and attitude as basis for allocating responsibilities

- Knowledge in identifying each team member duties and responsibilities

CONDITIONS:	The students/trainees must be provided with the following:

- Learning materials

- relevant legal requirements

- manuals

METHODOLOGIES:

- Traditional/lecture

- Demonstration

ASSESSMENT METHODS:

- Written examination

- Direct observation

LO3. 	SET PERFORMANCE EXPECTATION FOR TEAM MEMBERS

# ASSESSMENT CRITERIA:

- Performance expectations are established based on client needs and according to assigned requirements.

- Performance expectations are based on individual team member’s duties and responsibilities.

- Performance expectations are discussed and disseminated to individual team member.

CONTENTS:

- Knowledge and skills in setting individual performance target/expectation

- Team members duties  and responsibilities

- Employee policies and procedures

- Defining performance expectations criteria

CONDITIONS:	The students/trainees must be provided with the following:

- Performance expectation worksheet

- Relevant legal requirements

METHODOLOGIES:

- Traditional /lecture

- Demonstration

- Case studies

ASSESSMENT METHODS:

- Written examination

- Direct observation

LO4.  SUPERVISE TEAM PERFORMANCE

# ASSESSMENT CRITERIA:

- Monitor team member’s performance in respect to the defined performance criteria.

- Provide team members with feedback, positive support  and advice on strategies to overcome any difficulties.

- Inform team members of any changes in the priority allocated  to assignment or task.

- Provide communication follow-up on all issues affecting the team.

CONTENTS:

- Knowledge and skills in monitoring team member performance

- Monitoring team operation to ensure client needs  and satisfaction

- Methods of monitoring performance

- Informal/formal counseling skills

CONDITIONS:	The students/trainees must be provided with the following:

- Performance expectation worksheet

- Relevant legal requirements

METHODOLOGIES:

- Traditional /lecture

- Demonstration

- Modular

ASSESSMENT METHODS:

- Written examination

- Direct observation

UNIT OF COMPETENCY	:	DEVELOP AND PRACTICE NEGOTIATION SKILLS

MODULE TITLE	:	Developing and Practicing Negotiation Skills

MODULE DESCRIPTOR	: 	This module covers the skills, knowledge and attitudes required to collect information in order to plan and participate in the negotiation.

NOMINAL DURATION	:    3 hours

QUALIFICATION LEVEL	:	NC III

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/ trainees will be able to:

# LO 1.	  Plan negotiations

LO 2.	  Participate in negotiations

# LO1.	Plan Negotiations

ASSESSMENT CRITERIA:

- Information in preparation  for negotiation is identified and included in the plan

- Information on creating non verbal environments for positive negotiations is identified and included in the plan

- Information on different questioning techniques is identified and included in the plan

CONTENTS:

- Background information on other parties to the negotiation

- Observing differences between content and process

- Identifying bargaining information

- Applying strategies to manage process

- Applying steps in negotiating process

- Strategies to manage conflict

- Steps in negotiating process

CONDITIONS:

The students/ trainees must be provided with the following:

- Pertinent documents

- Simulated workplace

- Prepared  recipes

- Paper and pencil

- Calculator

- Hands out

METHODOLOGIES:

- Lecturette

- Role playing

- practical exercises

ASSESSMENT METHODS:

- Written test/ questioning

- Demonstration

LO2.	Participate in Negotiations

ASSESSMENT CRITERIA:

- Criteria for successful outcome are agreed upon by all parties

- Desired outcome of all parties are considered

- Appropriate language is used throughout the negotiation

- The issues and processes are documented and agreed upon by all parties

- Possible solutions are discussed and their viability assessed

- Areas for agreement are confirmed and recorded

- Follow-up action is agreed upon by all parties

CONTENTS:

- Decision making and conflict resolution strategies procedures

- Problem solving strategies on how to deal with unexpected questions and attitudes during negotiation

- Background information on other parties to the negotiation

- Observing differences between content and process

CONDITIONS:

The students/ trainees must be provided with the following:

- Pertinent documents

- Simulated workplace

- Prepared  recipes

- Paper and pencil

- Calculator

- Hands out

METHODOLOGIES:

- Lecturette

- Role playing

- practical exercises

ASSESSMENT METHODS:

- Written test/ questioning

- Demonstration

UNIT OF COMPETENCY	:	SOLVE WORKPLACE PROBLEM RELATED TO WORK ACTIVITIES

MODULE TITLE	:	IDENTIFYING / DETERMINING FUNDAMENTAL CAUSE OF PROBLEM

MODULE DESCRIPTOR	: 	This module expresses the competency required to apply problem solving techniques to identify/determine fundamental cause problem.

NOMINAL DURATION	:	4 hours

QUALIFICATION LEVEL	:	NC III

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Explain the analytical techniques.

LO2.	Identify the problem.

LO3.	Determine the possible cause /s of the problem.

LO1.	EXPLAIN THE ANALYTICAL TECHNIQUES

ASSESSMENT CRITERIA:

- Importance and application of analytical techniques are explained.

- Analytical techniques such as brainstorming, cause and effects diagrams, PARETO analysis, SWOT analysis, GANT chart, PERT CPM & graphs, and scatter grams are defined.

CONTENTS:

- Observation, investigation & analytical techniques

- Brainstorming

- Cause and effect diagrams

- PARETO analysis

- SWOT analysis

- GANT chart

- PERT CPM & graph

- SCATTERGRAMS

CONDITIONS:	The students/trainees must be provided with the following:

- Courseware’s

- Learning materials/guides

- Computer

- OHP

METHODOLOGIES:

- Direct observation

- Simulation /role playing

- Case studies

ASSESSMENT METHODS:

- Written

- Practical/performance test

LO2.	IDENTIFY THE PROBLEM

ASSESSMENT CRITERIA:

- Variances are identified from normal operating parameters and product quality.

- Extent, cause, and nature of the problem are defined based on observation, investigation and analytical techniques.

- Problems are clearly stated and specified.

CONTENTS:

- Normal operating parameters & product quality

- Identifying & clarifying the nature of problem

- Application of analytical techniques

CONDITIONS:	The students/trainees must be provided with the following:

- Courseware

- Learning materials/guides

- Computer

- OHP

METHODOLOGIES:

- Direct observation

- Simulation /role playing

- Case studies

ASSESSMENT METHODS:

- Written

- Practical/performance test

LO3.	DETERMINE THE POSSIBLE CAUSE/S OF THE PROBLEM

ASSESSMENT CRITERIA:

- Possible cause/s of problem are identified based on experience & the use of problem solving tools/analytical techniques.

- Possible cause statements are developed.

- Fundamental causes are explained.

CONTENTS:

- Non-routine process and quality problems

- Teamwork and work allocation problem

- Safety and emergency situations and incidents

CONDITIONS:	The students/trainees must be provided with the following:

- Courseware

- Learning materials/guides

- Computer

- OHP

METHODOLOGIES:

- Direct observation

- Simulation /role playing

- Case studies

ASSESSMENT METHODS:

- Written

- Practical/performance test

UNIT OF COMPETENCY	:	USE MATHEMATICAL CONCEPTS AND TECHNIQUES

MODULE TITLE	:	USING MATHEMATICAL CONCEPTS AND TECHNIQUES

MODULE DESCRIPTOR	:     This module covers the knowledge, skills and attitudes required in the application of mathematical   concepts and techniques.

NOMINAL DURATION	:	4 hours

QUALIFICATION  LEVEL	:	NC III

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the learner/students must be able to:

LO1.	Identify mathematical tools and techniques to solve problems.

LO2.	Apply mathematical procedure/solution.

LO3. 	Analyze results.

LO1.	Identify mathematical tools and techniques to solve problems

ASSESSMENT CRITERIA:

- Problem areas based on given condition are identified.

- Mathematical techniques based on the given problem are selected.

CONTENTS:

- Four Fundamental Operations

- Steps in solving a problem

- Standard formulas

- Conversion

- Measurement

CONDITION:  The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Problem set

- Conversion table

- Table of formulas

- Measuring tools

METHODOLOGIES:

- Lecturette

- Self-pace

- Group discussion

ASSESSMENT METHODS:

- Written

- Demonstration

LO2.	Apply mathematical procedure/solution

# ASSESSMENT CRITERIA:

- Mathematical techniques based on the problem identified are applied.

- Mathematical computations are performed to the level of accuracy required for the problem.

- Results of mathematical computation based on job requirements is determined and verified.

# CONTENTS:

- Problem-based questions

- Estimation

- Use of mathematical tools and standard formulas

- Mathematical techniques

# CONDITION:   The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Calculator

- Measuring tools/devices

- Case problems

# METHODOLOGIES:

- Lecturette

- Self-pace

- Group discussion

- Practical Work Approach

# ASSESSMENT METHODS:

- Written

- Oral Interview

LO3.	ANALYZE RESULTS

# ASSESSMENT CRITERIA:

  - Results of application based on expected and required specifications and outcome is reviewed.

  - Appropriate action in case of error is applied.

# CONTENTS:

- Four Fundamental Operations

- Steps in solving a problem

- Standard formulas

- Conversion

- Measurement

# CONDITION:	 The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Problem set

- Conversion table

- Table of formulas

- Measuring tools

# METHODOLOGIES:

- Lecturette

- Self-pace

- Group discussion

- Research study

# ASSESSMENT METHODS:

- Written

- Oral

##### UNIT OF COMPETENCY	:	USE RELEVANT TECHNOLOGIES

##### MODULE TITLE                 :	USING RELEVANT TECHNOLOGIES

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes required in selecting, sourcing and applying appropriate and affordable technologies in the workplace.

NOMINAL DURATION	:	3 hours

QUALIFICATION  LEVEL	:	NC III

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the learner/students must be able to:

LO1.	Study/ select appropriate technology

LO2.	Apply relevant technology.

LO3. 	Maintain / enhance relevant technology

LO1.	Study/ select appropriate technology

# ASSESSMENT CRITERIA:

- Appropriate technology is studied based on work requirements.

- Appropriate technology are identified and selected based on work requirements.

# CONTENTS:

- Machineries/ equipment and their application

- Software/ programs

# CONDITION:  The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Multimedia

- Video tape

- Brochures

- CD’s

- Internet access

- Computer

# METHODOLOGIES:

- Lecturette

- Self-pace

- Group discussion

- Film showing

# ASSESSMENT METHODS:

- Written

- Interview

LO2.	Apply relevant technology

# ASSESSMENT CRITERIA:

1.	Relevant technology is used in carrying out function based on work requirements.

2.	Applicable software and hardware is used as per job requirement.

3. 	Management concept are observed as per established industry practices.

# CONTENTS:

- Office technology

- Industrial technology

- System technology

- Information technology

- Training technology

- Different software / Hardware

- 5S (Proper House Keeping)

# CONDITION:   The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Multimedia

- Video tape

- Brochures

- CD’s

- Internet access

- Computer

# METHODOLOGIES:

- Lecturette

- Self-pace

- Group discussion

- Film showing

# ASSESSMENT METHODS:

- Written

- Interview

LO3.	MAINTAIN / ENHANCE RELEVANT TECHNOLOGY

# ASSESSMENT CRITERIA:

- Maintenance of technology is applied in accordance with the industry standard operating procedure, manufacturer’s operating guidelines and occupational health and safety procedure

- Updating of technology is maintained through continuing education or training in accordance with job requirement.

- Appropriate action for technology failure/ defect is immediately reported to the concerned/ responsible person or section.

# CONTENTS:

- Corrective and preventive maintenance

- Upgrading of technology

- Communication Skills

- Organizational set – up / work flow

# CONDITION:   The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Multimedia

- Video tape

- Brochures

- CD’s

- Internet access

- Computer

# METHODOLOGIES:

- Lecturette

- Self-pace

- Group discussion

- Film showing

# ASSESSMENT METHODS:

- Written

- Interview

MODULES OF INSTRUCTION

COMMON COMPETENCIES

PV SYSTEM DESIGN NC III

UNIT OF COMPETENCY	:	Prepare Construction Materials and Tools

:

MODULE TITLE	:	Preparing Construction Materials and Tools

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on identifying, requesting and receiving construction materials and tools based on the required performance standards.

NOMINAL DURATION	:	12 hours

SUMMARY OF LEARNING OUTCOMES	:

Upon completion of the module the trainees/student should be able to:

LO1.	Identify materials and tools applicable to a specific construction job.

LO2.	Request appropriate materials and tools.

LO3.	Receive and inspect materials.

LO1.	Identify materials and tools applicable to a specific construction job

# ASSESSMENT CRITERIA:

1.	Tools and materials are identified as per job requirements

2.	Tools are classified according to its function as per job requirements.

3.	Materials are classified according to its uses to a specific construction project.

4.	Tools and materials are selected as per job requirement.

# CONTENT:

- Types and uses of construction materials and tools

- Description of materials and tools

- Listing of materials as per company standards.

# CONDITIONS:

Students/trainees must be provided with the following:

- Workplace location

- Materials relevant to the unit of competency

- Materials and tools

  - Electrical

  - Structural

  - Welding

  - Masonry

  - Carpentry

  - Plumbing

  - Pipefitting

- Materials and tools different brand names, size, capacity and kind of application.

- Handouts/Instructional Materials

# METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

- PowerPoint presentation

# ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO2.	Request appropriate materials and tools

# ASSESSMENT CRITERIA:

- Needed materials and tools listed as per job requirement.

- Materials and tools are requested according to the list prepared.

- Requests are done as per company  standard operating procedures (SOP)

- Materials and tools are substituted and provided unavailable without sacrificing cost and quality of work.

# CONTENT:

- Different forms

  - Job order slip

  - Tools and materials requisition slip

  - Borrower’s Slip

- Requisition procedures

# CONDITIONS:

Students/trainees must be provided with the following:

- Sample of company standard in tools and materials requisition.

- Job order form

- Requisition slip

- Borrowers slip

- Handouts/Instructional Materials

# METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

# ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO3.	Receive and inspect materials

# ASSESSMENT CRITERIA:

- Received and inspected materials and tools as per quantity and specification based on requisition.

- Tools and materials are checked for damages and manufacturing defects.

- Materials and tools received are handled with appropriate safety devices.

- Materials and tools are set aside to appropriate location nearest to the workplace.

# CONTENT:

- Procedures in receiving tools and materials

- Proper inspection of tools and materials received.

- Proper handling of tools and materials.

# CONDITIONS:

Students/trainees must be provided with the following:

- Sample of company standard in tools and materials in receiving materials.

- Inspection Checklist

- Materials Handling Safety Devices

- Inventory Form Handouts/Instructional Materials

# METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

# ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

UNIT OF COMPETENCY	:	PERFORM MENSURATIONS AND CALCULATIONS

MODULE TITLE	:	Performing Mensurations and Calculations

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on identifying, and measuring objects based on the required performance standards.

NOMINAL DURATION	:	24 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Carry out measurements and calculations.

LO2.	Select measuring instruments.

LO1.	Carry out measurements and calculations

# ASSESSMENT CRITERIA:

  - Calculation needed to complete work tasks are performed using the four basic process of addition (+), subtraction (-), multiplication (x) and division (/) including but not limited to: trigonometric functions, algebraic computations.

  - Calculations involving fractions, percentages and mixed numbers are used to complete workplace tasks

  - Numerical computations are self-checked and corrected for accuracy.

  - Accurate measurements are obtained according to job requirements.

  - Identified and converted systems of measurement according to job requirements.

  - Measured work pieces according to job requirements.

# CONTENT:

Trade Mathematics/Mensuration

- Four fundamental operation

- Kinds of measurement

- Dimensions

- Ratio and Proportion

- Trigonometric Functions

- Algebraic Equations

- Fractions, Percentage and Decimals

- Conversion

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Problems to solve

- Measuring instruments

- Instructional materials relevant to the propose activity.

# METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

# ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO2.	Select measuring instruments

# ASSESSMENT CRITERIA:

- Object or component to be measured are identified, classified and interpreted according to the appropriate regular geometric shape.

- Measuring tools are selected/identified as per object to be measured or job requirements

- Correct specifications are obtained from relevant sources.

- Measuring instruments are selected according to job requirements.

- Alternative measuring tools are used without sacrificing cost and quality of work.

- Measurements are obtained according to job requirements.

# CONTENTS

- Visualizing objects and shapes specifically geometric shapes.

- Interpreting Formulas for volume, areas, and perimeters of plane and geometric figures.

- Measuring Instruments/Measuring Tools

- Proper handling of measuring instruments

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Problems to solve

- Measuring instruments

- Instructional materials relevant to the propose activity.

# METHODOLOGIES:

- Actual demonstration

- Classroom discussions

# ASSESSMENT METHODS:

- Actual demonstration

- Direct observation

- Written test/questioning

UNIT OF COMPETENCY	:	MAINTAIN TOOLS AND EQUIPMENT

MODULE TITLE	:	Maintaining Tools and Equipment

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on checking condition, performing preventive maintenance and storing of tools and equipment based on the required performance standard.

NOMINAL DURATION	:	12 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Check condition of tools and equipments.

LO2.	Perform basic preventive maintenance

LO3.	Store tools and equipment.

LO1.	Check conditions of tools and equipments

# ASSESSMENT CRITERIA:

- Tools and equipment are identified according to classification/specification and job requirements.

- Non-functional tools and equipment are segregated and labeled according to classification

- Safety of tools and equipment are observed in accordance with manufacturer’s instructions

- Conditions of PPE are checked in accordance with manufacturer’s instructions.

# CONTENTS:

- Types of Tools and Equipments

- Classification of functional and non-functional tools

- Uses of Personal Protective Equipment (PPE).

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Tools and equipment related to the ffg:

- Electrical supplies

- Structural

- Plumbing

- Welding/pipefitting

- Carpentry

- Masonry

- Heavy Equipment Tools for repair

- Measuring instruments/equipments

- Instructional materials

- Handouts

- Power Point Presentations

# METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

# ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO2.	Perform basic preventive maintenance

# ASSESSMENT CRITERIA:

  - Lubricants are identified according to types of equipment.

  - Tools and equipment are lubricated according to preventive maintenance schedule or manufacturer’s specifications.

  - Measuring instruments are checked and calibrated in accordance with manufacturer’s instructions.

  - Tools are cleaned and lubricated according to standard procedures

  - Defective equipment and tools are inspected and replaced according to manufacturer’s specification.

  - Work place is cleaned and kept in safe state in line with OSHC regulations.

# CONTENTS:

- Types uses of lubricants

- Types and uses of cleaning materials/solvent

- Types and uses of measuring instruments and equipment.

- Preventive maintenance techniques and procedures.

- OSHC workplace regulations

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Kinds of Manuals:

- Manufacturer's Specification Manual

- Repair Manual

- Maintenance Procedure Manual

- Periodic Maintenance Manual

- Maintenance schedule forms

- Handouts/Instructional Materials

- Maintenance materials, tools and equipment relevant to the proposed activity/task.

- Lubricants

- Cleaning materials

- Rust remover

- Rugs

- Spare parts

- PPE

- Goggles

- Gloves

- Safety shoes

- Aprons/Coveralls

# METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

# ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO3.	Store tools and equipment

# ASSESSMENT CRITERIA:

- Inventory of tools, instruments, and equipment are conducted and recorded as per company practices.

- Tools are inspected, and replaced after use.

- Tools and equipment are stored safely in accordance with manufacturer’s specifications or company procedures.

# CONTENTS:

- Inventory of tools and equipment

- Tools and Equipment Handling

- Tool safe-keeping/storage

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Handouts/Instructional Materials

- Workplace Location/Tool Room

- Rack

- Tool Box

- Forms

- Requisition Slip

- Inventory Form

- Inspection Form

# METHODOLOGIES:

- Demonstration

- Classroom discussions

# ASSESSMENT METHODS:

- Practical exam

- Direct observation

- Written test/questioning

UNIT OF COMPETENCY	:	OBSERVE PROCEDURES, SPECIFICATIONS AND MANUALS OF INSTRUCTIONS

MODULE TITLE	:	Observe procedures, specifications and manuals of instructions

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on identifying, interpreting, applying services to specifications and manuals and storing manuals.

NOMINAL DURATION	:	8 hours

SUMMARY OF LEARNING OUTCOMES	:

Upon completion of the module the trainees/student should be able to:

LO1.	Identify, access, and interpret specification/manuals.

LO2.	Apply information in manual.

LO3.	Store manuals

LO1.	Identify, access, and interpret specification/manuals

# ASSESSMENT CRITERIA:

  - Manuals are identified and accessed as per job requirements.

  - Version and date of manual are checked to ensure that correct specification and procedures are identified.

  - Relevant sections, chapters of specifications/manuals are located in relation to the work to be conducted.

  - Information and procedure in the manual are interpreted in accordance with industry practices.

# CONTENTS:

- Types of manuals  used in construction sector

- Different types of symbols.

- Accessing information and data.

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Manuals/catalogues relative to construction sector.

- Instructional materials

# METHODOLOGIES:

- Classroom discussions / lecture

- Self-paced

# ASSESSMENT METHODS:

- Practical exam

- Oral exam

- Written test / questioning

LO2.	Apply information in manual

# ASSESSMENT CRITERIA:

  - Work steps are correctly identified in accordance with manufacturer’s specification.

  - Manual data are applied according to the given task.

  - Adjustments are interpreted in accordance with information contained on the manual or specifications.

# CONTENT:

- Manual/specification application.

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Manuals

- Workplace Location

- Measuring Instruments

- Engineer’s transit

- Tape Measure

- Feeler gauge

- Instructional materials

# METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

# ASSESSMENT METHODS:

- Practical exam

- Oral exam

- Written test / questioning

LO3.	Store manual

# ASSESSMENT CRITERION:

  - Manual or specification is stored appropriately to prevent damage, ready access and updating of information when required in accordance with company requirements.

# CONTENT:

- Manual Handling

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion.

- Manuals

- Store Rooms/Library

- Instructional materials

# METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

# ASSESSMENT METHODS:

- Practical exam

- Direct observation

- Written test/questioning.

UNIT OF COMPETENCY	:	INTERPRET TECHNICAL DRAWINGS AND PLANS

MODULE TITLE	:	Interpreting Technical Drawings and Plans

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on analyzing and interpreting symbols, data and work plan based on the required performance standard.

NOMINAL DURATION	:	16 hours

SUMMARY OF LEARNING OUTCOMES	:

Upon completion of the module the trainees/student should be able to:

LO1.	Analyze signs, symbols and data.

LO2.	Interpret technical drawings and plans

LO1.	Analyze signs, symbols and data

# ASSESSMENT CRITERIA:

  - Sign, symbols, and data are identified according to job specifications.

  - Sign, symbols and data are determined according to classification or as appropriate in drawing.

# CONTENTS:

- Drawing symbols and signs

- Trade mathematics

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Measuring Instruments

- Architect/Engineer’s scale

- Tape Measure

- Blueprints of plan

- Architectural

- Structural

- Electrical

- Mechanical

- Plumbing

- Instructional materials

# METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

# ASSESSMENT METHODS:

- Practical exam

- Direct observation

- Written test/questioning

LO2.	Interpret technical drawings and plans

# ASSESSMENT CRITERIA:

    - Necessary tools, materials and equipment are identified according to the plan.

    - Components, assemblies or object are recognized as per job requirement.

    - Dimensions and specification are identified according to job requirements.

# CONTENTS:

- Basic Technical drawing

- Technical plans and Schematic Diagram

- Symbols and Abbreviations

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Measuring Instruments

- Architect/Engineer’s scale

- Tape Measure

- Blueprints of plan

- Architectural

- Structural

- Electrical

- Mechanical

- Plumbing

- Instructional materials

# METHODOLOGIES

- Demonstration

- Classroom discussions

- Self-paced

# ASSESSMENT METHODS

- Practical exam

- Direct observation

- Written test/questioning

MODULES OF INSTRUCTION

CORE COMPETENCIES

PV SYSTEM DESIGN NC III

QUALIFICATION	:	PV System Design

UNIT OF COMPETENCY	:	Determine Customer Requirements

MODULE TITLE	:	Determining Customer Requirements

MODULE DESCRIPTOR	:	This module covers the skills, knowledge and attitude in determining customer requirements for simple solar home systems less than 1 kW

NOMINAL DURATION	:	12 hours

QUALIFICATION LEVEL	:	NC III

PREREQUISITE	:	PV Systems Installation II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Assess current and future electrical needs of customer and site characteristics

LO2.	Recommend options

LO1.	Assess current and future electrical needs of customer and site characteristics

ASSESSMENT CRITERIA:

1.	Forms for site assessment are accomplished according to company standards.

2.	Forms for load assessment are accomplished according to company standards.

3.	Interviews are conducted in accordance with company procedures.

4.	Assessment is conducted within the prescribed time.

CONTENTS:

  - Photovoltaic technology and systems

  - Principles of electricity

(Ohm’s Law, AC/DC systems, Apparent Power, Power factor)

  - Electrical loads characteristics (wattage, current, voltage)

  - Data gathering techniques

  - Using basic electrical measuring instruments

CONDITIONS:

Students/trainees must be provided with the following:

  - Learning Materials:

  - Data gathering forms

  - Electrical measuring instruments

  - Manuals

  - Modules

  - Calculator

METHODOLOGIES:

  - Lecture-demonstration

  - Self-paced instruction

  - Group discussion

ASSESSMENT METHODS:

  - Observation with questioning

  - Demonstration with questioning

  - Written/oral examination

LO2.	Recommend options

ASSESSMENT CRITERIA:

- Customer information is taken as basis in making system design  recommendations

- Customer system expectation is established based on interview

- Recommendations are made appropriate to the customer requirement

CONTENTS:

  - Basic principles and concepts

- PV system

- Components

- Installation and best practices

- Design configuration

- Available commercial standard units/sizes

CONDITIONS:

Students/trainees must be provided with the following:

  - Learning Materials:

  - Data gathering forms

  - Electrical measuring instruments

  - Manuals

  - References

  - Modules

  - Calculator

METHODOLOGIES:

  - Lecture-demonstration

  - Self-paced instruction

  - Group discussion

ASSESSMENT METHODS:

  - Direct observation

  - Demonstration with questioning

  - Written/oral examination

QUALIFICATION	: 	PV Systems Design

UNIT OF COMPETENCY	:	Calculate System Components Requirements (System Sizing)

MODULE TITLE	:	Calculating System Components Requirements

MODULE DESCRIPTOR	:	This module covers the skills, knowledge and attitude in calculating components of simple solar home systems up to 1 kWp.

NOMINAL DURATION	:	28 hours

QUALIFICATION LEVEL	:	NC III

PREREQUISITE	:	PV Installation NC II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Calculate energy demand

LO2.	Determine battery capacity

LO3.	Calculate array size

LO4.	Determine peak AC load and inverter size (if applicable)

LO5.	Calculate the minimum power specification (size) of the controller

LO1.	Calculate Energy Demand (8 hrs)

ASSESSMENT CRITERIA:

- Load demand is listed in an appropriate form based on costumer requirements.

2.	All loads are summed up to calculate total energy demand.

CONTENTS:

  - Principles of electricity

  - Load characteristics

  - Load demand calculation

CONDITIONS:

Students/trainees must be provided with the following:

  - Learning Materials:

  - Data gathering forms

  - Manuals

  - References

  - Modules

  - Calculator

METHODOLOGIES:

  - Lecture-demonstration

  - Self-paced instruction

  - Group discussion

ASSESSMENT METHOD:

  - Written exam

LO2.	Determine Battery Capacity (4 hrs)

ASSESSMENT CRITERIA:

- Maximum Depth of Discharge is determined based on manufacturer’s specification and within acceptable industry practices

- Battery capacity is calculated based on the daily load demand times the days of autonomy (3 days minimum & 5 days maximum)

CONTENTS:

  - Concept, Principles and Battery characteristics

  - Connecting batteries

  - Safe handling of battery

  - Battery capacity/sizing calculation

CONDITIONS:

Students/trainees must be provided with the following:

  - Learning Materials:

  - Manuals

  - References

  - Modules

  - Calculator

METHODOLOGIES:

  - Lecture-demonstration

  - Self-paced instruction

  - Group discussion

ASSESSMENT METHOD:

  - Written Exam

LO3.	Calculate Array Size (8 hrs)

ASSESSMENT CRITERIA:

1. 	Minimum peak sun hours is determined from solar insolation database of the worst month of the year

2.	Module/Panel/Array size is calculated in accordance with the prescribed industry procedure and standards

CONTENTS:

  - Solar Insolation/irradiance

  - Available Peak Sun hours

  - PV cell/module characteristics

  - Methods of calculating array size

CONDITIONS:

Students/trainees must be provided with the following:

  - Learning Materials:

  - Manuals

  - References

  - Modules

  - Calculator

METHODOLOGIES:

  - Lecture-demonstration

  - Self-paced instruction

  - Group discussion

ASSESSMENT METHOD:

  - Written Exam

LO4.	Determine Peak AC load and inverter size (4 hrs)

ASSESSMENT CRITERIA:

- Peak AC load demand is determined based on customer’s requirements.

- Inverter size is selected according to peak load demand and manufacturers’ specifications.

CONTENTS:

  - Principles and concepts of inverter

  - Peak AC load demand

  - Selecting/Matching inverters

CONDITIONS:

Students/trainees must be provided with the following:

  - Learning Materials:

  - Manuals

  - References

  - Modules

  - Calculator

METHODOLOGIES:

  - Lecture-demonstration

  - Self-paced instruction

  - Group discussion

ASSESSMENT METHOD:

  - Written Exam

LO5.	Calculate the size of the controller (4 hrs)

ASSESSMENT CRITERIA:

1. 	Size of the controller is determined based on the calculated module/panel/array size.

2.	Task is done according to standard calculations, including system losses, wiring, and site assessment data.

CONTENTS:

  - Principles and different concept of controller

  - Selecting/matching of controllers

CONDITIONS:

Students/trainees must be provided with the following:

  - Learning Materials:

  - Manuals

  - References

  - Modules

  - Calculator

METHODOLOGIES:

  - Lecture-demonstration

  - Self-paced instruction

  - Group discussion

ASSESSMENT METHOD:

  - Written exam

QUALIFICATION	: 	PV System Design

UNIT OF COMPETENCY	:	Specify Components in Bill of Materials

MODULE TITLE	:	Specifying components in Bill of Materials

MODULE DESCRIPTOR	:	This module covers the skills, knowledge and attitude in specifying components in the bill of materials for simple solar home systems up to 1 kWp.

NOMINAL DURATION	:	6 hours

QUALIFICATION LEVEL	:	NC III

PREREQUISITE	:	PV Installation NC II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Select Components

LO2.	Prepare Bill of Materials

LO1.	Select Component (4 hrs)

ASSESSMENT CRITERIA:

  - Components are selected based on the system sizing requirements

  - Components are selected based on existing quality and safety standards.

CONTENTS:

  - PV System Components characteristics

  - Best practices in PV system design

  - Selection of PV components

CONDITIONS:

Students/trainees must be provided with the following:

  - Learning Materials:

  - forms

  - Manuals

  - References

  - Modules

METHODOLOGIES:

  - Lecture-demonstration

  - Self-paced instruction

  - Group discussion

ASSESSMENT METHOD:

  - Written exam

LO2.	Prepare Bill of Materials (2 hrS)

ASSESSMENT CRITERIA:

  - Quantities are determined based on the system sizing requirements.

  - Bill of materials is prepared based on a prescribed format.

CONTENTS:

  - How to prepare bill of materials

  - Estimating and costing

CONDITIONS:

Students/trainees must be provided with the following:

  - Learning Materials:

  - forms

  - Manuals

  - References

  - Modules

  - Calculator

METHODOLOGIES:

  - Lecture-demonstration

  - Self-paced instruction

  - Group discussion

ASSESSMENT METHOD:

  - Written exam

QUALIFICATION	: 	PV System Design

UNIT OF COMPETENCY	:	Prepare installation drawing

MODULE TITLE	:	Preparing installation drawing

MODULE DESCRIPTOR	:	This module covers the skills, knowledge and attitude in preparing installation drawings for simple solar home systems up to 1 kWp.

NOMINAL DURATION	:	10 hours

QUALIFICATION LEVEL	:	NC III

PREREQUISITE	:	PV Installation NC II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1:	Prepare electrical diagram

LO2:	Prepare mechanical drawing

LO1.	Prepare electrical diagram (8 hrs)

ASSESSMENT CRITERIA:

- Electrical drawing is prepared according to standard electrical symbols and notation.

- Electrical diagram including all components is prepared taking into account customer’s requirement

CONTENTS:

  - Electrical symbols and notations

  - Drawing techniques

  - Wiring and Circuit diagramming

CONDITIONS:

Students/trainees must be provided with the following:

  - Learning Materials:

  - Templates

  - Manuals

  - References

  - Modules

  - Tools

    - Drawing instruments

    - Drawing table

METHODOLOGIES:

  - Lecture-demonstration

  - Self-paced instruction

  - Group discussion

ASSESSMENT METHOD:

  - Written exam

LO2.	Prepare Mechanical drawing (2 hrs)

ASSESSMENT CRITERIA:

    - Mechanical drawings are prepared according to standard mechanical symbols and notation.

    - Mechanical drawings including all mechanical components are finalized based on best practices

CONTENTS:

  - symbols and notations

  - Drawing techniques

CONDITIONS:

Students/trainees must be provided with the following:

  - Learning Materials:

  - Templates

  - Manuals

  - References

  - Modules

  - Tools

    - Drawing instruments

    - Drawing table

METHODOLOGIES:

  - Lecture-demonstration

  - Self-paced instruction

  - Group discussion

ASSESSMENT METHOD:

  - Written exam