| - COMPETENCY-BASED CURRICULUM |  |
| --- | --- |

| Sector: ###### CONSTRUCTION |  |
| --- | --- |
| Qualification: PV SYSTEMS SERVICING NC III |  |
|  | Technical Education and Skills Development Authority East Service Road, South Superhighway, Taguig City, Metro Manila |

# TABLE OF CONTENTS

Page

A.	COURSE DESIGN	1-4

B.	MODULES OF INSTRUCTION	7-62

- Basic Competencies	5

  - Leading workplace communication	6-9

  - Leading small teams	10-14

  - Developing and practicing negotiation skills	15-17

  - Identifying / determining fundamental cause of problem	18-21

  - Using mathematical concepts and techniques	22-25

  - Using relevant technologies	26-29

- Common Competencies	30

  - Preparing construction materials and tools	31-34

  - Performing mensurations and calculations	35-37

  - Maintaining tools and equipment	38-42

  - Observing procedures, specifications and manuals of instructions	43-46

  - Interpreting technical drawings and plans	47-49

- CoRE Competencies	50

  - Performing PV systems diagnosis	51-53

  - Repairing PV systems	54-58

  - Monitoring PV system operation 	59-62

# COURSE DESIGN

# COURSE TITLE	:	PV SYSTEMS SERVICING NC III

NOMINAL DURATION	:	158 Hours

COURSE DESCRIPTION	:

The course is designed to enhance the knowledge, skills and desirable attitudes of a PV systems service technician to perform PV system maintenance, troubleshooting, and repair of small solar home systems up to 1kWp based on customer complaint in accordance with industry standards. Specifically, it covers core competencies such Perform PV System Diagnosis, Repair of PV System and Monitor PV System Operation.

Basic competencies such as: Lead workplace communication; Lead small teams; Develop and practice negotiation skills; Solve problems related to work activities; Use mathematical concepts and techniques and Use relevant technologies are included.

It also include common competencies such as;  Prepare construction materials and tools; Perform mensuration and calculation; Maintain tools and equipment; Observe procedures, specifications and manuals of instructions and Interpret technical drawings and plans.

ENTRY REQUIREMENTS:

Candidate / trainee must posses any of the following qualifications:

- Have undergone training on PV Systems Installation National Certificate Level II

- Can communicate both oral and written

- Must be physically and mentally fit to undergo training

- At least 18 yrs old

COURSE STRUCTURE:

# BASIC COMPETENCIES

(20 hours)

| # Units of Competency | # Module Title | # Learning Outcomes | # Nominal Duration |
| --- | --- | --- | --- |
| # Lead workplace communication | # Leading workplace communication | - Communicate information about workplace processes - Lead workplace discussions - Identify and communicate issues arising in the workplace | # 3 hours |
| # Lead small team | # 2.1 Leading small team | - Provide team leadership. - Assign responsibilities among members. - Set performance expectation for team members - Supervise team performance | # 3 hours |
| # Develop and practice negotiation skills | # 3.1 Developing and practicing negotiation skills | - Identify relevant information in planning negotiations - Participate in negotiations - Document areas for agreement | # 3 hours |
| - Solve problem related to work activities | # 4.1 Identifying/ determining fundamental cause of problem | - Explain the analytical techniques. - Identify the problem. - Determine the possible cause/s of the problem. | # 4 hours |
| - Use mathematical concepts and techniques | # 5.1 Using mathematical concepts and techniques | - Identify mathematical tools and techniques to solve problem - Apply mathematical procedures/solution - Analyze results | # 4 hours |
| - Use relevant technologies | # 6.1 Using relevant technologies | - Study / select appropriate technology - Apply relevant technology - Maintain/enhance relevant technology | # 3 hours |

# COMMON COMPETENCIES

(72 hours)

| # Units of Competency | # Module Title | # Learning Outcomes | # Nominal Duration |
| --- | --- | --- | --- |
| 1. Prepare construction materials and tools | 1.1 Preparing construction materials and tools. | - Identify materials and tools applicable to a specific construction job - Request appropriate materials and tools - Receive and inspect materials. | 12 hours |
| 2. Perform mensuration and calculation | 2.1 Performing mensuration and calculations | - Carry out measurements and calculations. - Select measuring instruments. | 24 hours |
| 3. Maintain tools and equipment. | 3.1 Maintaining tools and equipment. | - Check condition of tools and equipments. - Perform basic preventive maintenance - Store tools and equipment | 12 hours |
| 4. Observe procedures, specifications and manuals of instructions | 4.1 Observing procedures, specifications, and manuals of instructions. | - Identify, access, and interpret specification/ manuals. - Apply information in manual. - Store manuals. | 8 hours |
| 5. Interpret technical drawings and plans | 5.1 Interpret technical drawings and plans | - Analyze signs, symbols, and data. - Interpret technical drawings and plans | 16 hours |

# CORE COMPETENCIES

(66 hours)

| Units of Competency | Module Title | Learning Outcomes | Nominal Duration |
| --- | --- | --- | --- |
| 1. Perform PV system diagnosis | 1.1 Performing PV system diagnosis | - Prepare for troubleshooting activities - Verify costumer complaints | 28 hours |
| 2. Repair of PV system | 2.1 Repairing of PV system | - Prepare for service/repair - Verify / validate diagnosis results - Repair/replace faulty pv component - Test PV system - Debrief Customer | 20 hours |
| 3. Monitor PV system operation | 3.1 Monitoring PV system operation | - Prepare Monitoring Activities - Check PV System Status | 18 hours |

COURSE DELIVERY:

- Lecture-demonstration

- Self-paced instruction

- Case study

- Group discussion

RESOURCES:

- Site conditions and location map template

- Housekeeping paraphernalia

- Tools, measuring instruments, and materials

| - Tools - Screwdrivers - Pliers - Wrenches - Electrician’s knife - Ladder/scaffolding - Magnetic compass - Spirit level | - Measuring instruments - Clamp meter - Multimeter - Hydrometer | - Materials - Wires and cables - Connectors - Clamps - Electrical tape - Battery grease - Fuse - Diodes - Staple wires, screws, and nails - Asphalt/sealant (if needed) - Distilled water - Bolts and nuts |
| --- | --- | --- |

- Forms and documents

  - Electrical installation drawings

  - Installation data sheet

- Commissioning document

- References

  - Books

  - Company manuals

# QUALIFICATION OF INSTRUCTOR:

- Must be a holder of PV Servicing NC III

- Must have undergone Training Methodology (TM II)

- Must be computer literate

- Must be physically and mentally fit

- Must be of good moral character

- Have at least 2 years job/ industry experience*

- Holder of CSC Professional Eligibility (for government positions) or appropriate professional license issued by PRC*

* Optional: only when required by hiring institution

AS PER TESDA RESOLUTION NO. 2004-03

MODULES OF INSTRUCTION

BASIC COMPETENCIES

PV SYSTEMS SERVICING NC III

UNIT OF COMPETENCY	:	LEAD WORKPLACE COMUNICATION

MODULE TITLE	:	LEADING WORKPLACE COMMUNICATION

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes required to prepare different reports required in the workplace.

NOMINAL DURATION	:     3 hours

QUALIFICATION LEVEL	:	NC III

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Communicate information about workplace processes.

LO2.	Lead workplace discussions.

LO3.	Identify and communicate issues arising in the workplace.

LO1. COMMUNICATE INFORMATION ABOUT WORKPLACE PROCESSES

ASSESSMENT CRITERIA:

- Appropriate communication method is selected.

- Multiple operations involving several topic areas are communicated.

- Question are used to gain extra information.

- Correct sources of information are identified.

- Information is selected and sequenced correctly when required.

- Verbal and written reporting are maintained in both familiar and unfamiliar situations.

CONTENTS:

- Method of communication

- Communication skills

- Communication tools

- Questioning techniques

CONDITIONS:	The students/trainees must be provided with the following:

- Simulated workplace environment

- Communication tools

- Variety of information’s

METHODOLOGIES:

- Discussion

- Role play

- Brainstorming

ASSESSMENT METHODS:

- Direct observation

- Interview

LO2.	LEAD WORKPLACE DISCUSSIONS

ASSESSMENT CRITERIA:

- Response to workplace issues is sought.

- Response to workplace issues are provided when sought.

- Constructive contributions are made to workplace discussion on such issues as production, quality and safety.

- Goals and aims of actions under taken in the workplace are communicated.

CONTENTS:

- Method/techniques  of discussion

- How to lead discussion

- How to solicit response

CONDITIONS:	The students/trainees must be provided with the following:

- Simulated workplace environment

- Communication tools

- Variety of information

METHODOLOGIES:

- Discussion

- Role play

- Brainstorming

ASSESSMENT METHODS:

- Direct observation

- Interview

LO3.	IDENTIFY AND COMMUNICATE ISSUES ARISING IN THE WORKPLACE

ASSESSMENT CRITERIA:

- Issues and problems are identified as they arise.

- Information regarding problems and issues are organized coherently to ensure clear and effective communication.

- Dialog is initiated with appropriate personnel.

- Communication problems and issues are addressed as they arises.

CONTENTS:

- Identify problems and issues

- Organizing information on  problem and issues

- Relating problems and issues

- Communication barriers affecting workplace discussions.

CONDITIONS:	The students/trainees must be provided with the following:

- Simulated workplace environment

- Communication tools

- Variety of information’s

METHODOLOGIES:

- Discussion

- Role play

- Brainstorming

ASSESSMENT METHODS:

- Direct observation

- Interview

CORE COMPETENCY	:	TEAM WORK

UNIT OF COMPETENCY	:	LEAD SMALL TEAM

MODULE TITLE	:	LEADING SMALL TEAM

MODULE DESCRIPTOR	: 	This module covers the knowledge, skills and attitudes   required to lead small team including setting and maintaining team and individual performance standard.

NOMINAL DURATION	:	3 hours

QUALIFICATION LEVEL	:	NC III

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Provide team leadership.

LO2.	Assign responsibilities among members.

LO3.	Set performance expectation for team members.

LO4.	Supervise team performance.

LO1.	PROVIDE TEAM LEADERSHIP

ASSESSMENT CRITERIA:

- Work requirements are identified and prescribed to members.

- Reasons for instructions and requirements are properly disseminated to team members.

- Team members questions, problems, concerns are recognized, discussed and dealt accordingly.

CONTENTS:

- Communication skills required for leading small team

- Skills and techniques in promoting  team building

- Negotiating skills

- Up to date dissemination of instruction and requirements to members.

- Art of listening and treating individual team members concern

CONDITIONS:	The students/trainees must be provided with the following:

- Learning materials

- team building manual

- catalogs

- brochures

- Simulated team

METHODOLOGIES:

- Traditional / lecture

- Demonstration

- Case studies

ASSESSMENT METHODS:

- Written examination

- Direct observation

LO2.  ASSIGN RESPONSIBILITIES AMONG MEMBERS

ASSESSMENT CRITERIA:

- Duties and responsibilities are allocated in respect to the skills, knowledge and attitudes of every team member.

- Duties are allocated having regard to individual preference, domestic and personal considerations.

- Duties and responsibilities of each member are properly identified and defined.

CONTENTS:

- Duties and responsibilities of each team member

- Skills in identifying individual skills ,knowledge  and attitude as basis for allocating responsibilities

- Knowledge in identifying each team member duties and responsibilities

CONDITIONS:	The students/trainees must be provided with the following:

- Learning materials

- relevant legal requirements

- manuals

METHODOLOGIES:

- Traditional/lecture

- Demonstration

ASSESSMENT METHODS:

- Written examination

- Direct observation

LO3. 	SET PERFORMANCE EXPECTATION FOR TEAM MEMBERS

ASSESSMENT CRITERIA:

- Performance expectations are established based on client needs and according to assigned requirements.

- Performance expectations are based on individual team member’s duties and responsibilities.

- Performance expectations are discussed and disseminated to individual team member.

CONTENTS:

- Knowledge and skills in setting individual performance target/expectation

- Team members duties  and responsibilities

- Employee policies and procedures

- Defining performance expectations criteria

CONDITIONS:	The students/trainees must be provided with the following:

- Performance expectation worksheet

- Relevant legal requirements

METHODOLOGIES:

- Traditional /lecture

- Demonstration

- Case studies

ASSESSMENT METHODS:

- Written examination

- Direct observation

LO4.  SUPERVISE TEAM PERFORMANCE

ASSESSMENT CRITERIA:

- Monitor team member’s performance in respect to the defined performance criteria.

- Provide team members with feedback, positive support  and advice on strategies to overcome any difficulties.

- Inform team members of any changes in the priority allocated  to assignment or task.

- Provide communication follow-up on all issues affecting the team.

CONTENTS:

- Knowledge and skills in monitoring team member performance

- Monitoring team operation to ensure client needs  and satisfaction

- Methods of monitoring performance

- Informal/formal counseling skills

CONDITIONS:	The students/trainees must be provided with the following:

- Performance expectation worksheet

- Relevant legal requirements

METHODOLOGIES:

- Traditional /lecture

- Demonstration

- Modular

ASSESSMENT METHODS:

- Written examination

- Direct observation

UNIT OF COMPETENCY	:	DEVELOP AND PRACTICE NEGOTIATION SKILLS

MODULE TITLE	:	Developing and Practicing Negotiation Skills

MODULE DESCRIPTOR	: 	This module covers the skills, knowledge and attitudes required to collect information in order to plan and participate in the negotiation.

NOMINAL DURATION	:    3 hours

QUALIFICATION LEVEL	:	NC III

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/ trainees will be able to:

# LO 1.	  Plan negotiations

LO 2.	  Participate in negotiations

# LO1.	Plan Negotiations

ASSESSMENT CRITERIA:

- Information in preparation  for negotiation is identified and included in the plan

- Information on creating non verbal environments for positive negotiations is identified and included in the plan

- Information on different questioning techniques is identified and included in the plan

CONTENTS:

- Background information on other parties to the negotiation

- Observing differences between content and process

- Identifying bargaining information

- Applying strategies to manage process

- Applying steps in negotiating process

- Strategies to manage conflict

- Steps in negotiating process

CONDITIONS:

The students/ trainees must be provided with the following:

- Pertinent documents

- Simulated workplace

- Prepared  recipes

- Paper and pencil

- Calculator

- Hands out

METHODOLOGIES:

- Lecturette

- Role playing

- practical exercises

ASSESSMENT METHODS:

- Written test/ questioning

- Demonstration

LO2.	Participate in Negotiations

ASSESSMENT CRITERIA:

- Criteria for successful outcome are agreed upon by all parties

- Desired outcome of all parties are considered

- Appropriate language is used throughout the negotiation

- The issues and processes are documented and agreed upon by all parties

- Possible solutions are discussed and their viability assessed

- Areas for agreement are confirmed and recorded

- Follow-up action is agreed upon by all parties

CONTENTS:

- Decision making and conflict resolution strategies procedures

- Problem solving strategies on how to deal with unexpected questions and attitudes during negotiation

- Background information on other parties to the negotiation

- Observing differences between content and process

CONDITIONS:

The students/ trainees must be provided with the following:

- Pertinent documents

- Simulated workplace

- Prepared  recipes

- Paper and pencil

- Calculator

- Hands out

METHODOLOGIES:

- Lecturette

- Role playing

- practical exercises

ASSESSMENT METHODS:

- Written test/ questioning

- Demonstration

UNIT OF COMPETENCY	:	SOLVE WORKPLACE PROBLEM RELATED TO WORK ACTIVITIES

MODULE TITLE	:	IDENTIFYING / DETERMINING FUNDAMENTAL CAUSE OF PROBLEM

MODULE DESCRIPTOR	: 	This module expresses the competency required to apply problem solving techniques to identify/determine fundamental cause problem.

NOMINAL DURATION	:	4 hours

QUALIFICATION LEVEL	:	NC III

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module the students/trainees will be able to:

LO1.	Explain the analytical techniques.

LO2.	Identify the problem.

LO3.	Determine the possible cause /s of the problem.

LO1.	EXPLAIN THE ANALYTICAL TECHNIQUES

ASSESSMENT CRITERIA:

- Importance and application of analytical techniques are explained.

- Analytical techniques such as brainstorming, cause and effects diagrams, PARETO analysis, SWOT analysis, GANT chart, PERT CPM & graphs, and scatter grams are defined.

CONTENTS:

- Observation, investigation & analytical techniques

- Brainstorming

- Cause and effect diagrams

- PARETO analysis

- SWOT analysis

- GANT chart

- PERT CPM & graph

- SCATTERGRAMS

CONDITIONS:	The students/trainees must be provided with the following:

- Courseware’s

- Learning materials/guides

- Computer

- OHP

METHODOLOGIES:

- Direct observation

- Simulation /role playing

- Case studies

ASSESSMENT METHODS:

- Written

- Practical/performance test

LO2.	IDENTIFY THE PROBLEM

ASSESSMENT CRITERIA:

- Variances are identified from normal operating parameters and product quality.

- Extent, cause, and nature of the problem are defined based on observation, investigation and analytical techniques.

- Problems are clearly stated and specified.

CONTENTS:

- Normal operating parameters & product quality

- Identifying & clarifying the nature of problem

- Application of analytical techniques

CONDITIONS:	The students/trainees must be provided with the following:

- Courseware

- Learning materials/guides

- Computer

- OHP

METHODOLOGIES:

- Direct observation

- Simulation /role playing

- Case studies

ASSESSMENT METHODS:

- Written

- Practical/performance test

LO3.	DETERMINE THE POSSIBLE CAUSE/S OF THE PROBLEM

ASSESSMENT CRITERIA:

- Possible cause/s of problem are identified based on experience & the use of problem solving tools/analytical techniques.

- Possible cause statements are developed.

- Fundamental causes are explained.

CONTENTS:

- Non-routine process and quality problems

- Teamwork and work allocation problem

- Safety and emergency situations and incidents

CONDITIONS:	The students/trainees must be provided with the following:

- Courseware

- Learning materials/guides

- Computer

- OHP

METHODOLOGIES:

- Direct observation

- Simulation /role playing

- Case studies

ASSESSMENT METHODS:

- Written

- Practical/performance test

UNIT OF COMPETENCY	:	USE MATHEMATICAL CONCEPTS AND TECHNIQUES

MODULE TITLE	:	USING MATHEMATICAL CONCEPTS AND TECHNIQUES

MODULE DESCRIPTOR	:     This module covers the knowledge, skills and attitudes required in the application of mathematical   concepts and techniques.

NOMINAL DURATION	:	4 hours

QUALIFICATION  LEVEL	:	NC III

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the learner/students must be able to:

LO1.	Identify mathematical tools and techniques to solve problems.

LO2.	Apply mathematical procedure/solution.

LO3. 	Analyze results.

LO1.	Identify mathematical tools and techniques to solve problems

ASSESSMENT CRITERIA:

- Problem areas based on given condition are identified.

- Mathematical techniques based on the given problem are selected.

CONTENTS:

- Four Fundamental Operations

- Steps in solving a problem

- Standard formulas

- Conversion

- Measurement

CONDITION:  The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Problem set

- Conversion table

- Table of formulas

- Measuring tools

METHODOLOGIES:

- Lecturette

- Self-pace

- Group discussion

ASSESSMENT METHODS:

- Written

- Demonstration

LO2.	Apply mathematical procedure/solution

# ASSESSMENT CRITERIA:

- Mathematical techniques based on the problem identified are applied.

- Mathematical computations are performed to the level of accuracy required for the problem.

- Results of mathematical computation based on job requirements is determined and verified.

# CONTENTS:

- Problem-based questions

- Estimation

- Use of mathematical tools and standard formulas

- Mathematical techniques

# CONDITION:   The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Calculator

- Measuring tools/devices

- Case problems

# METHODOLOGIES:

- Lecturette

- Self-pace

- Group discussion

- Practical Work Approach

# ASSESSMENT METHODS:

- Written

- Oral Interview

LO3.	ANALYZE RESULTS

# ASSESSMENT CRITERIA:

  - Results of application based on expected and required specifications and outcome is reviewed.

  - Appropriate action in case of error is applied.

# CONTENTS:

- Four Fundamental Operations

- Steps in solving a problem

- Standard formulas

- Conversion

- Measurement

# CONDITION:	 The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Problem set

- Conversion table

- Table of formulas

- Measuring tools

# METHODOLOGIES:

- Lecturette

- Self-pace

- Group discussion

- Research study

# ASSESSMENT METHODS:

- Written

- Oral

##### UNIT OF COMPETENCY	:	USE RELEVANT TECHNOLOGIES

##### MODULE TITLE                 :	USING RELEVANT TECHNOLOGIES

MODULE DESCRIPTOR	:	This module covers the knowledge, skills and attitudes required in selecting, sourcing and applying appropriate and affordable technologies in the workplace.

NOMINAL DURATION	:	3 hours

QUALIFICATION  LEVEL	:	NC III

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module, the learner/students must be able to:

LO1.	Study/ select appropriate technology

LO2.	Apply relevant technology.

LO3. 	Maintain / enhance relevant technology

LO1.	Study/ select appropriate technology

# ASSESSMENT CRITERIA:

- Appropriate technology is studied based on work requirements.

- Appropriate technology are identified and selected based on work requirements.

# CONTENTS:

- Machineries/ equipment and their application

- Software/ programs

# CONDITION:  The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Multimedia

- Video tape

- Brochures

- CD’s

- Internet access

- Computer

# METHODOLOGIES:

- Lecturette

- Self-pace

- Group discussion

- Film showing

# ASSESSMENT METHODS:

- Written

- Interview

LO2.	Apply relevant technology

# ASSESSMENT CRITERIA:

1.	Relevant technology is used in carrying out function based on work requirements.

2.	Applicable software and hardware is used as per job requirement.

3. 	Management concept are observed as per established industry practices.

# CONTENTS:

- Office technology

- Industrial technology

- System technology

- Information technology

- Training technology

- Different software / Hardware

- 5S (Proper House Keeping)

# CONDITION:   The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Multimedia

- Video tape

- Brochures

- CD’s

- Internet access

- Computer

# METHODOLOGIES:

- Lecturette

- Self-pace

- Group discussion

- Film showing

# ASSESSMENT METHODS:

- Written

- Interview

LO3.	MAINTAIN / ENHANCE RELEVANT TECHNOLOGY

# ASSESSMENT CRITERIA:

- Maintenance of technology is applied in accordance with the industry standard operating procedure, manufacturer’s operating guidelines and occupational health and safety procedure

- Updating of technology is maintained through continuing education or training in accordance with job requirement.

- Appropriate action for technology failure/ defect is immediately reported to the concerned/ responsible person or section.

# CONTENTS:

- Corrective and preventive maintenance

- Upgrading of technology

- Communication Skills

- Organizational set – up / work flow

# CONDITION:   The students/learners must be provided with the following:

- Manuals

- Hand-outs

- Multimedia

- Video tape

- Brochures

- CD’s

- Internet access

- Computer

# METHODOLOGIES:

- Lecturette

- Self-pace

- Group discussion

- Film showing

# ASSESSMENT METHODS:

- Written

- Interview

MODULES OF INSTRUCTION

COMMON COMPETENCIES

PV SYSTEMS SERVICING NC III

UNIT OF COMPETENCY	:	Prepare Construction Materials and Tools

:

MODULE TITLE	:	Preparing Construction Materials and Tools

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on identifying, requesting and receiving construction materials and tools based on the required performance standards.

NOMINAL DURATION	:	12 hours

SUMMARY OF LEARNING OUTCOMES	:

Upon completion of the module the trainees/student should be able to:

LO1.	Identify materials and tools applicable to a specific construction job.

LO2.	Request appropriate materials and tools.

LO3.	Receive and inspect materials.

LO1.	Identify materials and tools applicable to a specific construction job

# ASSESSMENT CRITERIA:

1.	Tools and materials are identified as per job requirements

2.	Tools are classified according to its function as per job requirements.

3.	Materials are classified according to its uses to a specific construction project.

4.	Tools and materials are selected as per job requirement.

# CONTENT:

- Types and uses of construction materials and tools

- Description of materials and tools

- Listing of materials as per company standards.

# CONDITIONS:

Students/trainees must be provided with the following:

- Workplace location

- Materials relevant to the unit of competency

- Materials and tools

  - Electrical

  - Structural

  - Welding

  - Masonry

  - Carpentry

  - Plumbing

  - Pipefitting

- Materials and tools different brand names, size, capacity and kind of application.

- Handouts/Instructional Materials

# METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

- PowerPoint presentation

# ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO2.	Request appropriate materials and tools

# ASSESSMENT CRITERIA:

- Needed materials and tools listed as per job requirement.

- Materials and tools are requested according to the list prepared.

- Requests are done as per company  standard operating procedures (SOP)

- Materials and tools are substituted and provided unavailable without sacrificing cost and quality of work.

# CONTENT:

- Different forms

  - Job order slip

  - Tools and materials requisition slip

  - Borrower’s Slip

- Requisition procedures

# CONDITIONS:

Students/trainees must be provided with the following:

- Sample of company standard in tools and materials requisition.

- Job order form

- Requisition slip

- Borrowers slip

- Handouts/Instructional Materials

# METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

# ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO3.	Receive and inspect materials

# ASSESSMENT CRITERIA

- Received and inspected materials and tools as per quantity and specification based on requisition.

- Tools and materials are checked for damages and manufacturing defects.

- Materials and tools received are handled with appropriate safety devices.

- Materials and tools are set aside to appropriate location nearest to the workplace.

# CONTENT:

- Procedures in receiving tools and materials

- Proper inspection of tools and materials received.

- Proper handling of tools and materials.

# CONDITIONS:

Students/trainees must be provided with the following:

- Sample of company standard in tools and materials in receiving materials.

- Inspection Checklist

- Materials Handling Safety Devices

- Inventory Form Handouts/Instructional Materials

# METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

# ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

UNIT OF COMPETENCY	:	PERFORM MENSURATIONS AND CALCULATIONS

MODULE TITLE	:	Performing Mensurations and Calculations

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on identifying, and measuring objects based on the required performance standards.

NOMINAL DURATION	:	24 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Carry out measurements and calculations.

LO2.	Select measuring instruments.

LO1.	Carry out measurements and calculations

# ASSESSMENT CRITERIA:

  - Calculation needed to complete work tasks are performed using the four basic process of addition (+), subtraction (-), multiplication (x) and division (/) including but not limited to: trigonometric functions, algebraic computations.

  - Calculations involving fractions, percentages and mixed numbers are used to complete workplace tasks

  - Numerical computations are self-checked and corrected for accuracy.

  - Accurate measurements are obtained according to job requirements.

  - Identified and converted systems of measurement according to job requirements.

  - Measured work pieces according to job requirements.

# CONTENT:

Trade Mathematics/Mensuration

- Four fundamental operation

- Kinds of measurement

- Dimensions

- Ratio and Proportion

- Trigonometric Functions

- Algebraic Equations

- Fractions, Percentage and Decimals

- Conversion

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Problems to solve

- Measuring instruments

- Instructional materials relevant to the propose activity.

# METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

# ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO2.	Select measuring instruments

# ASSESSMENT CRITERIA:

- Object or component to be measured are identified, classified and interpreted according to the appropriate regular geometric shape.

- Measuring tools are selected/identified as per object to be measured or job requirements

- Correct specifications are obtained from relevant sources.

- Measuring instruments are selected according to job requirements.

- Alternative measuring tools are used without sacrificing cost and quality of work.

- Measurements are obtained according to job requirements.

# CONTENTS

- Visualizing objects and shapes specifically geometric shapes.

- Interpreting Formulas for volume, areas, and perimeters of plane and geometric figures.

- Measuring Instruments/Measuring Tools

- Proper handling of measuring instruments

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Problems to solve

- Measuring instruments

- Instructional materials relevant to the propose activity.

# METHODOLOGIES:

- Actual demonstration

- Classroom discussions

# ASSESSMENT METHODS:

- Actual demonstration

- Direct observation

- Written test/questioning

UNIT OF COMPETENCY	:	MAINTAIN TOOLS AND EQUIPMENT

MODULE TITLE	:	Maintaining Tools and Equipment

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on checking condition, performing preventive maintenance and storing of tools and equipment based on the required performance standard.

NOMINAL DURATION	:	12 hours

SUMMARY OF LEARNING OUTCOMES:

Upon completion of the module the trainees/student should be able to:

LO1.	Check condition of tools and equipments.

LO2.	Perform basic preventive maintenance

LO3.	Store tools and equipment.

LO1.	Check conditions of tools and equipments

# ASSESSMENT CRITERIA:

- Tools and equipment are identified according to classification/specification and job requirements.

- Non-functional tools and equipment are segregated and labeled according to classification

- Safety of tools and equipment are observed in accordance with manufacturer’s instructions

- Conditions of PPE are checked in accordance with manufacturer’s instructions.

# CONTENTS:

- Types of Tools and Equipments

- Classification of functional and non-functional tools

- Uses of Personal Protective Equipment (PPE).

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Tools and equipment related to the ffg:

- Electrical supplies

- Structural

- Plumbing

- Welding/pipefitting

- Carpentry

- Masonry

- Heavy Equipment Tools for repair

- Measuring instruments/equipments

- Instructional materials

- Handouts

- Power Point Presentations

# METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

# ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO2.	Perform basic preventive maintenance

# ASSESSMENT CRITERIA:

  - Lubricants are identified according to types of equipment.

  - Tools and equipment are lubricated according to preventive maintenance schedule or manufacturer’s specifications.

  - Measuring instruments are checked and calibrated in accordance with manufacturer’s instructions.

  - Tools are cleaned and lubricated according to standard procedures

  - Defective equipment and tools are inspected and replaced according to manufacturer’s specification.

  - Work place is cleaned and kept in safe state in line with OSHC regulations.

# CONTENTS:

- Types uses of lubricants

- Types and uses of cleaning materials/solvent

- Types and uses of measuring instruments and equipment.

- Preventive maintenance techniques and procedures.

- OSHC workplace regulations

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Kinds of Manuals:

- Manufacturer's Specification Manual

- Repair Manual

- Maintenance Procedure Manual

- Periodic Maintenance Manual

- Maintenance schedule forms

- Handouts/Instructional Materials

- Maintenance materials, tools and equipment relevant to the proposed activity/task.

- Lubricants

- Cleaning materials

- Rust remover

- Rugs

- Spare parts

- PPE

- Goggles

- Gloves

- Safety shoes

- Aprons/Coveralls

# METHODOLOGIES:

- Lecture - demonstration

- Self-paced instruction

- Group discussion

# ASSESSMENT METHODS:

- Oral questioning

- Direct observation

- Written test

LO3.	Store tools and equipment

# ASSESSMENT CRITERIA:

- Inventory of tools, instruments, and equipment are conducted and recorded as per company practices.

- Tools are inspected, and replaced after use.

- Tools and equipment are stored safely in accordance with manufacturer’s specifications or company procedures.

# CONTENTS:

- Inventory of tools and equipment

- Tools and Equipment Handling

- Tool safe-keeping/storage

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Handouts/Instructional Materials

- Workplace Location/Tool Room

- Rack

- Tool Box

- Forms

- Requisition Slip

- Inventory Form

- Inspection Form

# METHODOLOGIES:

- Demonstration

- Classroom discussions

# ASSESSMENT METHODS:

- Practical exam

- Direct observation

- Written test/questioning

UNIT OF COMPETENCY	:	OBSERVE PROCEDURES, SPECIFICATIONS AND MANUALS OF INSTRUCTIONS

MODULE TITLE	:	Observe procedures, specifications and manuals of instructions

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on identifying, interpreting, applying services to specifications and manuals and storing manuals.

NOMINAL DURATION	:	8 hours

SUMMARY OF LEARNING OUTCOMES	:

Upon completion of the module the trainees/student should be able to:

LO1.	Identify, access, and interpret specification/manuals.

LO2.	Apply information in manual.

LO3.	Store manuals

LO1.	Identify, access, and interpret specification/manuals

# ASSESSMENT CRITERIA:

  - Manuals are identified and accessed as per job requirements.

  - Version and date of manual are checked to ensure that correct specification and procedures are identified.

  - Relevant sections, chapters of specifications/manuals are located in relation to the work to be conducted.

  - Information and procedure in the manual are interpreted in accordance with industry practices.

# CONTENTS:

- Types of manuals  used in construction sector

- Different types of symbols.

- Accessing information and data.

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Manuals/catalogues relative to construction sector.

- Instructional materials

# METHODOLOGIES:

- Classroom discussions / lecture

- Self-paced

# ASSESSMENT METHODS:

- Practical exam

- Oral exam

- Written test / questioning

LO2.	Apply information in manual

# ASSESSMENT CRITERIA:

  - Work steps are correctly identified in accordance with manufacturer’s specification.

  - Manual data are applied according to the given task.

  - Adjustments are interpreted in accordance with information contained on the manual or specifications.

# CONTENT:

- Manual/specification application.

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Manuals

- Workplace Location

- Measuring Instruments

- Engineer’s transit

- Tape Measure

- Feeler gauge

- Instructional materials

# METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

# ASSESSMENT METHODS:

- Practical exam

- Oral exam

- Written test / questioning

LO3.	Store manual

# ASSESSMENT CRITERION:

  - Manual or specification is stored appropriately to prevent damage, ready access and updating of information when required in accordance with company requirements.

# CONTENT:

- Manual Handling

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion.

- Manuals

- Store Rooms/Library

- Instructional materials

# METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

# ASSESSMENT METHODS:

- Practical exam

- Direct observation

- Written test/questioning.

UNIT OF COMPETENCY	:	INTERPRET TECHNICAL DRAWINGS AND PLANS

MODULE TITLE	:	Interpreting Technical Drawings and Plans

MODULE DESCRIPTION	:	This module covers the knowledge, skills and attitudes on analyzing and interpreting symbols, data and work plan based on the required performance standard.

NOMINAL DURATION	:	16 hours

SUMMARY OF LEARNING OUTCOMES	:

Upon completion of the module the trainees/student should be able to:

LO1.	Analyze signs, symbols and data.

LO2.	Interpret technical drawings and plans

LO1.	Analyze signs, symbols and data

# ASSESSMENT CRITERIA:

  - Sign, symbols, and data are identified according to job specifications.

  - Sign, symbols and data are determined according to classification or as appropriate in drawing.

# CONTENTS:

- Drawing symbols and signs

- Trade mathematics

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Measuring Instruments

- Architect/Engineer’s scale

- Tape Measure

- Blueprints of plan

- Architectural

- Structural

- Electrical

- Mechanical

- Plumbing

- Instructional materials

# METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

# ASSESSMENT METHODS:

- Practical exam

- Direct observation

- Written test/questioning

LO2.	Interpret technical drawings and plans

# ASSESSMENT CRITERIA:

    - Necessary tools, materials and equipment are identified according to the plan.

    - Components, assemblies or object are recognized as per job requirement.

    - Dimensions and specification are identified according to job requirements.

# CONTENTS:

- Basic Technical drawing

- Technical plans and Schematic Diagram

- Symbols and Abbreviations

# CONDITIONS:

Students/trainees must be provided with the following:

- Classroom for discussion

- Workplace Location

- Measuring Instruments

- Architect/Engineer’s scale

- Tape Measure

- Blueprints of plan

- Architectural

- Structural

- Electrical

- Mechanical

- Plumbing

- Instructional materials

# METHODOLOGIES:

- Demonstration

- Classroom discussions

- Self-paced

# ASSESSMENT METHODS:

- Practical exam

- Direct observation

- Written test/questioning

MODULES OF INSTRUCTION

CORE COMPETENCIES

PV SYSTEMS SERVICING NC III

QUALIFICATION	:	PV Systems Servicing

UNIT OF COMPETENCY	:	Perform PV System Diagnosis

MODULE TITLE	:	Performing PV System Diagnosis

MODULE DESCRIPTOR     :	This module covers the skills, knowledge, and attitude in the diagnosis of perceived system trouble(s) based on costumer complaint.

NOMINAL DURATION	:	28 hours

QUALIFICATION LEVEL	:	NC III

PREREQUISITE	:	PV Installation NC II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Prepare for PV System Diagnosis

LO2.	Verify Customer Complaints

LO 1.	Prepare for PV System Diagnosis (4 hrs)

# ASSESSMENT CRITERIA:

- Sequence of troubleshooting activities is planned in accordance with the maintenance manual and standard company procedure

- Tools, measuring instruments, and materials are selected in accordance with job requirements

# CONTENTS:

- Planning and scheduling of activities

- Common PV system and component faults and problems

# CONDITIONS:

Students/trainees must be provided with the following:

- Learning materials

- Manuals

- References

- Tools, measuring instruments, materials (rael to insert)

# METHODOLOGY:

- Lecture-demonstration

- Self-paced instruction

- Case study

- Group discussion

# ASSESSMENT METHODS:

- Direct observation with questions

- Demonstration with questions

- Oral/written examination

LO2.	Verify Customers Complaint (24 hrs)

# ASSESSMENT CRITERIA:

- Customer’s complaint is verified according to the troubleshooting checklist

- System diagnosis is performed based on occupational health and safety standards

- Troubleshooting report is prepared according to standard company procedures

# CONTENTS:

- Interview techniques and information processing

- Troubleshooting/isolation techniques

- Troubleshooting report writing

# CONDITIONS:

Students/trainees must be provided with the following:

- Learning materials

- Manuals

- References

# METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Case study

- Group discussion

# ASSESSMENT METHODS:

- Direct observation with questions

- Demonstration with questions

- Oral/written examination

QUALIFICATION	:	PV Systems Servicing

UNIT OF COMPETENCY	:	Repair of PV Systems

MODULE TITLE	:	Repairing PV Systems

MODULE DESCRIPTOR     :	This module covers the skills, knowledge, and attitude in repairing small solar home systems up to 1kWp

NOMINAL DURATION	:	20 hours

QUALIFICATION LEVEL	:	NC III

PREREQUISITE	:	PV Installation NC II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Prepare for service/repair

LO2.	Repair/replace faulty PV component

LO3.	Debrief Customer

LO1.	Prepare for service/repair (2 hrs)

# ASSESSMENT CRITERIA:

- Work instructions are read and interpreted based on the troubleshooting findings

- Tools, measuring instruments, and materials are prepared in accordance with job requirements

# CONTENTS:

- Planning for repairing of PV systems

- Identifying tools, measuring instruments, and materials for service/repair

# CONDITIONS:

Students/trainees must be provided with the following:

- Troubleshooting report/form

- Learning materials

# METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

# ASSESSMENT METHODS:

- Observation with questioning

- Written/Oral examination

LO2.	Repair/replace faulty PV component (16 hrs)

# ASSESSMENT CRITERIA:

- Defective components/connections are replaced/repaired/rectified based on established company procedures

- PV system is tested for operability and in accordance with the rated operating ranges of the individual components;

- Tools and test instruments for repair/replacement of faulty PV component are used in accordance with the job requirements

- Materials for repair/replacement are handled in accordance with manufacturer’s specifications

- Safety procedures in repairing/replacing faulty PV components is observed in accordance with occupational health and safety standard

- Complete documentation is done after conduct of service/repair in accordance with standard company procedure.

# CONTENTS:

- Service and Repair Procedures

- Repair/replace charge controller

- Repair/replace defective lamp

- Replace diode/fuse

- Repair/replace switch, receptacle wires, convenience outlet

- Maintain/replace battery

- Electrical testing

- Service report writing

# CONDITIONS:

Students/trainees must be provided with the following:

- Learning materials

- Tools, measuring instruments, and materials for repair and/or replacement

- Tools

- Screwdrivers

- Pliers

- Wrenches

- Electrician’s knife

- Ladder/scaffolding

- Magnetic compass

- Spirit level

- Measuring instruments

- Battery cell tester

- Clamp meter

- Multimeter

- Hydrometer

- Materials

- Wires and cables

- Connectors

- Clamps

- Electrical tape

- Battery grease

- Fuse

- Diodes

- Staple wires, screws, and nails

- Asphalt/sealant (if needed)

- Distilled water

- Bolts and nuts

- Housekeeping paraphernalia

# METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

# ASSESSMENT METHODS:

- Direct observation with questions

- Demonstration with questions

- Oral/written examination

LO3.	Debrief customer (2 hrs)

# ASSESSMENT CRITERIA:

- Cause of malfunction/damage is explained according to standard company procedures

- Preventive measures are recommended highlighting system problem encountered according to company procedures

# CONTENTS:

- Communication techniques

- Concept and importance of preventive maintenance of PV system and components

# CONDITIONS:

Students/trainees must be provided with the following:

- Learning materials

# METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

# ASSESSMENT METHODS:

- Direct observation with questions

- Demonstration with questions

- Oral/written examination

- Third party report

QUALIFICATION	:	PV Systems Servicing

UNIT OF COMPETENCY	:	Monitor PV System Operation

MODULE TITLE	:	Monitoring PV System Operation

MODULE DESCRIPTOR	:	This module covers the skills, knowledge, and attitude in monitoring PV systems.

NOMINAL DURATION	:	18 hours

QUALIFICATION LEVEL	:	NC III

PREREQUISITE	:	PV Installation NC II

SUMMARY OF LEARNING OUTCOMES:

Upon completion of this module, the trainee/student must be able to:

LO1.	Prepare Monitoring Activities

LO2.	Check PV System Status

LO1.	Prepare Monitoring Activities (2 hrs)

# ASSESSMENT CRITERIA:

- Sequence of activities is outlined in accordance with the monitoring manual

- Monitoring forms are prepared in accordance with job requirements

# CONTENTS:

- Planning for monitoring of PV systems

- Various monitoring forms

# CONDITIONS:

Students/trainees must be provided with the following:

- Learning materials

- Forms

- Manuals

- Procedures

- Codes

- Hand-outs

# METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Group discussion

# ASSESSMENT METHODS:

- Observation with questioning

- Oral/written examination

LO2.	Monitor PV System Status (16 hrs)

# ASSESSMENT CRITERIA:

- PV system components are checked/monitored according to their rated operating ranges and standard company procedures

- Appropriate tools and measuring instruments are used in line with job requirements

- Monitoring forms are accomplished according to company standard procedures

- Safety procedures in monitoring PV system are observed in accordance with occupational and health standards

# CONTENT:

- Preventive maintenance and monitoring techniques for PV systems

# CONDITIONS:

Students/trainees must be provided with the following:

- Learning materials

- Forms

- Manuals

- Procedures

- Codes

- Hand-outs

- Tools, electrical measuring instruments and PV Components

- Tools

- Screwdrivers

- Pliers

- Wrenches

- Ladder/scaffolding

- Magnetic compass

- Measuring instruments

- Clamp meter

- Multi-meter

- Hydrometer

- PV Components

- PV module/array

- Battery/battery bank

- Controller

- Inverter (if present)

- Grounding system

- Mounting structure

- Loads

- Forms

- Commissioning Documents

- Monitoring Forms

- Paper and pen

# METHODOLOGIES:

- Lecture-demonstration

- Self-paced instruction

- Case study

- Group discussion

# ASSESSMENT METHODS:

- Demonstration with questions

- Observation with questioning

- Oral/written examination

# What is Competency-Based Curriculum (CBC)

- A competency-based curriculum is a framework or guide for the subsequent detailed development of competencies, associated methodologies, training and assessment resources.

- The CBC specifies the outcomes which are consistent with the requirements of the workplace as agreed through the industry or community consultations.

- CBC can be developed immediately when competency standards exist.

- When competency standards do not exist, curriculum developers need to clearly define the learning outcomes to be attained. The standard of performance required must be appropriate to industry and occupational needs through the industry/enterprise or specified client group consultations.

These materials are available in both printed and electronic copies.

For more information please contact:

Technical Education and Skills Development Authority (TESDA)

Telephone Nos.: 893-8281, 817-4076 to 82 loc. 611 to 630, 631 and 635 or visit our website: www.tesda.gov.ph

or the TESDA Regional or Provincial Office nearest you.